TECHNICAL REPORT ON THE STUDENT INDUSTRIAL WORK EXPERIENCE

SCHEME (SIWES)

UNDERTAKEN AT

IMMACULATE SOLAR WORKS

2B commissioner lodge way GRA Ilorin

ONIYANGI MUHAMMED JAMIU

ND/23/EEE/PT/0218

SUBMITTED TO

THE DEPAERTMENT OF ELECTRICAL/ELECTRONICS ENGINEERING,

INSTITUTION OF TECHNOLOGY (IOT) KWARA STATE POLYTECHNIC, PMB      1375  ILORIN KWARA STATE.

IN PARTIAL FULFILMENT OF THE REQUIREMENT FOR THE AWARD OF           NATIONAL DIPLOMA (ND) CERTIFICATE

AUGUST – NOVEMBER, 2024.

DEDICATION

I dedicate this report to Almighty God for His guidance and wisdom throughout my industrial training. I also dedicate it to my parents, family, and mentors for their unwavering support and encouragement.

ACKNOWLEDGMENT

I sincerely appreciate Immaculate for the opportunity to undergo my SIWES training in their esteemed organization. My gratitude extends to my supervisors and colleagues for their mentorship, patience, and knowledge sharing. I also acknowledge my institution and lecturers for their support in making this experience possible.

PREFACE

This report provides a detailed account of my Student Industrial Work Experience Scheme (SIWES) training at Immaculate, Solar 2B, Commissioner Lodge Way, GRA, Ilorin. The report highlights the background of SIWES, the activities I engaged in, the challenges faced, and the lessons learned. It is structured to reflect my practical experiences and insights gained in the field of solar energy technology.

TABLE OF CONTENTS

Dedication

Acknowledgment

Preface

Report Overview

Table of Contents

Chapter One: Introduction

1.1 Background of SIWES

1.2 Objectives of SIWES

1.3 Description of the Establishment

Chapter Two: Experience During the Training

2.1 Department and Activities Engaged In

2.2 Tools and Equipment Used

2.3 Challenges Encountered

2.4 Solutions and Lessons Learned

Chapter Three: Conclusion and Recommendations

3.1 Conclusion

3.2 Recommendations

3.3 Acknowledgment

### Chapter Four: Impact of the Training and Skill Development

4.1 Knowledge Gained

4.2 Technical Skills Acquired

4.3 Personal and Professional Development

### Chapter Five: References and Appendices

5.1 References

5.2 Appendice

CHAPTER ONE

INTRODUCTION

1.1	Background	of	SIWES
The Student Industrial Work Experience Scheme (SIWES) is a mandatory skills acquisition program designed for students in tertiary institutions in Nigeria. It is aimed at bridging the gap between theoretical knowledge and practical application by providing students with firsthand industry experience in their respective fields of study.

It is a programme required to be undertaken by all students of tertiary institutions in Nigeria pursuing courses in specialized engineering, technical, business, applied sciences and applied arts and Mass Communication".

The Federal Government on 8th October 1971 established the industrial training (ITF) to acquaint the students on the industrial work method. The SIWES which is a subsidiary formed in 1973 was initiated to improve the students technical abilities to expose them to industrial culture thereby getting the acquainted with the role to play towards the technological advancement of the nation.

It creates an avenue on environment in which the students are exposed to areas of their various disciplines to enhance their mental and creative minds in the aspects of Practical.

It is therefore a practical aspect of the academic work; which students may not have opportunity to carry out throughout their stay in the higher institutions.

1.2 Objectives of SIWES

- To expose students to the industrial work environment.

- To provide an opportunity for students to apply theoretical knowledge in real-world scenarios.

- To develop students’ technical and practical skills.

- To enhance students' employability after graduation.

- To promote collaboration between industries and tertiary institutions.

1.3	Description	of	the	Establishment
Immaculate is an organization based at Solar 2B, Commissioner Lodge Way, GRA, Ilorin. The company specializes in renewable energy solutions, focusing on solar energy installations, maintenance, and consultancy services. Their primary operations include solar panel installation, inverter systems, battery storage solutions, and energy efficiency consulting.

CHAPTER	TWO

EXPERIENCE DURING THE TRAINING

2.1	Department	and	Activities	Engaged	In
During my SIWES training at Immaculate, I was assigned to the Solar Energy Department. My primary responsibilities included:

- Assisting in solar panel installation.

- Conducting routine maintenance and troubleshooting of solar power systems.

- Learning about the components of solar power systems, including inverters, charge controllers, and batteries.

- Conducting energy audits and site surveys for solar installations.

- Understanding the design and configuration of off-grid and hybrid solar systems.

2.2	Tools	and	Equipment	Used
During my training, I worked with various tools and equipment, including:

- Multimeters for measuring voltage, current, and resistance.

- Solar charge controllers for regulating power.

- Inverters for converting DC to AC.

- Battery banks for energy storage.

- Mounting structures and wiring kits for solar panel installation.

### 1. Multimeters for Measuring Voltage, Current, and Resistance

A multimeter is an essential electrical testing tool used to measure different parameters, including:

- Voltage (V): Measures the electrical potential difference in a circuit (AC or DC).

- Current (A): Measures the flow of electric charge in a circuit.

- Resistance (Ω): Measures the opposition to the flow of current. Multimeters help diagnose issues in electrical systems, ensuring the proper functioning of solar panels, batteries, and inverters.

Multimeters for Measuring Voltage, Current, and Resistance

### 2. Solar Charge Controllers for Regulating Power

A solar charge controller is a device that regulates the voltage and current from solar panels to the battery. It prevents:

- Overcharging: Protects the battery from receiving excessive voltage.

- Over-discharging: Prevents the battery from running too low, which could reduce its lifespan.

- Reverse Current Flow: Stops the battery from discharging back into the solar panels at night. There are two main types:

- PWM (Pulse Width Modulation) Controllers: Cost-effective but less efficient.

- MPPT (Maximum Power Point Tracking) Controllers: More advanced, ensuring maximum power efficiency.

Solar Charge Controllers for Regulating Power

### 3. Inverters for Converting DC to AC

Solar panels and batteries generate Direct Current (DC), but most household and industrial appliances use Alternating Current (AC). An inverter converts DC into AC, making the energy usable for:

- Home and office electrical appliances.

- Industrial machines and equipment.

- Grid-tied systems for feeding excess power into the main electricity grid.

Inverters for Converting DC to AC

### 4. Battery Banks for Energy Storage

A battery bank stores excess energy generated by solar panels for use when sunlight is unavailable (e.g., at night or on cloudy days). Key components of a battery bank include:

- Deep-cycle batteries (e.g., lithium-ion, lead-acid) designed for repeated charging and discharging.

- Battery management systems (BMS) to monitor charge levels and prevent damage.

- Proper sizing to match the energy needs of the solar system.

Battery Banks for Energy Storage

### 5. Mounting Structures and Wiring Kits for Solar Panel Installation

- Mounting Structures: Secure solar panels in place, optimizing their angle for maximum sunlight exposure. They come in various types:

  - Roof-mounted: Fixed onto buildings.

  - Ground-mounted: Installed on the ground for larger solar farms.

  - Tracking systems: Adjust angles based on the sun’s position for better efficiency.

- Wiring Kits: Include cables, connectors, and fuses that ensure safe and efficient electrical connections between solar panels, charge controllers, batteries, and inverters

Mounting Structures and Wiring Kits for Solar Panel Installation

2.3	Challenges	Encountered
Some of the challenges I faced during my SIWES training included:

- Exposure to extreme weather conditions during outdoor installations.

- Difficulty in troubleshooting complex solar power system faults.

- Limited availability of some high-end equipment for advanced learning.

2.4 Solutions and Lessons Learned

- Through guidance from my supervisors, I learned how to systematically troubleshoot solar systems.

- I developed teamwork skills by working closely with experienced technicians.

- I improved my understanding of renewable energy solutions and their applications in Nigeria.

CHAPTER	THREE

CONCLUSION AND RECOMMENDATIONS

3.1	Conclusion
The SIWES program at Immaculate was an invaluable experience that enhanced my practical skills in solar energy technology. The hands-on training equipped me with essential knowledge in solar power installation, maintenance, and troubleshooting, which will be beneficial for my future career in the renewable energy industry. The Student Industrial Work Experience Scheme (SIWES) at Immaculate provided invaluable hands-on experience that bridged the gap between theoretical learning and practical applications in the solar energy sector. Through this training, I gained a deeper understanding of solar energy systems, from installation to maintenance and troubleshooting.

The exposure to real-life applications of renewable energy reinforced my technical skills and problem-solving abilities. Additionally, the training enhanced my ability to work in a team, communicate effectively, and adapt to professional settings. Overall, SIWES has significantly contributed to my professional and personal growth, preparing me for a career in the renewable energy industry.

5.2 Recommendations

Based on my experience, I propose the following recommendations to enhance the effectiveness of SIWES:

- Improved Training Duration: Extending the duration of industrial training will allow students to gain more hands-on experience and in-depth knowledge of the field.

- Access to Advanced Equipment: Organizations should provide students with access to modern tools and technologies to enhance their technical skills.

- Structured Mentorship Programs: Assigning dedicated mentors to guide students through projects will improve their learning experience.

- More Industry Collaborations: Institutions should collaborate with more industries to ensure students receive quality placements in relevant fields.

- Increased Practical Sessions in Schools: Universities should incorporate more practical sessions in their curriculum to prepare students better before their SIWES placement.

- The company should provide more advanced training equipment to enhance learning.

- More structured training sessions should be included to cover emerging trends in solar technology.

- Future SIWES students should be given more exposure to real-life solar project implementations.

3.3	Acknowledgment
I express my gratitude to Immaculate for the opportunity to learn and gain practical experience. I also appreciate my supervisors for their guidance and mentorship throughout the training period.

CHAPTER	FOUR

IMPACT OF THE TRAINING AND SKILL DEVELOPMENT

4.1	Knowledge	Gained
During my SIWES training, I acquired substantial knowledge about solar energy technologies, including photovoltaic systems, battery storage, and energy efficiency. I learned the theoretical and practical aspects of solar panel installation, maintenance, and troubleshooting. The training also exposed me to real-life applications of renewable energy in residential and commercial settings.

4.2	Technical	Skills	Acquired
Some of the major technical skills I gained include:

- Installation and configuration of solar panels and inverters.

- Troubleshooting and maintenance of solar energy systems.

- Use of electrical tools such as multimeters and charge controllers.

- Conducting energy audits and load calculations for solar installations.

4.3	Personal	and	Professional	Development

Apart from technical knowledge, the training significantly enhanced my soft skills. These include:

- Problem-Solving Skills: I learned to diagnose faults and develop solutions efficiently.

- Teamwork and Communication: Working with professionals improved my ability to collaborate effectively.

- Time Management: Completing tasks within deadlines helped me manage time better.

- Adaptability: I learned how to work in different environments and conditions, adjusting to challenges as they arose.

CHAPTER FIVE

REFERENCES AND APPENDICES

5.1	REFERENCE
Below are some of the key references used in this report:

- Federal University of Technology, SIWES Handbook (Latest Edition)

- Manuals and training materials provided by Immaculate

- Online resources on solar energy and photovoltaic systems

- Technical guides and manufacturer specifications for solar power components

5.2 Appendices

- Appendix A: Daily Log of Activities

- Appendix B: Pictures of Training Sessions and Installations

- Appendix C: Company Profile and Training Schedule

APPENDIX