TECHNICAL  REPORT  ON  STUDENT  INDUSTRIAL WORK EXPERIENCE  SCHEME

HELD AT

WATEC ELECTRICAL

NO 88, ISAWO ROAD, OWUTU, IKORODU, LAGOS STATE

BY

ADEITE SAMUEL AYOMIDE

ND/23/EEE/FT/0043

### SUBMITTED TO:

### THE DEPARTMENT OF ELECTRICAL/ELECTRONIC/ENGINEERING. INTSITUTE OF TECHNOLOGY (I .O .T). KWARASTATE POLYTECHNIC ILORIN

P . M . B  1375 ILORIN, NIGERIA.

FROM AUGUST – DECEMBER 2024

DEDICATION

This work is dedicated to almighty allah for given me the opportunity and knowledge for being part of the SIWES programmes it is also dedicated to my parents Mr & Mrs ADEITE.

ACKNOWLEDGEMENT

All praises, honour and glory goes to almighty Allah for his abundate blessing and proper protection over me with his support during SIWES and completed successfully. The giver of all knowledge for giving me the priviledge and opportunity to finally put together these texts.

I gratefully acknowledge the wonderful roles played by the staffs of Muri Electrical and Electronic Engineering for their expenditure effort which I gained during my SIWES programmes with them.

PREFACE

This is a report of 18 weeks Industrial Training which was done as a part of the requirement needed for the award of national diploma certificate which was embarked upon by the technical student after first year stay in school.

It is also done to enable the student exposed to the practical aspect of this course of study and write down what he/she has gained during the traning.

The programmes is aimed at correcting the incompetence in the school leaving scientific and technical in the country.

TABLE OF CONTENTS

Title page

Dedication

Acknowledgement

Preface

Table of Content

CHAPTER ONE

1.0 INTRODUCTION

  - DEFINITION AIM AND OBJECTION OF SIWES

  - AIM AND THE OBJECTIVES OF SIWES

  - BRIEF HISTORY OF THE COMPANY

  - ORGANIZATION STRUCTURE CHART

CHAPTER TWO

2.0 SAFETY IN ELECTRICAL INSTALLATION

2.1 USES OF TOOLS

2.2 PICTURES OF THE TOOLS USED

2.3 TYPES OF WIRE USED

CHAPTER THREE

3.0  	WIRING SYSTEM

3.1 	TYPES OF WIRING SYSTEM

3.2 	ELECTRICAL ASSSESSORIES USE IN THE WIRING SYSTEM MENTION ABOVE

3.3  	FACTORS TO BE CONSIDERED WHEN CHOOSING WIRING FOR A BUILDING

CHAPTER FOUR

4.0 PHONE ENGINEERING

4.1 DIFFRENCES IN PHONES

4.3 PHONES SHORTCUTS

4.4  TYPES OF PHONE TOOLS AND MALTERIALS NEEDED

CHAPTER FIVE

5.0 HOW TO REPAIR PHONES AND LOCATE FAULTS

5.1 HOW TO REPAIR SPEAKERS

5.2 HOW TO REPAIR SCREEN AND TOUCH PADS

5.3 CONCLUSION

CHAPTER ONE

The practical introduction background of the engineering student industrial work is purposely set up in partial fulfilment of the requirement for the award of national diploma ( N.D ) I electrical/electronic/engineering. I fullfilled my compulsory 12 weeks industrial training at MURI  ELECTRICAL ENGINEERING COMPANY.

The report comprises of my experience, knowledge and my involment in the job description during the course of my siwes

DEFINITION OF SIWES

SIWES,  means student industrial  training work experience scheme, it is a course by which student are expose to practical training in their respective field of study. Siwes is the acceptable skill training program set up as the requirement for the award of national diploma  (N.D) certification for studying engineering and applied science. Its efforts is to bridge the gap existing between theory and practical aspect of engineering and some applied science.

  - AIMS AND OBJECTIVES OF SIWES

The following are the aims of student industrial work experience scheme ( siwes )

- it prepares student about the future work themselves

- it gives the experience and additional opportunity about their filed of study

- it makes student to be practically oriented

- it provide a venue for student to acquired practical experience of their filed

- it prepare student in handling of various machines and instrument that are not available in their school

- it prepares student towards the challenge they might likely encounter in their field of study

CHAPTER TWO

2.0	BRIEF HISTOY OF THE COMPANY

The company deals with electrical installation, wiring of house both surface and conduit, we also specialise in erection of poles

2.1	ORGANIZATION STRUCTURE CHART

DIRECTOR OFFICE

ELECTRICAL                                          PLUMBING

2.0           SAFETY IN ELECTRICAL  INSTALLATION

Personal safety which include

- Wear safety equipment like safety shoe, coat glove etc

- Wear glove when handling rough materials

- Keep hair short or wear cap/helmet

SAFETY TOOL

- Use the correct tools for job

- Use tools box for carrying tools

- Keep tools in boxes when not in use

ELECTRICAL/ ELECTRONIC TOOLS

- Fishing tape

- Plier

- Screw driver

- Testing lamp

- Hammer

- Measuring tape

- Hacksaw

- Bending sping

- Coupler

- Tester

- Ladder

- Digital metre

2.1    USES OF THE ABOVE TOOLS

FISHIG TAPE : It is a tools use by electrician to draw wire inside a pipe, during a conduit wiring.

PLIER:  Is a hand tools used to hold object and at the same time use to pull/cut wire to desired length

A SCREW DRIVER: Is a tools use for driving screw (  to open an object like garden light, fence light, when fixed )

TESTING LAMP: Use to test the current flow in a wire it indicate the life (supply) and neutral.

HAMMER: It is use to nail electrical equipment thyat cannot stand on their own

MEASURING TAPE: Use to measure either length of a wire or ground

HACKSAW: Use to cut pipe and wire

BENDING SPRING: Use to bende pi[e to dewsired curve

COUPLER: Use to join two pipe together

TESTER: Use to test the current or loosen a screw I electrical appliances

LADDER: Use to climb utility poles and high ground places

DIGITAL METRE: It use to determine the voltage and ampere flowing in an electrical malterial in a screen display

2.2    TYPES OF CABLES AND THEIR USES

1.5MM: 	use for domestic lightening

2.5MM:	use for socket connection

4MM:		use for cooker control unit

6MM:		use for air conditioner, cooker control unit

10MM:	use for load wire in a building.

2.3         PICTURES OF THE TOOLS USED  IN  ELECTRICAL

CHAPTER THREE

  - WORK- DONE

  - WIRING SYSTEM

Wiring system can be define as the insulator conducting used to transfer electricity from one juction to another.

  - TYPES OF WIRING SYSTEM

There are three group of wiring system commonly used in nigeria, namey

- Surface/pvc wiring system

- Conduit wiring system

- Trunking wiring system

Surface wiring system: this is a type of wiring system that incude running an insulator wire of 1,2, 0r 3 core on wall when doing the wiring installation of building. It is mostly use in domestic wiring

ADVANTAGES OF SURFACE WIRING

- It require less money unlike conduit

- It saves time

- It easy to amend when fauty

- It easy to install

DISADVANTAGES OF SURFACE WIRING

- It is not clean as conduit wiring system

- delicate for children

- damage easily

- The wire is naked on the roof

Conduit wirng system: in electrical installatio conduit means metal tube or non metal tube, it is commonly used in big houses, office, government house, banks e.t.c

Conduit system is divied into two:

- Half conduit

- Full conduit

Half conduit consist of installation where all wire in roof will be open just like surface, but other passing through accessories like ( switches, lamp, holder socket, ac socket and cooker unit ) used in the installation are run inside pipes which cannot be seen outside the wall.

In full conduit wiring system all the cables used are run inside the pipe including those one on the ceiling, it is neater than half conduit.

ADVANTAGES OF CONDUIT WIRING SYSTEM

1 IT is clean wiring system

2 It does not damage easily

3 IT is more save for children unlike surface

DISADVANTAGES  OF CONDUIT WIRING SYSTEM

1 IT cost lots of money

2 IT not easy to amend when faulty

3 IT does not  save time

TRUNKING WIRING SYSTEM

This type of system is used where numbers of cables are required to be used together in a single conduit ( i.e many cables in a pipe or tube ). It is commonly used in company.

ADVANTAGES OF TRUNKING WIRING SYSTEM

1 LIMIT the cost of running many supply cables

2 Prevent thedanger of harzard fire

DISADVANTAGES OF TRUNKING WIRING

1 IT expensive

2 Not suitable for most  building

Diffrences in conduit and surface wiring system: cables used in surface wiring system are exposed while that of conduit system is not.

ELECTRICAL ACCESSORIES NEEDED IN SURFACE WIRING SYSTEM INCLUDE:

Patress: it serves as the box that hold both switch and socket

Junction box: it is the box where the main and branch wire are connected together

Gang switch: it is used for controlling some electrical accessories e.g bulb,cooker, wall bracket e.t.c it exit in different types such as( 1,2 and 3)

Pipe: is a tube of different dimension(e.g 20mm or 25mm) through which the cable passes through

Clips and nails: use to hold cable firmly to wall

Change over switch: it is used for switching current from generator to PHCN (power holding company of nigeria) .

ELECTRICAL ACCESSORIES NEEDED IN CONDUIT WIRING SYSTEM

The electrical accessories used in conduit wiring system is almost is almost the samething used in surface wiring system just that they include more in conduit like

- Two, three and four way box: it is used when laying pipe I conduit wiring depending on how many ways needed.

- Amour cables: ia a king of big cables wrapped with helical tape for mechanical protection

  - WHEN CHOOSING A SYSTEM OF WIRING FOR A BUILDING, THE FOLLOWING MUST BE CONSIDER

- Neatnes of the finishing job: this implies checking if a particular wiring system chosen for building will be clean.

- Time required for wiring system: it is must to consider appropiate and exact time for wiring so as to avoid failure in form of time.

- The  durability of installation: this tells if a particular wiring can withstand the hazard condition of usageor will last long as xpected of the installation.

- Cost of installation: cost is one of the most important.

CHAPTER FOUR

4.0	RELEVANCE OF THE EXPERIENCE GAINED AT STUDENTS	FIELD OF STUDY

In summary, this program has exposed me to some practical aspect in relation to my course of study (Electrical engineering) and I benefitted greatly from the grogram.  What I learnt at various site involves the following

- Wiring installation system.

- Type of wire suitable for installation

- Types of wiring system

- Tools suitable for electrical installation

- Installation of meters

CHAPTER FIVE

5.0   CONCLUSION

Firstly I woud like to say that what I learnt most in my traning scheme, is that no matter where or when you are working “SAFETY SHOULD ALWAYS COMES FIRST”

And lastly the company or establishment are more impresive in the the sence that they expose the student to practical aspect of their decipline,breed them morally and finacially at time

5.1	SUGGESTION/RECCOMENDATION to the organisation and the polytechnic concerning the siwes programmes

The organisation should inprove their way of responding to the customers and also place advertisement on any new adequately in their service in order for the consumer to be adequatelly  informed about their service

5.2	SUGGESTION

The polytechnic should make it must and compulsory for all student , the programmes goes a long way in improving student practical aspest of what he/she has been taught theoreticaly in the school. Also a body should be set up to give penalties to any student who refuse to go for his/her siwes programmes also would personaly suggest a talent show programme  which should be set where student of different field would come as one to show case what he/she has learnt in the programme so far, that he or she belives that is very special.