STUDENTS INDUSTRIAL WORK EXPERIENCE SCHEME

(SIWES)

HELD AT

UNILORIN TEACHING HOSPITAL (UITH)

KWARA STATE

PRESENTED BY

OLAIFA AMINAT TOLANI

ND/23/SLT/PT/0764

DEPARTMENT OF SCIENCE LABORATORY TECHNOLOGY

KWARA STATE POLYTECHNIC ILORIN, KWARA STATE

IN PARTIAL FUILFILMENT FOR THE REQUIREMENT  FOR

AWARD NATIONAL DIPLOMA IN SCIENCE LABORATORY TECHNOLOG

MARCH 2025

DEDICATION

I dedicate this students industrial work experience scheme (SIWES) report to God Almighty for his grace and mercy towards the completion of the siwes programme.

ACKNOWLEDGMENT

My acknowledgment goes to Almighty God, my parents , kwara state polytechnic Ilorin, my supervisor at Welfare Hospital and also to my friends may we all excel in life and may Almighty God continue to be with everyone Amin.

REPORT OVERVIEW

This is an industrial attachment report for the Students' Industrial Work Experience (SIWES) programme carried out within the period of three months. The report comprises the background of SIWES, the description of the organization, its aims and objectives, the experiences gained as an industrial training student and the summary, conclusions and recommendations. It has a total of 5 chapters with sub-chapters. It also has the preliminary pages, such as the title page, report overview and table of contents and recommendations on the improvement of scheme.

TABLE OF CONTENT

Tittle page

Dedication

Acknowledgement

Report over view

Table of content

CHAPTER ONE: INTRODUCTION

- Background of the study

  - Advent Of Siwes

  - Organization And Operation Of Siwes

  - Objectives Of Siwes

  - Aims Of Siwes

CHAPTER TWO: DESCRIPTION OF ESTABLISHMENT ATTACHMENT

2.1	History of the firm.

2.2	Organisational chart.

2.3	Various departments and functions

CHAPTER THREE: ACTUAL WORK DONE WITH EXPERIENCE GAINED

3.1	Siwes Experience

CHAPTER FOUR: ACTUAL WORK DONE WITH EXPERIENCE GAINED

4.1	Challenges

4.2 	Relevance Of The Siwes Programme

CHAPTER FIVE: SUMMARY AND CONCLUSION

5.1	Summary

5.2	Conclusion

CHAPTER ONE

  - BACKGROUND OF THE STUDY

The Student Industrial Work Experience Scheme {SIWES} is a skill training program designed to expose and prepare students of universities, polytechnics/college of technology/college of Agriculture and college of education from the industrial work situation they are likely to meet after graduation. The scheme also, affords students the opportunity of familiarizing and exposing themselves to the needed in minding equipment and machinery that are usually available in theory institutions.

1.2 AIMS AND OBBECTIVES

- To provide students with an opportunity to apply their knowledge in real work situation thereby bridging the gap between theory and practice.

- To provide an avenue for student in institution of higher learning to acquire and usual skills and experience in the course of study, which are restricted to engineering and technology include environmental students and other course that maybe approved.

- To expose students to work methods and techniques in handling equipment and machinery that may not be available in the institution.

1.3	IMPORTANCE OF SIWES

- i. It provides students with an opportunity to apply their theoretical knowledge in real life situations.

- ii. It exposes students to more practical work methods and techniques.

- iii. It strengthens links between the employers, universities and industrial training fund (ITF)

- iv. It also prepares the students for the labour market after graduation

1.4 ROLE OF THE CO-ORDNATING AGENCY (NUC)

- i. In collaboration with ITF, compile lists of employers for institution’s placement lists;

- ii. Establish SIWES coordinating units

- iii. Evolve a minimum national guide programme for supervised industrial training activities for approved SIWES courses:

- iv. Appoint full —time industrial co coordinators to operate the scheme at agency level;

- v. Vet and approve SIWES master arid placement lists and forward to ITF.

1.5	ROLE OF THE INDUSTRIAL TRAINING FUND (ITF)

- i. Organize bi-ennial conference and seminars on SIWES

- ii. Provide logistic material needed to administer the scheme;

- iii. Compile lists of employers and available training places for industrial attachment and forward such lists to the co-ordinating agencies (i.e NUC, NBTE, NCCE).

1.6 ROLE OF POLYTECHNICS

- i. Prepare and submit master and placement lists to the respective coordinating agency and IT.

- ii. Place students on attachment w.th employers

- iii. Establish SIWES coordinating units and appoint department, faculty SIWES coordinators within the institutions;

- iv. Organize orientation programmes for students to prepare them for industrial training. ITF representative may be invited to give a talk to the students during the orientation programme

- v. Appoint full-time industrial coordinators to operate the scheme at industrial level

1.7	ROLE OF STUDENTS

- i. Comply with the employer’s rules and regulations

- ii. Arrange their own living accommodation during the period of attachment

- iii. Be regular and punctual at respective place of attachment

- iv. Arrange their own living accommodation during the period of attachment

CHAPTER TWO

2.1	HISTORY OF UNIVERSITY OF ILORIN TEACHING HOSPITAL (UITH)

The University of Ilorin Teaching Hospital (UITH) was established to provide advanced medical care, train healthcare professionals, and support medical research in Nigeria. It is located along Oke-Ose Road in Ilorin, the capital of Kwara State. The hospital is affiliated with the University of Ilorin (UNILORIN) and serves as a key healthcare institution for both Kwara State and surrounding regions.

UITH was initially part of the University of Ilorin’s College of Health Sciences, which was founded in 1977. However, due to the need for a standard teaching hospital to support medical education and provide specialized healthcare services, the hospital was formally established as an independent institution. Over the years, it has grown into a leading tertiary healthcare facility in Nigeria, offering specialized medical services in various fields, including surgery, internal medicine, pediatrics, obstetrics, and gynecology.

The hospital was originally located in the central part of Ilorin but was later relocated to a larger, more modern facility along Oke-Ose Road to accommodate its expansion and increasing patient load. The relocation allowed for improved infrastructure, advanced medical equipment, and better training facilities for medical students and healthcare professionals. The new site provides a more conducive environment for healthcare delivery, research, and education.

Today, UITH continues to play a critical role in medical training, research, and healthcare service delivery. It serves as a referral center for complex medical cases and collaborates with national and international health organizations to improve healthcare standards in Nigeria. With continuous improvements in medical technology and services, the hospital remains a pillar of healthcare excellence in Kwara State and beyond.

I was section to the laboratory department during my stay in Midland fertility Laboratory which we were taught various things like:

LABORATORY HAZARD

Some of the laboratory hazards are fine inhalation of toxic fumes, electric shocks, burns, explosion E.T.C.

LABORATORY EQUIPMENT AND THEIR USES

i.	CENTRIFUGE: This is device which is used in a mixture of deaser and lighter material normally dispersed in liquid. It is used to separate blood sample into component i.e. serum & red blood cell.

ii.	STERILE SWAB STICK: This is small piece of soft absorbent material. It is used to take samples of body fluid such as vaginal fluid sample.

iii.	AUTOCLAVE: Is equipment used for sterilizing articles and media by steaming under pressure.

- PETRIDISH: It is used for holding culture media.

- ANTI-COAGULANT BOTTLE: This is specimen bottle which contain anti-coagulant to prevent blood from clotting.

- INCUBATOR: It is used to maintain the culturing of micro-organisms of steady temperature.

- MICROSCOPE: This is an optical instrument used for imaging and observing micro-organisms that cannot be seen with naked eyes.

- CAPILLARY TUBE: It is used to know the total volume of packed cell in the body. Blood sample is collected into it by lancet and spin inside the centrifuge.

- LANCET: This is used to prick the thumb of a patient for the collection of blood into the capillary tube.

- SEALANT: It is used sealing the end of the capillary tube after collecting the blood sample.

- ELECTROPHORESIS TANK: Is used in determining the migration of electrical charge molecule through medium under the influence of electric field in genotype.

- MICROHEMATOCRIT READER: Is used to determine the volume percentage of packed cell volume (PCV).

- SPECTROPHOTOMETER: used for determine the amount value of sugar or glucose in the body.

SAFETY PRECAUTIONS IN THE LABORATORY

- Smoking, eating, drinking must not be allowed in the laboratory

- All bottles should be clearly label to show their content when working

- Mouth pipette must never be allowed

- All broken bottles, glasses should be discarded into the dustbin

- Hand gloves should be worn when performing experiment

- Electrical fault should be reported immediately and it should be ensured that a trained person attempt the repair.

- Fire extinguisher should be available in the laboratory (to avoid fire hazard)

- Pack long hair while in the laboratory

- Protective laboratory coat must be worn when working in the laboratory

- Protective nose cover must be worn when working with culture

2.2	HOW TO COLLECT BLOOD SAMPLES

AIM: This is to known how to collect blood samples from a patient.

MATERIALS: Tourniquet, cotton wool, wet swab, Needle and Syringe

PROCEDURE: Either the left hand or right hand was used, the upper arm was tied with tourniquet firmly. The appropriate prominent vein was sterilized with the cotton wool. The needle and syringe was inserted into the prominent vein and withdraw the blood about 1.5-2ml. The tourniquet was removed likewise the needle and syringe. Dry cotton wool was applied to the point of insertion.

2.3	DETERMINATION OF PACKEC CELL VOLUME (PCV)

This is the test used to determine the level of blood in the body

AIM: To determine the percentage of the total volume of whole blood occupied by the body thought packed cell volume

MATERIALS: Capillary tube, venous blood sample, 2ml sterilized needle and syringe, microhematocrit reader, centrifuge, Bunsen burner flame.

PROCEDURE: The venous blood sample of the patient was collected with the aid of 2ml sterilized needle and syringe and was mixed gently. The sterilized needle was uncapped from the syringe capillary tube was filled with two-third (2/3) full of the well mixed Venus blood sample. One end of the capillary tube was sealed with the aid of a Bunsen burner flame to avoid leakage while spinning.

The capillary tube was placed in the centrifuge at a preset speed of 2500 r.p.m (revolution per minute) for 10 minute. The capillary tube was removed from the centrifuge after 10 minute. It was placed on the microhematocrit reader. It was used to measure the volume percentages of the parked cell.

OBSERVATION: Erythrocyte was packed together when spinned at 3500 (revolution per minute) for 10 minutes.

RESULT: The packed cell volume (PCV) of the patient was 43%

NOTE: Children at birth                44%-54%

Children of 2-5years              34%-4%

Adult Men               36%-54%

Adult Women              36%-54%

NOTE: If the PCV is below 25%, it means the person is anaemic

IMPORTANCE OF PACKED CELL VOLUME (P.C.V)

- It helps blood transfusion

- It helps the donation of blood

2.4	BLOOD GROUPING

This is the test that is issued to determine the individual blood group.

AIM: To determine the blood group of an individual

MATERIALS: ABO grouping antisera, applicator stick, white tile, blood sample, dry cotton wool, 2ml sterilized needle & syringe micropipette.

PROCEDURE: 2ml sterilized needle and syringe was used to collect the venous blood sample of the patient and was mixed gently.

- The surface of the while tile was cleaned with dry cotton wool

- A drop of each antisera A, antisera B, and antisera D were dispense on the white tile.

- A drop of the patient blood sample was dispensed on to each of the antisera with the aid of a micropipette.

- The white tile was rocked gently for 60seconds

OBSERVATION: Agglutination was observed on antisera A within 60seconds

RESULT: The blood group of the patient was A-negative written as A rhesus D negative

| SAMPLE | ANTISERA A | ANTISERA B | ANTISERA C | RESULT |
| --- | --- | --- | --- | --- |
| A |  |  |  | A “RHEUS” D POSITIVE |
| B |  |  |  | A “RHEUS” D NEGATIVE |
| C |  |  |  | B “RHEUS” D POSITIVE |
| D |  |  |  | B “RHEUS” D NEGATIVE |
| E |  |  |  | O “RHEUS”D POSITIVE |
| F |  |  |  | O “RHEUS”D NEGATIVE |
| G |  |  |  | AB “RHEUS” D POSITIVE |
| H |  |  |  | AB “RHEUS” D NEGATIVE |

RESONS FOR BLOOD GROUPING

- To avoid wrong transfusion of blood

- For the purpose of blood donation

- It helps one to know ones blood group

- To avoid immunological disease during birth

2.5	GENOTYPE TEST

PRINCIPLE: The component of the blood was separated by chromatographic movement.

AIM: To separate and identify the hemoglobin genotype of an individual

MATERIALS USED: Blood sample, control, cellulose accelerate paper, electrophoresis tank (Genotype tank) absorbant paper, water, applicator stock, micropipette, tris-buffer, white tile.

PROCEDURE:

- Tris-buffer was dispensed into the electrophoresis tank, on the tank (to allow the tank to warm before proceeding to the test)

- The cellulose acetate paper was wet with this buffer and dried 10 between folded absorbent paper (filter paper) A drop of blood sample and control was placed on a white tile.

- A drop of H2O was pipette in each of the blood & control and mixed thoroughly with the aid of applicator stick to issued the red blood cell.

- The edge of a tiny cover slip was dipped into the mixed blood, made a band on the cellulose acetate paper one a straight line. The cellulose acetate paper was placed in the electrophoresus tank.

OBSERVATION: The bands were separated after a few minutes (5min)

RESULT: The result is interpreted according to their separation if it is single bond it means AA

If double bond it means AS

If single and in the other side it means SS

If there is bond in both side means AC

2.6	VIRAL SCREENING

Viral screening includes the following test which are: Hepatitis B Virus (HBV) test, Hepatitis C Virus (HCV) test and Human Immune deficiency virus (HIV).

AIM: To determine Hepatitis B Virus (HBV) in the blood.

MATERIALS USED: Hepatitis B Virus (HBV) test, disposable  pipette, venous blood sample, 2ml sterilized needle & syringe, centrifuge, anti-coagulant bottle.

PROCEDURE: the hepatitis b virus (HBV) test strip was removed from the sealed pouched and was placed on a clean and level surface of the work bench.

- The venous blood sample of the patient was collected with the aid of 2ml sterilized needles & syringe.

- It was poured into the anti-coagulant bottle and was mixed gently.

- It was spinned with a centrifuge at a present speed of 2000 r.p.m (revolution per minute) for 5 minutes.

- The separated plasma from the blood was removed from the centrifuge after 5 minutes.

- Disposable pipette was held vertically and 3 full drops of undiluted plasma was transferred on the hepatitis B virus (HBV) test strip.

OBSERVATION: Migration was observed on the hepatitis B virus (HBV) test trip on which a distinct line was appeared. A line in the center region (C) and no line in the test region (T) was observed.

RESULT: the patient was negative to hepatitis B virus (HBV).

HEPATITIS C VIRUS (HCU) TEST

AIM: to determine Hepatitis C virus (HCV) in the blood.

MATERIALS USED: disposable pipette, hepatitis C virus (HCV) test strip,, centrifuge, anti-coagulant bottle,  2ml sterilized needle and syringe venous blood sample.

PROCEDURE: the Hepatitis C virus (HCV) test strip was removed from the sealed.

- It was placed on a clean and level surface of the work bench.

- The venous blood sample of the patient was collect with the aid of 2ml sterilized needle and syringe.

- It was poured into the anticoagulant bottle and was mixed gentle.

- It was spanned with a centrifuge at a preset speed of 2000 r.m.p ( revolution per minute) for 5 minutes.

- The separated plasma from the blood was removed from the centrifuge after 5 minutes.

- Disposable pipette was held vertically and 3 full drops of undiluted plasma was transferred on the Hepatitis C virus (HCV) test strip.

OBSERVATION: migration was observed in the Hepatitis C virus (HCV) test strip in which distinct line was appeared. A line in the control region (C) and no line in the test region (T) was observed

RESULT:  the patient was negative to Hepatitis C virus (HCV)

HUMAN IMMUNE DEFICIENCY VIRUS (HIV) TEST

AIM: to determine human immune deficiency virus (HIV) in the blood.

MATERIALS USED: disposable pipetted, centrifuge, anticoagulant bottle, 2 ml sterilized needle & syringe, venous blood sample, a leer determine IM HIV ½ test strip.

PROCEDURE: verous blood sample of the patient was collected with the aid of 2ml sterilized needle and syringe.

- It was poured into anticoagulant bottle and was mixed gently.

- A lerc determinant HIV ½ test strip was revoked from the sealed pouch.

- It was placed on a clean and level surface of the work bench.

- The venous blood sample was spinned with the aid of centrifuge at a present speed of 2000 r.p.m (revolution per minute) for 5 minutes.

- The separated plasma form the blood was taken out of the centrifuge after 5 minutes.

- Disposable pipette was held vertically and 3 full drops of undiluted plasma was transferred on the a lerc determine  HIV ½ test strip

OBSERVATION: migration was observed on alerc. determine  HIV ½ test strip in which a distinct line was observed a line in the control region (C) no line in the test region (T) was observed.

RESULT: the patient was negative to human immune deficiency virus (HIV).

CHAPTER THREE

3.0	PREGNANCY TEST

This is the test to know whether a particular woman is pregnant or not. Method (i) Using blood sample (ii) Using urine sample

AIM: Detection of human chorionic Gonadotropio (HCG) in blood.

MATERIALS USED: disposable pipette HCG (Human Chorionic Gonadotropin) test trip, venous blood sample, centrifuge, anticoagulant bottle, 2ml sterilized needle and syringe.

PROCEDURE: The human chronic gonadotropin )HCG) test strip was revoked from the sealed pouch. It was placed on a clean and level surface of the workbench. The venous blood sample of the patient was collected with the aid of a 2ml sterilized needle & syringe. It was poured into an anticoagulant bottle and was mixed gently. It was spinned with the aid of centrifuge at a preset speed of 2000 r.p.m (revolution per minute) for 5 minutes. The disposable pipette was held vertically and 3 full drops of serum was transferred on the (human chronic gonadotropin) HCG test strip.

OBSERVATION: migration was observed on the human chronic goncidotropin (HCG) test strip in which two distinct lines appear. One line in the control region (C) and a line in the test region (T) after 5 minutes

RESULT:  the patient blood was positive to HCG (Human Chronic Gonadotropin) i.e pregnant.

HCG means human chronic gonadotrophin (an hormone) which is present in placenta of the female.

USING URINE SAMPLE

- Urine was collected into a bottle (early morning urine)

- The test strip was  inserted into the urine and was removed after the migration

- The test strip was left for 10 minutes to read the result.

3.1	URINALYSIS TEST

Urinalysis is a group of manual and automated qualitative and semi-quantitative test performed on a urine sample. It is a routine analysis which involve the following: color, transparency, PH, protein, glucose, ketones, nitrate, urobilinogen, bilirubin.

AIM: To diagnose specific disorder in the kidney

MATERIALS: Urine sample, medi-test combi 9 dipstick, universal sterile bottle, medi-test combi 9 dipstick container.

PROCEDURE: The urine sample of the patient was collected with the aid of universal sterile bottle. Color and transparency of the urine sample was observed. The medi-test combi 9 dipstick was held vertically and urine sample was poured on it. The color change of the medi-test combi 9 dipstick was compared to the standard chart of the medi-test combi 9 dipstick container.

OBSERVATION: The color and transparency of the urine sample was bright yellow and cloudy.

RESULT:

Glucose            Positive

PH            7.0

Nitrite           Negative

Protein           Negative

Blood           Negative

Ketones            Negative

Urobiliogen          Negative

Bilirubin           Negative

Leukocyte           Negative

3.2	FASTING BLOOD SUGAR (FBS)

This is the test that is used to determine the level of glucose in the body.

MATERIALS: Blood lancet, Glucometer strip, cotton wool, spirit

METHOD: Before the blood is collected from the patient, he/she must be informed not to eat before the collection of blood sample.

- The thumb was cleaned with the wet-cotton wool.

- The glucometer strip was inserted into the glucometer

- A little drop was introduced into the window part of strip

- The reading was taken after 5 seconds

Normal fbs ranges is 80-120mg/dl

RANDOM BLOOD SUGAR (RBS)

This is the test that is used to determined the level of glucose in the body

NOTE: The only difference between fasting blood sugar and random blood sugar is that food can take before collection of random blood sugar sample.

3.3	MALARIA PARASITE

METHOD:

- Using blood sample

- Using malaria parasite kit

USING BLOOD SAMPLE

AIMS: To detect malaria parasite in the blood

MATERIAL USED: light microscope , clean grease free slide, field stain A, field stain B, immersion oil, venous blood sample, 2ml sterilized needle and syringe, anticoagulant bottle, local dryer.

Procedure: Venous blood sample of the patient was collected with the aid of a 2ml sterilized needle and syringe.

- It was poured into the anticoagulant bottle and was mixed gently.

- Little quantity of the blood sample was placed on a clean grease free slide.

- With the aid of a spreader, the blood was smear round the area till a thick film shape was achieved.

- It was heat dried with the aid of a local dryer and was allowed to cool.

- It was flooded with field stain A for 2 minutes and was rinsed with tap water immediately.

- It   was allowed to dry with a local dryer

- It was viewed under the light microscope by placing a drop of immersion oil on the centre of the smear.

- An oil immersion objective lens of x100 was used to view the malaria parasite.

OBSERVATION: chromatin dots, ringworm of gametocyte of plasmodium Falcipanum were observed.

RESULT: Ringform gametocyte or Plasmodium falciparum was indicated as malaria parasite.

USING MALARIA PARASITE KIT

Malaria parasites are micro organisms that belong to the genus plasmodium. Malaria is a mosquito born infectious diseases of human and other animals caused by eukaryotic protists of the germs plasmodium.

AIM: To detect the presence of malaria parasite in the body.

MATERIAL NEEDED: Blood sample, needle & syringe, malaria parasite kit and buffer.

PROCEDURE: Blood sample was withdrawn from the patient with the aid of needle and syringe. Blood was spotted into specimen hole of the malaria kit.2-3 blood of buffer solution was added. The kit was left for 15 minutes in order to confirm the result.

OBSERVATION: Two red lines appeared on the malaria kit which means the patient is positive.

NOTE: two red lines means the patient is positive but one red line means the patient is negative.

3.4	CROSS-MATCHING (COMPATIBILITY TEST)

USING MAJOR AND MINOR

Compatibility or cross-matching test was done to determine if the blood of the donor and the recipient are compatible without any problem.

AIM: To determine the compatibility of the blood donor and the recipient.

MATERIALS USED: Normal saline, test tubes, light microscope, microscope slide, white tile, centrifuge, blood sample.

PROCEDURE: 5% was had red cell suspension of the donor and recipient red cells was prepared in normal saline. It was prepared in a properly labeled tubes. The white tile was labeled minor and major. The recipient blood was centrifuged at a present speed of 2000 r.p.m (revolution per minutes). A drop of recipient serum and donor red cell suspension was placed on a white tile and was mixed with the aid of an applicator stick. The donor’s blood was centrifuged at a preset speed of 2000 r.p.m (revolution per minute) for 5 minutes to the minor part of the white tile, a drop of recipient red cell was added and was mixed gently with the aid of applicator stick, it was allowed to stand at room temperature for 5 minutes moist chamber. It was examined with the aid of light microscope and macroscopically.

OBSERVATION: agglutination was not observed macroscopically and agglutination was observed microscopically.

Result: the compatible donor and recipient blood shows how agglutination in both the major and minor cross matching compatibility was examined on the light microscope.

USING EMERGENCEY METHOD

This test used to know whether the donor’s blood is compatible with the recipient’s blood.

MATERIAL: Donor’s blood, recipient blood, normal applicator, white tile, microscope, bucket centrifuge, scissors.

METHOD: Normal saline was added to donor’s blood and spinned inside the bucket centrifuge.

- The top layer after spinning was discarded.

- The normal saline was added to the bottom layer after

- The above procedure was repeated for three times

- Recipient blood was spinned as well and the serum (2 drops) was put on a clean white tile with 2 drops of donor’s blood and 2 drops of normal saline.

- They were mixed together with the use of an applicator

- Dropping pipette was used to draw 2 drops of the above mixture.

- It was then viewed under  microscope

- It was then viewed under microscope

RESULT: If the red cells are moving, it means they are compatible but if the red cells are stationary, it means they are not compatible.

IMPORTANCE OF COMPATIBILITY TEST

- It helps to avoid the rigour during transfusion

- It helps to avoid wrong transfusion of blood

3.5	WIDAL TEST

MATERIALS

Needle and syringe, EDTA bottle, Bucket centrifuge, Tiles, Pipette, Cotton wool, Applicator stick, 2ml sterilized needle and syringe, widal kit test (contain suspension of salmonella typhi O antigen, salmonella paratyphi A-O, B-O, C-O, salmonella typhi H antigen, salmonella typhi A-H, B-H, C-H antigen.

PROCEDURE

Blood sample was collected from the vein, poured inside the EDTA bottle, put inside the bucket centrifuge to separate the blood from the serum for 5minutes. After spinning the sample, then the serum is picked with a pipette and drop on the tiles, a drop of each widal test kit was dispensed on a clean white tile respectively, then mix the serum and widal test kit with applicator stick, then clean the pipette with a cotton wool, then it is rocked for 2 minutes and you wait for the sample to react and you read your results.

RESULT

If the result is 1/10 1/20	1/40, it means there are no traces of typhoid. If the result is 1/80 1/120 1/160, it means there is trace of typhoid.

CHAPTER FOUR

4.1	CONCLUSION

The training programme which I went through at the University of Ilorin Teaching Hospital (UITH), which has broaden my knowledge but also provide me with an experience of how to handle some medical equipments in the laboratory.

It was in the training I was exposed to a typical industrial atmosphere of learning which has also contributed to my knowledge.

The important aspect of this training cannot be over emphasized as it does not only broaden my knowledge but also make the experience a part of me.

4.2	RECOMMENDATION

To enhance the services and impact of Midland Fertility, it is recommended that the management invest in modern medical equipment and technology. Upgrading diagnostic tools, laboratory facilities, and treatment equipment will improve the accuracy and efficiency of medical care. This will not only attract more patients but also ensure better healthcare delivery, aligning with global best practices.

Additionally, the laborator should consider expanding its healthcare workforce by employing more qualified medical staffs. Providing continuous training and professional development for existing staff will further enhance service quality. A well-trained and adequately staffed hospital ensures prompt attention to patients, reducing wait times and improving overall patient satisfaction.

Another crucial recommendation is the implementation of a structured health insurance scheme for patients, particularly those from low-income backgrounds. Collaborating with government agencies and private health insurers can make healthcare more affordable and accessible. This initiative will encourage more people to seek medical attention early, preventing complications and reducing the burden of emergency cases.

Lastly, UITH should strengthen its community outreach programs by conducting free medical check-ups, health education seminars, and vaccination drives. Partnering with local organizations and businesses can facilitate these efforts, promoting public health awareness and early disease detection. Engaging with the community in this way will reinforce the hospital’s reputation as a trusted healthcare provider, fostering long-term relationships with residents.

4.3	CHALLENGES

The University of Ilorin Teaching Hospital (UITH), like many laborator facilities in Nigeria, faces several challenges that impact its ability to deliver optimal medical services. One of the primary challenges is inadequate funding, which limits the hospital’s ability to upgrade medical equipment, expand infrastructure, and hire more skilled healthcare professionals. Without sufficient financial resources, maintaining high-quality healthcare services becomes difficult, leading to inefficiencies in service delivery.

Another significant challenge is the shortage of qualified medical personnel. Many healthcare professionals seek better opportunities abroad or in larger urban hospitals, leading to understaffing in facilities like Welfare Hospital. This shortage results in longer waiting times for patients, increased workload for existing staff, and potential burnout among healthcare workers, ultimately affecting the quality of care.

Furthermore, unreliable power supply and inadequate medical infrastructure pose a major problem. Frequent power outages can disrupt medical procedures, affect the storage of essential medications and vaccines, and hinder the effective operation of medical equipment. Without alternative power sources such as backup generators or solar energy, healthcare delivery may be compromised, especially in critical care situations.

Lastly, accessibility and affordability remain key challenges for many patients seeking healthcare at Welfare Hospital. The cost of medical treatments, medications, and consultations can be a burden for low-income individuals, leading to delayed medical attention or self-medication. Additionally, transportation issues and poor road networks can make it difficult for patients in remote areas to reach the hospital on time, especially in emergencies. Addressing these challenges will require strategic investments, government support, and community collaboration to improve healthcare services.