STUDENTS’ INDUSTRIAL WORK EXPERIENCE SCHEME (SIWES)

HELD AT

SOLA SAT MUTIVENTURES

OGBOMOSHO, OYO STATE, NIGERIA

BY

AJIBOYE ODUNAYO OMOYEMI

ND/23/PAD/PT/0734

SUBMITTED TO THE DEPARTMENT OF PUBLIC ADMINISTRATION,

INSTITUTE OF FINANCE AND MANAGEMENT STUDIES,

KWARA STATE POLYTECHNIC, ILORIN

2024/2025 ACADEMIC SESSION

Dedication

This seminar work is dedicated to Almighty God for its successful completion

Acknowledgements

Foremost, my appreciation goes to Almighty God for the successful completion of this SIWES report.

My sincere appreciation goes to Industrial Training and Management of kwara State polytechnic for the opportunities given in having practical idea of what’s learnt in the four wall of a class room.

Lastly, my appreciation goes to all those who were supportive in one way or the other in the success of this work.

Thanks to you all.

TABLE OF CONTENTS

Title Page											i

Dedication 											ii

Acknowledgements 										iii

Table of Contents										iv

CHAPTER ONE: INTRODUCTION

1.1	Background of SIWES								1

1.2	Objectives of SIWES									3

1.3	Description of Sola Sat Multiventures						4

1.4	Organogram										4

CHAPTER TWO: DESCRIPTION OF WORK

2.1	Demonstration of Solar Power Disconnection and Maintenance			5

2.2	Practical Guide in Disconnecting Solar Power					6

2.3	Industrial Demonstration on How to Perform Maintenance of Solar Power

Systems										7

2.4	How to Make Use of Different Tools for Solar Installation				8

2.5	Understanding Load Analysis								9

2.6 	Formula for Calculating Load Requirements						10

2.7	Sources of Power									12

2.8	How to Calculate the Number of Panels to Use					13

2.9	Series and Parallel Connection of Solar Panels					13

2.10	Uses of Battery Inverter								14

2.11	Maintaining an Inverter								15

2.12	Performance Optimization								16

CHAPTER THREE: LESSONS LEARNED AND CHALLENGES FACED

3.1	Lessons Learned									17

3.2	Challenges Faced									18

CHAPTER FOUR: CONCLUSION AND RECOMMENDATIONS

4.1	Conclusion										19

4.2	Recommendations									19

CHAPTER ONE

INTRODUCTION

1.1	Background of SIWES

The Student Industrial Work Experience Scheme (SIWES) was introduced to bridge the gap between theoretical classroom learning and practical industrial applications. It was established by the Industrial Training Fund (ITF) in 1973 to equip students in technical and professional fields with hands-on experience. Before SIWES was introduced, many graduates struggled to adapt to real-world job demands because they lacked the necessary skills required in industries. The program was designed to expose students to practical knowledge, enabling them to understand industry operations before graduation.

SIWES is a compulsory training program for students in fields like engineering, sciences, technology, and management, among others. It provides them with an opportunity to apply the theoretical knowledge gained in school to real work situations. The scheme aims to prepare students for the job market by familiarizing them with workplace ethics, organizational structure, and problem-solving techniques. Through this experience, students gain a deeper understanding of how industries function and how their academic knowledge fits into the bigger picture.

Over the years, SIWES has proven to be a crucial part of tertiary education in Nigeria. Institutions collaborate with various organizations to place students in relevant industries where they can acquire technical skills. During the program, students learn directly from industry experts, which helps to enhance their confidence and competence in their chosen professions. The hands-on experience gained through SIWES often gives students an edge in employment after graduation, as employers prefer candidates who already have practical exposure.

One of the key benefits of SIWES is that it enhances creativity and problem-solving abilities. Students are often faced with real challenges that require critical thinking and practical solutions. This exposure helps them develop adaptability and resilience, which are essential qualities in today’s competitive job market. In addition, SIWES encourages students to cultivate a professional work ethic, including punctuality, teamwork, and effective communication skills, which are highly valued in any work environment.

Furthermore, SIWES fosters strong industry-academic collaboration. Employers get the chance to interact with potential future employees, while institutions receive feedback on how to improve their curriculum to better align with industry needs. Many students also use their SIWES period as an opportunity to secure job placements after graduation, as some companies absorb outstanding trainees into their workforce. This shows how impactful the program has been in shaping career paths and reducing the unemployment rate.

In conclusion, SIWES is not just a requirement for students; it is a transformative experience that prepares them for the realities of the workforce. It helps bridge the gap between education and employment, ensuring that graduates are not just theoretically sound but also practically equipped. The program continues to be a stepping stone for students, providing them with essential skills, knowledge, and industry exposure that contribute to their career growth and development.

1.2	Objectives of SIWES

The followings are some of the objectives of SIWES:

- To expose students to real-world industry practices and work environments.

- To bridge the gap between classroom knowledge and practical industry applications.

- To equip students with hands-on skills relevant to their field of study.

- To help students understand workplace ethics and organizational structures.

- To improve students’ technical knowledge and problem-solving abilities.

- To develop students' confidence in handling industry-related tasks.

1.3	Description of Sola Sat Multiventures

Sola Sat Multiventures is a growing solar energy company based in Ogbomoso, Oyo State. The company was founded in August 2018 with the aim of providing sustainable and reliable energy solutions. Since its establishment, it has been committed to promoting the use of renewable energy through the sales and installation of solar panel gadgets.

The organization specializes in the distribution and installation of high-quality solar panels, inverters, batteries, and other related accessories. It caters to both residential and commercial clients, offering tailored solutions that help reduce dependence on traditional power sources. The company also provides maintenance services to ensure optimal performance of solar systems.

Sola Sat Multiventures has a team of skilled technicians and engineers who are well-trained in solar power system installations. They educate clients on the benefits of solar energy, guiding them through the selection of the right equipment for their specific needs. The company prioritizes customer satisfaction by delivering efficient and durable solar power solutions.

In addition to installations, the company is actively involved in energy consultancy and training. It educates individuals and businesses on energy management, load calculation, and the best practices for maintaining solar systems. This has positioned the company as a trusted source of knowledge in the solar energy industry.

Over the years, Sola Sat Multiventures has built a strong reputation for quality service and professionalism. It continues to expand its operations by adopting innovative technologies in the renewable energy sector. The company remains dedicated to helping individuals and businesses transition to clean and sustainable energy sources.

1.4	Organogram

CHAPTER TWO

DESCRIPTION OF WORK

2.1	Demonstration of Solar Power Disconnection and Maintenance

During the SIWES program at Sola Sat Multiventures, one of the key training sessions focused on the demonstration of solar power disconnection and maintenance. This process is crucial in ensuring the safe handling of solar energy systems, especially during repairs or upgrades. The demonstration began with an explanation of the importance of disconnecting a solar power system before performing any maintenance. The instructor emphasized that improper disconnection could lead to electrical hazards, system damage, or even personal injury.

The training involved understanding the different components of a solar power system and identifying the main points of disconnection. We were introduced to essential safety precautions, such as wearing insulated gloves, using voltage testers, and ensuring that the system is not under load before disconnection. The instructor also highlighted the need for proper documentation of system configurations before disconnecting, to ensure easy reconnection after maintenance.

A step-by-step demonstration was carried out, showing how to isolate the solar panels from the inverter and battery storage. The process started with shutting down the inverter and disconnecting the battery terminals, followed by detaching the solar panels. Each step was explained in detail, with a focus on minimizing risks. The session also covered how to check for faulty connections and test the system after reconnection to confirm its functionality.

In addition to disconnection, we were taught various maintenance techniques to prolong the lifespan of solar power systems. These included cleaning solar panels to remove dust and debris, inspecting battery terminals for corrosion, and checking wiring connections for signs of wear. Regular maintenance ensures that the system operates efficiently and reduces the risk of unexpected failures.

Overall, the demonstration provided valuable hands-on experience in handling solar power systems safely and effectively. By the end of the session, we had gained the confidence to perform basic disconnection and maintenance tasks independently. This training was essential in understanding how to maintain a reliable and long-lasting solar power system.

2.2	Practical Guide in Disconnecting Solar Power

The practical session on disconnecting solar power systems was an in-depth, hands-on experience aimed at teaching the proper procedures for safe disconnection. This was a crucial aspect of the training because improper handling of solar power systems can lead to electrical shocks, equipment damage, or power outages. The session began with a theoretical discussion on why and when solar power disconnection is necessary, such as during repairs, system upgrades, or fault detection.

To begin the disconnection process, the instructor first guided us in identifying the components that needed to be isolated. We learned that the primary areas of disconnection include the inverter, battery storage, and solar panels. Before performing any disconnection, we were instructed to turn off the inverter to stop power flow. The next step involved safely disconnecting the battery terminals to eliminate stored energy, preventing potential electric shocks.

After securing the battery, we moved on to the solar panels. The instructor demonstrated how to unplug the solar panel connectors and remove any fuses or breakers that might still be supplying power to the system. Care was taken to avoid accidental damage to the wiring or connectors, as improper handling could lead to short circuits when reconnecting the system. We also learned the importance of labeling disconnected cables to ensure easy reassembly.

A key focus of the training was the use of proper safety gear and tools, such as insulated pliers, screwdrivers, and voltage testers. We were taught how to test whether the system was completely de-energized before proceeding with any maintenance. The session also covered common mistakes to avoid, such as disconnecting under load or failing to check for residual voltage before touching electrical terminals.

By the end of the practical session, each trainee had the opportunity to perform a guided solar power disconnection. This hands-on experience reinforced our understanding of the process and built our confidence in safely handling solar power systems. The knowledge gained from this session is vital for ensuring safety and efficiency in real-world solar energy operations.

2.3	Industrial Demonstration on How to Perform Maintenance of Solar Power Systems

Maintenance is a critical aspect of ensuring that a solar power system functions efficiently over its lifespan. During the industrial demonstration, we were introduced to various maintenance techniques used in professional solar energy management. The session was conducted by experienced technicians who provided detailed insights into preventive and corrective maintenance of solar power systems.

The first step in solar system maintenance is visual inspection. We were taught how to inspect solar panels for dirt, debris, cracks, or discoloration that could affect performance. The importance of keeping solar panels clean was emphasized, as dirt accumulation can significantly reduce energy output. We learned the proper cleaning methods, including using soft cloths and non-abrasive cleaners to avoid scratching the panels.

Next, we were trained on battery maintenance. Since solar power systems store energy in batteries, proper battery care is essential for system longevity. The instructor demonstrated how to check battery electrolyte levels, clean terminals to prevent corrosion, and ensure proper ventilation in battery enclosures. We also learned how to measure battery voltage levels and identify signs of battery failure.

Wiring and connection maintenance was another important aspect covered in the demonstration. The instructor showed us how to inspect for loose or damaged wiring, check connectors for wear, and tighten any loose screws in electrical panels. Additionally, we were introduced to fault detection techniques, such as using a multimeter to check voltage levels across different system components.

Finally, we learned about performance optimization. This involved adjusting panel angles for maximum sunlight exposure, upgrading system components when necessary, and ensuring efficient load distribution. The instructor emphasized the importance of regular maintenance schedules to prevent unexpected breakdowns and maximize the efficiency of the solar power system.

Through this demonstration, we gained valuable skills in diagnosing and maintaining solar energy systems. The knowledge acquired will be beneficial in ensuring the long-term performance and reliability of solar installations.

2.4	How to Make Use of Different Tools for Solar Installation

Solar power installation requires the use of specialized tools to ensure accuracy and safety. During our SIWES training, we were introduced to various tools essential for solar panel installation and maintenance. Understanding how to use these tools correctly is crucial for efficiency and safety in solar energy projects.

One of the primary tools we learned to use was the multimeter. This device helps in measuring voltage, current, and resistance in electrical circuits. The instructor demonstrated how to use a multimeter to check solar panel output, battery charge levels, and inverter efficiency. This tool is essential for troubleshooting system faults and ensuring proper energy flow.

We also worked with crimping tools and wire strippers, which are used for securing electrical connections. Properly crimped and stripped wires ensure that the electrical flow remains stable and prevents short circuits. The instructor emphasized the importance of using the correct wire gauge for different components to prevent overheating.

Another important tool introduced was the solar panel mounting kit. We learned how to use brackets, clamps, and fasteners to securely install solar panels on rooftops or ground-mounted structures. The importance of positioning panels at the right angle for maximum sunlight exposure was also discussed.

For battery and inverter connections, we used insulated screwdrivers and pliers. These tools help in safely tightening or loosening electrical connections without the risk of electrical shock. The instructor also demonstrated the use of cable testers to check for broken or faulty wires in the system.

By the end of the training, we had gained practical experience in handling various solar installation tools. This knowledge will be highly beneficial for future solar power projects, as proper tool usage ensures safety, efficiency, and long-term system performance.

2.5	Understanding Load Analysis

Load analysis is a fundamental process in solar power system design, as it helps determine the energy requirements of a household or business. During our training at Sola Sat Multiventures, we learned that load analysis involves identifying all electrical appliances that will be powered by the solar system and calculating their total energy consumption. This process is essential to ensure that the solar system is adequately sized to meet energy demands.

The first step in load analysis is listing all electrical devices and noting their power ratings, usually measured in watts (W). Common household appliances include bulbs, fans, televisions, refrigerators, and air conditioners. We were taught how to check the power rating of each device, which is typically displayed on the manufacturer’s label. The sum of all these ratings gives an idea of the total power demand.

Next, we learned about daily energy consumption, which is calculated by multiplying the power rating of each device by the number of hours it operates daily. This gives the total energy consumption in watt-hours (Wh). For example, if a 60W bulb runs for five hours a day, it consumes 60W × 5h = 300Wh per day. This step is crucial in determining the size of the solar panel, battery, and inverter needed for the system.

We were also introduced to peak load analysis, which involves identifying the maximum power demand at any given time. This helps in selecting an inverter with the appropriate capacity to handle the highest energy load. Understanding peak load ensures that the inverter is not overloaded, preventing damage to the system.

By the end of this session, we had a clear understanding of how to conduct a proper load analysis. This knowledge is essential for designing efficient solar power systems that match energy consumption needs while avoiding oversizing or undersizing the components.

2.6 	Formula for Calculating Load Requirements

Calculating load requirements is a key aspect of solar power system design, as it ensures that the system is capable of supporting all connected appliances. During our training, we learned the standard formulas used to determine the total energy consumption of a given setup. This process involves basic electrical calculations that guide the selection of appropriate solar components.

The first formula we learned was:

Energy Consumption (Wh) = Power (W) × Time (hours per day)

This formula helps in determining the daily energy usage of each electrical device. By summing up the energy consumption of all devices, we can calculate the total daily load requirement.

To determine the total wattage needed for a solar system, we used:

Total Power Required (W) = Total Energy Consumption (Wh) / Sunlight Hours (h)

This formula helps in selecting the correct solar panel capacity, ensuring that it generates enough energy during available sunlight hours. For instance, if the total daily consumption is 5,000Wh and there are 5 hours of peak sunlight, then the required solar panel power is 5,000Wh ÷ 5h = 1,000W (or 1kW).

We also learned about inverter sizing, which is calculated using:

Inverter Capacity (W) = Total Power Load (W) × Safety Factor (1.3 or 1.5)

This ensures that the inverter can handle fluctuations in power demand without being overloaded.

Battery capacity was calculated using:

Battery Capacity (Ah) = Total Energy Consumption (Wh) ÷ Battery Voltage (V)

For example, if a system requires 3,000Wh daily and the battery voltage is 12V, then the required battery capacity is 3,000Wh ÷ 12V = 250Ah.

By mastering these formulas, we gained the ability to calculate and design solar power systems tailored to specific energy needs.

2.7	Sources of Power

Understanding the different sources of power is crucial in designing an efficient energy system. During our training, we were introduced to various energy sources and their applications in solar power systems.

The first source is solar power, which converts sunlight into electricity using photovoltaic (PV) panels. This is the primary energy source for off-grid and hybrid solar systems, offering a clean and renewable option for electricity generation. Solar energy is abundant and reduces reliance on fossil fuels.

Grid electricity is another major source of power, supplied by utility companies through transmission lines. In many areas, solar power is used as a backup to grid electricity, especially where there are frequent power outages. Hybrid solar systems combine solar panels with grid power for improved reliability.

We also learned about generator power, which is commonly used as an alternative source in case of insufficient solar energy. Generators run on fuel such as petrol or diesel and provide instant backup power. However, they have higher operational costs and produce emissions, making them less environmentally friendly.

Another important source is battery storage, which stores excess solar energy generated during the day for use at night or during low sunlight conditions. Batteries play a critical role in maintaining continuous power supply in off-grid solar systems.

Lastly, we explored wind and hydro power, which are renewable energy sources used in specific locations. Wind turbines generate electricity from wind movement, while hydroelectric systems use flowing water to produce energy. These sources can be integrated into solar systems to create hybrid energy solutions.

2.8	How to Calculate the Number of Panels to Use

Determining the number of solar panels needed for a system is essential for designing an efficient solar power setup. This calculation ensures that the panels generate enough electricity to meet energy consumption needs.

The first step is to determine the total daily energy requirement using the formula:
Total Energy Consumption (Wh) = Power (W) × Time (hours per day)

For example, if the total energy consumption of a household is 5,000Wh per day, this value will guide the panel selection.

Next, we calculate the required solar power by dividing the total energy consumption by the average sunlight hours:

Solar Panel Power (W) = Total Energy (Wh) ÷ Sunlight Hours

If the location receives 5 hours of peak sunlight daily, then the required solar power is 5,000Wh ÷ 5h = 1,000W (1kW).

Now, we determine the number of panels needed using the formula:

Number of Panels = Required Solar Power (W) ÷ Panel Wattage (W)

If using 250W panels, then 1,000W ÷ 250W = 4 panels.

This method ensures an accurate estimation of solar panel requirements for optimal energy production.

2.9	Series and Parallel Connection of Solar Panels

Solar panels can be connected in series or parallel to achieve the desired voltage and current for a solar power system.

In a series connection, the positive terminal of one panel is connected to the negative terminal of another. This increases the system’s voltage while keeping the current the same. The total voltage is calculated as:

Total Voltage = Voltage of One Panel × Number of Panels

For example, connecting four 12V panels in series results in a 48V system.

In a parallel connection, all positive terminals are connected together, and all negative terminals are connected together. This increases the current while keeping the voltage the same. The total current is calculated as:

Total Current = Current of One Panel × Number of Panels

For example, connecting four panels with 5A each in parallel results in 20A total current.

Choosing between series and parallel connections depends on the voltage and current requirements of the inverter and charge controller.

2.10	Uses of Battery Inverter

A battery inverter is a crucial component of a solar power system that converts DC (direct current) electricity from batteries into AC (alternating current) for home and industrial use.

One of its primary uses is power conversion. Since most household appliances run on AC, the inverter ensures compatibility by converting stored DC power into usable AC electricity.

Battery inverters also provide backup power during outages. When solar panels are not generating power, the inverter draws energy from the battery bank, ensuring continuous power supply.

Additionally, some inverters support grid-tied functionality, allowing excess solar power to be fed back into the grid, reducing electricity costs.

Modern battery inverters come with smart monitoring systems, which track energy usage, battery status, and solar generation in real-time.

Inverters also help regulate voltage stability, ensuring that connected devices receive the appropriate voltage without fluctuations.

2.14	Pure Sine Wave Inverter vs. Modified Sine Wave Inverter

When selecting an inverter, it is essential to understand the difference between pure sine wave and modified sine wave inverters.

A pure sine wave inverter produces smooth, consistent AC electricity, similar to the power supplied by the grid. This type is ideal for sensitive electronics like computers, medical devices, and refrigerators, as it prevents overheating and damage.

A modified sine wave inverter generates a stepped or squared waveform, which is less smooth than a pure sine wave. While it works for basic appliances like fans and lights, it may cause noise or inefficiencies in sensitive electronics.

Advantages of a pure sine wave inverter include higher efficiency, compatibility with all devices, and longer appliance lifespan. However, it is more expensive.

Advantages of a modified sine wave inverter include affordability and suitability for basic power needs. However, it may not work well with complex electronics.

Choosing the right inverter depends on the type of appliances and the budget for the solar power system.

2.11	Maintaining an Inverter

Regular maintenance of an inverter ensures its efficiency and extends its lifespan. During our training, we learned several key maintenance practices.

One essential step is keeping the inverter in a well-ventilated area to prevent overheating. Inverters generate heat during operation, and proper airflow helps maintain optimal performance.

Regular cleaning of dust and debris is also important, especially for inverters placed in dusty environments. Accumulated dirt can affect internal components and reduce efficiency.

It is important to check the battery connections frequently. Loose or corroded terminals can lead to voltage drops and inefficient power conversion.

Monitoring the inverter display panel or software helps in identifying error messages, faults, or performance issues early. Many modern inverters come with mobile apps for remote monitoring.

Lastly, avoiding overloading the inverter ensures that it operates within its rated capacity. Overloading can cause overheating and reduce the inverter’s lifespan.

2.12	Performance Optimization

To maximize the efficiency of a solar power system, certain performance optimization techniques should be implemented.

One important factor is proper panel positioning. Solar panels should be installed at an optimal angle to receive maximum sunlight exposure throughout the day. Adjusting panel tilt seasonally can further improve efficiency.

Regular cleaning of solar panels ensures maximum sunlight absorption. Dust, dirt, and bird droppings can reduce panel efficiency by blocking sunlight.

Using a high-quality charge controller helps regulate battery charging and prevents overcharging or deep discharging, which can extend battery life. MPPT (Maximum Power Point Tracking) controllers are more efficient than PWM controllers.

Ensuring proper wiring and connections minimizes energy losses. Using the right cable size prevents voltage drops, which can affect the overall performance of the system.

CHAPTER THREE

LESSONS LEARNED AND CHALLENGES FACED

3.1	Lessons Learned

Participating in the SIWES program at Sola Sat Multiventures provided invaluable hands-on experience and deepened my understanding of solar energy systems. Throughout the training, I acquired both technical and problem-solving skills, which are essential for effective solar power installation and maintenance.

One of the key lessons learned was the importance of safety measures in solar installation and maintenance. Working with electrical components requires strict adherence to safety protocols to prevent hazards such as electric shocks and fire outbreaks. I also learned the significance of using the right tools for each task, ensuring efficiency and accuracy in solar panel installations.

Another vital lesson was understanding load analysis and energy management. Before installing a solar power system, it is necessary to calculate the energy consumption of appliances to determine the number of solar panels, batteries, and inverters needed. This knowledge is crucial for designing an effective and cost-efficient solar system.

I also gained insight into troubleshooting and fault detection in solar systems. Being able to identify common issues, such as battery failures, inverter malfunctions, or poor wiring connections, is essential for maintaining system efficiency and prolonging the lifespan of solar components.

Additionally, I learned the value of teamwork and communication in the solar industry. During installations and maintenance work, coordination among team members is necessary to ensure smooth operations and avoid errors. These lessons will be beneficial for my future career in public administration, especially in sectors related to energy and sustainable development.

3.2	Challenges Faced

Despite the valuable experience gained during the SIWES program, several challenges were encountered, making the learning process more demanding but also enriching.

One major challenge was handling technical complexities in solar panel installation and maintenance. As a beginner, understanding the intricate wiring systems and load calculations initially felt overwhelming. However, with continuous practice and guidance from professionals, I was able to grasp these concepts effectively.

Another difficulty was working under harsh weather conditions. Solar installation often requires outdoor work, and exposure to extreme sunlight or rain made some tasks physically challenging. Proper hydration and protective gear were necessary to cope with these conditions.

Limited access to some advanced solar installation tools and equipment also posed a challenge. Certain high-tech devices, such as advanced multimeters and solar analyzers, were not always available, which sometimes slowed down the learning process. However, we improvised and made the most of the available resources.

Time constraints were another issue, as balancing theoretical learning with practical sessions required effective time management. The technical aspects of solar power installation demanded a lot of hands-on training, which sometimes extended beyond regular working hours.

Lastly, troubleshooting and fault detection in solar systems proved to be difficult at times. Diagnosing the exact cause of a system failure, whether related to the inverter, battery, or solar panels, required critical thinking and problem-solving skills. However, with persistence and guidance from experienced technicians, I gradually became more confident in identifying and resolving issues.

CHAPTER FOUR

CONCLUSION AND RECOMMENDATIONS

4.1	Conclusion

The SIWES program at Sola Sat Multiventures was a highly insightful and practical learning experience that enhanced my understanding of solar power systems, installation techniques, maintenance procedures, and energy management. Through hands-on training, I acquired technical skills in solar panel connection, inverter functionality, battery capacities, and troubleshooting common system faults. Despite facing challenges such as technical complexities, harsh weather conditions, and limited access to advanced tools, the experience strengthened my problem-solving abilities and adaptability. Overall, the program provided me with valuable knowledge that will be useful in both the renewable energy sector and public administration, particularly in the promotion of sustainable energy solutions.

4.2	Recommendations

At the end of the SIWES program, the following recommendations are made:

- Provide more advanced tools and equipment to enhance the efficiency of solar power training.

- Increase hands-on training sessions to help students gain practical experience in solar installation.

- Improve safety measures enforcement to prevent electrical hazards during solar system installations and maintenance.

- Enhance troubleshooting skill development to enable trainees to identify and fix solar power faults.

- Offer better weather protection for trainees working under harsh environmental conditions during installations.

- Extend training program duration to allow students to gain deeper knowledge and practical skills.

- Organize load analysis workshops to educate trainees on calculating energy consumption for installations.