TECHNICAL REPORT ON STUDENT

INDUSTRIAL WORK EXPERIENNCE SCHEME

(SIWES)

UNDERTAKEN AT

EPHAT-ANUOLUWAPO CLINIC AND MATERNITY HOMEI,WALE AGUDA STREET,ODOGUNYAN,IKORODU LAGOS STATE

BODUNDE DAVID DOYIN

ND/23/SLT/PT/0671

SUBMITTED TO THE DEPARTMENT OF SCIENCE LABORATORY TECHNOLOGY,INSTITUTE OF APPLIED

SCIENCES(IAS),KWARA STATE POLYTECHNIC,ILORIN.

IN PARTIAL FULFILLMENT FOR THE REQUIREMENT OF THE AWARD OF NATIONAL DIPLOMA IN

SCIENCE LABORATORY TECHNOLOGY

AUGUST TO NOVEMBER,2024.

CHAPTER ONE

1.I INTRODUCTION

SIWES was purposely introduced in onder to make student acquire more knowledge or skills about a metheds of some profenional work and to exposed them to the ured of some equipment in the peogramme and sho to help the students on how sctup and safeguand their own industry and or organiration in future

1.2 AIMS AND OBJECTIVE OF SIWES

It expose the stuadent to some equipment which are not available in school.

SIWES programme prepare students for the work sinuation they are likely to meet after graduation from school

It enables student to be self dependent not only on the theoretical aspects but also on practical aspects in the field of study.

It also helps to know the general safety peecautions,rules and regulations of on organiration or establishment.

CHAPTER TWO 21 ORGANIZATIONAL CHART OF THE COMPANY

Doctor office

Laborstury

Nares Stationary

Ressptioniat

2.2 OBJECTIVES

The objestives behind the eneblishenenst of the herperal arne:

(1) To deliver cbeap health care services.

(2) To train medical and paramedical pensonnel

(3)To serve as a refernal centre fior eother borpiltals around and

(4) To conduct researches

2.3THE VARIOUS DEPARTMENTS AND THEIR FUNCTIONS ARE AS FOLLOWS:

1.	MEDICAL LABORATORY:where various lests are performed

2	THEATHRE WARD:Caters for admitted patients.

3.	HAEMATOLOGY AND BLOOD TRANSFUSION:Study blood and its component.

4.	HEALTH RECORDS:Keep information on medical cases.

5.	NURSING SERVICES:Seeto the welfare of patients.

6.	PHARMACY:Dispense drugs

25	LABORATORY RULES AND REGULATIONS

1.	Do not enter the laboratory without the appeoval of the technologist, lecturer or laboratory staff.

2.	You must provide your own laboratory coat and you must wear it when you are in the laboratory.

3.	Except in an emergency,rnning or any over-hurried activity should be or bidden in and around laboratory.

4.	Addirtional protective equipment (eg hand gloves, light weight goggles and spectacleeto.)

5.	Keep the passages clear.

6.	Know the location of the nearest first aid box,fire fighting equipment and fire alarm call point.

7.	Know the emergency evacuation exist and what to do summon medicaaid

8.	Do not use equipment that appear faulty and report unsafe equipment to the laboratory attendant,technologist or lecturer in-charge.

9.	All safety notices with accordance instructions.

10.	All accidents should be report immediately.

2.4	EQUIPMENTS AND MACHINES USED IN THE LABORATORY

They are as follows and their respective functions:

(1)UNIVERSAL BOTTLES:A cylindrical small glass bottle with a screw cap used as a culture medium holder.

(2)LABORATORY CENTRIFUGE:Is a picce of laboratory equipment,driven by a motor,which spins liquid samples at high speed.

(3) REFRIGERATOR: It is used to store media and some other materials.

(4)HOT AIR OVENS:Are electrical devices used in sterilization and to detect the effects of aging on materials.

(5)INCUBATOR: In biology, is adeviceused to grow and maintain microbiological cultures or cell culhures

(6)AUTOCLAVE:This is a devise ued to steilzed equipment and supplies by subjecting them to a high pressure saturated steam.

(7)MICROSCOPE: This is an Instrument used to see objects that are too small for the naked eye.

(8)DISTILLER:Is a device uned to purify water.

(9)WEIGHING BALANCE:A device used for weighing

(10) INOCULATING LOOP:It is msed in the cultivation of microbes on plates by transferring inoculums for streaking

(11) PIPETTE: It is med to transport a measured volume of liquid, often as a media dispenser.

(12) CONICAL FLASK: It is ured to contain a measured volume of liquid.

(13) MEASURING CYLINDER: It is used for measuring a certain volume of liquid.

(14)CANISTER: It is a device used for preserving and storing media and some other materials.

(15) BEAKER:This is a laboratory apparatus used to pour or hold a measured volume of liquid

CHAPTER THREE

3.1 PACKED CELL VOLUME(P.C.V)

P.C.V packed cell volume- it can be define as the volume of blood in a whole sample. That's the level of blood in the body of patient.

MATERIAL NEEDED

Heparinised tube,swab cottion wool, lancet,centrifige machine, haematoerite readers.plastene

PROCEDURE FOR PACKED CELL VOLUME

Prick the finger with lancet to obtain a flow of blood.

Use the beparinised tube to filed it up the blood to the end.

-The swab cotton wool is used to clan up the pricking finger.

Seal the end of the heparinised with plastene.

.Then put into centrifuge bucket machine.

Spin at 10,000 rpm for 2 to 5mins.

After spinning down the sample

Remove and read the result in the haematocrit reader.

NORMAL RESULT

Men=44.56%

Women=37-47%

lntant=54-62%

3.2 BLOOD GROUP

AIM:To examined the O blood of a patient.MATERIAL Blood sample.pastures pipette,cotton wool,stirring

rod,tile antigen A,B,D.OBSERVATION:To know the presence of an antigen undergrowing

PROCEDURE an agglutination reactiom

·Collect the blood sample and put it in a specimen bottle, add three drops of EDTA (Ettylene diatetrs acetic acid) in onder to prevent from clothing.·With the aid of pasture pipette, three drops of blood is placed on a clean tile.

·Antigen are added as follow.

·Drop 1 antigen A. B. D. applicator stick is used to stir the drop and mocked it gently to observed any agglutination reaction.RESULT

Antigen A	Antigen B	Antigen D	RESULT

A+ E

0

+	O+E

AB

BW

3.3 HEPATITIS TEST (HT)

PROCEDURE:HBV is highly contagious. It spreads through contact with infected blood.saliva and other body fluids. Symptoms may not occur immediately after coming in contact with the virus.However,the patient is still contagious even without symptoms.

Materials:Hepatitis Strip.Anti coagulated blood,centrifige.

METHOD

1.	Put the blood sample into the centrifiage and spin at 3000R/M in 5mins.

2.	Allow it to stop before bringing out the spinned sample

3.	Dip the Hepatitis strip into plasma for 2mins

4.	Read the result

RESULT

The appearance of a single line on the control indicates Nogative

The appearance of double line on the control indicates Positive

NOTE: If there is red line on both the test reglon and the control rgion, it indicate invalld and the test must be repeated using a new test strip.

3.4 HUMAN IMMUNE VIRUS(HIV TEST)

MATERIALS NEEDED FOR LEME-VIRAL TEST/SCREENING TEST

TYPES OF KIT

. Global kit

.Determined kit

Stat-pak kit

Screening kit,buffer water,blood sample,centrifuge bucket machine,swab cotton wool,syringe and needle,test,HIV buffer kit.

PROCEDURE FOR HUMAN IMMUNE VIRUS

2mls of blood of the patient is converted intoEDTA bottle.

·It is spin down at 10,000 rpm for 2mins to obtain fine serum.

The serum is pipette and a drop of serum is drop into the global kit to run.

.Leave for 5minutes to allow the test to develop.

RESULT

- If there is one band that means its negative

·But if there is two band it is positive for type 1.

-When there is three red band+it is positive for Type I and type II-that is positive

Sample drop

T-Stand for test

C-Stand for control

3.5 PREGNANCY TEST We have urine pregnancy testand blood pregnancy test. The difference between the two are: in urine test when pregnancy is between two weeks or three weeks after doing the pregnancy urine test accidentally the result may not developed while the blood is used for the further investigation which we give us the normal result. If positive or negative

MATERIAL NEEDED

Urine sample,universal bottle,HCG strip

PROCEDURE FODR PREGNANCY TEST

The urine is collected into a chemically clean bottle.

Then the strip is put deeply into the urine to obtain a result.

They move from the end at least for 2minutes

To allow the colour to develop

Remove to read the result

RESULT

.If there is one red blood-negative

-If there is two red band means-positive

That is the patient is pregnant

3.6 URINALYSIS

PROCEDURE: Urinalysis simply means an analyais of the wrine. This is a very commonly orndered test which is performed in many clinical settings ruch as Hospitals.clinics,emergency.Urinalysis is a simple test that scans important clinical information as a quick turnaround time and is also cost effiective.Result of a urinalysis may be helpful in thefellowing:

1.	Diagnosing Urinary Tract Infection(UTI)2.   Diagnosing Kidney problem.

3.	Screening for and evaluting many types of kidney discases 4.Diagnosing and monitoring the progression such as Diabetes mellitus and high blood pressure (Hypertension)

The parameters on the urinalysis strip are;LEU-Leucocytes

NIT=Nitrite

URO-Urobilinogen

PRO=Protein

PH-Pondus de Hydronium

BlO=Blood

SO=SpccifcGravity

KET=Kctone

BIL=Bilirubin

GLU=Gluose

NOTE:Reaction of the parameters are

Blood-Heamaturia

Protein=Protenuria

Glucose-Glycemia

Nitrite-Serious infection due to the presence of bacteria.

Speciic Gravity-Strength of the urine

Urobilinogen-liver problem

Ketone-Changes due to sugar

PH-Changes due to environment

Leucocytes

Nitrite

Urobilinogen

Protein

PH

Blood

Sp Gravity

Ketone

Bilirubin

Glucose

URINALYSIS TEST STRIP

3.7 WHITE CELL COUNTS(WCC)

AIM:to know how many cell present in the body

MATERIALS:Blood Sample,Glass Slide,Microscope,turks solution

PROCEDURE:

·Put some 20ul of blood in a test tube, add 380ul of turks solution and let it stays for few minutes and then put in a new power improved slide and view under in the microscope

3.8 FASTING BLOOD SUGAR(FBS)

AIM:to testwhether there is presence of sugar in the body

MATERIALS:blood sample,specimen bottle,Glucose reagent, spectrophotometer.micro pipette

PROCEDURE

·Take a ncedle to pitch the tip of the hand

·Place the glucose reagent at the tip of the band in order to take a limle blood

·Put the glucose reagent solution (i.e kit) at the mouth of the spectrophotometer

·Then take your reading and use the blank to balance it.

·Record your reading and divide test by standard and multiply by 100	ic

Testx 100 mg/dl -deciliter

Standard

Standard=the code no on the one touch ultra kit

NOTE:the normal range for fasting blood sugar is 60-100mg/dl

3.9 WIDAL TEST PROCEDURE

·Collection of blood sample from a patient.

·Allows the blood to settle to form a serum.

·Put the serum inside a small straight bottle.

·Prepare a plate which contain four,four rows.

·Prepare the antiseral

·A drop of each antiseral should be drop on a each hole and plate.

·Then draw a drap of serum with pipette on each antiseral on the plate

·Mix both the antiseral and the serum together.

·View with your eyes if positive or negative by checking of

agglutination or non.

NOTE:If agglutination occurs, it is positive

If non agglutination it is negative.

3.10 VENERAL DISEASE RESEARCH LABORATORY

This test is for syphilis. It measure substance called antibodies. That your body may produce if you have come in contact with the bacteria that cause SYPHILIS. This bacteria is called Treponema Pallidium.

Syphilis: This is a sexual transmitted in reaction causes by the spirocliaela bacterium treponema palladium.

VDRL Procedure

.	Collections of blood sample from a patient.

.	Introduction of the blood sample inside the cover bottle.

Then insert the diagnosis test for the syphilis which is called strip

CHAPTER FOUR

4.1	CONCLUSION

The student industrial work experience scheme (SIWES) helps students to expand their knowledge and experience in their field of study. It will also help student whenever they come across it in future career.

42 RECOMMENDATION

I wish the government and the school authority to provide necessary materials for the students during this programme. They should also try to pay the students allowance so as to serve as help for the students in one way or the other.

Also,the supervisors should make sure they visit the students in their place's of attachment for proper monitoring, improvement and progress for the benefit of the societies as a whole.