TECHNICAL REPORT ON STUDENT INDUSTRIAL WORK EXPERIENNCE SCHEME (SIWES)

UNDERTAKEN AT

NEW DAY HOSPITAL, BEHIND HOSSANA RESTURANT, OWODE ACADEMY AREA, IBADAN.

SALAWUDEEN OPEYEMI ROFIAT

ND/23/SLT/PT/0600

SUBMITTED TO THE DEPARTMENT OF SCIENCE LABORATORY TECHNOLOGY, INSTITUTE OF APPLIED SCIENCES (IAS), KWARA STATE POLYTECHNIC, ILORIN.

IN PARTIAL FULFILLMENT FOR THE REQUIREMENT OF THE AWARD OF NATIONAL DIPLOMA IN

SCIENCE LABORATORY TECHNOLOGY

AUGUST TO NOVEMBER, 2024

CHAPTER ONE

1.0	INTRODUCTION TO SIWES

Student Industrial Work Experienced Scheme (SIWES) was established to solve the problem of lack of adequate practical skills needed for employment industries by Nigeria graduates of higher institutions (especially Polytechnic ND I – ND II students) in order to improve the theoretical knowledge of students.

SIWES is said to be a technical skills and acquisition of knowledge from the organization. It is well a motive that complements the learning which student have acquired in the class room theoretically.

More so, this Industrial Training helps the students to gain more knowledge through detailed observation made through practical works with identifiable machines for analyzing of phenomena within the vicinity of the area studied.

However, SIWES exposes students to base on skills necessary for a smooth transition from the class room to the world. It provides student of higher institutions the opportunity of being familiarized to the experienced in handling machinery and equipment which are usually not available in the educational institutions.

In other words, it was established to promote and encourage the acquisition of skill in industry and commerce with a few of generating manpower sufficient to meet the needs of Nigeria economy.

1.1	BACKGROUND OF SIWES

The Student Industrial Work Experience Scheme (SIWES) was introduced by the Federal Government of Nigeria in 1973. It is an accepted skills training program which forms part of minimum academic standards in the various degree program for all Nigeria tertiary institutions. It is an effort to bridge the gap existing between theory and practical of engineering and technology, science, agriculture and other professional educational programs in the Nigeria tertiary institutions. It helps to exposes students to machines and equipment. The scheme is a tripartite program involving the students, the tertiary institution and the industry (employers of labor). It funded by the federal government of Nigeria and coordinated by the Industrial Training Fund (ITF).

1.2	OBJECTIVES OF SIWES

The objectives of student industrial work scheme are too specifically:

- It enables students to know more about his or her course of study.

- Bridge the gap existing between theory and practical in Nigeria institutions.

- Prepare students for the work situation they are likely to meet after graduation.

- Provide avenue for Nigeria students to acquire industrial skills and experience in their course of study.

- Promote the acquisition or pursuit of knowledge.

- Inculcate in nation the spirit of tolerance of various shades of opinion.

- Mobilize the public towards the achievement of the natural goals.

- Promote the spirit of self-reliance and engender the development of indigenous and appropriate technology.

CHAPTER TWO

2.0	SAFETY LABORATORY PRACTICE

To work in a laboratory, require great safety and care in order to avoid some laboratory hazards and also to preserve the sterilely of specimen and equipment to be used for test and analysis. Specimens that are brought into the laboratory are highly infections therefore laboratory workers should be very working in the laboratory.

Here is some of the general laboratory safety that should be taken while working in the laboratory.

- Laboratory hand gloves should be worn while handling specimens

- Laboratory coats should be worn while working

- Inoculation needled and wives loops should be flame to redness before and after inoculation so as to reduce contamination of the culture and working environment.

- Eating, talking and so on is not allowed while working in the laboratory to avoid contamination.

- All incubated cultures and sterile bottles must be labeled properly

- Used cultures should be collected and destroyed by autoclave

- Hands should be washed after every laboratory work.

2.1	EQUIPMENT AND MACHINES USED IN THE LABORATORY

There are different types of machines and equipment in the laboratory each having its function. Some of which are:-

- Universal Plastic Bottles: It is a bottle used in collections of samples such as stool, urine, blood, semen and so on.

- Autoclave: It is use for sterilizing and heating solid media at 121oc for 15 minutes.

- Refrigeration: it is used for storing, preserving samples defribinated blood and some urgent liquid solution.

- Centrifuge: It is used for spinning of the fluid at different revolution.

Two samples are spinned by the centrifuge.

- Blood: Blood sample is spinned to separate the red blood from serum

- Urine: is spinned to separate supernatant from deposit.

- Incubator: It is used for micro-organism cultured on various media and it serves as artificial growing environment for micro-organism.

- Microscope: It is used for viewing or identifying micro-organism, which are unable to view by the naked eyes.

- Shaker: It is used for mixing serve and antigen to form agglutination during Widal test.

- Distiller: It is used for distilling water used for preparation of distilled water.

- Weighing balance: It is used for weighing the amount of powder needed for preparation for media.

- Universal glass bottle: It is a bottle where thioglicolate media is put for preparation of blood culture.

2.2	GRAM STAINING TECHNIQUES

Gram staining is carried out to determine if a bacterium is gram positive or gram negative. The morphology examples are Cocci, Bacilli etc.

PROCEDURE:

- A thin smear of bacteria was prepared by placing a drop of normal saline on a clean grease free slide and a colony was added with a sterile wire loop.

- The organism was smeared properly on the slid.

- The smear was air dry and fix by passing through the flame.

- The slid was stained with crystal violet solution (which is primary stain) for 30 – 60s.

- It was rinsed with water and logus iodine was used to flood the slide for 30 – 60s.

- It was rained with water again and acetone (which is a decolorizer was added to briefly), it was rinse immediately so that the stain will not over decolorize, thereby changing gram +ve to gram –ve.

- The acetone was rinsed the slide was and stained with neutral red, safarine or carbon fushin (which is a counter stain) for 2 minutes.

- The slide was allowed to dry and a drop of immersion oil was put on it.

- It was examined under X100 objective.

The gram positive retains the crystal violet (primary stain) and give purple color white. The gram negative organisms loose the primary stain and retain the pink or red color of the counter stain (neutral) etc.

2.3	SENSITIVITY TEST

This test is carried out in order to know the reaction of growth of an organism to antibiotics i.e. to check whether the organism is sensitive or resistant to particular antibiotic disc. The antibiotics to which the organism’s growth is sensitive can be used to treat the infected patient.

PROCEDURE:

A colony of the organism was inoculated in peptone water using a sterile wire loop. The peptone water was poured on the nutrient agar plate so as to allow it to spread on the surface of the plate excess peptone water was dispensed back into bijou bottle. The antibiotics discs were then placed on the nutrient ager plate at regular intervals and the plate was incubated at 370c for 18 – 24hrs (overnight). The plate sensitivity was read the next day clear zone around the antibiotic disc shows that the organism is sensitive but if there is growth around the antibiotic disc it indicate resistance of the organism to that disc. The antibiotic disc to which the growth sensitive were recommended by the doctors for the patient, General antibiotics may be classified into two major groups.

- Narrow Spectrum Antibiotics: these are antibiotics that inhibit or prevent the growth of either gram positive or gram negative bacteria. Examples are, Amoxyothocin, Chloramphenicol and Gentamycin etc.

- Broad Spectrum Antibiotics: these are antibiotics that can inhibit the growth of both gram positive and gram negative. Examples are Ceftriaxone, Pelloxacin etc.

SOME ANTIBIOTIC INLCUDE

ANTIBIOTICS                                                     CODE

- Penicillin                                                            P

- Ampicillin                                                           A

- Erythromycin                                                      E

- Azithromycin                                                      AZM

- Chloramphenicol                                                 C

- Streptomycin                                                      S

- Gentamycin                                                        G

- Ofloxacin                                                            OFX

- Ceftriaxone                                                         CRO

- Cotrimazole                                                COT

N.B

Antibiotic disc are that have been injected by certain antibiotics.

CHAPTER THREE

3.0	MICROBIOLOGY AND PARASITOLOGY

MICROBIOLOGY

Microbiology is a department in the U.I.T.H that deals with micro-organisms was viewed under the microscope. There are eight (8) benches in microbiology, each having its own function and area of specialization. The 8 benches are listed below:-

MEDIA ROOM

The media room is important and is the heart beat in microbiology lab. Media room is a room where various media are prepared and identified.

There are three main type of media prepared for the bacteria. These are:-

- SOLID MEDIA: e.g. Blood Agar, Chocolate Agar, Nutrient Agar, macConkey Agar, DCA-Deoxicolicrate Agar.

- LIQUID MEDIA: e.g. Peptone water, Sugar water and Thioglicolate.

- SEMI-SOLID MEDIA: e.g. Strut transport medium.

There are main type of media, these are:

- ENRICHED MEDIA: These are the solid media which consist of blood e.g. Blood Agar, Chocolate Agar etc.

- SELECTIVE MEDIA: These are cultured media that supported growth of particular organisms and inheritable growth.

- DEFERENTIAL MEDIA: These are lactose famental and non-lactose famentals e.g. macConkey Agar.

- TRANSPORT MEDIA: This is commonly used to transport culture sample to reserve the sample.

- ENRICHMENT MEDIA: These are the liquid media e.g. Brain heart infusion.

PREPARATION OF MACCONKEY AGAR:

- Weigh 49.9g of MacConkey Agar

- Dissolve in 1Lt of distilled water

- Autoclave at 1210c for 15min.

- Allow to cool and pour into petri dish

PREPARATION OF CLED AGAR

- Weigh 38g of Cled Agar

- Dissolve in 1Lt of distilled water

- Autoclave at 1210c for 15min.

- Allow to cool and pour into media plate.

PREPARATION OF BLOOD AGAR

- Weigh 37g of blood agar base powder

- Dissolve in 1Lt of distilled water

- Autoclave at 1210c for 15min.

- Then, cool the media

- Add blood of 2m of sterilized blood

CHAPTER FOUR

SWAB PROCESSING BENCH

SWAB PROCESSING: This is the bench where sample are collected such as eye swab, wound swab, throat swab, nasal pus and other body fluids.

PROCEDURE

DAY 1

CULTURE

- Wound and ear swab were cultured on blood agar an macConkey agar while throat, ear, and eye were cultured on blood agar (BA), chocolate (Choc A) and macConkey Agar plates (mac A)

The culture was carried out whereby the swab stick was used to rub the Agar plate and then a sterilize wire loop was used to streak out lines for proper growth of organism.

- Examine microscopically, grams stain smear of swab pus and body fluid

- Incubate culture for 18 – 24hrs at 370c (overnight)

DAY 2

- Read incubate plate

- Embark on identification procedure e.g. biochemical test etc.

- Do anti-microbial susceptibility test on isolate

- Incubate anti-microbial susceptibility for 18 – 24hrs (overnight)

DAY 3

- Identify microbial agent(s)

- Read anti-microbial susceptibility test

- Write out the result and the dispatch

PROCEDURE OF OXIDISE TEST

- Pour oxidize reagent on the filter paper

- Pick the colonies with wire loop from the cultured plate

- Drop it on the filter paper

- Observed for the color

URINE TEST ANALYSIS

URINE TEST: The urine samples are collected and the type of urine that should be collected from by patient should be earlier morning urine.

PROCEDURE

The procedure involve are culture and wet preparation (microscopy). The procedures are carried out to detect opus cell. Red Blood Cells (RBC), yeast cell, epithelia cells, eggs of schist-soma and fungi infection. The major diagnosis is (UTI) urinary tract infection.

MICROSCOPY

Urine was examine microscopically with a wet preparation in order to check for the presence of cells, crystals and eggs of scitosoma

METHOD OF WET PREPARATION

- The urine sample that was collected in a universal plastic container which should be well labeled

- The sample was spinned with centrifuge at 3000 rev for 3mins

- The supernatant was discarded while the deposits was left in the bottle

- The deposit was dropped on a slide and viewed under X40 objectiveness

SIGNIFICANCE OF WET PREPARATION

- If there are numerous pus cells in the wet preparation but no growth on the cultured plate. It means the patient is already on antibiotic drugs which is capable of inhibiting the growth of the organism.

- If there are WBCS it means there could be a clear growth, mixed growth or no growth on the sample cultured

- Presence of cast indicates liver or kidney problem in the patient.

PROCEDURE

DAY 1

CULTURE

- Culture Blood Agar and Cled Agar

- Centrifuge specimen at 3000 rev for 5mins

- Decent the supernatant

- Examine the deposit microscopically using X10 and X40

- Incubate culture for 18 – 24hrs at 370c (overnight)

DAY 2

- Read the culture plate

- Carry out grams staining on pure and significant isolate

- Carry out biochemical tests the pure and significant isolate

- Incubate anti-microbial susceptibility to plate for 18 – 24hrs at 370c (overnight)

DAY 3

- Read anti-microbial susceptibility test.

- Write the result out

- Record the result and dispatch

PARASITOLOGY BENCH

PARASITOLOGY BENCH: This is where direct stool, urine, skill snip micro funeral and malaria parasites are carried out.

PROCEDURE OF MALARIA PARASITE

- A grease free slide was use

- A little drop of blood was put on the glass slide and thin film or thick film was pot on it.

- It was put in an ovum for 15mins in order to dry

- Then the dried slid was gram stain by using Giesma stain for 45mins

PROCEDURE FOR GIESMA STAIN

- Diluted Giesma was pure for 45mins.

- It was rinse in buffer water solution and allows it to dry

- Then, direct oil immersion was dropped on the slide

- It was observed microscopically by using X40 objective lens

- It was recorded and the result was dispatched.

PROCEDURE FOR SKIN SNIP FOR MICROFILARIA

- The skin was clean with alcohol swab and dry

- Skin specimen was taken from the top of the buttocks

- A drop of saline solution was put on the slide

- Piece of skin snip was put in the drop and cover it with a cover slip.

- It was examined with X10 and X40 objective lens

PROCEDURE FOR DIRECT STOOL CULTURE

To analyze stool, three basic procedures are carried out which are macroscopic, culture and microscopy.

MACROSCOPY

This is to check for the appearance, the brownish formed, hard, soft, watery etc. odor and so on, also to check if it bloody, mucous and give offensive odor.

CULTURE

The stool was cultured on the media (MacConkey, deoxy-chocolat Agar, and selenite F broth medium). The plates were then incubated at 370c for 18 – 24hrs (overnight).

The plates are read after 24hrs and if there are growth of salmonella and sligella, the stool is sub-cultured on DCA and then re-incubated for another 24hrs sensitivity test is set up to confirm different organisms.

MICROSCOPY

This is done to check for parasites such as hookworm, Ansaris, Schistosoma spp, Taenis, Trichuri Trichuria etc. To check for possible motile organism.

WET PREPARATION PROCEDURE

- Put a drop of normal saline and fresh iodine is placed on a sterile slide

- Using a rubber pipette, drop the stool on each slide and emulsify to obtain a thin preparation.

- Cover both slides with the slip and observe microscopically by x10 and x40 objectives tenses.

N.B: The iodine was added to kill motile farms.

SPECIAL PATHOGEN

SPECIAL PATHOGEN: Is a place where sputum is cultured and mycology is done. Sputum is cultured on Blood Agar, Chocolate Agar & MacConkey Agar. It was incubated at 370c for 18 – 24hrs except chocolate which was incubated an aerobically.

Sputum is cultured to detect bacteria as like protuse, klebselia, streptococcus etc.

PROCEDURE

- The sputum was cultured on Blood Agar, MacConkey Agar and Chocolate Agar.

- Incubate blood agar and macConkey agar aerobically for 24hrs at 370c.

- The chocolate agar was placed on a candle jar and incubated aerobically for 24hrs at 370c, the plate was read after the overnight and the isolate was gram stain and the biochemical test was carried out.

PROCEDURE FOR GRAM STAINING

- Gram staining is for acid alcohol fast bacilli.

- Pure carbon fustrin for 5mins heart to stream and allowed to stand for 5mins.

- Rinse with water and stain slide. Add 3% of alcohol for 3mins.

- Rinse with water and stain the slide containing with methyl blue for 2mins.

- Rinse in water and air dry view.

- Drop immersion oil.

- Carryout the biochemical susceptibility test for 18 – 24hrs at 370c overnight.

- Read the anti-microbial susceptibility test.

- Write out the result and dispatch.

SEROLOGY BENCH

SEROLOGY BENCH: Is a bench where Antigen Antibody reactions were being observed. The three (3) main tests that are carried out on this bench are: