DESIGN AND CONSTRUCTION OF A 3KVA PURE SINE WAVE INVERTER

1. Introduction

Frequent power outages in Nigeria have made backup power systems essential. This project aims to design and build a 3kVA inverter that provides clean and stable electricity for home and office use. The inverter converts 24V DC to 220V AC with a pure sine wave output.

2. Problem Statement

Unreliable national grid supply leads to disruption in daily activities and can damage electrical devices. A cost-effective, locally made inverter system can help solve this issue and reduce reliance on expensive imported products.

3. Aim

To design and construct a 3kVA pure sine wave inverter to serve as a reliable backup power system.

4. Objectives

- Design a functional and efficient inverter circuit.

- Construct and test a 3kVA inverter.

- Ensure the inverter delivers stable, clean power.

- Use local components to promote local content.

5. Methodology

- Research and review inverter systems.

- Design circuits (oscillator, driver, inverter, transformer).

- Purchase components and assemble the unit.

- Test the inverter using various load conditions.

- Analyze performance and optimize if necessary.

6. Expected Results

A fully functional 3kVA inverter that provides 220V AC from a 24V DC battery system, with pure sine wave output, low noise, and built-in safety features.

7. Conclusion

This project will result in a locally made inverter that supports reliable power backup and showcases local engineering capabilities.