CHAPTER FOUR

TESTING, RESULTS, AND DISCUSSION

4.1 Introduction

This chapter presents the testing procedures, observations, and analysis of the results obtained after the construction of the electrical extension box. The tests were conducted to confirm that the box operates as intended and that all the safety and functional features are working properly.

4.2 Testing Procedure

After assembling all components, the system was subjected to several tests to ensure correct wiring, safe operation, and durability. The following tests were carried out:

- Continuity Test – To verify that all connections were properly made and that current could flow through the circuit without obstruction.

- Insulation Resistance Test – To ensure that no short circuit or unwanted connection existed between live, neutral, and earth wires.

- Fuse Test – A short overload test was conducted to ensure the fuse blows when the rated current (13A) is exceeded.

- Switch Operation Test – Checked to confirm the switch effectively opens and closes the power path to the sockets.

- Indicator Test – The lamp was observed for proper functioning, turning ON when power is available and OFF when disconnected.

- Load Test – Various electrical appliances (fan, phone charger, laptop) were connected to confirm proper output and socket integrity.

4.3 Results and Observation

| Test | Expected Outcome | Observation |
| --- | --- | --- |
| Continuity Test | Current should flow properly | Passed – all connections intact |
| Fuse Test | Fuse should blow when overloaded | Passed – fuse broke at high load |
| Switch Test | Switch should cut or restore power | Passed – switch worked properly |
| Indicator Lamp | Should glow when powered | Passed – bright and stable |
| Load Test | Should power appliances | Passed – sockets worked properly |

All components responded correctly. There was no sign of heating, short circuit, or voltage drop. The box functioned safely even under minor stress.

4.4 Discussion

The test results confirmed that the design and construction of the extension box met the expected standards. The device is safe for domestic and laboratory usage, and the protective measures worked as planned. The fuse provided real protection, the indicator lamp served its purpose, and the sockets held firmly during plug-ins and removal.

Some minor observations:

Excessive wire length was trimmed to reduce clutter inside the box.

All screws were tightened for mechanical stability.

The earth wire was firmly bonded to the plug and sockets.