CHAPTER FIVE

5. CONCLUSION

This project highlight the importance of the installation of hybrid inverter system to ensure a reliable and efficient power supply which reduces the dependence on non renewable energy sources.

This installation of hybrid inverter make a significant impact and play a tangible or crucial role in converting Direct current (DC) to alternate current (AC) and managing the excess energy store in the battery for later use as a backup power source during period of low sunlight or at night to ensure consistent supply of energy. this system make the efficiency and reliability of it to be an  attractive solution for reducing energy cost and promoting sustainablity then the solar panel used in this installation as a very high efficiency performance and perform well in low light conditions.

5.2 RECOMMENDATION

Based on the successful implementation and performance of this hybrid solar power system, it is recommended that similar systems be adopted in other institutions, homes, and commercial facilities to reduce reliance on the national grid and promote energy sustainability. For future installations, the following considerations are advised:

- System Scaling: For higher energy demands, consider scaling up the system by increasing the number of solar panels and battery capacity to ensure consistent power supply during extended periods of low sunlight.

- Routine Maintenance: Although the system components are low-maintenance, periodic inspections and preventive maintenance should be conducted to ensure optimal performance and longevity.

- Surge Protection and Grounding: Proper grounding and surge protection must always be implemented to prevent damage from lightning strikes or power surges.

- Monitoring System: Incorporate a real-time monitoring system to track energy production, storage, and consumption, which aids in performance analysis and troubleshooting.

- User Training: Basic training should be provided to users or maintenance personnel to enable them to handle simple system diagnostics and respond effectively to alerts or faults.

The hybrid solar power setup proves to be a cost-effective and eco-friendly solution, and its wider adoption can significantly contribute to cleaner energy use and improved energy security.

Overall this project highlight the potential of hybrid solar energy system in providing an efficient and reliable energy sources.