OPTIMIZATION OF POWER FLOW AND VOLTAGESTABILITY USING MACHINE LEARNING TECHNIQUES

BY

HND/23/EEE/FT/0169

SUPERVISED BY:

ENGR. K. AHMED

PRESENTED TO:

DEPARTMENT OF ELECTRICAL & ELECTRONIC ENGINEERING

INSTITUTE OF TECHNOLOGY

KWARA STATE POLYTECHNIC, ILORIN

NOVEMBER, 2024

PRESENTATION OUTLINE

❑	INTRODUCTION

❑	STATEMENT OF THE PROBLEM

❑	AIM OF THE PROJECT

❑	OBJECTIVES OF THE PROJECT

❑       METHODOLOGY

  - INTRODUCTION

Power systems operations rely on the Optimal Power Flow (OPF) problem, which determines generators’ most cost effective dispatch to satisfy power demands while accounting for technical and physical constraints throughout the power network . The Optimal Power Flow (OPF) problem serves as the cornerstone for a range of power system studies, addressing both short-term concerns such as unit commitment, security constrained economic dispatch, market clearing , transmission network congestion management, voltage control , and optimal transmission switching, as well as long-term considerations like transmission expansion planning.

INTRODUCTION CONT’D

Through extensive research, scholars have sought to find fast and efficient solutions to the non convex nonlinear Alternating Current OPF (AC-OPF) problem for many years. Centered on short-term considerations, finding a quick and effective solution to the OPF problem is of utmost importance for grid operators, particularly given the heightened fluctuations in power supply and demand.

2.  STATEMENT OF THE PROBLEM

The increasing complexity of modern power systems, driven by the integration of renewable energy sources and the need for real-time operational efficiency, presents significant challenges in maintaining optimal power flow (OPF) and voltage stability. Traditional optimization methods often struggle with the non-convex and nonlinear nature of the OPF problem, leading to inefficiencies and potential instability in power delivery (Donnot & Guyon; 2017).

3.  AIM OF THE PROJECT

The aim of this project is to leverage advanced machine learning techniques to enhance the optimization of power flow while ensuring voltage stability across electrical grids.

4. OBJECTIVES OF THE PROJECT

- Develop machine learning models that can predict optimal generator settings and operational levels in real-time.

- Create predictive algorithms that assess voltage stability risks and provide actionable insights for grid operators, thereby minimizing the likelihood of voltage collapse or instability during peak loads or unexpected disruptions.

- Address the challenges posed by intermittent renewable energy sources by employing hybrid models that combine deep reinforcement learning with other optimization techniques, improving the adaptability and robustness of power systems under uncertainty.

5.  METHODOLOGY

✓	Collect extensive historical data from power systems, including load profiles, generation outputs, voltage levels, and operational constraints.

✓	Develop neural network models to predict optimal generator settings directly from input features such as load demand and renewable generation forecasts.

✓	Implement machine learning models that predict which constraints are active in the optimal solution.

✓	Combine machine learning with physics-based models to ensure compliance with physical laws governing power systems, enhancing model reliability and accuracy

REFRENCES

Donnot, B., Guyon, I., Schoenauer, M., Panciatici, P., & Marot, A. (2017).  Introducing machine learning for power system operation support.

Frank, S. & Rebennack, S. (2016). An introduction to optimal power flow: Theory, formulation, and examples. IIE Transactions, 48(12):1172–1197.

Misra, S., Roald, L., & Ng, Y. (2018) Learning for constrained optimization: Identifying optimal active constraint sets. arXiv preprint arXiv:1802.09639. Krishnaram, K., Suresh Padmanabhan, T. & Alsaif, F. (2023). Performance optimization of interleaved boost converter with ANN supported adaptable stepped-scaled P&O based MPPT for solar powered applications.

Senthilkumar, S., Kavitha, M., Arunkumar, P., Pushpa, G., Ramanan, R. & Anbazhagan, L.(2024). Optimized maximum power point tracking algorithm for solar photovoltaic with dissimilar environmental conditions.