CHAPTER FOUR

4.0	RESULT AND DISCUSSION

4.1	Results of Heavy Metals Analysis:

The results of the heavy metals of the analyzed samples is presented in table 5:

Table 3: Heavy Metals of water samples Analysed:

| S/N | SAMPLE CODE | CD (MG/L) | CR (MG/L) | NI (MG/L) | PB2+ (MG/L) | MN2+ | RANGE | AVERAGE |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | LW1 | 0.038 | 0.041 | 0.063 | 0.019 | 0.013 | 0.035 | 0.013-0.063 |
| 2 | LW2 | 0.001 | 0.013 | 0.011 | 0.001 | 0.004 | 0.006 | 0.001-0.013 |
| 3 | LW3 | 0.044 | 0.025 | 0.043 | 0.003 | 0.007 | 0.024 | 0.003-0.044 |
| 4 | LW4 | 0.002 | 0.040 | 0.013 | 0.006 | 0.031 | 0.018 | 0.002-0.040 |
| 5 | LW5 | 0.037 | 0.021 | 0.015 | 0.018 | 0.043 | 0.027 | 0.015-0.043 |
| 6 | LW6 | 0.063 | 0.019 | 0.018 | 0.002 | 0.051 | 0.031 | 0.002-0.063 |
| 7 | LW7 | 0.035 | 0.021 | 0.043 | 0.004 | 0.002 | 0.021 | 0.004-0.043 |
| 8 | LW8 | 0.052 | 0.018 | 0.036 | 0.017 | 0.006 | 0.119 | 0.006-0.32 |
| 9 | LW9 | 0.071 | 0.022 | 0.019 | 0.019 | 0.013 | 0.029 | 0.019-0.071 |
| 10 | LW10 | 0.043 | 0.027 | 0.015 | 0.003 | 0.015 | 0.021 | 0.003-0.043 |

Table 4:	Standard Values for Interpretation of  Water  Samples

|  | Cd (mg/l) | Cr (mg/l) | Ni (mg/l) | Pb2+ (mg/l) | Mn2+ (mg/l) |
| --- | --- | --- | --- | --- | --- |
| NSDWQ (2007) | 0.003 | 0.05 | 0.02 | 0.01 | 0.20 |
| WHO (2012) | 0.003 | 0.05 | 0.02 | 0.01 | 0.20 |

4.1.1	Cadmium (Cd)

Cadmium levels in most of the samples exceeded the WHO (World Health organization) drinking water limit of 0.003mg/l) except LW2 and LW4. The highest concentration was observed in LW9 (0.71mg/l) followed by LW6 (0.063 mg/l) cadmium is highly toxic and it presence in water may cause kidney damage and bone demineralization. It elevated levels likely originate from mining waste and tailings leachate.

4.1.2	Chromium (Cr)

Chromium concentration ranged from 0.013mg/l to 0.041mg/l which are within the World Health organization (WHO, 2017) limit of 0.05mg/l. However, values in LW1 and LW4 were close to this threshold. Prolonged exposure may still pose carcinogenic risks especially if hexavalent chromium is present.

4.1.3	Nickel (Ni)

Nickel concentrations in all samples except LW2 and LW4 were above the World Health organization (WHO, 2017) limit 0.02 mg/l. The highest level was found in LW1 (0.063mg/l). High Nickel levels are often linked to mining zones and may cause dermatitis and internal organ damage upon prolonged exposure.

4.1.4	Lead (Pb2+)

Lead was detected in all samples with LW1 and LW 9 (0.019mg/l) showing the highest values. The World Health organization (WHO, 2019) limit is 0.01mg/l, meaning that 40percent of the samples exceeded safe levels. Lead exposure is particularly dangerous to children, causing neurodevelopmental and cognitive impairments.

4.1.5	Manganese (Mn2+)

All samples recorded in manganese concentration are well below the World Health organization (WHO, 2017) guidelines of 0.1mg/l. However, aesthetic issues like taste and staining may arise in LW6 (0.051 mg/l) and LW5 ( 0.043mg/l).

4.1.6	Implications of Findings

The pressure of elevation levels of Cd, Ni, and Pb in several water samples is a strong indicator of pollution resulting from gold mining activities in the area. These heavy metals pose significant risks to aquatic life, the environment and Public Health especially when the contaminated water is used for drinking, cooking or irrigation.

4.2	Interpretation of the Physicochemical Parameters

The pH test range from 0.1 to 7.95, samples Lw 1 has a pH of 0.1 which is extremely acidic while other samples range between 6.81 and 7.95. indicating mostly neutral to slightly alkaline water which is suitable for most aquatic life and human use. World Health Organization (WHO, 2017).

4.2.2: Electrical Conductivity (EC)

Ranges from 303 to 777(us/cm). EC values below 500us/cm are generally considered low to moderate conductivity, suitable for drinking and irrigation. Sample Lw 1 has a high EC of 777us/cm suggesting high dissolved salt possible from pollution or mineral rich water. World Health organization (WHO, 2017).

4.2.3. : Total Dissolved Solids (TDS)

The total dissolve solvent value below 500ppm are generally acceptable for drinking water according to world Health organization (WHO, 2017). The values in the dataset suggest the water is within safe limits for TDS, through Lw 1 is on the higher end.

4.2.4	Temperature

The temperature range 42.20C and 350C. The recorded values suggest either thermal pollution or instrument error, particularly for samples LW 1, LW 2 AND LW 10, which exceed the boiling point, World Health organization (WHO, 2017).

Implications of Findings

Most of the water samples fall within accepted physico-chemical standards except for sample LW1 which shows extreme values in pH, EC, TDS and Temperature. These anomalies suggest either contamination or possible instrument error, necessitating further investigation and re-sampling.