CHAPTER ONE

INTRODUCTION

1.1 BACKGROUND OF STUDY

The National grid relied fully on the hydro and gas generation power plant for mains input on the grid but series of factors as led to supply shortage ranging from natural and artificial disasters, poor maintenance culture, lack of skilled personnel, etc. all these factors sum up to reduce the mains supply reliability and availability. In recent times, virtually all aspect of human endeavors such as sophisticated medical life savings equipment, accurate data and processing machines among other electronic machines are all electrical power dependency and are capable of malfunctioning on a slight input voltage fluctuation talk less of total mains outage or unavailability.

In today's world, where uninterrupted power supply is essential for various applications ranging from household appliances to industrial machinery, inverter systems play a pivotal role. An inverter system converts direct current (DC) into alternating current (AC), providing a reliable source of power during grid outages or in areas without access to mains electricity. The design and construction of a 3KVA (kilovolt-ampere) inverter system represent a significant engineering endeavor aimed at meeting power demands efficiently and reliably.

A worthy alternative power supply system commonly found in homes, offices, hospitals etc are the power inverter system. An inverter or a power inverter system is an electronic device or circuitry that changes direct current (DC) to alternating current (AC). Comprehensively, inverter is that device which is being employed by the electrical engineers to tackle and support the power supplies. This support comes to play when there is power outage, this makes the inverter indispensable especially in developing countries like Nigeria where there is an epileptic power supply. However, an alternative power supply to the mains need be efficient, stable and deliver optimum power to the end loads, hence the need for the design and construction of a pure sine wave power inverter. In this regards, this project work presents design and construction of a pure sine wave power inverter system for optimum electrical power delivery and improvement of performance of a locally designed and constructed power inverter system.

1.2	 ELECTRICAL SIGNAL WAVES

Electrical sine waves are depiction of electrical signal represented by a sinusoidal graph, the wave shows all the properties of a wave like: the amplitude, frequency, wavelength and the can exhibit the wave-like properties of reflection, refraction, diffraction and polarization. Moreover, when an electrical signal wave is said to be pure, its means the wave depiction is devour of harmonics as shown in Figure 1.1. More so, when the wave output of the oscillation unit of an inverter is free of harmonics, then the power inverter is term ‘pure sine wave power inverter’.

Figure 1.1: Electrical Signal Wave.

Advantages of pure sine wave inverters over modified sine wave inverters:

a) Output voltage wave form is pure sine wave with very low harmonic distortion and clean power like utility-supplied electricity.

b) Inductive loads like microwave ovens and motors run faster, quieter and cooler.

1.3	PROBLEM STATEMENT

The project work will solve the problems of poor power supply delivery to electrical load, by the design and construction of pure sine wave power inverter.

1.4	AIM OF THE OF PROJECT

The aim of the study is to locally design and construct a 4kVA/24Volts power inverters for domestic electric power supply.

1.5	OBJECTIVES OF THE PROJECT

- To design and construct a reliable pure sine wave power inverter.

- To construct an inverter system using high-quality components and efficient circuitry.

- To Test the performance and reliability of the inverter system.

- To Analyze the efficiency, voltage regulation, and waveform quality of the inverter output

1.6	SCOPE OF THE PROJECT

The scope of the project encompasses the design, construction, and testing phases of the

3KVA inverter system. This includes selecting appropriate components such as IGBTs,

capacitors, transformers, and control circuits, as well as designing the circuit layout and

control algorithms. The construction phase involves assembling the components onto a

printed circuit board (PCB) or a breadboard, followed by rigorous testing to evaluate the

system's performance and reliability.

1.7	SIGNIFICANCE OF THE PROJECT

The significance of the project lies in its contribution to advancing power electronics

technology and addressing the growing demand for reliable and sustainable power solutions.

By designing and constructing a 3KVA inverter system, this project aims to empower

individuals and businesses with a cost-effective and efficient backup power solution while

promoting the adoption of renewable energy sources.