KWARA STATE POLYTECHNIC, ILORIN

DESIGN AND CONSTRUCTION OF AN EXTENSION BOX

(A CASE STUDY OF EXTENSIONBOX AT ELECTRICAL\ELECTRONIC LABORATRY ILORIN, KWARA STATE)

BY

BORIRE ADURAGBEMI ELIJHA

ND/23/EEE/PT/0179

A PROJECT REPORT SUMMITED TO DEPARTMENT OF ELECTRICAL\ELECTRONIC ENGINEERING DEPARTMENT IN PARTIAL FULFILLMENT OF THE REQUIREMENTS FOR THE AWARD OF HIGHER NATIONAL DIPLOMA, HND (ELECTRICAL\ELECTRONIC ENGINEERING) INSTITUTE OF TECHNOLOGY, KWARA STATE POLYTECHNIC, ILORIN NIGERIA

JUNE, 2025

CERTIFICATION

This is to certify that this research study was conducted by BORIRE ADURAGBEMI ELIJHA (ND/23/EEE/PT/0179) and had been read and approved as meeting the requirement for the National Diploma (ND) in electrical Engineering of the Department of electrical\electronic Engineering, Institute Of Technology, Kwara State Polytechnic Ilorin.

DEDICATION

This report is dedicated to Almighty God, who has been protecting my life from the beginning to the present time and to my parents for their assistance both morally and spiritually to see that the programmed is successfully completed.

ACKNOLEDGEMENT

I extend my deepest gratitude to my parent(Mr and Mrs . Borire), for their unwavering support and insightful critiques throughout my research journey.Their deep commitment to academic excellence and meticulous attention to detail has significantly shaped this dissertation. My appreciation also goes to my colleagues whose resources and assistance have been invaluable and the stimulating discussions that inspired me throughout my academic journey. Their collective wisdom and encouragement has been a cornerstone of my research experience. Finally, my sincere thanks to Enrg. Kudirat (Project supervisor) . Their patience and readiness to assist at all times have left a profound impact on the completion of my project.

ABSTRACT

This project focuses on the design and construction of extension box emphasizing the importance and benefits of extension. The study includes precise design calculations to ensure the reliability and efficiency of the extension box, tailored to meet the power demands of various applications. The extension design process is meticulously detailed, covering all critical aspects such as component selection, circuit design, and thermal management. A significant portion of the project is dedicated to discussing the advantages of locally made solar inverters. These benefits include cost-effectiveness, accessibility, and the potential to stimulate local economies by fostering technological innovation and manufacturing capabilities.

Additionally, the project explores the technical challenges and solutions encountered during the construction and installation phases, providing valuable insights into the practical aspects of extension box design and assembly. The final product is evaluated through rigorous testing to ensure it meets the required standards for performance and durability. This project not only contributes to the field of power electronics but also advocates for the growth of local industries.

### Table of Content

Title Page

Abstract

Dedication

Acknowledgement

Table of Contents

1.1	Background to the Study

1.2 	Aim  and objectives

1.3     Significance of the project

1.4 	Scope of the project

1.5  	Limitation of the project

1.6    Defination of terms

2.0      Literature review

2.1 	Concept  of electrical extension box

2.2 	Historical background

### 2.3 	Review of similar project

### 2.4 	Component and their function

### 2.5   Safety consideration

### 2.6   Summary of review

### 3.0    System design and implementation

3.1  	Introduction

### 3.2  	Block diagram of the system

### 3.3  	 Description of the system

### 3.4  	Component used and their functions

### 3.5  	Circuit design and explanation

#### 3.6  	Construction procedure

#### 3.7   Safety consideration

### 4.0 	Testing,results, and discussion

4.1 introduction

4.2 Testing procedure

4.3  Results and observation

4.4  Discussion

### 5.0 conclusion and recommendation

### 5.1 	Summary

### 5.2 	Conclusion

### 5.3  Challenges faced

### 5.4  Recommendation

### 5.5   Suggestion for future project

REFERENCES