KWARA STATE POLYTECHNIC, ILORIN.

INSTITUTE OF TECHNOLOGY

DEPARTMENT OF CIVIL ENGINEERING
ASSESSMENT OF THE EFFECTS OF SOLID WASTE DUMP SITES
ON GROUNDWATER QUALITY IN GANMO/AMOYO TOWN
By:
            YUNUS BOLAJI SODEEQ 


HND/23/CEC/FT/0193
BEING A RESEARCH WORK SUBMITTED TO THE DEPARTMENT OF CIVIL ENGINEERING, INSTITUTE OF TECHNOLOGY, KWARA STATE POLYTECHNIC, ILORIN KWARA STATE.
IN PARTIAL FULFILMENT OF THE REQUIREMENTS FOR THE AWARD OF HIGHER NATIONAL DIPLOMA. (HND) IN CIVIL ENGINEERING.
          JULY, 2025.

CERTIFICATION 
This is to certify that this research study was conducted by YUNUS BOLAJI SODEEQ (HND/23/CEC/FT/0193) and had been read and approved as meeting the requirement for the award of Higher National Diploma (HND) in Civil Engineering of the Department of Civil Engineering, Institute of Technology, Kwara State Polytechnic, Ilorin. 

…………………………………….  



………………………….. 

ENGR DR E.O IBIWOYE






DATE 

Project Supervisor  

…………………………………….  



………………………….. 

ENGR. A. NAALLAH 






DATE 

Head of Department  

…………………………………….  



………………………….. 

ENGR. DR. MUJEDU KASALI ADEBAYO



DATE 

External Examiner 

DEDICATION

In the name of Allah, the most gracious and merciful.I dedicate this [work/achievement] to the Almighty Allah, who has guided and blessed me with strength, wisdom, and perseverance. All praise and gratitude are due to You, and Also all  gratitude and dedication belong to my parents, Today, I want to express my heartfelt gratitude and dedication to both of you. Your unwavering support, guidance, and love have shaped me into the person I am today. Thank you for believing in me, for encouraging me to pursue my dreams, and for being my rock in times of need. Your sacrifices, wisdom, and unconditional love mean the world to me.I'm grateful for the values you've instilled in me, for teaching me resilience, and for showing me the importance of hard work and determination. This achievement is not just mine; it's also yours. I dedicate it to you, with all my love and appreciation.

ACKNOWLEDGEMENT

In the name of Allah, the most gracious and merciful.I dedicate this [work/achievement] to the Almighty Allah, who has guided and blessed me with strength, wisdom, and perseverance. All praise and gratitude are due to You, and Also all  gratitude and dedication belong to my parents, Today, I want to express my heartfelt gratitude and dedication to both of you. Your unwavering support, guidance, and love have shaped me into the person I am today.Thank you for believing in me, for encouraging me to pursue my dreams, and for being my rock in times of need. Your sacrifices, wisdom, and unconditional love mean the world to me.I'm grateful for the values you've instilled in me, for teaching me resilience, and for showing me the importance of hard work and determination. This achievement is not just mine; it's also yours. I dedicate it to you, with all my love and appreciation.Also I remember my friends, brother, and family. Thank you for being there through thick and thin, for celebrating my wins, and for lifting me up when I stumbled.This achievement is a testament to the power of friendship and family. I'm honored to have you all in my life. I would not forgot my Ex Mudashir  Kereemat Abiodun who encouraged me when kwara poly did not give admission in 2019 , Thank you for your encouragement and support during our time together. Your belief in me and my abilities meant a lot, and I'm grateful for the positive impact you had on my life.I appreciate the memories and experiences we shared, and I wish you all the best. "To my loving wife, HAISAH HAGBEKE Your unwavering support, love, and encouragement inspire me every day. You're my partner, my best friend, and my soulmate.

Thanks you all

  CHAPTER ONE
INTRODUCTION
Background of the Study
Solid wastes are unwanted or useless solid materials generated from human activities in residential, industrial or commercial areas. Solid wastes also mean any garbage, refuse, sludge from a wastewater treatment plant, or air pollution control facility and other discarded materials including solid, liquid, semi-solid, or contained gaseous material, resulting from industrial, commercial, mining and agricultural operations (VergaraandTchobanoglous,2012). Solidwaste is any discarded or abandoned material. Solid wastes can be solid, liquid, semi-solid or containerized gaseous material.
Undergroundwaterbeingthatpartofprecipitationthatinfiltratesthroughthesoildownto the water table. Underground water is mostly contained in aquifers which are water bearing rock made of layers of permeable rock, sand, or gravel through which groundwater flows, containing enough waterto supply wells and springs (Greenburg2005). When rain falls to theground, some watersflowalongtheearth'ssurfacetothestreams orlakes,whilesomeareusedbyplants,some arereturnedbacktotheatmospherethroughleavesofplantsviatranspiration,someevaporateand returnto theatmosphere whilesomeinfiltrateintotheground. Underground wateris foundin the cracksandspacesinthesoil,sandandrock.Itmovesslowlythroughlayersofsoil,sandandrock also known as aquifers. According to Edwards (2013), aquifers typically are made of a conglomeration of gravel, sand, stone or fractured rock, like limestone. The speed at which the groundwater flows depends on the size of spaces in the soil or rock and how well the spaces are connected.Saturationzoneisthezoneatwhichwatercompletelyfillstheaquifer.Thewatertable islocatedabovethesaturationzone,thewatertable depthvariesduetomanyfactors,itmayalso
rise and fall depending on many factors, heavy rainfall may cause the water table to rise while heavy pumping of the groundwater supplies may cause the water table to fall.
Ravenscroft (2007)has suggestedthatundergroundwater ispollutedbyhumanactivities, in areas where material above the aquifer is permeable, pollutants can be easily sunk into the groundwater.Oftheglobalquantityofavailablefreshwater,morethan98%isgroundwaterstored inporespacesandfracturesofrockstrata(Smith2016).Dumpingofrefuseaffectsthegroundwater in that biodegradable solids are decomposed and leaches into the soil to reach the groundwater. Thisisfasterwhenrainfallsandwashdownthedecomposedmaterialsdownintothegroundwater, although the water gets cleaner as it percolates down the earth surface into various strata of soil, buttherearesomedissolvedsolids,metalsandsaltswhichwillnotberemovedfromthewaterand thereby reaches the groundwater, and reduces the quality of the groundwater fit for drinking.
Manyhousesthesedaysdonothavepropermeansofsolidwastedisposal,itiscommonin the area of study that people living in the area use open dumping and burning as their means of solidwastedisposal.Manylandlordsfacetheneedtoprovideasourceofwaterfortheirhomesas waterisneededinhumanbeing’sdailyactivitieswhichmakesomedigwellsorboreholestoreach the groundwater without considering certain distances between the well and their dumping sites. Drinking contaminated groundwater causes several diseases, therefore, this study is done to analyze certain samples of water taken from wells near dumping sites and deduce meaningful conclusions on the potability of the water samples analyzed.
StatementoftheProblem
Generation,collectionandpropermanagementofsolidwastefromhousehold,industries, markets, abattoir and shops result in improving the standard of living of the inhabitants. The locationofdumpsitesclosesttothewellsandgroundwaterrechargeareaseasilyreleasepollutants tothesewaterbodies.Withgradualaccumulation,pollutantscanbecomeharmfultotheendusers.
Therefore,assessmentofwaterqualityisanimportantaspectofwaterevaluationandthestandard of living of the people.
Aimand Objectives
The aim of this work is to determine the impacts of solid waste on ground water quality used for domestic purposes.
Thespecificobjectivesof thiswork areto:
a) Identifywellsclosetodumpsitesin Ganmo/Amayo Town
b) Determine the physico-chemical characteristics of the water samples taken from the selected wells in the areas of study and compare it WHO and NSDWQ standard
c) Determine the correlation between levels of pollutants in selected wells with distances from the dumping site.
d) Evaluatetheengineering featuresoftheselectedwells.
e) Recommendbestpracticesforpreventingpollutionofwells.
Justificationforthe Study
Wells located very close to a refuse dumping site are harmful to human health because of the increased level of pollutants and contaminants, which are caused by the solid wastes. Subsequently,thereisaneedforabetterandsafersourceofwaterfordrinkingpurposesandother domestic purposes. Accordingly, if the groundwater sources arelocated at an acceptable distance fromthedumpingsite,itwillhugelyreducethehealthhazardscausedbywaterinthebodysystems of the people using the water.
Scopeofthe Study
The scope of this study covers laboratory analysis and assessment of different wells in relationtomunicipalsolidwastesatGanmo/AmayocommunityinIlorin.Theanalysiswascarried
out to examine the characteristics of solid wastes, physico-chemical characteristics of soil at the dumpsitesandphysicochemicalcharacteristicsofthewellswithintheproximityofthedumpsites.
This study will test for the effects of solid wastes on the quality of groundwater samples usingvarioustestssuchastestsforchlorides,testforhardnessinwater,turbiditytest,aciditytest, alkalinity test, test for suspended solids, test for total solids etc.
Limitation oftheStudy
The study determined the effects of dumpsite leachate on the groundwater and surface in the study area. This study is limited to only this particular community (Ganmo and Amoyo) and seven samples (7) as the representative of the community and the parameters measured were limited by financial constraints and time hence the results arelimited in revealing the trends over time.
CHAPTER TWO LITERATUREREVIEW
Waste
These are unwanted or unusable items, remains, or byproducts, or household garbage, chemical waste, the undigested remainder of food expelled from the body as excrement, used or contaminated water from domestic, industrial, or mining applications.
SourcesofWaste
Sources of waste can be broadly classified into four types: Industrial, Commercial, Domestic, and Agricultural.
Industrial waste
These are the wastes produced by industrial activity which includes any material that is rendered useless during a manufacturing process such as that of factories, industries, mills, and mining operations. Most of the toxic industrial wastes are dumped on waste lands for slow and gradualdecomposition.Someindustriesdumptheireffluentsonbarrenland,roadsidescreatinga very unhygienic environment for the local population. Some of the effluents have heavy metals whichpollutethegroundwaterthroughseepageduringthemonsoonseason(USEPAOAR,2015). Someheavymetalshavebeenfoundslowlyaccumulatingonlandsoils.Onesuchmosttoxicheavy metal is cadmium which is present in traces in some fertilizers. Examples are plastic, glass, etc.
Institutional waste
These are wastes produced from institutions such as schools, hospitals, or prisons. These include wastes not typically found in the households but hazardous waste in circumstances.
Commercialwaste
Commercial waste can be defined as any waste generated as a result of carrying out a business,includingassociatedlawnandgardenclippingsfromnormalmaintenanceofthebusiness
premises.Italsoincludesrubbishproducedbycustomersi.e.,foodwrappersandcontainers. Example: plastic, paper, etc.
Domesticwaste
The different household wastes which are collected during household activities like cooking, cleaning, etc. are known as domestic wastes. Examples are leaves, vegetable peels, excreta, etc.
Agriculturalwaste
Various wastes produced in the agricultural field are known as agricultural wastes. Chemicalfertilizersincreasesoilfertilityandgivebettercropyieldinlessertime.Shortly,theland becomes saline, acidic or alkaline and loses fertility. Pesticides and Biocides are toxic chemicals used in crop fields which are not eco-friendly. They enter into crops and then into primary and secondaryconsumers.Evenhumanbeingsareaffectedduetobiomagnification.Inunderdeveloped and developing countries, the poor sanitary conditions aggravate soil pollution (Tietz and Jeff, 2006). The excreta of man and animals, digested sewage sludge used as manure pollute the soil. Severalgermspresentinsuchwastescontaminatesoil,vegetables,andwaterbodiescausingsevere health hazards. Examples are cattle waste, weed, husk, etc.
Municipalsolid wastes
These are solid wastes from home, offices, stores, schools, hospitals, hotels etc. These domestic solid wastes one usually thrown in municipal garbage collecting cans or on road side open waste lands (Kumar et al, 2016). They are collected by municipality vehicles to certain garbage disposal sites. They are dumped over a large area of land which becomes the breeding ground of flies and rats. Usually, they are not burnt to reduce the volume because burning would cause air pollution which is still more dangerous.
Miningsolid wastes
They include mine dust, rock tailing, slack and slag. Open cast mining completely spoils thesurroundingsoil.Toxicchemicalsandmetals presentintheminingwastesdestroyvegetation and produce many deformities in animals and human beings.
Electronicwastes
The latest solid waste that has appeared in the last twenty years commonly known as e- wastes is no less harmful. Irreparable computer and electronic goods. Frequently, more efficient and user-friendly electronic items appear in the market thus discarding the old generation equipment which simply become garbage or solid wastes. Over half of the e-wastes generated in developed countries are exported to developing countries where they ultimately increase the e- garbage proportions (Blau, 2006).
Hospitalwastes
Hospitals generate hazardous wastes that contain disinfectants, other harmful chemicals and pathogenic microorganisms. Such wastes require careful treatment and disposal. The use of incinerators is crucial for disposal of hospital wastes.
Typesof Wastes
Commonwasteisclassifiedintotwotypes:BiodegradableandNon-biodegradablewaste.
Thesetwo kindsof wastesareexplained below:
Biodegradablewaste
These are the wastes that come from our kitchen and it includes food remains, garden waste, etc. Biodegradable waste is also known as moist waste. This can be composted to obtain manure.
Biodegradable wastes decompose themselves over a period of time depending on the material.
Non-biodegradable waste
These are the wastes which include old newspaper, broken glass pieces, plastics, etc. Nonbiodegradable waste is known as dry waste. Dry wastes can be recycled and can be reused. Nonbiodegradable wastes do not decompose by themselves and hence are major pollutants.
Solid Waste
Solid waste means any garbage, refuse, sludge from a wastewater treatment plant, water supply treatment plant, or air pollution control facility and other discarded materials including solid, liquid, semi-solid, or contained gaseous material, resulting from industrial, commercial, mining and agricultural operations, and from community activities, but does not include solid or dissolved materials in domestic sewage, or solid or dissolved materials in irrigation return flows or industrial discharges that are point sources from manufacturing plants (Kumar et al, 2016). Examplesofsolidwasteinclude:wastetires,septage,scrapmetal,latexpaints,furnitureandtoys, garbage, appliances and vehicles, oil and antifreeze, empty aerosol cans, paint cans and compressed gas cylinders, construction and demolition debris, asbestos.
Classes ofsolidwastes
a) Householdwasteisgenerally classifiedasmunicipal waste,
b) Industrialwasteashazardouswaste,and
c) Biomedicalwasteorhospitalwasteasinfectious waste.
i) Hazardous waste
Industrialandhospitalwasteisconsideredhazardousastheymaycontaintoxicsubstances. Certain types of household waste are also hazardous. Hazardous wastes could be highly toxic to humans, animals, and plants; are corrosive, highly inflammable, or explosive; and react when exposedtocertainthingse.g.,gases(Horinkoetal,2016).Householdwastethatcanbecategorized ashazardouswasteincludeoldbatteries,shoepolish,painttins,oldmedicines,andmedicine
bottles. Hospital waste contaminated by chemicals used in hospitals is considered hazardous. Thesechemicalsincludeformaldehydeandphenols,whichareusedasdisinfectants,andmercury, which is used in thermometers or equipment that measure blood pressure. Hospital waste is generated during the diagnosis, treatment, or immunization of human beings or animals or in research activities in these fields or in the production or testing of biologicals. It may include wastes like sharps, soiled waste, disposables, anatomical waste, cultures, discarded medicines, chemical wastes, etc. These arein the form of disposable syringes, swabs, bandages, body fluids, human excreta, etc. This waste is highly infectious and can be a serious threat to human health if not managed in a scientific and discriminate manner.
ii) Non-hazardouswaste
All waste materials not specifically deemed hazardous under federal law are considered nonhazardous wastes. It includes paper, wood, plastics, glass, metals, and chemicals, as well as other materials generated by industrial, commercial, agricultural, and residential sources. Even thoughthesewastesarenotdefinedashazardous,impropermanagementofthemposessignificant riskstotheenvironmentandhumanhealth(Horinkoand Courtin,2016).Therefore,thehandling, transport,anddisposalofnonhazardouswastesisregulatedbythegovernment,largelyatthestate andlocal level. The extenttowhich aparticular wasteisdeemed non-hazardousdependson both its physical and chemical nature and the source from which it comes.
Someofthetypes ofnonhazardous waste knownarethefollowing;
(a) Agriculturalwaste:Non-Hazardouscomponentsincludeanimalmanure,urine,and bedding materials.
(b) Batteries: These contain heavy metals such as mercury, lead, cadmium, and nickel, that contaminates the environment if batteries are improperly disposed of.
(c) Construction & demolition debris: Materials generated during the construction, renovation, and demolition of buildings, roads, and bridges.
(d) Industrialwaste:Non-Hazardouswasteproducedbyindustriesinthecountry.
(e) Medical waste: Solid waste generated in the diagnosis, treatment, or immunization of human beings or animals.
(f) Municipal solid waste Trash or garbage generated by households and commercial institutions consisting of everyday items such as product packaging, grass clippings, furniture, clothing, bottles, food scraps, newspapers, appliances, paint and batteries.
(g) Scraptires: Usedautomotivetiresthat aredestined for disposal.
(h) Specialwastes:Industrialwastesdeemednon-hazardousbytheEnvironmentalProtection Agency(EPA)pendingfurtherstudyarecementkilndust,crudeoilandnaturalgaswastes, fossil fuel combustion wastes, and certain mineral processing and mining wastes.
EffectsofMunicipalSolidWasteontheEnvironment
Uncontrolled strong waste dumping exposes urban inhabitants to potential dangers from polluted water especially those living adjoining to dumpsites, unhealthy food sources, air, land, and vegetation contamination. Poor solid waste disposal and handling of wastes leads to environmental degradation, ecosystem destruction and high risks to public health. Such accumulations of solid wastes are a health hazard not only to urban residents but threaten the environment (UNEP, 2005). Environmental problems associated with solid waste range from health hazards, water pollution and soil, offensive odor and repulsive sight. The outcome of this all is degradation of our environmental quality (AbdusSalam et al.,2011).
Most dumpsites are sited within the vicinity of living communities and wetlands. The dumpsitesareoftennottechnologicallysitedforadsorptionoftoxicsubstances.Therefore,makes themresponsivetodischargepollutants tonearbywaterbodiesand totheairthrough leachates or
dumpsite gases respectively (Kulikowska and Klimiuk, 2008). Many water resources have been earmarked as being hazardous to man as well as other living systems (Moh, 2012).
Thehighestnumbersoftheuncontrolleddumpingsitesaremanyyearsoldwithunmanaged waste disposal techniques. Such dumping sites have significant environmental impacts. Solid waste poses significant life-threatening potential health of the terrestrial, aquatic and aerial environments (Odukoya et al., 2000).
Challengesofurbansolid wastemanagement
Attitudes towards waste management about dumping sites greatly affect the municipal solid waste management system. Municipal solid waste management starting from household waste storage, to waste segregation, recycling, collection frequency, willingness to pay for waste management services, and opposition to sitting of waste treatment and disposal facilities depend on public awareness and participation. Awareness and involvement in the management of the dumping sites has equal significance to the proper solid waste management for health and well- being of the people. This restricts use of community and societal approaches in the management of solid waste management services (Zurbrugg, 2003).
Impacts ofSolid WasteManagement
Leachateistoxictothesurfaceandtogroundwater.Contaminationofthesewatersources is detrimental to health. Many communities in less-developed regions rely on untreated surface water and well-water for drinking and other domestic purposes. The potentials of land and water contaminationasaresultofimpropersolidwastemanagementconcernsmanyresearchers.Despite naturesrejuvenatingcapacitysolidwasteslackdilutiontoabsorborreducetheimpactofresidues, in waterways and on land. More coordinated effort is needed to protect. Preventive and environmental control is necessary for sustainable solid waste management practice.
Waste Depth
Concentration of constituents in leachate is found in lower parts in the landfills. Surface rocks and the geology of the dumping site determine the solid waste saturation. This is in respect to the breakdown and distribution that take place in the process of waste decomposition. Water seepage from landfills carries chemical toxicants from disintegrating waste material. Waste age and waste depth increases leachate toxicity (Ahmed et al., 2012).
Landfill Age
The duration of time for solid dumping determines waste decomposition in the landfills. Theleachateformsinlayersandbecomestoxicwithtime(Asadi,2008).Leachateofrecentlandfill containshighCODandBODwithgradualsubsequentreductioninthelowerlayers.(Asadi,2008). Carboncontaining compounds decompose faster than inorganic compounds with age. (Chiang, Chang & Chung, 2001). Inorganic compounds are not so toxic as they are removed through infiltration by rainfall (Chiang et al., 2001). Sulphate reduced to sulphide through infiltration precipitatesheavymetals(Adhikari,Khanal&Manandhar,2013).Leachatequalityinthelandfills becomes toxic as organic matter therein undergoes stabilization (Adhikari et al., 2013).
LeachateFormation
Municipal solid waste disposal sites have been associated with surface and groundwater pollution. The gradual decomposition of organic substances at the dumping sites needs to be addressed (Zouboulis,2002).Depositingof solidwastesfromanysource’s formsleachatewithin the dump and landfills. This is a resultant of the Physical, chemical and biological processes (Kjeldsenet al., 2002). Physicochemical characteristics of leachate depend on the source of the solid waste materials and volume. The geology, compaction and moisture content play a role in the retentionofthecontaminants.Waterflowandclimaticconditionsdetermineleachatetoxicity
(WHO,2006).Researchers,suchasKjeldsenetal.(2002)intheirresearchofgroundwater contamination ascertain that availability of water is crucial in solid waste decomposition.
LeachateComposition
Municipalleachateisacompositeoforganicandinorganiccomponents.Thisisaresultof thediverseoriginofthedepositedsolidwastes.Inmostdevelopingcountrieswithlowtechnology for managing solid waste generation and management the management of solid wastes is still underdeveloped (Tatsi and Zouboulis, 2002). Underdeveloped solid waste management practices pose a threat to the quality and sustainability of soil and water resources. Leachate’s pollution in the municipality is a major limitation to municipal waste management.
Ions
Mostmunicipalsolidwastecontaincations:Ca2+,Mg2+,Na+,K+,Fe2+,Mn2+andNH4+and
anions:
HCO3-,Cl-andSO42thedistributionofionsinleachatetoxicityarevaried(Christensenetal.,2001)
TraceElements
Organic and inorganic elements have been detected in solid waste leachates. Mainly are from solid wastes indiscriminately deposited. Typically reported trace elements include Cd, Cr, Cu,Ni,Pb,andZn;mostofthemareregulatedbywaterqualitystandardsduetotoxicityandhalf- life (Jorstad, 2006).
Heavy Metals
Many studies have confirmed that the concentrations of heavy metals in leachates are usuallyverylow.However,theymayconstituteasignificantenvironmentalthreat,evenwhenvery lowconcentrations(µg/l)areleachedintosurfacewaterorgroundwaterresources(Ehring,1983). Their relative abundance in leachate differs greatly between different dumps and landfills. The typically reported heavy metals in leachates include: Cd, Pb, Zn, Ni, Cr, and Cu.
Although significant quantities of heavy metals are found in solid wastes only a small fraction is leachedtotheundergroundwateraquiferswithtime.Theirsolubilityinleachatesisinfluencedby factors such as: Ph, redox potential and ion exchange capacity in the waste mass (Christensen et al., 2001).
DissolvedOrganicMatter
Dissolvedorganiccoversavarietyoforganicproducts.Theserangefromnonvolatileacids torefractoryfulvicandhumic-likecompounds(Kjeldsen&Christophesen,2001).Concentrations for this study were phsico-chemical and biological parameters. (Jorstad, 2006). Their concentrations are described by parameters such; Total Dissolved Substances (TDS), Total Suspended Substances (TSS) and Total counts in coliforms (Jorstad, 2006).
Solid Waste Management
Humanandanimalactivitiesgeneratedifferentkindsofwastes.Thesewastesaregenerally in solid form, and may cause pollution of land, water, and air unless treated and disposed of (Herbert and Lewis, 2007). The process of collection, transportation, treatment, and disposal can be grouped under solid waste management.
The main sources for solid wastes are domestic, commercial, industrial, municipal, and agriculturalwastes.Theincreaseinthequantityofsolidwasteisduetooverpopulation,affluence, and technological advancement.
Componentsofsolidwaste management
Themunicipalsolidwasteindustryhasfourcomponents:recycling,composting,disposal, andwasteto-energyviaincineration.TheWaste ManagementHierarchyismadeupoffourlevels ordered from most preferred to least preferred methods based on their environmental soundness: Source reduction and reuse; recycling or composting; energy recovery; treatment and disposal. The following steps are involved in solid waste management.
Collectionofsolidwaste
The functional element of collection includes not only the gathering of solid waste and recyclablematerials,butalsothetransportofthesematerials,aftercollection,tothelocationwhere the collection vehicle is emptied. The collected waste is then separated into hazardous and non- hazardous materials. There are a number of waste separation technologies available such as air stripping,streamstripping,carbonabsorption,andprecipitation.Thislocationmaybeamaterials processing facility, a transfer station or a landfill disposal site. Collection of solid waste is subdivided into the following;
i) Wastehandlingandseparation,storageandprocessingatthe source
Wastehandlingandseparationinvolvesactivitiesassociatedwithwastemanagementuntil thewasteisplacedinstoragecontainersforcollection.Handlingalsoencompassesthemovement of loaded containers to the point of collection. Separating different types of waste components is an important step in the handling and storage of solid waste at the source of collection.
ii) Segregationandprocessingandtransformationofsolid wastes
Thetypesofmeansandfacilitiesthatarenowusedfortherecoveryofwastematerialsthat havebeenseparatedatthesourceincludecurbsidecollection,drop-offandbuy-backcenters.The separation and processing of wastes that have been separated at the source and the separation of commingled wastes usually occur at a materials recovery facility, transfer stations, combustion facilities and treatment plants.
iii) Transferandtransport
This element involves two main steps. First, the waste is transferred from a smaller collection vehicle to larger transport equipment. The waste is then transported, usually over long distances, to a processing or disposal site.
Disposal
Today, the disposal of wastes by landfilling or land spreading is the ultimate fate of all solid wastes, whether they are residential wastes collected and transported directly to a landfill site,residualmaterialsfrommaterialsrecoveryfacilities(MRFs),residuefromthecombustionof solidwaste,compost,orothersubstancesfromvarioussolidwasteprocessingfacilities.According toDavidsonandGary(2011),amodernsanitarylandfillisnotadump;itisanengineeredfacility used for disposing of solid wastes on land without creating nuisances or hazards to the public healthorsafety,suchastheproblemsofinsectsandthecontaminationofgroundwater.Beforethe finaldisposalofthesolidwastes,itisprocessedtorecovertheusableresourcesandtoimprovethe efficiency of the solid waste disposal system. The main processing technologies are compaction, incineration, and manual separation. The appropriate solid waste disposal method has to be selected, keeping in view the following objectives: – should be economically viable
· shouldnotcreate ahealthhazard
· shouldnotcauseadverseenvironmental effects
· shouldnotresult inunpleasantsight, odor,and noise.
Reusing
In recent years, some environmental organizations (for example jiji.com, efritin.com, olx.com), have been gaining popularity for their online reuse networks (Sheftalovich and Zoya, 2016). These networks provide a worldwide online registry of unwanted items that would otherwise be thrown away, for individuals and nonprofits to reuse or recycle. Therefore, this free internet-based service reduces landfill pollution and promotes the gift economy.
Thesolid wastescan be properly utilizedor reusedto reapthe benefitssuch as:
· conservationofnaturalresources
· economicdevelopment
· generatemanyusefulproducts
· employmentopportunities
· controlofairpollution.
Landfills
Landfills are created by land dumping. Land dumping methods vary, most commonly it involves the mass dumping of waste into a designated area, usually a hole or sidehill. After the wasteisdumped,itisthencompactedbylargemachines.Whenthedumpingcellisfull,itisthen "sealed" with a plastic sheet and covered in several feet of dirt. This is because landfills pose the threat ofpollution and can intoxicateground water.Thesigns ofpollution areeffectively masked by disposal companies and it is often hard to see any evidence. Usually, landfills are surrounded bylargewallsorfenceshidingthemoundsofdebris.Largeamountsofchemicalodoreliminating agents are sprayed in the air surrounding landfills to hide the evidence of the rotting waste inside the plant (Horinko and Courtin, 2016).
Energy generation
Municipal solid waste (MSW) can be used to generate energy. Several technologies have been developed that make the processing of MSW for energy generation cleaner and more economical than ever before, including landfill gas capture, combustion, pyrolysis, gasification, andplasmaarcgasification.Whileolderwasteincinerationplantsemittedalotofpollutants,recent regulatory changes and new technologies have significantly reduced this concern. The EnvironmentalProtectionAgency(EPA)notedtheseimprovementsintheyear2003,citingwaste- to-energy as a power source "with less environmental impact than almost any other source of electricity".
Waste Recycling
Recyclingofwasteproductsisveryimportantasthisprocess helpsinprocessingwasteor used products into useful or new products. Recycling helps in controlling air, water, and land pollution. It also uses less energy. There are a number of items that can be recycled like paper, plastic, glass, etc. Recycling helps in conserving natural resources and also helps in conserving energy. Recycling helps in protecting the environment as it helps in reducing air, water, and soil pollution.
SourcesofSurfaceWater
Naturalsprings:Intheoldendays,onecouldjustdrinkfromaspringbutinthismodernage,the water must be tested to be sure it is free of chemical toxins and purified of biological organisms. To purify the water without adding anything, ozone is used. Ozone reduces to ordinary oxygen, which is normally suspended in water or released into the atmosphere. It is then bottled to make bottled spring water. If the water is naturally carbonated, then it is sparkling water.
Lakes and rivers: In recent times, these are quite polluted, but they are the source of tap water. Tap water is purified and disinfected, usually with chlorine sometimes fluoride is added.
Theocean:SaltyOceanwatercanbemadedrinkablethroughdesalination,filtrationorchemically decontamination.Thisishowmanycampersgetdrinkablewaterwhencamping.Drinkingwater
[image: image1.jpg]Niger State

Oyo State

ffelddun
o

2 Sisin

.
Py e

£ Kogi State

Osun State’



from streams without decontaminating it risks giardia and other illnesses. Although ocean water makes up nearly 97 percent of all water on earth, it is not a viable source of potable water unless salt and other impurities are removed. Desalination, the process by which salt is removed from water, is a rapidly growing practice. While salt and other microscopic particles can be removed from water in a variety of ways, the most promising method is through reverse osmosis. This process forces saltwater through filters with microscopic pores that remove salt and other microbes.Reverseosmosisrequireslargeamountsofenergy,makingitaveryexpensive process.
Wells: Wells can be eithernearthesurfaceorthey can drawup waterfrom verydeep. They need to be tested for purity. But some wells offer pure, drinkable water (bore hole).
Rainwater: Rainwater is usually pure, it may get dirty and contaminated by the roof, gutters or pipes, surface where it is caught and sometimes the storage in which the water is stored contaminates the rainwater.
Icecapsandglacialmelting: Ofthe3percentof earth'swaterconsideredfreshwater,70percent of that small amount is currently locked in glaciers and ice caps. In theory, frozen glacial and ice cap water could be melted and used, but the amount of energy needed to melt and transport vast quantitiesoficemakeiteconomicallyimpractical.Glaciersandicecapsalsoplayvitallyimportant rolesintheregulationof earth'sclimates and globaltemperatures,makingtheirpreservationvery important.
PropertiesofWater
Water (H2

HYPERLINK "https://en.wikipedia.org/wiki/Oxygen" \hO) is a polar inorganic compound that at room

HYPERLINK "https://en.wikipedia.org/wiki/Room_temperature" \htemperature, it is a tasteless and odorless liquid, which is nearly colorless apart from an

HYPERLINK "https://en.wikipedia.org/wiki/Color_of_water" \hinherent

HYPERLINK "https://en.wikipedia.org/wiki/Color_of_water" \hhint

HYPERLINK "https://en.wikipedia.org/wiki/Color_of_water" \hof

HYPERLINK "https://en.wikipedia.org/wiki/Color_of_water" \hblue. It is by far the most studiedchemicalcompoundandisdescribedasthe"universalsolvent"andthe"solventoflife".It isthemostabundantsubstanceonEarthandtheonlycommonsubstancetoexistasasolid,liquid, and gas on the Earth's surface. It is also the third most abundant molecule in the universe. Water molecules form hydrogen

HYPERLINK "https://en.wikipedia.org/wiki/Hydrogen_bonds" \hbonds with each other and are strongly polar. This polarity allows it to dissociate ions in salts and bond to other polar substances such as alcohols and acids, thus dissolving them. Its hydrogen bonding causes its many unique properties, such as having a solid form less dense than its liquid form, a relatively high boiling

HYPERLINK "https://en.wikipedia.org/wiki/Boiling_point" \hpoint of 100 °C for its molar

HYPERLINK "https://en.wikipedia.org/wiki/Molar_mass" \hmass, and a high heat capacity .Water is amphoteric, meaning that it can exhibit properties of an acid. Water is the chemical substance with chemical

HYPERLINK "https://en.wikipedia.org/wiki/Chemical_formula" \hformula H2O; one molecule of water has two hydrogen

HYPERLINK "https://en.wikipedia.org/wiki/Atom" \hatoms

HYPERLINK "https://en.wikipedia.org/wiki/Covalent" \hcovalently

HYPERLINK "https://en.wikipedia.org/wiki/Chemical_bond" \hbondedtoasingleoxygenatom.Waterisatasteless,odorlessliquid at
ambient

HYPERLINK "https://en.wikipedia.org/wiki/Standard_conditions" \htemperature

HYPERLINK "https://en.wikipedia.org/wiki/Standard_conditions" \hand

HYPERLINK "https://en.wikipedia.org/wiki/Standard_conditions" \hpressure. According to (Braun et al, 1993), liquid water has weak absorption

HYPERLINK "https://en.wikipedia.org/wiki/Absorption_band" \hbands at wavelengths of around 750 nm which cause it to appear to have a blue color. This can easily be observed in a water-filled bath or wash-basin whose lining is white. Large ice crystals, as in glaciers, also appear blue.
Unlike other analogous hydrides of the oxygen

HYPERLINK "https://en.wikipedia.org/wiki/Chalcogen" \hfamily, water is primarily a liquid under standard conditions due to hydrogen

HYPERLINK "https://en.wikipedia.org/wiki/Hydrogen_bonding" \hbonding. The molecules of water are constantly moving in relationtoeachother,andthehydrogenbondsarecontinuallybreakingandreformingattimescales faster than 200 femtoseconds (2×10−13seconds) (Richardson et al, 2016). However, these bonds arestrongenoughtocreatemanyofthepeculiarpropertiesofwater,someofwhichmakeitintegral to life.
Thefollowing arethephysical properties ofwater:
Water,ice,andvapor
WithintheEarth'satmosphereandsurface,theliquid

HYPERLINK "https://en.wikipedia.org/wiki/Liquid_phase" \hphaseisthemostcommonandisthe form that is generally denoted by the word "water". The solid

HYPERLINK "https://en.wikipedia.org/wiki/Solid" \hphase of water is known as ice and commonly takes the structure of hard, amalgamated crystals, such as ice

HYPERLINK "https://en.wikipedia.org/wiki/Ice_cubes" \hcubes, or loosely accumulatedgranularcrystals,likesnow.Thegaseous

HYPERLINK "https://en.wikipedia.org/wiki/Gaseous_phase" \hphaseofwaterisknownaswater

HYPERLINK "https://en.wikipedia.org/wiki/Water_vapor" \hvapor(or steam). Visible steam and clouds are formed from minute droplets of water suspended in the air.
Water also forms a supercritical

HYPERLINK "https://en.wikipedia.org/wiki/Supercritical_fluid" \hfluid. The critical

HYPERLINK "https://en.wikipedia.org/wiki/Critical_temperature" \htemperature is 647 K and the critical

HYPERLINK "https://en.wikipedia.org/wiki/Critical_pressure" \hpressureis22.064MPa.Alikelyexampleofnaturallyoccurringsupercriticalwaterisinthehottest parts of deep water hydrothermal

HYPERLINK "https://en.wikipedia.org/wiki/Hydrothermal_vents" \hvents, in which water is heated to the critical temperature by volcanic

HYPERLINK "https://en.wikipedia.org/wiki/Plume_(hydrodynamics)" \hplumesandthecriticalpressureiscausedbytheweightoftheoceanattheextremedepths where the vents are located. This pressure is reached at a depth of about 2200 meters: much less than the mean depth of the ocean (3800 meters). The following are the properties of water in the three possible existing forms (water, vapor, ice).
GroundwaterSupplies
Groundwater exists within the pore spaces and breaks in rocks and dregs underneath the Earth’s surface.
Itstartsasprecipitationorsnow.Itpermeatesthroughthesoilprofileintothegroundwater framework.Withtimetheboringofwellsmakesitswaybacktosurfacestreams,oceans,orlakes. Utilizedbroadlyforhousehold,industrialandagrarianpurposes,groundwaterresourcesconstitute animperativecomponentofwatersupplyframeworksinmanypartsoftheworld.Thewatersource haswideconveyance,inexpensiveness,dependability,andhaslesschemicalandmicrobialquality than surface water, and requires little or no treatment before use (Morris, 2003).
About half of the populaces of the world’s population rely almost on groundwater for potable water supplies (UNEP, 2010). In Africa, almost 75% of the population depends on groundwater for water supply. In other nations that get minimal precipitation such as Libya, Tunisia,Namibia,andBotswana,groundwateristhesinglesourceofpotable water(WWAP,2012)
WaterQuality Standards and Guidelines
Water Quality Standards and Guidelines are primarily aimed at protecting public health andaquaticlife.Thestandardsandguidelinesareestablishedcasewisebyeachcountrytoregulate the levels of contaminants permitted in their various water sources (Onemano and Otum, 2003). They consist of the water quality criteria to protect users, determine if they are being attained, water body’s designated uses, and anti-degradation policies to protect high-quality water bodies. WaterqualitydegradationhasattractedtheattentionofmanyorganizationssuchasWHOinefforts to promote a worldwide response to water quality deterioration.
TheWHOGuidelinesforDrinking-WaterQuality(GDWQ)coversthePhysical,chemical and microbiological aspects of water quality (WHO, 2006). The guidelines are regularly updated basedonscientificresearchandconsultationswithvariousstakeholdersandprofessionalswhich
leads to the periodic release of revised documents (WHO, 2011). The third and fourth editions of the guidelines were published in 2004-2008 and 2011 respectively.
TheWHOrecommendedGuidelinesforDrinking-WaterQualityarenotmandatorylimits, although theyareintended to form a basis forindividual countries to formulateand regulate their national water quality standards and guidelines in the context of local or national environmental, social, economic and cultural conditions. Proper implementation of the WHO guidelines will ensurethesafetyofdrinkingwatersuppliesbyeliminationorreductiontoaminimumacceptable concentration of constituents of water known to be hazardous to health (WHO, 2011).
TheGuidelinesforDrinking-WaterQualityaregenericandareaimedtoprotectworldwide publichealth.Themostimportantstageofimplementationofthesestandardsistheconversionand adaptation of the underlying Philosophy, guidance and given numeric values to quality standards defined per country. Unlike in developed countries that have attained higher standards in addressing water quality issues, the situation in Nigeria remains uncertain. However, Nigeria is making efforts to follow the global trends of reducing standard concentration levels through the NEBS and NEMA that have localized the international standards for the Nigerian case.
PollutionofGroundwaterandSurfaceWater
The vulnerability of groundwater to pollution indicates combinations of geological and hydrologicalparametersgiverisksassociatedwithgroundwaterpollutionthanothercombinations (Dimitriou,2008).Groundwateraquifersarehydraulicallyconnectedtotheoverlyinglandsurface throughinterwovenporefringes.Thevulnerabilityofanaquifertocontaminationdependsonthis. Groundwaterthatgetswaterandcontaminationfromthelandsurfaceisconsideredmorehelpless than groundwater that gets water and contaminants more gradually and in lower quantities.
Thequalityofgroundwaterdependsontherelativenumberofcontaminantsthatreachthe aquifer,thetraveltimeofcontaminants,andthetopographicalsystemcontaminants-attenuation
capacity.Thedegreeofattenuationsoccursdependsonsoilandrocktypeandtypeofcontaminant and the related action (WHO, 2006).
Any effort to control or prevent surface and groundwater pollution in any area requires adequate proper understanding of such natural intrinsic characteristics of any targeted aquifer in termsofvulnerabilitytocontaminationandthebackgroundinformationoftheactivitiesinthearea in question.
PotentialHealthEffectsofcontaminatedsurfacewaterflowandgroundwater
Land filling is a common globally though, it’s a controlled method of disposing solid wastes on land with the purposes of eliminating public health, environmental hazards and minimizing nuisances without contaminating surface or subsurface water resources. Despite this, manydumpingsitesareinadequateofliningandprecautionsintheconstructionleadingtoseepage of leachate from the decomposition of the organic wastes (Butt and Ghaffar, 2012: Longe and Balogun, 2010). In such dumping sites, the leachate continues to percolate into the ground and may contaminate groundwater sources (USEPA, 2003: Mor, Ravindra, Dahiya, and Chandra, 2006). Gradual contamination of groundwater resources has a potential risk to the natural environment and to the health of users especially children and elderly people (Mor et al., 2006).
Many water borne diseases such as diarrhoea, typhoid, cholera, paratyphoid, hepatitis, enteric fever, dermatitis, blue baby syndrome can be caused by drinking water that has high nitrates. Benzene, a known component of gasoline, is a human carcinogen (Butt & Iqbal, 2007). The serious health effects of lead such as learning disabilities in children; kidney, nerve, liver problems; and pregnancy risks. The best way to reduce the health risks associated with poor drinking water quality is by preventing contaminants from reaching the ground water is (Butt & Iqbal, 2007).
EffectsofWaterPollutantson Health
Water naturally contains small amounts of broken up substances such as zinc, calcium, magnesium, and indeed pollution like residue, sand, and microbial substances under typical circumstances. These quantities are considered safe for human use; however, when they exceed thresholdlimits,thenthewaterispolluted(Christensenetal.,2001).Metalionsandtheircomplex exhibitawiderangeoftoxicitytoorganismsrangingfromsub-lethaltolethaldependinguponthe time of exposure and the ambient temperature. For example, the heavy metals; Pb, Zn, Mn, Cd, As,NiandHgarehighlytoxiceveninlowconcentrations(Sangarika etal.,2010).Cadmiumand lead are significantly hazardous to human health; long term exposure to lead may cause severe disruptionofbiosynthesisofhemoglobinand/oranemia,damageofkidneys,highbloodpressure, brain damage, miscarriages, disruption of nervous system and sperm damage in males. Mercury can be responsive to brain and kidney damage and interference with the nervous system and regenerationofhemoglobin(GSADH,2005).Whenthesepollutantsareindiscriminatelydumped in the landfills, the resulting leachate finds ways into the groundwater or is washed into surface waterandstreamscausingwaterpollution.Znreachesthewaterbodiesthroughartificialpathways like by-products of steel production or coal-fired power stations, as well as burning of waste materials (Damodharan, 2013). To a small extent Zn is found through effluents from commercial industries, mining leaching, from fertilizers, and smelting activities. Measured pH values in samples are mere indicators of acidity but not measure of potential activity levels of actual hydrogen ions (H+). The pH measurements scale run from 0-14 with 7.0 considered neutral. pH below7.0isconsideredacidicwhilethoseabove7.0consideredbases.pHlevelsareindicatorsof the health implications of a water source as organisms thrive based on acidity at a given range. Wateracidityatanylevelswhencomesintocontactwithanychemicalormetalmakesthemmore noxious (Moh, 2012).
Pathogens and nutrients also contribute to water quality. Pathogens like coliforms are the result ofuntreatedsewage. The coliform bacteria groupthat originates from theintestinal tract of warm-blooded animals and is an indicator of the bacteriological noxious contamination of domestic water supply. The presence of E. coli in potable water has been attributed to many diseases. On the other hand, Total coliforms may not necessarily be harmful to humans though according to the Environmental Protection Agency (EPA) they are indicators of pathogens that needregularinvestigation.Coliformlevelsymptomsunderthecategoryofgastroenteritismaynot be serious for healthy people. However, they can lead to serious complications to people having weak immune systems (Butt & Iqbal, 2007). Escherichia coliforms in drinking water are often reflected through biological indicators of the total coliforms. The Escherichia coliform is an indicator of the presence of pathogens in water. Their presence in drinking water is of concern because of the various diseases they may cause to human beings. Similarly, coliforms have nitrogen carrying capacity of red cells in infants and can cause a condition referred to as methemoglobinemia or blue baby syndrome (Osu and Okoro, 2011).
ImportantTermsRelatingto Water
Color
The term “color” is used here to mean true color, that is, the color of water from which turbidity has been removed. The term “apparent color” includes not only color due to substances in solution, but also that due to suspended matter. Apparent color is determined on the original samplewithoutfiltrationorcentrifugation.Insomehighlycoloredindustrialwastewaterscoloris contributed principally by colloidal or suspended material. In such cases both true color and apparent color should be determined. Color in water may result from the presence of naturally occurring metallic ions (iron and manganese), humus and peat materials, plankton, weeds, and industrialwastes(Davisetal,2011).Colorisremovedtomakeawatersuitableforgeneraland
industrialapplications.Coloredindustrialwastewatersmayrequirecolorremovalbeforedischarge into watercourses.
Turbidity
Turbidity is a measure of the degree to which the water loses its transparency due to the presence of suspended particulates. The more total suspended solids in the water, the murkier it seemsandthehighertheturbidity(BasWijnenetal,2014).Themeasurementofturbidityisakey testofwaterquality.Turbidityinopenwatermaybecausedbygrowthofmicroorganisms.Human activitiesthatdisturbland,suchasconstruction,miningandagriculture,canleadtohighsediment levels entering water bodies during rain storms due to storm water runoff. Areas prone to high bank erosion rates as well as urbanized areas also contribute large amounts of turbidity to nearby waters,throughstormwaterpollutionfrompavedsurfacessuchasroads,bridgesandparkinglots. Some industries such as quarrying, mining and coal recovery can generate very high levels of turbidity from colloidal rock particles.
Indrinkingwater,thehighertheturbiditylevel,thehighertheriskthatpeoplemaydevelop gastrointestinal diseases (Mann et al ,2017). This is especially problematic for immune compromised people, because contaminants like viruses or bacteria can become attached to the suspended solids the suspended solids interferewith water disinfection with chlorine because the particles act as shields for the virus and bacteria. Similarly, suspended solids can protect bacteria from ultraviolet (UV) sterilization of water.
Total solids
Theterm"totalsolids"referstomattersuspendedordissolvedinwaterorwastewater,and isrelatedtobothspecificconductanceandturbidity.Totalsolids(alsoreferredtoastotalresidue) is the term used for material left in a container after evaporation and drying of a water sample. TotalSolids includes both total suspended solid, theportionoftotal solids retained byafilterand
totaldissolvedsolids,theportionthatpassesthroughafilter(AmericanPublicHealthAssociation, 1998).
Total solids can be measured by evaporating a water sample in a weighted dish, and then dryingtheresidueinanovenat103°Cto105°C.Theincreaseinweightofthedishrepresentsthe total solids. Instead of total solids, laboratories often measure total suspended solids and/or total dissolved solids.
Totalsuspendedsolids (TSS)
Total Suspended Solids (TSS) are solids in water that can be trapped by a filter. TSS can includeawidevarietyof material,suchassilt,decayingplantoranimalmatter,industrialwastes, and sewage. High concentrations ofsuspended solids can cause many problems forstream health andaquaticlife.HighTSScanblocklightfromreachingsubmergedvegetationandastheamount oflightpassingthroughthewaterisreduced,photosynthesisslowsdown.Moreover,reducedrates of photosynthesis cause less dissolved oxygen to be released into the water by plants, if light is completely blocked from bottom dwelling plants, the plants will stop producing oxygen and will die.Decomposition ofplants will causebacteriato useup even moreoxygen from the water,low dissolved oxygen can lead to fish kill, high TSS can also cause an increase in surface water temperature, becausethe suspended particles absorbheat from sunlight. This can causedissolved oxygen levels to fall even further (because warmer waters can hold less dissolved oxygen), and can harm aquatic life in many other ways, as discussed in the temperature section.
The decrease in water clarity caused by TSS can affect the ability of fish to see and catch food. Suspended sediment can also clog fish gills, reduce growth rates, decrease resistance to disease,andpreventeggandlarvaldevelopment.Whensuspendedsolidssettletothebottomofa waterbody,theycansmothertheeggsoffishandaquaticinsects,aswellassuffocatenewly
hatched insect larvae. Settling sediments can fill in spaces between rocks which could have been used by aquatic organisms for homes (Mitchell and Stapp, 1992).
High TSS in a water body can often mean higher concentrations of bacteria, nutrients, pesticides, and metals in the water. These pollutants may attach to sediment particles on the land and be carried into water bodies with storm water. In the water, the pollutants may be released fromthesedimentortravelfartherdownstream(FederalInteragencyStreamRestorationWorking Group, 1998).
HighTSScancauseproblemsforindustrialuse,becausethesolidsmayclogorscourpipes and machinery.
Factorsaffectingtotalsuspendedsolids
(a) High flowrates
The flow rate of the water body is a primary factor in TSS concentrations. Fast running watercancarrymoreparticlesandlarger-sizedsediment.Heavyrainscanpickupsand,silt,clay, andorganicparticles(suchasleaves,soil,tireparticles)fromthelandandcarryittosurfacewater. Achangein flowratecanalsoaffect TSS;ifthespeedordirectionofthe watercurrentincreases, particulate matter from bottom sediments may be suspended once more.
(Watershed’swebsite).
(b) Soil erosion
Soil erosion is caused by disturbance of a land surface. Soil erosion can be caused by BuildingandRoadConstruction,ForestFires,Logging,andMining.Theerodedsoilparticlescan be carried by storm water to surface water. This will increase the TSS of the water body.
(c) Urban runoff
Duringstormevents,soilparticlesanddebrisfromstreetsandindustrial,commercial,and residential areas can be washed into streams. Because of the large amount of pavement in urban areas, infiltration is decreased, velocity increases, and natural settling areas have been removed. Sediment is carried through storm drains directly to creeks and rivers.
(d) Wastewaterandsepticsystem effluent
The effluent from Wastewater Treatment Plants (WWTPs) can add suspended solids to a stream. The wastewater from our houses contains food residue, human waste, and other solid materialthatweputdownourdrains.MostofthesolidsareremovedfromthewaterattheWWTPs before being discharged to the stream, but treatment cannot eliminate everything.
(e) Decayingplants andanimals
Asplantsandanimals’decay,suspendedorganicparticlesarereleased and cancontribute to the TSS concentration.
(f) Bottom-feeding fish
Bottom-feedingfish(suchascarp)canstirupsedimentsastheyremovevegetation.These sediments can contribute to TSS.
Totaldissolvedsolids (TDS)
TotalDissolvedSolids(TDS)aresolidsinwaterthatcanpassthroughafilter(usuallywith a pore size of 0.45 micrometers). TDS is a measure of the amount of material dissolved in water. This material can include carbonate, bicarbonate, chloride, sulfate, phosphate, nitrate, calcium, magnesium,sodium,organicions,andotherions.Acertainleveloftheseionsinwaterisnecessary for aquatic life. Changes in TDS concentrations can be harmful because the density of the water determinestheflowofwaterintoandoutofanorganism'scells(MitchellandStapp,1992).
However,ifTDS concentrations aretoo high ortoo low, thegrowth ofmany aquaticlives can be limited, and death may occur.
SimilartoTSS,highconcentrationsof TDSmay alsoreduce water clarity,contributeto a decrease in photosynthesis, combine with toxic compounds and heavy metals, and lead to an increase in water temperature.
TDS is used to estimate thequality ofdrinking water, because it represents thenumberof ionsinthewater.WaterwithhighTDSoftenhasabadtasteand/orhigh-waterhardness,andcould result in a laxative effect.
Factorsaffectingtotaldissolvedsolids
(a) Geologyand soilin thewatershed
Some rock and soil release ions very easily when water flows over them; for example, if acidicwaterflowsoverrockscontainingcalcite(CaCO3),suchascalcareous shales,calcium(Ca2+) and carbonate (CO32-) ions will dissolve into the water. Therefore, TDS will increase. However, somerocks,suchasquartz-richgranite,arevery resistanttodissolution,anddon’tdissolveeasily
when water flows over them. TDS of waters draining areas where the geology only consists of granite or other resistant rocks will be low (unless other factors are involved).
(b) Urban runoff
Duringstormevents,pollutantssuchassaltsfromstreets,fertilizersfromlawns,andother materialcanbewashedintostreamsandrivers.Becauseofthelargeamountofpavementinurban areas, natural settling areas have been removed, and dissolved solids are carried through storm drains to creeks and rivers.
(c) Fertilizerrunoff
Fertilizer can dissolve in storm water and be carried to surface water during storms, and contribute to TDS.
(d) Wastewaterandsepticsystem effluent
The effluent from Wastewater Treatment Plants (WWTPs) adds dissolved solids to a stream.Thewastewaterfromourhousescontainsbothsuspendedanddissolvedsolidsthatweput down our drain. Most of the suspended solids are removed from the water at the WWTPs before beingdischargedtothestream,butWWTPsonlyremovesomeoftheTDS.Importantcomponents of the TDS load from WWTPs include phosphorus, nitrogen, and organic matter.
(e) Soil erosion
Soil erosion is caused by disturbance of a land surface. Soil erosion can be caused by BuildingandRoadConstruction,ForestFires,Logging,andMining.Theerodedsoilparticlesmay contain soluble components that can dissolve and be carried by storm water to surface water.
ThiswillincreasetheTDS ofthewater body.
(f) Decayingplants andanimals
As plants and animals’ decay, dissolved organic particles are released and can contribute to the TDS concentration.
DissolvedOxygen
Dissolved oxygen (DO) is a relative measure of the amount of oxygen (O2) dissolved in water. Oxygen gets into the water by diffusion from the atmosphere, aeration of the water as it tumblesoverrocksandwaterfalls,andasaproductofphotosynthesis.Theoxygencontentofwater will decrease when there is an increase in nutrients and organic materials from industrial wastewater, sewage discharges, and runoff from the land (Whitney King, 2011). Excessive plant and algae growth and decay in response to increasing nutrients in waterways can significantly affecttheamountofdissolvedoxygenavailable(ChiyaandIzum,1995).Dissolvedoxygen(DO) is one of the most important indicators of water quality. It is essential for the survival of fish and otheraquaticorganisms.Oxygendissolvesinsurfacewaterduetotheaeratingactionofwinds.
Oxygenisalsointroducedintothewaterasabyproductofaquaticplantphotosynthesis.Dissolved oxygenreferstotheleveloffree,non-compoundoxygenpresentinwaterorotherliquids.Itisan important parameter in assessing water quality because of its influence on the organisms living within a body of water. In limnology (the study of lakes), dissolved oxygen is an essential factor second only to wateritself.Adissolvedoxygen level that is too high ortoolow can harmaquatic life and affect water quality.
CHAPTER THREE MATERIALANDMETHODS
StudyArea
LocationoftheStudy Area
This research work was carried out at Ganmo/Amayo community in the Ifelodun Local GovernmentAreaofKwarastate,Nigeria.Ganmo/Amayowhichislocatedonlatitude7°26’39’’ N and longitude 3° 54’ 57’’ E is one of the largest communities in Ifelodun.
[image: image7.jpg]



Figure3.1:MapShowingGanmo/AmayoinIfelodun LocalGovernmentArea
ClimaticCondition oftheStudy Area
Ilorin has a tropical and dry climate with a lengthy wet season and relatively constant temperaturesthroughoutthecourseoftheyear.Theclimateofthestudyareasistropicallywetand dry, with the wet season from mid-March to October and dry period from November to March through August sees somewhat of a lull in precipitation. This lull nearly divides the wet season into two different seasons. During the dry period, Ilorin experiences the typical West African harmattan.ThemeantotalrainfallforIlorinis1420.06mmfallinginapproximately109days.
RainfallpeaksinJuneandSeptember.Themeanmaximumtemperatureis26.46Candtherelative humidity is 74.55%.
SoilandDrainagePattern
The common type of drainage available in Ganmo/Amayo area is open channel, the residentsofGanmo/Amayo disposetheirwasteinsidethedrainagewhenitisrainingwhichoften leads to incessant erosion and flooding. Some dispose of their waste in stream course
Population
Ganmo/Amayo community is experiencing rapid population growth and expansion of urban Physical infrastructure. Thecommunity is located in Ifelodun Local Government. Ifelodun has a population of 306,795, (NBS, 2006) making it densely populated and having the highest residents in the state. According to Planning Authority of Ifelodun Local Government (2015), Google Earth (2017) and ground truthing (2017) the total number of residential buildings in the study area at the period of carrying out this research was 20,915. The community is largely occupied by students and staff of the University of Ilorin and The Polytechnic Ilorin as well as other local occupants.
EconomicandEnvironmentalActivities
Ganmo/Amayo is manifesting some of the indicators of environmental poverty such as housingcongestion,trafficcongestion,poordrainageandsewagesystem,indiscriminatedischarge ofliquidandsolidwaste,environmentalpollution,inadequatesocialfacilitiesandover-utilization of existing infrastructural facilities. There has been a lot of informal physical development in Ganmo/Amayo; some houses that were hitherto residential have been converted to commercial uses, places that were originally earmarked as setback are used for shops and stores.
Themajoreconomicactivityofthisareaistradingwhichincluderoadsidetrading,selling of wares in shops, transport services, boarding for students etc.
SourcesofWasteGenerationinGanmo/Amayo
Thepercentageofsolidwastegeneratedfromresidentialareaisabout33.73%,commercial 30.77%, industrial, 1.77%, religion and institutional accounted for 13.02% and 20.71% respectively The types of solid waste generated by the institution in Ganmo/Amayo are basically paper, nylon of pure water and biscuit while the industrial waste in include; paper, nylon, metal, plastic and the like. The level of waste being generated in Ganmo/Amayo is a challenge because of the lack of waste management policy and governance.
There are various modes of waste storage/disposal in Ganmo/Amayo, among these are metal bin which accounted for 46.15%, the plastic bin is about 31.96%, basket and carton takes 10.65% and 3.55% respectively. Others modes include burning waste in the ground which takes about 7.69% of the total. One of the reasons why plastic bin and metal dustbin take the largest percentageofsolidwastestorageinGanmo/Amayo,thisisbecauseitservesasaconvenientmeans of storing waste before disposal, it is pollution free and enhances the clean environment
[image: image2.jpg]



Plate3.2:Elewure DumpsiteatGanmoprimary school
[image: image3.jpg]



Plate3.3:Dumpsiteat Winnerschapel churchinAmoyo

Plate3.4:Ganmo lastbus-stop in Kwara State.
[image: image4.jpg]



Plate3.5:DumpsiteatRedemptionRoadoppositeAmoyoPrimary School
Geology and Hydrology
Themainlithologyoftherockunitincludestheamphibolites,migmatitegneisses,granites andpegmatites.Otherimportantrockunitsaretheschists,madeupofbiotiteschist,quartziteschist talktremolite schist, and the muscovite schists. The topography of the Ilorin is characterized by undulatingterrainwithgeneralelevationbetween180mand210mabovesealevel,andisdrained byriversOmi,amongothers.Occurrenceofgroundwaterisdependenton theextentofweathered units and development of secondary porosity, e.g. fractures, faults, joints.
Consequently, the weathered aquifers are generally discontinuous, with groundwater occurrences in localized disconnected phreatic weathered regolith aquifers, essentially under unconfined to semi-confined conditions.
Research Design
This study used a Descriptive Research Design. Descriptive research design is used to investigatethebackgroundofaresearchproblemandgettherequiredinformationneededtocarry outfurtherresearch.Itisusedinmultiplewaysbydifferentorganizations,andespeciallywhen
gettingtherequiredinformationabouttheirtargetaudience.Descriptiveresearchdesignischeap, easy and effective to conduct (Creswell (2002). The descriptive research design enables the experimentertogatherinformation,epitomizeand interpretthemforthepurposesofclarification (Orodho, 2004).
SamplingProcedureandSize
Initialreconnaissancesurveywasconductedwithinthestudyarea.Two(2)dumpingsites were found with a total of sixteen (16) wells and one (1) stream where wastes are being dumped. The wells close to the dumping site and the stream were purposely selected both upstream and downstream.Thestreamwasequallysampledalongsidewiththewells.Thissamplingmethodwas selected because of its flexibility and so as to get different samples with respect to their distance tothedumpingsite.Theareasoselectedwas chosenduetoregularuseofthesewatersourcesfor domestic purposes.
A total of six (6) wells and one (1) borehole were selected (with the borehole being the control point) at equidistance both upstream and downstream (Figure 2). The water sample were collected at an average depth of 3.7m.
The choices of the sampling points were determined by the direction of flow and their proximity by the dumping site and the dumping stream and nearness to the surface leachate flow fromthedumpingsite.Thesampleswerecollectedfromthewellsinthemorningandtheevening time because some of the parameters of water changes with respect to time of the day.
[image: image5.jpg]Dump area

Dump Site Point
mple
mple Well point





Figure3.2:Mapshowing theSampling wellsand thedumpsite
SamplingMethodsandProcedure
The sampled water was collected in 1-liter plastic water bottles. The accuracy of the microbiological,physicalandchemicalcharacteristicsofwatersamplesisaffectedtosomeextent by the method of sampling and storage. In collecting samples for chemical and physical tests, sample bottles were rinsed several times with distilled water and then rinsed with the sampled water at the sites. Each sample were immediately close, air tightened and then put in a container for transfer to department of Public Health laboratory in UCH for analysis.
The wells and dumping site locations were determined using iPhone GPS locator. A tape rule was used in measuring the distances between the dump site and wells in conjunction with a smartmeasuringdevice.Graduatedtapewithanattachedweightwasusedtomeasurethedepthof the wells.
[image: image6.jpg]



Plate3.2:Collectionof Sample
MethodofAnalysis
The following tests were carried out to determine the initial and final concentrations of variouswaterqualityparameters.Thetestsinclude;PHtest,Turbiditytest,Conductivitytest,Total Dissolves Solids test, Total alkalinity test, Total Hardness test, Calcium Hardness test, test for Chloride,testforNitrate,testforIron,testforLead,TotalColiformtest,E.Colitestpresentinthe water sample.
DataAnalysisandPresentationMethod
Data on the level of pollutants in the wells was analyzed using descriptive statistics to obtain means. Correlation analysis was performed through cross- tabulations to determine the relationship between the level of pollutants in wells as compared to the materials used in construction of the well, the depth of well and the distances between the wells and the dumping sites. The Data was analyzed using Statistical Package for Social Sciences (SPSS) computer software version 16, PSPP and Microsoft Excel Package
CHAPTER FOUR RESULTSANDDISCUSSION
Preamble
The study investigated the effects of solid waste dump sites on groundwater quality in Ganmo/Amoyo town. This chapter present the results of the physical, chemical and bacteriological tests on well water samples carried out in this project research. This chapter contains three sections. The first section describes the levels of pollutants in the wells and comparesthemtotherecommendedstandardsbyWHOandNSDWQ.Thesecondsectionison the results of correlations analyses between levels of pollutants and distance from the dumpsite and the final section is on the results of correlations analyses between levels of pollutants and depth of the well.
Levelsofpollutantsinthewellsandstreamwaterascomparedtoguidelinesprovided by KEBS for portable water
Appearance
Allthesamplescollectedfromeachwelllocationareclearwithnodespicableappearance.
Thereisno milkyor cloudyappearancewhichcould beas aresult ofcolloids andfine clay.
pH
ThegroundwaterpHwasmeasuredasshowninTable4.1.TheresultsinTable4.2shows that the pH in well water ranged from 6.51 to 7.45 having a mean of 6.99. Four Samples were acidicwhilethreesampleswerealkaline.ThemeanpHduringthestudywaswithintheguidelines and in acceptable range as NSDWQ and WHO (6.5 – 8.5).
Table4.1:DescriptiveStatisticsofthepHshowingmeanpHandStandarddeviationof measured values
	
	N
	Mean
	Std Dev
	Minimum
	Maximum

	PH
	7
	6.99
	.35
	6.51
	7.45

	Valid(N)
	9
	
	
	
	


Table4.2:Resultsof Physical, Chemical,Bacteriological and Soil Analysisof Sample
	Parameters
	Ganmo
	Amoyo
	NSDWQ
	WHO

	PHYSICALPARAMETERS
	
	
	
	

	PH
	6.36
	6.53
	6.5 – 8.5
	6.5 – 8.5

	Turbidity(NTU)
	6.5
	7.5
	5
	5

	ElectricalConductivity (μs/cm)
	946
	1711
	1000
	1000

	Appearance
	Clear
	Clear
	Clear
	Clear

	TotalDissolved Solids
	264.0
	276.0
	500
	500

	(mg/l)
	
	
	
	

	CHEMICAL
PARAMETERS
	
	
	
	

	TotalAlkalinity (mg/l)
	82
	91
	200
	200

	Totalhardness (mg/l)
	140
	124
	150
	200

	CalciumHardness
	119
	93
	75
	100

	(mg/l)
	
	
	
	

	Chloride(mg/l)
	61
	68
	250
	250

	Nitrate(mg/l)
	2.96
	3.18
	50
	50


	Iron(Fe)(mg/l)
	0.003
	0.002
	0.3
	0.3

	Lead(Pb)(mg/l)
	0.00
	0.00
	0.01
	0.01

	BACTERIOLOGICAL
ANALYSIS
	
	
	
	

	TotalColiform(MPN)
	952
	720
	10
	10

	E.Coli (MPN)
	723
	509
	0
	0

	SOILANALYSIS
	Ganmo
	Amoyo
	EPA
	EPA

	Aluminium(mg/kg)
	56.5
	62.0
	10,000 to
300,000
	10,000 to 300,000 mg
Alkg-1

	Lead(mg/kg)
	68.0
	73.0
	400 ppm
	400 ppm

	Arsenic(mg/kg)
	0.00
	0.00
	40
	40

	Copper(mg/kg)
	64.5
	62.0
	2 – 50 mg
	2 – 50 mg

	Chromium (mg/kg)
	72.0
	68.0
	50 µg/L
	50 µg/L

	Zinc(mg/kg)
	15.0
	18.0
	10-300mg/kg
	10-300mg/kg

	Mercury (mg/kg)
	0.00
	0.00
	72 ppm
	72 ppm

	Cobalt(mg/kg)
	28.0
	32.0
	750 mg/kg
	750 mg/kg

	Iron (mg/kg)
	76.5
	80.0
	20,000 to
550,000
mg/kg
	20,000 to 550,000
mg/kg

	Manganese (mg/kg)
	41.5
	32.0
	20 to 40 ppm
(mg/kg)
	20 to 40 ppm(mg/kg)

	Other Parameters
	
	
	
	

	DistancetoDump Site
	4.21
	13.32
	
	

	(m)
	
	
	
	


	DepthofWell(m)
	8.19
	7.36
	
	

	Covered
	Yes
	Yes
	Yes
	Yes

	Wall Lining
	Unlined
	Lined
	Lined
	Lined


ElectricalConductivity ofWater
Conductivity measures the water’s ability to conduct electricity. It is the opposite of resistance.Pure,distilledwaterisapoorconductorofelectricity.Whensaltsandotherinorganic chemicals dissolve in water, they break into tiny, electrically charged particles called ions. Ions increase the water’s ability to conduct electricity. Common ions in water that conduct electrical currentincludesodium,chloride,calcium,andmagnesiumTheelectricalconductivityofthewell sample as compared to NSDWQ and WHO guidelines is presented in the table 4.2. The results in Table 4.2 indicate that Ganmo and Amoyo is within NSDWQ and WHO Standard. Amoyo Sampling points had relatively high electrical conductivity than the permissible level. This is likelybecauseAmoyowaslocatedatdrydumpsiteimplyinglessinorganicdissolvedsolidslike nitrate, sulphate and phosphate anions or cations like sodium, magnesium and iron.
Turbidity
The turbidity of the well samples depend on the amount of suspended solid matters. The result in the Table 4.2 below indicate that the turbidity values for the water samples fall within NSDWQandWHOstandard.Themaximumlimitof5NTUbyNSDWQwassatisfiedbyallthe samples. This is due to minimal contamination by clay, silt, organic matter and planktons.
TotalDissolved Solids
Total dissolved solids (TDS) is due to the inorganic salts and small amounts of organic matterpresentinsolutioninwater.Theprincipalconstituentsareusuallycalcium,magnesium,
sodium, and potassium cations and carbonate, hydrogencarbonate, chloride, sulfate, and nitrate anions.
Therangeoftotal dissolved solids ofthewatersamples is between 264mg/l and 276mg/l. The two samples location meet NSDWQ and WHO standard of 500mg/l. The presence of dissolvedsolidsinwatermayaffectitstastebutthetwosampleshasagoodtastebecausetheyfall within the NSDWQ and WHO standard.
Total Alkalinity
TheAlkalinityinthewaterwillhelpkeepthewater'spHstabilized.Theresultforthetotal AlkalinityisshownintheTable4.2shownabove.Therangeofthewellsamplesis63–102mg/l. All the well samples meet the standard of 200mg/l by NSDWQ and WHO.
Total Hardness
Totalhardnessisthesum ofthecalciumandmagnesium concentrationsinwatersample. The range of values for the water sample is 140 for Ganmo and 124 for Amoyo all falls within NSDWQ (150mg/l) and WHO (200mg/l) NSDWQ and WHO standard.
CalciumHardness
Drinking water with high calcium hardness is not known to have any adverse health effects. In fact, there are health benefits associated with hard water, as both calcium and magnesium are important dietary requirements. Calcium also improves the taste of the water. ThelimitsetbyWHO(100mg/l)isbasedonwateraestheticsandnotahealthguideline.Allthe samplesfallshortofWHOandNSDWQstandardsof100mg/land75mg/lrespectively.Calcium mostly get into the water by leachate action of the dumpsite.
Chloride
Chlorideconcentrationsinwellwaterrangefrom45mg/lto82mg/l,hencesatisfyingWHO and NSDWQ limits of 250mg/l for potable water.
DissolvedNitrates
The results in table 4.2 show that all the sampling points of the well recorded lower dissolved nitrate levels (ranging from 2.32 – 5.1mg/L) of dissolved nitrates than the recommended NSDWQ and WHO guidelines of 50mg/l
Iron(Fe)
TheWHOandNSDWQpermissiblelevelofiron(0.3mg/l)isnotexceededinallwells.
Ironlevelsrangefrom 0.002to0.015mg/l inthesampled wells.
Lead(Pb)
Noleadconcentrationwasdetectedinthewatersample.Thisshowsthatthesampleisfrom any lead poisoning.
Total Coliform
TheresultsofbacteriologicalanalysisofwellwaterfromtheAgbowocommunityshowed thatallthewellswerecontaminatedwithcoliform sandother bacteria asindicatedin Table4.2. The levels of Total coliforms counts in sampled wells were very high all exceeding 350mg/l as compared to the NSDWQ guidelines of 10/100ml.
These high counts might have arisen due to the poor level of hygiene and sanitation observed in this community. Wells in this area are constantly exposed to contamination from human activities. Also, the layout of the houses is not well planned such that the distances betweenwellsandseptic tanksandevenrefusedumpsareveryminimal.Thesehighparameters are of great concern to public health since the water from these wells is consumed by people without treatment (Adekunle et al., 2007). The presence of coliform in water is an indication of feacalcontaminationandhasbeenassociatedwithwaterborneepidemic(Mackenzieetal.,1995). Any water source used for drinking or cleaning purposes should not contain any organism of fecal origin (Akeredolu, 1991).
4.2.12E.coliCountintheSampled Wells
The levels of E.Coli in sampled wells were very high all exceeding 150mg/l as compared to the NSDWQ guidelines of nil/100ml as indicated in Figure 4.12. This is very dangerous to human health. Therefore residents may be at risk of suffering from water borne illnesses after consumption of this water without treatment
TheCorrelationbetweenLevelsofPollutantsinSampledWellswithrespecttoDistances between the Wells and the Dumpsite
CorrelationbetweenPhysicalParametersinSampledwellandDistancefromDumpsite
The session investigated whether the levels of pollutants in wells differed with respect to the distance from the dumping site. Correlation analyses were done to ascertain whether significantrelationshipsexistedbetweenthelevelsofpollutantsanddistancefromthedumpsite. Table4.3 summarizes thePearson’s correlations between thePhysical parametersin thesample wells and the distances of the sampling points from the dumpsite. The results show that there is a strong positive correlation between pH and the distance to the dumpsite (r= .653. P = .112), thereisaweakpositivecorrelationbetweenTurbidityandthedistanceto thedumpsite(r=.271. P=.557),thereisaveryweakpositivecorrelation betweenConductivityandthedistancetothe dumpsite (r= .051. P = .914), and a strong correlation between TSD and the distance to the dumpsite (r= .453, P = .308).
Thisimpliesthatasthedistancetothedumpsiteincreases,theseparametersalsoincreases.
Table4.3:TheCorrelationbetweenPhysicalParametersinSampledWellswithrespectto Distances between the Wells and the Dumpsite
	
	
	Distanceto Dump Site(m)

	PH
	Pearson Correlation
	.653

	
	Sig.(2-tailed)
	.112

	Turbidity(NTU)
	Pearson Correlation
	.271

	
	Sig.(2-tailed)
	.557

	Conductivity(μs/cm)
	Pearson Correlation
	.051

	
	Sig.(2-tailed)
	.914

	TotalDissolved Solids (mg/l)
	Pearson Correlation
	.452

	
	Sig.(2-tailed)
	.308


Correlation between Chemical Parameters in Sampled wells and Distance from Dumpsite
Table 4.4 summarizes the Pearson’s correlations between the chemical parameters in the sample wells and the distances of the sampling points from the dumpsite. The results show that thereisastrongnegativecorrelationbetweentotalalkalinityandthedistancetothedumpsite(r=
-.333. P = .466), there is a small negative correlation between total hardness and the distance to the dumpsite (r= -.214. P = .645), there is a negative correlation between Calcium hardness and the distance to the dumpsite (r= .424 P = .343), there is a positive correlation between chloride andthedistancetothedumpsite(r=.151P=.756),thereisastrongpositivecorrelationbetween dissolved nitrates and the distance to the dumpsite (r= .634 P = .126), and a strong correlation between Ironandthedistancetothedumpsite(r= .718,P=.069).Negativecorrelationsimplies thatasthedistancefromthesamplewelltothedumpsiteincreases,theparametermeasured
decreases.Likewise,positivecorrelationsimpliesthatasthedistancefromthesamplewelltothe dumpsite increases, the parameter measured increases.
Table4.4:TheCorrelationbetweenChemicalParametersinSampledWellswithrespectto Distances between the Wells and the Dumpsite
	
	
	Distanceto Dump Site(m)

	TotalAlkalinity (mg/l)
	Pearson Correlation
	-.333

	
	Sig.(2-tailed)
	.466

	Totalhardness (mg/l)
	Pearson Correlation
	-.214

	
	Sig.(2-tailed)
	.645

	CalciumHardness (mg/l)
	Pearson Correlation
	-.424

	
	Sig.(2-tailed)
	.343

	Chloride(mg/l)
	PearsonCorrelation
	.151

	
	Sig.(2-tailed)
	.746

	Nitrate(mg/l)
	Pearson Correlation
	.634

	
	Sig.(2-tailed)
	.126

	Iron (mg/l)
	Pearson Correlation
	.718

	
	Sig.(2-tailed)
	.069


Correlation between Bacteriological Parameters in Sampled wells and Distance from Dumpsite
Table4.5summarizesthePearson’scorrelationsbetweenthebacteriologicalparametersin the sample wells and the distances of the sampling points from the dumpsite. The results show thatthereisastrongnegativecorrelationbetweentotalcoliformandthedistancetothedumpsite (r=-.695.P=.083),andthereisastrongnegativecorrelationbetweenE.Coliandthedistance
tothedumpsite(r=-.816.P=.025).Asthedistancetothedumpsiteincreases,thetotalcoliforms and E. Coli reduces.
Table4.5:TheCorrelationbetweenBacteriologicalParametersinSampledWellswithrespect to Distances between the Wells and the Dumpsite
	
	
	Distanceto Dump Site(m)

	TotalColiformMPN
	Pearson Correlation
	-.695

	E. Coli_MPN
	PearsonCorrelation
	-.816


TheCorrelationbetweenLevelsofPollutantsinSampledWellswithrespecttothedepth of the wells
CorrelationbetweenPhysicalParametersinSampleWateranddepthofthe wells
The session investigated whether the levels of pollutants in wells differed with respect to the depth of the wells. Correlation analyses were done to ascertain whether significant relationships existed between the levels of pollutants and depth of the wells
Table 4.6 summarizes the Pearson’s correlations between the Physical parameters in the samplewellsandthedepthofthesampledwells.Theresultsshowthatthereisa strongpositive correlation between pH and the depth of the sampled well(r= .554. P = .197), there is a small positive correlation between Turbidity and the depth of the wells(r= .143. P = .760), there is a veryweaknegativecorrelationbetweenConductivityanddepthofthesampledwell(r=-.125.P
=.789),andastrongcorrelationbetweenTSDandthedepthofthesampledwell(r=.529,P=
.222).
Table4.6:TheCorrelationbetweenPhysicalParametersinSampledWellswithrespecttothe depth of the wells
	
	
	Distanceto Dump Site(m)

	PH
	Pearson Correlation
	.554

	
	Sig.(2-tailed)
	.197

	Turbidity(NTU)
	Pearson Correlation
	.143

	
	Sig.(2-tailed)
	.760

	Conductivity(μs/cm)
	Pearson Correlation
	-.125

	
	Sig.(2-tailed)
	.789

	TotalDissolved Solids (mg/l)
	Pearson Correlation
	.529


	
	Sig.(2-tailed)
	.222


CorrelationbetweenchemicalparametersinSampleWateranddepthofthe wells
Table 4.7 summarizes the Pearson’s correlations between the chemical parameters in the sample wells and the depth of the sampled wells. The results show that there is a negative correlation between total alkalinity and the depth of the sampled well(r= -.234. P = .613), there is a negative correlation between total hardness and the depth of the wells(r= -.275. P = .551, there is a very moderately negative correlation between calcium hardness and depth of the sampled well (r= -.456. P = .304), there is a very strong positive correlation between dissolved nitratesanddepthofthesampledwell(r=.514.P=.238),thereisaveryweakpositivecorrelation between chloride and depth of the sampled well (r= .049. P = .918), and a strong correlation between Iron and the depth of the sampled well (r= .676, P = .095).
Table4.7:TheCorrelationbetweenChemicalParametersinSampledWellswithrespectto the depth of the wells
	
	
	Depth_of_Well

	Total_Alkalinity
	Pearson Correlation
	-.234

	
	Sig.(2-tailed)
	.613

	Total_hardness
	Pearson Correlation
	-.275

	
	Sig.(2-tailed)
	.551

	Calcium_Hardness
	Pearson Correlation
	-.456

	
	Sig.(2-tailed)
	.304

	Chloride
	Pearson Correlation
	.049

	
	Sig.(2-tailed)
	.918

	Nitrate
	Pearson Correlation
	.514

	
	Sig.(2-tailed)
	.238

	Iron_Fe
	Pearson Correlation
	.676

	
	Sig.(2-tailed)
	.095


CorrelationbetweenBacteriologicalParametersinSampledwellsandthedepthofWell Samples
Table4.8summarizesthePearson’scorrelationsbetweenthebacteriologicalparametersin the sample wells and the depth of the sampled well. The results show that there is a strong negativecorrelationbetweentotalcoliformandthedepthofwellsample(r=-.697.P=.082),and thereisastrongnegativecorrelationbetweenE.Coliandthedepthofthesampledwell(r=-.807. P = .028). As the depth of the sampled well increases, the total coliforms and E. Coli reduces.
Table4.8:TheCorrelationbetweenBacteriologicalParametersinSampledWellswith respect to the depth of the wells
	
	
	Depth_of_Well_m

	Total_Coliform_MPN
	Pearson Correlation
	-.697

	
	Sig.(2-tailed)
	.082

	Coli_MPN
	Pearson Correlation
	-.807

	
	Sig.(2-tailed)
	.028


CHAPTER FIVE CONCLUSIONANDRECOMMENDATIONS
Conclusion
In this study, various statistical techniques were used to evaluate quality and variation in physical, chemical and microbial parameters of well-water (underground water) in Ganmo and Amayo in relation to their proximity to solid waste dump site. The results have shown that leachates from Solid waste dumpsite owing to proximity to well-water impact on physico- chemical properties such as nitrate, Ammonia, chloride, Sodium, Magnesium, Electrical Conductivitiy, Total dissolved solids, Salinity, water hardness, and microbial qualities of the well-water.Precipitationalsocontributessignificantlytothemigrationofcoliformsfromvarious sources to the underground water.
The Physical parameters measured show that other than the pH and turbidity, all other concentrationvaluesexceededtheNSDWQguidelinesfordrinkingwater.Thepresenceofhigh load of bacteria in well samples mean that leachate is altering the water quality of water in the vicinity of the dumpsite. Bacteriological concentration of water from all sampling points exceeded the NSDWQ standards. Hence the water in the vicinity of the dumpsite presents significantthreattopublichealth.Anyuseofthiswaterespeciallyfordomesticpurposesshould be disallowed as its use will lead to waterborne diseases such as cholera and typhoid.
There is therefore a need for biogeochemistry assessment of hydrologic environment before considering siting a well in any location. The results suggest that the minimum standard distance between solid waste dumpsite and well water will vary with different hydrologic environments
Recommendations
Thefollowing recommendations aremadeat theend ofthe study;
i To maintain and sustain portable water which is free from bacteriological and chemical contaminants,there isneedtoconsidersolidwastedisposaland management,intermof sorting of waste, disposal method used and siting of disposal site.
ii Formulationofpoliciesandguidelinesbyministryofwaterresourcesondiggingofwells fordomesticuseinareasofhighaquiferlevels,boreholesshouldbeanalternativeforthe provision of potable water in such areas.
iii Furtherresearchonthesafedistancebetweenthedumpingsiteandthesourcesofportable water should be done so as to reduce leachate pollution from the dumping site
iv Toreducewaste,reuse,wasteavoidanceandwasterecovery,publicawarenesscampaigns and sensitisation should be done.
v Nigeria ministry of water resources should come up with mechanism to improve the quantity and quality of the water supply to reduce direct reliance on the surface water source and wells.
REFERENCES
Abdus-Salam, N., Ibrahim, M. S. & Fatoyinbo, F. T. (2011). Dumpsites In Lokoja, Nigeria: A Silent Pollution Zone For Underground Water. Waste Management and Bio resource Technology, 1, 21-30.
Adhikari, B., Khanal, S. N., & Manandhar, D. R. (2013). Study of landfill leachate and waste compositionofdifferentlandfillofNepal.JournalofScienceEngineeringandTechnology, 9(11), 1521.
Ahmed, F. N., Lan, C. Q. (2012). Treatment of landfill leachate using membrane bioreactors: a review. Desalination, 287, 41-54
Akan,J.C.,Abdulrahman,F.I.,Sodipo,O.A.,Ochanya.A.EandAskira,Y.K(2010):Heavymetals in sediments from river Ngada, Maiduguri Metropolis, Borno state, Nigeria. Journal of Environmental Chemistry and Ecotoxicology Vol. 2((9), pp.131-140
Allen,A.R.(2001)Containmentlandfills: Themythofsustainability.J.Eng.Geol.,60, 3-19
Al-Weher, M. (2008). Levels of heavy metal Cd, Cu and Zn in three fish species collected from the Northern Jordan Valley. Jordan Journal of Biological Sciences; 1: 41-46.
Asadi,M.(2008).Investigationofheavymetalsconcentrationinlandfillleachateandreductionof differentcoagulants.The7thinternationalconferenceonEnvironmentalEngineering(pp. 484488). Vilnius: Faculty of Environmental Engineering, Vilnius Gediminas Technical University.
APHA.(1992).StandardMethodsfortheExaminationofWaterandWastewater.American Public Health Association, USA
Barcelona,M.J.,Gibb,J.P.,Helfrich,J.A.,&Garske,E.E.(1985).PracticalGuideforGround- Water Sampling. Illinois State Water Survey.
Barrett, A., Lawlor, J. (1995). The Economics of Waste Management in Ireland. Economic and Social Research Institute, Dublin. 129pp
Borosova, D.; Mocak, J.; Beinrohr, E. and Miskovic, P. (2002). Validation and quality assurance of arsenic determination in urine by GFAAS after toluene extraction. Polish Journal of Environmental Studies; 11: 617-623.
Butt, I., & Ghaffar, A. (2012). Ground Water Quality Assessment near Mehmood Boti Dumping site, Lahore, Pakistan. Asian Journal of Social Sciences & Humanities, 1(2), 13-24.
Butt, I., &Iqbal, A. (2007). Solid waste management and associated environmental issues in Lahore. Pakistan geographical review. Azian Journal of social science and humanities, 62(1), 45-50.
Calvo,F.,Moreno,B.,Zamorano,M., & Szanto,M. (2005). Environmental Diagnosis Methodology for Municipal Waste Dumping sites. Waste Management, 25, 768- 779.
Chiang, L., Chang, J, C. (2001). Electrochemical oxidation combined with Physical- chemical pretreatmentprocessesforthetreatmentofrefectorylandfillleachate. EnvironEngSci,18 (6), 369-378.
Christensen, T.h., Kjeldsen, P., Bjerg,P.L.,Jensen, D.L., Christensen, J.B., Baun, A., Albrechtsen,H-J.,&Heron,G.(2001).Biogeochemistryofdumpingsiteleachateplumes. Applied Geochemistry, 16, 659-718.
CreswellJ.W.(2002).ResearchDesign:Qualitative,QuantitativeandMixedResearchMethods Approaches. 2nd ed. Thousand Oaks, C.A: Sage.
Damodharan,U(2013).Bioaccumulationofheavymetalsincontaminatedriverwater -Uppanar, Cuddalore South East Coast of India. htt//.dx.doi.org/10.5772/5334.
Dimitriou, E. (2008). Groundwater risk assessment at a heavily industrialized catchment and the associated impacts on a peri-urban wetland. Journal of Environmental Management, 88 (2008) 526-538.
Douglas,T.(1992).Patternsofland,waterandairpollutionbywaste.In:Newson,M.(Ed.)
Managing the Human Impact on the Natural Environment John Wiley & Sons, 150-171 Fahmy,G.HandFathi,A.A(2011).LimnologicalstudiesontheWetlnadLake,Al-Asfar,with
special references to heavy metal accumulation by fish. American Journal of Environmental sciences 7(6): 515-524
Gakungu N. K,Gitau A. N.(2012).Solid Waste Management InKenya: ACaseStudy Of Public Technical Training Institutions ICASTOR. Journal of Engineering Vol. 5, No. 3, Nairobi GSADH,GovernmentofSouthAustralia,DepartmentofHealth,WastewaterManagement section. (2005). Reed bed Systems. St. Adelide, South Australia 5000.
Jorstad, L. B. (2006). Analyses of variation in inorganic contaminant concentration and distribution in a landfill leachate plume: Astrolabe Park, Sydney, Australia. Unpublished PHD thesis. University of New South Wales, Australia.
Henry, R. K., Yongsheng, Z. and Jun, D. (2006). Municipal solid waste management challenges in developing countries - Kenyan case study. Waste Management, (26): 92-100.
Khateeb, M.A. (2013). Landfill leachate impact on groundwater quality report. Institute of water and environmental science solid and hazardous waste management.
Kjeldsen, P. and ChristoPhersen, M. (2001). Composition of leachate from old landfills in Denmark. Waste Manage. Res., 19, 249-256.
Kulikowska, D., & Klimiuk, E. (2008). The effect of dumping site age on municipal leachate composition. Bioresource Technology, 99(13), 5981-5985.
Martin,M.(2000).Globalization,Development,andMunicipalSolidWasteManagementinThird World Cities, Mexico.
Meenakshi,P.(2005).ElementsofEnvironmentalScienceandEngineering,PrenticeHallofIndia Private limited, India.
Moh, S. (2012). Field Investigation of Groundwater Contamination from Solid Waste Dumping site in Malang, Indonesia. International Journal of Civil & Environmental Engineering, 12(02), 74-81.
Mohammed, S. (2011). Effect of refuse dumps on ground water quality. Advances in Applied Science Research, 2(6), 595-599.
Mor, S., Ravindra K., Dahiya, R.P. & Chandra, A. (2006). Leachate characterization and assessment of groundwater pollution near municipal solid waste dumping site. Environmental Monitoring and Assessment, 118(1-3), 435-456.
Morris,B.L.(2003).Groundwateranditssusceptibilitytodegradation:aglobalassessmentofthe problemandoptionsformanagement.Earlywarningandassessmentreportseries,RS.03-
3.Kenya,UNEP.
Mugenda, A.G. (2003). Research Methods: Quantitative and qualitative approaches. African Centre of Technology, Nairobi.
Muiruri, J.M., Nyambaka, H.N. and Nawiri, M.P. (2013). Heavy metals in water and tilapia fish from Athi -Galana-Sabaki tributaries, Kenya. International Food Research Journal,20(2): 891 - 896
Mwamburi, J. (2009). Trace metal concentration in water and sediments of satellite lakes within Lake Victoria (Kenya) basin. Lakes and Reservoirs: Research and Management 2009 14: 203-219
Nyandwaro,E.O.(2017).TheImpactsOfSolidWasteOnGroundAndSurfaceWaterQualityIn Kisii Municipality, Kenya
Ochieng,E.Z.,Lalah,J.OandWandiga,S.O.(2007).Analysisofheavymetalsinwaterandsurface sediments in five Rift Valley lakes in Kenya for Assessment of recent increase in anthropogenic activities. Bull. Environ. Contam. Toxicol. (2007) 79: 570 -576
Ochieng,E.Z.,Lalah,J.OandWandiga,S.O.(2008).Waterqualityandtracemetaldistributionin apristinelakeinthelakeBasininKenya.Bull.Environ.Contam.Toxicol.(2008)80:362
-366
Odukoya, O.O., Bamgbose, O. & Arowolo, T.A. (2000). Heavy metals in topsoil of Abeokuta dumpsites. Global Journal of Pure Apllied Sciences,7, 467-472
Ohwoghere-Asuma, O. and Aweto, K.E. (2013). Leachate Characterization and Assessment of Groundwater and Surface Water Qualities near Municipal Solid Waste Dump Site in Effurun, Delta State, Nigeria. Journal of Environment and Earth Science, 3(9).
Olatunji,O.SandOsibanjo,O.(2012).Determinationofselectedheavymetalsininlandfreshwater oflowerRiverNigerdrainageinNorthCentralNigeria.AfricanJournalofEnvironmental Science and Technology 6(10): 403 - 408
Onemano, J.I. and Otun, J.A. (2003). Problems on water quality standards and monitoring in Nigeria: Towards the millennium development goals. 29th WEDC International Conference, Abuja, Nigeria.
Orodho, A.J. and Kombo D.K. (2002).Research Methods.Nairobi : KenyattaUniversity, Institute of Open Learning.
Orodho J.A. (2004). Techniques of Writing research proposals and Reports in Education and Social Sciences. Masola Publishers, Nairobi.
Osu,C.andOkoro,I.A.(2011).ComperativeEvaluationofPhysicalandChemicalParametersof SewagefromselectedareasinPort-HarcourtMetropolis,RiverdStateNigeria.Continental Journal. Water, Air and Soil Pollution 2(1): 1-14.
Oyekunle, J. A. O., Ogunfowokan, A. O., Olutona, G. O., Atoyebi, A. O. & Lawal, A. (2013). Speciation Study of Heavy Metals in Water and Sediments from Asunle River of the Obafemi Awolowo University, Ile-Ife, Nigeria. International Journal of Environmental Protection, 3(3), 6-16.
Radojovenic, M. and Bashkin, V. (2006). Practical environmental analysis. Cambridge, UK: The Royal Society of Chemistry. Pp 254.
Sangarika, N., Debyani, S., Rajani, K. S. (2010) heavy metal Pollution in a Tropical Lagoon Chilika Lake, Orissa, India. Continental J. Water, Air and Soil Pollution. 1:6-12
SchubelerPeter,(1996).ConceptualFrameworkforMunicipalSolidWasteManagementin LowIncome Countries. Urban Management Program Working Paper No. 9,Nairobi Kenya.
Sharma, R. and Pervez, S. (2003). Enrichment and exposure of particulate lead in a traffic environment in India. Environ. Geochem.Health, 25: 297 - 306
Smith,K.(2010).WhatisSolidWasteManagement?Retrievedfrom(http://www.wisegreek.com/what-issolid-waste-managment.htm)
Tatsi, A. and Zouboulis, A. (2002). A field investigation of the quantity and quality of leachate from a municipal solid waste landfill in a Mediterranean climate (Thessaloniki, Greece). Advances in Environmental Research, 6(3): 207-219
UNEP. (2002). African Environment Outlook. Past, Present and Future Perspectives, UNEP, United Kingdom
UNEP. (2005). Solid Waste Management, United Nations Environment Programme -Division of Technology, Industry, and Economics
USEPA,(2003).Communitywaterandwastewatertreatment.Officeofresearchanddevelopment, Washington, DC, USEPA.
Ustohalova,V., Ricken,T., & Widmann, R. (2006). Estimation of dumping site emission lifespan using process oriented modeling. Waste Management, 26(4), 442-450, page 12-31.
WWAP (World Water Assessment Programme). (2012). The United Nations World Water Development Report 4: Managing Water under Uncertainty and Risk. Paris, UNESCO.
Yamane, T. (1987). Statistics: An introductory analysis. Taro Yamane Harper and Row, New York,247254.
WHO. (2006). Protecting Groundwater for Health: Managing the Quality of Drinking- water Sources. Edited by O. Schmoll, G. Howard, J. Chilton and I. Chorus. ISBN:1843390795. Published by IWA Publishing, London, UK.
WHO.(2011).Guidelinesfordrinkingwaterquality.
4thed.WHOPress Geneva, Switzerland.541p.Available at www.who.int/ ater_sanitation_health/ publications.
WWAP (World Water Assessment Programme). (2012). The United Nations World Water Development Report 4: Managing Water under Uncertainty and Risk. Paris, UNESCO.
Zerbock, O. (2003). Urban Solid Waste Management: Waste Reduction in Developing Nations: for the Requirements of Field Engineering, in the Developing World School of Forest.
Zaporozec, A. (2002). Groundwater contamination inventory: a methodological guide. IHP-VI Series on groundwater. No 2. UNESCO. Paris
Zurbrug,C.(2003).SolidWasteManagementinDevelopingCountries.
Retrieved
fromhttp://www.eawag.ch/organisation/abteilungen/sandec/publikationens-
swm/downloadss-wm/basicsofSWM.pdf
