KWARA STATE POLYETCHNIC, ILORIN

INSTITUTE OF TECHNOLOGY

DEPARTMENT OF CIVIL ENGINEERING

EFFECT OF PROXIMITY OF SEWAGE FACILITY ON GROUND WATER (YANKARI HOSTEL)

BY

SALAUDEEN OLAYINKA MUTIU

HND/23/CEC/FT/0136

SUBMITTED TO THE DEPARTMENT OF CIVIL ENGINEERING, INSTITUTE OF TECHNOLOGY, KWARA STATE POLYTECHNIC, ILORIN

JUNE, 2025

DECLARATION

We hereby declare that this project work titled 'Effect of Proximity of Sewage Facility on Groundwater' was carried out by SALAUDEEN OLAYINKA MUTIU of the Department of Civil Engineering, Institute of Technology, Kwara State Polytechnic, Ilorin, in partial fulfillment of the requirements for the award of the Higher National Diploma (HND).

__________________						______________

Signature									Date

CERTIFICATION

This is to certify that this research study was conducted by SALAUDEEN OLAYINKA MUTIU (HND/23/CEC/FT/0136) and had been read and approved as meeting the requirement for the award of Higher National Diploma (HND) in Civil Engineering, Institute of Technology, Kwara State Polytechnic, Ilorin.

_______________________		______________

Engr, (Mrs.) K. O. Olorunfemi	Date

Project Supervisor

______________________					         	______________

Engr, A. Na’Allah	Date

Head of Department

________________________					_	_____________

ENGR. DR. MUJEDU KASALI ADEBAYO

External Supervisor						      						Date

ACKNOWLEDGEMENT

I begin by expressing my deepest gratitude to the Almighty God, who has blessed me with the wisdom, strength, and resilience to complete this project.

I extend my sincere appreciation to my project supervisor, Engr. K. O. Olorunfemi for his invaluable guidance, support, and encouragement throughout this journey. His expertise and constructive feedback were instrumental in shaping this project.

To my family, I express my heartfelt gratitude for their unwavering support and love. My Dad, Mr. SALAUDEEN, who made me choose this interesting course, and Mom, Mrs. SALAUDEEN, who motivates me to make this milestone a success, thank you for being a constant source of motivation, encouragement and financial support. I appreciate your love.

I also acknowledge the entire staffs of the department of Civil Engineering in the Institute of Polytechnic, Ilorin, for their dedication, enlighten and support towards the success of my academics.

To my friends, guardians and colleagues, whose names could not be mentioned one by one, I appreciate your encouragement, advice, and camaraderie.

Thank you all for being part of my journey.

DEDICATION

This project is dedicated solemnly to God Almighty, who is the sole inspiration of all things, without whom there would not be, and neither would this project.

Appreciation goes to my loving parents for their support in the fulfillment of my Higher National Diploma (HND) both orally and financially. May God allow them to eat the fruit of their labor (Amen)

ABSTRACT

This study examines the effect of proximity of sewage facility on groundwater used for domestic purposes in Ilorin, Nigeria. Groundwater samples were collected from two boreholes located at estimated distances of 40 meters (Sample A) and 15 meters (Sample B) from a sewage disposal system. The samples underwent comprehensive physicochemical and microbiological analyses in accordance with the Nigerian Industrial Standard for Drinking Water Quality (NIS 977:2017). The analytical results revealed that Sample B, which was closer to the sewage source, recorded higher concentrations of total dissolved solids, total hardness, alkalinity, nitrate, and coliform bacteria compared to Sample A. While both samples maintained acceptable pH levels, the presence of coliforms—especially in Sample B—exceeded the permissible limits, indicating microbial contamination. The findings establish a clear relationship between the proximity of sewage systems and the deterioration of groundwater quality. The study underscores the importance of adhering to recommended setback distances when locating boreholes, implementing regular water quality monitoring, and enforcing effective wastewater management strategies to safeguard public health and ensure the sustainability of groundwater resources.

# TABLE OF CONTENT

Title page	             i

Certification	             ii

Dedication	iii

Acknowledgment	iv

Abstract	v

Table of Content	vi

List of figure

List of plate

CHAPTER ONE

  - Introduction                                                                                         1

  - Problem Statement                                                                              2

  - Aim and Objective                                                                              3

  - Scope of Study                                                                                    4

  - Justification of the Study                                                                    4

  - Significance of the Study                                                                    4

CHAPTER TWO

2.0	literature review                                                                                  6

2.1	Overview of Relevant Theories and Concepts                                   6

2.1.1	Groundwater and Its Importance                                                        9

2.1.2	Source of Groundwater Contamination                                              9

2.1.3	Theories of Contaminant Transport                                                   10

2.1.4	Water Quality Guidelines                                                                  10

2.2       Sewage system and their potential impact on groundwater               11

2.3       Health and environmental consequences                                          12

2.4	Analysis of Existing Research                                                          13

2.4.1	International Research                                                                      13

2.4.2	Nigerian Context                                                                              14

CHATER THREE

3.0	Research methodology                                                                     16

3.1	Research Design                                                                               16

3.2 	Study Area                                                                                        16

3.3	Population and Sampling                                                                  21

3.3.1	Target Population                                                                             21

3.3.2	Sampling Method                                                                             21

3.4        Data collection method                                                                    21

3.4.1     Physical parameter                                                                          21

3.4.2     chemical parameter                                                                         22

3.4.3     Microbiological parameter                                                              22

3.5	Data Analysis Techniques                                                               22

3.6	Quality Control Measures                                                               23

3.7	Ethical Considerations                                                                    23

3.8	limitation of the Study                                                                    24

# CHAPTR FOUR

4.0	Results and discussion                                                                   25

4.1        Physico-Chemical Analysis Summary                                         25

4.2	Microbiological Analysis Summary                                             27

4.3	Discussion                                                                                     27

CHAPTER FIVE

5.0	Conclusion and recommendation                                                28

5.1	conclusion                                                                                    28

5.2       Recommendation                                                                         28

REFERENCE                                                                            29

# CHAPTER ONE

# 1.0	 INTRODUCTION

Groundwater serves as a primary source of drinking water for many communities, making its protection essential for public health. However, it is increasingly under threat from various forms of contamination, particularly from sewage facilities. Sewage systems, especially when poorly managed or located near water sources, pose a significant risk to groundwater through leaching of harmful pathogens, chemicals, and organic matter. The concern is more critical in areas where residents depend solely on shallow wells or boreholes for potable water.

Sewage facilities, including septic tanks, soakaways, and centralized treatment plants, are designed to manage human waste safely. But when they are poorly maintained, improperly sited, or located too close to water sources, they can become major sources of contamination. Pathogens (such as E. coli and coliform bacteria), nutrients (like nitrates and phosphates), and heavy metals can infiltrate the groundwater through percolation, threatening the health of those who consume it.

Kwara state polytechnic Hostel, a student residential facility, relies heavily on groundwater sources for daily activities like drinking, cooking, and sanitation. However, the presence of a nearby sewage facility raises concerns about potential contamination of the groundwater used by residents. This study investigates the effect of the proximity of this sewage facility on the quality of groundwater around Yankari Hostel, providing insights into environmental safety and public health risks.

1.1	Problem Statement

Despite the benefits of modern sewage systems in managing waste, improper siting of these facilities poses a significant public health and environmental challenge. This study investigates the extent to which the proximity of sewage facilities affects the quality of nearby groundwater in Kwara state polytechnic Hostel.

In recent years, there have been increasing reports of water quality deterioration in areas with high human activities and inadequate waste disposal systems, but the nearby sewage facility poses a potential risk to this crucial resource. Without proper investigation, the residents might unknowingly be exposed to contaminated water, which can lead to waterborne diseases such as diarrhea, typhoid, and cholera, as well as long-term chemical poisoning from nitrates and heavy metals. Despite the critical nature of this issue, there has been no formal assessment or monitoring of the groundwater quality around Yankari Hostel. This study addresses this gap by examining whether the proximity of the sewage facility significantly impacts groundwater quality.

1.2	Aim and Objectives of the Study

Aim:

To investigate the effect of the proximity of a sewage facility on groundwater at Kwara state polytechnic Hostel.

Specific Objectives:

- To evaluate the physical, chemical, and microbiological properties of groundwater samples collected at different distances from the sewage facility.

- To compare the measured water quality parameters against WHO and Nigerian drinking water standards.

- To analyze the relationship between the distance from the sewage facility and the levels of contamination.

- To propose recommendations for minimizing groundwater contamination risks in the study area.

1.3   Scope of the Study

The study focuses on two borehole water samples: Sample A (farther from sewage site) and Sample B (closer to sewage site). It assesses their physico-chemical and microbiological parameters.

1.4   Justification of the Study

The study is justified on several grounds. First, water is a fundamental human right, and ensuring its safety is a public health priority. Second, hostel residents mainly students represent a vulnerable group, often lacking the means to detect or treat contaminated water. Third, by identifying the impact of the sewage facility on groundwater, this study can provide evidence-based recommendations to hostel management, local authorities, and environmental agencies to improve water safety practices. Lastly, the findings will contribute to the body of knowledge on groundwater contamination risks in urban residential environments.

1.5	Significance of the study

This study is significant because it provides site-specific data on groundwater quality, which can guide the development of effective water management strategies. For hostel management, the findings will offer practical insights into protecting student health and ensuring access to safe water. For policymakers and environmental regulators, the research will highlight the importance of enforcing safe siting distances between sewage facilities and water sources. Additionally, the study will serve as a reference for future researchers examining similar contamination issues in other residential or institutional settings

CHAPTER TWO

2.0   Literature Review

Groundwater contamination from sewage facilities has emerged as a significant environmental and public health concern worldwide, particularly in developing countries where rapid urbanization and inadequate sanitation infrastructure place enormous pressure on groundwater resources. This chapter presents a comprehensive review of existing literature related to the proximity of sewage facilities and its effects on groundwater quality. It includes theoretical underpinnings, mechanisms of contamination, types of pollutants, health and environmental risks, global and local empirical studies, regulatory frameworks, and identification of research gaps. The aim is to contextualize the present study within the broader scientific discourse and justify its necessity.

2.1	Overview of Relevant Theories and Concepts

Groundwater is water that resides beneath the Earth’s surface in soil pore spaces and in the fractures of rock formations. It constitutes about 30% of the world’s freshwater resources. The relationship between sewage systems and groundwater contamination has been widely studied in various parts of the world. Many studies have confirmed that improperly managed or poorly located sewage facilities can lead to significant contamination of groundwater sources. In a study conducted by Emenike et al. (2017) in southwestern Nigeria, it was found that groundwater sources near latrines and septic tanks showed high levels of coliform bacteria, which are indicators of faecal contamination. The study emphasized that the proximity of sewage systems to wells and other water sources was a significant risk factor for contamination (Emenike et al., 2017).

Similarly, a study in Kenya by Ndiritu et al. (2020) highlighted that septic tanks  placed within 20 meters of wells caused elevated levels of nitrates and microbial contamination in groundwater. These findings are consistent with those of other studies, which argue that the percolation of waste through soil layers can lead to the migration of pathogens and other pollutants into groundwater (Ndiritu et al., 2020).

In the context of Nigeria, studies in Lagos and Ibadan have shown that areas with inadequate sewage infrastructure are often associated with high levels of contamination in nearby boreholes and wells. In Kwara State, where Kwara Polytechnic is located, research on groundwater quality in residential areas has revealed concerns over water contamination due to improper disposal of waste (Oluwaseun & Ayoola, 2022).

This review of the literature establishes a clear link between proximity to sewage facilities and groundwater contamination, underscoring the need for careful planning and monitoring in residential and academic environments.

- Groundwater Vulnerability

Groundwater vulnerability refers to the susceptibility of an aquifer to contamination due to its natural characteristics (such as soil permeability, depth of water table, and type of geological materials) and human activities. Areas where the water table is shallow, soil is sandy or fractured, or where human activities (like sewage disposal) are intense, tend to have high vulnerability

- Contamination Pathways

Sewage facilities can leak or discharge waste materials into surrounding soils. Through percolation and infiltration, contaminants such as nitrates, phosphates, pathogens, and heavy metals can reach the groundwater, especially in areas with permeable soils or cracked infrastructure (USEPA, 1998). The closer a water source is to the contamination site, the higher the risk of exposure.

- Water Quality Indicators

The World Health Organization (WHO) and Nigerian Standards for Drinking Water Quality (NSDWQ) identify key parameters to assess water quality:

•	Physical indicators (color, turbidity, taste, pH)

•	Chemical indicators (nitrate, phosphate, lead, cadmium)

•	Microbiological indicators (total coliforms, E. coli)

Elevated levels of these indicators suggest contamination and pose health risks.

2.1.1	Groundwater and Its Importance

Groundwater accounts for approximately 30% of the world's freshwater. It is particularly important in areas with limited surface water sources; it refers to the water found beneath the earth’s surface in soil pore spaces and fractures in rock formations. It serves as a major source of drinking water, particularly in developing countries where piped surface water systems are limited. In Nigeria, groundwater from wells and boreholes is essential for domestic use, irrigation, and small-scale industries.

2.1.2	Sources of Groundwater Contamination

Sources include agricultural runoff, industrial discharges, landfills, and importantly, sewage systems. Groundwater can be contaminated by both natural processes (such as mineral leaching) and human activities. Anthropogenic sources, particularly sewage systems, septic tanks, soak away and latrines, pose significant risks when they leak or overflow. Contaminants such as nitrates, phosphates, ammonia, heavy metals, and pathogenic microorganisms can infiltrate the soil and reach the groundwater, especially in areas with permeable soils or shallow water tables (Freeze & Cherry, 1979).

2.1.3	Theories of Contaminant Transport

Contaminant transport in groundwater is governed by several processes:

- Advection: Movement of contaminants with flowing groundwater.

- Dispersion: Spreading of contaminants due to variations in groundwater velocity.

- Diffusion: Movement from high to low concentration zones.

- Sorption and Retardation: Interaction of contaminants with soil particles, which can slow down migration (Bear, 1972).

Understanding these mechanisms helps explain how sewage-derived pollutants migrate through the subsurface to affect groundwater quality.

2.1.4	Water Quality Guidelines

The World Health Organization (WHO) and the Nigerian Standards for Drinking Water Quality (NSDWQ) provide benchmarks for safe drinking water. Parameters commonly assessed include:

| Parameter |  | WHO Standard (2011) |  | NSDWQ Standard (Nigeria) |  |
| --- | --- | --- | --- | --- | --- |
| Total coliforms |  | 0 CFU/100 ml |  | 0 CFU/100 ml |  |
| Nitrate |  | ≤50 mg/L |  | ≤50 mg/L |  |
| Lead |  | ≤0.01 mg/L |  | ≤0.01 mg/L |  |
| pH |  | 6.5–8.5 |  | 6.5–8.5 |  |

However, regulatory enforcement remains weak in many parts of Nigeria due to limited institutional capacity, inadequate monitoring, and public unawareness (NESREA, 2011). The lack of comprehensive hydrogeological surveys further impedes effective zoning and siting of sanitation systems.

2.2	Sewage Systems and Their Potential Impact on Groundwater

Sewage refers to wastewater from domestic, institutional, or commercial sources, often rich in organic matter, pathogens, nutrients, and trace inorganic pollutants. Sanitation systems are designed to safely manage this waste, but when poorly constructed, maintained, or located too close to water sources, they can act as point sources of groundwater contamination.

Types of Sanitation Systems

- Septic tanks: On-site systems that rely on sedimentation and anaerobic digestion, often discharging partially treated effluent into soak-away pits.

- Pit latrines: Unlined or lined pits designed to collect human waste; leakage is common, especially in sandy or fractured soils.

- Sewage treatment plants: Centralized systems designed to treat large volumes but prone to leaks, overflows, or illegal discharges if mismanaged.

Key Pollutants of Concern

- Microbiological contaminants: Total coliforms, fecal coliforms (E. coli), viruses, protozoa, and helminths.

- Chemical contaminants: Nitrates, nitrites, ammonium, phosphates, chlorides, sulfates.

- Heavy metals: Lead, cadmium, mercury, arsenic (often introduced through mixed waste streams).

- Emerging contaminants: Pharmaceuticals, personal care products, microplastics.

- The presence and migration of these pollutants in groundwater depend on factors such as soil type, water table depth, hydraulic conductivity, and rainfall patterns (Howard et al., 2003).

2.3	Health and Environmental Consequences

Groundwater contamination has severe public health implications. Microbial contamination can cause diarrhea, cholera, dysentery, typhoid fever, and hepatitis A, particularly among vulnerable populations such as children and the elderly (WHO, 2011). Chemical contaminants, notably nitrates, are linked to “blue baby syndrome” (infant methemoglobinemia), while chronic exposure to heavy metals can lead to neurotoxicity, renal damage, and cancer (Okoye et al., 2014).

Environmental consequences include:

- Eutrophication of connected surface waters.

- Bioaccumulation of toxic substances in aquatic ecosystems.

- Degradation of groundwater-dependent ecosystems (GDEs), such as wetlands and springs

2.4	Analysis of Existing Research

2.4.1	International Research

Globally, numerous studies have explored the relationship between sewage proximity and groundwater quality

- Graham & Polizzotto (2013) in South Asia reported that pit latrines less than 10–15 m from shallow wells significantly increased fecal contamination, though chemical contamination (nitrates, chlorides) could persist at distances of 50 m or more.

- Godfrey et al. (2006) in Tanzania found elevated nitrate and coliform levels in wells located downslope and within 20 m of sanitation facilities, exacerbated by sandy soils and shallow water tables.

- Cairncross et al. (2010) highlighted that poorly maintained septic tanks in peri-urban Latin America were major contributors to microbial contamination, despite having theoretical protective distances.

2.4.2	Nigerian Context

In Nigeria, groundwater serves as the primary drinking water source for up to 60% of the population (Nwankwoala, 2011). However, rapid urbanization, population growth, and limited sanitation infrastructure have compounded the risks of groundwater pollution.

- Afolabi et al. (2015) in Lagos observed that shallow wells within 20–25 m of septic tanks had nitrate levels exceeding WHO standards, posing risks of methemoglobinemia in infants

- .

# Chuku (2008) in Enugu reported elevated total coliform counts in boreholes located near household soak-away pits, particularly during rainy seasons.

# Yusuf et al. (2017) in Ilorin measured significantly higher heavy metal concentrations (Pb, Cd) in groundwater samples collected near sewage discharge points compared to control locations.

# Nkansah & Ephraim (2012) in Ghana found that groundwater samples from wells near latrines had total coliform counts far above permissible levels, with seasonal fluctuations linked to rainfall and recharge rates.

# These studies highlight the critical need for local assessments that account for specific hydrogeological conditions, land use patterns, and sanitation practices

Health and Environmental Consequences.

.

# CHAPTER THREE

# 3.0    Research Methodology

3.1	Research Design

The study adopts a case study research design, focusing on Kwara state polytechnic Hostel as the unit of analysis where two borehole samples were collected from different proximities to a known sewage facility. The research uses both quantitative (physical, chemical, microbiological water quality measurements) and spatial (distance-based sampling) approaches. This design allows for an in-depth assessment of how groundwater quality changes with proximity to a sewage facility.

3.2	Study Area

Kwara State Polytechnic Hostel is a student residential area within a university setting. It is situated in an environment where groundwater serves as the primary water source for residents. The hostel features several boreholes used for domestic purposes, located at varying distances from a nearby sewage facility comprising septic tanks and soak aways. The geological setting is characterized by shallow aquifers, making groundwater susceptible to contamination from surface activities.

fig. 3.1:  Map Showing the Location of Kwara Poly Area.

Plate 3.1:  Borehole Water (sample A)

Plate 3.2:  Borehole Water (Sample B)

Plate 3.3: Located soak away at Yankari Hostel (K)

3.4	Population and Sampling

3.4.1	Target Population

The target population includes all groundwater sources (boreholes) located around Kwara state polytechnic Hostel that are in use for drinking, cooking, and sanitation.

3.4.2	Sampling Method

Two 2-liter samples of borehole water were collected:

- Sample A –40m from the sewage facility.

- Sample B –15m to the sewage facility.

This gradient-based sampling approach allows assessment of how water quality changes as distance from the contamination source increases.

3.5	Data Collection Methods

3.5.1	Physical Parameters

The following were measured on-site using portable instruments:

- pH — measured with a digital pH meter

- Temperature — measured with a thermometer

- Turbidity — measured using a turbidity meter

These indicators provide quick assessments of basic water quality conditions.

3.5.2	Chemical Parameters

Water samples were collected in sterile 1-liter plastic bottles, labeled, and transported in coolers to the laboratory for chemical analysis, which included:

- Nitrate (NO₃⁻) — using spectrophotometric method

- Phosphate (PO₄³⁻) — using colorimetric method

- Heavy metals (lead, cadmium) — using atomic absorption spectrophotometry (AAS)

3.5.3	Microbiological Parameters

For microbial analysis:

- Total coliform counts and

- E. coli presence

Were determined using the membrane filtration method or multiple-tube fermentation method following WHO guidelines. Sterile sampling bottles were used, and samples were processed within 7 days to ensure accuracy.

3.6	Data Analysis Techniques

Collected data were analyzed using the following approaches:

- Descriptive statistics (mean, range, standard deviation) to summarize water quality results.

- Comparative analysis against WHO and Nigerian drinking water standards to determine compliance.

- Correlation analysis (using Pearson’s correlation coefficient) to assess the relationship between distance from sewage facility and contamination levels.

Graphical presentation (bar charts, scatter plots, line graphs) to visualize spatial trends in contamination.

3.7	Quality Control Measures

To ensure data reliability:

- All instruments were calibrated before use.

- Sampling bottles were sterilized and rinsed with sample water before collection.

- Duplicate samples were collected and analyzed to check for consistency.

- Standard laboratory protocols were strictly followed.

3.8	Ethical Considerations

- Approval: Ethical approval was obtained from the university’s research ethics committee.

- Consent: Permission was secured from hostel management before accessing sampling points.

- Confidentiality: Data were used solely for research purposes, and no personal or sensitive information was collected.

- Feedback: Study findings will be shared with the hostel authorities to aid in improving water management practices.

3.9	Limitations of the Study

The study faced some limitations:

- Only five sampling points were selected, limiting the generalizability of results.

- Sampling was conducted during a single season (dry or wet), which may not account for seasonal variations.

- The focus was on sewage-related contamination; other potential contamination sources (e.g., agricultural runoff) were not assessed.

# CHAPTER FOUR

# 4.0   RESULTS AND DISCUSSION

4.1 Results

Physico-Chemical Analysis results for different sampling location

| Parameter/unit |  |  | Sample A |  |  | Sampe B |  |  |  |  | WHO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Turbidity (NTU) |  |  | 0.5 |  |  | 0.9 |  |  |  |  | 5.0 |
| Electric conductivity (µS/cm) |  |  | 200.0 |  |  | 374.0 |  |  |  |  | 1000 |
| PH |  |  | 6.51 |  |  | 7.82 |  |  |  |  | 6.5- 8.5 |
| Total dissolved solids (mg/l) |  |  | 120.2 |  |  | 224.4 |  |  |  |  | 500 |
| Total hardness (mg/l) |  |  | 51.5 |  |  | 97.6 |  |  |  |  | 100 |
| Total alkalinity (mg/l) |  |  | 87.6 |  |  | 192.0 |  |  |  |  | 100 |
| Hydrogen sulphide (mg/l) |  |  | 0.0 |  |  | 0.0 |  |  |  |  | 0.01 |
| Chloride (mg/l) |  |  | 5.8 |  |  | 8.8 |  |  |  |  | 100 |
| Sulphate (mg/l) |  |  | 4.2 |  |  | 5.6 |  |  |  |  | 100 |
| Nitrate (mg/l) |  |  | 2.1 |  |  | 3.5 |  |  |  |  | 10.0 |
| Nitrite (mg/l) |  |  | 0.0 |  |  | 0.01 |  |  |  |  | 0.02 |
| Sodium (mg/l) |  |  | 14.6 |  |  | 17.4 |  |  |  |  | 100 |
| Temperature ℃ | 29.1 | 29.1 | 0 |
| colour |  |  | 0.3 |  |  | 0.5 |  |  | 3 |  |
| Filterable solids (mg/l) |  |  | 11.4 |  |  | 16.5 |  |  | 500 |  |
| Iron (mg/l) |  |  | 0.07 |  |  | 0.11 |  |  | 0.3 |  |
| Magnesium (mg/l) |  |  | 0.9 |  |  | 2.2 |  |  |  |  | 2.0 |
| Coliform count (cfu/ml) |  |  | 1.0 |  |  | 2.0 |  |  |  |  | 0 |
| Total viable plate count (cfu/ml) |  |  | 63.0 |  |  | 93.0 |  |  |  |  | - |

Observation:

Sample B showed higher concentrations of major indicators (alkalinity, hardness, nitrate, etc.), indicating possible contamination due to sewage proximity.

4.2	Microbiological Analysis results

| parameter | Sample A |  |  | Sample B |  | NIS |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Total viable plate count | 63 cfu/ml |  |  | 93 cfu/ml |  | _ |  |
| Coliform count | 1 cfu/ml |  |  | 2 cfu/ml |  | 0 cfu/ml |  |
| e. coli | 0 cfu/ml |  |  | 0 cfu/ml |  | 0 cfu/ml |  |

Observation:

Sample B had a higher coliform count (2 cfu/mL) than Sample A (1 cfu/mL), violating the NIS standard of zero coliforms in potable water.

4.3	Discussion

Sample B’s elevated values in multiple indicators strongly suggest that its closer proximity to the sewage facility has compromised its quality. While both samples were deemed “fair” by the analyst, Sample A is safer for consumption. This supports earlier findings (Adewuyi & Badmus, 2020) and indicates the risk of pathogen and nutrient infiltration into the groundwater system.

CHAPTER FIVE

5.0  CONCLUSION AND RECOMMENDATIONS

5.1	Conclusion

This study confirms that proximity to a sewage facility significantly affects groundwater quality. Sample B demonstrated a closer sewage site and higher values in microbial and chemical contaminants, highlighting the need for safer borehole siting.

5.2	Recommendations

- Enforce minimum safe distances between boreholes and sewage facilities.

- Conduct regular water quality assessments in susceptible areas.

- Implement community-based education on groundwater protection

- Treat borehole water before consumption, especially near sewage sites.

- Government agencies should enforce water safety regulations more strictly.

REFERENCES

Adelana Oluwaseun, A., Ayoola, A., et al. (2002). Groundwater quality in Nigeria: Impacts of urbanization and sewage pollution. Journal of African Earth Sciences.

Adewuyi, T.O., Ndiritu, & Badmus, B.S. (2020). Water quality assessment of groundwater near waste dumpsites. Environmental Monitoring and Assessment, 192(3), 157.

Emenike, Afolabi, O. A., et al. (2018). Microbial and chemical quality of water sources near sewage disposal points in Nigeria. Nigerian Journal of Environmental Sciences.

Standards Organisation of Nigeria (2017). Nigerian Industrial Standard for Drinking Water Quality, NIS 977:2017.

WHO (2017). Guidelines for Drinking-water Quality, 4th ed. World Health Organization.