MEASUREMENTS OF RADON CONCENTRATIONS AND EVALUATIONS OF INGESTION AND INHALATION DOSE IN WATER RESOURCES SAMPLES IN ILORIN,OFFA AND ORO KWARA STATE NIGERA.

AMINU SEMIYU OPEYEMI

HND/ 23 /SLT /FT/1093

A PROJECT SUBMITTED TO THE DEPARTMENT OF SCIENCE LABORATORY TECHNOLOGY (PHYSICS & ELECTRONICS UNITS) INSTITUTE OF APPLIED SCIENCES, KWARA STATE POLYTECHNIC, ILORIN NIGERIA.

IN PARTIAL FULFILLMENT OF THE REQUIREMENT FOR THE AWARD OF HIGHER NATIONAL DIPLOMA IN SCIENCE LABORATORY TECHNOLOGY.

JULY, 2025

CERTIFICATION PAGE

This is to certify that the project work was carried out and reported by AMINU SEMIYU OPEYEMI HND/23/SLT/FT/1093,  in the department of Science Laboratory Technology [SLT] Institute of Applied science [IAS] and has been read and approved as meeting the requirement for the award of Higher National Diploma [HND].

Mr. BELLO A.M.A	DATE

(PROJECT SUPERVISOR)

Mr.  SALAU BASHIR							      DATE

H.O.U.PHYSICS/ ELECTRONICS)

Dr. USMAN ABDULKAREEM	DATE

(H.O.D.SLT)

EXTERNAL EXAMINER	DATE

## DEDICATION

I dedicate this Project to Almighty GOD, the giver of knowledge and to our parents.

## ABSTRACT

The Radon concentrations in locally hand dug Wells, Boreholes, Rivers, Tributaries and Streams water samples were collected within the crystalline rock areas of Ilorin, Offa, Oro  and their surrounding environment across six(6) Local Government Areas of Kwara State, Northcentral Nigeria. The study aimed to understand the distribution and levels of radon in water sources and how they may impact the environment. The results of Radon concentrations measurements obtained within theare as existing in Southwestern Nigeria Precambrian Basement Complex ranged from 0.82 to 14.10 Bq/l in Offa,3.36 to 9.54 Bq/l in Oro and 1.00 to 10.26 Bq/l in Ilorin Study Areas. The findings of this investigation revealed that the Radon concentrations in all the domestic water samples are above the maximum radionuclides contaminant permissible levels of 0.11 Bq/l recommended by the Standards Organization of Nigeria SON but lower than the maximum contaminants limits(MCL) value of 11.1Bq/l recommended by the United States Environmental Protection Agency(USEPA).Annual effective doses to the stomach cells from the ingestion and inhalation of water respectively ranged from 0.64 – 1.73  𝞵Sv/y and 0.77 – 2.33 𝞵 Sv/y evaluated for  Ilorin study area, 0.86 – 2.96  𝞵Sv/y and 0.38 – 6.52 𝞵 Sv/y in Offa while  0.70 – 2.0 – and 0.85- 2.40  𝞵Sv/y were determined for Oro. These results are beyond the International Committee on Radiation Protection(ICRP) maximum permissible levels of 3- 10 mSv/y. Hence, the outcome of this investigation revealed that the radioactive radon concentrations in the study areas could pose serious dangers than other water contaminants/pollutants in these environments. Therefore ,regular   monitorings are recommended to control the ingestion and inhalation doses due to intake of the commonly used water for domestic chores in the parts of Kwara State studied.

| Title page | TABLE OF CONTENT | i |
| --- | --- | --- |
| Certification Dedication Acknowledgement Abstract Table of content |  | ii iii iv v vi |
| CHAPTER ONE INTRODUCTION 1.1 Motivation |  | 1-4 |
| 1.2 Aim and Objectives 1.3 Justification of Project 1.4 Scope of Project |  | 4 |

CHAPTER TWO

  - Literature review	5

    - Natural sources	5

    - Terrestrial sources	5-6

  - Cosmic sources	6-7

    - Human activity sources	7-8

  - previous and related works	8-12

CHAPTER THREE

  - Material and methodology

  - The study area	13

  - Geology of the study area	13-15

  - Sample collections	15

  - Sample measurement	15-16

  - Radon Dose Assessment	17

    - Estimation of Annual Effective Dose by Inhalation	17-18

    - Estimation of Annual Effective Dose by injection	18-19

CHAPTER FOUR

  - Result and discussion	20

  - Radon concentration in borehole water	20

  - Annual effective dose due to ingestion and inhalation	20-21

CHAPTER FIVE

  - Conclusion and recommendation	22

  - Conclusion	22

  - Recommendations	22-23

References	24-26

## CHAPTER ONE

INTRODUCTION

  - Motivation

Radon is a radioactive gas prevalent in the atmosphere, buildings, soils and water. Water is one of the most important naturally occurring resources and is vital for human and non-human survival. It constitutes the majority (70%) of our body weight system with several essential functions in the body such as metabolizing and transporting the food we eat (Mohammad Z.H, 2015). Freshwater resources are now becoming inadequate and, lamentably, are getting increasingly polluted and depleted over time, making them unsuitable for sustaining a population that appears to be multiplying ( Kumaraswamy et al 2016). Drinking water is obtained from a variety of sources like wells, rivers, lakes, reservoirs, ponds, etc. These various sources of water pose the greatest risk to human health due to contamination of the sources. About 90% of radiation exposure to humans is from natural ,autogenic or geogenic sources like cosmic, terrestrial, and internal, among the various sources of natural ionizing radiations present on the earth, Rn-222 alone contributes to more than 50% of the total dose received by the general public. Radon gas is fifteen times more soluble than other noble gases like helium and neon in water and is dissolved and transported with the water when underground water moves through radium-rich soil and rocks (Rani and Reporter, 2021). Domestic and drinking water derived from wells, rivers, streams and boreholes where there are relatively short time intervals between abstraction are usages are prone to cause increased exposures to ingestion and inhalation of radon (Abodunrin and Akinloye,2020).The biokinetic theories according to Kitto(2018) suggest that the short-lived decay products of radon gas could remain in the stomach digestive systems for several minutes before transportation to the small intestines for assimilation into the blood(Abodunrin and Akinloye,2020).In this wise, stomach cells are liable to be exposed to increased doses of radiations which could be higher the risks from other water contaminants. For the monitoring and controls of safe consumption of water obtained from different sources, some recommendations at national and international levels have been provided, These include the 0.1 Bq/l maximum contaminants limits (MCL) provided by the Standards Organization of Nigeria (SON) 100 – 1000 Bq/l action level (AL) by the European Union (EU) and 11 Bq/l MCL by the United States of  America Environmental  Protection Agency (USEPA)for public and private water supplies (Oni et al.,2014; Rabiu et., 2017). It becomes imperative to study radon concentration in our drinking water and highlight the danger if the concentration exceeds the maximum level as recommended by the World Health Organization (WHO) and other international organizations such as USEPA, EPA, etc.

Deep wells and boreholes are expected to have a higher concentration of radioactive elements than surface water. Furthermore, man-made alpha emitters, such as plutonium and americium could be transported into springs or wells and boreholes, thereupon extending the activity level of the water. As a result of population rise, economic growth, and technological advancement worldwide, the wide use of water has risen by a factor of 6 over the past era, also water availability is likely to change worldwide due to climate phenomena (Karthiga et al., 2023). Groundwater resources are shrinking worldwide due to over-exploitation through the unsustainable level of groundwater extraction at rates exceeding recharge from rainfall (Karthiga et al., 2023). Groundwater provides drinking water to approximately 50 percent of the global population and more than 40 percent of the water used globally for irrigation (Everett et al., 2019). Possibly the key elements in establishing the significance of utilizing groundwater in a given region include the speed and the amount of extraction compared to water replenishment. This, in turn, is linked to the close connection between quantities, movement, and alterations of both surface and groundwater over time (Everett and Reporter., 2019).

Radon is direct progeny of radium which presence is significant, in surrounding soil and bedrock of the aquifer and has capacity to migrate to other sources through granites and gravel formation (Ali et al., 2010).Due to radon migration from underground rock of different concentrations of 226Ra, there exists a possibility of a high concentration level of radon (222Rn) in domestic water in Southwestern Nigeria (Oni et al., 2014). Many times, most especially among school children, a usual practice in the study area is the

consumption of water immediately after leaving the faucet; this goes directly to the stomach. Before the ingested water leaves the stomach, some of the dissolved radon can diffuse into and through the stomach wall (Hopke et al., 2000), the radon moves next to daughter cells that are very radiosensitive these cells can receive a radiation dose from

`alpha particles emitted by radon and radon decay products that are created in the stomach wall (Natassa et al., 2012). After moving through the wall, radon and its progenies are absorbed in blood and being transfer all over the whole body system, where they can deliver a certain dose to other parts (NRC, 199). Additionally, when radon is inhaled there is a likelihood of it having a contact with the biological tissue of the lungs thus causing DNA damage- a genesis to cancer (Hamzeh et al., 2012). The solid radioactive daughter product of radon can be absorbs to the linings of the lungs which may be irradiated by the alpha particle emitted by the decay of the solid daughter product of radon (WHO 2007), thus leading to different health risk, primarily the development of stomach and lung cancers (Yun-Yun Wu et al., 2014).

Water quality is essential to human life therefore there is need to constantly control and monitor the quality of both ground and surface water utilized for human consumption and domestic purposes- a way to healthy living. The quality of water is becoming an important debating issue, and scientists estimate that demand for water consumption is expected to double within the next twenty years thus making water inevitable. The quality of drinking water is affected by the depth of groundwater from the surface, because the chance of it being polluted varies from place to place (Wedad et al., 2015).

## Aim And Objectives

The aim of this work is to use the measured values of radon concentrations in various domestic water sources readily available for drinking and domestic uses in parts of Kwara State to evaluate some radiological indices .In view of this aim the specific objectives of this study were to;

    - Collect water samples randomly using well established scientific standards from parts of Ilorin,Offa and Oro and then transport them within two hours of collection to a standard laboratory for assaying;

    - Prepare the collected samples analytically;

    - Measure the concentrations of radon in the prepared water samples using an active Radon Detector at the Central Laboratory of the Ladoke Akintola University, LAUTECH, Ogbomosho, Oyo State, Nigeria;

    - Determine the ingestion inhalation and total radiological dose indices using the measured radon concentrations values for each collected water samples

    - Assess the impact of the radon concentrations on the environment and health risks of the residents in the three study areas.

  - Justification of The Project

Domestic water sources within the areas of study are majorly wells,rivers,streams and boreholes as well as non-reliable pipe-borne water supplies from dilapidated Kwara state Utility Board.However,there are concerns about the qualities of available drinking water due to various health issues and indices.Measurements of radon concentrationsin drinking water are imminent and justifiablein order to determine their potential hazards to users.

  - Scope of The Project

In this work, measurements of concentrations of radon in domestic water samples from Ilorin, Offa and Oro within Kwara Central and Kwara South Senatorial Zoneswere carried out using an active Solid State Rdon Nuclear Detector. These were done in order to quantify  the concentrations of radon levels  and estimate the consequent annual effective dose  thus to establish a possible baseline data for the study areas.The eventual results are expected to be useful to the producers,suppliers and regulators of water as well as environmental,health occupational,residential and nutritional officials,radiation protection specialists and their collaborators.

## CHAPTER TWO

## LITERATURE REVIEW

Radiation is presents in the air we breathe, the food we eat, the water we drink, and in the construction materials used to build our homes. Alpha particle (radiation) is the major

source of natural radiation in our environment (NCRP, 1987). It is derived from radioactive decay of colourless, inert gas, radon (222Rn) thus regarded as second leading cause of cancer in the world (USEPA, 2000). The radiation exposed to, are from two major sources, which are natural sources known as Autogenic or Geogenic and those which occur as results of human activities known as Artificial or Anthropogenic sources.

# Natural , Geogenic or Autogenic  Sources

The natural radiation comes from two main sources which are terrestrial and cosmic sources (NRC, 2014).

# Terrestrial Sources

Terrestrial radioisotopes are as long as the existence of the earth, they came with the creation of the planet. Although some are no more existing due to their half-life, while some radioisotopes take a long time to disintegrate into a negligible level that they can be considered non-radioactive. Radioactive elements found in rock, soil, water, air, and in food from the earth make their entry into our bodies’ through drinking of water, breathing of air and eating of foods which contain them (Binesh et al.,2012;Chandrashekara, 2012).These naturally occurring radioisotopes such as carbon-14, Potassium-40, Thorium-223, Uranium-238, Polonium- 218, and tritium (hydrogen-3) expose us to radiation within our bodies. It has been scientifically proven as shown in figure 2.1, that, the largest contributor to our daily exposure of radiation in the natural world, and the major form of natural is radon gas

(UNSCEAR 2000; Emad, 2014). Radon-222 is a naturally occurring decay product of uranium-238 which is commonly found in soils and rocks.As it escapes from the soils and rocks of which it is trapped, it enters the water we use and the air we breathe. Since there is variation in the quantity of uranium in the earth's crust, so doesthe prevalence of radon gas (Ali et al.,2010). In region where surface rocks have high quantity of uranium, the crack in the foundation could one of the routes to radon gas (US Geology, 1995). A concern for homeowners is the possibility that radon gas could accumulate to dangerous levels especially when not properly ventilated.

# Cosmic Sources

Another source of natural radiation originates from the collision of cosmic rays with the earth's upper atmosphere. Cosmic rays penetrate all of space and are made up of highly energized with positively charged particles as well as high energy photons. Approaching the earth at near the speed of light, most cosmic rays are obstructed by the earth's protective atmosphere and magnetic field. The interaction between cosmic rays (i.e. particles) and the atmosphere produce many radioactive isotopes as byproduct such as carbon-14.

Cosmic rays are also composed of high energy photons, and not all are prevented from reaching the earth's surface. It makes sense that the more elevated you are in altitude, the more you are exposed to cosmic radiation. In fact, the average amount of exposure to cosmic radiation that a person gets in the United States roughly doubles for every 6,000 feet increase in elevation.

The highest mountain in the continental United States is 14,495 feet. It is not likely that many people will ever find their way to its summit, but what mode of transportation often brings us to elevations greater than this? The answer is flying. Flying can indeed add a few extra units of exposure to one's daily exposure. Of course, the amount of extra exposure people get depends on how high the plane flies and how long they remain in the air.

# 2.3  Anthropogenic or Human Activities Sources.

This is another way radionuclides enter the soil through man-made activities, such as fall out atmospheric testing of nuclear weapons and radiological events like the Chernobyl accident. Deposition studies of these activities indicate that radioactive particles, travel around the world on the steams of air. The weight of the particles and the weather determine how soon they fall to the ground. Sometimes a heavy rain will bring the radioactive particles down to the ground quickly. The wrong management of radioactive material such as inappropriate disposal of radioactive material also may add to the level of radionuclides in soil. Since soil is one of the hosts of radionuclides, therefore radionuclides found in soil can travel into water, air and even our food substance, various organisations are concerned in setting regulations and to keep the environment free. ( Belivernis and Coytuket al ., 2009, Jasmine John, 2012).

## PREVIOUS AND RELATED WORKS

Mohammed et al., 2023 conducted a study in Baghdad City/ Iraq. They analyzed seventeen (17) groundwater samples and two samples from Tigris and Dyala River. The measurements were performed using RAD7. It was found that the concentrations of radon (226Ra) ranged from 0.3 to 2 (Bq/L). Radon concentrations from all the villages/towns were well below WHO and EPA standard limits recommended by USEPA, UNSCEAR, EU Council, and WHO. They also found out that, total annual effective doses ranged from 1.64 to 10.95 μSvy-1 were less than 0.1mSvy-1 Recommended by WHO. The study also examined the relationship between the total dissolved solids (TDS) and the concentration of Radon-222. Hence it shows the absence of a linear relationship between the variables and concentrations of Radon.

A study was conducted in 2022 in Ojo Local Government Nigeria by Mostafa et al., on sixteen groundwater and surface-water samples (wells, boreholes, and sachets) from six different locations within the Ojo Local Government area in Nigeria. The water samples collected were stored in 75cl bottles that were already sterilized with distilled water to avoid contamination. The measurements were performed by RAD7, the mean value for all samples is 18.80 ± 7.40 Bq/L. The value of error (7.40) in the mean value, around 40% of the activity concentration, is due to the difference in the activity concentration from site to site. Therefore, for each site, the average activity concentrations of radon, are independent of the source (sea, well, borehole, and sachet water). The maximum average is found at the Akesan site (30.40 ± 2.04) Bq/L. Which is more than the recommended level of 11.10 Bq/L and the minimum average value is found at the Ipaye site (10.80 ± 5.18) Bq/L, which is

nearly equal to the recommended level of 11.10 Bq/L. The obtained results are comparable to those in the works of Oni et al. which report radon concentration values in underground water in Nigeria at a range of 3.09 to 32.03 Bq/L. There is a need for a radon reduction action plan as all the water samples had higher values when compared to the maximum permissible limit of 0.10 Bq/L that has been set by the Nigerian Standards for Drinking Water Quality. The total annual effective doses from ingestion and inhalation for drinking and groundwater were higher than the safe limit of 0.1 mSv y-1 which is recommended by the World Health Organization and the European Union Commission.

Abdul Malik et al., in 2014 carried out a research using RAD7 and H20 in Pulau Pinang and Kedah/Malaysia to measure the radon concentrations in four types of water, reverse osmosis (drinking water), mineral water, tap water, and well water, 20 samples were taken with 5 samples for each type of water. The measured radon concentration ranged from 2.9±2.9 to 79.5±17 pCi/L, 2.9±2.9 to 67.8±16 pCi/L, 15.97±7 to 144.25±24 pCi/L and 374.89±37 to 6409.03±130 pCi/L in reverse osmosis (drinking water), mineral water, tap water, and well water. Well, water has the highest radon compared to others. It was due to their geological element such as granite. Results for all types of water are presented and compared with the maximum contamination limit (MCL) recommended by the United States Environmental Protection Agency (USEPA) which is 300pCi/L. Reverse osmosis water, mineral water, and tap water fall below MCL. However, well water exceeded the maximum level that was recommended. Thus, these findings suggested that

action should be taken to reduce radon concentration levels in well water as well as reduce health risks to the public.

A cross-sectional study was conducted in the spring of 2014 in Bam villages by Malakootian and colleagues on 27 water resources (wells and canals) as well as 5 water storage tanks in Bam villages of Kerman province. The radon concentrations were determined by the RAD7 device. The average minimum radon concentration in water resources was 1.2 BqL-1; which was related to a water tank in Baravat; and the average of its maximum amount was calculated as 9.88 BqL-1 which was related to a private home well in Baghchamak village. The maximum annual effective dose for adults was 30.82 μSvY-1 and the lowest was calculated as 3.74 μSvY-1. Based on the achieved results, the radon concentration of drinking water resources is lower than the permitted concentration of EPA and WHO guidelines.

A research was performed in 2018 by Al-Alawy and Hasan to investigate radon concentration levels using CR-39 technique, in six-well water samples from different locations in the Karbala governorate of Iraq. The maximum value of 4.112±2.0 Bq/L was in the Al-Hurr (Al-Qarih Al-Easariah) region and the lowest concentration of radon was in the Hay Ramadan region which is 2.156±1.4 Bq/L, with an average value 2.84±1.65 Bq/L. The highest result of annual effective dose (AED) was in the Al-Hurr (Al-Qarih Al- Easariah) region which is equal to 15.00±3.9μSv/y. At the same time, the minimum was recorded in Hay Ramadan at 7.86±2.8 μSv/y, with an average value of 10.35±3.1 μSv/y. It

was found that the radon concentrations in well water samples are lower than the recommended limit of 11.1 Bq/L and the annual effective dose in these samples is lower than the permissible international limit of 1 mSv/y.

Kayakoku 2021 has performed research on, radon (222Rn) concentrations in 13 different point water samples of Aygir Lake in Bitlis/Turkey and it is seen that the radon concentrations vary between 0.15 ± 0.01 Bq L-1 and 0.71 ± 0.08 Bq L-1. In addition, in the study, the annual effective dose rate (AED) values ranged from 0.38 ± 0.03 μSv y-1 to 1.81

± 0.20 μSv y-1, while the amount of dose the stomach takes (SED) values ranged from 0.05

± 0.00 μSv y-1 to 0.22 ± 0.02 μSv y-1. In comparison with the average international values, it is noticed that the results are below these values.

A study was conducted in 2019 by Opoku-Ntim in the Ashanti Region, Ghana on (222Rn) concentration in the groundwater samples and their annual effective dose exposure for different age groups. Radon measurement was made using the Durridge RAD-7 H2O technique. In Obuasi, the mean 222Rn concentration in groundwater was 0.09 ± 0.01 Bq l−1, mean annual effective dose due to ingestion for adult, child, and infant were 0.64 ± 0.11 μSv yr−1, 1.28 ± 0.21 μSv yr−1 and 4.46 ± 0.73 μSv yr−1 respectively and the mean annual effective dose due to inhalation was 0.28 ± 0.05 mSv yr−1 for the dry season whiles in the rainy season the mean 222Rn concentration in groundwater was 0.08 ± 0.01 Bq l−1, the mean annual effective dose due to ingestion for adult, child and infant was 0.56 ± 0.09 μSv yr−1,

1.13 ± 0.18 μSv yr−1, 3.94 ± 0.62 μSv yr−1 respectively and the annual effective dose due

to inhalation was 0.24 ± 0.04 mSv yr−1. In Offinso the mean 222Rn concentration in groundwater was 0.14 ± 0.05 Bq l−1, mean annual effective dose due to ingestion for adult, child and infant was 1.03 ± 0.37 μSv yr−1, 2.06 ± 0.74 μSv yr−1, and 7.20 ± 0.74 μSv yr−1 respectively and the mean annual inhalation dose a mean of 0.46 ± 0.16 mSv yr−1 for the dry season. In the rainy season, the mean indoor 222Rn concentration in groundwater was

0.13 ± 0.04 Bq l−1, mean annual effective dose due to ingestion for adult, child and infant was 1.26 ± 0.31 μSv yr−1, 1.89 ± 0.61 μSv yr−1 and 6.62 ± 2.15 μSv yr−1 respectively and the mean annual effective dose due to inhalation was mean of 0.41 ± 0.13 mSvyr−1. The mean annual effective doses of all the samples are lower than the reference level of 0.1 mSvyr−1 for drinking water of WHO and EU Council. It has been concluded that drinking water is safe as far as radon-related health hazards are concerned apart from a few isolated cases.

## CHAPTER THREE

## MATERIALS AND METHODS

3.1 Overview

This work is a nuclear analytical research involving radioactivity studies of the characteristics and nature of the various water resources commonly used for domestic chores such as drinking, food preparations, ablution, heating, drinking, agriculture ,washing and bathing. Thirty four water samples have been collected from three different parts of Kwara State to identify the radon concentrations and estimate the radiological indices for the assessment of the environmental impacts and health risks of ingestion and inhalation of radon gas through the various water used in the study areas.

3.2 Study Area

Three notable towns have been selected for investigation in this work namely Ilorin,Offa and Oro located in Kwara State, North Central Nigeria. They exist in the Guinea Savannah Belt which is the transition zone between the grassland of the North and forest land of the southern Nigeria with two prominent seasons of the harmattan which noccurs between October and March of the following year and the rainy or wet season which commences in April and terminates in October.

## 3.3   Geology of The StudyArea

The geology is made up of the Precambrian basement complex rocks which are considered to be undifferentiated basement complex, mainly granite-gneiss, migmatite, and granites out-cropping in different parts of the study area (Nur et al., 2011). The migmatites that are poorly exposed along the Gombi range are coarse-grained, granitic in composition, and interlaminated with metamorphic rocks of various kinds forming the so-called migmatite-gneiss complexes. The granite-gneiss are light to dark colored, medium to coarse-grained with poorly developed leucocratic layers. They contain feldspars, biotite, and phenocrysts of quartz (Valdon et al., 2010). The rock units have been subjected to tectonism giving rise to fractures, veins, fissures, faults, joints, and fractured zones.

FIGURE 3.1: MAP OF KWARA STATE SHOWING THE LOCATION OF THE STUDY AREAS

## 3.4 Sample Collections

A total of 37 water samples from ground water were collected from the study locations. The samples were analysed for the radon (222 Rn) concentration. In the study

locations, it was observed that the underground water are the predominant domestic water used by the inhabitants most especially the students.

## 3.5   Measurements of Samples

A well calibrated active Electronic Radon Detector (RAD 7), manufactured by D URRIDGE

COMPANY Inc. (Durridge Co.) was employed to measure radon concentration. RAD-7 Electronic Radon Detector is a solid state alpha detector; this solid-state detector is made of semiconductor material (usually Silicon) that converts alpha radiation directly to an electrical signal (Ali et al., 2010). The internal sample cell of RAD-7 is a 0.7dm3 (0.7 liter) hemispheres, coated on the inside with an electrical conductor and with lower detectable limit of less than 0.37 Bq l-1. The Radon detector device is portable, rugged and battery operated, the measurement is fast

FIGURE 3.2: DURRIDGE RAD7 RADON MONITOR

and gives result after 30 minutes analysis with a high sensitivity that surpass of liquid scintillation method (DURRIDGE, 2013). The time taking for the analysis is too short compared with the half-life of radon which is 3.8 days, thus making RAD 7 better-quality to many other detectors for radon in water measurement. The RAD 7 is connected to a RAD-H2O accessory and bubbling kit which make it possible for degassing of radon from water sample into the air closed loop (Mhera et al., 2010). Within the closed loop is the desiccant to dry the air before entering the detector for radon concentration measurement (Figure 3.1). The detector uses alpha spectrometry technique (DURRIDGE, 2013).

The measurement was carried out around Kwara Polytechnic, Ilorin Nigeria. The school enrols 25,000 students and employs more than 3,000 workers including contract staff

  - Radon Dose Assessments

    - Estimation of annual effective dose by Inhalation

The radon gas concentrations obtained was used to estimate the annual mean effective doses due to inhalation, since water for household activities is stored indoors and the same is used for other household activities i.e bathing, washing, and cooking. The annual mean effective doses due to inhalation were calculated by using the parameters established in UNSCEAR report 2000, as:

E (m Sv y-1) = 𝐶𝑅𝑛 𝑤 × 𝑅𝑎 𝑤 × 𝐹 × 𝑂 × (𝐷𝐶𝐹)	(3.1) Where;

E (mSv y-1) = annual effective dose for inhalation

𝐶𝑅𝑛 𝑤 = Concentration of radon in water. Raw=Ratio of radon in air to water (10-4),

𝐹 = the radon equilibrium factor between radon and its decay products (0.4)

(𝐷𝐶𝐹) = Dose Conversion Factor for radon exposure (9.0 × 10-6 Sv h-1 per Bq m-3).

(𝑂) = An occupancy factor assumed based on the period inhabitants spend in indoor

rooms out of 24 hours which is estimated by 9 ℎ𝑟𝑠  = 0.375 ≅ 0.4=(0.4 × 24 ℎ𝑟𝑠 ×

24 ℎ𝑟𝑠

365 𝑑𝑎𝑦𝑠 = 3504 ℎ 𝑦−1). (Asumadu-Sakyi et al., 2012; Oni et al., 2013).

## Estimation of annual effective dose by ingestion

The estimated annual effective dose by ingestion was assessed based on the usual intake of water by populace of the study area (Natasaet al., 2012). The annual effective dose was calculated using the equation 3.3 according to (Somlaiet al., 2007, Natasaet al., 2012) as,

E =𝐾 × 𝐶 × 𝐾𝑀 × 𝑡

(3.32)

Where E= the committed effective dose from ingestion (mSv),

K= the ingesting dose conversion factor of 222Rn (10-8 Sv Bq-1 for adult and 2×10-8Sv Bq- 1 for children (UNSCEAR 1993),

C= the concentration of 222Rn (Bq l-1)

KM = the water consumption (2 lirtre day-1),

t = the duration of consumption (365 days) (World Health Organization (WHO) 2004). For the dose calculation, a conservative consumption of 2 litre per day for standard adult drinking the same water and directly from the source point was assumed (UNSCEAR 1993; Ali and Ahmed 2013, Natasaet al., 2012).

FIGURE 3.3: IMAGE OF RAD7 RADON DETECTOR

CHAPTER FOUR

RESULTS AND DISCUSSIONS

## 4.1 Introduction

The results obtained are presented and discussed based on each of the three locations studied. The implications of the measurements and evaluations have also been discussed based on the results derived .

    - Results of the Measurements of the Water Samples Collected from Boreholes in Ilorin

The radon concentrations and the evaluated dose due to ingestion by adults and children at each of the 10 locations are presented in the table 4.1. Also shown in the tables are the risks due to ingestion and inhalation of radon.

The 222Rn concentration of the groundwater samples analysed from twenty (20) locations ranges from 1.28±0.28 Bq L-1 to 9.84±0.42 Bq L-1 with a mean value 5.284±1.33 BqL-1. It was observed that the highest radon concentration in borehole water was found in TEH BWand the lowest was found in CEM BWwith the respective value of 9.84±0.42 Bq L-1 and 1.28±0.28 Bq L-1. The highest radon concentration found in this location may be due to its hard and hilly topography of the study area. The mean radon concentration reported in this work was found to be lower than 11.16Bq L-1 recorded for radon in water in Kaduna State (Garba, 2011).

## ANNUAL EFFECTIVE DOSE DUE TO INGESTION AND INHALATION

The annual mean effective doses of drinking water samples due to ingestion which was calculated by using the parameters established in equation; as shown in table 4.1, the highest value was gotten in WEH BW with 2.066499(µSvy-1). Also from Table 4.1 it is clearly seen that the annual mean effective dose due to ingestion varies from 0.40 to 4.00 mSv y-1 with the mean value of 1.32 mSv y-1. The annual mean effective doses of drinking water samples due to inhalation was calculated by using the parameters in equations, and the effective dose for inhalation. The annual mean effective dose of drinking water samples due to inhalation varies from 1.26 to 55.44 mSv y-1 with the mean value of 11.15 mSv y-1 as shown in Table 1. The total effective dose due to ingestion and inhalation of all the investigated water samples varies from 1.37 to 60.06 mSV y-1 with an average value of

12.08 mSV y-1. The total annual effective dose of all the studied water samples is found to be well within the safe limit 0.1 mSv y-1.

| S/N | LOCATION |  |  | Radon |  | S.D |  |  | Ingestion |  | Inhalation |  | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | [Bq/L] |  |  |  |  | (µSvy-1) |  | (µSvy-1) |  |  |
| 1 | TEH BW |  |  | 3.063089 |  | 0.730975 |  |  | 0.643249 |  | 0.771898 |  | 1.415147 |
| 2 | WEHBW |  |  | 8.21239 |  | 0.151458 |  |  | 1.724602 |  | 2.069522 |  | 3.794124 |
| 3 | REO BW |  |  | 4.95817 |  | 1.536576 |  |  | 1.041216 |  | 1.249459 |  | 2.290675 |
| 4 | CEM BW |  |  | 5.02974 |  | 1.541811 |  |  | 1.056245 |  | 1.267494 |  | 2.32374 |
| 5 | MSM BW |  |  | 4.99396 |  | 1.538323 |  |  | 1.048732 |  | 1.258478 |  | 2.30721 |
| 6 | KWS BW |  |  | 4.60032 |  | 1.518988 |  |  | 0.966067 |  | 1.159281 |  | 2.125348 |
| 7 | ACB BW |  |  | 8.24273 |  | 1.693937 |  |  | 1.730973 |  | 2.077168 |  | 3.808141 |
| 8 | FCB BW |  |  | 4.23009 |  | 1.951966 |  |  | 0.888319 |  | 1.065983 |  | 1.954302 |
| 9 | GBA BW |  |  | 8.86538 |  | 2.131042 |  |  | 1.86173 |  | 2.234076 |  | 4.095806 |
| 10 | MAB BW |  |  | 3.11127 |  | 2.282224 |  |  | 0.653367 |  | 0.78404 |  | 1.437407 |
| LOCATION |  |  | RADON (Bq/m3) |  |  |  |  | Ingestion (µSvy-1) | Inhalation (µSvy-1) |  | Total |  |
| New Immigration office |  |  | 9923 | 600 |  | 9.923 |  | 2.08383 | 2.500596 |  | 4.584426 |  |
| Akuo |  |  | 7637 | 792 |  | 7.637 |  | 1.924524 | 1.924524 |  | 3.849048 |  |
| Eleko |  |  | 9282 | 982 |  | 9.282 |  | 2.339064 | 2.339064 |  | 4.678128 |  |
| Taiwo Isale |  |  | 850 | 2850 |  | 0.85 |  | 0.2142 | 0.2142 |  | 0.4284 |  |
| Kwara Poly |  |  | 9243 | 749 |  | 9.243 |  | 2.329236 | 2.329236 |  | 4.658472 |  |
| Adewole |  |  | 6997 | 341 |  | 6.997 |  | 1.763244 | 1.763244 |  | 3.526488 |  |

Table 4.1  Results of Measurements of Radon Concentrations in Collected Water Samples from Borhoes Drilled in Kwara State Polytechnic Main Campus,Ilorin

| Location | Radon [Bq/m3] | Radon 2-Sigma Uncert. [Bq/m3] |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ORO BH 1 | 8545.207 | 1174.287 | 8.545207 | 1.174287 | 1.794493 | 2.153392 | 3.947886 |
| ORO BH 2 | 9536.926 | 1296.527 | 9.536926 | 1.296527 | 2.002754 | 2.403305 | 4.40606 |
| ORO BH 3 | 7654.541 | 1097.87 | 7.654541 | 1.09787 | 1.607454 | 1.928944 | 3.536398 |
| ORO BH4 | 7541.532 | 1090.416 | 7.541532 | 1.090416 | 1.583722 | 1.900466 | 3.484188 |
| ORO Well 1 | 4469.635 | 986.543 | 4.469635 | 0.986543 | 0.938623 | 1.126348 | 2.064971 |
| ORO Well 2 | 3356.524 | 762.608 | 3.356524 | 0.762608 | 0.70487 | 0.845844 | 1.550714 |
| ORO Well 3 | 5842.26 | 990.351 | 5.84226 | 0.990351 | 1.226875 | 1.47225 | 2.699124 |
| Offa BH 1 | 14104.74 | 1487.003 | 14.10474 | 1.487003 | 2.961995 | 3.554394 | 6.51639 |
| Offa BH 2 | 10211.91 | 367.1908 | 10.21191 | 0.367191 | 2.144501 | 2.573401 | 4.717902 |
| Offa BH 3 | 10284.59 | 369.165 | 10.28459 | 0.369165 | 2.159764 | 2.591717 | 4.751481 |
| Offa BH 4 | 13046.53 | 1078.617 | 13.04653 | 1.078617 | 2.739771 | 3.287726 | 6.027497 |
| Offa Well 1 | 4151.071 | 849.0214 | 4.151071 | 0.849021 | 0.871725 | 1.04607 | 1.917795 |
| Offa Well 2 | 4902.558 | 912.3296 | 4.902558 | 0.91233 | 1.029537 | 1.235445 | 2.264982 |
| Offa Well 3 | 5367.765 | 951.0394 | 5.367765 | 0.951039 | 1.127231 | 1.352677 | 2.479907 |
| Offa Well 4 | 4097.633 | 1337.311 | 4.097633 | 1.337311 | 0.860503 | 1.032604 | 1.893106 |
| Offa Stream 1 | 818.5843 | 434.1357 | 0.818584 | 0.434136 | 0.171903 | 0.206283 | 0.378186 |
| Offa Stream 2 | 950.6138 | 456.0993 | 0.950614 | 0.456099 | 0.199629 | 0.239555 | 0.439184 |

| Test # | RH [%] | Radon [Bq/m3] | Radon 2-Sigma Uncert. [Bq/m3] |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 9 | 10218.68 | 639.641 |  |  |  |
| 2 | 8 | 9628.319 | 561.2887 | 9923 | 600 | New Immigration office |
| 3 | 8 | 7791.238 | 707.7 |  |  |  |
| 4 | 8 | 7484.417 | 876.5047 | 7637 | 792 | Akuo |
| 5 | 8 | 10226.61 | 1018.355 |  |  |  |
| 6 | 8 | 8338.592 | 945.8708 | 9282 | 982 | Eleko |
| 7 | 8 | 5829.04 | 990.7311 |  |  |  |
| 8 | 8 | 7910.521 | 709.322 | 850 | 2850 | Taiwo Isale |
| 9 | 8 | 10442.48 | 663.1221 |  |  |  |
| 10 | 8 | 8043.717 | 835.7308 | 9243 | 749 | Kwara Poly |
| 11 | 8 | 6211.248 | 269.5819 |  |  |  |
| 12 | 8 | 7782.994 | 412.5544 | 6997 | 341 | Adewole |

## CHAPTER FIVE

## CONCLUSION AND RECOMMENDATION

## CONCLUSION

The study presented has shown how RAD7 techniques were successfully used in determining the concentrations of radon in ground water (Bore Hole Water) at Kwara State Polytechnic and it radiological implication. Most of the area selected for the study was found to contain little or more concentration of radon.

## RECOMMENDATION

There is need for proper and constant monitoring of the radon concentrations within the school environment. There is the need to continually monitor potential contaminated areas. Through geo-environmental study involving constant geochemical analysis, remotely sensed data and modeling. Regular Health screening should be carried out once in a while on the inhabitants to check whether some symptoms of radon contamination may be detected.

There is need to adopt new method of waste disposal which is going to be safe with physical, chemical and Biological setting of the areas in order reduces hazardous effects.

Since the study only dealt with twenty samples taken at within the school, there is need for further study to be carried out to look into many other locations in Ilorin, Kwara State. Also

since the instrument used for this study has limitations to detect only radon, there is need use other instruments to carry out similar study using different techniques like NAA , INAA etc .

REFERENCES

“Basic information about Radon in Drinking Water”. United State Environmental Protection Agency. June 30, 2014. Archived from the original on 2015-02-14. Retrieved January 31, 2015.

Denman, A.R.; Eatough, J. P.; Gilimore, G.; Phillips, P. S. (December 2003). “Assessment of health risk to skin and lung of elevated radon levels in abandoned mines”. Health Physics. 85(6): 733-739.

Greenfield, M.B.A Iwata; N. Ito; M. Ishigaki; K. Kubo (2006). Intense y radiation from radon progeny accreted in/on rain during and following thunderstorms. Bulletin of the American physical society. Nashville, Tennessee.

Hala, Jiri; Navratil, James (2003). Radioactivity, Ionizing Radiation, and Nuclear Energy. Konvoj.

J.H Lubin and J.D Boice (2016). Journal National Cancer Inst., 1997, 89, 49. (Risks of indoor radon)

Kumar, R., et al, (2005). Water Resources of India Current Science, 89(5) 794 - 811

Mohammed Z.H, (2015) Global Journal of Advance research Vol-2, Issue- 9pp. 1436- 1445:ISSN:5788

N.M Hurley and J.H Hurley, Environment International, 1986, 12, 39. (Lung cancer in uranium miners as a function of radon exposure)

Man-made Mineral Fibres and Radon” IARC Monographs on the Evaluation of Carcinogenic Risks to Human (43). 1988.

The Radon Story”. The Radon Council 2001). Archived from the original on February 1, 2015. Retrieved January 1, 2015.

T.R Kumaraswamy et al (2016). Impact of Pollution on Quality of Fresh Ecosystems MPredicted median annual-average living-area concentration, by country”. Lawrence Berkeley National Laboratory. Archived from the original on 2007-12-31. Retrieved 2008-02- 12.

Posterndorfer, J et al (September 1994). “Daily variation of the radon concentration indoors and outdoors and the influence and the influence of meteorological parameters’’. Health physics. 67 (3): 283-287.

“Yamazawa, H.; M. Matsuda; J. Moriizumi; T. lida (2008). Wet Deposition of Radon Decay

Products and its Relation with Long-Range Transported Radon. The Natural Radiation Environment. Vol. 1034. PP. 149-152.