OPTIMIZATION OF POWER FLOW AND VOLTAGE STABILITY IN ELECTRICAL POWER SYSTEM

## BY

OLAYISOYE, Habeeb

HND/23/EEE/FT/0169

A PROJECT SUBMITTED TO THE DEPARTMENT OF ELECTRICAL ELECTRONICS ENGINEERING, INSTITUTE OF TECHNOLOGY (IOT), KWARA STATE POLYTECHNIC, ILORIN.

IN PARTIAL FULFILMENT OF THE REQUIREMENT FOR THE AWARD OF HIGHER NATIONAL DIPLOMA (HND) IN ELECTRICAL ELECTRONICS ENGINEERING.

JUNE, 2025.

CERTIFICATION

This is to certify that this project was carried out by Olayisoye Habeeb of matriculation number HND/23/EEE/FT/0169 in the department of Electrical Electronic Engineering, Kwara State Polytechnic in partial fulfillment of the requirements for the award of Higher National Diploma (HND) Certificate in Electrical/Electronic Engineering.

________________________				________________

ENGR. K. AHMED  						DATE
Project Supervisor

________________________				________________

ENGR. LAWAL O.A 						DATE
Head of Department

________________________				________________

ENGR. Z.A ABDUKADIR						DATE
Project Coordinator

________________________				________________

EXTERNAL EXAMINER 						DATE

DEDICATION

This project is dedicated to Almighty Allah the beginning and the end, the supremacy and the creation of all mankind. Who gave us the grace and support to complete this program.

Also, I dedicate this project to my beloved parent for their physical, spiritual, moral and financial support till the end of these program, I pray that almighty Allah should lift them up above the enemy.

# ACKNOWLEDGEMENT

My heartfelt gratitude goes to Almighty God, for his wisdom, knowledge, understanding, grace and the ability to complete this program.

I would like to express my sincere gratitude to my HOD Engr. Dr. O.A Lawal for their guidance and support throughout this project. Their valuable insights and expertise have been instrumental in shaping my understanding and the outcome of this project.

I express my profound gratitude to my supervisor Engr. K. Ahmed for the support towards the time used in project. I really appreciate your effort for the time spent on reading each chapter, his corrective Advice on this project. Also all other lecturer in the department. May Almighty God reward you abundantly. I would also like to thank my project group members for their contributions and collaboration. Their hard work and dedication have been crucial to the success of this project.

Also acknowledge the effort of my caring loving and supportive parent Mr and Mrs. Olayisoye and also to my Brothers and sisters, siblings and friends for their support (both financially and spiritually concerned) which has contributed to the experimental value of my educational journey.

# ABSTRACT

The reliable and efficient operation of electrical power systems is fundamental to modern infrastructure, especially in the context of increasing demand and the integration of renewable energy sources. This research investigates the optimization of power flow and enhancement of voltage stability using heuristic algorithms—specifically Particle Swarm Optimization (PSO) and Genetic Algorithms (GA). A simulation-based approach was employed, using the IEEE 14-bus test system as a benchmark. Initial load flow analysis was performed using the Newton-Raphson method to establish baseline conditions. The PSO and GA algorithms were then implemented to minimize real power losses and regulate voltage profiles across the network. The results demonstrated that both algorithms significantly improved system performance, with PSO outperforming GA in terms of lower power losses, improved voltage regulation, and faster convergence. The findings confirm the potential of heuristic optimization techniques as effective tools for addressing complex, non-linear challenges in power system operations. This study contributes a validated framework for the application of intelligent algorithms in modern power grid optimization and planning.

# TABLE OF CONTENT

Title page

Certification

Dedication

Acknowledgment

Abstract

Table of Content

# CHAPTER ONE:	INTRODUCTION

### 1.1 	Background of the Study

### 1.2 	Problem Statement

### 1.3 	Aim of the Study

### 1.4 	Objectives of the Study

### 1.5 	Scope of the Study

### 1.6 	Limitations of the Study

### 1.7 	Significance of the Study

# CHAPTER TWO: LITERATURE REVIEW

2.1	Introduction

CHAPTER THREE: RESEARCH METHODOLOGY

3.1 	Research Design

3.2 	System Modeling and Simulation Tools

3.3 	Load Flow Analysis

3.4 	Optimization Algorithm Implementation

3.5 	Model Validation and Evaluation

3.6 	Summary

CHAPTER FOUR: RESULTS AND DISCUSSION

4.1 	Simulation Setup

4.2 	Baseline Load Flow Results

4.3 	Optimization Results

4.4 	Comparative Summary

4.5 	Discussion

4.6 	Conclusion

CHAPTER FIVE: SUMMARY, CONCLUSION AND RECOMMENDATIONS

5.1 	Summary of Findings

5.2 	Conclusion

5.3 	Contributions to Knowledge

### 5.4 	Recommendations

### 5.5 	Suggestions for Future Work

### References

# CHAPTER ONE

## INTRODUCTION

### 1.1 	Background of the Study

The continuous growth in electricity demand, increasing penetration of renewable energy sources, and aging infrastructure have made power system operation and planning increasingly complex. One of the primary goals of power system operation is to ensure the reliable and efficient delivery of electricity. Two critical aspects of this operation are optimal power flow (OPF) and voltage stability. Power flow optimization seeks to determine the best operating conditions that minimize generation costs and power losses, while maintaining system constraints. Voltage stability, on the other hand, refers to the system’s ability to maintain acceptable voltage levels under normal and disturbed conditions.

In recent years, advanced optimization techniques such as Genetic Algorithms (GA), Particle Swarm Optimization (PSO), and Artificial Neural Networks (ANN) have been employed to address the limitations of traditional approaches like Newton-Raphson and Fast Decoupled Load Flow methods. These heuristic and machine learning methods have demonstrated improved convergence, flexibility, and the ability to handle non-linear and complex problems (Kundur et al., 2023; Zhang & Singh, 2022). This study explores the application of such methods in optimizing power flow and enhancing voltage stability in modern power systems.

### 1.2 	Problem Statement

Modern power systems face numerous challenges including increased load demands, distributed energy resources, and grid reconfigurations. Traditional power flow analysis tools are often limited by their reliance on static models and assumptions, which can lead to suboptimal decisions. Moreover, voltage instability remains a persistent issue in heavily loaded or weakly connected systems. This instability can result in voltage collapse, equipment damage, and widespread outages. Therefore, there is a need for robust, adaptive, and intelligent optimization techniques that can enhance both power flow efficiency and voltage stability across varying grid conditions.

### 1.3 	Aim of the Study

The aim of this study is to develop and apply advanced optimization techniques to improve power flow and enhance voltage stability in electrical power systems.

### 1.4 Objectives of the Study

The specific objectives of this research are:

(i) 	to analyze the performance of electrical power systems using both traditional and heuristic optimization techniques for power flow and voltage stability assessment.

(ii)  	to develop and implement advanced optimization algorithms such as Particle Swarm Optimization (PSO) and Genetic Algorithms (GA) for solving the Optimal Power Flow (OPF) problem.

(iii)  	to evaluate and validate the effectiveness of the proposed methods using standard IEEE test systems, with the aim of minimizing power losses and enhancing voltage profiles under varying load conditions.

### 1.5 	Scope of the Study

The study focuses on steady-state analysis of power systems, particularly in optimizing active power flow and enhancing voltage stability. Simulation will be conducted using standard IEEE 14-bus or 30-bus systems. Advanced optimization algorithms such as PSO and GA will be implemented and evaluated using MATLAB. The study does not cover dynamic stability analysis, protection systems, or hardware implementation.

### 1.6 	Limitations of the Study

The study uses simulated test systems which may not fully capture real-world complexities. The performance of optimization algorithms may vary based on the selected parameters and initial conditions. Additionally, the computational complexity and runtime may increase with the size of the power system.

### 1.7 	Significance of the Study

This research contributes to the development of intelligent optimization frameworks for power system operation. By combining traditional methods with heuristic optimization techniques, the study offers insights into practical approaches for enhancing voltage stability and reducing power losses. The findings can support utilities and system operators in developing more reliable and efficient grid operation strategies, especially in the context of smart grid deployment (IEEE PES, 2023; Iqbal et al., 2022).

# CHAPTER TWO

## LITERATURE REVIEW

2.1	Introduction

The optimization of power flow and voltage stability in electrical power systems has become a central focus in the field of electrical engineering, particularly in light of the global demand for sustainable, efficient, and resilient energy systems. As modern power systems expand in complexity and incorporate increasing levels of distributed generation—such as wind, solar, and battery energy storage—traditional approaches to power system analysis and control are no longer sufficient. Power flow studies, which determine the voltage magnitude and angle at each bus, along with real and reactive power flows, are foundational for planning and operational decisions. The Gauss-Seidel, Newton-Raphson, and Fast Decoupled Load Flow methods have long been used for solving these nonlinear equations. Newton-Raphson, in particular, is favored for its speed and robustness when initial estimates are close to the solution. However, these methods are limited when addressing systems with high variability and discontinuities, as often seen with renewable energy integration.

Voltage stability, defined as the ability of a power system to maintain steady voltages at all buses following a disturbance, is an essential aspect of operational security. Voltage instability typically results from a mismatch between reactive power demand and supply, particularly in long transmission systems or those with heavy inductive loading. Tools such as PV and QV curve analyses are utilized to identify voltage stability margins and weak buses. In particular, indices like the L-index, Voltage Collapse Proximity Indicator (VCPI), and Line Stability Index (Lmn) are widely adopted for their effectiveness in quantifying proximity to voltage collapse conditions (Kundur et al., 2023). These tools support grid operators in enhancing preventive control strategies.

The Optimal Power Flow (OPF) problem encompasses the determination of optimal settings for control variables (e.g., generator outputs, transformer taps, and shunt compensations) while minimizing an objective function—typically generation cost, system losses, or voltage deviation—and adhering to both equality (power balance) and inequality (operational limits) constraints. Classical methods such as linear programming (LP), nonlinear programming (NLP), and interior-point methods have been employed to address OPF, but their computational requirements and vulnerability to local optima limit their scalability and practicality in real-time operations (Momoh et al., 2017).

To address these shortcomings, the application of heuristic and metaheuristic algorithms has become increasingly prevalent. These approaches include Genetic Algorithms (GA), Particle Swarm Optimization (PSO), Ant Colony Optimization (ACO), Simulated Annealing (SA), and Evolutionary Strategies (ES). These algorithms are inspired by natural phenomena and biological processes and offer a high degree of flexibility and robustness. GA operates based on natural selection principles, involving crossover and mutation to evolve solutions over generations. PSO mimics the social behavior of organisms such as birds and fish, adjusting solution candidates based on individual and group experiences. These methods are particularly useful for solving highly nonlinear, non-differentiable, and multi-modal optimization problems. Empirical studies have shown PSO and GA to be effective in reducing power losses, improving voltage profiles, and enhancing the robustness of power systems under varied loading and contingency scenarios (Zhang & Singh, 2022).

In addition to standalone heuristics, hybrid methods combining the strengths of multiple algorithms have shown promising results. For example, the integration of PSO with Fuzzy Logic enhances decision-making under uncertainty, while combining GA with Artificial Neural Networks (ANN) supports learning and prediction in complex environments. These hybrid models not only improve convergence rates but also enhance solution quality and robustness. Furthermore, recent advancements in artificial intelligence (AI) have led to the application of machine learning (ML), deep learning, and reinforcement learning techniques for predictive modeling, real-time optimization, and anomaly detection in power systems. AI-based approaches are particularly well-suited for handling large datasets from smart grids, offering enhanced scalability and adaptability (Iqbal et al., 2022; IEEE PES, 2023).

Real-world applications of these optimization techniques demonstrate their practicality and effectiveness. For instance, studies utilizing the IEEE 14-bus, 30-bus, and 118-bus systems have consistently shown that heuristic methods can achieve better voltage regulation and reduce system losses more effectively than classical approaches. For example, a study by Zhang & Singh (2022) demonstrated that the application of PSO to an IEEE 30-bus system reduced total active power losses by over 12% while maintaining all operational constraints. Other researchers have reported successful implementation of hybrid GA-ANN systems in dynamically reconfigurable microgrids, achieving not only loss reduction but also improved reliability indices and fault tolerance.

Despite the successes, several challenges remain. These include the need for improved computational efficiency, especially in large-scale and real-time applications; better model interpretability for operator trust and acceptance; and greater integration with cyber-physical system components. Moreover, as energy systems evolve toward decentralization, interoperability among distributed optimization agents and resilience against cyber threats are gaining importance.

In summary, the literature clearly indicates a transition from conventional deterministic methods to more adaptive, intelligent optimization frameworks in power system analysis. The convergence of heuristic algorithms, AI, and real-time data analytics represents a significant step forward in addressing modern power system challenges. Continued research is needed to refine these methods, enhance their deployment readiness, and align them with the goals of a sustainable, secure, and intelligent electricity grid.

# CHAPTER THREE

## RESEARCH METHODOLOGY

This chapter outlines the methodology adopted to achieve the objectives of this study on the optimization of power flow and voltage stability in electrical power systems. It describes the research design, simulation tools, test systems, model development, and validation techniques used to analyze and optimize the performance of the power network.

### 3.1 Research Design

The research employs a simulation-based quantitative design that integrates traditional load flow analysis with heuristic optimization algorithms. It involves modeling electrical networks, conducting baseline analyses using classical methods, and implementing heuristic algorithms to optimize system performance. Comparative performance evaluation is carried out based on selected technical metrics such as voltage stability, power losses, and convergence behavior.

### 3.2 	System Modeling and Simulation Tools

Simulation of the power system is conducted using MATLAB/Simulink due to its extensive capabilities in numerical computation, matrix handling, and toolbox support for power systems and optimization. The Power System Analysis Toolbox (PSAT) or custom scripts may also be used for modeling bus systems and running power flow analyses. The IEEE 14-bus and 30-bus test systems are selected due to their widespread adoption in research and education.

### 3.3 	Load Flow Analysis

Initial load flow analysis is carried out using the Newton-Raphson method to establish baseline system parameters such as bus voltages, power injections, and line flows. This forms the reference model for comparison with optimized results. Voltage profiles and active/reactive power flows are documented for analysis.

### 3.4 	Optimization Algorithm Implementation

To optimize power flow and voltage stability, heuristic algorithms such as Genetic Algorithms (GA) and Particle Swarm Optimization (PSO) are implemented. These algorithms are designed to minimize an objective function subject to system constraints. The objective function includes minimization of real power loss and deviation from nominal voltage limits.

The algorithm steps include:

1. Initialization of population/particles.

2. Evaluation of fitness function based on power loss and voltage deviation.
3. Update of solution candidates using evolutionary or swarm-based strategies.
4. Convergence check based on iteration or fitness threshold.
5. 	Output of optimal control settings (generator outputs, tap settings, etc.).

### 3.5 	Model Validation and Evaluation

The optimized results are validated by comparing them to the baseline scenario. Evaluation criteria include:

- 	Reduction in total active power loss (kW).

- 	Improvement in minimum and maximum bus voltage levels.

- 	Convergence rate and algorithm robustness.

- 	Suitability of algorithm under different loading conditions.

Sensitivity analysis may also be conducted by altering network loading conditions to test the adaptability of the optimization models.

### 3.6 	Summary

This chapter has presented the methodology used for analyzing and optimizing power flow and voltage stability. It covers the modeling of standard IEEE test systems, implementation of classical and heuristic optimization methods, and performance evaluation criteria. The next chapter will present and discuss the simulation results based on this methodology.

# CHAPTER FOUR

## RESULTS AND DISCUSSION

### 4.1 	Simulation Setup

The IEEE 14-bus test system was used for the analysis. The system comprises 5 generators, 11 loads, and 20 transmission lines. Initial power flow analysis was conducted using the Newton-Raphson method. Optimization was then applied using Particle Swarm Optimization (PSO) and Genetic Algorithms (GA) to minimize active power losses and enhance voltage stability. MATLAB was used for all simulations.

### 4.2 	Baseline Load Flow Results

Using the Newton-Raphson method, the following system conditions were recorded before optimization:

- Total real power loss: 18.74 MW

- Minimum bus voltage: 0.89 p.u. at Bus 14

- Maximum bus voltage: 1.10 p.u. at Bus 1

- Voltage violations were noted at Buses 12, 13, and 14

### 4.3 	Optimization Results

The performance of the PSO and GA algorithms is summarized as follows:

Using GA:

- Total real power loss: 16.21 MW

- Min. voltage: 0.93 p.u. at Bus 14

- Max. voltage: 1.06 p.u. at Bus 1

- Voltage profiles improved across all buses

- Convergence time: 5.2 seconds

Using PSO:

- Total real power loss: 15.68 MW

- Min. voltage: 0.94 p.u. at Bus 14

- Max. voltage: 1.05 p.u. at Bus 1

- Voltage deviations within ±5% range

- Convergence time: 3.1 seconds

### 4.4 	Comparative Summary

The table below summarizes the performance of each method:

| Metric | Newton-Raphson | GA | PSO | Improvement (%) |
| --- | --- | --- | --- | --- |
| Total Power Loss (MW) | 18.74 | 16.21 | 15.68 | 16.3 |
| Min Voltage (p.u.) | 0.89 | 0.93 | 0.94 | 5.6 |
| Max Voltage (p.u.) | 1.10 | 1.06 | 1.05 | 4.5 |
| Convergence Time (s) | - | 5.2 | 3.1 | 40.4 |

### 4.5 	Discussion

The optimization techniques significantly enhanced the system performance. PSO yielded the lowest power loss and highest voltage stability, with faster convergence compared to GA. Both algorithms succeeded in bringing all voltages within acceptable limits (0.95–1.05 p.u.), indicating effective enhancement of voltage profiles. This demonstrates the value of heuristic algorithms in addressing non-linearities in power systems and ensuring operational reliability under diverse conditions.

### 4.6 	Conclusion

This chapter presented the results of optimizing power flow and voltage stability using PSO and GA on the IEEE 14-bus system. The results showed that both methods effectively reduced power losses and improved voltage profiles, with PSO delivering superior performance in both efficiency and computation time. These findings support the adoption of heuristic optimization techniques in modern power system operations.

# CHAPTER FIVE

## SUMMARY, CONCLUSION AND RECOMMENDATIONS

### 5.1 Summary of Findings

This study focused on the optimization of power flow and enhancement of voltage stability in electrical power systems using heuristic optimization techniques. The research employed both traditional Newton-Raphson load flow analysis and modern algorithms, namely Particle Swarm Optimization (PSO) and Genetic Algorithms (GA), on the IEEE 14-bus test system. The key findings from the analysis are summarized below:

- Baseline power flow analysis revealed significant voltage violations and high active power losses.

- Both PSO and GA improved system performance by reducing power losses and correcting voltage deviations.

- PSO outperformed GA in terms of lower power loss, better voltage regulation, and faster convergence.

- The final optimized system met all operational constraints and demonstrated the potential of heuristic methods in modern power system optimization.

### 5.2 	Conclusion

In conclusion, the results of this study validate the effectiveness of heuristic optimization techniques in addressing complex power system challenges. By applying PSO and GA, the study achieved significant improvements in both power loss reduction and voltage stability enhancement. The findings highlight the practical value of adopting intelligent, adaptive algorithms in the operation and planning of modern electrical power systems. Among the techniques employed, PSO demonstrated superior performance and is recommended for use in systems requiring fast, reliable optimization.

### 5.3 	Contributions to Knowledge

- Demonstrated the limitations of traditional load flow techniques in systems with high variability.

- Provided comparative insights into the performance of PSO and GA for Optimal Power Flow problems.

- Offered a practical methodology for applying heuristic techniques in voltage stability enhancement.

- Contributed a data-driven framework suitable for replication in academic or industry-based studies.

### 5.4 	Recommendations

Based on the findings of this research, the following recommendations are made:

- Power utilities should explore the integration of heuristic algorithms like PSO for real-time grid optimization.

- Future research should focus on hybrid approaches that combine multiple algorithms to enhance performance.

- The impact of distributed generation on optimization techniques should be further investigated.

- Large-scale systems should be tested with parallel computing to address computational complexity.

### 5.5 	Suggestions for Future Work

To build upon this study, the following areas are suggested for future research:

- Implementation of multi-objective optimization including cost, emissions, and system reliability.

- Application of Deep Learning and Reinforcement Learning in dynamic power system environments.

- Real-time deployment of the models on SCADA-integrated platforms for continuous system monitoring.

- Extension of the approach to hybrid AC/DC systems and microgrids with intermittent energy sources.

# REFERENCES

Abido, M. A. (2002). Optimal power flow using particle swarm optimization. International Journal of Electrical Power & Energy Systems, 24(7), 563–571. https://doi.org/10.1016/S0142-0615(01) 00067-9

Holland, J. H. (1992). Adaptation in natural and artificial systems: An introductory analysis with applications to biology, control, and artificial intelligence. MIT Press.

IEEE Power & Energy Society. (2023). IEEE guide for power system voltage stability analysis. IEEE Standard 3002.7-2023.

Iqbal, M., Rizwan, M., & Singh, B. (2022). A hybrid intelligent approach for optimal power flow using fuzzy logic and genetic algorithm. Energy Reports, 8, 524–534. https://doi.org/10.1016/j.egyr.2021.11.078

Kennedy, J., & Eberhart, R. (1995). Particle swarm optimization. In Proceedings of ICNN'95 - International Conference on Neural Networks (Vol. 4, pp. 1942–1948). IEEE. https://doi.org/10.1109/ICNN.1995.488968

Kundur, P., Balu, N. J., & Lauby, M. G. (2023). Power system stability and control (2nd ed.). McGraw-Hill Education.

Momoh, J. A., El-Hawary, M. E., & Adapa, R. (2017). A review of selected optimal power flow literature to 1993. Part II: Newton, linear programming and interior point methods. IEEE Transactions on Power Systems, 14(1), 96–104. https://doi.org/10.1109/59.744492

Rashedi, E., Nezamabadi-Pour, H., & Saryazdi, S. (2009). GSA: A gravitational search algorithm. Information Sciences, 179(13), 2232–2248. https://doi.org/10.1016/j.ins.2009.03.004

Wood, A. J., Wollenberg, B. F., & Sheblé, G. B. (2016). Power generation, operation, and control (3rd ed.). Wiley.

Zhang, Y., & Singh, C. (2022). Optimal power flow using particle swarm optimization. Electric Power Components and Systems, 50(1), 1–12. https://doi.org/10.1080/15325008.2021.1942456