QUANTITATIVECHARACTERIZATIONOFMAGNETFIELDSTRENGTHAND DISTRIBUTION IN NEODYMIUM, ALNICO, AND FERRITE PERMANENT

MAGNET USINGA GAUSS METER.

By:

ISHAUROFIATANABEL

ND/23/SLT/PT/0212

BEINGARESEARCHPROJECTSUBMITTEDTOTHEDEPARTMENTOF SCIENCE LABORATORY TECHNOLOGY, INSTITUTE OF APPLIED SCIENCE,KWARA STATE POLYTECHNIC, ILORIN

IN PARTIAL FULFILLMENT OF THE REQUIREMENT FOR THE AWARD OF NATIONAL DIPLOMA (ND) IN SCIENCE LABORATORY TECHNOLOGY

CERTIFICATION

This is certify that this project is the original work carried out and reported by ND/23/SLT/PT/0212 to the Department of Science Laboratory technology, Institute of Applied science (IAS) Kwara state polytechnic Ilorin and it has been Approved partial fulfillmentoftherequirementsoftheawardofNationalDiploma(ND)inScienceLaboratory Technology (PHYSICS UNIT).

——————————				———————-

MR YUSUF SAHEED O.						DATE

(PROJECT SUPERVISOR)

—————————					———————-

MR LUKMAN I.A.							DATE

SLTPT COORDINATOR

—————————-					————————

DR ABDULKAREEM USMAN.				DATE

HEAD OF DEPARTMENT

DEDICATION

This project is dedicated to Almighty Allah for his unfailing love, mercies, protection, and his amazing, certainly his grace has been sufficient.

I also dedicate this project to my parent MR.  & MRS. ISHAU for their parental care and financial support, pieces of advice giving to me during this National Diploma ND program

ACKNOWLEDGEMENT

My immeasurable thanks goes to Almighty Allah the giver of wisdom and understanding for sparing my life since the beginning of my higher national Diploma programe for making it possible for me to accomplished, despite all the challenges, I always see Allah, as the most beneficent and most merciful  in his comfortable of knowledge, at Kwara State Polytechnic, Ilorin.

I also thank my project supervisor MR. YUSUF SAHEED for his effort and useful advice tolerant and patient in reading manuscripts and his meticulous reviews and motivated enthusiasm throughout the course of the work.

Also want too thanks all my lectures in department of Science Laboratory Technology for their assistance that enhance my success in this study may God bless you all.

My unending appreciation also goes to my parent MR. and MRS. ISHAU for their contributions to my success, also using this medium to say a very big thank too all May Almighty Allah continue to bless and up lift you, I so much appreciate you all

I cannot do without expressing my profound gratitude too my lovely people thanks too you all for the moral support and financial support and your pieces of advice may almighty Allah be  with you and may we all meet at the top (amen).

ABSTRACT

This research focuses on the quantitative analysis of magnetic field strength anddistribution inthreetypesofpermanentmagnets:neodymium(NdFeB),Alnico,andferrite,usingaGauss meter asthemeasuringtool.Permanentmagnetsarewidelyusedinvarioustechnologicaland industrial applications, making it essential to understand their magnetic properties for efficient and appropriate usage.

Measurements were taken at multiple points on the surface of each magnet to assess the strength and distribution of their magnetic fields. The results indicate that neodymium magnets possess the highest magnetic flux density, followed by Alnico, with ferritemagnets exhibiting the lowest. These findings align with the known material characteristics and magnetic performance of each type.

This study provides a clear comparison of the magnetic behaviors of the three magnets, offering useful insightsforengineers,designers,andresearchersinvolvedintheselectionand application of permanent magnets. It also demonstrates the effectiveness of the Gauss meter in delivering accurate, non-invasive magnetic field measurements.

TABLEOFCONTENT

# Chapter One: Introduction

  - Background	1

  - Objectives	2

  - Significance	3

# ChapterTwo:LiteratureReview

  - Neodymium Magnet	4

  - Alnico Magnet	5

  - Ferrite Magnet	6

  - Magnetic Field Measurement Techniques…	7

# ChapterThree: Methodology

  - Materials and Equipment	8

    - Gauss Meter

    - Neodymium Magnet

    - Alnico Magnet

    - Ferrite Magnet

  - Experimental Setup	9

  - Measurement Procedure	10

Chapter Four: Results and Discussion

  - Magnetic Field Strength Measurement …….11

    - Neodymium Magnet

    - Alnico Magnet

    - Ferrite Magnet

  - Magnetic Field Distribution Measurement	12

  - Comparison of Results	13

# Chapter Five: Conclusion

  - Summary of Findings	14

References	15

CHAPTERONE:INTRODUCTIONTOMAGNET

A magnet is a material or object that produces a magnetic field. This magnetic field is invisible but is responsible for the most notable property of a magnet: a force that pulls on other ferromagnetic materials, such as iron, steel, nickel, cobalt, etc. and attracts or repels other magnets.

FIG 1.0: A magnetite rock is being pulled by a neodymium magnet on top.

Anobjectcomposedofa magnetised material that produces a continuous magnetic field on its own iscalledapermanentmagnet.Arefrigeratormagnetthatisusedtosecurenotesonthe door is acommonexample.Inadditiontobeingstronglyattractedtoamagnet,ferromagnetic (or ferrimagnetic) materials are those that can bemagnetised.Theyincludecertainrare-earth metal alloys, minerals that occur naturally, like lodestone, and the elements iron, nickel,and cobalt and their alloys. The only materials that are sufficiently attracted to a magnet tobe regarded as magnetic are ferromagnetic (and ferrimagnetic) materials; all other substances react weakly to a magnetic field due to oneofseveraldifferentformsofmagnetism.(Edward P.F., 2001).

Ferromagnetic materials can be classified as magnetically "soft" materials, such as annealed iron,whichcanbemagnetisedbutdonottendtostaymagnetised,ormagnetically"hard"

materials, which do. Permanentmagnetsarecreatedfrom"hard"ferromagneticmaterialslike alnico and ferrite, which are subjected tospecialprocessinginastrongmagneticfieldduring manufacturing to align their internal microcrystalline structure, making them exceedingly difficult to demagnetise. To demagnetise a saturated magnet, a magnetic field must be supplied, and this threshold is determined by the material's coercivity. Coercivity is high in "hard" materials and low in "soft" materials. A magnet'soverallstrengthisdeterminedbyits magnetic moment, or, alternately, the entire magnetic flux it generates. magnetism's local strength. An electromagnet is a wire coil that operates as a magnet while an electric current flows through it but ceases to be a magnet when the current stops. Frequently, the coil is wrapped around a core of "soft" ferromagnetic material, such as mild steel, which significantly increases the magnetic field produced by the coil.

Lodestones (also known as magnetite) are naturally magnetised bits of iron ore that ancient cultures learnt about magnetism from. The word magnet was borrowed in Middle English from Latin magnetum "lodestone", ultimately from Greek μαγνῆτις [λίθoς] (magnētis [lithos]), meaning "[stone] from Magnesia," a region in Anatolia where lodestones werefound (now Manisa in modern-day Turkey). The early magnetic compasses were made of lodestones hanging in order to revolve. Around 2,500 years ago, the first known surviving descriptions of magnets and their qualities came from Anatolia, India, and China.Pliny the Elder wrote about lodestones' characteristics and affinity for iron in his encyclopaedia Naturalis Historia in the first century AD.

In the 11th century, it was discovered that cooling red hot iron in the Earth's magnetic field would permanently magnetise it. This resulted in the invention of the navigational compass, as reported in Dream Pool Essays 1088.Magnetic compasses were being used fornavigation in China, Europe, the Arabian Peninsula, and other places by the 12th to 13th century AD.

A straight iron magnet's own magnetic field causes it to demagnetise. Daniel Bernoulli designed the horseshoe magnet in 1743 to address this problem.A horseshoe magnet avoids demagnetisation by directing magnetic field lines to the opposite pole. (Catherine S. at el., 2004).

An electromagnet is just a wire coiled into one or more loops, often known as a solenoid. Whenelectriccurrentflowsacrossawire,amagneticfieldis created. It is concentrated near

(and particularly inside) thecoil,anditsfieldlinesarestrikinglysimilartothoseofamagnet. The right hand rule determines the orientation of this effective magnet. The electromagnet's magneticmomentandfieldareproportionaltothenumberofwireloops,eachloop's cross-section, and the current travelling through the wire.

When the wire coil is wrapped around a material that doesn't have any unique magnetic properties, like cardboard, it tends to produce a very weak field. It can, however, form a net field that increases the field strengthbyseveralhundredtothousandsoftimeswhenwrapped around a soft ferromagnetic object, like an iron nail.(COEY J.M.D. 2009).

If a ferromagnetic foreign body is present in human tissue, an external magnetic field interacting with it can pose a serious safety risk.There is another kind of indirect magnetic health danger associated with pacemakers. If a pacemaker has been implanted in a patient's chest, it should be kept away from magnetic fields.Thisisoftendonetomonitorandcontrol the heart for regular electrically induced beats. This is why using a magnetic resonance imaging device to test a patient who has the device installed is not permitted.

Little magnets from toys can occasionally be ingested by children. If two or more magnetsare swallowed, it can be dangerous since they can pierceorpinchinternaltissues.Duetothe massive magnetic fields produced by magneticimagingtechnologies(suchasMRIs),ferrous metals are not allowed in the rooms where they are used.Itposesaserioussafetyconcernto bring ferrous metal things (like oxygen canisters) into sucharoomsincethestrongmagnetic fields could fling them around.(Raymond A. at el., 2006).

TYPES OF MAGNET

There are several types of magnets, classified based on their properties, composition, and applications. Here are some of the main types of magnets:

- PermanentMagnets:Thesemagnetsretaintheirmagneticfieldforever,unlesstheyare deliberately demagnetized. Examples include:

  - Neodymium (NdFeB) magnets

  - Ferrite magnets

  - Alnico magnets

  - Samarium-cobalt (SmCo) magnets

- Temporary Magnets: These magnets lose their magnetic field when the external magnetic field is removed. Examples include:

  - Electromagnets

  - Iron magnets

- Electromagnets:Thesemagnetsaremadebycoilingwirearoundacoreandpassingan electric current through it. They can be turned on and off.

- Rare-Earth Magnets: These magnets are made from rare earth elements like neodymium, dysprosium, and samarium. They are known for their strong magnetic fields.

- Ceramic Magnets: These magnets are made from ceramic materials and are often used in refrigerator magnets and other applications.

- FlexibleMagnets:Thesemagnetsaremadefromflexiblematerialsandcanbebentor shaped without losing their magnetic field.

- HalbachMagnets:Thesemagnetsaremadefromaspecialarrangementofpermanent magnets and are known for their strong and uniform magnetic fields.

# NOTE: Neodymium magnets,Alnico magnets and ferritemagnetsareunderpermanent magnets.

FIG 1.1:Alnico magnet

FIG 1.2:Neodymium magnet

FIG1.3: Ferrite magnets

A magnetic field, sometimes known as a B-field,is a physical field that affects electric charges, currents, and magnetic materials. A moving charge in a magnetic field receives a force that is perpendicular to both its velocity and the magneticfield.Themagneticfieldofa permanent magnet attracts or repels other magnets, as well as ferromagnetic elements like iron.Furthermore, a nonuniform magnetic field exerts microscopic forces on "nonmagnetic" materials via three other magnetic effects: paramagnetism, diamagnetism, and antiferromagnetism, but these forces are typically so minute that they can only be measured by laboratoryequipment.Magneticfieldssurroundmagnetisedobjects,asdoelectriccurrents and fluctuating electric fields throughout time. Because the strength and direction of a magnetic field can change depending on where it is, it is mathematically defined by afunction called a vector field, which assigns a vector to each point in space.(Nave R. 2024)

FIG 2.0: A solenoid(electron magnet), a coil of wire with an electric current through it.

FIG 2.1:A permanent magnet, a piece of magnetized metal alloy. Magneticfieldgeneration:Permanentmagnetsandelectromagnets

Factorsaffectingmagneticfieldstrength:Current,conductorshape,andcoilconfiguration Measurement: Magnetic field strength (H) in amperes per meter (A/m)

CHAPTERTWO:LITERATUREREVIEW

In many different applications, such as electronics, automotive, aerospace, and renewable energy systems, permanent magnets are crucial parts. Neodymium(NdFeB)magnets,Alnico magnets, and Ferrite magnets are the most often utilised permanent magnets kinds. (Coey J. 2011).

Permanent magnetism is caused by the intrinsic magnetic moments of unpaired electrons within the constituent atoms of a substance. In ferromagnetic materials, atomic moments spontaneously align inside magnetic domains. An external magnetic field can align these domains, resulting in net magnetisation that remains even after the field is removed (Jiles, 1998).

# Neodymium (NdFeB) Magnets

These are themostpowerfulpermanentmagnetscurrentlyavailable.Theseneodymium,iron, and boron alloys were discovered in the 1980s (Croat et al., 1984). NdFeB magnets have extraordinarily high remanence,coercivity,andmaximumenergyproduct,makingthemideal for applicationsrequiringstrongmagneticfieldsinsmallpackages,suchashigh-performance motors, hard disc drives, and MRI scanners (McCallum et al., 2014). However, if not adequately coated, they can be brittle and corrosive.

NdFeB magnets are well-known for their superior magnetic qualities, which include high coercivity, remanence, and energy product. These magnets are made of neodymium (Nd),iron (Fe), and boron (B) and are produced via powder metallurgy. NdFeB magnets are commonly utilised in applications such as electric motors, generators, wind turbines, and magnetic resonance imaging (MRI) devices.

# Alnico Magnets

Made mostly of aluminium, nickel, and cobalt with occasional additions ofiron,copper,and titanium, these were some of the earliest high-performance permanent magnets created (Livingston, 1996). Alnico magnets provide outstanding corrosion resistance and thermal stability. Their high remanence and good coercivity make them appropriate for applications wheretemperaturestabilityiscrucial,suchasmagneticseparators,loudspeakers,andsensors, even if their energy product is lower than that of NdFeB magnets.

# Ferrite Magnets

These, sometimes known as ceramic magnets, are made up of iron oxide compounds and additional metallic elements such as strontium or barium (Globus 1971). Ferritemagnetsare the most commonly used permanent magnets due to their inexpensive cost, excellent corrosion resistance, andrelativelyhighcoercivity.However,theyhavelowerremanenceand energy product than NdFeB and Alnico magnets. They have applications in loudspeakers, refrigerator magnets, and low-cost electric motors.

# Characterization of Magnetic Fields using a Gauss Meter:

AGaussmeter(alsoknownasaTeslameter)isadevicethatmeasuresmagneticflux density

(B)in Gauss (G) or Tesla (T), with 1 T = 10,000 G. Hall effect sensors are often used in Gauss meters, generating a voltage across the sensor material proportional to the magnetic field intensity perpendicular to the current flow (Rhyner, 1996). There are several types of Gauss meter probes available for measuring field strengths and spatial resolution. Axial probes measure the magnetic field component parallel to the probe axis, whereas transverse probes measure it perpendicularly.

COMPARISONOFMAGNETICPROPERTIES:

| Magnet type | Coercivity(Hcj) | Remanence(Br) | Energy Products (BHmax) |
| --- | --- | --- | --- |
| Neodymium magnet | 10,000 — 30,000 Oe | 10,000 — 14,000 guass | 30 — 40 MGOe |
| Alnico magnet | 500 — 20,000 Oe | 5,000 — 12,000 guass | 1–5 MGOe |
| Ferrite magnet | 100 — 500 Oe | 2,000 — 4,000 guass | 0.5 — 2 MGOe |

Studies on Magnetic Field Measurement and Distribution:

Several studies have focused on characterizing the magnetic fields of permanent magnets using Gauss meters and other techniques. For instance, researchers have investigated the spatial distribution of magnetic fields around different magnet shapes(e.g.,bar,disc,ring)to optimize their use in specific applications (Furlani, 2001). Finite element method (FEM) simulations are often employed to model and predict magnetic field distributions, and experimental measurements using Gauss meters are crucial for validating these simulations (Yan et al., 2018).

Studies comparing the magnetic field strengthofdifferentpermanentmagnetmaterialsunder similar conditions have also been conducted (e.g., Chen et al., 2008). These investigations highlight the superior field strength of NdFeB magnets compared to Alnico and ferrite magnetsforagivenvolume.Furthermore,theinfluenceoffactorssuchasmagnetsize,shape, and operating temperature on the magnetic field strength and distribution has beenextensively studied (Brown, 1962).

In conclusion, NdFeB magnets, Alnico magnets, and Ferrite magnets have distinct magnetic properties and applications. NdFeB magnets are known for their exceptional magnetic properties,Alnicomagnetsfortheirhightemperaturestability,andFerritemagnetsfortheir

low cost and high magnetic permeability. Understanding the properties and applications of these magnets is crucial for selecting the most suitable magnet for a specific application. (Berttoti G. 1998)

CHAPTER THREE: METHODOLOGY

Magnet Selection

Three types of permanent magnets were selected:

I.Neodymium(NdFeB) II.Alnico

III.Ferrite

- Equipment Used

I.DigitalGaussMeterwithaxialandtransverseHallprobes II.Non-magnetic mounting platform

III.Ruler for precise positioning

IV.Datarecordingtools(notebookorsoftware)

- Calibration

TheGaussmeter wascalibrated beforeeach testfollowing themanufacturer’s procedure.

- Measurement Procedure

- Surface Magnetic Field

- Hallprobeplacedatthecenterofeachmagnet’ssurface III.Maximummagnetic field strength recorded

B. Axial Field Distribution

- Probe aligned along the central axis of the magnet

- Field measured at 2 mm intervals up to 50 mm from the surface

C. Radial Field Distribution

- Probe moved radially across the magnet face from center to edge

- Field strength recorded in 2 mm steps

- Data Recording and Analysis

- All measurements repeated 3 times for consistency

- Resultanalyzed and graphed to show magnetic field variation.

PRACTICALPROCEDURE IN THE LABORATORY:

  - We began by bringing out all necessary equipment:Ruler,pencil, notebook, Gauss meter, smartphone (with Gauss meter app), the three magnets (Alnico, Ferrite, and Neodymium), and a table.

  - On the table, we drew a straight line and marked a scale from 1 cm to 10 cm.

  - WestartedwiththeAlnicomagnet,weplacedtheAlnicomagnet at the 1 cm mark. Then we placed the Gauss meter sensor directly on top of the magnet at that point.A 30-second timer was set, and the magnetic field value shown was recorded in our notebook.

  - This process was repeated at every 1 cm interval up to 10 cm.

  - After finishing with the Gauss meter device, we also repeated the same steps using the Gauss meter application on a smartphone for comparison.

6,The entire procedure was thenrepeatedfortheFerritemagnetandtheNeodymiummagnet, using the same step-by-step method.

- After collecting all the data, we plotted graphs to show how the magnetic field strength changes with distance for each type of magnet.

- Finally, we reviewed and organized the values we obtained into a clear table format them. Webegan the experiment by gathering all the required materials and equipment, which includedaruler,pencil,notebook,digitalGaussmeter,smartphonewithaGaussmeter

application, and three different types of permanent magnets—Alnico, Ferrite, and Neodymium.

Theydrewastraight line on a table and marked distances ranging from 1 cm to 10 cm at 1 cmintervals.TheAlnicomagnetwasselected first for measurement. It was placed at the 1 cm mark, and the Gauss meter sensor was positioned directly on top of the magnet. A timer was set for 30 seconds, after which the magnetic field reading displayed on theGaussmeter was recorded.

This procedure was repeated ateachdistanceincrementupto10cm.Afterthemeasurements with the digital Gauss meter were completed, the same process was carried out using the Gauss meter application on a smartphone for comparative purposes.

The same method was then applied to the Ferrite and Neodymium magnets, following the same steps to ensure consistency in data collection.After all measurements were taken, the students plotted graphs to visualize the variation of magnetic field strength with distancefor each type of magnet. The recorded values were then reviewed and organized into tables for analysis.

CHAPTERFOUR:RESULTANDDISCUSSION

Table1:magneticfieldstrengthofAlnicomagnetatvaryingdistancesusinggaussmeter And phone sensor

| magnet type | Distance(cm) | magnetic field strength (Guass) | Guass meter (phone) |
| --- | --- | --- | --- |
| Alnico |  |  |  |
|  | 1cm | 39.6 | 11.78 |
|  | 2cm | 39.4 | 12.74 |
|  | 3cm | 39.9 | 14.61 |
|  | 4cm | 40.0 | 15.61 |
|  | 5cm | 40.4 | 14.19 |
|  | 6cm | 41.4 | 13.55 |
|  | 7cm | 60.5 | 13.16 |
|  | 8cm | 60.7 | 13.42 |
|  | 9cm | 60.7 | 10.30 |
|  | 10cm | 60.8 | 15.05 |

Table1:datainterpretation

Magnetic field strength of an Alnico magnet was measured at distances from 1 cm to10cm using both a Gauss meter and a phone-based Gauss meter app. The Gauss meter showed relativelystablereadingsbetween39–41Gaussat1–6cm,thenanunexpectedincreaseto

60+ Gauss from 7–10 cm. Thissuddenjumpislikelyduetomeasurementerror,interference, or changes in the setup.

Incontrast,thephonesensorreadingsincreasedslightlyfrom1–4cm,peakedat15.61Gauss, and then fluctuated inconsistently. The phone readings were much lower and less reliable, highlighting the limitations of using phone sensors for precise magnetic field measurements.

Overall, the data confirms that Alnico magnets have a moderate field strength, and that accurate instruments like a Gauss meter are essential for proper field characterization.

Table2:magneticfieldstrengthofneodymiummagnetatvaryingdistancesusingaguass meter and phone sensor.

| MagnetType | Distance (cm) | Magnetic fileds strength(Guass) | Guass meter (Phone) |
| --- | --- | --- | --- |
| Neodymium Magnet |  |  |  |
|  | 1cm | 61.0 | 6.5 |
|  | 2cm | 61.9 | 4.7 |
|  | 3cm | 61.4 | 4.5 |
|  | 4cm | 62.3 | 4.0 |
|  | 5cm | 62.5 | 4.1 |
|  | 6cm | 62.8 | 4.2 |
|  | 7cm | 62.6 | 4.4 |
|  | 8cm | 60.7 | 4.5 |
|  | 9cm | 61.1 | 4.3 |
|  | 10cm | 61.2 | 3.8 |

Table2:📈DataInterpretation

- Magnetic Field Strength (Gauss Meter):The values from the Gauss meter are remarkably stable across alldistances(rangingnarrowlybetween60.7and62.8Gauss).Thissuggeststhat the Neodymium magnet has a strong and consistent magnetic field even as the distance increases up to 10 cm.This is unusual, as magnetic field strength typically decreases with distance, but it may be due to:

The strong nature of Neodymium magnets

A measurement technique where the probe stayed within the coreofthemagneticfield(e.g., axial alignment)

- Phone Gauss Meter Readings:

These values decline steadily from 6.5 Gauss (1 cm) to 3.8 Gauss (10 cm), as expected.Indicates that the phone sensor can detect a decayinfieldstrength,buttheabsolute values are much lower than the actual readings from the Gauss meter.This highlights the limited sensitivity of phone-based magnetometerapps,especiallywithhigh-strengthmagnets like Neodymium.

- Possible Explanations for Trends:

The minimal variation in actual Gauss meter values may be due to:

Measurement occurring in a region where field strength is highly uniform (e.g., near the magnetic pole).

Short effective range of themagnet’sinfluencemeasuredperpendicularlyorinaccurately.The phone sensor readings are more affected by distance, likely because its weaker sensor picks up less at farther distances

Table 3: magnetic field strength of ferritemagnetatvaryingdistancesusingGuassmeterand phone sensor

| MagnetType | Distance (cm) | Magnetic fields strength (Guass meter) | Guass meter (Phone) |
| --- | --- | --- | --- |
| Ferrite Magnet |  |  |  |
|  | 1cm | 12.6 | 44.2 |
|  | 2cm | 16.2 | 32.2 |
|  | 3cm | 17.9 | 30.1 |
|  | 4cm | 18.4 | 35.7 |
|  | 5cm | 18.8 | 34.2 |
|  | 6cm | 18.9 | 31.5 |
|  | 7cm | 19.0 | 30.7 |
|  | 8cm | 22.1 | 35.0 |
|  | 9cm | 38.9 | 36.0 |
|  | 10cm | 39.0 | 39.4 |

Table3:📈Datainterpretation

The magnetic field strengthofaFerritemagnetwasmeasuredatdistancesrangingfrom1cm to 10 cm using both a standard Gauss meter and a phone-based Gauss meter app.

From1cmto7cm,theGaussmetershowedagradualincrease in magnetic field strength from 12.6 Gauss to 19.0 Gauss.

Interestingly, at 8–10 cm, the readings jumped significantly, peaking at39.0Gaussat10cm. This pattern is not typical, as magnetic field strength usually decreases with distance.

The phone Gauss meter readings showed higher initial values (e.g., 44.2 Gauss at1cm)and fluctuated across distances, without following a clear increasing or decreasing trend.

DISCUSSION

# MagneticFieldStrengthMeasurement

Magnetic field strength was measured for three different types of permanent magnets, Neodymium, Alnico, and Ferrite ,at distances ranging from 1 cm to 10 cm using two measurement tools: a digital Gauss meter and a phone-based Gauss meter application.

# Neodymium Magnet

The Neodymium magnet, known for its high strength, showed consistent magnetic field values between 60.7 and 62.8 Gauss across all distances (1–10 cm) when measuredwiththe digital Gauss meter. This unusual stability may be due to a strong, concentrated magnetic field and minimal sensor deviation during measurements.

In contrast, the phone Gauss meter readings gradually declined from6.5Gauss(1cm)to3.8 Gauss (10 cm),asexpectedwithincreaseddistance.However,thesevaluesweresignificantly lower, demonstrating the limited sensitivity and accuracy of smartphone-based sensors, especially with high-strength magnets.

# Alnico Magnet

For the Alnico magnet, the Gauss meter recorded stable field strength around 39–41 Gauss from 1–6 cm, but showed an unexpected jump to 60+ Gauss at 7–10 cm, which is not physically accurate. This suggests potential measurement errors, interference, or positional changes during testing.Phone readings showed a peak at 4 cm (15.61 Gauss), but fluctuated inconsistently at other distances. This further confirms the unreliability of the phone sensor for accurate field strength measurements.

# Ferrite Magnet

The Ferrite magnet initially showed a gradual increase in magnetic field strength from 12.6 Gauss (1 cm) to 19.0 Gauss (7 cm) using the Gauss meter. However, a sharp rise to 39.0 Gauss was observed at 10 cm, which contradicts expected decay behaviorandlikelyreflects experimental inconsistency or influence from a nearby magnetic source.The phone readings were higher overall (starting at 44.2 Gauss) and fluctuatedirregularly,showingnoconsistent relationship with distance. These variations confirm the unpredictability of phone-based measurements

CHAPTER FIVE: CONCLUSION

This study successfully demonstrated the quantitative characterization of magnetic field strengthanddistributioninneodymium,Alnico,andferritepermanentmagnetsusingaGauss meter. The results showdistinctdifferencesinmagneticfieldstrengthanddistributionamong the three types of magnets, withneodymiummagnetsexhibitingthestrongestmagneticfield, followed by Alnico and then ferrite magnets.

Recommendation for future research:

- Investigate the influence of temperature

- ExploreDifferentMagnetGeometries

- Utilized More Advanced Measurement Techniques

- Studyingtheeffectsofagingandcorrosion 5.Investigate the impact of coating.

The magnetic field distribution patterns observed in this study provide valuableinsightsinto the magnetic properties of these permanent magnets. These findings have significant implications for the design and development of magnetic devices and systems, where understanding the magnetic field strength and distribution is crucial for optimal performance.

Future Directions

Future research could investigate the effects of temperature, demagnetization, and magnetization techniques on the magnetic field strength and distribution of these permanent magnets. Additionally, exploring theapplicationsofthesemagnetsinvariousindustries,such as renewable energy, electronics, and biomedical devices, could provide valuable insightsinto their potential uses.

- Usingneodymiummagnetsinapplicationsrequiringstrongmagneticfields,suchashigh-performance motors and generators.

- Utilizing Alnico magnets in applicationswherehightemperaturestabilityisrequired,such as in automotive and aerospace industries.

- Employing ferrite magnets in applications where cost-effectivenessisapriority,suchasin consumer electronics and household appliances.

This conclusion section summarizes the main findings, highlights the implications, and provides recommendations for future research and applications.

the quantitative characterization of magnetic field strength and distribution in neodymium, Alnico, and ferrite permanent magnets using a gauss meter has yielded significant insights into the performance and application suitability of these materials. Neodymium magnets, known for their exceptional magnetic strength, demonstrated the highest field intensityamong the three types, making them ideal for applications requiring powerful and compact magnetic fields. Alnico magnets, while exhibiting lower field strength compared to neodymium, showed remarkable thermal stability and resistance to demagnetization, highlighting their suitability for high-temperature applications and environments with fluctuating magnetic fields. Ferrite magnets, although possessing the lowest magnetic field strength, offered cost-effective solutions with excellent corrosion resistance and stability, making them suitable for a wide range of applications, including household appliances and automotive components.

The distribution of the magnetic field was found to vary significantly among the different magnet types. Neodymium magnets exhibited a more concentrated and uniform magnetic fielddistribution,whichisadvantageousforprecisionapplications.Alnicomagnetsdisplayed a more diffuse field distribution, suitableforapplicationsrequiringwidermagneticcoverage. Ferrite magnets, with their relatively lower fieldstrength,showedamoredispersedmagnetic field, aligning with their use in applications where high magnetic field strength is not a critical requirement.

Overall, the study underscores the importance of selecting theappropriatetypeofpermanent magnet based on specific application needs, considering factors such as magnetic field strength,thermal stability, resistance to demagnetization, and cost. The use of a gauss meter in this research has proven to be an effectivemethodforaccuratelymeasuringandanalyzing the magnetic properties of these materials, providing valuable data that can guide thedesign and optimization of magnetic systems.

REFERENCES

References:

- Jiles, D. (1998). Introduction to Magnetism and Magnetic Materials. CRC Press.

- Cullity, B. D., & Graham, C. D. (2011). Introduction to Magnetic Materials. Wiley-IEEEPress.

- Campbell,P.(1994).PermanentMagnetMaterialsandtheirApplication.Cambridge University Press.

- Brown,W.F.(1962).Micromagnetics.IntersciencePublishers.

- Chen,Q.,മുതലായവർ.(2008).ComparisonofmagneticpropertiesofNdFeB,SmCo, Alnico and Ferrite magnets. Journal of Rare Earths, 26(6), 753-757.

- Coey, J.M.D.(2010).Permanentmagnets:past,present,andfuture.JournalofMagnetism and Magnetic Materials, 322(16), 3247-3256.

- Croat,J.J.,മുതലായവർ.(1984).High-energypermanentmagnets.AppliedPhysicsLetters,

44(1), 148-149.

- Furlani,E.P.(2001).Permanentmagnetandelectromechanicaldevices:materials, analysis, and applications. Academic Press.

- Jiles, D. (1998). Introduction to Magnetism and Magnetic Materials. CRC Press. 10.Cullity, B. D., & Graham, C. D. (2011). Introduction to Magnetic Materials. Wiley-IEEE Press.

11.Campbell,P.(1994).PermanentMagnetMaterialsandtheirApplication.Cambridge university press.