MEASUREMENTS OF RADON CONCENTRATIONS AND EVALUATIONS OF INGESTION AND INHALATION DOSE IN WATER RESOURCES SAMPLES IN ILORIN,OFFA AND ORO KWARA STATE NIGERA.

ALIU ISAAC

HND/ 23 / SLT /0696

A PROJECT SUBMITTED TO THE DEPARTMENT OF SCIENCE LABORATORYTECHNOLOGY(PHYSICS&ELECTRONICSUNITS) INSTITUTE OF APPLIED SCIENCES

KWARASTATE POLYTECHNIC,ILORINNIGERIA.

INPARTIALFULFILLMENTOFTHEREQUIREMENTFORTHEAWARDOF HIGHER NATIONAL DIPLOMA IN SCIENCE LABORATORY TECHNOLOGY.

JULY, 2025

CERTIFICATIONPAGE

This is to certify that the project work was carried out and reported byADEYINKA OMOWUNMI KAFAYAT HND/ 23 / SLT / 0006ALIU ISAAC HND/ 23 / SLT /0696 AND AMINU SEMIYU OPEYEMI HND/ 23 /SLT /1093 in the department of Science LaboratoryTechnology[SLT]InstituteofAppliedscience[IAS]andhasbeenreadand approved as meeting the requirement for the award of Higher National Diploma [HND].

Mr.BELLO A.M.A	DATE

(PROJECT SUPERVISOR)

Mr. BASHIR

( H.O.U.PHYSICS/ ELECTRONICS)

Dr. USMAN ABDULKAREEM	DATE

(H.O.D.SLT)

EXTERNALEXAMINER	DATE

## DEDICATION

Wededicate this ProjecttoAlmightyGOD, thegiver ofknowledgeand toour parents.

## ABSTRACT

The Radon concentrations in locally hand dug Wells,Boreholes,Rivers,Tributaries and Streams water samples were collected within the crystalline rock areas of Ilorin,Offa,Oro  and their surrounding environment across six(6) Local Government Areas of KwaraState,Northcentral Nigeria. The study aimed to understand the distribution and levels of radon in water sources and how they may impact the environment.The results of Radon concentrations measurements obtainedwithintheareas existing in Southwestern Nigeria Precambrian Basement Complex ranged from 0.82 to 14.10 Bq/l in Offa,3.36 to 9.54 Bq/l in Oro and 1.00 to 10.26 Bq/l in Ilorin Study Areas. The findings of this investigation revealed that the Radon concentrations in all the domestic water samplesare above the maximum radionuclides contaminantpermissible levels of 0.11 Bq/l recommended by the Standards Organization of Nigeria SON but lower than the maximum contaminants limits(MCL) value of 11.1Bq/l recommended by the United States Environmental Protection Agency(USEPA).Annual effective dosesto the stomach cells from the ingestion and inhalation of waterrespectively ranged from 0.64 – 1.73  𝞵Sv/y and 0.77 – 2.33 𝞵Sv/y evaluated for  Ilorin study area, 0.86 – 2.96𝞵Sv/y and 0.38 – 6.52𝞵Sv/y in Offa while  0.70 – 2.0 – and 0.85- 2.40𝞵Sv/y were determined for Oro.These results are beyond the International Committee on Radiation Protection(ICRP) maximum permissible levels of 3- 10 mSv/y.Hence, the outcome of this investigation revealed that the radioactive radon concentrationsin the study areas could pose serious dangers thanother watercontaminants/pollutants in these environments.Therefore ,regularmonitorings are recommended to control the ingestion and inhalation doses due to intake of the commonly used water for domestic chores in the parts of Kwara State studied.

| Titlepage | TABLE OFCONTENT | i |
| --- | --- | --- |
| Certification Dedication Acknowledgement Abstract Tableof content |  | ii iii iv v vi |
| CHAPTERONE INTRODUCTION 1.1 Motivation |  | 1-4 |
| 1.2 Aimand Objectives 1.3 Justification of Project 1.4 Scope of Project |  | 4 |

CHAPTERTWO

  - Literaturereview	5

    - Naturalsources	5

    - Terrestrialsources	5-6

  - Cosmicsources	6-7

    - Human activitysources	7-8

  - previousandrelatedworks	8-12

CHAPTERTHREE

  - Materialand methodology

  - Thestudyarea	13

  - Geologyofthestudyarea	13-15

  - Sample collections	15

  - Sample measurement	15-16

  - RadonDose Assessment	17

    - Estimation of Annual EffectiveDosebyInhalation	17-18

    - Estimation of Annual EffectiveDosebyinjection	18-19

CHAPTERFOUR

  - Resultanddiscussion	20

  - Radonconcentrationinboreholewater	20

  - Annualeffectivedoseduetoingestionandinhalation	20-21

CHAPTERFIVE

  - Conclusionandrecommendation	22

  - Conclusion	22

  - Recommendations	22-23

References	24-26

## CHAPTERONE

INTRODUCTION

1.1.Motivation

Radon is a radioactive gas prevalent in the atmosphere,buildings,soils and water.Waterisoneofthemostimportantnaturallyoccurringresourcesandisvitalforhumanand non-human survival. It constitutes the majority (70%) of our body weight system with several essential functions in the bodysuch as metabolizing and transporting the food we eat (Mohammad Z.H, 2015). Freshwater resources are now becoming inadequate and, lamentably, are getting increasingly polluted and depleted over time, making them unsuitableforsustainingapopulationthatappears tobemultiplying (Kumaraswamyet al 2016). Drinking water is obtained from a variety of sources like wells, rivers, lakes, reservoirs,ponds,etc.Thesevarioussourcesofwaterposethegreatestrisktohumanhealth due to contamination of the sources. About 90% of radiation exposure to humans is from natural ,autogenic or geogenicsources like cosmic, terrestrial, and internal, among the various sources of natural ionizingradiationspresentontheearth,Rn-222alonecontributestomorethan50%ofthe totaldosereceivedbythegeneralpublic.Radongasisfifteentimesmoresolublethanother noblegases likehelium and neon in water and is dissolvedand transported with thewater when underground water moves through radium-rich soil and rocks (Rani and Reporter, 2021). Domestic and drinking water derived from wells,rivers,streams and boreholes where there are relatively short time intervals between abstraction are usages are prone to cause increasd exposures to ingestion and inhalation of radon(Abodunrin and Akinloye,2020).The biokinetic theories according to Kitto(2018) suggest that the short-lived decay products of radon gas could remain in the stomach digestive systems for several minutesbeforetransportationto the small intestines for assimilation into the blood(Abodunrin and Akinloye,2020).In this wise,stomach cells are liable to be exposedto increased doses ofradiationswhich could be higher the risks from other water contaminants.For the monitoring and controls of safe consumption of water obtained from different sources,somerecommendationsat national and internationallevels have been provided,These include the 0.1 Bq/l maximum contaminantslimits (MCL) provided by the Standards Organization of Nigeria (SON) 100 – 1000 Bq/l action level (AL) bythe European Union (EU) and 11 Bq/l MCL by the United States of  America Environmental  Protection Agency (USEPA)for public and private water supplies (Oni et al.,2014; Rabiu et., 2017). It becomes imperative to study radon concentration in our drinking water and highlight the danger if the concentration exceeds the maximum level as recommended by the World Health Organization (WHO) and other international organizations such as USEPA, EPA, etc.

Deepwellsandboreholesareexpectedtohaveahigherconcentrationofradioactive elements than surface water. Furthermore, man-made alpha emitters, such as plutonium and americium could be transported into springs or wells and boreholes, thereupon extending the activitylevel of the water. As a result of population rise, economic growth, and technological advancement worldwide, the wide use of water has risen by a factor of 6 over the past era, also water availability is likely to change worldwide due to climate phenomena(Karthigaetal.,2023).Groundwaterresourcesareshrinkingworldwidedueto over-exploitation through the unsustainable level of groundwater extraction at rates exceeding recharge from rainfall (Karthigaet al., 2023). Groundwater provides drinking water to approximately 50 percent of the global population and more than 40 percent of the water used globally for irrigation (Everett et al., 2019). Possibly the key elements in establishing the significance of utilizing groundwater in a given region include the speed and the amount of extraction compared to water replenishment. This, in turn, is linked to the close connection between quantities, movement, and alterations of both surface and groundwater over time (Everett and Reporter.,2019).

Radon is direct progeny of radium which presence is significant, in surrounding soil and bedrock of the aquifer and has capacity to migrate to other sources through granites and gravel formation (Ali et al., 2010).Due to radon migration from underground rock of different concentrations of 226Ra, thereexists apossibilityofahigh concentration level of radon (222Rn) in domestic water in Southwestern Nigeria (Oni et al., 2014). Many times, mostespeciallyamongschoolchildren,ausualpracticeinthestudyareaisthe

consumption of water immediately after leaving the faucet; this goes directly to the stomach. Before the ingested water leaves the stomach, some of the dissolved radon can diffuse into and through the stomach wall (Hopkeet al., 2000), the radon moves next to daughtercellsthatareveryradiosensitivethesecellscanreceivearadiationdosefrom

`alphaparticlesemittedbyradonandradondecayproductsthatarecreatedinthestomach wall (Natassaet al., 2012). After moving through the wall, radon and its progenies are absorbedinbloodandbeingtransferalloverthewholebodysystem,wheretheycandeliver a certain dose to other parts (NRC, 199). Additionally, when radon is inhaled there is a likelihood of it having a contact with the biological tissue of the lungs thus causing DNA damage-agenesistocancer(Hamzehetal.,2012).Thesolidradioactivedaughterproduct of radon can be absorbs to the linings of the lungs which may be irradiated by the alpha particle emitted by the decay of the solid daughter product of radon (WHO 2007), thus leading to different health risk, primarily the development of stomach and lung cancers (Yun-Yun Wu et al., 2014).

Water quality is essential to human life therefore there is need to constantly control and monitorthequalityofboth groundand surfacewaterutilized forhumanconsumption and domesticpurposes-awaytohealthyliving.Thequalityofwaterisbecominganimportant debating issue, and scientists estimate that demand for water consumption is expected to doublewithinthenexttwentyyearsthus makingwaterinevitable. Thequalityofdrinking water is affected by the depth of groundwater from the surface, because the chance of it being polluted varies from place to place (Wedadet al., 2015).

## AIMAndObjectives

The aim of this work is to use the measured values of radon cocentrations in various domestic water sources readily available for drinking and domestic uses in parts of Kwara State to evaluate some radiological indices .In view of this aim the specific objectives of this study were to;

    - Collect water samples randomly using well established scientific standards from parts of Ilorin,Offa and Oro and then transport them within two hours of collection to a standard laboratory for assaying;

    - Prepare the collected samples analytically;

    - Measure the concentrations of radon in the prepared water samples using an active Radon Detector at the Central Laboratory of the LadokeAkintolaUniversity,LAUTECH,Ogbomosho,OyoState,Nigeria;

    - Determine the ingestion,inhalation and total radiological dose indices using the measured radon concentrations values for each collected water samples

    - Assess the impact of the radon concentrations on the environment and health risks of the residents in the three study areas.

  - Justification of The Project

Domestic water sources within the areas of study are majorly wells,rivers,streams and boreholes as well as non-reliable pipe-borne water supplies from dilapidated Kwara state Utility Board.However,there are concerns about the qualities of available drinking water due to various health issues and indices.Measurements of radon concentrationsin drinking water are imminent and justifiablein order to determine their potential hazards to users.

  - Scope of The Project

In this work,measurements of concentrations of radon in domestic water samples from Ilorin,Offa and Oro within Kwara Central and Kwara South Senatorial Zoneswere carried out using an active Solid State Rdon Nuclear Detector. These were done in order to quantify  the concentrations of radon levels  and estimate the consequent annual effective dose  thus to establish a possible baseline data for the study areas.The eventual results are expected to be useful to the producers,suppliers and regulators of water as well as environmental,healthoccupational,residential and nutritional officials,radiation protection specialists and their collaborators.

## CHAPTERTWO

## LITERATURE REVIEW

Radiation is presents in the air we breathe, the food weeat, the waterwe drink, and in the constructionmaterialsusedtobuildourhomes.Alphaparticle(radiation)isthemajor

sourceofnaturalradiationinourenvironment(NCRP,1987).Itisderivedfromradioactive decayofcolourless,inertgas,radon(222Rn)thusregardedassecondleadingcauseofcancer intheworld(USEPA,2000).Theradiationexposedto,arefromtwomajorsources,which arenatural sources known as Autogenic or Geogenicandthosewhichoccurasresultsofhumanactivitiesknown as Artificial or Anthropogenic sources.

# Natural ,Geogenicor Autogenic Sources

Thenaturalradiationcomesfromtwomainsourceswhichareterrestrialandcosmic sources (NRC, 2014).

# Terrestrial Sources

Terrestrial radioisotopes are as long as the existence of the earth, they came with thecreationoftheplanet.Althoughsomearenomoreexistingduetotheir half-life,while some radioisotopes take a longtime to disintegrate into a negligible level that theycan be considered non-radioactive. Radioactive elements found in rock, soil, water, air, and in foodfromtheearthmaketheirentryintoourbodies’throughdrinkingofwater,breathing of	air	and	eating	of	foods whichcontain them (Bineshet al.,2012;Chandrashekara, 2012).These naturally occurring radioisotopes such as carbon-14, Potassium-40, Thorium-223, Uranium-238, Polonium- 218, and tritium (hydrogen-3) expose us to radiation within our bodies. It has been scientifically proven as shown in figure 2.1, that, the largest contributor to our daily exposureofradiationinthenaturalworld,andthemajorformofnaturalisradongas

(UNSCEAR 2000; Emad, 2014). Radon-222 is a naturally occurring decay product of uranium-238whichiscommonlyfoundinsoilsandrocks.Asitescapesfromthesoilsand rocks of which it is trapped, it enters the water we use and the air we breathe. Since there is variation in the quantity of uranium in the earth's crust, so doesthe prevalence of radon gas (Ali et al.,2010). In region where surface rocks have high quantity of uranium, the crackinthefoundationcouldoneoftheroutestoradongas(USGeology,1995).Aconcern for homeowners is the possibility that radon gas could accumulate to dangerous levels especially when not properly ventilated.

# Cosmic Sources

Anothersourceofnaturalradiationoriginatesfromthecollisionofcosmicrayswith theearth'supperatmosphere.Cosmicrayspenetrateallofspaceandaremadeupofhighly energized with positively charged particles as well as high energy photons. Approaching theearthatnearthespeedoflight,mostcosmicraysareobstructedbytheearth'sprotective atmosphereandmagneticfield.Theinteractionbetweencosmicrays(i.e.particles)andthe atmosphere produce many radioactive isotopes as byproduct such as carbon-14.

Cosmic rays are also composed of high energy photons, and not all are prevented fromreachingtheearth'ssurface.Itmakessensethatthemoreelevatedyouareinaltitude, the more you are exposed to cosmic radiation. In fact, the average amount of exposure to cosmic radiation that a person gets in the United States roughly doubles for every 6,000 feet increase in elevation.

The highest mountain in the continental United States is 14,495 feet. It is not likely that manypeoplewill everfind theirwayto its summit, but what modeoftransportation often bringsustoelevationsgreaterthanthis?Theanswerisflying.Flyingcanindeedaddafew extra units of exposure to one's daily exposure. Of course, the amount of extra exposure people get depends on how high the plane flies and how long they remain in the air.

# 2.3  Anthropogenic or Human Activities Sources.

Thisisanotherwayradionuclidesenterthesoil throughman-madeactivities,such as fall out atmospheric testing of nuclear weapons and radiological events like the Chernobyl accident.Deposition studies of these activities indicate that radioactive particles, travel around the world on the steams of air. The weight of the particles and the weatherdeterminehowsoontheyfalltotheground.Sometimesaheavyrainwillbringthe radioactive particles down to the ground quickly. The wrong management of radioactive materialsuchasinappropriatedisposalofradioactivematerialalsomayaddtothelevelof radionuclidesinsoil.Sincesoilisoneofthehostsofradionuclides,thereforeradionuclides found in soil can travel into water, air and even our food substance, various organisations are concerned in setting regulations and to keep the environment free. ( Belivernis and Coytuket al ., 2009, Jasmine John, 2012).

## PREVIOUSAND RELATEDWORKS

Mohammed et al., 2023 conducted a study in Baghdad City/ Iraq. They analyzed seventeen (17) groundwater samples and two samples from Tigris and Dyala River. The measurementswereperformedusingRAD7.Itwasfoundthattheconcentrationsofradon (226Ra)rangedfrom0.3to2(Bq/L).Radonconcentrationsfromallthevillages/townswere well below WHO and EPA standard limits recommended by USEPA, UNSCEAR, EU Council,andWHO.Theyalsofoundoutthat,totalannualeffectivedosesrangedfrom1.64 to 10.95 μSvy-1 were less than 0.1mSvy-1 Recommended by WHO. The study also examined the relationship between the total dissolved solids (TDS) and the concentration of Radon-222. Hence it shows the absence of a linear relationship between the variables and concentrations of Radon.

A study was conducted in 2022 in Ojo Local Government Nigeria by Mostafaet al.,onsixteengroundwaterandsurface-watersamples(wells,boreholes,andsachets)from sixdifferentlocationswithintheOjoLocalGovernmentareainNigeria.Thewatersamples collected were stored in 75cl bottles that were already sterilized with distilled water to avoidcontamination.ThemeasurementswereperformedbyRAD7,themeanvalueforall samplesis18.80±7.40 Bq/L.Thevalueoferror(7.40)inthemean value,around40%of theactivityconcentration,isduetothedifferenceintheactivityconcentrationfromsiteto site.Therefore,foreachsite,theaverageactivityconcentrationsofradon,areindependent ofthesource(sea,well,borehole,andsachetwater).Themaximumaverageisfoundatthe Akesansite(30.40±2.04)Bq/L.Whichismorethantherecommendedlevelof11.10Bq/L andtheminimumaveragevalueisfoundattheIpayesite(10.80±5.18)Bq/L,whichis

nearlyequaltotherecommendedlevelof11.10Bq/L.Theobtainedresultsarecomparable tothoseintheworksofOnietal.whichreportradonconcentrationvaluesinunderground water in Nigeria at a range of 3.09 to 32.03 Bq/L. There is a need for a radon reduction action plan as all the water samples had higher values when compared to the maximum permissible limit of 0.10 Bq/L that has been set by the Nigerian Standards for Drinking WaterQuality.Thetotalannualeffectivedosesfromingestionandinhalationfordrinking and groundwaterwerehigherthan thesafelimitof0.1mSv y-1which isrecommendedby the World Health Organization and the European Union Commission.

Abdul Malik et al., in 2014 carried out a research using RAD7 and H20 in PulauPinang and Kedah/Malaysia to measure the radon concentrations in four types of water, reverse osmosis (drinking water), mineral water, tap water, and well water, 20 samples were taken with 5 samples for each type of water. The measured radon concentration ranged from 2.9±2.9 to 79.5±17 pCi/L, 2.9±2.9 to 67.8±16 pCi/L, 15.97±7 to 144.25±24 pCi/Land 374.89±37 to 6409.03±130 pCi/Lin reverse osmosis (drinking water), mineral water, tap water, and well water. Well, water has the highest radon compared to others. It was due to their geological element such as granite. Results for all types of water are presented andcompared withthemaximumcontaminationlimit(MCL)recommendedby theUnitedStatesEnvironmentalProtectionAgency(USEPA)whichis300pCi/L.Reverse osmosis water, mineral water, and tap water fall below MCL. However, well water exceededthemaximumlevelthatwasrecommended.Thus,thesefindingssuggestedthat

actionshouldbetakentoreduceradonconcentrationlevelsinwellwateraswellasreduce health risks to the public.

A cross-sectional study was conducted in the spring of 2014 in Bam villages by Malakootian and colleagues on 27 water resources (wells and canals) as well as 5 water storage tanks in Bam villages of Kerman province. The radon concentrations were determined by the RAD7 device. The average minimum radon concentration in water resourceswas 1.2 BqL-1;whichwasrelatedtoawatertankinBaravat;and theaverageof its maximum amount was calculated as 9.88 BqL-1 which was related to a private home well in Baghchamak village. The maximum annual effective dose for adults was 30.82 μSvY-1 and the lowest was calculated as 3.74 μSvY-1. Based on the achieved results, the radonconcentrationofdrinkingwater resourcesis lowerthanthe permitted concentration of EPA and WHO guidelines.

A research was performed in 2018 by Al-Alawy and Hasan to investigate radon concentration levels using CR-39 technique, in six-well water samples from different locations in the Karbala governorate of Iraq. The maximum value of 4.112±2.0 Bq/Lwas intheAl-Hurr(Al-QarihAl-Easariah)regionandthelowestconcentrationofradonwasin theHayRamadanregionwhichis2.156±1.4Bq/L,withanaveragevalue2.84±1.65Bq/L. The highest result of annual effective dose (AED) was in the Al-Hurr (Al-Qarih Al- Easariah) region which is equal to 15.00±3.9μSv/y. At the same time, the minimum was recordedinHayRamadanat7.86±2.8μSv/y,withanaveragevalueof10.35±3.1μSv/y.It

was found that the radon concentrations in well water samples are lower than the recommended limit of 11.1 Bq/L and the annual effective dose in these samples is lower than the permissible international limit of 1 mSv/y.

Kayakoku 2021 has performed research on, radon (222Rn) concentrations in 13 different point water samples of Aygir Lake in Bitlis/Turkey and it is seen that the radon concentrationsvarybetween0.15±0.01BqL-1and0.71±0.08BqL-1.Inaddition,inthe study,theannualeffectivedoserate(AED)valuesrangedfrom0.38±0.03μSvy-1to1.81

±0.20μSvy-1,whiletheamountofdosethestomachtakes(SED)valuesrangedfrom0.05

±0.00μSvy-1to0.22±0.02μSvy-1.Incomparisonwiththeaverageinternationalvalues, it is noticed that the results are below these values.

A study was conducted in 2019 by Opoku-Ntim in the Ashanti Region, Ghana on (222Rn)concentrationinthegroundwatersamplesandtheirannualeffectivedoseexposure for different age groups. Radon measurement was made using the Durridge RAD-7 H2O technique.InObuasi,themean222Rnconcentrationingroundwaterwas0.09±0.01Bql−1, mean annual effective dose due to ingestion for adult, child, and infant were 0.64 ± 0.11 μSv yr−1, 1.28 ± 0.21 μSv yr−1 and 4.46 ± 0.73 μSv yr−1 respectively and the mean annual effective dose due to inhalation was 0.28 ± 0.05 mSv yr−1 forthe dryseason whiles in the rainyseasonthemean222Rnconcentrationingroundwaterwas0.08±0.01Bql−1,themean annualeffectivedosedue toingestionforadult,childandinfantwas0.56±0.09μSvyr−1,

1.13±0.18μSvyr−1,3.94±0.62μSvyr−1respectivelyandtheannualeffectivedosedue

to inhalation was 0.24 ± 0.04 mSv yr−1. In Offinso the mean 222Rn concentration in groundwaterwas0.14±0.05Bql−1,meanannualeffectivedoseduetoingestionforadult, child and infant was 1.03 ± 0.37 μSv yr−1, 2.06 ± 0.74 μSv yr−1, and 7.20 ± 0.74 μSv yr−1 respectively and the mean annual inhalation dose a mean of 0.46 ± 0.16 mSv yr−1 for the dryseason.Intherainyseason,themeanindoor222Rnconcentrationingroundwaterwas

0.13 ± 0.04 Bq l−1, mean annual effective dose due to ingestion for adult, child and infant was 1.26 ± 0.31 μSv yr−1, 1.89 ± 0.61 μSv yr−1 and 6.62 ± 2.15 μSv yr−1 respectively and the mean annual effective dose due to inhalation was mean of 0.41 ± 0.13 mSvyr−1. The mean annual effective doses of all the samples are lower than the reference level of 0.1 mSvyr−1 fordrinkingwaterofWHOandEUCouncil. Ithasbeen concluded thatdrinking waterissafeasfarasradon-relatedhealthhazardsareconcernedapartfromafewisolated cases.

## CHAPTERTHREE

## MATERIALS AND METHODS

3.1 Overview

This work is a nuclear analytical research involving radioactivity studies of the characteristics and nature of the various water resources commonly used for domestic chores such as drinking,food preparations,ablution,heating,drinking,agriculture,washing and bathing.Thirty four water samples have been collected from three different parts of Kwara State to identify the radon concentrations and estimate the radiological indices for the assessment of the environmental impacts and health risks of ingestion and inhalation of radon gas through the various water used in the study areas.

3.2 Study Area

Three notable towns have been selected for investigation in this work namelyIlorin,Offa and Oro located in Kwara State, North Central Nigeria. They exist in the Guinea Savannah Belt which is the transition zone between the grassland of the North and forest land of the southern Nigeria with two prominent seasons of the harmattan which noccurs between October and March of the following year and the rainy or wet season which commences in April and terminates in October.

## 3.3Geology of TheStudyArea

The geology is made up of the Precambrian basement complex rocks which are considered to be undifferentiated basement complex, mainlygranite-gneiss, migmatite, and granitesout-croppingindifferentpartsofthestudyarea(Nuretal.,2011).Themigmatites thatarepoorlyexposedalongtheGombirangearecoarse-grained,graniticincomposition, and interlaminated with metamorphic rocks of various kinds forming the so-called migmatite-gneiss complexes. The granite-gneiss are light to dark colored, medium to coarse-grained with poorly developed leucocratic layers. They contain feldspars, biotite, and phenocrysts of quartz (Valdonet al., 2010). The rock units have been subjected to tectonism giving rise to fractures, veins, fissures, faults, joints, and fractured zones.

FIGURE3.1:MAPOFKWARASTATESHOWINGTHELOCATIONOFTHESTUDY AREAS

## 3.4 Sample Collections

Atotalof37watersamplesfromgroundwaterwerecollectedfromthestudy locations.Thesampleswereanalysedfortheradon(222Rn)concentration.Inthestudy

locations,itwasobservedthattheundergroundwaterarethepredominantdomesticwater used by the inhabitants most especially the students.

## 3.5  Measurements of Samples

A well calibrated active Electronic Radon Detector (RAD 7), manufactured by D URRIDGE

COMPANY Inc. (Durridge Co.) was employed to measure radon concentration. RAD-7 Electronic Radon Detector is a solid state alpha detector; this solid-state detector is made of semiconductor material (usually Silicon) that converts alpha radiation directly to an electricalsignal(Alietal.,2010).TheinternalsamplecellofRAD-7isa0.7dm3(0.7liter) hemispheres, coated on the inside with an electrical conductor and with lower detectable limit of less than 0.37 Bq l-1. The Radon detector device is portable, rugged and battery operated, the measurement is fast

FIGURE3.2:DURRIDGERAD7RADONMONITOR

and gives result after 30 minutes analysis with a high sensitivity that surpass of liquid scintillation method (DURRIDGE, 2013). The time taking for the analysis is too short compared with thehalf-lifeofradon which is 3.8 days, thus makingRAD 7 better-quality to many other detectors for radon in water measurement. The RAD 7 is connected to a RAD-H2Oaccessoryandbubblingkitwhichmakeitpossiblefordegassingofradonfrom water sample into the air closed loop (Mheraet al., 2010). Within the closed loop is the desiccant to dry the air before entering the detector for radon concentration measurement (Figure 3.1). The detector uses alpha spectrometry technique (DURRIDGE, 2013).

ThemeasurementwascarriedoutaroundKwaraPolytechnic, IlorinNigeria.The school enrols 25,000 students and employs more than 3,000 workers including contract staff

  - RadonDose Assessments

    - Estimation of annual effectivedosebyInhalation

The radon gas concentrations obtained was used to estimate the annual mean effective doses due to inhalation, since water for household activities is stored indoors andthesameisusedforotherhouseholdactivitiesi.ebathing,washing,andcooking.The annual mean effective doses due to inhalation were calculated by using the parameters established in UNSCEAR report 2000, as:

E (m Sv y-1) = 𝐶𝑅𝑛𝑤× 𝑅𝑎𝑤× 𝐹× 𝑂× (𝐷𝐶𝐹)	(3.1) Where;

E(mSvy-1)=annualeffectivedosefor inhalation

𝐶𝑅𝑛𝑤= Concentration of radon in water. Raw=Ratioofradoninairtowater(10-4),

𝐹=theradonequilibriumfactorbetweenradonanditsdecayproducts (0.4)

(𝐷𝐶𝐹) =Dose Conversion Factorfor radon exposure(9.0 × 10-6Sv h-1per Bqm-3).

(𝑂)=An occupancyfactorassumed based on the period inhabitants spend inindoor

roomsoutof24hourswhich isestimatedby9ℎ𝑟𝑠=0.375≅0.4=(0.4× 24ℎ𝑟𝑠×

24ℎ𝑟𝑠

365𝑑𝑎𝑦𝑠=3504ℎ𝑦−1).(Asumadu-Sakyietal.,2012;Onietal.,2013).

## Estimationofannualeffectivedosebyingestion

Theestimatedannualeffectivedosebyingestionwasassessedbasedontheusualintake of water by populace of the study area (Natasaet al., 2012). The annual effective dose was calculated using the equation 3.3 according to (Somlaiet al., 2007, Natasaet al., 2012) as,

E=𝐾×𝐶×𝐾𝑀×𝑡

(3.32)

WhereE=the committed effectivedosefrom ingestion (mSv),

K=theingestingdoseconversionfactorof222Rn(10-8SvBq-1foradultand2×10-8SvBq-1 for children (UNSCEAR 1993),

C=theconcentrationof222Rn(Bql-1)

KM=thewater consumption(2 lirtreday-1),

t = the duration of consumption (365 days) (World Health Organization (WHO) 2004). Forthedosecalculation,aconservativeconsumptionof2litreperdayforstandardadult drinking the same water and directly from the source point was assumed (UNSCEAR 1993; Ali and Ahmed 2013, Natasaet al., 2012).

FIGURE3.3: IMAGEOFRAD7RADON DETECTOR

CHAPTERFOUR

RESULTSANDDISCUSSIONS

## 4.1 Introduction

The results obtained are presented and discussed based on each of the three locations studied.The implications of the measurementsand evaluations have also been discussed based on the results derived .

4.2 Results of the Measurements of the Water Samples Collected from Boreholes in Ilorin

The radon concentrations and the evaluated dose due to ingestion by adults and childrenateachofthe10locationsarepresentedinthetable4.1.Alsoshowninthetables are the risks due to ingestion and inhalation of radon.

The 222Rn concentration of the groundwater samples analysed from twenty (20) locations rangesfrom1.28±0.28BqL-1to9.84±0.42BqL-1withameanvalue5.284±1.33BqL-1.It was observed that the highest radon concentration in borehole water was found in TEH BWand the lowest was found in CEM BWwith the respective value of 9.84±0.42 Bq L-1 and 1.28±0.28 Bq L-1. The highest radon concentration found in this location may be due to	its	hard	and	hilly topography of the study area. The mean radon concentration reported in this work was found to be lower than 11.16Bq L-1 recorded for radon in water in Kaduna State (Garba, 2011).

## ANNUALEFFECTIVEDOSEDUETOINGESTIONAND INHALATION

Theannualmeaneffectivedosesofdrinkingwatersamplesduetoingestionwhich was calculated byusing the parameters established in equation; as shown in table 4.1, the highest value was gotten in WEH BW with 2.066499(µSvy-1). Also from Table 4.1 it is clearlyseenthattheannualmeaneffectivedoseduetoingestionvariesfrom0.40to4.00

mSvy-1withthemeanvalueof1.32mSvy-1.Theannualmeaneffectivedosesofdrinking water samples due to inhalation was calculated by using the parameters in equations, and theeffectivedoseforinhalation.Theannualmeaneffectivedoseofdrinkingwatersamples dueto inhalation varies from1.26 to 55.44 mSv y-1 with themean valueof 11.15 mSv y-1 as shown in Table 1. The total effective dose due to ingestion and inhalation of all the investigatedwatersamplesvariesfrom1.37to60.06mSVy-1withanaveragevalueof

12.08mSVy-1.Thetotalannualeffectivedoseofallthestudiedwatersamplesisfoundto be well within the safe limit 0.1 mSv y-1.

Table 4.1  Results of Measurements of Radon Concentrations in Collected Water Samples from Borhoes Drilled in Kwara State Polytechnic Main Campus,Ilorin

| S/N | LOCATION |  |  | Radon |  | S.D |  |  | Ingestion |  | Inhalation |  | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | [Bq/L] |  |  |  |  | (µSvy-1) |  | (µSvy-1) |  |  |
| 1 | TEHBW |  |  | 3.063089 |  | 0.730975 |  |  | 0.643249 |  | 0.771898 |  | 1.415147 |
| 2 | WEHBW |  |  | 8.21239 |  | 0.151458 |  |  | 1.724602 |  | 2.069522 |  | 3.794124 |
| 3 | REOBW |  |  | 4.95817 |  | 1.536576 |  |  | 1.041216 |  | 1.249459 |  | 2.290675 |
| 4 | CEMBW |  |  | 5.02974 |  | 1.541811 |  |  | 1.056245 |  | 1.267494 |  | 2.32374 |
| 5 | MSM BW |  |  | 4.99396 |  | 1.538323 |  |  | 1.048732 |  | 1.258478 |  | 2.30721 |
| 6 | KWSBW |  |  | 4.60032 |  | 1.518988 |  |  | 0.966067 |  | 1.159281 |  | 2.125348 |
| 7 | ACBBW |  |  | 8.24273 |  | 1.693937 |  |  | 1.730973 |  | 2.077168 |  | 3.808141 |
| 8 | FCBBW |  |  | 4.23009 |  | 1.951966 |  |  | 0.888319 |  | 1.065983 |  | 1.954302 |
| 9 | GBABW |  |  | 8.86538 |  | 2.131042 |  |  | 1.86173 |  | 2.234076 |  | 4.095806 |
| 10 | MABBW |  |  | 3.11127 |  | 2.282224 |  |  | 0.653367 |  | 0.78404 |  | 1.437407 |
| LOCATION |  |  | RADON (Bq/m3) |  |  |  |  | Ingestion (µSvy-1) | Inhalation (µSvy-1) |  | Total |  |
| New Immigration office |  |  | 9923 | 600 |  | 9.923 |  | 2.08383 | 2.500596 |  | 4.584426 |  |
| Akuo |  |  | 7637 | 792 |  | 7.637 |  | 1.924524 | 1.924524 |  | 3.849048 |  |
| Eleko |  |  | 9282 | 982 |  | 9.282 |  | 2.339064 | 2.339064 |  | 4.678128 |  |
| TaiwoIsale |  |  | 850 | 2850 |  | 0.85 |  | 0.2142 | 0.2142 |  | 0.4284 |  |
| Kwara Poly |  |  | 9243 | 749 |  | 9.243 |  | 2.329236 | 2.329236 |  | 4.658472 |  |
| Adewole |  |  | 6997 | 341 |  | 6.997 |  | 1.763244 | 1.763244 |  | 3.526488 |  |

| Location | Radon [Bq/m3] | Radon 2-Sigma Uncert. [Bq/m3] |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Esie BH 1 | 8545.207 | 1174.287 | 8.545207 | 1.174287 | 1.794493 | 2.153392 | 3.947886 |
| Esie BH 2 | 9536.926 | 1296.527 | 9.536926 | 1.296527 | 2.002754 | 2.403305 | 4.40606 |
| Esie BH 3 | 7654.541 | 1097.87 | 7.654541 | 1.09787 | 1.607454 | 1.928944 | 3.536398 |
| Esie BH4 | 7541.532 | 1090.416 | 7.541532 | 1.090416 | 1.583722 | 1.900466 | 3.484188 |
| Esie Well 1 | 4469.635 | 986.543 | 4.469635 | 0.986543 | 0.938623 | 1.126348 | 2.064971 |
| Esie Well 2 | 3356.524 | 762.608 | 3.356524 | 0.762608 | 0.70487 | 0.845844 | 1.550714 |
| Esie Well 3 | 5842.26 | 990.351 | 5.84226 | 0.990351 | 1.226875 | 1.47225 | 2.699124 |
| Offa BH 1 | 14104.74 | 1487.003 | 14.10474 | 1.487003 | 2.961995 | 3.554394 | 6.51639 |
| Offa BH 2 | 10211.91 | 367.1908 | 10.21191 | 0.367191 | 2.144501 | 2.573401 | 4.717902 |
| Offa BH 3 | 10284.59 | 369.165 | 10.28459 | 0.369165 | 2.159764 | 2.591717 | 4.751481 |
| Offa BH 4 | 13046.53 | 1078.617 | 13.04653 | 1.078617 | 2.739771 | 3.287726 | 6.027497 |
| Offa Well 1 | 4151.071 | 849.0214 | 4.151071 | 0.849021 | 0.871725 | 1.04607 | 1.917795 |
| Offa Well 2 | 4902.558 | 912.3296 | 4.902558 | 0.91233 | 1.029537 | 1.235445 | 2.264982 |
| Offa Well 3 | 5367.765 | 951.0394 | 5.367765 | 0.951039 | 1.127231 | 1.352677 | 2.479907 |
| Offa Well 4 | 4097.633 | 1337.311 | 4.097633 | 1.337311 | 0.860503 | 1.032604 | 1.893106 |
| Offa Stream 1 | 818.5843 | 434.1357 | 0.818584 | 0.434136 | 0.171903 | 0.206283 | 0.378186 |
| Offa Stream 2 | 950.6138 | 456.0993 | 0.950614 | 0.456099 | 0.199629 | 0.239555 | 0.439184 |

| Test # | RH [%] | Radon [Bq/m3] | Radon 2-Sigma Uncert. [Bq/m3] |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 9 | 10218.68 | 639.641 |  |  |  |
| 2 | 8 | 9628.319 | 561.2887 | 9923 | 600 | New Immigration office |
| 3 | 8 | 7791.238 | 707.7 |  |  |  |
| 4 | 8 | 7484.417 | 876.5047 | 7637 | 792 | Akuo |
| 5 | 8 | 10226.61 | 1018.355 |  |  |  |
| 6 | 8 | 8338.592 | 945.8708 | 9282 | 982 | Eleko |
| 7 | 8 | 5829.04 | 990.7311 |  |  |  |
| 8 | 8 | 7910.521 | 709.322 | 850 | 2850 | TaiwoIsale |
| 9 | 8 | 10442.48 | 663.1221 |  |  |  |
| 10 | 8 | 8043.717 | 835.7308 | 9243 | 749 | Kwara Poly |
| 11 | 8 | 6211.248 | 269.5819 |  |  |  |
| 12 | 8 | 7782.994 | 412.5544 | 6997 | 341 | Adewole |

## CHAPTERFIVE

## CONCLUSIONAND RECOMMENDATION

## CONCLUSION

The study presented has shown how RAD7 techniques were successfully used in determiningtheconcentrationsofradoningroundwater(BoreHoleWater)atKwaraState Polytechnic and it radiological implication. Most of the area selected for the study was found to contain little or more concentration of radon.

## RECOMMENDATION

Thereisneedforproperandconstantmonitoringoftheradonconcentrationswithin the school environment. There is the need to continually monitor potential contaminated areas. Through geo-environmental study involving constant geochemical analysis, remotely sensed data and modeling. Regular Health screening should be carried out once inawhileontheinhabitantstocheckwhethersomesymptomsofradoncontaminationmay be detected.

Thereisneedtoadoptnewmethodofwastedisposalwhichisgoingtobesafewith physical, chemical and Biological setting of the areas in order reduces hazardous effects.

Sincethestudyonlydealtwithtwentysamplestakenatwithintheschool,thereisneedfor furtherstudytobecarriedouttolookintomanyotherlocationsinIlorin,KwaraState.Also

since the instrument used for this study has limitations to detect only radon, there is need use other instruments to carry out similar study using different techniques like NAA , INAA etc .

REFERENCES

“Basic information about Radon in Drinking Water”. United State Environmental Protection

Agency.June30,2014.Archivedfromtheoriginalon2015-02-14.RetrievedJanuary31,

2015.

Denman, A.R.; Eatough, J. P.; Gilimore, G.; Phillips, P. S. (December 2003). “Assessmentofhealthrisktoskinandlungofelevatedradonlevelsinabandonedmines”.Health Physics. 85(6): 733-739.

Greenfield,M.B.AIwata;N.Ito;M.Ishigaki;K.Kubo(2006).Intenseyradiationfrom radon

progenyaccretedin/onrainduringandfollowingthunderstorms.BulletinoftheAmerican physical society. Nashville, Tennessee.

Hala, Jiri; Navratil, James (2003).Radioactivity, Ionizing Radiation, and Nuclear Energy.

Konvoj.

J.H Lubin and J.D Boice (2016).Journal National Cancer Inst., 1997, 89, 49. (Risks of indoor radon)

Kumar,R.,etal,(2005).WaterResourcesofIndiaCurrentScience,89(5)794-811

MohammedZ.H,(2015)GlobalJournalofAdvanceresearchVol-2,Issue-9pp.1436- 1445:ISSN:5788

N.M Hurley and J.H Hurley, Environment International, 1986, 12, 39. (Lung cancer in uranium miners as a function of radon exposure)

Man-madeMineralFibresandRadon”IARCMonographsontheEvaluationofCarcinogenic

Risksto Human(43).1988.

The Radon Story”.The Radon Council 2001).Archived from the original on February 1,2015.

RetrievedJanuary1,2015.

T.RKumaraswamyetal(2016). ImpactofPollutiononQualityofFresh Ecosystems

Predictedmedianannual-averageliving-areaconcentration,bycountry”.Lawrence Berkeley

## National Laboratory.Archived from the original on 2007-12-31. Retrieved 2008-02- 12.

Posterndorfer, Jet al(September 1994).“Daily variation of the radonconcentration indoors

andoutdoorsandtheinfluence and theinfluenceofmeteorologicalparameters’’. Health

physics.67(3):283-287.

“Yamazawa, H.; M. Matsuda; J. Moriizumi; T. lida (2008).Wet Deposition of Radon Decay

ProductsanditsRelationwithLong-RangeTransportedRadon.TheNatural Radiation

Environment.Vol.1034.PP.149-152.