A PROJECT REPORT ON THE EFFECT OF TEMPERATURE ON SOLAR PANEL PERFORMANCE

# BY

# HAMSAT MARYAM OLUWABUKOLA

# ND/23/SLT/PT/0757

# A PROJECT REPORT SUBMITTED TO PHYSICS UNIT, DEPARTMENT OF SCIENCE LABOURATORY TECHNOLOGY,

# INSTITUTE OF APPLIED SCIENCE (IAS)

# IN PARTIAL FULFILMENT OF THE REQUIREMENT FOR THE AWARD OF NATIONAL DIPLOMA (ND)

# IN SCIENCE LABORATORY TECHNOLOGY, SLT

# JUNE,2025

DEDICATION

# I dedicate this project work to Almighty Allah

# ACKNOWLEDGEMENTS

# I highly grateful to almighty god that has guided me throughout the course of this project

# I special thanks are extended to Mr. Garba Muyideen who has worked tirelessly to see the success of this work for his advice and effective supervision, we also wish to appreciate the kindness and support of the head of SLT Department, Dr. Usman A. and all the entire staffs

# I also grateful to the rector, and the polytechnic management as well as the director, institute of applied sciences, for providing an enabling environment required for conducting worthwhile academic work in the form of lectures, projects, researches and extra-curricular activities

# CERTIFICATION

# This is to certify that the work was carried out and reported by HAMSAT MARYAM OLUWABUKOLA, ND/23/SLT/PT/0757 in the department of Science Laboratory Technology (SLT) Institute of Applied Sciences (IAS) and has been read and approved as meeting the requirement for the award of National Diploma (ND)

# _________________ 				____________________

# Mr. Garba Muyideen 							Date

# (Project Supervisor)

# _______________________ 			____________________

# Mr. Abdullahi Zubair Lukman 					Date

# (SLT PT Coordinator)

# _______________________ 			____________________

# Dr. Usman A								Date

# Head of Department

# ____________________ 				____________________

# External Examiner Date						Date

# CHAPTER1

## Introduction

  - BackgroundonSolarEnergyandPhotovoltaics

Solar energy, derived from the electromagnetic radiation emitted by the sun, represents a virtuallyinexhaustiblesourceofcleanenergy(Ahmadetal.,2023).Thesun'sradiationreaches the Earth at an average rateofapproximately1361 W/m² at thetopofthe atmosphere (known as the Solar Constant) (ref: NASA). However, due to atmospheric scattering and absorption, the solar irradiance that reaches the Earth's surface varies depending on location, time ofday, and weather conditions, typically ranging from 0 to 1000 W/m² at noon on a clear day (Mohapatraetal.,2016).Thisvariabilitynecessitatescarefulconsiderationwhendesigningand deployingsolarenergysystems(Pateletal.,2022).Thisenergy,fundamentally,arisesfromthe nuclear fusion reactions occurring in the sun's core, primarily the fusion of hydrogen into helium, releasing immense amounts of energy in the process, with a reaction shown as:

4¹H->²He+2e⁺+2νₑ+Energy

Where ¹H represents hydrogen nuclei (protons), ²He is the helium nucleus, e⁺ represents positrons,andνₑrepresentselectronneutrinos.Thisenergyisthenradiatedoutwards,traversing the vast distance to Earth.

    - BriefOverviewofSolarEnergyConversion

Solarenergyconversionencompassesvarious methodstotransformsolarradiationintousable forms of energy, such as electricity, heat, and chemical energy (Patel et al., 2022). Common methods include solar thermalcollectors(for heat generation), photovoltaic (PV) systems(for electricity generation), and solar chemical processes (e.g., photocatalysis).

      - SolarThermalCollectors:Thesedevicesabsorbsolarradiationtoheat aworkingfluid(e.g., water or oil), which can then be used directly for space heating, water heating, or as a source of energy for industrial processes or electricity generation (e.g., through steam turbines).

      - Solar Chemical Processes: These use solar energy to drive chemical reactions, such as the splitting of water into hydrogen and oxygen for fuel production or for industrial chemical processes (Yadav et al., 2018).

      - Photovoltaic(PV)Conversion:This isthemostcommonmethodofsolarenergyconversion toelectricityand istheprimaryfocusofthisproject.Itwillbediscussed infurtherdetailinthe following section (Chopra et al., 2020).

    - IntroductiontothePhotovoltaic Effect

The photovoltaic effect is the fundamental physical phenomenon underlying solar cell operation(Tiwarietal.,2021).Itdescribesthegenerationofavoltageandelectriccurrent ina materialwhenexposed to electromagneticradiation(light),typicallywhenphotons insunlight are absorbed in a semiconductor material (usually crystalline silicon). When a photon with energygreaterthanthematerial’sbandgap(theminimumenergyneededtoexciteanelectron) hits a solar cell, it can excite an electron, causing it to jump from the valence band to the conduction band, creating a free electron and a "hole," effectively a positive charge. This process is best described using quantum mechanics, as we move from a bound electron in a silicon crystal lattice to a free carrier (Chaturvedi et al., 2020). The basic equation for the process, expressed in terms of energy can be stated as:

E_photon= hf>= E_g(orE_photon= hc/λ >=E_g)

WhereE_photonisthephotonenergy,hisPlanck'sconstant(approximately6.626x10⁻³⁴J·s), f is the frequency of the light, c is the speed of light (approximately 3 x 10⁸ m/s), λ is the wavelengthoflight,andE_gisthebandgapenergyofthesemiconductormaterial(approx.1.1 eV for silicon).

    - BasicStructureofSolar CellsandPanels

A typical solar cell is constructed from a semiconductor material, often crystalline silicon (c- Si),thathasbeentreatedtocreateap-njunction.Thisp-njunctionisaninterfacebetweentwo differently doped semiconductors, an n-type material (with an excess of free electrons) and a p-type material (with an excess of "holes"). The key to operation is that the built-in electric field at this junction separates the electron-hole pairs created by the absorbed photons (Chaturvedi et al., 2020).

      - Front Contact: A grid-like metallic contact on the front of the solar cell allows for the collectionoftheelectronsgenerated.Thisisusuallydesignedtominimizeshading,bycovering only small area.

      - Semiconductor Material: The p-n junction is the active part of the cell, made of specially treatedsemiconductormaterials(Mehtaetal.,2017).Inadditiontosilicon,othermaterialssuch as gallium arsenide (GaAs) and cadmium telluride (CdTe) are also used.

      - BackContact:A metallic contactonthe backofthe cellactsasa collectorfortheholes.

Individualsolar cells are electrically interconnected to formsolar modules or panels (Joshiet al., 2019). Multiple solar panels are then connected to form solar arrays in real world applications. These connections are typicallyarranged in series or parallelto increase voltage or current output as needed.

ApproximateValuesand Calculations:

      - BandGap ofSilicon(E_g):Approximately1.1 eV(electronvolts)

      - Wavelength of Maximum Solar Irradiance (λ): Around 550 nm (nanometers). This corresponds to the peak of the visible light spectrum.

      - EnergyofaPhotonat550nm:E= hc/λ =(6.626x10⁻³⁴J·s× 3x10⁸m/s)/550x10⁻⁹m≈

3.6 x10⁻¹⁹J(approx2.25eV)

- ApproximateEfficiencyofCommercialSolarPanels:Rangesfrom15%to22%forcommon silicon-based panels.

- PeakSolarIrradianceonEarth: Onaclearsunnydayitcanreach~1000 W/m².

- Power Output from a Single Panel (example): A typical commercial solar panel with 1 m² area can generate a peak output of around 150-250W (depending on the technology) in peak sunlight.

  - TemperatureDependenceofSolar PanelPerformance

Theperformanceofsolarphotovoltaic(PV)panelsissignificantlyinfluencedbytheiroperating temperature. Unlike many electrical devices that perform optimally at a specific temperature, solar cells tend to exhibit a decrease in performance as their temperature increases. This temperaturesensitivityarisesfromtheinherentphysicsofsemiconductormaterialsanddirectly affectscriticalparameterssuchasvoltage,current,andultimately,thepoweroutputofthesolar panel (Grover et al., 2021). This section will delve into the underlying causes of this phenomenon, its practical implications, and the means to mitigate its impact.

    - FactorsAffecting SolarPanelEfficiency

Solarpanelefficiency,denotedasη,whichistheratioofelectricalpoweroutputtosolarpower input (i.e., incident light on panel) is affected bya multitude offactors. The most pertinent in this discussion is the operating temperature of the panel (Soni et al., 2023).

      - Band Gap EnergyReduction: The band gap energy(Eg) ofa semiconductor material, such as silicon, is temperature-dependent. The band gap energy decreases with increasing temperature. The empirical equation shows that the band gap of silicon varies approximately as:

Eg(T)=Eg(0)-αT

whereEg(T)isthebandgapenergyattemperatureT,Eg(0)isthebandgapenergyat absolute zero (0 K), and α is a temperature coefficient (≈ 2.4 x 10⁻⁴ eV/K for silicon).

Thisreductioninbandgapwithincreasingtemperaturemeansthatelectronsrequirelessenergy to jump to the conduction band. This results in more charge carriers, leading to an increase in short circuit current (Isc), but unfortunately at the same time, the open-circuit voltage (Voc) reducesdramatically,whichreducestheoverallpoweroutput.ThereductioninVocdominates so the overall panel efficiency drops with increase in temperature (Sharma et al., 2019).

      - Increased Recombination: Higher temperatures increase the vibrationalenergyofatoms in the semiconductor material. This increased atomic motion makes it more likely that charge carriers (electrons and holes) will recombine within the material (before they are collected), reducing the number offree carriers available to contribute to the current (Sagar et al., 2021). This increases the recombination current, which reduces the Isc and Voc.

      - CarrierMobility:Temperatureimpactsthemobilityofchargecarriers(electronsandholes). Athighertemperatures,latticevibrationsbecomemoreprominent.Asthechargecarriersmove through the material, they can interact with the vibrating atoms, leading to scattering and reduced mobility. This decreases the conductivity of the solar cell, and thereby the current it can produce (Rana et al., 2020).

      - Series Resistance: Temperature affects the resistance ofthe materials within the solar cell, including the semiconductor, metallic contacts, and connecting wires (Garg et al., 2017). Increased temperature often leads to an increase in the series resistance of the cell (due to reduced mobility), further reducing power output.

    - SignificanceofTemperatureEffectsonSolarCellPerformance

The practical significance of temperature effects is profound and influences many design considerations:

      - Reduced Power Output: As the temperature of a solar panel increases, its power output decreases. This is primarily due to the reduction in open-circuit voltage (Voc) being more significantthanthe increase inshort-circuit current (Isc).Forcrystallinesiliconsolarcells,the reduction in power output is approximately 0.3-0.5% per degree Celsius increase above standard test conditions (STC), often around 25°C [5]. This number is captured in the temperature coefficient ofpoweroutput, usually shown as a %/°C, by manufacturers, making it an important design consideration (Mohanraj et al., 2019).

      - EfficiencyReduction:Theoverallenergyconversionefficiencydecreaseswithtemperature. Sincetemperaturecoefficientsforcommoncrystallinesiliconarenegative,thepanelefficiency drops with increase in temperature, so panels are less efficient in warmer climates (Kumar et al., 2018).

Forexample,apanelwithanominalefficiencyof20%at 25°Cmayonlyoperateat 16-17% if the temperature rises above 65-75°C.

      - Hot Spots and Reliability: Uneven temperature distribution across a panel (due to shading or poor ventilation) can lead to the formation of "hot spots," localized areas of higher temperature. These spots can cause damage to the panel's materials, reduce its lifespan, and cause degradation in performance (Sharma et al., 2020).

      - Design and Installation Considerations: Understanding the temperature dependence is essential for designing solar arrays that maximize energy production under different climatic conditions. This involves strategies for heat dissipation, efficient ventilation, and careful placement of the solar arrays (Singh et al., 2022).

Calculations:

      - Approximate Temperature Effect: Assume a panel with a power output temperature coefficientof-0.4%/°CatSTC(25°C).Ifthepaneltemperaturereaches55°C,thepoweroutput willdecreaseby:(55°C-25°C)×(-0.4%/°C)=-12%.Meaningtheactualpoweroutputwillbe 88% of its rated peak output.

ApproximateValues:

      - TemperatureCoefficient ofPower:Typically-0.3to-0.5%/°Cforc-Sisolarpanels.

      - Open-CircuitVoltage(Voc)TemperatureCoefficient:Approximately-2mV/°Cto-3mV/°C for silicon solar cells. This is an empirical value, not a material property.

      - Short Circuit Current (Isc) Temperature Coefficient: Approximately +0.04 to +0.06 %/°C for c-Si solar cells.

      - Normaloperating temperaturerange ofPVpanelsThe panelscanbe operating inthe range of-40°Cand+85°Candwithsurfacetemperaturesabove100°Cpossibleinhotsunnyclimates.

  - ResearchMotivationandScope

The imperative to transition towards sustainable energy sources has never been more critical, and solar photovoltaics (PV) stands as a key technology in this shift. While significant advancements have been made in solar panel technology, understanding and mitigating the temperature-dependent performance of solar panels remains a critical challenge to optimize their efficiencyand reliability in real-world conditions. This research is driven bythe need to address these challenges by investigating the impact of temperature on various performance parameters of solar cells (Dhar et al., 2018).

    - ImportanceforSolarEnergyApplications

The temperature dependence of solar panel performance has profound implications for the scalability, economic viability, and overall success of solar energy applications (Wang et al., 2016).

      - Optimizing SystemDesign: Accurate understanding ofhowtemperature affectssolar panel efficiency is crucial for system design. This information enables the development of more effective strategies for cooling, system integration, and power management, thereby maximizing energy production (Ramanathan et al., 2015). This involves selecting suitable panels for the location, or active panel cooling (active air ventilation, water cooling) to offset temperature effects.

      - Enhancing EnergyOutput:Temperature effects canseverely limit solar energyproduction, especially in hot climates. By reducing the performance degradation caused by heat, we can make PV systems more productive and reliable, thereby increasing their returnon investment and overall environmental impact (Kim et al., 2017).

      - ImprovingReliabilityand Lifespan:Prolonged exposureto hightemperatures,especiallyat localized hotspotscanacceleratedegradationandreducethelifespanofsolarpanels.Research on temperature effects informs the design of more robust panels that are less susceptible to thermal damage (Zhang et al., 2021). This is achieved by both passive (materials and constructionchoices) and active(cooling solutions, management systems) mitigationstrategies.

      - Predictive Modeling: A better understanding of how temperature affects solar cell performance is necessary for creating more accurate predictive models. These models enable better projections of energy output and financial planning of solar panel installations (Cui et al., 2018).

      - Grid Stability: With increased penetration of solar energy into the power grid, accurately predictingtheirenergy outputiscrucialforgridstability.Variability causedby temperature

changes is a significant factor that must be taken into consideration (Jain et al., 2019). Understanding this variability helps in better grid management.

      - WiderDeployment:Ifwecanaddresstheissueoftemperaturedependence,thiswillincrease thesuitabilityofsolarenergyinawiderrangeofclimates,extendingitsapplicabilitytovarious regions.

    - ObjectivesofthisProject

This research project aims to provide a thorough and systematic investigation into the effects of temperature on solar cell performance. The primary objectives are:

- Quantify the Relationship: To experimentally determine and quantify the relationship betweentemperatureandkeysolarcellperformanceparametersincludingopen-circuitvoltage (Voc),short-circuit current (Isc),maximumpower point (Pmax), and overallpanelefficiency. The target temperature range will be between 20°C and 80°C (typical operating conditions).

- Analyze I-V Characteristics: To analyze how the current-voltage (I-V) characteristics of solar cells change under different temperature conditions. This involves carefully measuring and analysing the I-V characteristics at the various controlled temperatures.

- EvaluateTemperatureCoefficients:To determineand validatethetemperaturecoefficients (the change in performance per degree Celsius) for different key solar cell parameters. These coefficientswillbecomparedwithmanufacturer’sspecificationifavailableandusedtopredict performance at given temperatures.

- Identify Potential Improvements: To gain insights into how temperature effects can be mitigatedthroughdifferent activeandpassivemeasuresordesignchoices.Thiswouldinvolve a review of current mitigation techniques.

- Validate Theoretical Predictions: To compare experimental results with theoretical predictions to validate and refine existing models of solar cell behavior under thermal stress.

Specifically focusing on semi-conductor properties, such as bandgap, mobility, and intrinsic concentration, with increasing temperature.

# CHAPTER2

## TheoreticalBackground

  - SemiconductorPhysicsandthePhotovoltaicEffect

The photovoltaic effect, the cornerstone of solar energy conversion, is deeply rooted in the physicsofsemiconductormaterials.Understandingtheunderlyingprinciplesofsemiconductor behavior, particularlythe formationofp-n junctions and their interactionwith light, is critical for comprehending the operation of solar cells. This section will delve into the core concepts of semiconductor physics that govern the photovoltaic effect.

    - EnergyBands,Doping,and p-nJunctions

Semiconductors, unlike conductors or insulators, possess electrical conductivity that can be controlledbyintroducingimpurities.Theenergylevelsofelectronsinacrystallinematerialare organized into bands (Rincón & González, 2014).

      - EnergyBands: Electrons insolids occupyspecific energybands. Two crucialbands arethe valence band, thehighest band filled withelectronsat absolutezero, andtheconductionband, whichisthenext higherbandwhereelectronscanmove freelytoconduct current (Yangetal., 2022). The energygap betweenthe valence and conductionbands is called the band gap (Eg). In a semiconductor, this band gap is relatively small (around 1.1 eV for silicon).

      - Intrinsic Semiconductors: Inpure or intrinsic semiconductors, like silicon(Si), the number ofelectronsintheconductionband isequaltothenumberofholesinthevalenceband(electron- holepairs).Thisisbecause,atroomtemperature,someelectronsinthevalencebandareexcited by thermal energy to cross the band gap to reach the conduction band, leaving holes behind (Lee&Kang,2014).Theconcentrationofthesecarriers(intrinsicconcentrationni)isgivenas:

ni=√(NCNV) *e(-Eg/2kT)

WhereNcistheeffectivedensityofstatesintheconductionband,Nvistheeffectivedensity of states in the valence band, Eg is the band gap energy, k is the Boltzmann constant (approximately 1.38 × 10⁻²³ J/K or 8.617 x 10⁻⁵ eV/K), and T is the absolute temperature (Kumar & Sharma, 2013).

      - Doping: The conductivityofsemiconductors can be increased significantly by introducing impurities, a process known as doping. There are two types:

        - n-typeDoping:Introducingimpuritieswithmorevalenceelectronsthanthesemiconductor material (e.g., phosphorus (P) in silicon) creates n-type material (Vyas et al., 2021). These impurity atoms (donors) donate extra electrons into the conduction band, increasing the concentration of free electrons, denoted as n.

        - p-type Doping: Introducing impurities with fewer valence electrons than the semiconductor material (e.g., boron (B) in silicon) creates p-type material (Li et al., 2020). These impurity atoms (acceptors) create "holes" in the valence band, increasing the concentration of holes, denoted as p.

      - p-nJunction: Ap-njunctionis formedwhenap-typeandann-typesemiconductormaterial are brought into contact (Ahn et al., 2012). The following process takes place at the junction:

        - Diffusion:Thehighconcentrationofelectrons inthen-type materialdiffusetothep-side and the high concentration of holes in the p-side diffuse into the n-side.

        - Space Charge Region: This diffusioncreates a depletionor"space charge" regionwitha built-inelectricfieldatthejunctionduetothepositivelychargeddonorsandnegativelycharged acceptors that remain (Zhao et al., 2015).

        - Equilibrium:Whenequilibriumisreached,thediffusioncurrentofcarriersisbalancedby the drift current induced by the electric field at the junction. This field separates any photogenerated electron-hole pairs (Zhao et al., 2015).

    - PhotonAbsorptionandElectron-Hole Generation

The photovoltaic effect is initiated by the absorption of photons with sufficient energy to generate electron-hole pairs (Srinivasan et al., 2017).

      - PhotonAbsorption:Whenaphotonwithenergy(E_photon=hf=hc/λ)greaterthantheband gapenergy(Eg)strikesasemiconductormaterial, it canexciteanelectroninthevalence band totheconductionband.Theelectronisnowfreetomove,andaholeisleftbehindinthevalence band (Tiwari et al., 2013).

      - Electron-Hole Pair Generation: The processresultsinthe generationofelectron-hole pairs. In a solar cell, this occurs in and around the depletion region (Tiwari et al., 2013).

      - Quantum Efficiency: Not every photon is absorbed and creates an electron-hole pair. The efficiencyofthisprocess isknownasthe quantumefficiency(Lalet al., 2016). Some photons are reflected, or not absorbed (due to the material, photon energy, etc), and the electron hole pairs can also recombine before collection.

    - Current-Voltage(I-V)CharacteristicsofSolarCells

The current-voltage (I-V) characteristic of a solar cell describes how the current flowing throughthe cellvarieswiththe applied voltage (IEA, 2022).The solar cell’s behaviour isthat of a current source, not a voltage source.

      - Short-Circuit Current (Isc): This is the current flowing through the cell when the voltage acrossitsterminalsiszero (NREL,2023).Thisoccurswhenthereisadirectshort-circuit(zero resistance)acrosstheterminals.Themagnitudeofthiscurrentisproportionaltothephotonflux incident on the solar cell.

      - Open-Circuit Voltage (Voc): This is the voltage across the cell terminals when no current flowsthrough it (opencircuit). The voltagearises fromthe separationofthechargecarriers in

the p-n junction. This voltage corresponds to the maximum potential difference the cell can provide (Bost et al., 2016).

      - Maximum Power Point (MPP): The product of current and voltage is the power delivered (Meyersetal.,2010).Thecelldeliversamaximumpower atapoint (Vmp,Imp)alongtheI-V curvewheretheproductofcurrent and voltage is maximized(i.e., P=I ×V).This isthepower output that we want the cell to deliver (Chen et al., 2020).

      - Fill Factor (FF): The fill factor is a measure of the squareness of the I-V curve and is the ratio of maximum power output (Pmax) to the product of Isc and Voc:

FF=Pmax/(Isc*Voc)

Formulas

      - CurrentdensityacrossaPNjunction

J =Jo(exp(eV/nkT) -1)-J_L

whereJoisthereversesaturationcurrentdensity,eisthefundamentalelectroncharge,Visthe appliedvoltage,nisthe idealityfactor(usuallybetween1and2),kistheBoltzmannconstant, T is the absolute temperature, and J_L is the photo generated current density.

Calculationsand Approximations

      - BandGap ofSilicon(Eg):Approximately1.1 eV (electronvolts)at roomtemperature.

      - BoltzmannConstant(k):Approximately8.617×10⁻⁵eV/K(or 1.38×10⁻²³J/K).

      - Typical Isc: Ranges froma few mA/cm² to ~ 40 mA/cm² (depending on illumination, cell material etc.).

      - TypicalVoc: Rangesfromaround0.5to 0.7 volts(forsilicon-basedcells)

      - FillFactor(FF): Typicalvaluesarefrom0.7to0.85,ameasure ofthequalityofthe cell.

  - TemperatureDependenceofSemiconductor Properties

The electrical and optical properties of semiconductors are highly sensitive to temperature variations. These temperature dependencies directly influence the performance of semiconductor-based devices, including solar cells. This section will explore the mechanisms behindthesedependenciesandtheireffectsoncrucialsemiconductorparameters (Löperetal., 2015).

    - EffectsofTemperatureonCarrier ConcentrationandMobility

Temperaturesignificantly impactstheconcentrationand mobilityofchargecarriers(electrons and holes) in semiconductors (Gómez & Castro, 2018).

      - Carrier Concentration: In intrinsic semiconductors, the concentration of charge carriers increases with temperature (Green, 2015). This is because thermal energy enables more electrons to jump fromthe valence band to the conduction band, creating additionalelectron- hole pairs. As mentioned earlier, the intrinsic carrier concentration is:

nᵢ= √(NcNv)×e(-Eg/2kT)

Where Nc and Nv are the effective densities of states in the conduction and valence bands respectively, Eg is the band gap energy, k is the Boltzmann constant, and T is the absolute temperature.Thisequationexplicitlyshowshowincreasingtemperatureleadstoanexponential increase in the intrinsic carrier concentration (Razykov et al., 2011).

In extrinsic (doped) semiconductors, the concentration of majority carriers is primarily determined by the doping level and less sensitive to temperature. However, the concentration of minority carriers still increases with temperature (thermal generation). The number of intrinsic carriers increases exponentially with temperature, while the number of majority carriersisrelativelyunchangedformoderatetemperaturechanges (Jacobetal.,2013).Thusat

veryhightemperatures,thebehaviorstartstoapproximatetheintrinsicbehavior,asthenumber of thermally generated carriers becomes comparable to the dopant concentration.

      - CarrierMobility:Themobility(μ)ofchargecarriersdescribeshoweasilytheymovethrough the semiconductor under the influence of an electric field. Increased temperature leads to a decrease in mobility. This is because:

        - LatticeScattering:Athighertemperatures,theatomsinthesemiconductorcrystalvibrate morevigorously.Thesevibrations(phonons)scatterelectronsandholes,impedingtheirmotion and reducing their mobility (Zhu et al., 2017).

The approximate temperature dependence of mobility (at higher temperatures, or lattice scattering dominated regions) is given as:

μ∝T(-m)

wheremis3/2foracousticphononscatteringandm=1/2foropticalphononscattering,so the mobility decreases as the temperature increases (Nayar et al., 2016).

        - Ionized Impurity Scattering: At low temperatures, ionized impurity scattering also dominates. This scattering mechanism involves interactions between charge carriers and the ionized dopant atoms. These interactions decrease with temperature due to increased thermal motion. However, lattice scattering is the dominant mechanism at higher temperatures, so mobility overall decreases with temperature (Mishra & Singh, 2015).

    - ImpactofTemperatureonBand Gap Energy

The band gap energy (Eg) of a semiconductor material is not a constant value but decreases with increasing temperature (Bohora et al., 2019).

      - Thermal Expansion: The lattice constant of the semiconductor material increases slightly withtemperature(thermalexpansion),whichalterstheinteratomicspacingand,hence,reduces the energy gap between the valence and conduction bands (Pinho & Galdino, 2010).

      - Electron-Phonon Interaction: Increased lattice vibrations (phonons) also interact with electronsinthematerial,leadingtochangesinthebandstructureandthereductioninbandgap (Hassan et al., 2022).

Therelationshipbetweenbandgapenergyandtemperaturecanbeapproximatelyexpressedas:

Eg(T)=Eg(0)- αT

WhereEg(T)isthebandgapenergyattemperatureT,Eg(0)isthebandgapenergyatabsolute zero(0K),andαisatemperaturecoefficient(≈2.4x10⁻⁴eV/Kforsilicon)(Javedetal.,2019).

This decrease in the bandgap is important as it is the underlying reason for an increase in the number ofcarriers at elevated temperatures, but witha concurrent decrease inthe cell's open- circuit voltage.

    - TemperatureCoefficientofVoltageandCurrent

The performance of solar cells is significantly affected by temperature variations. The open- circuit voltage (Voc) and short-circuit current (Isc) show distinct temperature dependencies, which are captured by their temperature coefficients (Spertino, 2015).

      - Temperature Coefficient of Open-Circuit Voltage (β): The open-circuit voltage of a solar celldecreaseswithtemperature.Thisdecrease is roughlylinear forsmalltemperaturechanges andiscapturedbythetemperaturecoefficientofVoc,(β).Typicallyit'sgiveninunitsofmV/°C and isoftennegative (Huldet al., 2010).Itisnot amaterialproperty, but acelllevelempirical value. This reduction is related to the reduction in the bandgap (as mentioned previously) and an increase in reverse saturation current (Jo) of a diode. The temperature coefficient can be described by the following approximate expression:

β≈dVoc/dT

For siliconsolarcells,thisvalueisusually-2mV/°Cto-3mV/°C

      - TemperatureCoefficientofShort-CircuitCurrent(α):Theshort-circuitcurrentofasolarcell typically increases slightly with temperature (Gómez-Romero, 2011). This increase is due to the increase in the number of thermally generated charge carriers at higher temperatures, and capturedbythetemperaturecoefficientofIsc,(α)inunits%/°C.Insilicon,it'stypicallyaround

+0.04%/°Cto0.06%/°C. It isalso anempiricalcell-levelcoefficient, not amaterialproperty. The temperature dependence of short circuit current can be expressed as:

α≈dIsc/(Isc.dT)

TheseparametersareveryimportantinmodelinganddesigningPVsystems(Gómez- Romero, 2011).

Formulas

      - Fermi-Diracdistribution

f(E)= 1/(1+exp((E-Ef)/kT))

where E is the energy, Ef is the Fermi level (energy at which a state is 50% occupied by electron),kisBoltzmannconstant andTistheabsolutetemperature.Thisfunctionshowshow the temperature affects the probability of filling an energy state with electrons (Zemen et al., 2013).

      - DensityofStates

Nc=2(m\×kT/ 2πħ²)3/2

wheremiseffectiveelectronmass,ħisreducedPlanck'sconstant.

This formula indicates that density of states also increases with temperature, due to an increase in electron velocity.

  - SolarPanelEfficiencyMetrics

Toproperlyevaluatetheperformanceofsolarpanels,it'sessentialtodefineandunderstandkey parametersthatquantifytheirenergyconversioncapabilities.Thesemetrics,oftenderivedfrom the current-voltage (I-V) characteristics of solar cells, are crucial for comparing different technologies, optimizingsystemdesign, and estimatingtheeconomic viabilityofphotovoltaic systems (Nishioka et al., 2017).

    - DefinitionsofKeyParameters

Theperformanceofasolarcellisevaluatedbasedonseveralkeyparameterswhicharederived from the current-voltage (I-V) characteristics of the cell:

      - Short-CircuitCurrent(Isc):Aspreviouslystated,thisisthecurrentflowingthroughthesolar cell when the voltage across it is zero (a short circuit). It represents the maximumcurrent the cell can produce under given illumination conditions. ×Mathematically, this occurs when V=0×.

        - Theshortcircuitcurrentdensity(Jsc)canbeobtainedbydividingbytheactivearea.

Jsc=Isc/ Area

      - Open-Circuit Voltage (Voc): This is the voltage across theterminals ofthe solar cellwhen no currentisflowing(anopencircuit).Itrepresentsthe maximumvoltagethecellcanproduce under the given conditions. ×Mathematically, this occurs when I=0×.

      - MaximumPower Point (MPP):The maximum powerpoint corresponds tothe point onthe I-V curve where the product of current (Imp) and voltage (Vmp) is maximized, i.e., Pmax = Imp × Vmp. This is the operating point at which the solar cell delivers its maximum power output under given irradiance conditions (Liu et al., 2023).

      - FillFactor(FF): The fillfactorquantifies the “squareness” ofthe I-Vcurve. It is a measure ofthequalityofthesolar celland isdefinedastheratioofthe maximumpoweroutput(Pmax) to the product of short-circuit current (Isc) and open-circuit voltage (Voc) (Liu et al., 2023).

FF=Pmax/ (Isc*Voc)=(Imp * Vmp)/(Isc* Voc)

        - The fillfactorisadimensionless value, withaperfect solarcellhavinga fillfactorequal to 1. Realistic solar cells have fill factors less than 1 due to various internal resistances and recombinationeffects.Typically,the fillfactorofsolarcellsrangesbetween0.7and0.85.The higher the fill factor,the betterthe cellperforms, dueto less power being dissipated as heat in the solar cell (Hosseini et al., 2020).

      - SolarIrradiance(G):Thisisthepowerofthe incident light perunit areaand ismeasured in W/m². Solar irradiance varies depending on time of day, weather conditions, and geographic location. Standard test conditions (STC) assume a solar irradiance of 1000 W/m² (Ahmad et al., 2018).

Irradianceisrelatedtoincidentphotons by:

Irradiance(G)=EnergyofPhotonxPhotonsperunitAreapersecond

        - TheenergyofeachphotonisgivenbyE=hf=hc/λ asbefore.

    - CalculationofSolarPanelEfficiency

Solar panelefficiency(η) isthe most important metric used to quantifythe overallconversion capabilityofa solar cell. It is defined as the ratio ofthe electricalpoweroutputtothe incident solar power input (Fan et al., 2022).

      - DefinitionofSolarPanelEfficiency:Thesolarpanelefficiency(η)isdefinedastheratio of themaximumelectricalpowergeneratedbythesolarpanel(Pmax)totheincident solarpower (Pin) on the solar panel area (A) (Ahmad et al., 2018).

η=Pmax/Pin=(Imp*Vmp)/(G*A) where,

        - Pmax=Maximumelectricalpower output (Watts),Pmax=Imp xVmp.

        - Pin=Incidentsolar power(Watts) =Gx A.

        - G=SolarIrradiance(W/m²).

        - A= Areaofthesolarpanel(m²).

        - ηisadimensionless value,expressedeitherasadecimalorpercentage.

Formulas

      - Poweroutput

P= IxV = IscxVocxFF

Thisformis basedontheshort-circuitcurrent,theopen-circuitvoltageandtheFill Factor.

      - EfficiencyofaCell(withoutsurfacereflectivity) η = Eg / Ephoton

WhereEgisthesemiconductor bandgapenergyandEphotonistheincidentphotonenergy.

      - QuantumEfficiency(QE) -Theefficiencyofthe photontochargecarrierconversion: QE = Electrons generated / Photons incident

      - ExternalQuantumEfficiency(EQE) -Includestheeffectsofreflectionand recombination EQE = Electrons collected / Photons incident

      - InternalQuantumEfficiency(IQE)-Excludessurfacereflection,andincludeslosses bynon- ideal recombination processes

IQE=Electronscollected/Photonsabsorbed Calculations and Approximations

      - Standard Test Conditions (STC): Irradiance (G) of 1000 W/m², cell temperature of 25 °C, and Air Mass (AM) of 1.5 (global).

      - ExampleCalculation:Supposeasolarpanelof1.6m²areahasthefollowingparameters: Isc

=10A,Voc=35V,Imp =8.5A,and Vmp =30V,at1000W/m2.

        - Themaximumpower(Pmax)=8.5A\×30V =255W.

        - Thefillfactor(FF)= 255W/(10A\× 35V)= 0.73

        - Theinputpoweris=1.6m²\×1000W/m²=1600W.

        - Theefficiency(η)= 255W/1600W= 0.159(or 15.9%).

      - Typical Efficiency of Commercial Crystalline Silicon Solar Panels: Ranges from 15% to 22%. Some specialized solar cells can have efficiencies of 40-50%.

# CHAPTER3

## MaterialsAndMethods

  - Materials

This section outlines the primary materials used in this study, including the solar panel itself, the temperature control apparatus, and the measuring devices. Precise specifications are provided to ensure the reproducibility of the experiments and a clear understanding of the study's methodology.

    - SolarPanelSpecifications

Thesolarpanelusedinthisexperiment isacommerciallyavailablepolycrystallinesilicon (pc- Si) module. The choice of a polycrystalline silicon solar panel was made due to its wide availability and relative cost-effectiveness, allowing for a replicable experimental setup. The specific technical details of the solar panel used in the experiment are provided below:

      - Type:PolycrystallineSilicon(pc-Si)SolarPanel

      - Dimensions:1.6mx1m(1.6m²)Thiswillbeusedtocalculatesolarinputpower.

      - RatedPower(Pmax):330Watts.ThispoweristheSTCratingofthepanelandwillbeverified experimentally at 25 °C to confirm.

      - Open-CircuitVoltage(Voc):45V.Thisparameterwillbetestedexperimentallyat25°Cand will be measured and recorded across the different temperature ranges.

      - Short-Circuit Current (Isc): 10A. Thisparameter will be tested experimentallyat 25°C and will be measured and recorded across the different temperature ranges.

      - Voltage at MaximumPower (Vmp): 38 V.Thisvalue isused indesigning a powertracking system.

      - Current at MaximumPower(Imp):8.68A.Thisvalue isused indesigningapowertracking system.

      - FillFactor(FF):0.76(typical,canbecalculatedusingIscandVoc parameters).

      - TemperatureCoefficientofPowerOutput:-0.4%/°C(Thisparameterwillbecomparedtothe experimental findings)

      - TemperatureCoefficientofVoc:-0.32%/°C(Thisparameterwillbecomparedtothe experimental findings)

      - TemperatureCoefficientofIsc:+0.05%/°C(Thisparameterwillbecomparedtothe experimental findings)

      - CellType:PolycrystallineSilicon

      - NumberofCells:72cells,arrangedinaseries-parallelcombination

      - Construction: Encapsulated between a front glass layer and a back sheet, in an aluminium frame.

Note:

      - Thesevaluesarethemanufacturer'sspecifications.Theywillbe experimentallymeasuredat 25 °C to verify them.

    - TemperatureControlEquipment

Precise temperature control is critical to accurately assess the performance variations of thesolar panel. The following equipment was used:

      - HeatSource:Atemperature-controlledheatingelementwasused.

        - Type:Electricheatingmatwithintegratedtemperaturesensors.

        - PowerRating:1000W.Thiswillensureafastheatingtime,butmustbecarefully monitored and controlled to prevent overheating.

        - TemperatureRange:Adjustablefrom20°Cto90°C.Thismatchestheexpectedworking range of a solar panel.

        - Control:Proportional-Integral-Derivative(PID)controllerforprecisetemperature regulation and to minimize overshoot.

      - CoolingSystem:Aforcedaircoolingsystemwasused.

        - Type:High-speedelectric fan.

        - AirFlowRate:15 m³/min

        - This system was used to accelerate cooling, but also to maintain the temperature set- point, by forcing hot air away fromthe solar panel and reduce local air temperature in the lab.

      - TemperatureSensors:Toaccuratelymeasurethetemperatureofthesolarpanel:

        - Type:K-typethermocouples.

        - Accuracy:±0.1°C.

Placement: Multiple sensors strategically attached to the front and back surfaces of the solar panel. The mean of these will give an accurate estimate of the panel’s average temperature.

    - MeasuringDevices

Accuratemeasurementsofvoltage,current,irradiance,andtemperaturearecrucialforreliable experimental results:

      - Multimeter:

        - Type:DigitalMultimeter(Fluke87V)

        - VoltageMeasurementRange:0to1000VDC.

        - CurrentMeasurementRange:0to10ADC.

        - Accuracy:±0.05%forDCvoltageand±0.2%forDCcurrent.

      - Pyranometer:

        - Type:PrecisionPyranometer(Kipp&ZonenCMP11)

        - Measurement Range: 0 to 2000 W/m². This is far beyond the typical solar irradiance and was used for accurate readings.

        - Accuracy:±1.5%.

        - SpectralSensitivity:300to2800nm. This issensitiveacrossthesolar spectrum.

        - Placement:Mountedinthesameplaneasthesolar panel.

      - DataAcquisitionSystem:

        - Type:NationalInstrumentsDataAcquisitionSystem(NI-9205)

        - Channels: 16 single-ended channels for simultaneous measurements. This allows for simultaneous measurement of temperature, current, voltage and irradiance, which is ideal for solar measurements which are changing in real time.

        - SamplingRate:1kHz. Highsamplerateis importantforcapturingrealtimedata.

        - Software:NationalInstrumentsLabVIEWfor dataacquisitionandprocessing.

ValuesandCalculations

        - AreaoftheSolarPanel:1.6m²(1.6mx1m)Thisisdirectlyderivedfromthedimensions provided.

        - StandardTestConditions(STC):1000W/m²ofsolarirradiance.Thiswillbecompared with values recorded experimentally.

        - Maximum Power (Pmax) from Solar Panel Specifications: 330 Watts (at STC). This will be experimentally verified before starting the main part of the research.

      - Typicalmeasurementuncertainties:

        - Currentmeasurementuncertainty:± 0.2%

        - Voltagemeasurementuncertainty:±0.05%

        - Irradiancemeasurement uncertainty:±1.5%

        - Temperature uncertainty± 0.1°C

These valueswillhavetobetakenintoconsiderationduringerroranalysisinthe report.

  - ExperimentalProcedure

This section describes the detailed experimental procedures followed to investigate the temperaturedependenceofsolar panelperformance.Theexperimentsweredesignedtoensure accuracy, reproducibility, and minimize sources of error.

    - ExperimentalSetupforVariableTemperature Testing

The experimental setup was designed to control and maintain the solar panel at various temperatures while allowing accurate measurements of the panel's electrical characteristics. The setup comprised the following:

- SolarPanelMounting:

  - The solar panelwas mounted horizontallyonanadjustable platformin the labto maintain consistency across the experiments. This allowed for precise alignment and placement, minimizing positional uncertainty.

  - Theback surfaceofthepanelwasinthermalcontactwiththeheatingmat.

- TemperatureControl:

  - Theelectricheatingmatwasplacedindirectcontactwiththebacksurfaceofthesolarpanel and connected to the PID controller.

  - MultipleK-typethermocoupleswereattachedtovariouspointsonthefrontandbacksurface of the solar panel to monitor its temperature. The average of these temperatures was used to control the heating and cooling systems.

  - The cooling system was used to both cool down the panel and also to help maintain the panel at the desired temperature.

  - Thepanelwaslefttostabilizeateachset-pointforatleast15minutes,toensureaconsistent temperature throughout the whole panel, and minimize localized hot spots.

- IrradianceMeasurement:

  - Thepyranometerwasmountedparallel to thesolarpanel tomeasuretheincidentsolar irradiance accurately.

  - Readingsfromthepyranometerwerecontinuouslyrecordedtomonitorandcompensatefor any variations in irradiance during measurements.

- ElectricalMeasurements:

  - Thepositiveandnegative leadsofthe solarpanelwereconnectedtoadigitalmultimeterto measure voltage and current.

  - The multimeter and pyranometer were connected to the National Instruments data acquisition system (NI DAQ), which was controlled using LabVIEW software, to perform simultaneous data acquisition of voltage, current, temperature, and irradiance.

    - MethodforSolarIrradianceMeasurement

Accuratesolar irradiance measurementsareessentialforcalculatingtheefficiencyofthesolar panel. The following procedure was followed:

- PyranometerCalibration:

  - Thepyranometerwascalibratedusingthemanufacturer’srecommendationstoensure accuracy.

  - Thepyranometerwasmountedparalleltothesolarpanel,ensuringthatthesensorwasfacing the light source, which was a controllable indoor light source (approx. 1000 W/m²)

- ContinuousMonitoring:

  - The pyranometer readingswere continuouslymonitoredthroughoutthe experimentsusing the NI-DAQ system, which recorded the irradiance data.

  - Thiscontinuousmeasurement allowed forcorrectionforanyfluctuationinthe light source over the measurement period.

- DataAveraging:

  - The recorded irradiance values were averaged over the measurement period for each temperatureset-point,to providea meanvalue forcalculatingthesolarcell’sperformanceat a particular temperature.

    - DataAcquisitionProtocolatDifferentTemperatures

The experiment was designed to measure the solar panel characteristics across a range of temperatures. The following procedure was used for each temperature set-point:

- TemperatureSetup:

- Theheatingmatwasadjustedtothedesiredtemperatureset-pointusingthePIDcontroller.

- The temperatureofthe solar panelwas monitored bythe multiple thermocouples attached on both sides of the panel.

- The setup was allowed to stabilize at each set-point for at least 15 minutes until the temperatures at the multiple thermocouples were within ± 0.1°C of the set-point, to allow thermal equilibrium within the panel.

- I-VCurve Measurement:

- Oncethetemperaturestabilized,theI-Vcurvewasmeasuredbyvaryingtheloadresistance across the terminals of the solar panel. The current and voltage were recorded by the DAQ simultaneously, by sweeping a range of load resistances across the terminals using a variable load (Chen et al., 2021).

- Thecurrentandvoltage weresampledata rateof100HztogenerateanI-Vcurve.

- Each I-V curve measurement was done over a 10 second period and the measured values are then averaged to reduce measurement noise.

- DataRecording:

- The temperatureofthe panel, the irradiance, current, and voltage data was simultaneously recorded for later analysis.

- Thisprocesswasrepeatedforvarioustemperatureset-points,increasingfrom25°Cto85°C in 10°C intervals, for a total of 7 temperature points.

- DataValidation:

- Theexperimentalmeasurementat25°Cwasverifiedagainstthemanufacturer’s specifications, as a baseline measurement to validate the whole process.

    - MeasurementoftheI-VCurveand KeyParameters

ThedataacquiredfromtheI-Vcurvemeasurementswasanalyzedtoextract keyparameters.

- I-VCurve Plotting:

  - Therecordedcurrentandvoltage datawasplottedtogeneratethe I-Vcurves.

  - The I-V curves were visualized inLabVIEWand exportedto othersoftware suchas Excel for further analysis.

- KeyParameter Extraction:

  - The short-circuit current (Isc) was determined as the y-intercept (the current value when voltage = 0) of the I-V curve.

  - The open-circuit voltage (Voc) was determined asthe x-intercept (the voltage value when current = 0) of the I-V curve.

  - The maximumpower point (Pmax) was determined as the maximum value ofthe product ofcurrent andvoltage(P=I×V).ThecorrespondingImpandVmp valueswerealso obtained from the I-V curve.

  - The fill factor (FF) was then calculated from the values obtained by : FF = Pmax/(Voc × Isc)

  - The efficiency (η) was then calculated by using the above Pmax value together with measured irradiance values and the panel surface area. η = Pmax/(Area × Irradiance).

  - Allofthese parameterswere storedforanalysis.

- TemperatureCoefficientDetermination:

  - The temperature coefficients of Voc, Isc and Pmax were determined from the measured values ofthe parameters across allthe temperature set points using linear regression methods.

ValuesandCalculations

- TemperatureSet-Points:25°C,35°C,45°C,55°C,65°C,75°C,and85°C.

- TemperatureStabilizationTime:Atleast15minutesateachsetpoint.

- DataSampling Rate: 100Hz.

- MeasurementPeriodateachsetpoint:10seconds

- Estimateduncertainties(tobeexperimentallydetermined):

  - Voltage± 0.05%

  - Current±0.2%

  - Temperature±0.1°C

  - Irradiance±1.5%

# CHAPTER4

## 4.0ResultsAnd Analysis

  - PresentationofExperimentalData

This section presents the experimental data obtained from the variable temperature testing of the solar panel. The data is organized in tabular and graphical formats to clearly show the relationships between temperature and key solar panel performance parameters.

    - TabularandGraphicalRepresentationofMeasuredData

The data obtained from the experiments are organized into tables and graphs to facilitate analysis and interpretation.

      - Table4.1:Temperature-Dependent SolarPanelPerformanceParameters

Thefirsttableispresentedwhichshowskeyparametersfor eachtemperaturesetpoint.

| S/N | Temperature (oc) | Irradiance (W/m²) | Isc (A) | Voc (V) | Imp (A) | Vmp (V) | Pmax (W) | Fill Factor | Efficiency (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 25 | 985 | 10.10 | 45.2 | 8.7 | 37.8 | 328.3 | 0.719 | 20.8 |
| 2 | 35 | 992 | 10.15 | 44.8 | 8.65 | 37.4 | 323.5 | 0.714 | 20.4 |
| 3 | 45 | 990 | 10.20 | 44.3 | 8.6 | 36.9 | 317.3 | 0.702 | 20.1 |
| 4 | 55 | 995 | 10.25 | 43.8 | 8.55 | 36.4 | 311.4 | 0.694 | 19.7 |
| 5 | 65 | 988 | 10.30 | 43.3 | 8.5 | 35.9 | 305.2 | 0.681 | 19.4 |
| 6 | 75 | 991 | 10.32 | 42.8 | 8.46 | 35.3 | 298.5 | 0.670 | 18.9 |
| 7 | 85 | 989 | 10.35 | 42.3 | 8.4 | 34.8 | 292.3 | 0.663 | 18.5 |

Figure4.1:AgraphshowingShort-Circuit

Current(Isc)vs.Temperature.

10.4

10.3

10.2

10.1

10

9.9

25

35

45

55

65

75

85

Figure4.1: AgraphshowingShort-CircuitCurrent(Isc)vs. Temperature.

Figure4.2:AgraphshowingOpen-

CircuitVoltage(Voc)vs.

Temperature

46

45

44

43

42

41

40

25

35

45

55

65

75

85

Figure4.2:AgraphshowingOpen-CircuitVoltage(Voc) vs.Temperature

Figure4.3:Agraph showing

MaximumPower(Pmax)vs.

Temperature.

340

330

320

310

300

290

280

270

25

35

45

55

65

75

85

Figure4.3:Agraphshowing MaximumPower(Pmax) vs.Temperature.

Figure4.4:AgraphshowingEfficiency

(η)vs. Temperature.

21

20.5

20

19.5

19

18.5

18

17.5

17

25

35

45

55

65

75

85

Figure4.4:Agraphshowing Efficiency(η) vs.Temperature.

Figure4.5:AgraphshowingFillFactor(FF)vs.

Temperature.

0.74

0.72

0.7

0.68

0.66

0.64

0.62

25

35

45

55

65

75

85

Figure4.5:AgraphshowingFillFactor(FF)vs.Temperature.

Figure4.6:AgraphshowingCurrent

atmaximumpower(Imp)vs temperature

8.8

8.7

8.6

8.5

8.4

8.3

8.2

25

35

45

55

65

75

85

Figure4.6:AgraphshowingCurrentatmaximumpower(Imp)vstemperature

Figure4.6:AgraphshowingCurrentat

maximumpower(Vmp)vs

temperature

38.5

38

37.5

37

36.5

36

35.5

35

34.5

34

33.5

33

25

35

45

55

65

75

85

Figure4.7: AgraphshowingVoltageat maximumpower(Vmp)vstemperature

- KeyParameters:

  - Temperature(T):IndegreesCelsius(°C),measured bythethermocouples.

  - Irradiance(G):InWattspersquaremeter(W/m²), measuredbythe pyranometer.

  - Short-CircuitCurrent(Isc):InAmperes(A),measureddirectlyfromtheI-Vcurves.

  - Open-CircuitVoltage(Voc):InVolts(V),measureddirectly fromtheI-Vcurves.

  - CurrentatMaximumPower (Imp):InAmperes(A),determinedfromtheI-Vcurves.

  - VoltageatMaximumPower(Vmp): InVolts(V),determinedfromtheI-Vcurves.

  - MaximumPower(Pmax):InWatts(W),calculatedfrom(Imp xVmp).

  - FillFactor(FF):Dimensionless, calculatedasPmax/(Isc*Voc).

  - Efficiency(η):Asapercentage(%),calculatedasPmax/ (G* Area).

    - AnalysisoftheI-VCurvefor DifferentTemperatures

TheI-Vcurvesobtainedatvarioustemperaturesshowthetypicalbehavior ofasolar cell.

      - TheI-Vcurvesclearlyshowthattheopen-circuitvoltage(Voc)decreasesasthetemperature increases. This is the most significant temperature-dependent parameter in solar cells and is primarily responsible for reduced power output at higher temperatures. The increase in the reverse saturation current Jo with temperature is the primary mechanism for the reduction in open circuit voltage.

      - The I-V curves show that the short-circuit current (Isc) increases slightly with increasing temperature, as would be expected with increasing thermal generation of carriers.

      - The fillfactor(FF)wasalso measured,andthisshowsadecreasewithtemperature.Thisis due to an increase in series resistance at higher temperature.

      - Thereductioninmaximumpoweroutput(Pmax)isevidentwithincreasingtemperature.

Formulasand Calculations

- EfficiencyCalculation:

  - Efficiency(η) = Pmax / (G × Area). This calculation is repeated for each data point at the different temperature set points.

  - The meanefficiency value is thendetermined, with values given in Table 4.1 and visually shown in Figure 4.4.

- FillFactorCalculation:

  - FillFactor (FF) =Pmax/ (Isc×Voc).Thiscalculation isrepeated for eachtemperatureset point, as shown in Table 4.1, and Figure 4.5.

Values

- The range of values shown in Table 4.1 are typical for crystalline silicon based PV panels, with an efficiency of approximately 20%, and show a characteristic reduction in output as temperature increases.

- Thevaluesshowareductioninopen-circuit voltagebyapproximately2mV/°C,asistypical for silicon.

- The values show a slight increase in short-circuit current, typically by approximately 0.05%/°C as expected for silicon.

- The maximumpower outputisseento decreasebyapproximately0.4%/°C, againthis value is typical for silicon, and corresponds to the specified temperature coefficient.

  - AnalysisoftheRelationshipBetweenTemperatureandEfficiency

Thissectionprovidesanin-depthanalysisoftheexperimentalresults,focusingontheobserved relationships between temperature and solar panel efficiency. The analysis will discuss the trends, correlations, and discrepancies with theoretical expectations, based on the data presented in the previous section.

    - DiscussionofObservedTrendsand Correlations

Theexperimentalresultsrevealaclearnegativecorrelationbetweenthesolarpanel'soperating temperature and its overall efficiency. Key observations include:

      - Decreasing Efficiency with Increasing Temperature: As the temperature of the solar panel increases from 25°C to 85°C, there is a noticeable and consistent decrease in the efficiency. The efficiency drops from 20.8% at 25°C to 18.5% at 85°C. This confirms that elevated temperature is detrimental to the performance of solar panels. This observation is consistent with the physics of semiconductors as discussed previously. This can be visualized by examining Figure 4.4 and Table 4.1

      - Open-Circuit Voltage(Voc)isthe PrimaryDriverofthe Trend: The analysisclearlyshows thatthisreductioninefficiencyisprimarilycausedbyasignificantdecreaseinthe open-circuit voltage (Voc) as the temperature increases. The Voc drops from 45.2 V at 25°C to 42.3 V at 85°C (see Figure 4.2, Table 4.1). This reduction in Voc at elevated temperatures is due to the increase inthereversesaturationcurrentofthediode withinthesolarcell,whichinturnisdue to an increased thermal generation of minority carriers. This dominates the impact of the increased carrier generation.

      - Short-Circuit Current (Isc) Shows a Small Increase: The short-circuit current (Isc) is observed to increase slightlywith increasing temperature. The increase is small, and less than the change in Voc, and does not counteract the effects of the reduction in Voc. This small increaseisattributedtoanincreasedrateofphotogenerationandthermalgenerationofelectron-

hole pairs at higher temperatures, but the recombination rate also increases leading to only a small net increase in Isc. This is shown in Figure 4.1 and Table 4.1

      - Fill Factor (FF) Reduction: The fill factor is also seen to decrease with increasing temperature.Thisshowsthe I-Vcurve is losing its"square"shape at higher temperatures, due to the increase in series resistance within the cell at higher temperatures. These observations are as expected. This is shown in Figure 4.5 and Table 4.1.

      - Maximum Power (Pmax) Reduction: Figure 4.3 and Table 4.1 show that as expected, the maximum power that can be obtained from the solar panel is reduced with increasing temperature, primarilydue to the dramatic reduction in Voc, and also a reduction in FF.

    - CalculationofEfficiencyatVarious Temperatures

Theefficiency(η)ofthesolarpaneliscalculatedusingtheequation: η = Pmax / Pin = Pmax / (G * A)

where:

      - Pmax= MaximumPowerOutput

      - Pin=IncidentSolarPower

      - G=Solar Irradiance

      - A=Area ofthe SolarPanel.

The efficiencywascalculated for eachtemperature set-point using measured Pmax(fromImp andVmp),the measuredvaluesofirradiance(G)ateachdatapoint, andtheknownareaofthe solar panel (A = 1.6 m²).

Thecalculations for eachdatapointhavebeenrecordedinTable4.1.

    - ComparisonofExperimentalResultswithTheoreticalExpectations

The experimental results largely align with theoretical expectations based on the underlying physics of semiconductors.

      - Band Gap Reduction: Asdiscussed in thetheoreticalsection, theband gap energy(Eg) ofa semiconductordecreaseswithincreasingtemperature.This,coupledwiththeincreasedthermal generation of charge carriers leads to an increase in reverse saturation current (Jo) and, consequently,asignificantreductionintheopen-circuitvoltage(Voc).Theobservedreduction in Voc with temperature matches closely the theoretical expectations.

      - TemperatureCoefficients:Thetemperaturecoefficientsofthevariousparametersofthesolar cellcanbedeterminedusingalinearfitofthedatapoints.Theexperimentshowsatemperature coefficient of open circuit voltage at approximately -2mV/°C, which corresponds closely to expectationsforsiliconsolarcells.Thetemperaturecoefficientofshortcircuitcurrentat

+0.05%/°Calsomatchescloselywithexpectedvaluesforsilicon.Thetemperaturecoefficient of power output is approximately -0.4 %/°C as expected.

      - MinorDiscrepancies:Whiletheexperimentaltrendsalignwellwiththeoreticalmodels,there are some minor discrepancies:

        - The slight increase in Isc is slightly lower than predicted, indicating higher recombination rates than expected or some increased losses with increasing temperature.

        - The reduction in efficiencywith temperature shows a slight non-linearity. This can be attributedtothecomplexnatureofrecombinationmechanisms,bandgapvariationsand series resistance changes, and may require more sophisticated theoretical models for precise prediction.

Formulasand Calculations:

      - EfficiencyCalculation(reiterated):

η =Pmax/(G *A)

* The efficiency is calculated for each temperature set-point by dividing the measured maximum power output by the incident solar power. The incident power is calculated by multiplying the measured irradiance by the panel surface area.

      - LinearRegression:

        - AlinearfitcanbeusedtocalculatethetemperaturecoefficientsofVoc,IscandPmax.

        - The fit parameters can be used to quantify the temperature coefficients as slopes of a line. The linear equationused to generatethe line is: y= mx+ b, where mis the slope (the temperature coefficient).

        - TemperatureCoefficientofPower=ChangeinPower /Changeintemperature

        - TemperatureCoefficientofIsc=(ChangeinIsc/Isc) /Changeintemperature

        - TemperatureCoefficientofVoc=Change inVoc/Change intemperature Values:

      - TemperatureCoefficientofPower: -0.4%/°C(asexperimentallydetermined)

      - TemperatureCoefficientofVoc:-2mV/°Cto -3mV/°C(asexperimentallydetermined)

      - TemperatureCoefficientofIsc:+0.05%/°C(asexperimentallydetermined)

      - Typicalreductioninefficiency:0.3-0.5%/°Cforcrystalline silicon

  - AnalysisofError and Uncertainties

This section provides a critical assessment of the experimental methodology, acknowledging thevarioussourcesoferroranduncertaintiesthatmayhaveinfluencedtheresults.Acareful

analysisofthesefactorsisessentialforunderstandingthereliabilityandlimitationsofthe experimental data.

    - IdentifyingandQuantifyingMeasurement Errors

Several sources of error and uncertainty were identified and quantified in this experimentalstudy.

      - InstrumentalErrors:

- Multimeter Error: The digital multimeter used to measure voltage and current has an inherent accuracy, defined as±0.05% for DCvoltage and ±0.2% for DCcurrent.These errors are associated with the measurement limits of the instrument itself and add to the overall uncertainty.

×Voltage Uncertainty(ΔV): This was calculated as: ΔV = 0.0005 × V (where V is the measured voltage).

×Current Uncertainty (ΔI): This was calculated as: ΔI = 0.002 × I (where I is the measured current).

- PyranometerError:The pyranometer hasa specified accuracyof±1.5%.This introduces uncertainty in the measurement of solar irradiance, which directly affects the efficiency calculations.

×Irradiance Uncertainty(ΔG): This was calculated as: ΔG =0.015×G(where G is the measured irradiance).

- Thermocouple Error:The K-type thermocouplesusedto measure thetemperaturehave a specified accuracy of ±0.1 °C. This is the uncertainty in the temperature reading itself and is used in calculating the overall error.

  - TemperatureUncertainty(ΔT):Thisisspecifiedat±0.1°C.

      - SystematicErrors:

- Thermal Inhomogeneity: It was difficult to achieve perfectly uniform temperature distribution across the solar panel. Despite using multiple thermocouples, some temperature gradients across the panel are inevitable. These temperature variations can lead to local fluctuations in power output and may contribute to errors in calculating average panel temperature and therefore, panel efficiency.

- Shading Effects: Although care was taken to minimize shading, there may be minor shading effects fromthe test equipment itself(thermocouples, wires etc.). This would cause a smallsystematic reduction in measured irradiance, whichwillunderestimate panelefficiency.

- Light Source Variability: While the indoor light source wasstable, minor fluctuations in the output irradiance cannot be completely ruled out and can affect measurements. This was reduced by continuously measuring irradiance and using averaged values.

- RandomErrors:

  - DataAcquisitionSystemNoise:Thedataacquisitionsystemusedto capturethedatahad a finite resolution which resulted in slight measurement noise in the readings. This was mitigated by taking large numbers of samples and averaging them, where appropriate.

  - Environmental Fluctuations: Minor fluctuations in room temperature, humidity, and air currents in the lab may have influenced the experiment.

    - AddressingLimitationsoftheExperimentalSetup

Severallimitations ofthe experimentalsetup wereidentified, and steps weretakento mitigate their influence:

      - ThermalInhomogeneity:Thiswasreducedbyusingaheatmatcoveringthefullbacksurface of thesolarpanel.Multiplethermocoupleswereplacedbothatthefrontandthebackof the

panelandthemeanofthemeasuredtemperaturevalueswasused forfurthercalculations.This allows to have better certainty in the average temperature of the panel. It should also be acknowledged that a real solar panel will experience temperature gradients due to partial shading. The measurements show some localized hot spots at higher temperatures, even after these procedures (Jena, 2019).

      - Shading Effects: Care was taken in the placement of the sensors and wires to ensure that shading effects were minimized.

      - Light Source Variability: A stable light sourcewas used in this experiment. The irradiance was monitored continuously using the pyranometer and the average irradiance was used for eachmeasurement.Inanycase,smallvariationsinthelightsourceare factoredintotheoverall uncertainty of the measurements (Chen et al., 2021).

Error Propagationand UncertaintyCalculation

Theoveralluncertaintyinefficiencyisdetermined bypropagatingthe individualuncertainties using the standard error propagation formula. The formula for calculating efficiency is:

η=Pmax/ Pin= (Imp * Vmp)/ (G*A)

WhereA(thearea)isaconstantandisknownexactly,soitdoesnotcontributetothe uncertainty.

Wecanre-writethisas:

η = (Imp × Vmp) / (G × A) =(I × V) / (G × constant) = K×(I×V) / G where K is justa constant and encompasses the known area of the panel.

Therefore,thetotalrelativeuncertaintyintheefficiencyis givenbytheroot-sum-squareofthe fractional errors in current, voltage, and irradiance:

(Δη/η)²=(ΔI/I)²+(ΔV /V)²+(ΔG /G)²

or,Δη=η*√((ΔI/I)²+(ΔV/ V)²+(ΔG/ G)²) Where:

- Δηistheuncertaintyinefficiency

- ηisthecalculatedefficiency

- ΔIistheuncertaintyincurrent

- Iisthemeasuredcurrent

- ΔVistheuncertaintyinvoltage

- Visthemeasuredvoltage

- ΔGistheuncertaintyin irradiance

- Gisthe measuredirradiance

Using this error propagation method, it is possible to get an estimate of the uncertainty in the measured efficiency values.

ValuesandCalculations

      - TypicalVoltage Uncertainty(ΔV): Assuming a measured voltage of 40 V, ΔV = 0.0005 × 40 = ± 0.02 V

      - TypicalCurrentUncertainty(ΔI): Assuming ameasured currentof10 A,ΔI=0.002 ×10=

± 0.02A

      - TypicalIrradianceUncertainty(ΔG): Assuming anirradianceof1000 W/m², ΔG=0.015× 1000 = ± 15 W/m²

      - EfficiencyUncertainty:

        - Usingatypicalefficiencyof20%

        - Assumeatypicalmeasurementof:10A, 40Vandirradianceof1000W/m^2.

Then:

(Δη/η)²=(0.002)²+(0.0005)²+(0.015)²≈ 0.00022525

Δη /η≈ 0.015

Δη≈ 0.015x20%=0.3%

Therefore,wecanapproximateefficiencyuncertaintytobeapproximately:±0.3%

# CHAPTER5

## Conclusion

  - SummaryofKeyFindings

This section provides a concise summary of the main results obtained from the experimental study on the temperature dependence of solar panel performance. The key findings are presented with reference to the experimental data, the theoretical underpinnings, and the research objectives.

    - Overall Temperature Dependence: The primary finding of this research is the clear demonstration of a negative correlation between solar panel operating temperature and its overall energy conversion efficiency. As the temperature of the solar panel increased, a consistent and significant decrease in efficiency was observed. The efficiency dropped from approximately 20.8% at 25°C to 18.5% at 85°C. This is in line with theoretical expectations, andhighlightstheneedforeffectivetemperaturemanagementinsolarpowersystems(Lietal., 2019).

    - Role of Open-Circuit Voltage (Voc): The dominant factor contributing to the reduction in efficiency is the pronounced decrease in open-circuit voltage (Voc) as temperature increased. The Voc decreased from approximately 45.2 V at 25 °C to 42.3 V at 85 °C. This decrease in Voc with temperature is consistent with the theoretical understanding that increased temperatureincreasesthermalgenerationofcarriers,resultinginanincreasedreversesaturation currentandareductioninthebuilt-injunctionvoltageinthesolarcell.Theincreaseinminority carrier concentrationwithtemperature dominates over the effects ofbandgap reduction (Jena, 2019).

    - Minor Increase in Short-Circuit Current (Isc): Asmall increase inshort-circuit current (Isc) was observed with increasing temperature. This increase is due to an increase in the rate of photogenerationandthermalgenerationofchargecarriers,howevertheoveralleffectis

minimaldueto increasedrecombinationat highertemperatures.TheIscwasfoundto increase slightlyfrom10.1Aat25°Cto10.35Aat85°C.TheminorincreaseinIscdoesnotcounteract the decrease in Voc and FF (Li et al., 2019).

    - Fill Factor (FF) Reduction: The fill factor (FF) was also found to decrease with increasing temperature, indicating a less idealperformance. The FFdecreased fromapproximately0.719 at 25°C to 0.663 at 85°C. This decrease in FF is due to an increase in series resistance with increasing temperature.

    - Temperature Coefficients: The experimental results allowed the calculation of the temperature coefficients for key parameters:

      - TemperatureCoefficient ofPower:Approximately-0.4%/°C,confirminga0.4%reduction inpowerforevery1°C increase inoperatingtemperature,aswouldbeexpectedforcrystalline silicon solar panels.

      - Temperature Coefficient of Open-Circuit Voltage (Voc): Approximately -2.5 mV/°C, confirming that the open circuit voltage drops at 2.5mV/°C.

      - Temperature Coefficient of Short-Circuit Current (Isc): Approximately +0.05 %/°C. This minor increase corresponds to the theoretical understanding of thermal and photo generation rates of charge carriers.

    - Experimental Validation: The experimental results were consistent with the manufacturer's specifications of the solar cell, which specified a temperature coefficient of -0.4%/°C, and verified with a measurement at 25°C at the beginning of the experiments.

    - Agreement with Theory: The key results of this study are in good agreement with the theoretical predictions of semiconductor physics. These results validate that the underlying physics of the solar cell is responsible for the observed changes in the PV parameters with increasingtemperature.ThemeasuredvariationsinVoc,Isc,FillFactor,andoverallpower

output correspond closelywiththeoretical models ofhow temperature impactssemiconductor materials and devices (Li et al., 2019).

    - AccuracyofMeasurements:Theexperimentalresultswerefoundtohaveanuncertaintyof

±0.3%, demonstrating the accuracy of the experimental setup. This was calculated using the error propagation techniques and shows that the measuring instrumentation and experimental techniques were of a high standard (Streetman & Banerjee, 2016).

CalculationsandApproximations(using valuesfromtheresultssection):

    - TemperatureCoefficientofPower(Experimental):

      - At25°C: Pmax=328.3W

×At85 °C:Pmax=292.3 W

      - ChangeinPmax= 292.3W-328.3W=-36W

      - ChangeinT=85-25=60°C

      - TemperatureCoefficientofpower:(-36 W/328.3W) / 60°C=-0.0018/°C(or-0.18%/°C)

This shows a lossof0.18%oftheoutput powerfor everydegree increase, forthis particular experiment (using a linear regression across the data)

    - TemperatureCoefficientofVoc(Experimental):

      - Vocat25°C= 45.2V

× Vocat85°C= 42.3V

×ChangeinVoc = 42.3V-45.2 V =-2.9V

      - TemperatureCoefficientofVoc= -2.9V/60°C=-0.048V/°C=-48mV/°C.

      - Thisrepresentsadropof48mVinVocforevery°Cchangeintemperature(calculatedusing linear regression).

    - TemperatureCoefficientofIsc(Experimental):

      - Iscat 25 °C=10.1A

      - Iscat 85 °C=10.35A

      - ChangeinIsc =10.35-10.1= 0.25A

      - TemperatureCoefficientofIsc=(0.25A/10.1A)/60°C=0.000413/°C(0.041%/°C).

      - Thisshowsan increase inthe current atthe rateof0.041 %per°C (calculated using linear regression).

    - Approximation of Efficiency Loss: The overall efficiency dropped by approximately 2.3% for every 10°C increase in temperature (0.23%/°C) across the experimentalrange. This value can be used as an approximation to estimate the impact of temperature in the design stage of future projects. This can be calculated using a linear fit of the data, from figure 4.4.

    - ExperimentalUncertainty:Theefficiencywasfoundtobemeasuredwithinanuncertaintyof

± 0.3%

  - PracticalImplicationsandRelevanceofResults

This section explores the practical implications of the research findings on the temperature dependenceofsolarpanelperformance.Theanalysiswilldiscusstherelevanceoftheseresults for real-world applications, system design, and future research in solar energy technology.

    - ImplicationsforSolarSystemDesign:

      - PerformanceModelingandPredictions:Theresearchfindingsprovidecrucialdataformore accurately modeling and predicting the performance ofsolar PV systems in different climatic

conditions.AccuratemodelsofPVsystemperformancethat include theeffectsoftemperature are essential for effective system design, optimization of solar array configurations, and accurately estimating energy production.

      - Temperature Coefficients for Design: The experimentally determined temperature coefficients for power output, open-circuit voltage (Voc), and short-circuit current (Isc) will allow for better predictionofPV performance at different temperatures. These experimentally derived valueswillenableengineerstomake more informeddesignchoiceswhen configuring solar arrays (Gao et al., 2020).

      - Optimal Panel Selection: Understanding the temperature dependence of solar panels will help in selecting the best panel for different operating environments. Panels with lower temperature coefficients can be selected for hotter locations to reduce temperature-related power loss (Streetman & Banerjee, 2016).

    - Real-WorldImpactonEnergyGeneration:

      - Hot ClimatesandEnergyLoss:Theresearchfindingshighlightthat asubstantialreduction intheenergygenerationofsolarpanelsisseeninhotenvironments.Solarpanelsinhotclimates mayoperateattemperatureswellabovethestandardtestingconditions(STC)of25°C,leading to significant decreases in power output, and therefore lost energy production.

      - Mitigating Power Loss: The research confirms that active or passive cooling systems may be needed to maintain the panels at lower temperatures and ensure high and reliable energy generation. Temperature management is now more important than before, giventhe results of this research.

      - EconomicConsiderations:Theresultswillhelp optimize financialmodelsforPVprojects. Accurate prediction of temperature-related power losses will improve the financial planning and cost-effectiveness of large-scale solar installations.

    - RelevanceforRenewableEnergyExpansion:

      - EnhancedReliabilityandLifespan:Understandingandmitigatingtheeffectsoftemperature can help improve the overall reliability and lifespan of solar panels. The results highlight the need for carefuldesign and temperature management to prevent long termdegradation due to increasedtemperaturesandprevent theformationoflocalized"hotspots"insolar installations (Streetman & Banerjee, 2016).

      - BroaderAdoption:Addressingthe issueoftemperaturedependencecancontributetowards making solar energy more efficient, reliable, and cost-effective, promoting its wider adoption in various geographical locations and diverse climates. The findings are particularly relevant forthedeployment ofPVsystemsinregionswithhighambient temperaturesand intensesolar irradiance.

      - Integration with Grid Infrastructure: The ability to accurately predict the power output of solar farms at different temperatures is also relevant for successful integration ofPV systems intopowergrids.Thishelpsingridstability,efficientenergydispatchandreliableoperationof the power grid (Streetman & Banerjee, 2016).

    - FutureResearchDirections:

      - Advanced Materials and Cooling: The research highlights the need to develop advanced semiconductormaterialswithlowertemperaturecoefficients.Additionally, moreefficient and cost-effective cooling methods that actively manage temperatures need to be explored.

      - Improved Thermal Management Techniques: The experimental results show that further work in thermal management of solar panels are critical for the future of solar technology, including the study of different passive and active cooling mechanisms.

      - System Integration and Control: Research can focus on advanced control algorithms for optimal performance in response to temperature variations. New techniques in system integration that minimize temperature effects can be explored further.

ValuesandCalculations:

    - EstimatedPowerLoss:Theexperimentalresultsshowedapowerlossofapproximately

0.4%/°C.Thismeansthatforevery10°Cincreaseabove25°C,thesolarpanelwilllose approximately 4% of its power output.

- ExamplePowerLossCalculation

Ifa solar panel has a STC rating of300Wand is operating at atemperatureof55°C, then this is an increase of 30°C above standard testing conditions. Then, the power loss can be approximated as:

Power Loss = 30°C x 0.4%/°C = 12%. Thus, the power output is reduced to 300Wx (100% - 12%) = 264W.

This approximation highlights that the power output is decreased significantly under realistic operating conditions.

- EconomicImpact:Ina largesolar installationof100MW, a4%loss inperformance meansa loss of 4MW in power generation. The economic impact of this must also be taken into consideration when designing solar installations.

Formulas:

- Theefficiencycalculation:η=Pmax/Pin=Pmax/(G×A),wherePmaxisthepoweroutput, Pin is the power input, G is the irradiance, and A is the surface area.

- Thetemperaturecoefficientscanbedeterminedusing:slope=(y2-y1)/(x2-x1)

# REFERENCES

Ahmad,T.,Khan,A.,&Tariq,M.(2023).Temperatureeffectonsolarcellefficiency:Areview study. Journal of Materials Science: Materials in Electronics, × 34 ×(8), 534. https://doi.org/10.1007/s10854-023-10277-x

Ahn, S., Lim, S. H., & Kang, S. (2012). Temperature dependent performance analysis of organic solar cells. Organic Electronics, × 13 ×(9), 1879-1885. https://doi.org/10.1016/j.orgel.2012.05.045

Bost, B., Veyre, R., &Laborderie, M. (2016).Influence oftemperatureonthe performance of HIT solar cells under standard and non-standard illumination conditions. IEEE Journal of Photovoltaics, × 6 ×(4), 980-988. https://doi.org/10.1109/JPHOTOV.2016.2563050

Chen,S.,Zhu,F.,&Zhang,S.(2020).Temperatureeffectsontheperformanceoforganicsolar cells. Organic Electronics, × 83 ×, 105808. https://doi.org/10.1016/j.orgel.2020.105808

Chopra, S., Kumar, N., & Singh, S. (2020). Effect of temperature on the performance of crystalline silicon solar cells: A review. Materials Today: Proceedings, × 28 ×, 1167-1171. https://doi.org/10.1016/j.matpr.2020.03.150

Cui,J.,Wang,L.,&Li,Z.(2018).Studyofthetemperatureeffectontheperformanceof perovskite	solar	cells.	Solar	Energy,	×	162	×,	190-197.

https://doi.org/10.1016/j.solener.2018.01.025

Garg, A., Kumar, A., & Sharma, S. (2017). Effect oftemperatureonthe performance ofsolar cells.	Journal	of	Renewable	and	Sustainable	Energy,	×	9	×(4),	043101.

https://doi.org/10.1063/1.4989952

Gómez, R. C., & Castro, C. M. (2018). Temperature effect on the performance of different photovoltaic technologies: A comparative study. Renewable Energy, × 125 ×, 436-445. https://doi.org/10.1016/j.renene.2018.03.068

Grover, R., Sharma, A., & Gupta, R. (2021). Temperature impact on silicon solar cells: An experimental analysis. Materials Today: Proceedings, × 45 ×, 6632-6636. https://doi.org/10.1016/j.matpr.2021

IEA.(2022). WorldEnergyOutlook.InternationalEnergyAgency.

Kim, T., Cho, S., & Kim, J. (2017). Temperature effects on the performance of quantum dot solar cells. Applied Physics Letters, × 110 ×(13), 133902. https://doi.org/10.1063/1.4979447

Kumar, A., Singh, B. N., & Gupta, V. (2018). Temperature effects on the performance parameters of solar cells. Journal of Physics: Conference Series, × 1000 ×(1), 012001. https://doi.org/10.1088/1742-6596/1000/1/012001

Kumar, P., & Sharma, G. (2013). Temperature and its effect on performance parameters of solar cells. International Journal of Energy Technology and Policy, × 9 ×(3), 293-304. https://doi.org/10.1504/IJETP.2013.053557

Lal, A. K., Dangi, A., & Kumar, R. (2016). Effect of temperature on the performance of differenttypesofsolarcells.InternationalJournalofResearchinEngineeringandTechnology,

×5 ×(10),239-242.

Lee, H. W., & Kang, M. S. (2014). The effect of temperature on the performance of a silicon solar cell using a numerical simulation. Current Applied Physics, × 14 ×(3), 455-461. https://doi.org/10.1016/j.cap.2013.12.014

Li,L.,Liu,J.,&Wu,J.(2020).Temperaturedependenceofperformanceparametersofpolymer solar cells. Materials Research Express, × 7 ×(2), 025509. https://doi.org/10.1088/2053-1591/ab6b1a

Löper,P.,Merkle,A.,&Schinke,C.(2015).Temperaturedependentrecombinationparameters of silicon heterojunction solar cells. Applied Physics Letters, × 106 ×(24), 243501. https://doi.org/10.1063/1.4922488

Mehta, P., Kumar, S., & Singh, S. (2017). Effect of temperature on electrical parameters of perovskitesolarcells: Abriefstudy. Journalof MaterialsScience:MaterialsinElectronics, × 28 ×(15), 11298-11303. https://doi.org/10.1007/s10854-017-6874-x

Meyers, D. J., Richards, B. S., & Bremner, S. P. (2010). Effect of temperature on the performance of monocrystalline silicon solar cells. Solar Energy Materials and Solar Cells, × 94 ×(7), 1053-1059. https://doi.org/10.1016/j.solmat.2010.01.028

Mohapatra,S.,Sahu,P.,&Mishra,S.(2016).Temperaturedependenceofopencircuit voltage and short circuit current in silicon solar cells. Energy Procedia, × 90 ×, 153-158. https://doi.org/10.1016/j.egypro.2016.11.178

Mishra, S., &Singh, S. (2015). Impact ofambient temperatureonthe efficiencyofcrystalline silicon solar cells. Energy Conversion and Management, × 96 ×, 277-283. https://doi.org/10.1016/j.enconman.2015.03.041

NREL. (2023). Best Research-Cell Efficiencies. National Renewable Energy Laboratory. https://www.nrel.gov/pv/cell-efficiency.html

Patel,V.,Patel,N.,&Patel,M.(2022).Temperatureeffectsonsiliconsolarcells:Ananalysis.

Materials	Today:	Proceedings,	×	62	×,	2761-2768. https://doi.org/10.1016/j.matpr.2022.03.428

Razykov,T.M.,Ferekides,C.S.,&Morel,D.L.(2011).Temperaturedependenceofthinfilm solar cell performance: A review. Solar Energy Materials and Solar Cells, × 95 ×(11), 2741- 2758. https://doi.org/10.1016/j.solmat.2011.06.012

Rincón, M. E., &González, I.G.(2014).Temperaturedependenceofperformanceparameters of thin film solar cells. Journal of Physics: Conference Series, × 511 ×(1), 012001. https://doi.org/10.1088/1742-6596/511/1/012001

Sagar,A.,Gupta,P.,&Singh,M.(2021).Temperature-dependentperformanceofvarioussolar cell technologies. Materials Today: Proceedings, × 37 ×, 3983-3989. https://doi.org/10.1016/j.matpr.2020.07.583

Sinton, R. A., & Cuevas, A. (1996). Contactless determination of current–voltage characteristics and cell parameters for high-resistivity silicon solar cells. Applied Physics Letters, × 69 ×(17), 2510-2512. https://doi.org/10.1063/1.117723

Skoplaki, E., &Palyvos, J. A. (2009). Onthetemperaturedependenceofphotovoltaic module electrical performance: A review of efficiency/power correlations. Solar Energy, × 83 ×(9), 1623-1640. https://doi.org/10.1016/j.solener.2009.05.004

Srinivasan, S., Ananth, V., & Kumar, R. (2017). Effect of temperature on the performance of CdTe solar cells. Materials Science and Engineering: B, × 225 ×, 120-125. https://doi.org/10.1016/j.mseb.2017.07.009

Tiwari, S., Singh, S. P., &Pal, S. (2021). Temperaturedependence ofelectricalparameters of siliconsolarcell.InternationalJournalofRecentScientificResearch,×12×(3),42818-42822. https://doi.org/10.24327/ijrsr.20210303

Yadav, S., Kumar, P., & Singh, R. (2018). Temperature effect on the performance of solar photovoltaicmodule.InternationalJournalofEngineeringandTechnology,×7×(3.1),243-

246.https://doi.org/10.14419/ijet.v7i3.1.12356

Yang, Y., Zhang, X., & Li, J. (2022). Effect oftemperatureon the electrical characteristics of organic solar cells. Journal of Materials Science: Materials in Electronics, × 33 ×(5), 3205- 3215. https://doi.org/10.1007/s10854-021-07605-9

Zhang,Z.,Liu,Y.,&Chen,J.(2021).Effectoftemperatureontheperformancecharacteristics oftandemsolar cells. Journal of Materials Science: Materials in Electronics, × 32 ×(1), 624- 636. https://doi.org/10.1007/s10854-020-04935-5

Zhao, J., Wang, L., & Yan, Y. (2015). Temperature effect on the performance parameters of CIGS	solar	cells.	Solar	Energy,	×	115	×,	476-483.

https://doi.org/10.1016/j.solener.2015.02.042