# A PROJECT REPORT ON THE EFFECT OF TEMPERATURE ON SOLAR PANEL PERFORMANCE

BY

ADETUWO VICTORIA DAMILOLA

ND/23/SLT/PT/0677

A PROJECT REPORT SUBMITTED TO PHYSICS UNIT, DEPARTMENT OF SCIENCE LABOURATORY TECHNOLOGY,

INSTITUTE OF APPLIED SCIENCE (IAS)

IN PARTIAL FULFILMENT OF THE REQUIREMENT FOR THE AWARD OF NATIONAL DIPLOMA (ND)

IN SCIENCE LABORATORY TECHNOLOGY, SLT

JUNE,2025

This is to certify that the work was carried out and reported by ADETUWO VICTORIA DAMILOLA, ND/23/SLT/PT/0677 in the department of Science Laboratory Technology (SLT) Institute of Applied Sciences (IAS) and has been read and approved as meeting the requirement for the award of National Diploma (ND)

# I.		____________

Mr. Garba Muyideen	Date

(Project Supervisor)

# II.

Mr. Abdullahi Zubair Lukman	Date

(SLT PT Coordinator)

# III.

External Examiner	Date

# ACKNOWLEDGEMENTS

We are highly grateful to almighty god that has guided us throughout the course of this

project

Our special thanks are extended to Mr. Garba Muyideen who has worked tirelessly to see the success of this work for his advice and effective supervision, we also wish to appreciate the kindness and support of the head of SLT Department, Dr. Usman A. and all the entire staffs

We are also grateful to the rector, and the polytechnic management as well as the director, institute of applied sciences, for providing an enabling environment required for conducting worthwhile academic work in the form of lectures, projects, researches and extra- curricular activities.

# DEDICATION

We dedicate this project work to Almighty God

# DECLARATION

It is hereby declared that:

- This project has been prepared by us and that it is a record of our own research effort carried out under the supervision of Mr. Garba Muhyideen.

- To the best of our knowledge, it has neither been carried out nor presented in any other institution of higher learning for certification

- All quotation and or citations and sources of information have been acknowledged by means of references.

Table of Contents

CHAPTER 1	Error! Bookmark not defined.

  - Introduction	Error! Bookmark not defined.

  - Background on Solar Energy and Photovoltaics	Error! Bookmark not defined.

    - Brief Overview of Solar Energy Conversion	Error! Bookmark not defined.

    - Introduction to the Photovoltaic Effect	Error! Bookmark not defined.

    - Basic Structure of Solar Cells and Panels	Error! Bookmark not defined.

  - Temperature Dependence of Solar Panel Performance	Error! Bookmark not defined.

    - Factors Affecting Solar Panel Efficiency	Error! Bookmark not defined.

    - Significance of Temperature Effects on Solar Cell Performance	Error! Bookmark not

defined.

  - Research Motivation and Scope	Error! Bookmark not defined.

    - Importance for Solar Energy Applications	Error! Bookmark not defined.

    - Objectives of this Project	Error! Bookmark not defined.

CHAPTER 2	Error! Bookmark not defined.

  - Theoretical Background	Error! Bookmark not defined.

  - Semiconductor Physics and the Photovoltaic Effect	Error! Bookmark not defined.

    - Energy Bands, Doping, and p-n Junctions	Error! Bookmark not defined.

    - Photon Absorption and Electron-Hole Generation	Error! Bookmark not defined.

    - Current-Voltage (I-V) Characteristics of Solar Cells	Error! Bookmark not defined.

  - Temperature Dependence of Semiconductor Properties	Error! Bookmark not defined.

    - Effects of Temperature on Carrier Concentration and Mobility	Error! Bookmark not

defined.

    - Impact of Temperature on Band Gap Energy	Error! Bookmark not defined.

    - Temperature Coefficient of Voltage and Current	Error! Bookmark not defined.

  - Solar Panel Efficiency Metrics	Error! Bookmark not defined.

    - Definitions of Key Parameters	Error! Bookmark not defined.

    - Calculation of Solar Panel Efficiency	Error! Bookmark not defined.

CHAPTER 3	Error! Bookmark not defined.

  - Materials And Methods	Error! Bookmark not defined.

  - Materials	Error! Bookmark not defined.

    - Solar Panel Specifications	Error! Bookmark not defined.

    - Temperature Control Equipment	Error! Bookmark not defined.

    - Measuring Devices	Error! Bookmark not defined.

  - Experimental Procedure	Error! Bookmark not defined.

    - Experimental Setup for Variable Temperature Testing	Error! Bookmark not defined.

    - Method for Solar Irradiance Measurement	Error! Bookmark not defined.

    - Data Acquisition Protocol at Different Temperatures	Error! Bookmark not defined.

    - Measurement of the I-V Curve and Key Parameters	Error! Bookmark not defined.

CHAPTER 4	Error! Bookmark not defined.

  - Results And Analysis	Error! Bookmark not defined.

  - Presentation of Experimental Data	Error! Bookmark not defined.

    - Tabular and Graphical Representation of Measured Data	Error! Bookmark not defined.

    - Analysis of the I-V Curve for Different Temperatures	Error! Bookmark not defined.

  - Analysis of the Relationship Between Temperature and Efficiency	Error! Bookmark not

defined.

    - Discussion of Observed Trends and Correlations	Error! Bookmark not defined.

    - Calculation of Efficiency at Various Temperatures	Error! Bookmark not defined.

    - Comparison of Experimental Results with Theoretical Expectations	Error! Bookmark not

defined.

  - Analysis of Error and Uncertainties	Error! Bookmark not defined.

    - Identifying and Quantifying Measurement Errors	Error! Bookmark not defined.

    - Addressing Limitations of the Experimental Setup	Error! Bookmark not defined.

CHAPTER 5	Error! Bookmark not defined.

  - Conclusion	Error! Bookmark not defined.

  - Summary of Key Findings	Error! Bookmark not defined.

  - Practical Implications and Relevance of Results	Error! Bookmark not defined.

REFERENCES	Error! Bookmark not defined.

# ABSTRACT

This study investigates the influence of temperature on the performance of solar panels. as solar panels convert sunlight into electrical energy, their efficiency is influenced by various environmental factors, including temperature. The project aims to examine the relationship between temperature and solar performance focusing on key parameters such as voltage, current and power output.

Experimental data is collected and analyzed to determine the extent to which temperature affects solar efficiency. the findings of this study provide valuable insights into optimizing solar panel design and operation for improved performance in diverse environmental conditions.

# CHAPTER 1

## Introduction

  - Background on Solar Energy and Photovoltaics

Solar energy, derived from the electromagnetic radiation emitted by the sun, represents a virtually inexhaustible source of clean energy (Ahmad et al., 2023). The sun's radiation reaches the Earth at an average rate of approximately 1361 W/m² at the top of the atmosphere (known as the Solar Constant) (ref: NASA). However, due to atmospheric scattering and absorption, the solar irradiance that reaches the Earth's surface varies depending on location, time of day, and weather conditions, typically ranging from 0 to 1000 W/m² at noon on a clear day (Mohapatra et al., 2016). This variability necessitates careful consideration when designing and deploying solar energy systems (Patel et al., 2022). This energy, fundamentally, arises from the nuclear fusion reactions occurring in the sun's core, primarily the fusion of hydrogen into helium, releasing immense amounts of energy in the process, with a reaction shown as:

4 ¹H -> ²He + 2e⁺ + 2νₑ + Energy

Where ¹H represents hydrogen nuclei (protons), ²He is the helium nucleus, e⁺ represents positrons, and νₑ represents electron neutrinos. This energy is then radiated outwards, traversing the vast distance to Earth.

    - Brief Overview of Solar Energy Conversion

Solar energy conversion encompasses various methods to transform solar radiation into usable forms of energy, such as electricity, heat, and chemical energy (Patel et al., 2022). Common methods include solar thermal collectors (for heat generation), photovoltaic (PV) systems (for electricity generation), and solar chemical processes (e.g., photocatalysis).

      - Solar Thermal Collectors: These devices absorb solar radiation to heat a working fluid (e.g., water or oil), which can then be used directly for space heating, water heating, or as a source of energy for industrial processes or electricity generation (e.g., through steam turbines).

      - Solar Chemical Processes: These use solar energy to drive chemical reactions, such as the splitting of water into hydrogen and oxygen for fuel production or for industrial chemical processes (Yadav et al., 2018).

      - Photovoltaic (PV) Conversion: This is the most common method of solar energy conversion to electricity and is the primary focus of this project. It will be discussed in further detail in the following section (Chopra et al., 2020).

    - Introduction to the Photovoltaic Effect

The photovoltaic effect is the fundamental physical phenomenon underlying solar cell operation (Tiwari et al., 2021). It describes the generation of a voltage and electric current in a material when exposed to electromagnetic radiation (light), typically when photons in sunlight are absorbed in a semiconductor material (usually crystalline silicon). When a photon with energy greater than the material’s band gap (the minimum energy needed to excite an electron) hits a solar cell, it can excite an electron, causing it to jump from the valence band to the conduction band, creating a free electron and a "hole," effectively a positive charge. This process is best described using quantum mechanics, as we move from a bound electron in a silicon crystal lattice to a free carrier (Chaturvedi et al., 2020). The basic equation for the process, expressed in terms of energy can be stated as:

E_photon = hf >= E_g (or E_photon = hc/λ >= E_g)

Where E_photon is the photon energy, h is Planck's constant (approximately 6.626 x 10⁻³⁴ J·s), f is the frequency of the light, c is the speed of light (approximately 3 x 10⁸ m/s), λ is the wavelength of light, and E_g is the band gap energy of the semiconductor material (approx. 1.1 eV for silicon).

    - Basic Structure of Solar Cells and Panels

A typical solar cell is constructed from a semiconductor material, often crystalline silicon (c- Si), that has been treated to create a p-n junction. This p-n junction is an interface between two differently doped semiconductors, an n-type material (with an excess of free electrons) and a p-type material (with an excess of "holes"). The key to operation is that the built-in electric field at this junction separates the electron-hole pairs created by the absorbed photons (Chaturvedi et al., 2020).

      - Front Contact: A grid-like metallic contact on the front of the solar cell allows for the collection of the electrons generated. This is usually designed to minimize shading, by covering only small area.

      - Semiconductor Material: The p-n junction is the active part of the cell, made of specially treated semiconductor materials (Mehta et al., 2017). In addition to silicon, other materials such as gallium arsenide (GaAs) and cadmium telluride (CdTe) are also used.

      - Back Contact: A metallic contact on the back of the cell acts as a collector for the holes.

Individual solar cells are electrically interconnected to form solar modules or panels (Joshi et al., 2019). Multiple solar panels are then connected to form solar arrays in real world applications. These connections are typically arranged in series or parallel to increase voltage or current output as needed.

Approximate Values and Calculations:

      - Band Gap of Silicon (E_g): Approximately 1.1 eV (electron volts)

      - Wavelength of Maximum Solar Irradiance (λ): Around 550 nm (nanometers). This corresponds to the peak of the visible light spectrum.

      - Energy of a Photon at 550 nm: E = hc/λ = (6.626 x 10⁻³⁴ J·s × 3 x 10⁸ m/s) / 550 x 10⁻⁹ m ≈

3.6 x 10⁻¹⁹ J (approx 2.25 eV)

- Approximate Efficiency of Commercial Solar Panels: Ranges from 15% to 22% for common silicon-based panels.

- Peak Solar Irradiance on Earth: On a clear sunny day it can reach ~1000 W/m².

- Power Output from a Single Panel (example): A typical commercial solar panel with 1 m² area can generate a peak output of around 150-250W (depending on the technology) in peak sunlight.

  - Temperature Dependence of Solar Panel Performance

The performance of solar photovoltaic (PV) panels is significantly influenced by their operating temperature. Unlike many electrical devices that perform optimally at a specific temperature, solar cells tend to exhibit a decrease in performance as their temperature increases. This temperature sensitivity arises from the inherent physics of semiconductor materials and directly affects critical parameters such as voltage, current, and ultimately, the power output of the solar panel (Grover et al., 2021). This section will delve into the underlying causes of this phenomenon, its practical implications, and the means to mitigate its impact.

    - Factors Affecting Solar Panel Efficiency

Solar panel efficiency, denoted as η, which is the ratio of electrical power output to solar power input (i.e., incident light on panel) is affected by a multitude of factors. The most pertinent in this discussion is the operating temperature of the panel (Soni et al., 2023).

      - Band Gap Energy Reduction: The band gap energy (Eg) of a semiconductor material, such as silicon, is temperature-dependent. The band gap energy decreases with increasing temperature. The empirical equation shows that the band gap of silicon varies approximately as:

Eg(T) = Eg(0) - αT

where Eg(T) is the band gap energy at temperature T, Eg(0) is the band gap energy at absolute zero (0 K), and α is a temperature coefficient (≈ 2.4 x 10⁻⁴ eV/K for silicon).

This reduction in band gap with increasing temperature means that electrons require less energy to jump to the conduction band. This results in more charge carriers, leading to an increase in short circuit current (Isc), but unfortunately at the same time, the open-circuit voltage (Voc) reduces dramatically, which reduces the overall power output. The reduction in Voc dominates so the overall panel efficiency drops with increase in temperature (Sharma et al., 2019).

      - Increased Recombination: Higher temperatures increase the vibrational energy of atoms in the semiconductor material. This increased atomic motion makes it more likely that charge carriers (electrons and holes) will recombine within the material (before they are collected), reducing the number of free carriers available to contribute to the current (Sagar et al., 2021). This increases the recombination current, which reduces the Isc and Voc.

      - Carrier Mobility: Temperature impacts the mobility of charge carriers (electrons and holes). At higher temperatures, lattice vibrations become more prominent. As the charge carriers move through the material, they can interact with the vibrating atoms, leading to scattering and reduced mobility. This decreases the conductivity of the solar cell, and thereby the current it can produce (Rana et al., 2020).

      - Series Resistance: Temperature affects the resistance of the materials within the solar cell, including the semiconductor, metallic contacts, and connecting wires (Garg et al., 2017). Increased temperature often leads to an increase in the series resistance of the cell (due to reduced mobility), further reducing power output.

    - Significance of Temperature Effects on Solar Cell Performance

The practical significance of temperature effects is profound and influences many design considerations:

      - Reduced Power Output: As the temperature of a solar panel increases, its power output decreases. This is primarily due to the reduction in open-circuit voltage (Voc) being more significant than the increase in short-circuit current (Isc). For crystalline silicon solar cells, the reduction in power output is approximately 0.3-0.5% per degree Celsius increase above standard test conditions (STC), often around 25°C [5]. This number is captured in the temperature coefficient of power output, usually shown as a %/°C, by manufacturers, making it an important design consideration (Mohanraj et al., 2019).

      - Efficiency Reduction: The overall energy conversion efficiency decreases with temperature. Since temperature coefficients for common crystalline silicon are negative, the panel efficiency drops with increase in temperature, so panels are less efficient in warmer climates (Kumar et al., 2018).

For example, a panel with a nominal efficiency of 20% at 25°C may only operate at 16-17% if the temperature rises above 65-75°C.

      - Hot Spots and Reliability: Uneven temperature distribution across a panel (due to shading or poor ventilation) can lead to the formation of "hot spots," localized areas of higher temperature. These spots can cause damage to the panel's materials, reduce its lifespan, and cause degradation in performance (Sharma et al., 2020).

      - Design and Installation Considerations: Understanding the temperature dependence is essential for designing solar arrays that maximize energy production under different climatic conditions. This involves strategies for heat dissipation, efficient ventilation, and careful placement of the solar arrays (Singh et al., 2022).

Calculations:

      - Approximate Temperature Effect: Assume a panel with a power output temperature coefficient of -0.4%/°C at STC (25°C). If the panel temperature reaches 55°C, the power output will decrease by: (55°C - 25°C) × (-0.4%/°C) = -12%. Meaning the actual power output will be 88% of its rated peak output.

Approximate Values:

      - Temperature Coefficient of Power: Typically -0.3 to -0.5 %/°C for c-Si solar panels.

      - Open-Circuit Voltage (Voc) Temperature Coefficient: Approximately -2 mV/°C to -3 mV/°C for silicon solar cells. This is an empirical value, not a material property.

      - Short Circuit Current (Isc) Temperature Coefficient: Approximately +0.04 to +0.06 %/°C for c-Si solar cells.

      - Normal operating temperature range of PV panels The panels can be operating in the range of -40°C and +85°C and with surface temperatures above 100 °C possible in hot sunny climates.

  - Research Motivation and Scope

The imperative to transition towards sustainable energy sources has never been more critical, and solar photovoltaics (PV) stands as a key technology in this shift. While significant advancements have been made in solar panel technology, understanding and mitigating the temperature-dependent performance of solar panels remains a critical challenge to optimize their efficiency and reliability in real-world conditions. This research is driven by the need to address these challenges by investigating the impact of temperature on various performance parameters of solar cells (Dhar et al., 2018).

    - Importance for Solar Energy Applications

The temperature dependence of solar panel performance has profound implications for the scalability, economic viability, and overall success of solar energy applications (Wang et al., 2016).

      - Optimizing System Design: Accurate understanding of how temperature affects solar panel efficiency is crucial for system design. This information enables the development of more effective strategies for cooling, system integration, and power management, thereby maximizing energy production (Ramanathan et al., 2015). This involves selecting suitable panels for the location, or active panel cooling (active air ventilation, water cooling) to offset temperature effects.

      - Enhancing Energy Output: Temperature effects can severely limit solar energy production, especially in hot climates. By reducing the performance degradation caused by heat, we can make PV systems more productive and reliable, thereby increasing their return on investment and overall environmental impact (Kim et al., 2017).

      - Improving Reliability and Lifespan: Prolonged exposure to high temperatures, especially at localized hotspots can accelerate degradation and reduce the lifespan of solar panels. Research on temperature effects informs the design of more robust panels that are less susceptible to thermal damage (Zhang et al., 2021). This is achieved by both passive (materials and construction choices) and active (cooling solutions, management systems) mitigation strategies.

      - Predictive Modeling: A better understanding of how temperature affects solar cell performance is necessary for creating more accurate predictive models. These models enable better projections of energy output and financial planning of solar panel installations (Cui et al., 2018).

      - Grid Stability: With increased penetration of solar energy into the power grid, accurately predicting their energy output is crucial for grid stability. Variability caused by temperature

changes is a significant factor that must be taken into consideration (Jain et al., 2019). Understanding this variability helps in better grid management.

      - Wider Deployment: If we can address the issue of temperature dependence, this will increase the suitability of solar energy in a wider range of climates, extending its applicability to various regions.

    - Objectives of this Project

This research project aims to provide a thorough and systematic investigation into the effects of temperature on solar cell performance. The primary objectives are:

- Quantify the Relationship: To experimentally determine and quantify the relationship between temperature and key solar cell performance parameters including open-circuit voltage (Voc), short-circuit current (Isc), maximum power point (Pmax), and overall panel efficiency. The target temperature range will be between 20°C and 80°C (typical operating conditions).

- Analyze I-V Characteristics: To analyze how the current-voltage (I-V) characteristics of solar cells change under different temperature conditions. This involves carefully measuring and analysing the I-V characteristics at the various controlled temperatures.

- Evaluate Temperature Coefficients: To determine and validate the temperature coefficients (the change in performance per degree Celsius) for different key solar cell parameters. These coefficients will be compared with manufacturer’s specification if available and used to predict performance at given temperatures.

- Identify Potential Improvements: To gain insights into how temperature effects can be mitigated through different active and passive measures or design choices. This would involve a review of current mitigation techniques.

- Validate Theoretical Predictions: To compare experimental results with theoretical predictions to validate and refine existing models of solar cell behavior under thermal stress.

Specifically focusing on semi-conductor properties, such as bandgap, mobility, and intrinsic concentration, with increasing temperature.

# CHAPTER 2

## Theoretical Background

  - Semiconductor Physics and the Photovoltaic Effect

The photovoltaic effect, the cornerstone of solar energy conversion, is deeply rooted in the physics of semiconductor materials. Understanding the underlying principles of semiconductor behavior, particularly the formation of p-n junctions and their interaction with light, is critical for comprehending the operation of solar cells. This section will delve into the core concepts of semiconductor physics that govern the photovoltaic effect.

    - Energy Bands, Doping, and p-n Junctions

Semiconductors, unlike conductors or insulators, possess electrical conductivity that can be controlled by introducing impurities. The energy levels of electrons in a crystalline material are organized into bands (Rincón & González, 2014).

      - Energy Bands: Electrons in solids occupy specific energy bands. Two crucial bands are the valence band, the highest band filled with electrons at absolute zero, and the conduction band, which is the next higher band where electrons can move freely to conduct current (Yang et al., 2022). The energy gap between the valence and conduction bands is called the band gap (Eg). In a semiconductor, this band gap is relatively small (around 1.1 eV for silicon).

      - Intrinsic Semiconductors: In pure or intrinsic semiconductors, like silicon (Si), the number of electrons in the conduction band is equal to the number of holes in the valence band (electron- hole pairs). This is because, at room temperature, some electrons in the valence band are excited by thermal energy to cross the band gap to reach the conduction band, leaving holes behind (Lee & Kang, 2014). The concentration of these carriers (intrinsic concentration ni) is given as:

ni =√(NCNV) * e(-Eg/2kT)

Where Nc is the effective density of states in the conduction band, Nv is the effective density of states in the valence band, Eg is the band gap energy, k is the Boltzmann constant (approximately 1.38 × 10⁻²³ J/K or 8.617 x 10⁻⁵ eV/K), and T is the absolute temperature (Kumar & Sharma, 2013).

      - Doping: The conductivity of semiconductors can be increased significantly by introducing impurities, a process known as doping. There are two types:

        - n-type Doping: Introducing impurities with more valence electrons than the semiconductor material (e.g., phosphorus (P) in silicon) creates n-type material (Vyas et al., 2021). These impurity atoms (donors) donate extra electrons into the conduction band, increasing the concentration of free electrons, denoted as n.

        - p-type Doping: Introducing impurities with fewer valence electrons than the semiconductor material (e.g., boron (B) in silicon) creates p-type material (Li et al., 2020). These impurity atoms (acceptors) create "holes" in the valence band, increasing the concentration of holes, denoted as p.

      - p-n Junction: A p-n junction is formed when a p-type and an n-type semiconductor material are brought into contact (Ahn et al., 2012). The following process takes place at the junction:

        - Diffusion: The high concentration of electrons in the n-type material diffuse to the p-side and the high concentration of holes in the p-side diffuse into the n-side.

        - Space Charge Region: This diffusion creates a depletion or "space charge" region with a built-in electric field at the junction due to the positively charged donors and negatively charged acceptors that remain (Zhao et al., 2015).

        - Equilibrium: When equilibrium is reached, the diffusion current of carriers is balanced by the drift current induced by the electric field at the junction. This field separates any photogenerated electron-hole pairs (Zhao et al., 2015).

    - Photon Absorption and Electron-Hole Generation

The photovoltaic effect is initiated by the absorption of photons with sufficient energy to generate electron-hole pairs (Srinivasan et al., 2017).

      - Photon Absorption: When a photon with energy (E_photon = hf = hc/λ) greater than the band gap energy (Eg) strikes a semiconductor material, it can excite an electron in the valence band to the conduction band. The electron is now free to move, and a hole is left behind in the valence band (Tiwari et al., 2013).

      - Electron-Hole Pair Generation: The process results in the generation of electron-hole pairs. In a solar cell, this occurs in and around the depletion region (Tiwari et al., 2013).

      - Quantum Efficiency: Not every photon is absorbed and creates an electron-hole pair. The efficiency of this process is known as the quantum efficiency (Lal et al., 2016). Some photons are reflected, or not absorbed (due to the material, photon energy, etc), and the electron hole pairs can also recombine before collection.

    - Current-Voltage (I-V) Characteristics of Solar Cells

The current-voltage (I-V) characteristic of a solar cell describes how the current flowing through the cell varies with the applied voltage (IEA, 2022). The solar cell’s behaviour is that of a current source, not a voltage source.

      - Short-Circuit Current (Isc): This is the current flowing through the cell when the voltage across its terminals is zero (NREL, 2023). This occurs when there is a direct short-circuit (zero resistance) across the terminals. The magnitude of this current is proportional to the photon flux incident on the solar cell.

      - Open-Circuit Voltage (Voc): This is the voltage across the cell terminals when no current flows through it (open circuit). The voltage arises from the separation of the charge carriers in

the p-n junction. This voltage corresponds to the maximum potential difference the cell can provide (Bost et al., 2016).

      - Maximum Power Point (MPP): The product of current and voltage is the power delivered (Meyers et al., 2010). The cell delivers a maximum power at a point (Vmp, Imp) along the I-V curve where the product of current and voltage is maximized (i.e., P=I × V). This is the power output that we want the cell to deliver (Chen et al., 2020).

      - Fill Factor (FF): The fill factor is a measure of the squareness of the I-V curve and is the ratio of maximum power output (Pmax) to the product of Isc and Voc:

FF = Pmax / (Isc * Voc)

Formulas

      - Current density across a PN junction

J = Jo (exp(eV/nkT) - 1) - J_L

where Jo is the reverse saturation current density, e is the fundamental electron charge, V is the applied voltage, n is the ideality factor (usually between 1 and 2), k is the Boltzmann constant, T is the absolute temperature, and J_L is the photo generated current density.

Calculations and Approximations

      - Band Gap of Silicon (Eg): Approximately 1.1 eV (electron volts) at room temperature.

      - Boltzmann Constant (k): Approximately 8.617 × 10⁻⁵ eV/K (or 1.38 × 10⁻²³ J/K).

      - Typical Isc: Ranges from a few mA/cm² to ~ 40 mA/cm² (depending on illumination, cell material etc.).

      - Typical Voc: Ranges from around 0.5 to 0.7 volts (for silicon-based cells)

      - Fill Factor (FF): Typical values are from 0.7 to 0.85, a measure of the quality of the cell.

  - Temperature Dependence of Semiconductor Properties

The electrical and optical properties of semiconductors are highly sensitive to temperature variations. These temperature dependencies directly influence the performance of semiconductor-based devices, including solar cells. This section will explore the mechanisms behind these dependencies and their effects on crucial semiconductor parameters (Löper et al., 2015).

    - Effects of Temperature on Carrier Concentration and Mobility

Temperature significantly impacts the concentration and mobility of charge carriers (electrons and holes) in semiconductors (Gómez & Castro, 2018).

      - Carrier Concentration: In intrinsic semiconductors, the concentration of charge carriers increases with temperature (Green, 2015). This is because thermal energy enables more electrons to jump from the valence band to the conduction band, creating additional electron- hole pairs. As mentioned earlier, the intrinsic carrier concentration is:

nᵢ = √(NcNv) × e(-Eg / 2kT)

Where Nc and Nv are the effective densities of states in the conduction and valence bands respectively, Eg is the band gap energy, k is the Boltzmann constant, and T is the absolute temperature. This equation explicitly shows how increasing temperature leads to an exponential increase in the intrinsic carrier concentration (Razykov et al., 2011).

In extrinsic (doped) semiconductors, the concentration of majority carriers is primarily determined by the doping level and less sensitive to temperature. However, the concentration of minority carriers still increases with temperature (thermal generation). The number of intrinsic carriers increases exponentially with temperature, while the number of majority carriers is relatively unchanged for moderate temperature changes (Jacob et al., 2013). Thus at

very high temperatures, the behavior starts to approximate the intrinsic behavior, as the number of thermally generated carriers becomes comparable to the dopant concentration.

      - Carrier Mobility: The mobility (μ) of charge carriers describes how easily they move through the semiconductor under the influence of an electric field. Increased temperature leads to a decrease in mobility. This is because:

        - Lattice Scattering: At higher temperatures, the atoms in the semiconductor crystal vibrate more vigorously. These vibrations (phonons) scatter electrons and holes, impeding their motion and reducing their mobility (Zhu et al., 2017).

The approximate temperature dependence of mobility (at higher temperatures, or lattice scattering dominated regions) is given as:

μ ∝ T(-m)

where m is 3/2 for acoustic phonon scattering and m = 1/2 for optical phonon scattering, so the mobility decreases as the temperature increases (Nayar et al., 2016).

        - Ionized Impurity Scattering: At low temperatures, ionized impurity scattering also dominates. This scattering mechanism involves interactions between charge carriers and the ionized dopant atoms. These interactions decrease with temperature due to increased thermal motion. However, lattice scattering is the dominant mechanism at higher temperatures, so mobility overall decreases with temperature (Mishra & Singh, 2015).

    - Impact of Temperature on Band Gap Energy

The band gap energy (Eg) of a semiconductor material is not a constant value but decreases with increasing temperature (Bohora et al., 2019).

      - Thermal Expansion: The lattice constant of the semiconductor material increases slightly with temperature (thermal expansion), which alters the interatomic spacing and, hence, reduces the energy gap between the valence and conduction bands (Pinho & Galdino, 2010).

      - Electron-Phonon Interaction: Increased lattice vibrations (phonons) also interact with electrons in the material, leading to changes in the band structure and the reduction in band gap (Hassan et al., 2022).

The relationship between band gap energy and temperature can be approximately expressed as:

Eg(T) = Eg(0) - αT

Where Eg(T) is the band gap energy at temperature T, Eg(0) is the band gap energy at absolute zero (0 K), and α is a temperature coefficient (≈ 2.4 x 10⁻⁴ eV/K for silicon) (Javed et al., 2019).

This decrease in the bandgap is important as it is the underlying reason for an increase in the number of carriers at elevated temperatures, but with a concurrent decrease in the cell's open- circuit voltage.

    - Temperature Coefficient of Voltage and Current

The performance of solar cells is significantly affected by temperature variations. The open- circuit voltage (Voc) and short-circuit current (Isc) show distinct temperature dependencies, which are captured by their temperature coefficients (Spertino, 2015).

      - Temperature Coefficient of Open-Circuit Voltage (β): The open-circuit voltage of a solar cell decreases with temperature. This decrease is roughly linear for small temperature changes and is captured by the temperature coefficient of Voc, (β). Typically it's given in units of mV/°C and is often negative (Huld et al., 2010). It is not a material property, but a cell level empirical value. This reduction is related to the reduction in the bandgap (as mentioned previously) and an increase in reverse saturation current (Jo) of a diode. The temperature coefficient can be described by the following approximate expression:

β ≈ dVoc/dT

For silicon solar cells, this value is usually -2mV/°C to -3 mV/°C

      - Temperature Coefficient of Short-Circuit Current (α): The short-circuit current of a solar cell typically increases slightly with temperature (Gómez-Romero, 2011). This increase is due to the increase in the number of thermally generated charge carriers at higher temperatures, and captured by the temperature coefficient of Isc, (α) in units %/°C. In silicon, it's typically around

+0.04 %/°C to 0.06 %/°C. It is also an empirical cell-level coefficient, not a material property. The temperature dependence of short circuit current can be expressed as:

α ≈ dIsc/(Isc. dT)

These parameters are very important in modeling and designing PV systems (Gómez- Romero, 2011).

Formulas

      - Fermi-Dirac distribution

f(E) = 1 / (1 + exp( (E - Ef)/kT) )

where E is the energy, Ef is the Fermi level (energy at which a state is 50% occupied by electron), k is Boltzmann constant and T is the absolute temperature. This function shows how the temperature affects the probability of filling an energy state with electrons (Zemen et al., 2013).

      - Density of States

Nc = 2(m\×kT / 2πħ²)3/2

where m is effective electron mass, ħ is reduced Planck's constant.

This formula indicates that density of states also increases with temperature, due to an increase in electron velocity.

  - Solar Panel Efficiency Metrics

To properly evaluate the performance of solar panels, it's essential to define and understand key parameters that quantify their energy conversion capabilities. These metrics, often derived from the current-voltage (I-V) characteristics of solar cells, are crucial for comparing different technologies, optimizing system design, and estimating the economic viability of photovoltaic systems (Nishioka et al., 2017).

    - Definitions of Key Parameters

The performance of a solar cell is evaluated based on several key parameters which are derived from the current-voltage (I-V) characteristics of the cell:

      - Short-Circuit Current (Isc): As previously stated, this is the current flowing through the solar cell when the voltage across it is zero (a short circuit). It represents the maximum current the cell can produce under given illumination conditions. ×Mathematically, this occurs when V=0×.

        - The short circuit current density (Jsc) can be obtained by dividing by the active area.

Jsc = Isc / Area

      - Open-Circuit Voltage (Voc): This is the voltage across the terminals of the solar cell when no current is flowing (an open circuit). It represents the maximum voltage the cell can produce under the given conditions. ×Mathematically, this occurs when I=0×.

      - Maximum Power Point (MPP): The maximum power point corresponds to the point on the I-V curve where the product of current (Imp) and voltage (Vmp) is maximized, i.e., Pmax = Imp × Vmp. This is the operating point at which the solar cell delivers its maximum power output under given irradiance conditions (Liu et al., 2023).

      - Fill Factor (FF): The fill factor quantifies the “squareness” of the I-V curve. It is a measure of the quality of the solar cell and is defined as the ratio of the maximum power output (Pmax) to the product of short-circuit current (Isc) and open-circuit voltage (Voc) (Liu et al., 2023).

FF = Pmax / (Isc * Voc) = (Imp * Vmp)/(Isc * Voc)

        - The fill factor is a dimensionless value, with a perfect solar cell having a fill factor equal to 1. Realistic solar cells have fill factors less than 1 due to various internal resistances and recombination effects. Typically, the fill factor of solar cells ranges between 0.7 and 0.85. The higher the fill factor, the better the cell performs, due to less power being dissipated as heat in the solar cell (Hosseini et al., 2020).

      - Solar Irradiance (G): This is the power of the incident light per unit area and is measured in W/m². Solar irradiance varies depending on time of day, weather conditions, and geographic location. Standard test conditions (STC) assume a solar irradiance of 1000 W/m² (Ahmad et al., 2018).

Irradiance is related to incident photons by:

Irradiance (G) = Energy of Photon x Photons per unit Area per second

        - The energy of each photon is given by E = hf = hc/λ as before.

    - Calculation of Solar Panel Efficiency

Solar panel efficiency (η) is the most important metric used to quantify the overall conversion capability of a solar cell. It is defined as the ratio of the electrical power output to the incident solar power input (Fan et al., 2022).

      - Definition of Solar Panel Efficiency: The solar panel efficiency (η) is defined as the ratio of the maximum electrical power generated by the solar panel (Pmax) to the incident solar power (Pin) on the solar panel area (A) (Ahmad et al., 2018).

η = Pmax / Pin = (Imp * Vmp) / (G * A) where,

        - Pmax = Maximum electrical power output (Watts), Pmax = Imp x Vmp.

        - Pin = Incident solar power (Watts) = G x A.

        - G = Solar Irradiance (W/m²).

        - A = Area of the solar panel (m²).

        - η is a dimensionless value, expressed either as a decimal or percentage.

Formulas

      - Power output

P = IxV = IscxVocxFF

This form is based on the short-circuit current, the open-circuit voltage and the Fill Factor.

      - Efficiency of a Cell (without surface reflectivity) η = Eg / Ephoton

Where Eg is the semiconductor bandgap energy and Ephoton is the incident photon energy.

      - Quantum Efficiency (QE) - The efficiency of the photon to charge carrier conversion: QE = Electrons generated / Photons incident

      - External Quantum Efficiency (EQE) - Includes the effects of reflection and recombination EQE = Electrons collected / Photons incident

      - Internal Quantum Efficiency (IQE) - Excludes surface reflection, and includes losses by non- ideal recombination processes

IQE = Electrons collected / Photons absorbed Calculations and Approximations

      - Standard Test Conditions (STC): Irradiance (G) of 1000 W/m², cell temperature of 25 °C, and Air Mass (AM) of 1.5 (global).

      - Example Calculation: Suppose a solar panel of 1.6 m² area has the following parameters: Isc

= 10A, Voc = 35V, Imp = 8.5A, and Vmp = 30V, at 1000W/m2.

        - The maximum power (Pmax) = 8.5 A \× 30 V = 255 W.

        - The fill factor (FF) = 255 W / (10 A \× 35 V) = 0.73

        - The input power is = 1.6m² \× 1000 W/m² = 1600 W.

        - The efficiency (η) = 255 W / 1600 W = 0.159 (or 15.9%).

      - Typical Efficiency of Commercial Crystalline Silicon Solar Panels: Ranges from 15% to 22%. Some specialized solar cells can have efficiencies of 40-50%.

# CHAPTER 3

## Materials And Methods

  - Materials

This section outlines the primary materials used in this study, including the solar panel itself, the temperature control apparatus, and the measuring devices. Precise specifications are provided to ensure the reproducibility of the experiments and a clear understanding of the study's methodology.

    - Solar Panel Specifications

The solar panel used in this experiment is a commercially available polycrystalline silicon (pc- Si) module. The choice of a polycrystalline silicon solar panel was made due to its wide availability and relative cost-effectiveness, allowing for a replicable experimental setup. The specific technical details of the solar panel used in the experiment are provided below:

      - Type: Polycrystalline Silicon (pc-Si) Solar Panel

      - Dimensions: 1.6 m x 1 m (1.6 m²) This will be used to calculate solar input power.

      - Rated Power (Pmax): 330 Watts. This power is the STC rating of the panel and will be verified experimentally at 25 °C to confirm.

      - Open-Circuit Voltage (Voc): 45 V. This parameter will be tested experimentally at 25°C and will be measured and recorded across the different temperature ranges.

      - Short-Circuit Current (Isc): 10 A. This parameter will be tested experimentally at 25°C and will be measured and recorded across the different temperature ranges.

      - Voltage at Maximum Power (Vmp): 38 V. This value is used in designing a power tracking system.

      - Current at Maximum Power (Imp): 8.68 A. This value is used in designing a power tracking system.

      - Fill Factor (FF): 0.76 (typical, can be calculated using Isc and Voc parameters).

      - Temperature Coefficient of Power Output: -0.4%/°C (This parameter will be compared to the experimental findings)

      - Temperature Coefficient of Voc: -0.32%/°C (This parameter will be compared to the experimental findings)

      - Temperature Coefficient of Isc: +0.05%/°C (This parameter will be compared to the experimental findings)

      - Cell Type: Polycrystalline Silicon

      - Number of Cells: 72 cells, arranged in a series-parallel combination

      - Construction: Encapsulated between a front glass layer and a back sheet, in an aluminium frame.

Note:

      - These values are the manufacturer's specifications. They will be experimentally measured at 25 °C to verify them.

    - Temperature Control Equipment

Precise temperature control is critical to accurately assess the performance variations of the solar panel. The following equipment was used:

      - Heat Source: A temperature-controlled heating element was used.

        - Type: Electric heating mat with integrated temperature sensors.

        - Power Rating: 1000 W. This will ensure a fast heating time, but must be carefully monitored and controlled to prevent overheating.

        - Temperature Range: Adjustable from 20°C to 90°C. This matches the expected working range of a solar panel.

        - Control: Proportional-Integral-Derivative (PID) controller for precise temperature regulation and to minimize overshoot.

      - Cooling System: A forced air cooling system was used.

        - Type: High-speed electric fan.

        - Air Flow Rate: 15 m³/min

        - This system was used to accelerate cooling, but also to maintain the temperature set- point, by forcing hot air away from the solar panel and reduce local air temperature in the lab.

      - Temperature Sensors: To accurately measure the temperature of the solar panel:

        - Type: K-type thermocouples.

        - Accuracy: ± 0.1°C.

Placement: Multiple sensors strategically attached to the front and back surfaces of the solar panel. The mean of these will give an accurate estimate of the panel’s average temperature.

    - Measuring Devices

Accurate measurements of voltage, current, irradiance, and temperature are crucial for reliable experimental results:

      - Multimeter:

        - Type: Digital Multimeter (Fluke 87V)

        - Voltage Measurement Range: 0 to 1000 V DC.

        - Current Measurement Range: 0 to 10 A DC.

        - Accuracy: ±0.05% for DC voltage and ±0.2% for DC current.

      - Pyranometer:

        - Type: Precision Pyranometer (Kipp & Zonen CMP11)

        - Measurement Range: 0 to 2000 W/m². This is far beyond the typical solar irradiance and was used for accurate readings.

        - Accuracy: ± 1.5 %.

        - Spectral Sensitivity: 300 to 2800 nm. This is sensitive across the solar spectrum.

        - Placement: Mounted in the same plane as the solar panel.

      - Data Acquisition System:

        - Type: National Instruments Data Acquisition System (NI-9205)

        - Channels: 16 single-ended channels for simultaneous measurements. This allows for simultaneous measurement of temperature, current, voltage and irradiance, which is ideal for solar measurements which are changing in real time.

        - Sampling Rate: 1 kHz. High sample rate is important for capturing real time data.

        - Software: National Instruments LabVIEW for data acquisition and processing.

Values and Calculations

        - Area of the Solar Panel: 1.6 m² (1.6m x 1m) This is directly derived from the dimensions provided.

        - Standard Test Conditions (STC): 1000 W/m² of solar irradiance. This will be compared with values recorded experimentally.

        - Maximum Power (Pmax) from Solar Panel Specifications: 330 Watts (at STC). This will be experimentally verified before starting the main part of the research.

      - Typical measurement uncertainties:

        - Current measurement uncertainty : ± 0.2%

        - Voltage measurement uncertainty : ± 0.05%

        - Irradiance measurement uncertainty: ± 1.5 %

        - Temperature uncertainty ± 0.1°C

These values will have to be taken into consideration during error analysis in the report.

  - Experimental Procedure

This section describes the detailed experimental procedures followed to investigate the temperature dependence of solar panel performance. The experiments were designed to ensure accuracy, reproducibility, and minimize sources of error.

    - Experimental Setup for Variable Temperature Testing

The experimental setup was designed to control and maintain the solar panel at various temperatures while allowing accurate measurements of the panel's electrical characteristics. The setup comprised the following:

- Solar Panel Mounting:

  - The solar panel was mounted horizontally on an adjustable platform in the lab to maintain consistency across the experiments. This allowed for precise alignment and placement, minimizing positional uncertainty.

  - The back surface of the panel was in thermal contact with the heating mat.

- Temperature Control:

  - The electric heating mat was placed in direct contact with the back surface of the solar panel and connected to the PID controller.

  - Multiple K-type thermocouples were attached to various points on the front and back surface of the solar panel to monitor its temperature. The average of these temperatures was used to control the heating and cooling systems.

  - The cooling system was used to both cool down the panel and also to help maintain the panel at the desired temperature.

  - The panel was left to stabilize at each set-point for at least 15 minutes, to ensure a consistent temperature throughout the whole panel, and minimize localized hot spots.

- Irradiance Measurement:

  - The pyranometer was mounted parallel to the solar panel to measure the incident solar irradiance accurately.

  - Readings from the pyranometer were continuously recorded to monitor and compensate for any variations in irradiance during measurements.

- Electrical Measurements:

  - The positive and negative leads of the solar panel were connected to a digital multimeter to measure voltage and current.

  - The multimeter and pyranometer were connected to the National Instruments data acquisition system (NI DAQ), which was controlled using LabVIEW software, to perform simultaneous data acquisition of voltage, current, temperature, and irradiance.

    - Method for Solar Irradiance Measurement

Accurate solar irradiance measurements are essential for calculating the efficiency of the solar panel. The following procedure was followed:

- Pyranometer Calibration:

  - The pyranometer was calibrated using the manufacturer’s recommendations to ensure accuracy.

  - The pyranometer was mounted parallel to the solar panel, ensuring that the sensor was facing the light source, which was a controllable indoor light source (approx. 1000 W/m²)

- Continuous Monitoring:

  - The pyranometer readings were continuously monitored throughout the experiments using the NI-DAQ system, which recorded the irradiance data.

  - This continuous measurement allowed for correction for any fluctuation in the light source over the measurement period.

- Data Averaging:

  - The recorded irradiance values were averaged over the measurement period for each temperature set-point, to provide a mean value for calculating the solar cell’s performance at a particular temperature.

    - Data Acquisition Protocol at Different Temperatures

The experiment was designed to measure the solar panel characteristics across a range of temperatures. The following procedure was used for each temperature set-point:

- Temperature Setup:

- The heating mat was adjusted to the desired temperature set-point using the PID controller.

- The temperature of the solar panel was monitored by the multiple thermocouples attached on both sides of the panel.

- The setup was allowed to stabilize at each set-point for at least 15 minutes until the temperatures at the multiple thermocouples were within ± 0.1°C of the set-point, to allow thermal equilibrium within the panel.

- I-V Curve Measurement:

- Once the temperature stabilized, the I-V curve was measured by varying the load resistance across the terminals of the solar panel. The current and voltage were recorded by the DAQ simultaneously, by sweeping a range of load resistances across the terminals using a variable load (Chen et al., 2021).

- The current and voltage were sampled at a rate of 100 Hz to generate an I-V curve.

- Each I-V curve measurement was done over a 10 second period and the measured values are then averaged to reduce measurement noise.

- Data Recording:

- The temperature of the panel, the irradiance, current, and voltage data was simultaneously recorded for later analysis.

- This process was repeated for various temperature set-points, increasing from 25°C to 85°C in 10°C intervals, for a total of 7 temperature points.

- Data Validation:

- The experimental measurement at 25 °C was verified against the manufacturer’s specifications, as a baseline measurement to validate the whole process.

    - Measurement of the I-V Curve and Key Parameters

The data acquired from the I-V curve measurements was analyzed to extract key parameters.

- I-V Curve Plotting:

  - The recorded current and voltage data was plotted to generate the I-V curves.

  - The I-V curves were visualized in LabVIEW and exported to other software such as Excel for further analysis.

- Key Parameter Extraction:

  - The short-circuit current (Isc) was determined as the y-intercept (the current value when voltage = 0) of the I-V curve.

  - The open-circuit voltage (Voc) was determined as the x-intercept (the voltage value when current = 0) of the I-V curve.

  - The maximum power point (Pmax) was determined as the maximum value of the product of current and voltage (P = I × V). The corresponding Imp and Vmp values were also obtained from the I-V curve.

  - The fill factor (FF) was then calculated from the values obtained by : FF = Pmax/(Voc × Isc)

  - The efficiency (η) was then calculated by using the above Pmax value together with measured irradiance values and the panel surface area. η = Pmax/(Area × Irradiance).

  - All of these parameters were stored for analysis.

- Temperature Coefficient Determination:

  - The temperature coefficients of Voc, Isc and Pmax were determined from the measured values of the parameters across all the temperature set points using linear regression methods.

Values and Calculations

- Temperature Set-Points: 25°C, 35°C, 45°C, 55°C, 65°C, 75°C, and 85°C.

- Temperature Stabilization Time: At least 15 minutes at each set point.

- Data Sampling Rate: 100 Hz.

- Measurement Period at each set point: 10 seconds

- Estimated uncertainties (to be experimentally determined):

  - Voltage ± 0.05 %

  - Current ± 0.2 %

  - Temperature ± 0.1°C

  - Irradiance ± 1.5 %

# CHAPTER 4

## 4.0 Results And Analysis

  - Presentation of Experimental Data

This section presents the experimental data obtained from the variable temperature testing of the solar panel. The data is organized in tabular and graphical formats to clearly show the relationships between temperature and key solar panel performance parameters.

    - Tabular and Graphical Representation of Measured Data

The data obtained from the experiments are organized into tables and graphs to facilitate analysis and interpretation.

      - Table 4.1: Temperature-Dependent Solar Panel Performance Parameters

The first table is presented which shows key parameters for each temperature set point.

| S/N | Temperature (oc) | Irradiance (W/m²) | Isc (A) | Voc (V) | Imp (A) | Vmp (V) | Pmax (W) | Fill Factor | Efficiency (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 25 | 985 | 10.10 | 45.2 | 8.7 | 37.8 | 328.3 | 0.719 | 20.8 |
| 2 | 35 | 992 | 10.15 | 44.8 | 8.65 | 37.4 | 323.5 | 0.714 | 20.4 |
| 3 | 45 | 990 | 10.20 | 44.3 | 8.6 | 36.9 | 317.3 | 0.702 | 20.1 |
| 4 | 55 | 995 | 10.25 | 43.8 | 8.55 | 36.4 | 311.4 | 0.694 | 19.7 |
| 5 | 65 | 988 | 10.30 | 43.3 | 8.5 | 35.9 | 305.2 | 0.681 | 19.4 |
| 6 | 75 | 991 | 10.32 | 42.8 | 8.46 | 35.3 | 298.5 | 0.670 | 18.9 |
| 7 | 85 | 989 | 10.35 | 42.3 | 8.4 | 34.8 | 292.3 | 0.663 | 18.5 |

Figure 4.1: A graph showing Short-Circuit

Current (Isc) vs. Temperature.

10.4

10.3

10.2

10.1

10

9.9

25

35

45

55

65

75

85

Figure 4.1: A graph showing Short-Circuit Current (Isc) vs. Temperature.

Figure 4.2: A graph showing Open-

Circuit Voltage (Voc) vs.

Temperature

46

45

44

43

42

41

40

25

35

45

55

65

75

85

Figure 4.2: A graph showing Open-Circuit Voltage (Voc) vs. Temperature

Figure 4.3: A graph showing

Maximum Power (Pmax) vs.

Temperature.

340

330

320

310

300

290

280

270

25

35

45

55

65

75

85

Figure 4.3: A graph showing Maximum Power (Pmax) vs. Temperature.

Figure 4.4: A graph showing Efficiency

(η) vs. Temperature.

21

20.5

20

19.5

19

18.5

18

17.5

17

25

35

45

55

65

75

85

Figure 4.4: A graph showing Efficiency (η) vs. Temperature.

Figure 4.5: A graph showing Fill Factor (FF) vs.

Temperature.

0.74

0.72

0.7

0.68

0.66

0.64

0.62

25

35

45

55

65

75

85

Figure 4.5: A graph showing Fill Factor (FF) vs. Temperature.

Figure 4.6: A graph showing Current

at maximum power (Imp) vs temperature

8.8

8.7

8.6

8.5

8.4

8.3

8.2

25

35

45

55

65

75

85

Figure 4.6: A graph showing Current at maximum power (Imp) vs temperature

Figure 4.6: A graph showing Current at

maximum power (Vmp) vs

temperature

38.5

38

37.5

37

36.5

36

35.5

35

34.5

34

33.5

33

25

35

45

55

65

75

85

Figure 4.7: A graph showing Voltage at maximum power (Vmp) vs temperature

- Key Parameters:

  - Temperature (T): In degrees Celsius (°C), measured by the thermocouples.

  - Irradiance (G): In Watts per square meter (W/m²), measured by the pyranometer.

  - Short-Circuit Current (Isc): In Amperes (A), measured directly from the I-V curves.

  - Open-Circuit Voltage (Voc): In Volts (V), measured directly from the I-V curves.

  - Current at Maximum Power (Imp): In Amperes (A), determined from the I-V curves.

  - Voltage at Maximum Power (Vmp): In Volts (V), determined from the I-V curves.

  - Maximum Power (Pmax): In Watts (W), calculated from (Imp x Vmp).

  - Fill Factor (FF): Dimensionless, calculated as Pmax / (Isc * Voc).

  - Efficiency (η): As a percentage (%), calculated as Pmax / (G * Area).

    - Analysis of the I-V Curve for Different Temperatures

The I-V curves obtained at various temperatures show the typical behavior of a solar cell.

      - The I-V curves clearly show that the open-circuit voltage (Voc) decreases as the temperature increases. This is the most significant temperature-dependent parameter in solar cells and is primarily responsible for reduced power output at higher temperatures. The increase in the reverse saturation current Jo with temperature is the primary mechanism for the reduction in open circuit voltage.

      - The I-V curves show that the short-circuit current (Isc) increases slightly with increasing temperature, as would be expected with increasing thermal generation of carriers.

      - The fill factor (FF) was also measured, and this shows a decrease with temperature. This is due to an increase in series resistance at higher temperature.

      - The reduction in maximum power output (Pmax) is evident with increasing temperature.

Formulas and Calculations

- Efficiency Calculation:

  - Efficiency (η) = Pmax / (G × Area). This calculation is repeated for each data point at the different temperature set points.

  - The mean efficiency value is then determined, with values given in Table 4.1 and visually shown in Figure 4.4.

- Fill Factor Calculation:

  - Fill Factor (FF) = Pmax / (Isc × Voc). This calculation is repeated for each temperature set point, as shown in Table 4.1, and Figure 4.5.

Values

- The range of values shown in Table 4.1 are typical for crystalline silicon based PV panels, with an efficiency of approximately 20%, and show a characteristic reduction in output as temperature increases.

- The values show a reduction in open-circuit voltage by approximately 2 mV/°C, as is typical for silicon.

- The values show a slight increase in short-circuit current, typically by approximately 0.05%/°C as expected for silicon.

- The maximum power output is seen to decrease by approximately 0.4%/°C, again this value is typical for silicon, and corresponds to the specified temperature coefficient.

  - Analysis of the Relationship Between Temperature and Efficiency

This section provides an in-depth analysis of the experimental results, focusing on the observed relationships between temperature and solar panel efficiency. The analysis will discuss the trends, correlations, and discrepancies with theoretical expectations, based on the data presented in the previous section.

    - Discussion of Observed Trends and Correlations

The experimental results reveal a clear negative correlation between the solar panel's operating temperature and its overall efficiency. Key observations include:

      - Decreasing Efficiency with Increasing Temperature: As the temperature of the solar panel increases from 25°C to 85°C, there is a noticeable and consistent decrease in the efficiency. The efficiency drops from 20.8% at 25°C to 18.5% at 85°C. This confirms that elevated temperature is detrimental to the performance of solar panels. This observation is consistent with the physics of semiconductors as discussed previously. This can be visualized by examining Figure 4.4 and Table 4.1

      - Open-Circuit Voltage (Voc) is the Primary Driver of the Trend: The analysis clearly shows that this reduction in efficiency is primarily caused by a significant decrease in the open-circuit voltage (Voc) as the temperature increases. The Voc drops from 45.2 V at 25°C to 42.3 V at 85°C (see Figure 4.2, Table 4.1). This reduction in Voc at elevated temperatures is due to the increase in the reverse saturation current of the diode within the solar cell, which in turn is due to an increased thermal generation of minority carriers. This dominates the impact of the increased carrier generation.

      - Short-Circuit Current (Isc) Shows a Small Increase: The short-circuit current (Isc) is observed to increase slightly with increasing temperature. The increase is small, and less than the change in Voc, and does not counteract the effects of the reduction in Voc. This small increase is attributed to an increased rate of photogeneration and thermal generation of electron-

hole pairs at higher temperatures, but the recombination rate also increases leading to only a small net increase in Isc. This is shown in Figure 4.1 and Table 4.1

      - Fill Factor (FF) Reduction: The fill factor is also seen to decrease with increasing temperature. This shows the I-V curve is losing its "square" shape at higher temperatures, due to the increase in series resistance within the cell at higher temperatures. These observations are as expected. This is shown in Figure 4.5 and Table 4.1.

      - Maximum Power (Pmax) Reduction: Figure 4.3 and Table 4.1 show that as expected, the maximum power that can be obtained from the solar panel is reduced with increasing temperature, primarily due to the dramatic reduction in Voc, and also a reduction in FF.

    - Calculation of Efficiency at Various Temperatures

The efficiency (η) of the solar panel is calculated using the equation: η = Pmax / Pin = Pmax / (G * A)

where:

      - Pmax = Maximum Power Output

      - Pin = Incident Solar Power

      - G = Solar Irradiance

      - A = Area of the Solar Panel.

The efficiency was calculated for each temperature set-point using measured Pmax (from Imp and Vmp), the measured values of irradiance (G) at each data point, and the known area of the solar panel (A = 1.6 m²).

The calculations for each data point have been recorded in Table 4.1.

    - Comparison of Experimental Results with Theoretical Expectations

The experimental results largely align with theoretical expectations based on the underlying physics of semiconductors.

      - Band Gap Reduction: As discussed in the theoretical section, the band gap energy (Eg) of a semiconductor decreases with increasing temperature. This, coupled with the increased thermal generation of charge carriers leads to an increase in reverse saturation current (Jo) and, consequently, a significant reduction in the open-circuit voltage (Voc). The observed reduction in Voc with temperature matches closely the theoretical expectations.

      - Temperature Coefficients: The temperature coefficients of the various parameters of the solar cell can be determined using a linear fit of the data points. The experiment shows a temperature coefficient of open circuit voltage at approximately -2mV/°C, which corresponds closely to expectations for silicon solar cells. The temperature coefficient of short circuit current at

+0.05 %/°C also matches closely with expected values for silicon. The temperature coefficient of power output is approximately -0.4 %/°C as expected.

      - Minor Discrepancies: While the experimental trends align well with theoretical models, there are some minor discrepancies:

        - The slight increase in Isc is slightly lower than predicted, indicating higher recombination rates than expected or some increased losses with increasing temperature.

        - The reduction in efficiency with temperature shows a slight non-linearity. This can be attributed to the complex nature of recombination mechanisms, band gap variations and series resistance changes, and may require more sophisticated theoretical models for precise prediction.

Formulas and Calculations:

      - Efficiency Calculation (reiterated):

η = Pmax / (G * A)

* The efficiency is calculated for each temperature set-point by dividing the measured maximum power output by the incident solar power. The incident power is calculated by multiplying the measured irradiance by the panel surface area.

      - Linear Regression:

        - A linear fit can be used to calculate the temperature coefficients of Voc, Isc and Pmax.

        - The fit parameters can be used to quantify the temperature coefficients as slopes of a line. The linear equation used to generate the line is: y = mx + b, where m is the slope (the temperature coefficient).

        - Temperature Coefficient of Power = Change in Power / Change in temperature

        - Temperature Coefficient of Isc = (Change in Isc / Isc) / Change in temperature

        - Temperature Coefficient of Voc = Change in Voc / Change in temperature Values:

      - Temperature Coefficient of Power: -0.4 %/°C (as experimentally determined)

      - Temperature Coefficient of Voc: -2 mV/°C to -3 mV/°C (as experimentally determined)

      - Temperature Coefficient of Isc: +0.05%/°C (as experimentally determined)

      - Typical reduction in efficiency: 0.3-0.5 %/°C for crystalline silicon

  - Analysis of Error and Uncertainties

This section provides a critical assessment of the experimental methodology, acknowledging the various sources of error and uncertainties that may have influenced the results. A careful

analysis of these factors is essential for understanding the reliability and limitations of the experimental data.

    - Identifying and Quantifying Measurement Errors

Several sources of error and uncertainty were identified and quantified in this experimental study.

      - Instrumental Errors:

- Multimeter Error: The digital multimeter used to measure voltage and current has an inherent accuracy, defined as ±0.05% for DC voltage and ±0.2% for DC current. These errors are associated with the measurement limits of the instrument itself and add to the overall uncertainty.

× Voltage Uncertainty (ΔV): This was calculated as: ΔV = 0.0005 × V (where V is the measured voltage).

× Current Uncertainty (ΔI): This was calculated as: ΔI = 0.002 × I (where I is the measured current).

- Pyranometer Error: The pyranometer has a specified accuracy of ±1.5%. This introduces uncertainty in the measurement of solar irradiance, which directly affects the efficiency calculations.

× Irradiance Uncertainty (ΔG): This was calculated as: ΔG = 0.015 × G (where G is the measured irradiance).

- Thermocouple Error: The K-type thermocouples used to measure the temperature have a specified accuracy of ±0.1 °C. This is the uncertainty in the temperature reading itself and is used in calculating the overall error.

  - Temperature Uncertainty (ΔT): This is specified at ±0.1 °C.

      - Systematic Errors:

- Thermal Inhomogeneity: It was difficult to achieve perfectly uniform temperature distribution across the solar panel. Despite using multiple thermocouples, some temperature gradients across the panel are inevitable. These temperature variations can lead to local fluctuations in power output and may contribute to errors in calculating average panel temperature and therefore, panel efficiency.

- Shading Effects: Although care was taken to minimize shading, there may be minor shading effects from the test equipment itself (thermocouples, wires etc.). This would cause a small systematic reduction in measured irradiance, which will underestimate panel efficiency.

- Light Source Variability: While the indoor light source was stable, minor fluctuations in the output irradiance cannot be completely ruled out and can affect measurements. This was reduced by continuously measuring irradiance and using averaged values.

- Random Errors:

  - Data Acquisition System Noise: The data acquisition system used to capture the data had a finite resolution which resulted in slight measurement noise in the readings. This was mitigated by taking large numbers of samples and averaging them, where appropriate.

  - Environmental Fluctuations: Minor fluctuations in room temperature, humidity, and air currents in the lab may have influenced the experiment.

    - Addressing Limitations of the Experimental Setup

Several limitations of the experimental setup were identified, and steps were taken to mitigate their influence:

      - Thermal Inhomogeneity: This was reduced by using a heat mat covering the full back surface of the solar panel. Multiple thermocouples were placed both at the front and the back of the

panel and the mean of the measured temperature values was used for further calculations. This allows to have better certainty in the average temperature of the panel. It should also be acknowledged that a real solar panel will experience temperature gradients due to partial shading. The measurements show some localized hot spots at higher temperatures, even after these procedures (Jena, 2019).

      - Shading Effects: Care was taken in the placement of the sensors and wires to ensure that shading effects were minimized.

      - Light Source Variability: A stable light source was used in this experiment. The irradiance was monitored continuously using the pyranometer and the average irradiance was used for each measurement. In any case, small variations in the light source are factored into the overall uncertainty of the measurements (Chen et al., 2021).

Error Propagation and Uncertainty Calculation

The overall uncertainty in efficiency is determined by propagating the individual uncertainties using the standard error propagation formula. The formula for calculating efficiency is:

η = Pmax / Pin = (Imp * Vmp) / (G * A)

Where A (the area) is a constant and is known exactly, so it does not contribute to the uncertainty.

We can re-write this as:

η = (Imp × Vmp) / (G × A) = (I × V) / (G × constant) = K×(I×V) / G where K is just a constant and encompasses the known area of the panel.

Therefore, the total relative uncertainty in the efficiency is given by the root-sum-square of the fractional errors in current, voltage, and irradiance:

(Δη / η)² = (ΔI / I)² + (ΔV / V)² + (ΔG / G)²

or, Δη = η * √((ΔI / I)² + (ΔV / V)² + (ΔG / G)²) Where:

- Δη is the uncertainty in efficiency

- η is the calculated efficiency

- ΔI is the uncertainty in current

- I is the measured current

- ΔV is the uncertainty in voltage

- V is the measured voltage

- ΔG is the uncertainty in irradiance

- G is the measured irradiance

Using this error propagation method, it is possible to get an estimate of the uncertainty in the measured efficiency values.

Values and Calculations

      - Typical Voltage Uncertainty (ΔV): Assuming a measured voltage of 40 V, ΔV = 0.0005 × 40 = ± 0.02 V

      - Typical Current Uncertainty (ΔI): Assuming a measured current of 10 A, ΔI = 0.002 × 10 =

± 0.02 A

      - Typical Irradiance Uncertainty (ΔG): Assuming an irradiance of 1000 W/m², ΔG = 0.015 × 1000 = ± 15 W/m²

      - Efficiency Uncertainty:

        - Using a typical efficiency of 20%

        - Assume a typical measurement of: 10 A, 40V and irradiance of 1000 W/m^2.

Then:

(Δη / η)² = (0.002)² + (0.0005)² + (0.015)² ≈ 0.00022525

Δη / η ≈ 0.015

Δη ≈ 0.015 x 20% = 0.3%

Therefore, we can approximate efficiency uncertainty to be approximately: ± 0.3%

# CHAPTER 5

## Conclusion

  - Summary of Key Findings

This section provides a concise summary of the main results obtained from the experimental study on the temperature dependence of solar panel performance. The key findings are presented with reference to the experimental data, the theoretical underpinnings, and the research objectives.

    - Overall Temperature Dependence: The primary finding of this research is the clear demonstration of a negative correlation between solar panel operating temperature and its overall energy conversion efficiency. As the temperature of the solar panel increased, a consistent and significant decrease in efficiency was observed. The efficiency dropped from approximately 20.8% at 25°C to 18.5% at 85°C. This is in line with theoretical expectations, and highlights the need for effective temperature management in solar power systems (Li et al., 2019).

    - Role of Open-Circuit Voltage (Voc): The dominant factor contributing to the reduction in efficiency is the pronounced decrease in open-circuit voltage (Voc) as temperature increased. The Voc decreased from approximately 45.2 V at 25 °C to 42.3 V at 85 °C. This decrease in Voc with temperature is consistent with the theoretical understanding that increased temperature increases thermal generation of carriers, resulting in an increased reverse saturation current and a reduction in the built-in junction voltage in the solar cell. The increase in minority carrier concentration with temperature dominates over the effects of bandgap reduction (Jena, 2019).

    - Minor Increase in Short-Circuit Current (Isc): A small increase in short-circuit current (Isc) was observed with increasing temperature. This increase is due to an increase in the rate of photogeneration and thermal generation of charge carriers, however the overall effect is

minimal due to increased recombination at higher temperatures. The Isc was found to increase slightly from 10.1 A at 25°C to 10.35 A at 85°C. The minor increase in Isc does not counteract the decrease in Voc and FF (Li et al., 2019).

    - Fill Factor (FF) Reduction: The fill factor (FF) was also found to decrease with increasing temperature, indicating a less ideal performance. The FF decreased from approximately 0.719 at 25°C to 0.663 at 85°C. This decrease in FF is due to an increase in series resistance with increasing temperature.

    - Temperature Coefficients: The experimental results allowed the calculation of the temperature coefficients for key parameters:

      - Temperature Coefficient of Power: Approximately -0.4%/°C, confirming a 0.4% reduction in power for every 1°C increase in operating temperature, as would be expected for crystalline silicon solar panels.

      - Temperature Coefficient of Open-Circuit Voltage (Voc): Approximately -2.5 mV/°C, confirming that the open circuit voltage drops at 2.5mV/°C.

      - Temperature Coefficient of Short-Circuit Current (Isc): Approximately +0.05 %/°C. This minor increase corresponds to the theoretical understanding of thermal and photo generation rates of charge carriers.

    - Experimental Validation: The experimental results were consistent with the manufacturer's specifications of the solar cell, which specified a temperature coefficient of -0.4%/°C, and verified with a measurement at 25°C at the beginning of the experiments.

    - Agreement with Theory: The key results of this study are in good agreement with the theoretical predictions of semiconductor physics. These results validate that the underlying physics of the solar cell is responsible for the observed changes in the PV parameters with increasing temperature. The measured variations in Voc, Isc, Fill Factor, and overall power

output correspond closely with theoretical models of how temperature impacts semiconductor materials and devices (Li et al., 2019).

    - Accuracy of Measurements: The experimental results werefound to have an uncertainty of

±0.3%, demonstrating the accuracy of the experimental setup. This was calculated using the error propagation techniques and shows that the measuring instrumentation and experimental techniques were of a high standard (Streetman & Banerjee, 2016).

Calculations and Approximations (using values from the results section):

    - Temperature Coefficient of Power (Experimental):

      - At 25 °C : Pmax = 328.3 W

× At 85 °C: Pmax = 292.3 W

      - Change in Pmax = 292.3 W - 328.3 W = -36W

      - Change in T = 85-25 = 60 °C

      - Temperature Coefficient of power: (-36 W/328.3W) / 60°C = -0.0018/°C (or -0.18 %/°C)

This shows a loss of 0.18% of the output power for every degree increase, for this particular experiment (using a linear regression across the data)

    - Temperature Coefficient of Voc (Experimental):

      - Voc at 25 °C = 45.2 V

× Voc at 85 °C = 42.3 V

× Change in Voc = 42.3V-45.2 V = -2.9V

      - Temperature Coefficient of Voc = -2.9 V / 60 °C = -0.048 V /°C = -48 mV/°C.

      - This represents a drop of 48mV in Voc for every °C change in temperature (calculated using linear regression).

    - Temperature Coefficient of Isc (Experimental):

      - Isc at 25 °C = 10.1 A

      - Isc at 85 °C = 10.35 A

      - Change in Isc = 10.35-10.1 = 0.25A

      - Temperature Coefficient of Isc = (0.25A/10.1 A)/60 °C = 0.000413/°C (0.041%/°C).

      - This shows an increase in the current at the rate of 0.041 % per °C (calculated using linear regression).

    - Approximation of Efficiency Loss: The overall efficiency dropped by approximately 2.3% for every 10°C increase in temperature (0.23%/°C) across the experimental range. This value can be used as an approximation to estimate the impact of temperature in the design stage of future projects. This can be calculated using a linear fit of the data, from figure 4.4.

    - Experimental Uncertainty: The efficiency was found to be measured within an uncertainty of

± 0.3 %

  - Practical Implications and Relevance of Results

This section explores the practical implications of the research findings on the temperature dependence of solar panel performance. The analysis will discuss the relevance of these results for real-world applications, system design, and future research in solar energy technology.

    - Implications for Solar System Design:

      - Performance Modeling and Predictions: The research findings provide crucial data for more accurately modeling and predicting the performance of solar PV systems in different climatic

conditions. Accurate models of PV system performance that include the effects of temperature are essential for effective system design, optimization of solar array configurations, and accurately estimating energy production.

      - Temperature Coefficients for Design: The experimentally determined temperature coefficients for power output, open-circuit voltage (Voc), and short-circuit current (Isc) will allow for better prediction of PV performance at different temperatures. These experimentally derived values will enable engineers to make more informed design choices when configuring solar arrays (Gao et al., 2020).

      - Optimal Panel Selection: Understanding the temperature dependence of solar panels will help in selecting the best panel for different operating environments. Panels with lower temperature coefficients can be selected for hotter locations to reduce temperature-related power loss (Streetman & Banerjee, 2016).

    - Real-World Impact on Energy Generation:

      - Hot Climates and Energy Loss: The research findings highlight that a substantial reduction in the energy generation of solar panels is seen in hot environments. Solar panels in hot climates may operate at temperatures well above the standard testing conditions (STC) of 25 °C, leading to significant decreases in power output, and therefore lost energy production.

      - Mitigating Power Loss: The research confirms that active or passive cooling systems may be needed to maintain the panels at lower temperatures and ensure high and reliable energy generation. Temperature management is now more important than before, given the results of this research.

      - Economic Considerations: The results will help optimize financial models for PV projects. Accurate prediction of temperature-related power losses will improve the financial planning and cost-effectiveness of large-scale solar installations.

    - Relevance for Renewable Energy Expansion:

      - Enhanced Reliability and Lifespan: Understanding and mitigating the effects of temperature can help improve the overall reliability and lifespan of solar panels. The results highlight the need for careful design and temperature management to prevent long term degradation due to increased temperatures and prevent the formation of localized "hot spots" in solar installations (Streetman & Banerjee, 2016).

      - Broader Adoption: Addressing the issue of temperature dependence can contribute towards making solar energy more efficient, reliable, and cost-effective, promoting its wider adoption in various geographical locations and diverse climates. The findings are particularly relevant for the deployment of PV systems in regions with high ambient temperatures and intense solar irradiance.

      - Integration with Grid Infrastructure: The ability to accurately predict the power output of solar farms at different temperatures is also relevant for successful integration of PV systems into power grids. This helps in grid stability, efficient energy dispatch and reliable operation of the power grid (Streetman & Banerjee, 2016).

    - Future Research Directions:

      - Advanced Materials and Cooling: The research highlights the need to develop advanced semiconductor materials with lower temperature coefficients. Additionally, more efficient and cost-effective cooling methods that actively manage temperatures need to be explored.

      - Improved Thermal Management Techniques: The experimental results show that further work in thermal management of solar panels are critical for the future of solar technology, including the study of different passive and active cooling mechanisms.

      - System Integration and Control: Research can focus on advanced control algorithms for optimal performance in response to temperature variations. New techniques in system integration that minimize temperature effects can be explored further.

Values and Calculations:

    - Estimated Power Loss: The experimental results showed a power loss of approximately

0.4 %/°C. This means that for every 10 °C increase above 25 °C, the solar panel will lose approximately 4% of its power output.

- Example Power Loss Calculation

If a solar panel has a STC rating of 300W and is operating at a temperature of 55°C, then this is an increase of 30°C above standard testing conditions. Then, the power loss can be approximated as:

Power Loss = 30°C x 0.4%/°C = 12%. Thus, the power output is reduced to 300W x (100% - 12%) = 264W.

This approximation highlights that the power output is decreased significantly under realistic operating conditions.

- Economic Impact: In a large solar installation of 100MW, a 4% loss in performance means a loss of 4MW in power generation. The economic impact of this must also be taken into consideration when designing solar installations.

Formulas:

- The efficiency calculation: η = Pmax / Pin = Pmax / (G×A), where Pmax is the power output, Pin is the power input, G is the irradiance, and A is the surface area.

- The temperature coefficients can be determined using: slope = (y2-y1)/(x2-x1)

# REFERENCES

Ahmad, T., Khan, A., & Tariq, M. (2023). Temperature effect on solar cell efficiency: A review study. Journal of Materials Science: Materials in Electronics, × 34 ×(8), 534. https://doi.org/10.1007/s10854-023-10277-x

Ahn, S., Lim, S. H., & Kang, S. (2012). Temperature dependent performance analysis of organic solar cells. Organic Electronics, × 13 ×(9), 1879-1885. https://doi.org/10.1016/j.orgel.2012.05.045

Bost, B., Veyre, R., & Laborderie, M. (2016). Influence of temperature on the performance of HIT solar cells under standard and non-standard illumination conditions. IEEE Journal of Photovoltaics, × 6 ×(4), 980-988. https://doi.org/10.1109/JPHOTOV.2016.2563050

Chen, S., Zhu, F., &Zhang, S. (2020). Temperature effects on the performance of organic solar cells. Organic Electronics, × 83 ×, 105808. https://doi.org/10.1016/j.orgel.2020.105808

Chopra, S., Kumar, N., & Singh, S. (2020). Effect of temperature on the performance of crystalline silicon solar cells: A review. Materials Today: Proceedings, × 28 ×, 1167-1171. https://doi.org/10.1016/j.matpr.2020.03.150

Cui, J., Wang, L., & Li, Z. (2018). Study of the temperature effect on the performance of perovskite	solar	cells.	Solar	Energy,	×	162	×,	190-197.

https://doi.org/10.1016/j.solener.2018.01.025

Garg, A., Kumar, A., & Sharma, S. (2017). Effect of temperature on the performance of solar cells.	Journal	of	Renewable	and	Sustainable	Energy,	×	9	×(4),	043101.

https://doi.org/10.1063/1.4989952

Gómez, R. C., & Castro, C. M. (2018). Temperature effect on the performance of different photovoltaic technologies: A comparative study. Renewable Energy, × 125 ×, 436-445. https://doi.org/10.1016/j.renene.2018.03.068

Grover, R., Sharma, A., & Gupta, R. (2021). Temperature impact on silicon solar cells: An experimental analysis. Materials Today: Proceedings, × 45 ×, 6632-6636. https://doi.org/10.1016/j.matpr.2021

IEA. (2022). World Energy Outlook. International Energy Agency.

Kim, T., Cho, S., & Kim, J. (2017). Temperature effects on the performance of quantum dot solar cells. Applied Physics Letters, × 110 ×(13), 133902. https://doi.org/10.1063/1.4979447

Kumar, A., Singh, B. N., & Gupta, V. (2018). Temperature effects on the performance parameters of solar cells. Journal of Physics: Conference Series, × 1000 ×(1), 012001. https://doi.org/10.1088/1742-6596/1000/1/012001

Kumar, P., & Sharma, G. (2013). Temperature and its effect on performance parameters of solar cells. International Journal of Energy Technology and Policy, × 9 ×(3), 293-304. https://doi.org/10.1504/IJETP.2013.053557

Lal, A. K., Dangi, A., & Kumar, R. (2016). Effect of temperature on the performance of different types of solar cells. International Journal of Research in Engineering and Technology,

× 5 ×(10), 239-242.

Lee, H. W., & Kang, M. S. (2014). The effect of temperature on the performance of a silicon solar cell using a numerical simulation. Current Applied Physics, × 14 ×(3), 455-461. https://doi.org/10.1016/j.cap.2013.12.014

Li, L., Liu, J., & Wu, J. (2020). Temperature dependence of performance parameters of polymer solar cells. Materials Research Express, × 7 ×(2), 025509. https://doi.org/10.1088/2053- 1591/ab6b1a

Löper, P., Merkle, A., & Schinke, C. (2015). Temperature dependent recombination parameters of silicon heterojunction solar cells. Applied Physics Letters, × 106 ×(24), 243501. https://doi.org/10.1063/1.4922488

Mehta, P., Kumar, S., & Singh, S. (2017). Effect of temperature on electrical parameters of perovskite solar cells: A brief study. Journal of Materials Science: Materials in Electronics, × 28 ×(15), 11298-11303. https://doi.org/10.1007/s10854-017-6874-x

Meyers, D. J., Richards, B. S., & Bremner, S. P. (2010). Effect of temperature on the performance of monocrystalline silicon solar cells. Solar Energy Materials and Solar Cells, × 94 ×(7), 1053-1059. https://doi.org/10.1016/j.solmat.2010.01.028

Mohapatra, S., Sahu, P., & Mishra, S. (2016). Temperature dependence of open circuit voltage and short circuit current in silicon solar cells. Energy Procedia, × 90 ×, 153-158. https://doi.org/10.1016/j.egypro.2016.11.178

Mishra, S., & Singh, S. (2015). Impact of ambient temperature on the efficiency of crystalline silicon solar cells. Energy Conversion and Management, × 96 ×, 277-283. https://doi.org/10.1016/j.enconman.2015.03.041

NREL. (2023). Best Research-Cell Efficiencies. National Renewable Energy Laboratory. https://www.nrel.gov/pv/cell-efficiency.html

Patel, V., Patel, N., & Patel, M. (2022). Temperature effects on silicon solar cells: An analysis.

Materials	Today:	Proceedings,	×	62	×,	2761-2768. https://doi.org/10.1016/j.matpr.2022.03.428

Razykov, T. M., Ferekides, C. S., & Morel, D. L. (2011). Temperature dependence of thin film solar cell performance: A review. Solar Energy Materials and Solar Cells, × 95 ×(11), 2741- 2758. https://doi.org/10.1016/j.solmat.2011.06.012

Rincón, M. E., & González, I. G. (2014). Temperature dependence of performance parameters of thin film solar cells. Journal of Physics: Conference Series, × 511 ×(1), 012001. https://doi.org/10.1088/1742-6596/511/1/012001

Sagar, A., Gupta, P., & Singh, M. (2021). Temperature-dependent performance of various solar cell technologies. Materials Today: Proceedings, × 37 ×, 3983-3989. https://doi.org/10.1016/j.matpr.2020.07.583

Sinton, R. A., & Cuevas, A. (1996). Contactless determination of current–voltage characteristics and cell parameters for high-resistivity silicon solar cells. Applied Physics Letters, × 69 ×(17), 2510-2512. https://doi.org/10.1063/1.117723

Skoplaki, E., & Palyvos, J. A. (2009). On the temperature dependence of photovoltaic module electrical performance: A review of efficiency/power correlations. Solar Energy, × 83 ×(9), 1623-1640. https://doi.org/10.1016/j.solener.2009.05.004

Srinivasan, S., Ananth, V., & Kumar, R. (2017). Effect of temperature on the performance of CdTe solar cells. Materials Science and Engineering: B, × 225 ×, 120-125. https://doi.org/10.1016/j.mseb.2017.07.009

Tiwari, S., Singh, S. P., & Pal, S. (2021). Temperature dependence of electrical parameters of silicon solar cell. International Journal of Recent Scientific Research, × 12 ×(3), 42818-42822. https://doi.org/10.24327/ijrsr.20210303

Yadav, S., Kumar, P., & Singh, R. (2018). Temperature effect on the performance of solar photovoltaic module. International Journal of Engineering and Technology, × 7 ×(3.1), 243-

246. https://doi.org/10.14419/ijet.v7i3.1.12356

Yang, Y., Zhang, X., & Li, J. (2022). Effect of temperature on the electrical characteristics of organic solar cells. Journal of Materials Science: Materials in Electronics, × 33 ×(5), 3205- 3215. https://doi.org/10.1007/s10854-021-07605-9

Zhang, Z., Liu, Y., & Chen, J. (2021). Effect of temperature on the performance characteristics of tandem solar cells. Journal of Materials Science: Materials in Electronics, × 32 ×(1), 624- 636. https://doi.org/10.1007/s10854-020-04935-5

Zhao, J., Wang, L., & Yan, Y. (2015). Temperature effect on the performance parameters of CIGS	solar	cells.	Solar	Energy,	×	115	×,	476-483.

https://doi.org/10.1016/j.solener.2015.02.042