### DESIGN AND CONSTRUCTION OF A 3KVA SOLAR INVERTER USING 24VOLTZ BATTERY

### BY

ISSA ASANAT BOLUWATIFE

HND/23/SLT/FT/1036

SUBMITTED TO:

DEPARTMENT OF SCIENCE LABORATORY TECHNOLOGY

(PHYSICS UNIT), INSTITUTE OF APPLIED SCIENCES (IAS),

KWARA STATE POLYTECHNIC, ILORIN.

IN PARTIAL FULFILMENT OF THE REQUIREMENTS FOR THE AWARD OF HIGHER NATIONAL DIPLOMA (HND)

IN SCIENCE LABORATORY TECHNOLOGY (SLT)

SUPERVISED BY:

MR. AGBOOLA A. O.

2024/2025 SESSION

CERTIFICATION

This is to certify that this project work has been written by ISSA ASANAT BOLUWATIFE with matric number HND/23/SLT/FT/1036 and has been read and approved as meeting the parts of the requirements for the award of Higher National Diploma (HND) in Science Laboratory technology Department, Institute of Applied Sciences, Kwara State Polytechnic.

_____________________________			___________________

MR. AGBOOLA O. A.					DATE

(Project Supervisor)

_____________________________			___________________

DR. USMAN A.					DATE

(Head of Department)

_____________________________			___________________

MR. SALAHU BASHIR.                                                  DATE

(Head of Unit)

_____________________________			___________________

(External Supervisor).                                                   DATE

DEDCATION

I dedicate this project to God Almighty the author and the finisher of my faith,the giver and taker of lives and my inspiration.

To Issa family I say thank you  for their endless love ,to Prophetess Funmilayo Elizabeth Taiwo and her family I’m saying thank you for there support .And lastly to Ayanbode Ayomide Abdullateef thank you for all you have done

ACKNOWLEDGEMENT

All praise is due to Almighty Allah, the Beneficent, the Most Merciful, for His immense support, grace, and the gift of life. I thank Him sincerely for granting me the privilege and strength to begin and complete this project. He is the Giver of knowledge, wisdom, and understanding, and without His guidance, this achievement would not have been possible.

I would like to express my deep and heartfelt gratitude to my project supervisor, Mr. Agboola O. A., for his consistent support, guidance, and constructive criticism throughout this project. His encouragement and expert advice played a significant role in helping me complete this work successfully. I am also grateful to all my lecturers in the Science Laboratory Technology Department for their dedication, commitment, and valuable input during the course of my studies. May Almighty Allah reward and favor you all abundantly, and may He continue to bless you and your families.

I wish to acknowledge the unending love, support, and sacrifices of my beloved guardians, Mr. and Mrs. Issa From the day I was born up until this stage of my academic journey, you have stood by me morally, financially, and spiritually. Your care and devotion mean the world to me, and I pray that Almighty Allah grants you long life, good health, and the opportunity to enjoy the fruits of your labor. May His blessings be upon you always. Ameen.

TABLE OF CONTENTS

Title Page

Approval Page

Dedication

Acknowledgement

Abstract

Table of Content

CHAPTER ONE

1.0	Introduction

1.1	Objective of the project

1.2	Significance of the project

1.3	Application of the project

1.4	Scope of the project

1.5	Limitation of the project

CHAPTER TWO

2.0 Literature review

2.1 History of an inverter

2.2 How to choose the right inverter

2.3 The difference between sine-wave and modified sine-wave inverter

2.4 Inverter capacity

2.5 Safety of inverter

2.6 Inverter rating

CHAPTER THREE

3.0	Methodology

3.1	Basic designs of an inverter

3.2	Block diagram of the system

3.3	System operation

3.4	Circuit diagram

3.5	Circuit description

3.6	Description of components used

3.7	How to choose a right inverter and battery

CHAPTER FOUR

4.0	Result analysis

4.1	Construction procedure and testing

4.2	Casing and packaging

4.3	Assembling of sections

4.3	Testing of system operation

4.4	Cost analysis

CHAPTER FIVE

5.0	Results, conclusion, and recommendations

5.1	Summary of findings

5.2	Result analysis

5.3	Conclusion

5.4	Recommendation for improvement

5.5	Future work

REFERENCES

APPENDICES

ABSTRACT

This project focuses on the design and construction of a 3KVA solar inverter powered by a 24V battery system. With the rising demand for renewable energy solutions and the frequent instability of the national power grid, solar inverters provide a reliable alternative for uninterrupted power supply, especially in off-grid and rural areas. The inverter system converts direct current (DC) from a solar-charged battery into alternating current (AC), suitable for powering standard household and office appliances. The design incorporates key components such as a pulse-width modulation (PWM) controller, MOSFET switching devices, a step-up transformer, and protective features like overload and short-circuit protection. The SG3525 integrated circuit was used to generate the required PWM signal, and the output was filtered to produce a stable pure sine wave. Performance tests confirmed that the inverter could reliably handle loads up to 3000 watts, maintaining consistent voltage and frequency levels. The system showed efficiency, cost-effectiveness, and suitability for small- to medium-scale applications. This project demonstrates the potential of solar inverters as sustainable power solutions, contributing to energy security and environmental conservation.

Keywords: Solar Inverter, Renewable Energy, 3KVA, 24V Battery, PWM, DC to AC Conversion, MOSFET, SG3525, Pure Sine Wave.

CHAPTER ONE

1.0	INTRODUCTION

A   power inverter convert DC power (also known as direct current), to standard AC power (alternating current). Inverter is used to operate electrical equipment from the power produced by a car or boat battery or renewable energy sources, like solar panel or wind turbines. DC power is what batteries store, while AC power is what most electrical appliance needs to run so an inverter is necessary to convert the power into a usable form. For example, when a cell phone is plugged into a car cigarette lighter to recharge, it supplies DC power; this must be converted to the required AC power by a power inverter to charge the phone. Most AC motors will run on MSW inverters with an efficiency reduction of about 20% due to the harmonic content reliably substitute traditional power grids, thereby reducing carbon footprints and promoting sustainable energy practices.

Overall, this chapter lays the foundation for a comprehensive exploration of the design, construction, and evaluation of the proposed 3KVA solar inverter. The ensuing sections will elaborate on the detailed design methodology, component selection, circuit configuration, and performance testing. This research not only builds upon existing literature in the field of power electronics and renewable energy systems but also aims to bridge the gap between theoretical frameworks and practical implementations.

Figure 1: Solar Inverter Garcia, 2022).

1.1	OBJECTIVE OF THE PROJECT

- Efficient DC-to-AC Conversion: Design and construct a 3KVA solar inverter that effectively converts DC power from a 24V battery into AC power suitable for various applications.

- High Conversion Efficiency: Achieve high efficiency in power conversion while minimizing energy losses and ensuring a stable output under variable load conditions.

- Advanced Control Mechanisms: Incorporate intelligent control algorithms to manage load variations and optimize the inverter's performance.

- Protective Features: Integrate essential safeguards such as overvoltage, overcurrent, and thermal overload protection to enhance the system's reliability and longevity.

- Robust Cooling and Surge Protection: Implement a reliable cooling system and surge protection mechanisms to ensure safe operation even under extreme conditions.

- Cost-Effectiveness and Scalability: Develop a design that is not only cost-effective but also modular and scalable, making it easier to integrate into existing solar energy systems.

- Comprehensive Performance Validation: Conduct extensive performance testing and validation under real-world conditions to verify the inverter's operational efficacy and durability.

1.2	SIGNIFICANCE OF THE PROJECT

The signifacance of this project is to harness renewable energy by designing and constructing a 3KVA solar inverter powered by a 24V battery. This system is intended to convert DC power generated from solar panels into AC power that is compatible with common electrical appliances. By doing so, it seeks to provide a sustainable, efficient, and reliable source of electricity for both residential and small commercial applications, (Kumar, 2020).

Additionally, the project aims to address the inefficiencies and limitations commonly associated with traditional inverters. Through the integration of advanced control algorithms, robust protection mechanisms, and effective thermal management, the inverter is designed to optimize energy conversion, reduce losses, and ensure stable performance under varying load conditions. This approach not only enhances operational safety and durability but also contributes to a reduction in overall energy consumption, (Harris, 2019; Lee, 2021).

Ultimately, the project supports the broader goal of promoting environmental sustainability by reducing dependence on fossil fuels and lowering greenhouse gas emissions. By efficiently converting solar energy into usable electrical power, the inverter serves as a critical component in the transition towards cleaner energy solutions, paving the way for wider adoption of renewable energy technologies in diverse settings, (Garcia, 2022).

1.3	APPLICATION OF THE PROJECT

The application of this project lies in its potential to bridge the gap between renewable energy generation and practical, reliable power consumption. By designing a 3KVA solar inverter powered by a 24V battery, the project directly addresses the challenges of efficient energy conversion and storage, which are pivotal in the current shift towards sustainable energy solutions, (Kumar, 2020).

This innovative approach not only enhances the operational reliability and performance of solar inverters but also contributes to reducing dependency on fossil fuels. With improved conversion efficiency and integrated protective features, the inverter promises a more resilient power supply, particularly beneficial in regions with unstable grid connectivity or off-grid locations, (Harris, 2019).

Moreover, the project demonstrates the application of advanced control algorithms and thermal management techniques, setting a benchmark for future research and development in power electronics. It offers a scalable and cost-effective solution that can be adapted to various power requirements, thereby fostering wider adoption of renewable energy systems, (Lee, 2021).

Overall, the project not only supports the global drive towards environmental sustainability by lowering carbon emissions but also plays a critical role in empowering communities with reliable and clean energy alternatives, paving the way for a more energy-secure future, (Garcia, 2022).

1.4	SCOPE OF THE PROJECT

The system is limited by battery capacity, weather-dependent solar charging, and lacks advanced control and protection features found in more sophisticated commercial inverters. Furthermore, scalability poses a challenge. The current design, optimized for a 3KVA output, might require significant modifications to accommodate larger power requirements or integration with existing grid systems. Such modifications could complicate the design process and escalate costs, thereby restricting the broader applicability of the project.

1.5	LIMITATION OF THE PROJECT

Despite the successful design and construction of the 3kVA solar inverter system, the project encountered several limitations which affected performance, scalability, and cost-efficiency. These limitations include:

Cost Constraints: Quality components such as high-efficiency MOSFETs, MPPT charge controllers, and lithium-ion batteries were limited by budget. More advanced technologies could not be utilized due to financial restrictions.

Battery Capacity and Type: The inverter was tested using lead-acid batteries due to availability and cost. These batteries have lower efficiency, shorter lifespan, and require regular maintenance compared to modern lithium-based alternatives.

Solar Input Limitation: The solar panel array size was limited, which reduced the total energy harvested. This affects the inverter’s ability to sustain heavy loads during low-sunlight conditions or extended cloudy days.

Cooling Mechanism: The inverter relies on passive or basic fan cooling. Under continuous high loads or in hot climates, this may not be sufficient to prevent overheating and could reduce component lifespan.

Efficiency Losses: Due to the use of locally sourced components and basic circuit design, the system experienced conversion losses during DC-AC inversion, reducing overall energy efficiency.

Limited Load Handling: Although rated at 3kVA, the inverter may not reliably handle inductive or motor loads (like refrigerators or pumps) at full capacity due to surge current limitations.

Lack of Advanced Features: The inverter lacks features like remote monitoring, automatic load switching, and real-time fault diagnostics, which are common in modern commercial inverters.

Environmental Factors: The performance of the system may degrade under extreme environmental conditions such as high humidity, dust, or temperature fluctuations, due to lack of protective enclosures and weatherproofing.

CHAPTER TWO

2.0	LITERATURE REVIEW

The integration of solar energy into modern power systems has spurred extensive research on photovoltaic (PV) technologies and their associated power conversion systems. Early studies emphasized the importance of efficient energy conversion mechanisms to maximize the output from solar panels while minimizing energy losses (Anderson, 2018). This foundational work has paved the way for innovations in inverter technology, particularly the transition from modified sine wave designs to pure sine wave inverters, which offer superior power quality and compatibility with a broader range of electrical appliances, (Harris, 2019).

Recent literature has focused on the design and optimization of solar inverters, where advancements in power electronics have been instrumental. Researchers have explored various inverter topologies—such as full-bridge and half-bridge configurations—and have analyzed their respective efficiencies under different operating conditions, (Kumar, 2020). Pulse Width Modulation (PWM) techniques have been highlighted as a critical method for controlling the switching of semiconductor devices, thereby reducing harmonic distortion and improving overall system efficiency, (Lee, 2021). These studies underscore the need for a balanced approach between hardware design and control strategy to achieve optimal performance.

Another significant area of research pertains to the integration of battery systems with solar inverters. The use of a 24V battery configuration, as examined in several studies, presents both opportunities and challenges. On one hand, low-voltage battery systems can be more cost-effective and easier to manage; on the other, they require careful consideration of energy storage capacity, discharge characteristics, and safety measures, (Garcia, 2022). Literature in this domain has emphasized the importance of robust battery management systems and effective thermal management strategies to ensure longevity and safety, particularly in environments with variable loads and temperature fluctuations.

Furthermore, studies have addressed the complexities of incorporating advanced control algorithms into inverter designs. These algorithms are crucial for dynamic load management and protection against overvoltage, overcurrent, and thermal overload. The literature reveals that while sophisticated control strategies can significantly enhance inverter performance, they also introduce additional layers of complexity and potential failure points if not properly calibrated, (Kumar, 2020; Lee, 2021). As a result, research continues to explore methods to simplify control architectures without compromising on safety or efficiency.

Overall, the literature indicates that while substantial progress has been made in solar inverter design, gaps remain in achieving a design that is both cost-effective and capable of delivering high-quality AC power from a low-voltage DC source. This project aims to address these gaps by developing a 3KVA solar inverter using a 24V battery, integrating the best practices from previous research while introducing novel solutions to enhance performance and reliability.

2.1	HISTORICAL BACKGROUND OF INVERTER

The origins of inverter technology can be traced back to the early 19th century with the discovery of the photovoltaic effect by Edmond Becquerel in 1839. While experimenting with an electrochemical cell, Becquerel observed that exposure to light generated a small electrical current, marking the first indication that sunlight could be converted into electricity, (Anderson, 2018).

Significant strides in the practical application of this phenomenon were made in the mid-20th century. In 1954, researchers at Bell Labs developed the first practical silicon solar cell, achieving conversion efficiencies that made it suitable for early applications such as powering space satellites, (Kumar, 2020). This breakthrough demonstrated the potential of solar energy conversion and laid the groundwork for further advancements in inverter technology.

During the 1960s and 1970s, continued improvements in semiconductor materials and manufacturing processes led to enhanced cell efficiencies and more durable designs. The oil crisis of the 1970s further accelerated research and investment in alternative energy sources, prompting governments and private sectors to explore renewable energy solutions more aggressively, (Harris, 2019; Lee, 2021). This era saw gradual commercialization as photovoltaic cells began to be deployed in various niche applications, paving the way for broader market acceptance.

In recent decades, rapid technological progress combined with economies of scale has drastically reduced the cost of photovoltaic cells. Advances such as thin-film and multi-junction solar cells have expanded the applications of photovoltaic technology from small residential installations to large-scale solar farms, (Garcia, 2022). Today, photovoltaic cells are at the forefront of renewable energy systems, embodying the transition from early experimental discoveries to a cornerstone of sustainable energy worldwide.

2.2	THEORY OF INVERTER

At the heart of inverter technology lies the photovoltaic effect, where light energy is directly converted into electrical energy through the excitation of electrons. When photons strike a semiconductor material—most commonly silicon—they impart enough energy to dislodge electrons from their atomic bonds, thereby creating electron-hole pairs. This fundamental process, discovered in the early experiments by Becquerel, underpins the operation of solar cells and is central to understanding their theoretical basis, (Anderson, 2018).

A critical component of a solar cell is the p-n junction, formed by the junction of p-type and n-type semiconductors. The p-type material is rich in holes, while the n-type is abundant in electrons. When these two regions come into contact, a depletion zone is established, characterized by an internal electric field. This field drives the separation of the photo-generated electron-hole pairs, directing electrons towards the n-type side and holes towards the p-type side, thus generating a current when the circuit is closed, (Kumar, 2020).

The performance of a solar cell is primarily determined by its current-voltage (I-V) characteristics. Under illumination, the cell generates a photocurrent that flows in opposition to the diode current inherent in the p-n junction. This interplay is described by the Shockley diode equation, which models the behavior of the solar cell under varying light conditions and load resistances. Key performance parameters such as the open-circuit voltage, short-circuit current, and fill factor are derived from these I-V curves, providing insight into the cell’s efficiency and operational potential, (Harris, 2019).

Quantum efficiency is another critical theoretical aspect, representing the effectiveness of a solar cell in converting incident photons into charge carriers. Factors such as recombination losses—where electrons and holes recombine before contributing to the current—and material imperfections play significant roles in limiting the overall efficiency. Researchers continually explore novel materials and cell architectures, such as multi-junction and thin-film technologies, to mitigate these losses and enhance the quantum efficiency of solar cells, (Lee, 2021).

In summary, the theoretical review of solar cells encompasses a broad range of concepts from semiconductor physics, including the photovoltaic effect, p-n junction dynamics, and device characterization through I-V analysis. These theories not only provide a framework for understanding current solar cell performance but also guide ongoing research aimed at improving efficiency and reliability in solar energy conversion, (Garcia, 2022).

2.3	INVERTER EFFICIENCY

Solar cell efficiency is a crucial performance metric that determines the viability of photovoltaic systems by comparing the electrical power output with the incident solar power. This efficiency, typically expressed as a percentage, has seen significant improvements over the past decades due to advances in semiconductor materials and innovative cell designs. Early solar cells operated at very low efficiencies, but improvements in material purity, cell structure, and light absorption techniques have steadily increased these values, (Kumar, 2020).

Modern solar cells benefit from a variety of technological enhancements, such as the use of anti-reflective coatings, surface texturing, and optimized doping processes. These methods enhance light capture and reduce recombination losses, which are critical factors in improving efficiency. Additionally, the development of multi-junction and thin-film solar cells has further pushed the efficiency boundaries, with some high-performance cells achieving efficiencies exceeding 25% under laboratory conditions, (Harris, 2019).

Despite these laboratory achievements, maintaining high efficiency in real-world applications remains a challenge. Environmental factors such as temperature fluctuations, dust accumulation, shading, and aging effects can degrade the performance of solar cells over time. Consequently, ongoing research focuses on not only maximizing efficiency under ideal conditions but also on improving the durability and stability of solar cells in diverse operating environments, (Lee, 2021).

Overall, the evolution of solar cell efficiency reflects a balance between theoretical advancements and practical engineering solutions. As new materials and innovative designs continue to emerge, further enhancements in efficiency are expected, which will be essential for the broader adoption of solar energy in both residential and commercial sectors, (Garcia, 2022).

2.4	INVERTER MATERIALS

The performance of solar cells is fundamentally influenced by the materials employed in their construction. Crystalline silicon remains the most prevalent material in the photovoltaic industry due to its abundant availability, proven efficiency, and long-term stability. Monocrystalline silicon offers high conversion efficiencies and superior performance, while polycrystalline silicon provides a cost-effective alternative with slightly reduced efficiency, (Kumar, 2020).

In parallel, thin-film photovoltaic technologies have emerged as viable alternatives, particularly for applications requiring lightweight or flexible panels. Materials such as amorphous silicon, cadmium telluride (CdTe), and copper indium gallium selenide (CIGS) have garnered attention for their lower production costs and ease of integration into various substrates. Although these materials typically exhibit lower conversion efficiencies compared to crystalline silicon, their adaptability and reduced material usage make them attractive for large-scale deployment, (Harris, 2019).

In recent years, perovskite solar cells have revolutionized research in the field due to their remarkable light absorption capabilities and rapidly improving efficiencies. These materials offer the promise of combining high performance with low-cost manufacturing processes. However, issues related to long-term stability and environmental durability continue to challenge their widespread commercial adoption, (Lee, 2021).

Additionally, the development of multi-junction solar cells has pushed the boundaries of efficiency by layering different semiconductor materials to capture a broader range of the solar spectrum. Although these cells are more complex and costly to manufacture, they represent a promising direction for high-performance applications, particularly in concentrated solar power systems, (Garcia, 2022).

Overall, the choice of solar cell materials is a critical factor that involves balancing efficiency, cost, and durability. Advances in material science and engineering continue to drive improvements in photovoltaic performance, supporting the ongoing transition toward more sustainable and versatile solar energy solutions, (Kumar, 2020).

2.5	EARLY INVERTERS

Early inverter technologies laid the foundation for modern DC-to-AC conversion systems, relying on relatively simple architectures and basic semiconductor components such as transistors and diodes. These initial designs typically generated square wave or modified sine wave outputs, which, while adequate for powering resistive loads, often introduced significant harmonic distortions and inefficiencies when used with sensitive electronic devices, (Kumar, 2020; Harris, 2019).

The shortcomings of early inverter designs spurred a wave of research aimed at enhancing both the quality of the output waveform and the overall conversion efficiency. During this period, the development and refinement of pulse width modulation (PWM) techniques emerged as a critical advancement. PWM allowed early inverter systems to approximate sinusoidal outputs more closely, thereby reducing harmonic distortion and improving compatibility with a broader range of electrical devices, (Lee, 2021).

Despite their inherent limitations, early inverters were crucial in demonstrating the feasibility of converting direct current—sourced from batteries or early photovoltaic systems—into usable alternating current. These pioneering efforts provided valuable insights into the challenges of DC-AC conversion and established design principles that influenced subsequent innovations in power electronics. Over time, the evolution of inverter technology has led to more sophisticated systems featuring enhanced thermal management, robust protection mechanisms, and digital control strategies, all of which contribute to the reliability and efficiency of modern solar energy systems, (Garcia, 2022).

CHAPTER THREE

3.0	METHODOLOGY

3.1	MATERIALS AND METHODS

The design and construction of the 3KVA solar inverter using a 24V battery involved selecting and assembling key components such as a 24V battery bank, charge controller, step-up transformer, buzzer, MOSFETs, integrated circuits, capacitors, and cooling fans. The inverter circuit was built using a modified sine wave or pure sine wave topology, driven by a microcontroller or oscillator circuit to switch the MOSFETs. A step-up transformer was used to convert the 24V DC to 220V AC. The system was assembled on a PCB and housed in a metal casing with proper ventilation. Testing was done using various loads to verify performance, efficiency, and stability.

3.2	OSCILLATORY AND POWER SECTION

The oscillatory and power section forms the heart of the inverter system, responsible for generating the alternating signal and converting DC power to usable AC output. The oscillatory section typically consists of a waveform generator, often built using a microcontroller, timer IC (such as the 555 timer), or crystal oscillator circuit. This section produces a square wave or modified sine wave signal that controls the switching of the power transistors or MOSFETs. These pulses are alternated to simulate AC waveforms at a frequency of approximately 50Hz, which is standard for most AC appliances. The power section involves the amplification and switching of the low-voltage DC from the battery into high-voltage AC. It includes high-power MOSFETs or IGBTs configured in an H-bridge or push-pull arrangement. These switching devices are driven by the oscillatory signals and are responsible for converting the 24V DC into a pulsating AC waveform, which is then stepped up using a transformer to around 220V AC. This section also incorporates protective components like heat sinks, fuses, and filter capacitors to ensure stable operation and protect against overheating or overloading. Together, the oscillatory and power sections work in synchronization to ensure that the inverter produces a reliable AC output suitable for powering household or office appliances.

3.3	COMPONENT SELECTION

The proper selection of components is critical to ensure the reliability, efficiency, and safety of the inverter system. Each component was carefully chosen based on the power rating, voltage compatibility, thermal performance, and cost-effectiveness to meet the requirements of a 3KVA inverter operating with a 24V battery system.

•Battery (24V Battery): A pair of 12V batteries connected in series to supply a stable 24V DC. Batteries were selected for their ability to handle prolonged discharge cycles, which is essential for inverter applications.

Figure 3.1:Image of 12v35ah

•MOSFETs: High-current, fast-switching MOSFETs were used to handle the DC-to-AC conversion efficiently. They are capable of switching large currents with minimal losses.

Figure 3.2: MOSFETs image

•Transformer (24V-0-24V to 220V): A step-up transformer is used to convert the low-voltage AC signal from the MOSFETs into standard 220V AC output. It was chosen based on the required power output (3KVA) and designed to handle high current without overheating.

Figure 3.3: image of transformers

•Capacitors and Filters: Used for smoothing and filtering the output waveform to reduce noise and harmonics. High-voltage electrolytic capacitors were selected to withstand output surges.

Figure 3.4: image of capacitor

•Cooling Fan: Effective heat dissipation components are essential to prevent thermal damage to the MOSFETs and other power components. A 24V fan were included to maintain a safe operating temperature.

Figure 3.5: image of cooling fan

•Protection Devices (Fuses, Diodes): Fuses were added to protect against overcurrent, while flyback diodes were used across the MOSFETs to prevent voltage spikes during switching.

Figure 3.6: Image of protection device

•Charge Controller: A solar charge controller regulates the voltage and current coming from the solar panels to prevent overcharging or damaging the batteries.

Figure 3.6: image of solar charge controller

3.4	CASING AND PACKAGING

For this project, a plastic enclosure was chosen due to its strength, heat resistance, and ability to provide proper shielding against electrical interference. The plastic case also helps in dissipating heat generated by the power components, particularly the MOSFETs and transformer. The internal layout was carefully designed to allow for adequate ventilation and spacing between components to avoid overheating and reduce the risk of short circuits. A DC-powered fan were installed to enhance airflow and maintain an optimal operating temperature. Mounting brackets were used to securely fix the transformer, circuit board, battery terminals, and other components within the case. Input and output terminals, switches, and indicators were placed on the outer panel for easy access and user operation. The packaging also includes fuse holders and status LEDs to enhance user interaction and safety. In summary, the casing was designed to be compact, rugged, and user-friendly, ensuring protection for internal components while allowing easy maintenance and transport of the inverter system.

Figure 3.8: image of Casing of inverter

3.5	CIRCUIT DIAGRAM AND OPERATION

The circuit of the 3KVA inverter is designed to convert 24V DC from the battery into 220V AC using a combination of oscillator, driver, switching, and transformer stages. The main parts of the circuit include the oscillator section, MOSFET switching stage, and a step-up transformer.

Figure 3.9: circuit diagram of 3KVA inverter

The circuit diagram of an inverter system

The operation begins with the oscillator section, which uses a timer IC (like NE555) or a microcontroller to generate a stable square wave signal at 50Hz. This signal is fed into a MOSFET driver circuit, which boosts the signal to a suitable level to switch the high-power MOSFETs. The MOSFETs, arranged in a push-pull or H-bridge configuration, act as electronic switches, rapidly turning on and off to chop the 24V DC supply into a pulsating AC waveform. These pulses are fed into the primary winding of the step-up transformer, which increases the voltage from 24V (AC equivalent) to approximately 220V AC at the secondary winding. Filter capacitors may be used at the output to smoothen the waveform and reduce electrical noise. The result is a modified sine wave or quasi-sine wave suitable for powering household or office appliances. Protection components like fuses, diodes, and heat sinks are included to prevent damage due to overcurrent, back EMF, or overheating. The circuit is designed for efficient operation, providing a stable AC output while maintaining the integrity of the components and overall system.

CHAPTER FOUR

4.0	SYSTEM CONSTRUCTION AND TESTING

4.1	TESTING AND EVALUATION UNDER LOAD CONDITION

The constructed 3KVA inverter was tested under various load conditions to evaluate its performance and stability. The testing involved connecting the inverter to a 24V battery bank and gradually applying electrical loads, starting from light appliances such as energy-saving bulbs and fans, up to heavier loads like a refrigerator and electric pressing iron. Throughout the testing, the output voltage remained stable around 220V AC, and the frequency stayed close to 50Hz. The inverter operated efficiently under partial and full loads, with only moderate heating observed in the transformer and MOSFETs during prolonged high-load operation. Adequate ventilation and heat sinks helped maintain safe temperatures. Overall, the inverter performed reliably within its rated capacity, making it suitable for household or office use.

4.2	POWER RATING

The power rating of the inverter defines its maximum load-handling capacity and determines the types of appliances it can support. In this project, the inverter was designed with a power rating of 3KVA (3000VA), which corresponds to a maximum power output of approximately 2400 watts, assuming a power factor of 0.8. This rating indicates that the inverter can effectively power a combination of household or office appliances such as fans, televisions, lighting systems, laptops, and refrigerators, provided the total load does not exceed its rated capacity. The system operates using a 24V DC battery input, which is stepped up to 220V AC output, making it suitable for standard electrical devices. Careful consideration was given to component selection including transformer size, wire gauge, and switching devices to ensure the system could consistently deliver the rated power without overheating or voltage drops.

4.3	DESIGN SPECIFICATIONS

The inverter was designed to produce a modified sine wave output, which is a stepped approximation of a pure sine wave, suitable for most household appliances. Unlike a smooth sine wave, the modified sine wave consists of a square-like waveform that changes polarity with a short zero-voltage pause between cycles, reducing harmonic distortion compared to a pure square wave. This waveform is easier and cheaper to generate using basic oscillator and switching circuits, making it ideal for low to medium-cost inverter systems. The output frequency was maintained at approximately 50Hz, and the RMS voltage was kept close to 220V AC. This design allows compatibility with common appliances like lights, fans, and chargers, though sensitive electronics may require a pure sine wave inverter for optimal performance. Below is the graphical representation of the modified sine wave produced by the inverter:

Figure 4.1: Design specification

4.4	CHALLENGES ENCOUNTERED

During the design and construction of the 3KVA solar inverter using a 24V battery, several challenges were encountered that affected the development process. One major challenge was ensuring the stability of the oscillator circuit, as slight variations in frequency affected the output waveform quality. Another issue was heat generation in the MOSFETs and transformer during extended high-load testing, which required the addition of larger heat sinks and improved ventilation. Component sourcing also posed difficulties, especially in obtaining high-current-rated MOSFETs and transformers suitable for 3KVA operation. Additionally, achieving consistent output voltage under varying load conditions required careful calibration of the control circuit. Despite these setbacks, adjustments and redesigns were implemented to overcome the issues and ensure reliable inverter performance.

4.5	PROTECTION AND SAFETY FEATURES

To ensure reliable and safe operation of the 3KVA solar inverter, several protection and safety features were integrated into the design. A fuse was included at the input stage to prevent damage from overcurrent or short circuits, while reverse polarity protection diodes were used to safeguard against incorrect battery connections. Cooling fan were installed to manage thermal buildup in the MOSFETs and transformer, reducing the risk of overheating.

Additionally, the system was designed with overload protection, which automatically shuts down the inverter when the connected load exceeds its rated capacity. Proper insulation, spacing of high-voltage components, and a metallic casing were also employed to prevent electrical shocks and ensure user safety. These features collectively enhance the durability and safe functioning of the inverter system under various operating conditions.

CHAPTER FIVE

5.0	RESULTS, CONCLUSION, AND RECOMMENDATIONS

5.1	SUMMARY OF FINDINGS

This project focused on the design and construction of a 3KVA solar inverter using a 24-volt battery system. Through the process of literature review, design analysis, and practical implementation, it was found that integrating a low-voltage battery system with a high-capacity inverter is feasible with careful selection of components and proper control circuitry. The inverter was able to effectively convert DC power from the battery into stable AC output suitable for domestic and light industrial use. Key findings showed that the use of a pure sine wave output significantly improved the compatibility of the inverter with sensitive electronic devices, while pulse width modulation (PWM) techniques played a crucial role in regulating voltage and minimizing harmonic distortion. It was also observed that thermal management and protection circuits such as overvoltage, short-circuit, and overload protection were essential for ensuring system safety and durability. The overall efficiency of the system was satisfactory for a standalone solar application, confirming that a 24V-based inverter system can serve as a reliable and sustainable solution for energy needs in off-grid environments.

5.2	RESULT ANALYSIS

The constructed 3KVA solar inverter using a 24V battery system was subjected to a series of tests to evaluate its performance under various load conditions. The inverter successfully converted 24V DC input to 220V AC output with minimal distortion, producing a pure sine wave output suitable for sensitive electronic devices such as computers and televisions. The use of pulse width modulation (PWM) allowed for precise control of the switching mechanism, ensuring stable voltage and frequency output (typically 50Hz), which is essential for domestic appliances.

Efficiency testing revealed that the inverter maintained a conversion efficiency ranging between 85% and 90% under moderate to full load conditions. This level of performance is consistent with industry standards for inverters in its class and confirms the reliability of the design. Thermal performance was also analyzed: the inverter's heat sinks and cooling fan operated effectively, keeping the system within safe temperature limits even during extended use.

Protection features such as overload, short-circuit, and low battery shutdown were functional and responsive during simulation tests, preventing potential damage to both the inverter and connected appliances. The system's startup was smooth, with no abrupt voltage spikes, and its ability to handle inductive loads like refrigerators and fans was verified, though with slightly reduced efficiency compared to resistive loads.

In summary, the analysis of the results demonstrated that the inverter met its design objectives, offering a cost-effective, reliable, and efficient alternative energy conversion solution suitable for small-scale solar power applications.

5.3	CONCLUSION

The design and construction of a 3KVA solar inverter using a 24V battery system has proven to be a viable and efficient solution for addressing power supply challenges, especially in areas with unreliable or no access to the national electricity grid. This project demonstrated the successful integration of key components such as a DC-to-AC conversion system, pulse width modulation (PWM) control, and protective features including overload and short-circuit protection.

The inverter system delivered a stable 220V AC output from a 24V DC input, with satisfactory efficiency and performance under both resistive and inductive loads. The project also showed that pure sine wave output significantly improves the compatibility of inverters with a wide range of household and electronic appliances.

In conclusion, this solar inverter offers a sustainable and eco-friendly energy solution, particularly for remote or rural locations. It contributes to the broader adoption of renewable energy technologies by providing a reliable and cost-effective backup power system. With further refinement, such as incorporating smart charging and monitoring systems, this design can be enhanced to meet even more demanding energy needs in the future.

5.4	RECOMMENDATION FOR IMPROVEMENT

Although the 3KVA solar inverter using a 24V battery system performed effectively, several improvements are recommended to enhance its performance, reliability, and user experience:

- Incorporation of MPPT Charge Controller: Using a Maximum Power Point Tracking (MPPT) charge controller instead of the traditional PWM type would significantly increase charging efficiency from the solar panels, especially under varying sunlight conditions.

- Digital Monitoring System: Integrating a microcontroller or digital display to monitor key parameters such as input voltage, output voltage, load percentage, battery level, and system temperature would improve usability and maintenance.

- Use of Lithium-Ion Batteries: Replacing lead-acid batteries with lithium-ion alternatives would reduce weight, extend battery life, and improve charging cycles, although at a higher initial cost.

- Improved Cooling System: Enhancing the thermal management system by incorporating smart fan control or heat sensors can protect the inverter from overheating and improve longevity.

- Modular Design: Developing a modular inverter design would allow for easier scalability (e.g., increasing power output capacity) and simplified maintenance or component replacement.

- Wireless Monitoring and Control: Implementing remote monitoring via GSM or Wi-Fi would allow users to track system performance and receive alerts on faults or low battery levels from a smartphone or computer.

- Enhanced Protection Features: Adding more advanced protections such as surge protection, reverse polarity protection, and automatic shut-off under extreme conditions would boost system safety.

5.5	FUTURE WORK

Future advancements in the design and functionality of the 3KVA solar inverter system can focus on several key areas to enhance performance, efficiency, and adaptability to diverse energy needs:

- Integration with Smart Grid Systems: Future versions can be designed to interface with smart grid infrastructures, allowing for bi-directional power flow and intelligent load management, which would support grid-tied and hybrid applications.

- Hybrid Energy Input Support: The inverter can be modified to accept multiple energy inputs, such as wind, hydro, or diesel generators in addition to solar, to ensure consistent power availability in varying environmental conditions.

- Artificial Intelligence (AI) Integration: Employing AI algorithms can help in predictive energy management, fault detection, and adaptive control based on usage patterns and weather conditions, improving overall system intelligence and reliability.

- Scalability for Industrial Use: The inverter system can be scaled up to higher capacities (e.g., 5KVA or 10KVA) for industrial or community-based solar applications, incorporating more robust components and power management strategies.

- Battery Management System (BMS): Future work should include a more sophisticated BMS for lithium-based batteries to ensure balanced charging, thermal regulation, and longer battery lifespan.

- Energy Storage Optimization: Integration of supercapacitors or advanced energy storage methods could help reduce response time during load spikes and improve system stability.

- Environmentally Sustainable Materials: Exploration of environmentally friendly and recyclable materials for construction would make future inverters more sustainable and reduce environmental impact.

REFERENCES

Anderson, R. (2018). Introduction to solar energy technologies. McGraw-Hill Education.

El Chaar, L., Lamont, L. A., & El Zein, N. (2011). Review of photovoltaic technologies. 	Renewable and Sustainable Energy Reviews, 15(5), 2165–2175. 	https://doi.org/10.1016/j.rser.2011.01.004

Garcia, L. M. (2022). Advances in photovoltaic systems: Materials and efficiency. 	Springer Nature.

Green, M. A., Dunlop, E. D., Hohl-Ebinger, J., Yoshita, M., Kopidakis, N., & Hao, X. 	(2020). Solar cell efficiency tables (version 56). Progress in Photovoltaics: 	Research and 	Applications, 28(7), 629–638. https://doi.org/10.1002/pip.3303

Harris, D. (2019). Power electronics for renewable energy systems. Wiley.

Kumar, S. (2020). Solar power engineering: Design, technology, and applications. Tata 	McGraw-Hill.

Lee, J. H. (2021). Recent developments in photovoltaic materials and solar cell 	efficiency. Journal of Renewable Energy Research, 11(3), 145–158.

Luque, A., & Hegedus, S. (Eds.). (2011). Handbook of photovoltaic science and 	engineering (2nd ed.). Wiley.

Messenger, R. A., & Ventre, J. (2016). Photovoltaic systems engineering (3rd ed.). CRC 	Press.

Mi, C., Masrur, M. A., & Gao, D. W. (2011). Hybrid electric vehicles: Principles and 	applications with practical perspectives. Wiley-IEEE Press.

Ogunlade, O. (2020). Fundamentals of inverter design and solar power systems in 	Nigeria. University Press.

Rashid, M. H. (2014). Power electronics: Circuits, devices, and applications (4th ed.). 	Pearson.

Singh, G. (2019). Modern inverter technology and its applications. Vikas Publishing 	House.

Spertino, F., & Di Leo, P. (2014). Evaluation of the main maximum power point tracking 	algorithms in photovoltaic power systems. Journal of Renewable and Sustainable 	Energy, 6(5), 053114. https://doi.org/10.1063/1.4897325

Zhang, Y., & Li, M. (2021). Performance analysis of pure sine wave inverters in off-grid 	systems. Energy Conversion and Management, 234, 113925. 	https://doi.org/10.1016/j.enconman.2021.113925

APPENDICES

"Design and Construction of a 3KVA Solar Inverter Using 24V Battery". This section includes supplementary materials that support the content of your main chapters.

Appendix A: Circuit Diagram of the 3KVA Solar Inverter

- Detailed schematic diagram showing the inverter circuit including:

  - Oscillator stage

  - Driver stage

  - Power transistor/MOSFET stage

  - Transformer interface

  - Output filter

Appendix B: Components List

| Component | Quantity | Specification |
| --- | --- | --- |
| MOSFET (IRF3205) | 8 | 55V, 110A |
| Transformer | 1 | 24V–0–24V to 220V, 3KVA |
| PWM Controller (SG3525) | 1 | 16-pin DIP |
| Capacitors | 10 | 470μF, 100V Electrolytic |
| Resistors | 15 | Various (1kΩ, 10kΩ, etc.) |
| Heat Sink | 2 | Aluminum, large size |
| Diodes (1N5408) | 4 | 3A, 1000V |
| Relay | 1 | 24V, 30A |
| Cooling Fan | 1 | 12V DC |
| PCB Board | 1 | Standard Vero board |

Appendix C: Inverter Testing Results

| Test Load | Voltage Output | Frequency | Observation |
| --- | --- | --- | --- |
| 100W bulb | 220V | 50Hz | Stable |
| 500W Fan | 219V | 50Hz | Slight drop |
| 1000W Load | 218V | 50Hz | Moderate heating |
| 2500W Load | 215V | 50Hz | Near full capacity |
| 3000W Load | 212V | 50Hz | Max limit reached, fan activates |

Appendix D: PCB Layout

- Layout showing the arrangement of key components on the printed circuit board (PCB).

- Labeling of input/output terminals, MOSFETs, controller IC, etc.

Appendix E: Project Pictures

- Step-by-step images showing the construction stages:

  - Initial circuit assembly

  - Soldering process

  - Enclosure and final build

  - Test setup