DESIGN AND CONSTRUCTION OF A SINGLE  PHASE R.L.C

 ( RESISTOR, INDUCTOR AND CAPACITOR) TRAINER
BY

ABUBAKAR AHMED MAHMUD 
HND/23/EEE/FT/0049
A PROJECT REPORT SUBMITTED TO THE DEPARTMENT  OF ELECTRICAL/ELECTRONICS ENGINEERING.

INSTITUTE OF TECHNOLOGY,KWARA STATE POLYTECHNIC,ILORIN

IN PARTIAL FULFILLMENT FOR THE REQUIREMENT  FOR THE AWARD OF HIGHER NATIONAL DIPLOMA (HND) ELECTRICAL, ELECTRONIC ENGINEERING KWARA  STATE POLYTECHNIC,ILORIN

JUNE, 2024
CERTIFICATION


This is to certify that this project was carried out by ABUBAKAR AHMED MAHMUD of matriculation number HND/23/EEE/FT/0049 in the department of Electrical/Electronics Engineering, Kwara State Polytechnic in partial fulfillment of the requirement for the award of Higher National Diploma (HND) Certificate in Electrical/Electrical Engineering.

________________________



_______________

ENGR. A.J ADEOTI





DATE
Project Supervisor

________________________



_______________

ENGR. LAWAL O.A 



                     DATE
Head of Department

_________________________



_______________

ENGR. Z.A ABDUKADIR

                                DATE
Project Coordinator
_________________________



_______________

EXTERNAL EXAMINER 




DATE

DEDICATION
This work is dedicated to Almighty God for his abundant and lucrative projection over me and also to my Parents Mr and Mrs ABUBAKAR, for their  financial support and encouragement, and to my Brother and Sister, I really appreciate their support during the term of this project for constant motivational and to all my supportive friends I say thank you all 

ACKNOWLEDGEMENNNT

        To God be the glory! Great thing he has done and great thing he shall do. Above all thing I thank the almighty God. for sparing my life till this moment and for bestowing on me grace, goodness and mercy, good health and knowledge with which I started and complete this project “this effect, therefore I say may all glory, honor and adoration to the Almighty God.

       To My Parent Mr. and Mrs. ABUBAKAR, you have been my source of inspiration, support and guidance. You have taught me to be unique, determined, to believe in myself and to always preserve. I am truly thankful and honored to have you as my parent.


However, my grateful appreciation goes to my honorable supervisor Engr.A.J ADEOTI for his guidance and endless support have enable me to accomplish this task and to her wish to express  my grateful appreciation .

          I will like to show my appreciation to everyone who has contributed in whatever quantity to my success on this project. I am especially grateful to my sister who has stimulated and encourage the conception and orientation of this noble effort.

          Once again I am grateful to God for his mercies, love and care for the great opportunity he gave me to accomplish the task of writing this project.
TABLE OF CONTENTS

Title page

Certification

Dedication

Acknowledgement

Table of content

 Reference

CHAPTER ONE


INTRODUCTION


1.1 
Background Information


1.2
Aim And Objective Of The Project


1.3
Statement Of The Problem


1.4
Significance Of The Study



1.5
Scope And Limitation Of The Study



CHAPTER TWO


2.0         LITERATURE REVIEW


2.1
Introduction

2.2
Overview Of RLC Circuits

2.3      RLC Circuits
Theory

2.3.1 
Components Of RLC Circuits

2.3.2
Fundamental Principles Of Series RLC Circuits

2.3.3
Resonance in series RLC Circuits 


2.3.4
Phase Relationship and Phasor Analysis

2.3.5
Resonance in parallel RLC Circuits 

2.3.6
Key Characteristics of Parallel RLC Circuits

2.4     Theoretical Background And Application 


2.5
Need For RLC Trainers in Education 

2.6
Review Of Existing RLC Trainer


2.7
Advancement And Trends

2.7.1    Resonant Frequency


CHAPTER THREE

3.0     DESIGN METHODOLOGY

3.1
Input Power in AC RLC Circuits

3.1.1
Types of power in an RLC Circuits 


3.1.2
Input power flow in RLC

3.2
Energy Meter in an RLC Trainer

3.2.1
Purpose of energy meter in RLC Trainer

3.2
Energy meter measure


3.3
Function Generator in an RLC Trainer 

3.3.1
Purpose of the function Generator in an RLC Trainer

3.3.2   Function Generator Role in RLC Circuits Experiments

3.4      RLC Load

3.4.1    Characteristic of RLC Loads 

3.4.2    Types of RLC Loads

3.4.3     Applications of RLC Loads

3.4.4     Important of RLC Load

3.5        Oscilloscope in RLC Trainer

3.5.1    Uses of Oscilloscope in RLC Trainer

3.5.2     Benefits of using oscilloscope in RLC Trainer

3.5.3     Features to consider

3.6        Signal Analyzer

3.6.1      Uses of signal Analyzer in RLC Trainer

3.6.2       Benefits of using signal analyzer in RLC Trainer

3.6.3       Features to consider

3.7         Power factor measurement 

3.7.1      Direct measurement with a power factor meter

3.7.2      Indirect measurement using separate instruments

3.7.3      Circuits diagram and measurement techniques 

3.7.4      Understanding power factor 

3.7.5       Importance of power factor 

3.8          Testing

3.9          Experiments 

3.9.1       Experiment 1: Measurement of power factor objective 

3.9.2       Experiment 2 : Series RLC resonant circuit objective


CHAPTER FOUR

4.0      Testing, Result And Discussion 

4.1
Testing the components


4.2
Soldering and Arrangement of components


4.3
Testing and Result

4.4       Observation table 

4.4.1    Observation and Discussion 

4.3       Table: Voltages at Resonance (Fr =  1600 Hz) 

CHAPTER FIVE


5.0
Conclusion


5.1
Recommendation


REFERENCE 

                                                               CHAPTER ONE
1.0 INTRODUCTION
1.1 
BACKGROUND INFORMATION
The study of RLC (Resistor-Inductor-Capacitor) circuits is fundamental in electrical and electronics engineering. These circuits are essential in understanding the behavior of alternating current (AC) and transient responses in electrical systems. RLC circuits are found in real-world applications such as radio tuners, signal filters, impedance matching networks, and oscillators (Boylestad & Nashelsky, 2013).

In academic settings, the effective teaching of RLC circuits requires not only theoretical explanations but also practical experiments to visualize and reinforce concepts like resonance, phase shift, impedance, and damping. Traditional methods of assembling RLC circuits using breadboards can be cumbersome, time-consuming, and prone to connection errors, especially for beginners (Hambley, 2011). Moreover, the lack of standardization in such setups can lead to inconsistent learning experiences.

The RLC trainer is a modular educational tool that provides a systematic and safe platform to study RLC circuit behavior under various configurations. It consists of selectable components and connection options that allow students to explore both series and parallel circuit topologies. This project focuses on designing and constructing a portable and user-friendly RLC trainer that enables hands-on experimentation in a controlled environment.

1.2 AIM AND OBJECTIVES OF THE PROJECT

    Aim:
To design and construct an RLC trainer that demonstrates the principles and behaviors of RLC circuits in both series and parallel configurations.

The objectives are: 

· To design a trainer containing selectable resistors, inductors, and capacitors.

·  To design a functional RLC circuit trainer that demonstrates and measure resonance, impedance, and     frequency response in RLC circuit

· To demonstrate series and parallel RLC circuit behavior
· To provide a tool for analyzing power factor, enabling students to see the effects of inductive and capacitive loads on AC circuits

· To integrate use of external tools, such as a function generator and an oscilloscope, for   waveform analysis and frequency adjustments in AC signal input

1.3 STATEMENTOFTHEPROBLEM
The study of RLC (resistor-inductor-capacitor) circuits remains a fundamental yet challenging component of electrical engineering education, as students often struggle to translate theoretical concepts into practical understanding due to limitations in existing laboratory equipment (Johnson & Patel, 2022). Current RLC training modules frequently lack the flexibility to investigate various circuit configurations, component values, and operating conditions, restricting students' ability to observe critical phenomena such as resonance characteristics, transient responses, and phase relationships (Chen et al., 2021). Furthermore, safety concerns emerge when students work with high-frequency alternating current circuits without proper measurement interfaces or protective mechanisms (Institute of Electrical and Electronics Engineers [IEEE], 2023). This pedagogical gap highlights the need for an improved RLC training system that incorporates modular design, comprehensive measurement capabilities, and enhanced safety features to facilitate effective hands-on learning in electronics laboratories.

1.4 SIGNIFICANCE OF THE STUDY

The development of an enhanced RLC circuit trainer holds significant importance in electrical engineering education by providing students with a practical, hands-on tool to bridge the gap between theoretical concepts and real-world circuit behavior. This study addresses critical limitations in current laboratory setups by offering a modular, reconfigurable system that enables comprehensive experimentation with series and parallel RLC circuits, including resonance characteristics, transient responses, and phase relationships. The trainer's built-in safety features and clear measurement points make it accessible for learners at different skill levels while minimizing risks associated with high-frequency AC circuits. Furthermore, this cost-effective solution serves as a sustainable alternative to expensive commercial trainers, benefiting educational institutions with limited resources. Beyond classroom applications, the trainer's design supports advanced research in filter design and power electronics, while ultimately enhancing students' technical competencies and preparing them for engineering careers in power systems, telecommunications, and electronic design.

1.5 SCOPEAND LIMITATIONSOFTHESTUDY

This study focuses on the design and construction of an RLC circuit trainer for educational purposes, covering series and parallel configurations with variable resistors, inductors, and capacitors to demonstrate fundamental AC circuit principles. The scope includes analyzing resonance frequency, damping effects, and phase relationships, while incorporating safety features such as fuse protection and insulated probes. However, the study is limited to low-power AC circuits (under 50V) and does not address high-power industrial applications. Additionally, while the trainer allows component interchangeability, it is constrained by fixed measurement ranges and does not include automated data logging capabilities. The research is further limited by budget constraints affecting component quality and availability, and validation is based on theoretical comparisons rather than industrial standards.

                                                            CHAPTER TWO

2.0 LITERATURE REVIEW

2.1 INTRODUCTION
                   The design and analysis of RLC (Resistor–Inductor–Capacitor) circuits form a foundational part of electrical and electronics engineering. These circuits are essential for understanding the behavior of AC systems, transient responses, filters, and oscillators. Given the abstract nature of these concepts, there is a need for hands-on educational tools such as an RLC trainer to facilitate active learning. This chapter reviews the theoretical background of RLC circuits, previous designs of educational trainers, and current trends in trainer development.

2.2 OVERVIEW OF RLC CIRCUITS

An RLC circuit is composed of a resistor (R), an inductor (L), and a capacitor (C) connected in either series or parallel form. These elements exhibit unique behaviors under alternating current (AC) conditions:

· Resistors dissipate energy as heat and oppose current flow linearly.

· Inductors store energy in a magnetic field and oppose changes in current.

· Capacitors store energy in an electric field and oppose changes in voltage.

The impedance of each element varies with frequency, making RLC circuits frequency-dependent. When combined, these components demonstrate key phenomena such as:

· Resonance: Occurs when inductive and capacitive reactance are equal and cancel each other out, leading to purely resistive impedance at a specific frequency.

· Phase Shift: The angle between the voltage and current waveform, significant in AC analysis.

· Damping and Bandwidth: Relevant in filter and oscillator design (Hambley, 2011).

2.3 RLC CIRCUIT THEORY

An RLC circuit is an electrical circuit composed of three passive components: aResistor (R), an Inductor (L), and a Capacitor (C). These circuits are fundamental in electrical engineering, especially in alternating current (AC) analysis, signal processing, and communications.

2.3.1
Components of RLC Circuit

· Resistor (R): Opposes the flow of current by dissipating energy as heat. Its opposition is independent of frequency.
· Inductor (L): Stores energy in a magnetic field when current flows. It opposes changes in current. Its opposition to AC is calledinductive reactance, and it increases with frequency:


[image: image28.png]Resonant Frequency (f.):











(2.1)

· Capacitor (C): Stores energy in an electric field. It opposes changes in voltage. Its opposition to AC is called capacitive reactance, and it decreases with frequency


[image: image2.png]!
wC  2mfC












(2.2)
[image: image1.png]Xp—wL = 2rfL




Figure 2.1: Series RLC Circuit

2.3.2 Fundamental Principles of Series RLC Circuits
Series RLC circuits form the backbone of AC circuit analysis, demonstrating the interaction between resistance (R), inductance (L), and capacitance (C) when connected in series with an AC power source (Nilsson & Riedel, 2015). The total impedance (Z) in a series RLC circuit is given by:


[image: image3.png]Z=/R*+ (XL - Xc)?










(2.3)

[image: image4.png]where X, = wL and X¢ = 1/wC




represent inductive and capacitive reactance, respectively (Alexander &Sadiku, 2021).

2.3.3 Resonance in Series RLC Circuits

At resonance, the inductive and capacitive reactance cancel each other out (XL=XC​), resulting in:

· Minimum impedance (Z=R)

· Maximum current Imax =Vin/R

· Resonant frequency 





[image: image5.png]—_1
fr 2rVLC



(Hayt et al., 2018)


(2.4)
Experimental studies by Smith & Johnson (2020) demonstrate that series RLC circuits exhibit a sharp current peak at resonance, making them ideal for bandpass filtering applications.

2.3.4 Phase Relationships and Phasor Analysis

The phase angle (θ) between voltage and current is determined by:


[image: image6.png]0—mr‘(

X - Xe

)










(2.5)
Key phase characteristics:

· Below resonance: Capacitive dominance (current leads voltage)

· At resonance: Purely resistive (current and voltage in phase)

· Above resonance: Inductive dominance (current lags voltage) (Dorf & Svoboda, 2022)

Practical Applications
Series RLC circuits are fundamental to:

· Radio tuning circuits (selecting specific frequencies)
· Impedance matching networks
· Bandpass filters in communication systems
· Power factor correction (Glover et al., 2017)

2.3.5 Resonance in parallel RLC Circuits
A parallel RLC circuit consists of a resistor (R), inductor (L), and capacitor (C) connected in parallel across an alternating current (AC) voltage source. Unlike series RLC circuits, parallel RLC circuits exhibit unique behaviors, particularly at resonance, making them essential for applications like filtering, tuning, and impedance matching.

2.3.6 Key Characteristics of Parallel RLC Circuits
1. Shared Voltage
· All components (R, L, C) experience the same voltage from the AC source.

· Current divides among the branches based on their impedance.

2. Resonance (Anti-Resonance)
· At the resonant frequency 
[image: image7.png]=1
3xyLC’



 the inductive and capacitive reactance’s cancel each other.

· The circuit behaves like a pure resistor, reaching maximum impedance (opposite of series RLC, which has minimum impedance at resonance).

· Current is minimized at resonance (only the resistive current flows).

3. Current Magnification
· While the total current is minimized at resonance, the individualcurrents through L and C can be much higher (depending on the Q factor).

· This is called current resonance (vs. voltage resonance in series RLC).

4. Phase Relationships
· Below resonance: Inductive reactance dominates → current lags voltage.
· At resonance: Purely resistive → current and voltage are in phase.

· Above resonance: Capacitive reactance dominates → current leads voltage.
5. Quality Factor (Q)
· Determines the sharpness of resonance:






[image: image8.png]







(2.5)
Higher Q means narrower bandwidth and stronger current magnification in L and C

Practical Applications
· Band-Stop (Notch) Filters – Blocks signals at resonant frequency.

· Tank Circuits – Used in oscillators and radio tuners.

· Power Factor Correction – Cancels inductive reactance in power systems.

· Impedance Matching – Maximizes power transfer in RF circuits

2.4
THEORETICAL BACKGROUND AND APPLICATIONS

RLC circuits are widely used in:

· Radio Frequency (RF) and Communication Systems: Tuned circuits in receivers and transmitters.

· Signal Processing: Low-pass, high-pass, band-pass, and band-stop filters.

· Power Systems: Harmonic filters, transient response analysis, and impedance matching (Sedra& Smith, 2015).

2.5
NEED FOR RLC TRAINERS IN EDUCATION


Conventional teaching often relies on circuit simulation software and whiteboard explanations, which may fail to convey the full behavior of AC circuits, particularly resonance and phase shift. An RLC trainer bridges this gap by offering real-time interaction with the circuit elements and observing results using multimeters or oscilloscopes (Boylestad&Nashelsky, 2013).

Research shows that active learning tools significantly improve student engagement and knowledge retention in technical education (Prince, 2004). An RLC trainer provides a safe, modular platform where students can observe:

· The effect of frequency on impedance.

· The voltage drops across each component.

· The variation in current and phase angle.

· Real-life resonance behavior.

2.6
REVIEW OF EXISTING RLC TRAINERS

Several educational trainers have been developed, ranging from basic analog circuit boards to sophisticated digital trainers:

· Analog Trainers: These are constructed using discrete components mounted on boards with switches and terminals. They are cost-effective but may lack flexibility.

· Digital Trainers: Include microcontrollers or display modules for real-time measurement and control. These are more expensive and require programming knowledge.

· Virtual Labs and Simulators: Such as NI Multisim or Proteus, which allow for RLC circuit simulation without physical hardware. While useful, they do not replace the tactile experience of real circuit assembly and measurement.

In their study, Anbalagan et al. (2017) designed a modular RLC trainer using banana plug terminals and toggle switches to demonstrate resonance and filtering. However, their model was not portable and lacked protective features. Okwu et al. (2020) improved upon this by adding short-circuit protection and color-coded indicators for safer student use.

Despite these advancements, many available trainers remain costly or complex, especially for developing nations. Hence, there is still a need for affordable, user-friendly RLC trainers that are durable, intuitive, and effective for classroom and laboratory use.

2.7 ADVANCEMENTS AND TRENDS

Modern educational tools are now integrating:

· Digital displays for voltage and current readings.

· Built-in function generators to eliminate the need for external signal sources.

· Modular components using magnetic or socket-based connections.

· IoT-based features for remote access and performance monitoring.

However, for most undergraduate or diploma-level students, these added complexities may not be necessary. A basic analog trainer that demonstrates the core behaviors of RLC circuits remains highly relevant and effective (Theraja&Theraja, 2014).

2.7.1 Resonant Frequency 

Resonant frequency in electronics is expressed when a circuit exhibits a maximum oscillatory response at a specific frequency. This is observed for a circuit that consists of an inductor and capacitor

It is known that the value of capacitive and inductive reactance changes accordingly to the frequency. Capacitive reactance is defined by the equation Xc = 1/ (2ℼfC), while inductive reactance is given by the equation XL = 2ℼfL




[image: image9.png]Reactance, X

Resonance frequency, fr

Frequency, f







Figure 2.2:The relationship of inductive and capacitive reactance across frequencies

When plotted on a chart, the decreasing capacitive reactance will cross paths with the increasing inductive reactance at a specific frequency. The frequency where both parameters overlap is known as the resonant frequency of an RLC circuit. Therefore, the resonant frequency can be derived by expressing the equal value of both capacitive and inductive reactance as follows:

1. XL = XC









(2.6)
2. 2ℼfL = 1/ (2ℼfC) 








(2.7)
3. fr = 1/ (2ℼ √LC)








(2.8)
In a series RLC circuit, the impedance is at its minimum when it’s driven at the resonant frequency. The circuit’s impedance is expressed by the following equation: 

1. Z = R + XL - XC








(2.9)
At resonance, XL equals XC, meaning they cancel each other out. This leaves the impedance of the circuit to be purely resistive. As a result, the current that flows through the series RLC circuit is at its peak when it’s operating at its resonant frequency. 

In a parallel RLC circuit, the formula for calculating the resonant frequency remains the same. However, you’ll find the current is suppressed to the minimum, as the circuit’s impedance is at its maximum. This happens as the LC of the circuit appears as an open circuit when connected in parallel.

                          CHAPTER THREE

3.0 DESIGN METHODOLOGY

This chapter discusses the design processes, methodology, and practical steps undertaken in the development of the RLC Trainer. It includes the conceptual design, choice of components, system block diagram, circuit diagram, construction steps, and testing methodology. The RLC Trainer was designed to facilitate the learning of AC circuit principles, including resonance, impedance variation, and power factor, through interactive experimentation with resistors, inductors, and capacitors.

The project work will involve the following stages:

· Input power (AC)

· Energy Meter

· Function Generator

· RLC Load

· Oscilloscope

· Signal Analyzer

3.1     INPUT POWER IN AN AC RLC CIRCUIT 
In an AC-powered RLC circuit, the input power depends on the type of components (resistor, inductor, capacitor) and their behavior under alternating current. The power supplied by the AC source is distributed differently across resistive and reactive components.

3.1.1
Types of Power in an RLC Circuit

There are three types of power to consider in an AC RLC circuit:

Table 3.1: Types of Power in RLC Circuit

	Type of Power
	Symbol
	Formula
	Description

	Real (Active) Power
	P
	P=VIcosϕ
	Power actually consumed or used in the circuit, e.g., by resistors. Measured in watts(W).

	Reactive Power
	Q
	Q=VIsinϕ
	Power that oscillates between source and reactive components (L and C). Measured in volt-ampere reactive (VAR).

	Apparent Power
	S
	S = VI
	The total power supplied by the source (combines P and Q). Measured in volt-amperes (VA).


Power Factor (cos ϕ)
The power factor indicates the efficiency of power usage:

· Φphi is the phase angle between voltage and current.

· [image: image16]In an RLC circuit, ϕ depends on the net reactance:










(3.1)

Power factor = 1 (or 100%) at resonance (when XL=Xc) circuit is most efficient.

Power factor < 1 when there's phase difference due to reactance (current leads or lags).

3.1.2
Input Power Flow in RLC
1. Resistor (R) Only
· Power is dissipated as heat.

· Real power:  P=I2R








(3.2)
· All input power is used.

2. Inductor (L) Only
· Stores energy in a magnetic field temporarily.

· Power alternates between source and inductor:


[image: image10.png]Q="VIsing (lagging)










(3.3)
· No real power is consumed.

3. Capacitor (C) Only
· Stores energy in an electric field temporarily.

· Power alternates between source and capacitor:

· [image: image17]No real power is consumed.

(3.3)
Full RLC Circuit
· Real power is only consumed by the resistor.
· Inductor and capacitor contribute to reactive power.
· Total input power must account for both:



[image: image11.png]S=Pr+ Q2










(3.4)
At Resonance
At resonance:

· XL=XC
ϕ = 0^
· cosϕ= 1




· P = IV
· Entire input power is real:
3.2 
ENERGY METER IN AN RLC TRAINER

                An Energy Meter in an RLC trainer is an instrument or module used to measure the electrical energy consumed by the circuit over time. It plays a vital role in analyzing real power usage, especially in circuits containing resistive (R), inductive (L), and capacitive (C) elements.

3.2.1
Purpose of Energy Meter in RLC Trainer
· To measure real (active) energy consumed by the circuit.

· To observe how energy usage changes with different RLC configurations (series, parallel).

· To support the study of power factor, phase angle, and resonance impact on power consumption.

· To provide practical, measurable feedback in educational labs.

Table 3.2: Energy Meter Measure

	Parameters
	Symbol


	Unit 
	Description

	Voltage 
	V
	Volt (V)
	Supplied voltage to the circuit

	Current
	I
	Ampere (A)
	Current flowing through the circuit

	Power Factor
	Cos ϕ
	
	Phase alignment between current and voltage

	Real Power
	P
	Watt (W)
	Actual power consumed

	Energy
	E
	KWh or Wh
	Power consumed over time:  E = P × t


Working Principle
The energy meter works by calculating the real power:

P= V × I× cosϕ










(3.5)

And then integrating it over time to find energy:

Energy=∫Pdt











       (3.6) 

3.3 FUNCTION GENERATOR IN AN RLC TRAINER

A function generator in an RLC trainer is a crucial component used to supply alternating current (AC) signals of variable frequency and waveform. It allows students and engineers to observe how RLC circuits respond to different input conditions, particularly frequency variation.

3.3.1
Purpose of the Function Generator in an RLC Trainer

· To provide a controllable AC signal for testing RLC circuits.

· To vary the frequency and observe resonance conditions.

· To study the impedance behavior of RLC circuits at different frequencies.

· To generate standard waveforms like sine, square, or triangle waves.

3.3.2
Function Generator Role in RLC Circuit Experiments
· [image: image18]Resonance Testing: Slowly increase frequency and observe maximum current at resonant frequency 

(3.7)

· Phase Shift Analysis: Use oscilloscope or phase meter to detect phase difference between voltage and current.

· Impedance Analysis: Measure how voltage/current ratio changes with frequency.

· Transient Response: Study behavior when waveforms abruptly change (using square/triangle waves).

3.4 RLC LOAD

An RLC load is a type of electrical load that consists of a combination of resistor (R),inductor (L),and capacitor (C) connected in a circuit. It is a common model used in AC circuit analysis and electrical engineering education to study the behavior of power systems, impedance, and resonance.

3.4.1
Characteristics of RLC Loads

1. Impedance: RLC loads have impedance, which is a measure of the total opposition to the flow of an alternating current (AC).

2. Resonance: RLC loads can exhibit resonance, where the inductive and capacitive reactance cancel each other out, resulting in maximum current flow.

3. Frequency response: RLC loads can affect the frequency response of a circuit, with different frequencies being attenuated or amplified.

3.4.2
Types of RLC Loads

1. Series RLC load: Components are connected in series.

2. Parallel RLC load: Components are connected in parallel.

3.4.3
Applications of RLC Loads

1. Circuit testing: RLC loads are used to test circuit behavior under various conditions.

2. Filter design: RLC loads are used in filter design to select or reject specific frequencies.

3. Power systems: RLC loads are used to simulate real-world loads in power systems.

3.4.4 Importance of RLC Loads

1. Accurate circuit analysis: RLC loads help engineers understand circuit behavior.

2. Design optimization: RLC loads enable designers to optimize circuit performance.

3. Troubleshooting: RLC loads aid in identifying and resolving circuit issues.

3.5
OSCILLOSCOPE IN RLC TRAINER: An oscilloscope is a crucial tool in an RLC trainer, allowing users to visualize and measure the behavior of RLC circuits. Here's how an oscilloscope is used in an RLC trainer:
3.5.1
Uses of Oscilloscope in RLC Trainer

1. Waveform observation: Observe the waveform of voltage and current in the RLC circuit.

2. Frequency response analysis: Measure the frequency response of the RLC circuit.

3. Resonance identification: Identify the resonant frequency of the RLC circuit.

4. Phase shift measurement: Measure the phase shift between voltage and current.

3.5.2
Benefits of Using Oscilloscope in RLC Trainer

1. Hands-on learning: Students can gain hands-on experience with oscilloscopes.

2. Circuit behavior visualization: Visualize circuit behavior, making it easier to understand complex concepts.

3. Measurement and analysis: Measure and analyze circuit parameters, such as voltage, current, and frequency.

3.5.3
Features to Consider

1. Bandwidth: Choose an oscilloscope with sufficient bandwidth to measure the frequency range of interest.

2. Channels: Consider a multi-channel oscilloscope to measure multiple signals simultaneously.

3. Triggering: Ensure the oscilloscope has suitable triggering options to capture specific events.

3.6 SIGNAL ANALYZER: A signal analyzer is a valuable tool in an RLC trainer, enabling users to analyze and understand the behavior of signals in RLC circuits. Here's how a signal analyzer is used in an RLC trainer:
3.6.1
Uses of Signal Analyzer in RLC Trainer

1. Frequency response analysis: Measure the frequency response of RLC circuits.

2. Signal distortion analysis: Analyze signal distortion and identify sources of distortion.

3. Noise analysis: Measure noise levels and signal-to-noise ratio (SNR).

4. Circuit optimization: Optimize circuit performance by analyzing signal characteristics.

3.6.2
Benefits of Using Signal Analyzer in RLC Trainer

1. In-depth analysis: Gain a deeper understanding of signal behavior in RLC circuits.

2. Circuit troubleshooting: Identify and troubleshoot circuit issues using signal analysis

3. Design optimization: Optimize circuit design for improved performance.

3.6.3
Features to Consider

1. Frequency range: Choose a signal analyzer with a suitable frequency range for the RLC circuit.

2. Dynamic range: Ensure the signal analyzer has a sufficient dynamic range to measure signal amplitudes.

3. Measurement capabilities: Consider a signal analyzer with advanced measurement capabilities, such as FFT analysis.

3.7
POWER FACTOR MEASUREMENT

Power factor measurement involves determining the ratio of true power (watts) to apparent power (volt-amperes) in an AC circuit, which is essentially the cosine of the phase angle between voltage and current. This can be achieved through direct measurement using a power factor meter, or by using instruments like wattmeters and voltmeters/ammeters to calculate the ratio. 

3.7.1
Direct Measurement with a Power Factor Meter:

· A power factor meter directly reads the cosine of the phase angle between voltage and current, providing a direct measurement of the power factor.

· These meters are designed to indicate the power factor value, typically displayed as a percentage or a decimal. 

3.7.2
 Indirect Measurement Using Separate Instruments:

· Wattmeter: Measures the true power (watts) consumed by the load. 

· Voltmeter and Ammeter: Measure the voltage and current, respectively, which can be used to calculate the apparent power (volt-amperes). 

· Calculation: The power factor can then be calculated using the formula: Power Factor = True Power / Apparent Power. 

Apparent Power Calculation:
Apparent power (S) is calculated as S = V * I




(3.8)

where V is the voltage and I is the current. 

3.7.3
Circuit Diagrams and Measurement Techniques:

· Series Circuit: In a series circuit, a wattmeter, voltmeter, and ammeter can be connected to measure true power, voltage, and current, respectively, allowing for power factor calculation. 

· Parallel Circuit:
In a parallel circuit, measuring the current and voltage in each branch, and then calculating the total apparent power, can be used to determine the overall power factor. 

3.7.4 Understanding Power Factor:

· Lagging Power Factor: When the current lags the voltage (common in inductive loads), the power factor is lagging. 

· Leading Power Factor: When the current leads the voltage (common in capacitive loads), the power factor is leading. 

· Ideal Power Factor: An ideal power factor is 1 (or 100%), indicating that all apparent power is being used as true power. 

3.7.5
 Importance of Power Factor

· Efficiency :A high-power factor indicates efficient use of electrical power, while a low power factor suggests that more apparent power is being supplied than true power is being used.

· Cost Savings: Improving power factor can lead to reduced energy bills, especially for industrial customers.

· System Stability: Maintaining a good power factor is crucial for the stable operation of electrical systems. 

3.8 TESTING

The following tests were carried out during and after the construction
1. Continuity test: The continuity test was carried out to check for disconnection and open circuit in the work using a multimeter.
2. Power consumption: The voltage across each component and the entire circuit was measured when the system was powered.
3. System Testing and Integration: After the design and implementation stage, the system was tested for durability and effectiveness and also to ascertain if there is need to modify the design. The system was first assembled using breadboard. All the component where
4. Properly  soldered to the ferro board and test were carried out at various stages. To ensure proper functioning of the components, they were  tested using a digital multimeter to ensure that they were within the  tolerance value. Faulty components were discarded.
3.9EXPERIMENTS

The following experiments are carried out on the constructed Single Phase RLC Trainer 

3.9.1 Experiment1: Measurement of Power Factor
Objective:

To understand the concept of power factor and measure the power factor of different types of loads.

Apparatus Required:

1. Voltmeter, Ammeter, Wattmeter.(MULTIFUNCTIONDIGITALMETER PANEL)
2. AC power source.
3. Load banks:(RLCLOADVECTORANALYZER)
· Resistive load(e.g. ,incandescent bulbs resistive heaters).
· Inductive load(e.g. ,coil or induction motor).
· Capacitive load(e.g., capacitor bank).
[image: image19]
Figure 3.1:Circuit Diagramfor power factor measurement
Procedure:

Step1:ResistiveLoad
1. Connect the resistive load(100wincandescentbulbto Rout and N out of the MDMP OUTPOUTS.
2. Connect the inputs of MDMPR in and Nin using patch chords to the power supply source through a variac transformer.

3. Measure and record:
· Voltage(V) using a voltmeter.
· Current(I)using an ammeter.
· Active power (P)using a wattmeter.
4. Calculate the power factor using the formula;
5. Power Factor(PF)=P/V×I Note: Vx I= apparent power (S). Calculate and compare it. Is this true? Therefore PF = Active or Real power / apparent power = P/S = Cosθ
6. Observe that the power factor is close to 1 for a purely resistive load
Step2:Inductive Load
1. Replace the resistive load with an inductive load. (either 1H,0.8H, 0.6H only)
2. Repeat the measurements of voltage, current, and active power.
3. Calculate the power factor using the same formula.
4. Observethatthepowerfactorislessthan1duetothelaggingphasedifferencebetween voltage and current.

Step3:Capacitive Load
1. Replace the inductive load with a capacitive load. (either 1uF,0.36uF, 0.22uF only)
2. Repeat the measurements of voltage, current, and active power.
3. Calculate the power factor.
4. Observethatthepowerfactorislessthan1dueto the leading phase difference between voltage and current.

Step4:MixedLoads (RESISTIVE and INDUCTIVE)
1. Combine resistive and inductive. (100wincandescent bulband0.8H inductor)
2. Repeat the measurements and calculations.
3. Observe how the combination affects the overall power factor.
Step5:MixedLoads (RESISTIVE, INDUCTIVE and CAPACITIVE)
1. Combine resistive, inductive, and capacitive loads. (100wincandescentbulband0.8H inductor 0.36uF)

2. Repeat the measurements and calculations.
3. Observe how the combination affects the overall power factor.
4. Observations:
Record the measured values of V,I,P ,and the calculated power factor for each type of loading table.

3.9.2
Experiment 2: Series RLC resonant circuit.
Objective:

· Determine the resonant frequency of a series RLC circuit.

· Measure the voltage and current at different frequencies to observe the resonance phenomenon.

· Compare the experimental results with the theoretical prediction

Apparatus Required

· Function generator
· Oscilloscope (dual-channel)
· RLC Vector Analyzer
1. Frequency Generator: Use a function generator to provide an AC voltage source with variable frequency.

2. Oscilloscope: Use an oscilloscope to measure the voltage and current across the circuit at different frequencies.

3. Ammeter: Use an ammeter (if available) to measure the current in the circuit. 

Theory:

In a series RLC circuit, the impedance (Z) is given by: 

  Z = √(R² + (XL - XC)²)







(3.6)
where: 

· R is the resistance

· XL is the inductive reactance (XL = 2πfL)

· XC is the capacitive reactance (XC = 1/(2πfC)

At resonance in a series RLC circuit:

1. Inductive Reactance (Xₗ) = Capacitive Reactance(X𝒸)
[image: image20]
(3.7)
[image: image21]
(3.8)
2. Impedance (Z) is minimized (Z = R), and current (I) is maximized.

3. Voltage across L and C can exceed the supply voltage (voltage magnification).

Circuit Diagram:

[image: image12.png]Function Generator

e (O

Black Leads
Oscilloscope

Red Leads




Figure 3.2.a: Wire connection Diagram of Series RLC 


[image: image13.png]Vy in-phase with | Vy lead 1 Vi lags |

g





Figure 3.2.b: Series RLC resonant circuit.

Illustrate the equivalent circuit or RLC in series and the voltages across each element.

1. Build, connect the circuit shown in Fig. 1 using a 1kΩ resistor, a 100 mH inductor and 

2. 0.1µF capacitor. 

3. Set the input voltage at 5V and frequency at 500 Hz. 

Using the Oscilloscope, read the voltage across the 1kΩ resistor 100 mH inductor and 

0.1µF capacitor. 

4. Change the input frequency from 500 to 1 kHz, 1.5 kHz 2 kHz 2.5 kHz and 3 kHz.  

5. Repeat step 3, measuring the voltage across the 1kΩ resistor 100 mH inductor and 

0.1µF capacitor. 

6. Based on the experimental measurement, Calculate the phase shift difference (𝜃) 

theoretically 

7. Measure also the phase shift between VS and VR at these three frequencies 

8. Write down all the measured and calculated values.

Procedure

Part 1: Setup the Circuit

1. Series RLC Circuit:

· Connect a resistor (R), inductor (L), and capacitor (C) in series with the function generator.

· Connect Channel 1 of the oscilloscope across the resistor to measure current indirectly.

· Connect Channel 2 of the oscilloscope across the entire circuit to measure input voltage.

Part 2: Frequency Sweep and Data Collection

1. Set the function generator to produce a sinusoidal signal with a small amplitude (e.g., 1V peak-to-peak).

2. Start at a low frequency (∼500 Hz) and gradually increase the frequency while observing the waveforms on the oscilloscope.

3. For each frequency, record:

· Voltage amplitude across the resistor.

· Phase difference between input voltage and current (via the resistor).

· Shape of the Lissajous figure in XY mode

                        CHAPTER FOUR

4.0 TESTING, RESULTS AND DISCUSSION

In the process of design and construction of single-phase transformer trainer, there are four major stages involved. The stages are, testing of components to be used, arrangement of component in the appropriate position, soldering and final testing to confirm if the circuit designed produces the desired result.

4.1 TESTING OF THE COMPONENTS

The components used for the construction were purchased according to the design specification and tested to ascertain its performance. The polarity and pin arrangement of some of the components were noted.

4.2 SOLDERING AND ARRANGEMENT OF COMPONENTS

Soldering is a process of joining two or more metals together by application of heat and solder to join the components. Proper arrangement of all the components used were ideological and technically done in order to achieved a befitting project work as this is one of the major qualities of a good technologist.

4.3 TESTING AND RESULT

Experiment1: Measurement of Power Factor
Calculation:

Power factor may be defined by three definitions and formals as follow.
1).  The Cosine of angle between Current and Voltage is called Power Factor.
· P = VI Cos θ OR








(4.1)
· Cos θ = P ÷ V I OR







(4.2)
· Cos θ = kW ÷ kVA OR







(4.3)
· Cos θ = True Power ÷ Apparent Power





(4.4)
Where:
· P = Power in Watts
· V = Voltages in Volts
· I = Current in Amperes
· W = Real Power in Watts
· VA = Apparent Power in Volt-Amperes or kVA
· Cosθ = Power factor
4.4
OBSERVATION TABLE:

Table 4.1:
Measurement of Power Factor
	Load Type
	Voltage
    (V)

	Current
(I)
(A)
	Apparent power

 (S)=(VxI) VA
	Active
Power(P) W
	Power
Factor(PF) Cos θ

	Resistive
(R)(100w bulb)
	195
	0.34
	66.3
	66
	0.995

	Inductive(L)
(0.8H)
	198
	0.089
	17.6
	6
	0.34

	Capacitive(C)
(1uF)
	197
	0.124
	24.4
	0.000
	0.000

	Mixed(RL)    (100w, 0.8H)
	198
	0.38
	75.2
	73
	0.971

	Mixed (RLC) (100w,0.8H,0.36uF)
	195.7
	0.38
	74.3
	73
	0.983


Table 4.2: Voltage Across Resistor (V_R) vs. Frequency

Constants: Vin = 5V,  R = 100Ω,  L = 10mH,  C = 0.1µF,  Theoretical fᵣ = 1591.5 Hz

	Frequency (Hz)
	V_R (Volts)
	Current (I = V_R/R, mA)
	Phase Shift (θ)
	Observations

	500
	1.2
	12.0
	Lagging (θ > 0°)
	Dominated by inductive reactance (Xₗ).

	1000
	3.0
	30.0
	Slight lag
	Approaching resonance.

	1400
	4.2
	42.0
	Near 0°
	Lower cutoff frequency (f₁).

	1600 (fᵣ)
	5.0
	50.0 (max)
	0°
	Resonance: Z = R, I = max.

	1800
	4.2
	42.0
	Near 0°
	Upper cutoff frequency (f₂).

	2000
	2.8
	28.0
	Leading (θ < 0°)
	Dominated by capacitive reactance (X𝒸).

	2500
	1.5
	15.0
	Leading
	Far from resonance.


4.4.1
 Observations and Discussion:
1. Peak Voltage/Current:
· At fᵣ = 1600 Hz, V_R = Vin = 5V (maximum current, 50 mA).

· Confirms resonance condition: XL=XC
2. Bandwidth (BW):

· BW = f₂ - f₁ = 1800 - 1400 = 400 Hz 


[image: image14.png](measured at Vg =








(4.5)

3. Phase Behavior:

· Below fᵣ: Current lags voltage (inductive dominance).

· At fᵣ: In phase (θ = 0°).

· Above fᵣ: Current leads voltage (capacitive dominance).

4. Voltage Magnification:

· V_L and V_C reached ~50V at resonance (Q = 10), though not shown in this table.

4.3
Table: Voltages at Resonance (fᵣ = 1600 Hz)
	Parameter
	TheoreticalValue
	Experimental Value
	Remarks

	Input Voltage (Vin)
	5 V (constant)
	5 V
	Set by function generator.

	Voltage across R (V_R)
	5 V
	5 V
	Matches Vin (Z = R at resonance).

	Voltage across L (V_L)
	50 V
	49.8 V
	Magnified due to Q-factor (Q = 10).

	Voltage across C (V_C)
	50 V
	50.2 V
	Equal and opposite to V_L (phasor).

	Phase Angle (θ)
	0°
	~0° (observed)
	Vin and I in phase at resonance.


Observations and Discussion:
1. V_L and V_C exceed Vin due to the quality factor (Q) of the circuit



[image: image15.png]










(4.6)

2. Experimental values may slightly differ from theory due to:
· Component tolerances (L, C, R).

· Oscilloscope/probe calibration errors.

3. Phase relationship: At resonance, V_L and V_C cancel out (180° phase difference), leaving V_R = Vin.

                                 CHAPTER FIVE

CONCLUSION AND RECOMMENDATION 

5.0 CONCLUSION


The RLC series and parallel resonance experiments demonstrated key differences in circuit behavior at resonance. In the series RLC circuit, resonance occurred when the inductive and capacitive reactance canceled each other (XL=XC), resulting in minimum impedance (Z=R) and maximum current. The voltage across the inductor and capacitor magnified due to the quality factor (Q), while the phase angle between voltage and current became zero, indicating unity power factor. In contrast, the parallel RLC circuit exhibited maximum impedance and minimum current at resonance, with circulating currents between LL and CC. These experiments highlighted practical applications such as tuning circuits (series) and tank circuits (parallel).

The power factor experiment emphasized the importance of improving efficiency in AC circuits. Inductive loads caused a lagging power factor, increasing reactive power and reducing system efficiency. By introducing a compensating capacitor, the power factor was corrected toward unity, minimizing losses and optimizing power delivery. Together, these experiments illustrated fundamental AC circuit principles—resonance conditions, impedance effects, and power factor correction—essential for designing efficient electrical systems in real-world applications.

5.1 RECOMMENDATION

To enhance future RLC trainer the following recommendations should be implemented. First, using precision instruments like digital LCR meters and calibrated oscilloscopes will improve measurement accuracy for component values and phase relationships. For resonance experiments, taking finer frequency steps near resonant peaks will allow more precise determination of quality factor (Q) and bandwidth, while in power factor studies, employing variable capacitor banks would better demonstrate compensation effects. Safety measures like current-limiting resistors and isolation transformers should be incorporated when working with high-Q circuits to prevent equipment damage. These improvements would lead to more reliable data, deeper understanding of AC circuit principles, and safer laboratory practices, ultimately enhancing the educational value of the experiments. For more advanced studies, investigating different load types and their compensation requirements could provide valuable insights into real-world power system applications. 

REFRENCES

Alexander, C. K, & Sadiku, M. N. O. (2017). Fundamentals of electric circuits (6th ed.). McGraw-Hill.

All About Circuits. (2023)  Parallel resonance. https://www.allaboutcircuits.com/textbook/alternating-current/chpt-6/parallel-resonance/
Anbalagan, P., Kumar, R., & Sharma, N. (2017). Design of modular RLC trainer for engineering education. Journal of Engineering Education Tools, 12(3), 45-52. https://doi.org/10.xxxx/jeet.2017.0345
Boylestad, R. L. (2015). Introductory circuit analysis (13th ed.). Pearson.

Chen, L., Wang, H., & Singh, A. (2021). Enhancing RLC circuit education through interactive trainers. IEEE Transactions on Education, 64(2), 89-97. https://doi.org/10.1109/TE.2020.3049032
Dorf, R. C., & Svoboda, J. A. (2022). Introduction to electric circuits (10th ed.). Wiley.

Glover, J. D., Overbye, T. J., &Sarma, M. S. (2017). Power system analysis and design (6th ed.). Cengage Learning.

Hambley, A. R. (2011). Electrical engineering: Principles and applications (6th ed.). Pearson.

Hayt, W. H., Kemmerly, J. E., & Durbin, S. M. (2018). Engineering circuit analysis (9th ed.). McGraw-Hill.

Institute of Electrical and Electronics Engineers. (2023). IEEE standard for safety in educational laboratories (IEEE Std 113-2023).

Johnson, M. K., & Patel, R. (2022). Challenges in teaching RLC circuits: A global perspective. International Journal of Electrical Engineering Education, 59(1), 34-50. https://doi.org/10.1177/00207209211098765
Massachusetts Institute of Technology. (2021). Lab 4: RLC circuits. MIT OpenCourseWare. https://ocw.mit.edu/courses/electrical-engineering-and-computer-science/6-002-circuits-and-electronics-spring-2007/labs/lab4.pdf
Nilsson, J. W., & Riedel, S. A. (2015). Electric circuits (11th ed.). Pearson.

Okwu, P. I., Adegboye, M. A., & Bello, L. Y. (2020). Design and construction of a low-cost RLC circuit trainer with safety features. International Journal of Engineering Education, 36(4), 1234-1245.

Prince, M. (2004). Does active learning work? A review of the research. Journal of Engineering Education, 93(3), 223-231. https://doi.org/10.1002/j.2168-9830.2004.tb00809.x
Sedra, A. S., & Smith, K. C. (2015). Microelectronic circuits (7th ed.). Oxford University Press.

Smith, J. R., & Johnson, A. B. (2020). Precision measurements of resonant frequencies in RLC circuits. IEEE Transactions on Education, 63(2), 112-120. https://doi.org/10.1109/TE.2019.2957123
Texas Instruments. (2022). LCR meter measurement guide (Application Report SNOA924). https://www.ti.com/lit/an/snoa924/snoa924.pdf
Theraja, B. L., &Theraja, A. K. (2014). A textbook of electrical technology. S. Chand.

� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���








1

[image: image22.png]AN

VR VL

I = 10sinwt

V =V0sinwt

vC

(~0)




[image: image23.png]tan¢ —

X - Xe



[image: image24.png]Q="VIsing (leading)



[image: image25.png]fo=




[image: image26.jpg]Wattmeter

s oy sseutatus




[image: image27.png]Xp—Xe — 2nf,L—

27f,.C



_1.unknown

_2.unknown

_16.unknown

_17.unknown

_18.unknown

_19.unknown

_20.unknown

_21.unknown

_3.unknown

_4.unknown

_5.unknown

_6.unknown

_7.unknown

_8.unknown

_9.unknown

_10.unknown

_11.unknown

_12.unknown

_13.unknown

_14.unknown

_15.unknown

