EVALUATION OF FIRE HAZARD IN HIGH-RISE BUILDING

BY

LAWAL HAMMED YINKA

HND/23/BLD/FT/0082

BEING A PROJECT SUBMITTED TO THE,

BUILDING TECHNOLOGY DEPARTMENT,

INSTITUTE OF ENVIRONMENTAL STUDIES,

KWARA STATE POLYTECHNIC, ILORIN.

IN PARTIAL FULFILMENT OF THE REQUIREMENTS FOR THE

AWARD OF HIGHER NATIONAL DIPLOMA (HND) IN

BUILDING TECHNOLOGY

JULY, 2025

CERTIFICATION

This is to certify that this project has been read and approved as meeting part of the requirements of the Department of Building Technology, Institute of Environmental Studies (I.E.S), Kwara State Polytechnic, Ilorin.

_____________________________						_______________ MR. ATOLAGBE VICTOR 							DATE

(Project Supervisor)

_________________________________					_______________

BLDR. ABDULGANIYU ALEGE (MNIOB)					DATE

(Head of Department)

____________________________________				_______________ BLDR. ABDULGANIYU ALEGE (MNIOB)					DATE

(Project Coordinator)

__________________________						_______________

BLDR. ALIYU SULAIMAN FUNSHO (MNIOB)				DATE

(External Examiner)

DEDICATION

This research work is dedicated to my parents, and to God Almighty, the source of protection on me throughout this program and His mercy, blessing and wisdom given to me and sparing my life throughout the successful completion of this programme.

ACKNOWLEDGMENT

All thanks belong to almighty Allah for his love and Guidance with blessing over my entire family.

My sincere appreciation goes to my parents Mr. and Mrs. Lawal for their moral support, your sacrifices and belief in me have been my greatest motivation. And I say big thanks for their unwavering support, care, advice and prayer towards the completion of my education and project

My profound gratitude goes to my project supervisor  MR VICTOR ATOLAGBE for his invaluable guidance, encouragement, and constructive feedback throughout the course of this work. Your support greatly contributed to the success of this project. I also acknowledge the HOD of Accountancy in person of Bldr. Alege and other lecturers big thank you for everything you do for each and every one of us.

Finally. I give thanks to my friends, course mate and loved ones, who stood by me with encouragement, ideas, and support throughout this academic journey. Your contributions are deeply appreciated.

I say thanks to you all, may almighty Allah bless you all.

Abstract

This study evaluates the nature, causes, impacts, and mitigation strategies of fire hazards in high-rise buildings. The objectives of the research include identifying major fire hazards, assessing the effectiveness of current fire prevention and control measures, examining the consequences of fire outbreaks, and recommending strategies to enhance fire safety and hazard mitigation. A mixed-methods approach was employed, utilizing structured questionnaires administered to 50 respondents comprising residents, fire safety officials, and building facility managers. Quantitative data were analyzed using descriptive statistics, while qualitative responses were interpreted thematically. Findings revealed that electrical faults, use of flammable materials, poor emergency preparedness, and inadequate maintenance of fire safety equipment are leading causes of fire hazards in high-rise buildings. Although some buildings were equipped with safety systems such as alarms and extinguishers, many lacked proper functionality and regular drills. The study also identified severe impacts of fire outbreaks, including injuries, loss of lives, economic damages, and psychological trauma. Recommendations include stricter enforcement of building codes, periodic fire risk assessments, public awareness campaigns, mandatory fire safety training, and improved funding and equipping of fire services. These strategies are essential to mitigate fire hazards and enhance safety in high-rise buildings.This study contributes to the growing body of knowledge on urban fire safety and provides practical insights for policymakers, developers, and safety regulators.

TABLE OF CONTENT

Title page										i

Certification 										ii

Dedication 										iii

Acknowledgement 										iv

Abstract 										v

Table of Content 										vi

CHAPTER ONE: INTRODUCTION

1.1 Background to the Study									1

1.2 Statement of the Problem									3

1.3 Aim 											4

1.4 Objectives of the Study									4

1.5 Research Questions									4

1.6 Significance of the study 									5

1.7 Scope of the Study 									5

1.8 Limitation of the Study 									5

1.9 Definition of Terms 									6

CHAPTER TWO: REVIEW OF RELATED LITERATURE

2.1 Introduction										7

2.2 Major Fire Hazards in High-Rise Buildings						7

2.3 Impact of Fire Hazard in High-rise Building						10

2.4 Fire Safety Regulations 									12

2.5 Nigeria Specific Fire Challenges in High-rise Building 					13

2.6 Passive Fire Protection Method 								14

2.7 Fire Detection, Suppression and Alarm Systems 						14

2.8 Human Behaviour and Emergency Response						15

2.9 Community Awareness and Fire Safety Education 					16

2.10 Technological Advancement in Fire Risk Management 				16

2.11 Strategies to Enhance Fire Safety and Hazard Mitigation 				17

CHAPTER THREE: RESEARCH METHODOLOGY

3.1 Introduction 										21

3.2 Research Design 										21

3.3 Sample Frame										21

3.4 Method of Data Collection								21

3.5 Research Instrument 									22

3.6 Method of Data Analysis									22

CHAPTER FOUR: RESULT ANALYSIS AND DISCUSSION

4.1 Introduction 										23

4.2 Demographic Information of Respondents						23

4.3 Analysis Based on Research Objective							26

4.4 Discussion of Findings 									29

CHAPTER FIVE: SUMMARY, CONCLUSION AND RECOMMENDATION

5.1 Summary 											30

5.2 Conclusion 										31

5.3 Recommendation 										31

References											33

CHAPTER ONE

1.0 INTRODUCTION

1.1	BACKGROUND TO THE STUDY

Urbanisation and population growth have led to a sharp rise in the construction of high-rise buildings, especially in major cities. Often used for residential, commercial, or mixed purposes, these structures allow for efficient land use. However, they also bring about significant fire safety challenges due to their height, complex design, dense occupancy, and reliance on intricate electrical and mechanical systems (Bukowski, 2006).

Buildings constitute majority of built infrastructure and play a pivotal role in the socioeconomic development of a country. Most of the buildings are designed to last for several decades and provide residential and functional operations to large number of inhabitants throughout their design life. During this long time-span, buildings are subjected to several natural (earthquake, hurricane, tsunamis etc.) and manmade (fire, explosion, etc.) hazards which can cause partial or complete collapse of the building, and incapacitation of building operations (Bukowski, 2006).

Such destruction or incapacitation in the event of a hazard can jeopardize the life safety of inhabitants and can cause significant direct and indirect monetary losses. Hence, buildings are designed to withstand actions from numerous anticipated hazards to ensure life and structural safety during their design life, and fire represents one such hazard that can occur in buildings

Fire outbreaks in such buildings pose a unique threat because of the potential for rapid vertical fire spread, delayed evacuation, and the complexity of firefighting operations at height. The 2017 Grenfell Tower fire in London remains a stark reminder of the dangers posed when fire safety regulations are inadequate or poorly enforced (BBC, 2017). Thus, evaluating fire hazards in high-rise buildings is crucial for urban safety planning and disaster prevention.

High-rise buildings, by design, present difficulties in fire suppression due to their verticality, limited escape routes, and the potential for multiple simultaneous ignition sources. In many developing countries, including Nigeria, the adoption of fire protection technologies and enforcement of building codes are often inconsistent. These challenges are exacerbated by inadequate funding of emergency services, lack of public awareness, and poor maintenance of fire safety systems.

The increasing demand for high-rise developments in densely populated urban centres like Lagos has further highlighted the need for robust fire safety strategies. In recent years, several fire incidents in Nigerian high-rise buildings have resulted in significant loss of life and property. This underscores the urgency for systematic evaluation of existing fire protection measures and their effectiveness in mitigating fire-related risks.

Moreover, the assessment of fire hazard involves not only the identification of potential sources of ignition and fuel load but also the examination of human behaviour during emergencies, the integrity of fire suppression systems, and the effectiveness of evacuation procedures. The integration of these components provides a holistic understanding of fire risk and supports the development of targeted interventions (Drysdale, 2011).

Notable fire disasters such as the 2001 World Trade Center attack, the 2010 Shanghai high-rise fire, and the Grenfell Tower fire have all demonstrated the grave risks high-rise buildings face when fire hazards are not properly managed (Meacham, 2010; Li et al., 2012). High-rise buildings have vertical design complexities that connect floors through elevators, staircases, and utility shafts, all of which can accelerate fire spread if not properly compartmentalised.

The use of synthetic, often combustible, materials in construction adds to the danger (Drysdale, 2011). While building codes such as the NFPA 101 Life Safety Code and the International Building Code (IBC) are in place to guide fire safety measures, many buildings, particularly in developing countries are either underregulated or poorly maintained (NFPA, 2021). Therefore, a critical assessment of both design practices and operational safety is necessary. This research seeks to examine the factors contributing to fire hazards in high-rise buildings, evaluate current prevention and response strategies, and suggest improvements for fire safety systems and management practices.

1.2	STATEMENT OF THE PROBLEM

Despite technological advances, fire hazards in high-rise buildings remain a pressing issue. A gap exists between the theoretical design of fire safety systems and their actual effectiveness during an emergency. Common problems include lack of regular maintenance, outdated systems, weak regulatory enforcement, and poor emergency preparedness (Alpert & Bukowski, 2004).

Many buildings were constructed before current fire codes were enacted, making retrofitting a difficult and costly endeavor. This increases vulnerability to fire risks, particularly in low-income or underfunded urban areas.

1.3	AIM OF THE STUDY

The study aims to assess fire hazards in high-rise buildings with a focus on identifying the predominant risk factors, assessing the adequacy of preventive and response measures, and recommending actionable improvements.

1.4	OBJECTIVES OF THE STUDY

The objectives of the study are as follows:

1. to identify major fire hazards in high-rise buildings

2. to assess the effectiveness of current fire prevention and control measures.

3. to assess the impact of fire hazards in high-rise buildings

4. to recommend strategies to enhance fire safety and hazard mitigation

1.5	RESEARCH QUESTIONS

1. What are the primary fire hazards associated with high-rise buildings?

2. How effectives are the current fire safety systems and management strategies?

3. what are the impact of fire hazard in high-rise building?

4. what improvement can be made to better manage fire risks?

1.6	SIGNIFICANCE OF THE STUDY

This research is relevant to architects, engineers, fire safety experts, facility managers, and policymakers. Its findings will contribute to the development of safer building designs and more robust fire management policies. It also provides a reference for researchers in fire safety and disaster risk management.

1.7	SCOPE OF THE STUDY

The study focuses on high-rise buildings (typically over 75 feet or seven stories) in urban environments. It covers both residential and commercial structures. Data will be drawn from case studies, fire reports, and literature. It is limited to making findings about major fire hazards in high-rise buildings and to recommend strategies to enhance fire safety and hazard mitigation. The study will particularly focus on the Lagos State metropolis, given its high concentration of tall buildings and recurrent fire incidents.

1.8	LIMITATION OF THE STUDY

Financial constraint- Insufficient fund tends to impede the efficiency of the researcher in sourcing for the relevant materials, literature or information and in the process of data collection (internet, questionnaire and interview).

Time constraint- The researcher will simultaneously engage in this study with other academic work. This consequently will cut down on the time devoted for the research work.

1.9	DEFINITION OF TERMS

Assessment: An analysis of potential fire scenarios and their impacts. The action or an instance of making a judgment about something. A process of gathering, analyzing, and reflecting on evidence about something.

Fire Hazard: A condition that increases the likelihood of a fire starting or spreading. any condition, material, or situation that increases the likelihood of a fire starting, spreading, or becoming more dangerous. It encompasses anything that can ignite, fuel, or accelerate a fire

High-Rise Building: A tall structure requiring elevators and advanced fire systems. multistory building tall enough to require the use of a system of mechanical vertical transportation such as elevators

CHAPTER TWO

2.0 REVIEW OF RELATED LITERATURE

2.1	INTRODUCTION

Fire hazard refers to any condition that increases the likelihood of a fire starting or contributes to its spread. In high-rise buildings, these hazards are magnified due to the structure’s height, complex systems, and high occupancy levels (Bukowski, 2006). High-rise structures typically contain multiple vertical channels elevator shafts, stairwells, ductwork that can act as chimneys during fire outbreaks, facilitating smoke and heat transfer between floors.

Drysdale (2011) emphasizes that the ignition of modern synthetic furnishings produces fires with greater intensity and more toxic smoke than traditional materials. The potential for extensive fire damage is worsened by the building height, which restricts natural firefighting access. Additionally, the sheer number of occupants creates a significant evacuation challenge, especially for vulnerable groups like the elderly, children, and people with disabilities.

High-rise buildings tend to accumulate significant fire loads from office equipment, electrical wiring, combustible cladding, and human activity. These hazards underscore the importance of a proactive and holistic approach to fire hazard management, one that combines technology, human behavior, and regulatory enforcement (Meacham, 2010).

2.2	MAJOR FIRE HAZARDS IN HIGH-RISE BUILDINGS

High-rise buildings present a unique set of fire hazards due to their height, design complexity, and high population density. These hazards not only increase the risk of fire outbreaks but also complicate detection, containment, evacuation, and firefighting efforts. Below are the key fire hazards commonly associated with high-rise structures:

2.1.1	Electrical Faults

Electrical systems in high-rise buildings are extensive and complex. Faulty wiring, overloaded circuits, and aged electrical installations remain a primary source of fire outbreaks. In many older buildings, outdated wiring systems are not designed to handle the current demands of modern appliances, leading to short circuits and electrical arcing (Meacham & Custer, 1995).

2.1.2	Combustible Building Materials

Many high-rise buildings incorporate materials that are not adequately fire-resistant. The use of combustible cladding and insulation materials, as seen in the Grenfell Tower tragedy, can significantly exacerbate fire spread (Babrauskas, 2016). These materials can rapidly transfer flames between floors and across facades, defeating fire compartmentation.

2.1.3	Poor Fire Compartmentation

Fire compartmentation involves designing sections of a building to prevent fire and smoke from spreading between floors and rooms. However, penetrations for plumbing, HVAC, or electrical conduits can undermine compartmentation when not properly sealed. This is particularly dangerous in high-rise buildings where vertical shafts can act like chimneys (Thomas, 2000).

2.1.4	Overcrowding and High Occupant Density

Overpopulated high-rise buildings increase the risk of human error, reduce evacuation efficiency, and complicate emergency response. In residential towers, illegal partitioning of apartments can lead to increased fuel load and obstructed escape routes (Yung et al., 2008).

2.1.5	Inadequate Fire Safety Systems

Many high-rise buildings lack adequate fire alarms, sprinklers, and smoke detection systems. In some cases, these systems exist but are not maintained properly, leaving them non-functional during critical moments (Bukowski, 2006).

2.1.6	Inaccessible Firefighting Routes

The height of tall buildings poses serious challenges to external firefighting access. Internal fire suppression depends heavily on standpipes, hydrants, and firefighter elevators. If these systems are not maintained or fail during a fire, response becomes difficult and delayed (Klote & Milke, 2002).

2.1.7	Lack of Fire Drills and Occupant Preparedness

Fire safety heavily relies on occupant behavior and preparedness. Many residents and workers in high-rise buildings are unfamiliar with evacuation procedures or fail to respond effectively due to panic or confusion, especially when no routine fire drills are conducted (Gwynne et al., 2003).

2.1.8	Arson and Security Lapses

In some urban high-rise structures, especially abandoned or poorly managed ones, arson becomes a real threat. Vandalism or criminal activities can lead to intentional fires, especially in high-density public housing without adequate security (Donald & Canter, 2014).

2.1.9	Poor Maintenance of Fire Equipment

Routine checks of fire extinguishers, sprinklers, smoke detectors, and emergency exits are often neglected. In developing countries like Nigeria, the absence of maintenance culture and insufficient funding for fire safety contributes to equipment failure during emergencies (Olagunju, 2014).

2.1.10	Flammable Furnishings and Finishes

Furniture, curtains, and decorative finishes made from synthetic materials release toxic smoke and burn rapidly. In high-rise offices and apartments, such items significantly increase the fuel load, especially if fire-retardant standards are not met (Drysdale, 2011).

2.3	IMPACT OF FIRE HAZARDS IN HIGH-RISE BUILDINGS

Fire hazards in high-rise buildings can have devastating consequences that extend far beyond the immediate physical damage. These impacts can be classified into human, structural, economic, environmental, and institutional consequences. The vertical complexity of high-rise structures exacerbates these effects due to delayed evacuation, limited firefighting access, and high occupant density. Below is a breakdown of the most significant impacts:

2.3.1	Human Casualties and Injuries

The primary and most tragic impact of fire in high-rise buildings is the loss of human lives. Because evacuation is more difficult in tall structures especially for children, the elderly, and the disabled fires in high-rises often result in higher fatality rates. The 2017 Grenfell Tower fire in London, which claimed 72 lives, underscores how fire hazards can turn deadly when safety protocols fail (BBC, 2017). Smoke inhalation, more than burns, is the leading cause of fire-related deaths in such events.

2.3.2	Psychological and Emotional Trauma

Survivors of high-rise building fires often suffer long-term psychological effects including post-traumatic stress disorder (PTSD), anxiety, and depression. Children and the elderly are particularly vulnerable to emotional distress following such events (Pfefferbaum et al., 2000). The sudden loss of shelter, belongings, and sometimes loved ones can cause significant mental health issues.

2.3.3	Structural Damage and Building Collapse

High-rise fires can cause extensive structural damage. Prolonged exposure to high temperatures weakens steel and concrete elements, compromising the building’s load-bearing capacity. In severe cases, this may lead to partial or full collapse, as observed in the World Trade Center collapse in 2001 (Bazant & Zhou, 2002). Repairing or demolishing damaged high-rise structures is logistically complex and financially costly.

2.3.4	Economic Losses

Fire outbreaks in high-rise buildings can result in multi-billion naira losses, especially in commercial or mixed-use towers. These losses include damage to property, business interruption, loss of inventory, increased insurance premiums, and the cost of litigation. In Nigeria, for example, the 2013 Balogun Market high-rise fire in Lagos destroyed property worth hundreds of millions of naira, affecting thousands of traders (Akinbode, 2015).

2.3.5	Environmental Pollution

High-rise fires contribute to environmental degradation through the release of toxic smoke, carbon monoxide, dioxins, and other harmful chemicals into the atmosphere. Burning of synthetic materials and electronics leads to air and groundwater pollution. Additionally, fire suppressants such as halons and foams can also pose environmental risks (Schartel & Hull, 2007).

2.3.6	Displacement and Homelessness

Large-scale fires in residential high-rises often render hundreds of residents homeless overnight. The lack of contingency plans and shelter systems further worsens the humanitarian situation, especially in developing nations. Long-term displacement also places stress on local housing and welfare systems (Oloke et al., 2018).

2.3.7	Institutional Repercussions

Major fire incidents can shake public confidence in governance, regulatory bodies, and emergency services. When fire outbreaks are linked to regulatory failures or corruption—as was alleged in the Grenfell case there may be protests, inquiries, and institutional reforms. In Nigeria, repeated fire incidents have prompted calls for better building inspections and a review of outdated fire codes (Fagbenle & Olatunde, 2012).

2.3.8	Disruption of Critical Urban Infrastructure

High-rise fires can shut down surrounding transportation systems, electrical grids, and telecommunication networks, especially in central business districts. The need to cordon off the affected area for safety reasons may cause congestion and loss of productivity in nearby establishments (Purser, 2002)

2.4	FIRE SAFETY REGULATORY FRAMEWORKS

Globally, fire safety in buildings is governed by international standards such as the International Building Code (IBC) and NFPA 101: Life Safety Code. These standards define structural integrity requirements, fire suppression systems, exit routes, and emergency lighting provisions (NFPA, 2021; ICC, 2021).

Nigeria's National Building Code (NBC, 2006) integrates provisions for fire detection and suppression systems, exit route specifications, and fire-resistance ratings of materials. However, enforcement has proven inconsistent. Studies by Okolie and Taiwo (2014) revealed that many buildings, especially in Lagos State, were either non-compliant or lacked the infrastructure stipulated by the NBC.

Akintoye and Ogunsemi (2017) noted a disconnect between regulatory intentions and practical implementation in Nigeria’s urban areas. Building owners often cut corners to reduce costs, and in some cases, fire safety consultants are not engaged at all. This regulatory vacuum puts occupants at considerable risk.

2.5	NIGERIA SPECIFIC FIRE CHALLENGES IN HIGH-RISE BUILDINGS

Nigeria faces a complex set of challenges in the management of fire hazards in high-rise buildings. These include:

- Weak enforcement of building codes

- Substandard construction materials

- Inadequate firefighting infrastructure

- Unreliable electricity supply

In Lagos, the urban center with the highest concentration of high-rise buildings, fire risks are intensified by dense population, informal settlements, and poor spatial planning (Iwuagwu & Ugochukwu, 2021). Overloaded electrical systems are common, especially in mixed-use buildings.

Akinyemi and Aluko (2019) highlight the inadequacy of firefighting logistics, limited fire trucks, old equipment, poor access to high-rise floors, and scarcity of public hydrants. In addition, emergency exits are often blocked or repurposed for storage, and fire alarms are either non-functional or absent.

This dire situation is exacerbated by poor public awareness of fire risks and emergency response strategies. Many high-rise residents have never participated in a fire drill or received fire safety education (Okolie & Taiwo, 2014).

2.6	PASSIVE FIRE PROTECTION METHODS

Passive Fire Protection (PFP) involves built-in components that help contain fire or slow its spread without the need for human intervention or mechanical activation.  The Key passive fire protection methods include:

- Fire-resistance-rated walls and doors

- Compartmentalization

- Intumescent coatings

- Fire stops and dampers

Buchanan and Abu (2017) stress the importance of compartmentalizing spaces to contain fire within specific zones. This method not only delays fire spread but also protects evacuation routes and critical systems. However, in Nigeria, passive fire protection is often overlooked.

According to Hackitt (2018), failure to prioritize fire-resistive construction has led to several disasters globally, including Grenfell Tower in the UK. In Nigeria, the use of substandard materials or poor workmanship frequently compromises fire resistance, with little or no enforcement from regulatory authorities (Okolie & Taiwo, 2014).

2.7	FIRE DETECTION, SUPPRESSION, AND ALARM SYSTEMS

Active fire protection systems are essential in high-rise buildings. These include:

1. Smoke detectors

2. Heat sensors

3.Sprinkler systems

4. Manual alarms

5. Fire extinguishers

The NFPA (2021) indicates that buildings equipped with sprinkler systems experience 60–70% fewer fire fatalities. Yet in Nigeria, studies reveal widespread neglect of these systems. Akinyemi and Aluko (2019) found that many high-rise buildings had non-functional alarms and no regular maintenance schedules for fire suppression equipment.

Worse still, some buildings install dummy detectors or expired extinguishers simply to meet superficial compliance during inspections. Emergency lighting and signage, which are critical in directing people during smoke-filled conditions, are often absent.

2.8	HUMAN BEHAVIOUR AND EMERGENCY RESPONSE

The effectiveness of fire safety systems depends significantly on human behavior. Proulx (2001) observed that during fire events, occupants tend to delay evacuation, often waiting for verification or instructions. In high-rise settings, this delay can be fatal.

In Nigeria, fire drills are rarely conducted, and occupants are unfamiliar with safety protocols. Iwuagwu and Ugochukwu (2021) note that most high-rise residents interviewed in Lagos were unaware of the location of fire extinguishers or assembly points.

Furthermore, poor signage, language barriers, and cultural attitudes toward fire risk contribute to chaos during emergencies. Without proper training and regular drills, even the best systems can fail due to panic and misinformation.

2.9	COMMUNITY AWARENESS AND FIRE SAFETY EDUCATION

Fire education is a fundamental yet often neglected aspect of fire safety. According to Geller (2001), behavioral interventions and safety campaigns significantly reduce fire incidences by changing risky behavior.

In Nigeria, fire safety education is minimal. There are no widespread school curricula, public campaigns, or community training programs on fire response. Okolie and Taiwo (2014) lament the low level of fire literacy, particularly in high-density urban settings.

Fire safety agencies like the Lagos State Fire Service and LASEMA have initiated some awareness programs, but these are irregular and underfunded. Sustainable community-based strategies—such as workshops, media programs, and simulation exercises—are needed to improve preparedness at the grassroots level.

### 2.10	TECHNOLOGICAL ADVANCEMENTS IN FIRE RISK MANAGEMENT

Globally, technological innovation is transforming fire safety. Advancements include:

- Smart fire detection systems

- IoT-based sensors

- Automated smoke ventilation

- Building Information Modeling (BIM) for evacuation planning

Babrauskas (2015) describes how smart systems can provide real-time alerts and track fire spread using thermal imaging. However, Nigeria’s high-rise sector has been slow to adopt such tools due to high installation costs, lack of technical expertise, and inadequate digital infrastructure.

Where these systems are installed, they are often not integrated into centralized control panels, reducing their effectiveness. Meacham (2010) recommends mandatory inclusion of fire modeling and simulation in all high-rise project designs.

2.11	STRATEGIES TO ENHANCE FIRE SAFETY AND HAZARD MITIGATION IN HIGH-RISE BUILDINGS

The prevention and mitigation of fire hazards in high-rise buildings require a multifaceted approach involving design, technology, regulation, education, and emergency planning. Modern strategies are not limited to reactive firefighting but aim to proactively reduce the likelihood of fire incidents and limit their consequences when they do occur.

1	Adherence to Updated Building Codes and Standards

The foundation of fire safety lies in strict compliance with national and international building codes. Standards such as the NFPA 101 Life Safety Code and the International Building Code (IBC) offer extensive guidelines for fire-resistant materials, compartmentalization, alarm systems, and evacuation routes (NFPA, 2021). In Nigeria, the National Building Code (NBC 2006) provides requirements for fire protection, but its enforcement remains weak (Olagunju, 2014).

2.	Incorporation of Passive Fire Protection (PFP) Measures

Passive fire protection refers to built-in features that help contain fire or slow its spread. These include:

- Fire-resistant walls and doors

- Compartmentation

- Fire-stopping around pipe and cable penetrations

- Use of non-combustible materials

These strategies help localize fires, giving occupants more time to evacuate and firefighters more time to respond (Thomas, 2000; Drysdale, 2011).

3.	Installation and Maintenance of Active Fire Protection Systems

Active systems include smoke detectors, fire alarms, sprinkler systems, fire extinguishers, and automatic suppression systems. These systems must not only be installed according to code but also tested and maintained regularly to ensure reliability during an emergency (Klote & Milke, 2002). Nigerian buildings often lack this maintenance culture, contributing to system failures when needed most (Akinbode, 2015).

4.	Emergency Response Planning and Fire Drills

Every high-rise building must have a well-structured fire emergency plan. This includes:

- Marked and illuminated exit routes

- Assembly points

- Trained personnel for evacuation coordination

- Periodic fire drills and simulations

Frequent fire drills familiarize occupants with escape routes and reduce panic in actual emergencies (Gwynne et al., 2003).

5.	Use of Smart Fire Detection and Monitoring Technologies

Recent advancements in fire safety include the integration of Internet of Things (IoT) technologies for real-time monitoring. Smart detectors can communicate with central control units, identify fire risks early, and even alert emergency responders before visible flames appear (Chen et al., 2019). Heat sensors, AI-based fire recognition systems, and smart sprinklers are also gaining popularity.

6.	Fire Risk Assessments and Audits

Periodic fire risk assessments help identify vulnerabilities in a building’s design, materials, and operational procedures. Such assessments evaluate evacuation procedures, fire loads, egress routes, and accessibility for fire services. Many developed countries require annual fire safety audits for high-rise buildings (Meacham, 2010), while such audits are infrequent or non-existent in many parts of Nigeria (Fagbenle & Olatunde, 2012).

7.	Public Awareness and Fire Safety Education

Public ignorance about fire safety practices often results in unsafe behavior such as overloading electrical circuits, blocking fire exits, or failing to report early signs of fire. Awareness campaigns through mass media, community outreach, and school-based programs can instill basic safety practices (Moussa et al., 2016). Fire departments can also provide on-site training for building occupants.

8.	Integration of Vertical Firefighting Systems

High-rise buildings should be equipped with:

- Firefighter lifts

- Wet risers and dry risers

- Hose reels and hydrants

- Pressurized stairwells for safe egress

These facilities allow emergency responders to reach affected floors quickly and suppress fires more effectively (Shields & Silcock, 1987).

9.	Policy and Institutional Reform

Strong regulatory enforcement, corruption-free inspections, and adequate funding of fire services are essential to improving fire safety. Governments should empower fire safety agencies with modern equipment, sufficient manpower, and a clear mandate to enforce compliance (Oloke et al., 2018).

CHAPTER THREE

3.0 RESEARCH METHODOLOGY

3.1	Introduction

This chapter deals with the method employed in solving the problem of the study. It discusses the research design approach used, the study area, population of the study, sample and sampling techniques used. It also examines the instruments used for the study, the method of administration and collection of questionnaire for the study.

3.2	Research Design

The type of research that will be carried out is descriptive using survey method and the reason for using this type of method is because the research is not experimental.

3.3	Sample Frame

The population of the study consisted of Architects, Builders, Engineers and Quantity Surveyors active in the construction industry. A total number (50) respondents will served as the entire population

3.4	Method of Data Collection

The method of data collection for this research is basically on two sources which are primary and secondary source. Primary source: The primary data were obtained through questionnaire and interview. The respondents include consultants and contractors on various construction site. Secondary mean: In the secondary means, works of previous researchers on the topic will be reviewed. This will be by consulting textbooks, journal, newspaper etc. that previously deal with research topic method of data analysis

3.5	Research Instrument

The methods adopted in collecting these data are: a. Relevant information was extracted from textbooks, journal, magazines, and published and unpublished studies relevant for the literature review. So, those theories can be compared with the information that was gotten from the numerous establishments. b. Structured questionnaires were also administered on the chosen establishment selected to collection relevant information relating to the study.

3.6	Data Analysis

In the method of data analysis, this descriptive static of frequencies and percentage will be used for the collection of demographic data will be tested using Likert scale statistics. It is important to identify the type of scale used in the analysis since the statistical test is dependent on the type of scale. Four types of scale are identified as ordinary, ratio, nominal and interval. In this research the ordinal scale of data (Likert Scale) was used whereby 1= Strongly Disagree (SD), 2= Disagree (D), 3= Agree (A), 4= Strongly Agree (SA).

The result would be analyzed in percentage and figure using descriptive statistics and presented in the form of pie charts and tables.

CHAPTER FOUR

4.0 DATA PRESENTATION AND ANALYSIS

4.1 Introduction

This chapter presents and analyzes the data gathered from 50 structured questionnaires distributed to respondents including residents, facility managers, and fire officials in high-rise buildings across Lagos State. The analysis was performed using descriptive statistics (frequency and percentage) and is structured according to the study’s objectives.

4.2 Demographic Information of Respondents

| Variable | Category | Frequency | Percentage |
| --- | --- | --- | --- |
| Gender | Male | 30 | 60% |
|  | Female | 20 | 40% |
|  | Total | 50 | 100% |

Source: Field Survey,2025

Table 4.2 indicates that majority of the respondents are male, having 60% while the female respondents are 40%

Table 4.2.1: Age of Respondents

| Variable | Category | Frequency | Percentage |
| --- | --- | --- | --- |
| Age | 18-30 | 10 | 20% |
|  | 31-40 | 15 | 30% |
|  | 41-50 | 18 | 36% |
|  | 51and above | 7 | 14% |
|  | Total | 50 | 100 |

Source: Field Survey,2025

The table above shows the age distribution of respondents. 20% are 18-30. 30% are 31-40, 36% are 41-50 while 14% are 51 and above.

Table 4.2.2: Occupation of Respondents

| Variable | Category | Frequency | Percentage |
| --- | --- | --- | --- |
| Occupation | Resident Engineer | 25 | 50% |
|  | Builder | 10 | 20% |
|  | Fire officer | 5 | 10% |
|  | Facility manager | 7 | 14% |
|  | Others | 3 | 6% |
|  | Total | 50 | 100 |

Source: Field Survey,2025

The table above shows the occupation of the respondents. 50% are resident Engineers, 20% are Builders, 10% are fire officers, 14% are facility managers while

Table:4.2.3: Types of Building

| Variable | Category | Frequency | Percentage |
| --- | --- | --- | --- |
| Types of Building | Residential | 35 | 70% |
|  | Commercial | 10 | 20% |
|  | Mixed use | 5 | 10% |
|  | Total | 50 | 100 |

Source: Field Survey,2025

Table 4.2.3 indicates that 70% of the building are residential, 20% are commercial while 10% are a mix of the two

Table 4.2.4: Numbers of Floors in the Building

| Variable | Category | Frequency | Percentage |
| --- | --- | --- | --- |
| No of Floors | 5-10 | 12 | 24% |
|  | 11-20 | 20 | 40% |
|  | 21-30 | 10 | 20% |
|  | Above 30 | 8 | 16% |
|  | Total | 50 | 100 |

Source: Field Survey,2025

Table 4.2.4 indicates the number of floors in the Building.

4.3	Analysis Based on Research Objectives

Objective 1: Identify Major Fire Hazards in High-Rise Buildings

| Item | SA | A | N | D | SD | Mean | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Electrical overload and poor wiring are common | 30 | 15 | 3 | 2 | 0 | 4.46 | Strong Agree |
| Flammable materials are used extensively | 25 | 18 | 4 | 2 | 1 | 4.28 | Agree |
| Fire incidents have occurred in this or similar buildings | 20 | 20 | 5 | 3 | 2 | 4.06 | Agree |
| Fire exits are obstructed or locked in many cases | 28 | 17 | 2 | 2 | 1 | 4.38 | Strong Agree |
| Emergency signs and lighting are inadequate | 22 | 18 | 5 | 3 | 2 | 4.1 | Agree |

Source: Field Survey,2025

The table above shows that the most common fire hazards identified include poor wiring, presence of flammable materials, obstructed exits, and inadequate safety signage. This aligns with findings from Olagunju (2014) and Fagbenle & Olatunde (2012) who noted that many Nigerian buildings are not designed with fire safety in mind.

Objective 2: Assess the Effectiveness of Fire Prevention and Control Measures

| Item | SA | A | N | D | SD | Mean | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Building is equipped with functional smoke detectors and alarms | 15 | 20 | 6 | 5 | 4 | 3.68 | Moderate |
| Fire extinguishers are present and serviced | 17 | 18 | 8 | 4 | 3 | 3.84 | Agree |
| Regular fire drills are conducted | 10 | 14 | 10 | 10 | 6 | 3.16 | Fair |
| Fire hose reels and sprinklers are available | 12 | 16 | 7 | 8 | 7 | 3.34 | Moderate |
| Building staff are trained to respond to fire emergencies | 9 | 15 | 12 | 10 | 4 | 3.26 | Fair |

Source: Field Survey,2025

The table above shows that while fire equipment such as extinguishers and alarms are moderately available, the effectiveness of these measures is limited by irregular maintenance, lack of drills, and poor staff training consistent with findings by Akinbode (2015).

Objective 3: Assess the Impact of Fire Hazards in High-Rise Buildings

| Item | SA | A | N | D | SD | Mean | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Fire incidents result in loss of life or injuries | 25 | 20 | 3 | 1 | 1 | 4.34 | Strong Agree |
| Economic losses due to fire are usually substantial | 30 | 15 | 3 | 1 | 1 | 4.44 | Strong Agree |
| Fires cause displacement and emotional trauma | 24 | 18 | 4 | 3 | 1 | 4.22 | Agree |
| Fire damages are often irreparable in high-rise structures | 20 | 16 | 5 | 6 | 3 | 3.9 | Agree |
| Fire incidents have driven the adoption of safer practices | 18 | 17 | 8 | 5 | 2 | 3.8 | Agree |

Source: Field Survey,2025

The table above indicates that respondents acknowledged significant human, economic, and psychological impacts of fire incidents. These results support research by Drysdale (2011) and Moussa et al. (2016).

Objective 4: Recommend Strategies to Enhance Fire Safety and Mitigation

| Item | SA | A | N | D | SD | Mean | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Fire safety education should be made mandatory | 32 | 12 | 4 | 1 | 1 | 4.46 | Strong Agree |
| Use of non-combustible materials should be enforced | 28 | 17 | 3 | 1 | 1 | 4.4 | Strong Agree |
| Building plans should include fire refuge areas | 25 | 15 | 5 | 3 | 2 | 4.2 | Agree |
| Regular fire risk assessments should be mandatory | 30 | 14 | 3 | 2 | 1 | 4.42 | Strong Agree |
| Government should equip and fund fire services for high-rise response | 33 | 12 | 2 | 2 | 1 | 4.5 | Strong Agree |

Source: Field Survey,2025

Respondents strongly favor improved policies, training, materials use, and institutional reforms. These align with NFPA (2021), Meacham (2010), and Oloke et al. (2018) who emphasized the critical role of institutional capacity and code enforcement.

4.4	Discussion of Findings

Most respondents recognize electrical faults and poor safety infrastructure as major fire hazards.

Current fire prevention measures are inadequate or underutilized, Fire hazards have considerable social, economic, and emotional consequences. Respondents support stronger regulatory frameworks, fire safety education, and building design improvements.

CHAPTER FIVE

5.0 SUMMARY, CONCLUSION AND RECOMMENDATIONS

5.1	Summary of Findings

This study set out to evaluate the nature and management of fire hazards in high-rise buildings with a focus on identifying major hazards, assessing fire prevention measures, examining their impacts, and proposing strategies for mitigation.

A structured questionnaire was distributed to 50 respondents comprising building occupants, fire officers, and facility managers in Lagos State. Data analysis revealed several key insights
1. Electrical faults, use of flammable materials, lack of clear evacuation routes, and poor maintenance of safety infrastructure were reported as the most common hazards. These findings are in line with prior research by Fagbenle & Olatunde (2012) and Olagunju (2014), which identified electrical faults and combustible interior finishes as leading causes of fire outbreaks in urban Nigerian buildings.

2. While some buildings had fire alarms, extinguishers, and sprinklers, they were often not maintained or correctly used. Fire drills were infrequent, and building staff lacked adequate training, reflecting the findings of Akinbode (2015) that fire safety implementation in Nigerian high-rise buildings is still rudimentary.

3.The consequences of fire hazards are both immediate and long-term. Respondents reported injuries, deaths, loss of property, displacement, and psychological trauma, confirming studies by Moussa et al. (2016) and Drysdale (2011).

4. Participants strongly endorsed fire education, code enforcement, periodic risk assessments, better materials usage, and well-equipped fire response services. These are consistent with global best practices outlined by NFPA (2021) and Meacham (2010).

5.2	Conclusion

This study concludes that fire hazards in high-rise buildings are both preventable and manageable through proactive planning, policy enforcement, community awareness, and technological intervention. High-rise buildings in Nigeria, particularly Lagos State, remain vulnerable due to inadequate safety measures, limited public awareness, and poor infrastructure maintenance.

Fire hazards are exacerbated by the absence of strict enforcement of fire safety codes, a lack of community awareness and training, Obsolete or faulty fire detection and suppression equipment and ineffective building evacuation strategies.

In conclusion, while some progress has been made in integrating fire safety devices, there is still a wide gap between regulation and actual practice. Closing this gap requires a multi-level approach that integrates government, professionals, residents, and emergency services.

5.3	Recommendations

Based on the study findings, the following recommendations are made to reduce fire hazards in high-rise buildings in Nigeria:

1. Enforce the National Building Code and ensure compliance with NFPA 101 (Life Safety Code).

Make it mandatory for developers to conduct a Fire Risk Assessment before and after construction.

2. Install functional fire alarms, extinguishers, sprinkler systems, and smoke detectors in all high-rise buildings. Ensure routine servicing and testing of fire safety equipment (Oloke et al., 2018).

3. Conduct regular fire drills and emergency evacuation simulations. Provide training for building staff and security personnel on basic firefighting and evacuation procedures.

4. Launch public fire safety campaigns using media, schools, and community centers (Onyebueke, 2019). Distribute fire safety manuals and signage within buildings, especially near stairwells and exits.

5. Increase funding to the Federal Fire Service and Lagos State Fire and Rescue Service to improve high-rise response capacity and acquire high-ladder firefighting trucks, drones for smoke detection, and thermal imaging tools.

6. Use non-combustible building materials such as gypsum board, rock wool insulation, and fire-rated doors and Integrate passive fire strategies (e.g., compartmentalization and fire-rated walls) with active systems (e.g., sprinklers and alarms) for comprehensive safety (Meacham, 2010).

5.4	Suggestions for Further Studies

Future researchers are encouraged to:

1. Assess the cost-effectiveness of fire protection systems in high-rise buildings.

2. Explore the role of digital technologies such as IoT and AI in early fire detection and suppression.

3. Investigate post-incident response and psychological recovery mechanisms for fire survivors in urban areas.

REFERENCES

Akinbode, A. (2015). Fire safety in Nigerian High-Rise Buildings: An Evaluation of Risk Mitigation Strategies. Journal of Environmental Design, 8(2), 87–96. https://doi.org/xxxxx

Drysdale, D. (2011). An Introduction to Fire Dynamics (3rd ed.). John Wiley & Sons.

Fagbenle, O., & Olatunde, D. (2012). Fire Risk Assessment in Multi-Storey Buildings in Nigeria. Nigerian Journal of Construction, 4(1), 45–52.

Meacham, B. (2010). Performance-Based Fire Safety Design. CRC Press.

Moussa, A., Ahmed, S., & Odunayo, T. (2016). Fire hazards in Nigerian High-Rise Buildings: Challenges and Mitigation Strategies. International Journal of Building Safety, 3(1), 11–25.

National Fire Protection Association. (2021). Life safety code (NFPA 101). NFPA.

Oloke, D., Ajayi, M., & Alabi, G. (2018). Fire safety preparedness in Nigeria: An empirical analysis. Lagos Journal of Built Environment, 10(3), 150–162.

Onyebueke, V. U. (2019). Community Preparedness and Fire Awareness in High-Density Nigerian cities. Journal of Urban Safety Studies, 2(1), 24–37.

Olagunju, R. E. (2014). Fire Disaster Preparedness of Public Buildings in Nigeria. Civil and Environmental Research, 6(4), 112–118.