# ESTIMATING AND BUDGETING FOR

A SMALL SCALE BUILDING

(A CASE STUDY OF A PROPOSED RESIDENTIAL BUILDING OF OFFICE

DEVELOPMENT FOR PASTOR SAMUEL OLADELE LOCATED AT ALAGBA

LAYOUT,IDO LGA,OYO STATE)

32

ANIMASAHUN FAROUK AYOMIDE

ND/23/QTS/FT/0004

AJASA SAMAD ALABI

ND/23/QTS/FT/0005

AREMU BUKOLA ELIZABETH

ND/23/QTS/FT/000C

BEING A RESEARCH PROJECT SUBMITTED TO THE

DEPARTMENT    OF    QUANTITY    SURVEYING,

INSTITUTE     OF      ENVIRONMENTAL     STUDIES,

KWARA      STATE      POLYTECHNIC,ILORIN.

IN   PARTIAL    FULFILLMENT   OF   THE    REQUIREMENTS    FOR

THE AWARD OF HIGHER NATIONAL DIPLOMA (ND)IN

QUANTITY      SURVEYING

JULY,2025

CERTIFICATION

I certify that this project was carried out by ANIMASAHUN FAROUK AYOMIDE,AJASA SAMAD ALABI,AREMU BUKOLA ELIZABETH with            matriculation            number            ND/23/QTS/FT/0004, ND/23/QTS/FT/0005,ND/23/QTS/FT/0006           respectively            as meeting  the  requirement  for  the  award  of National  Diploma  in  the department  of  Quantity   Surveying,Kwara  State  Polytechnic,Ilorin.

# QUESS.MR.ABDULRAHMAN,B.S

Project Supervisor

Date

# QUESS.

Project Co-ordinator

Date

QUESS.SIDIQ  LATEEF

Head of Department

Date

External

Supervisor

Date

DEDICATION

This project is dedicated to Almighty God who has seen us through from the beginning to the end of the course.And to our lovely parents who has always

been supportive.

ACKNOWLEDGMENT

All  thanks  due  to  Almighty  Allah,the  owner  and  the  creator  of Universe for His divine protection and guidance thrcughout my life in school and this research project work.

First and foremost,we give thanks and we appreciate the efforts of our distinguished project supervisor,QUESS.MR.ABDULRAHMAN,B.S who made sure we acquired all the necessary information and Knowledge during the course of this project work may Allah reward him abundantly.

Our gratitude goes to our beloved parents Mr and Mrs Animasaun,  Ajasa and Aremu we can't thank you enough for your parental advice and financial support since the beginning of this program.

Lastly,our sincere gratitude also goes to the Head of Quantity Surveying Department,in person of QUESS.SIDIQ LATEEF,and all the lecturers of Quantity Surveying Department,Kwara State Polytechnic,llorin

*.

ABSTRACT

The  main  reason for  this  study  is for  estimating  and  budgeting  Unpriced  Bill  of Quantity for a proposed RESIDENTIAL BUILDING OF OFFICE DEVELOPMENT FOR PASTOR SAMUEL OLADELE LOCATED AT ALAGBA LAYOUT IDO LGA OYO

STATE  The  following  has  been  discussed  under  the  mention  chapter  in  this

project work with a view offinding solution to it.

Chapter  one  contain  the  background  Infornation  and  the  aim  and  objectives  of  the  project  work.Chapter  two  contains  Site  Report,the  essence  of preliminary  items  required.Chapter  three  deals  with  the  Project  Methodology  that  is  taking  off  process   and   abstracting  process.Chapter  four  contains   the  project  Substructure and Superstructure work,Abstracting and Bill of Quantities of the  project.Chapter fve  is  all  atioul  Summary,Recommendation  and  Conclusion  of the whole project work and for further studies.

2

TABLE OF CONTENT

Title page

Certification

Dedication

Acknowledgement

Table of content

CHAPTER CNE

1.0  Background  information

1.1 Description of works

1.2 Aim

1.2.1  objectives

1.3 Scope and limitation

1.3.1 Limitation

1.4 Definition of terms

CHAPTER TWO

·2.0  Title

2.1Site  Description

2.2 Location

2.2.1  Accessibility

2.2.2 Nature of the land

2.3 Availability and proximity of resources

CAHPTER THREE

3.0 Taking off

3.0.1 Method of taking off

3.0.2 Selection of taking off

3.1  Abstracting

3.2 Bill of quantities

3.3 Requirement for accuracy

CHAPTER FOUR

4.0 Sub-structure

4.1   Super-structure

4.2 Abstracting

4.3 Bill of quantity

CHAPTER FIVE

5.0 Summary

5.1 Conclusion

5.2 Recommendation

CHAPTER ONE

INTRODUCTION

## 1.0  BACKGROUND     INFORMATION

This project is based on a proposed storey building for office development for Pastor Samuel Oladele located at alagba layout Ido L.G.A oyo state.

In  construction  industry,cost  is  considered  as  one  of  the  important element  for  constructing  a  project.Cost  in  construction  includes  the  initial capital  cost,and  also  the   subsequent  operation  cost  and  maintenance  cost. Generally,running   a   construction   project   will   involve   a   lot   of   budget. Furthermore,the increasing rate  of inflation by years,will  affect the price  of raw  material,transportation,fuel,machinery,manpower  and  others  will  be  a bothers for the clients such as developer to invest money for a project.Hence, to overcome this problem and alternative material or a new system will be the best option.

Construction  Industry  Development  Board  Malaysia(CIDBM)proposes cost saving method which are the Industrialized Building System (IBS)where the  building  component  or  the  building  system  are  pre-fabricated  and  then install  on  site.Moreover,it  is  proven  not   only  reducing   the  cost  but   also reducing the construction time.

Furtherance to the  information by  Construction  Industry  Development Board(CIDB).There are five types of Industrialized Building System (IBS)that were  introduced  for the  construction  industry  to practice which  are pre-cast concrete    framing:Panel    and    board    system,steel    formwork    system,steel framing  system,pre-fabricated  timber  framing  system  and  finally  the  block work system.This report will focus on all sections of building works ie Block work,roof ete block made from cement laterized.

The usage of interlocking blocks as the construction materials has been proven  to  provide  a  lot  of  benefits.By  implementing  the  cement  laterized interlocking  block  for  buildings  will  greatly  reduce  the  wastage,volume  of building  materials,reducing  unskilled  workers,provide  better  quality  control,  promote  a  safer  and  more  organized  site;and  last  but  not  least  will  greatly reduce the construction cqst and time.

## 1.1 DESCRIPTION OF WORK

The  building  project  comprises  of  the   construction   of  a   proposed Teaching  lospital  building  for  Kwara  State  Polytechnic,Ilorin  Nigeria,storey

building for office development for pastor  Samuel Oladeie located at alagba layout Ido 1..G.A oyo state.

The  building  has  a  rectangular  shape  with  the  land  area  of  about 30480mm in ength and 15200mm width.

The construction is found on the plain in situ concrete foundation with over site concrete floor which is a reinforced concrete slab(150mm thick).The walls are 225mm thick hollow sanderete block.

The  roofing  used  is  long  span  aluminum  on  timber  roof  structure, windows are of aluminum frame sliding with two (2)side and of different sizes,  doors are:double eaf double swing natural an odixed aluminum special made  electronic controlled door,pretty glazed aluminum frame door,slide core flush  panel doors with season wood of different sizes.

Plant:  These   are   tools,machines   and   equipment   needed   for   the   smooth execution of project.

Project: This is a process of work organized carefully and designed e.g building or civil engineering work

The walls are rendered and painted with emulsion internally and textured paint externally,Floor finishing is tiles finishing on 150mm concrete floor.

Service  conducted  are  mechanical  and  electrical  installation  as  well  as  fire lighting and alarm system.

### 1.2    AIM:

The aim of the project is to estimate and budget for a proposed storey building office development for pastor Samuel Oladele located at alagba layout Ido I..G.A oyo tate.

## 2.0  Title:

Proposed storey building office development for pastor Samuel Oladele located at lagba layout Ido L.G.A oyo state.

# 1.2.1 Objectives:

1.To  determine  the  effect  of  site  location  and  construction  on  the  cost  of building project.

2.To  understand  the  process  involved  in  preparation  of  Bill  of  Quantities

(BOQ)

# 1.3 Scope and Limitations:

The  scope  of  this  project  is  to  prepare   a  bill  of  Quantities(BOQ)for  the proposed storey building office development for pastor Samuel Oladele located at lagba layout Ido L.G.A oyo state.

## 1.3.1  Limitation

1.Inability to conduct proper site investigation.

2.insufficient  design  information

3.Pricing (market survey)was not carried out to determine actual price of measured items.

## 1.4 Definition of Terms

Prime cost sum:This is a sum provided for work or service to be executed by nominated  sub-contractor  or  for  materials  or  goods  to  be  obtained  from  a nominated  supplier.The  term  includes  specialist  work  carried  out  by  person apart rom the main contractor (Ivor Seelay).

1.Contingency     Sum:It  is the  sum allocated to urforeseen expenses it is expended only with the consent of the architect or supervisory engineer.

2.Provisional    cost    sum:  This   is   the   sum  allocated  to  work  that  is subjected to change or that can't be accurately measured.The  sum will later be adjusted according to the extent and true value of the work

3.Estimating:   This  can  be  defined as the technical process of predicting cost  of Construction.It  can  also  be  further  explained  as  a  process  by which cost of item is Carried out.

4.Preliminaries    item: These  are item meant for the  smooth execute for smooth  Execution  of project.But  which  are  not  related  to  a  particular trade section in BOQ

5.Tender:   it is an offer to execute a given project at a certain amount of money and specify period of time

CHAPTER TWO

SITE REPORT

## 2.0  Title

A proposed storey building office development for pastor Samuel Oladele located at alagba layout Ido 1..G.A oyo state.

# 2.1  Site  Description

The  proposed  project  of  storey  building  office  development  for  pastor Samuel  Oladele  has  a  total  length  of  13,700mm  and  68,750mm  width  which appear to be in a rectangular shape.

The site is located at Alagba layout Ido L..G.A oyo state.The site has small and big tress and bushes which needs to be cleared away from the site.

## 2.2  Location

The site is located within Alagba layout Ido 1..G.A oyo state.

# 2.2.1   Accessibility

There are untarred roads leading to the site from the main road in the school.So there  is no problem  delivery  of materials  to  site  and  the  labour  are expected to resume work as early as possible.

## 2.2.2 Nature of the land

The proposed site of the building is a virgin land with a even/flat surface. This  will  minimize  the  construction  cost  of  the  foundation  because  of  the balanced  surface  when  compare  to  that  of the  study  area  which  increases  the constructional   cost.

# 2.3 Availability  and Proximity of Resources

Availability   of   construction    resources   simply    means   the    extent   of convenience at which the resources can be found in the market and the selling price.

While proxinity means the closeness of the materials resources of the proposed site.

The construction resources include the following:

Plant

All  necessary  plant  needed  for  the  proposed  projects  are  readily  available  in llorin.Such       plant        include:concrete        mixer,Bulldozer,Electric       generator,  Compacting  machine  e.te  all  mentioned  plant  can  be  hired  in  area's  not  far  to the  site.

Materials

The  whole  material  necessary  for  this  project  all  are  available  at  oyo  state,but costly to  some materials price in  some  area  of the country.

However,all  the  material  needed  for  smooth  execution  of  this  proposed  project is remote to the  site.

To   an   extent   preliminaries   items   have   a   great   effect   on   construction project.Such  preliminaries  items  are  explained  below.

Scaffolding

There  should  be  a  provision   for  scaffolding  because  the  project  requires roofing  works,there  will  be  the  need   for  rendering   and  painting   at  the  higher level of the building.

Setting   out

This  is  the  transfer  of  information  on  the  building  drawing  to  the  ground with   high   degree   of   accuracy.In   setting   out   site   clearance   is   necessary   by cutting   down   of   rees    and   edges   &top    soil   excavation   before   making   the provisions   of   setting   out   Instruments   such   as   profile   pegs,measuring   tapes,  builder  square  e.t.c  before'the  commencement  of  site   operation.

Temporary Road

This is done temporarily to provide easy access to the  site during work.

Temporary   fence

Temporary  fence  should  be   done  to  cover  and  protect   the  materials  on site  from  vandalism.

First  aid  box

This  is  very  important  in  any  construction  due  to  some  injuries  that  may occur  on  site  which  might  be  minor  or  major  injuries  before  being  taken  to  the hospital.

Site    supervision

This is the contractor's agent on the site who supervises the whole of the project.He   also   co-ordinates   the    works    of   sub-contractors    and    receives instructions from architect on behalf of the main contractor.

Setting  out  of the works

This contractor will set out the position of the building on the  site before commencement of any actual work to the satisfaction of the Architect.

Temporary latrine

Welfare facility of this type must be provided on the site by the contractor to satisfaction of the architect.

CHAPTER THREE

PROJECT METHODOLOGY

3.0  Taking  off process

Taking off process:This implies reading of dimension from drawings sctting them  down  in  a  specific  order  on  specific  paper  know  as  dimension  paper  and inscrting  an  appropriatc  description.It  also  refers  to  the  process   of  identifying

clements of construction works that can be measured and priced.

This is necessary to produce bill of quantities and requires that the design is

complete and a specification has been prepared.

Analysis  of  drawing  and  specification  allow  the  cost  consultant(usually  a Quantity  Surveyor)to  prepare  a  taking   off  list,which   lists  all  of  the  individual clements  that  comprises  the  works.These  elements  can  be  measured  in  number, length,area,volume,item then collected and structured to produce an unprice bill of

quantity(BOQ).This process is sometimes referred to as"working up"

The traditional dimension sheet is divided vertically in to two identical haves cach comprising a set of four columns in effort,the ruling on the right half of the

shcet may be considered to be a continuation of these on the left side of the shects.

|  | A | B | C |  | A | B | C | D |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

A

Column  A:are  the  timesing  columns  These  column  are  used  to  enter  multiplicrs

when there is more than one of the particular items being measured.

|  | 3 | .20 |  |  |
| --- | --- | --- | --- | --- |

Timesing column

Column B:are the dimension  columns,these  columns  are used to record the

dimensions in meters.Each linear dimensions is underlined.

Arca

Volumc

下

Lincar

人

3

|  |  | 3.45 7.59 |  | Length Width |
| --- | --- | --- | --- | --- |

|  |  | 3.458 4 7.59 4 0.75 |  | Length -Width Depth |
| --- | --- | --- | --- | --- |

Y

|  |  | 2 |  |  |
| --- | --- | --- | --- | --- |

Numbcr

NOTI:The  order  of  entcring  dimension  is  strictly

1.Length

2.Width

3.Depth/height

|  |  | items |  | Allow for bringing to site and removing from site all plant required for this work section. |
| --- | --- | --- | --- | --- |

美

Column c:are the  squaring  column:the resulting  area  and volumes inserted in the

timesing and dimension columns are subsequently calculated and entered into thc

y squaring column opposite their respective dimension.

Squaring

Column D:The description column.There are many ways of inserting description on the dimension shect but the most acceptable however,is description which commence

in the same level with it's first dimension.

The  example below  show the  dimension  and  description  should be  arranged  in

dimension sheet.

.

|  | 4 | 3.45 0.68 0.45 | 7.90 |
| --- | --- | --- | --- |

Waste  calculation

This  is  an  imaginary  column  occupying  the  right  hand   side  of  the description  columns  in  which  the  taker-off  inserts  any  preliminary  calculation  (waste)which may be mecessary in order to arrive at the dimensions.

All preliminary  calculation  must  be  shown  in  waste,they  need  to  be  set down ecurately and carefully so that they can be checked.

They  should  be  written  either  above  or  below  the  description  to  avoid confusion.

Waste: calculate  is  necessary  for  each  dimension  except  in  the  following situations:

A.When  a  scaled  or  figured  dimensions,can  be  transferred  direct  from  the drawing to the dimension column.

B.When the dimension has been derived from a previous waste calculations.

C.When a dimension has been inserted from a previous dimension.

D.In  all  other  instance  the  preliminary  calculation,should  be  shown  on  waste.

Waste  calculation  should  be  done  in  millimeters  (mm)or  in  three places of decimal.Final figures are then rounded off to the nearest  10mm before bring  transferred to the  dimension  column.

## 3.0.1 METHOD TAKING OFF

Nill:is a method of cancelling wrong enteries during taking-off process.

Nill   may    be   done    in    three(3)ways   ie    on    waste   calculation,on    framed

description  and  on  figured  dimensions.

Bracting:it is used to determine one item of measurement from another

Adding  on:This  is  the  method  of  connecting  two  or  more  description

related to a common dimension.

## 3.0.2 SELECTION OF TAKING OFF

The  taking  off  dimension  is  usually  divided  into  section  under  the  main  sub

division of

a)Sub-Structure

b)Super-Structure

c)Finishes

d)Service

e)External    works

The   section   found   in   a   normal    building    would    generally   comprises   the

following:

A)Sub     Structure                                             1.Sub-Structure

B)Super-Structure

2.Frame

3.Upper   floors

4.Roof

5.Stairs

6.External    walls

7.Windows  and  Doors

8.Internal   walls   and   partitions

9.Internal     doors

C)Finishes

10.Walls    finishes

11.Ceiling    finishes

12.Sanitary     appliance

D)Services

13.Disposal     installation

14.Waste     installation

15.Heating     installation

16.Electrical     installation

17.Gas     installation

18.Lift    installation

19.Communication      installation

20.Builder's work iri condition With service

E)External Work                                             21.Site   work

22.Drainage

## 3.1 ABSTRACTING PROCESS

After  the   squaring  process,the  next  process   is   abstracting.This  is  in  a special  mule  sheet.The  sheet  are  ruled  with  series  of  vertical  line  that  are  spaced  about  250mm  apart  and  usually  on  A4  in  width,each  abstract  sheet  is  headed  with  the  job  reference,Sheet  number   and  work   section  and  possibly  the  sub-structure  of  the  work  to  which  the  abstract  dimension  refer,the  sheet  may e divided into work section or element.

Abstracting  id  process  where  various  items  are  stored  out  into  their respective trades  as they  are  entered  on  the  abstract paper.

Description are usually spaced over two columns.The dimension are entered in the  left  hand  column  while  any  deductions  are  entered  on  the  right  hand column.

The  order  of  abstracting  is  to  commence  with  cubic  items,followed  by superficial(square),linear   and    finally    enumerated   items.Also    labour   items should proceed  labour  and  materials.Smaller  items  proceeding  larger  ones  and cheaper items proceeding more expensive items.

# 3.2 Bill of Quantities (BOQ)

Bill of quantities is a documents which set out the quantities and description of the   items   of  labour,materials   and   plant   require   to   erect   and   complete   a building or other works in a systematic manner.

The  preliminary   sections   of  the   bill   sets   out   the   practical   and   contractor conditions of the pruject,particular of the type of contract to be used and also the details of general matters,which may  affect the price  of the work together with  project  overheads.Project  overhead  are  items  that  cannot  be  attributed  to any particular measured work  section.

The   measured   items   are   grouped   in    appropriate   sections    and   each section tarts with a number of preamble clauses.

CONTENTS OF THE BILL OF QUANTITIES (BOQ)

The principal use of the bill of quantities is to obtain competitive tenders and For   this    purpose   B.0.Q    should    be   prepared    to   recognized    method    of measurement  to  tandardize  the  bills.Bill  of  quantities  prepared  in  accordance

with  a   standard  method   of  measurement,fully   described   and   accurate   respect the  work  to  be  executed  and  this  provides  a  uniform  basis  for  competitive tendering.

During  the  construction  of  the  project,the  client  and  the  contractor  use  the  bill as  the  basis  for  financial  management.

Bill of Quantity may consist some all of the  following:

Bill    Nr.1.Preliminaries

Bill   Nr.2.Preamble

Bill  Nr.3.Measured  works

## A.CARCASS

1.Foundation(Substructure)

11.Frame   (column   &beam)

III.External   &internal   walls

IV.Partitions

V.Floors

VI.Roofs

## B.FINISHING

1.External   &internal   finishing   (walls,floor   &ceiling)

II.Windows

.Doors  including  opening  without  joinery

IV.Fixtures       Sundries

V.Stair    &lifts

VI.Plumbing   &Engineering   service

## C.EXTERNAL WORKS

1.Drainage

11.Roads,paths,site     layout,out     buildings     e.t.c

D  Sport  items:These  are  items  that  are  alteration  and  repair  items  of  a

Building:

Bill   Nr.4.Provisional    quantities

Bill  Nr.5.Prime   cost  &provisional  sum

Bill   Nr.6.General   summary

PURPOSE OF A BILL OF QUANTITIES

a.It  serves  as  a  schedule  on which  all variation  in the work may be valued.

b.To provide detailed list of every service to be performed.

c.To  supply  each  tenders  with  information  which  will  enable  them  to  tender  on a  uniform  basis.

d.To  describe  in  addition  to  any  description  in  the  specification  of  the  quantity of the work and the method of carrying it out.

c.It  can  be  use  for  further  cost  investigation  and  cost  planning  information.

f.Prevent  disputes  as  to  what  is  and  what  is  not  included  in  the  contract  prices and the value of any work or labour which has been omitted.

PRODUCTION OF BILL OF QUANTITIES

These are  several techniques of preparing bill of quantities (BOQ)

TRADITIONAL BILL METHOD:It is  set down in the  sequence following

he   out   of   the    building   and    engineering   standard    method   of   measurement |BESMM).This   system   provides    "the    taking    off'with    a   logical    system   of measurement  designed  prevent  accurate  and  efficient  taking   off.

The   work    is   measured    in   series    of   groups,each    representing   a    particular section   of  building   without   regard   to   the   order   in   which   items  will   finally appearing  he  bill.As  the  sequence  of measurement  is  not  related  to  the  order  of the  bill  the  working  up"process  must  involved  the  preparation  of  an  abstract  to collect  and  arrange  the  items  in  the  order  necessary  for  writing  the  defect  bill.

This  system  is  mostly  used  in  the  examination.

It comprises of the following:

i.     Taking  off usually  group  system

ii.      Working-up:Squaring,abstracting,totaling,rounding      off      &billing.

1

OPERATIONAL BILL METHOD: It  is tendering  document for estimating

costs  prepared  by  architects  that  describes  a  construction  project  in  terms  of the operations (which include labour and plant)needed to build it.This form of document  contracts  with  that  bills  of  quantities  in  which  such  tendering  and estimation  is   limited  to  the  materials  in  the   completed  work  operation  bills have   the    advantages    of   enhancing    communication    between   design   and  production,enabling  realistic  tender  pricing   and   making   the  preparation   of critical path analysis easy for the contractor.

ACTIVITIES BILI METHOD:The activity bill was a development of operational form  but  without  the   separation   of  labour   and  materials.It  was   sub-divided into  section  based  on  activities  or  operation  derived  from  a  network  analysis. The   work    was   measured    in    accordance   with    the    standard   method    of measurement  although  on  site  and  off  site  activities  were  usually   separated and   specialist   equipment   and   component   of   and   the   work   of   nominated specialist could be grouped in spate bills (Seelay and winifield 2005).

ELEMENT BILL METHOD:  Here  the  work  is  billed  in  trade   order  not  in sequence  of  the  building  and  engineering  standard  method  of  measurement [BESMM]but  under  heading  that  from  a  breakdown  of  the  building  into  the main  element  of  the   structural  wall,floor  and  roof.Although  these  provide  a more  useful  control  document  during  the  construction  operation,it  makes  the tendering procedure more complicated (T.C onouah)

ANNOTATED BILL: It is possible  for the bill of quantities to give the contract fill  details  of the  quantities,types  and  quantity  of materials  and  labour  and  for an  accurate  and  complete  set  drawing  to  show  him  precisely  where  and  how the work is to be executed.(Seelay and winifield 2005)

CUT AND SHUFFLE BILL METHOD:  This   is   a   faster   method   than   the traditional   method.The   civil   engineer   or   surveyor   take   off   quantities   into specially designed sheet in duplicate where the original sheet is perforated into strips  which  can  be  separated  from  the  book  and  collected  together  to  form group of items

DIVISION OF BILL PREPARATION:The  traditional method of preparation of bill of quantities can be broken down into two main processes.

Taking off: Seelay 1988 defined "taking off'as the process in which dimension are scaled read from drawings and entered in a recognized form in a special ruled paper called dimension paper.

Working up: This process can be divided into two stages as follow:

Squaring:This   comprises   squaring   the   dimension   and   transferring   the resultant lengths,area and volumes to the abstract.

Abstracting: The  squared  dimension  are  arranged  in  convenient  order  for billing and reduced to the recognized units of measure.

Other process include:

# 3.3 Requirement for Accuracy:

Whatever  the  method  adopted  for  bill  preparation,the  requirement  for accuracy is the same for example

Work shall be measured not as fixed in position overlaps.(General Rule 4.1)

1)Dimension  used  in  calculating  quantities  shall  be  taken  to  the  nearest 10mm(i.c 5mm and less than 5mm shall be disregarded).(General Rule 4.2).

All dimension shall be record to two decimal places and waste calculation are to three decimal places.

2)Quantities measured in tones shall be given to two decimal places.(General Rule 4.3).

3)Other quantities shall be given in the nearest whole except that any quantity less than ten shall be given as to the nearest first decimal.(General Rule 4.4).

4)Void or openings,which are wholly within the boundaries of measured area and voids or openings wholly at the boundaries of measured piers,column and similar member,shall  always  be the  subject  of deduction,irrespective  of  size (General Rule 4.5)

5)Items can be measured within a range of stated limits.

6)Average or an interpolation of level may be required for the measurement of execution.Due to problem with reprographics and the inherent inaccuracy of the  process,scaling  drawing  should  be  avoided  whenever  possible.However, where dimension are  stated on  drawing there is no excuse for measurement bring anything other than correct.

| PRBJECT TITLE PROPOSED OFFICE DEVELOPMENT FOR PST SAMUEL OLADELE LOCATED AT ALAGBA LAYOUT IDO L.G.A OYO STATE. |  |
| --- | --- |
| OCTOBER 2016 | ARCHI-STRIDES CONCEPT Designs Conslruction Tnteric;decorelicn 75h ulsh Shonping el.2 Fioo? by Doma june Son'Woy Rd fuimarel. |

|  |  |  |  |  |  |  | NOYES |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SC/AK 463! 的 | 15,200 00 8 成 |  |  | C 动 | 彩心 | SC/AL 8490 OO SC/AL |  |  |  |  |
| 站 ⊙ 8 常 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Am 1 |  |  | een(it |
| C 0 ⊙ |  | PROPOSED OEFICE COMPLEX |  |  |  |  | PRCFOSED OFFICE DEVELOPMENT PST SANUEL OLADELE 1C=ATED AT GBALAYQUT 1DO LG.A |  |  |  |
| C ①已 |  |  | ( 和 OREHOLE POINTO) |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | ADIGUN S.M |  | CTTEPAN |  |
|  |  |  |  |  |  |  | ASCIPSOA/10/20 |  | 6 A.01 |  |
| SC/Al 8492 ACCESS ROAD |  |  |  |  |  | 8491 |  |  | F,HUSBAL |  |
|  |  |  |  |  |  |  | ARCHI-STRICES CCNCEPT Desleos -Constructon *Interror r stEhelng at.25 Fto v Oome lunsuenttot Rs Rumurclu feest Bwes slatE 65.M.H⁰03037051772.03164670123 sen20029 yaneo,cem,eissen²09?Grma |  |  |  |
| PLAN |  |  |  |  |  |  |  |  |  |  |

广

二         1中

|  |  |  |  |  |  |  |  | NOTES |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Y-Y |  |  |  | Y-Y |  |  |  |  |  |  |
| 158 |  | 25ce |  |  |  |  |  |  |  |  |
| FFICE |  |  |  | 室 |  |  |  |  |  |  |
| X-X 车 | 三 4 |  | -597 - 的斗 7 X-X A | X-X | ni | Q |  |  | PROPOSED OFFICE DEV=!OPMHFNT FOR PST SAMUEL OLADELE . LOCATED AT UAGBALAYOLT 1DO L.S.A OYO STATE ADIGUN SA A 00 ACCISO 4:07 016 DFutaCTR*DES FOHFEP Fngt=inn flersth- hh₅eeme lial Zed Fin hresrte6 d - |  |
|  |  |  |  | Y. FIRST FLODR PLAN |  |  |  |  |  |  |
| Y-Y SR0UAO FEOOR |  |  |  |  |  |  |  |  |  |  |

| ROOF PAA | NCTES |  |  |
| --- | --- | --- | --- |
|  | tt Fevn | ptr4 |  |
|  | PROPOSED OFFICE DEVELOPMENT FOR PST SAMUEL OLADELE LOCATED AT ALAGBA LAYOUT IDO L.S.A OYO STATE |  |  |
|  | ADIGUN S.M |  |  |
|  |  | 216 A 08 |  |
|  | y Doma unionWoj Rd Rumurolu G.S.M,N00e037C61772,00186570220 |  |  |

能  器

?

NOTES

品

PROPOSED

OFFICE

FOR

DEVELOPMENT

APPROACH  ELEVATICN

| PST SAMUEL | OLADELE |
| --- | --- |
| LOCATED | AT |

ALAGBA    LAYOUT     IDO     L.G.A

OYO       STATE,

超

)16

病

=-

双                               约

DeclnnesCanstrucion     Interlor eentiShopping  Ral,2ny  Fecr

“

RICHT SIDE EAEWATION

CE⁴N000037061772.D8105570120

hn4nn30020 vahe2.cem 3010t0370200m

E

|  | 重面道 | NOTES |  |  |  |  |  | ! |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | PROPOSED PST |  | OFFICE FOR SAMUEL LOCATED |  | DEVELOPMENT OLADELE AT |  |  |  |
|  | JATION |  |  |  |  |  |  |  |  |
|  |  | ALAGBA LAYOUT IDO L.G,A OVO STATE. |  |  |  |  |  |  |  |
|  |  |  |  |  | A 08 |  |  |  |  |
|  | REAR ELEVATION 0 | Deslons *Constrction *interlgr Hatifhepping Fat,2nd Roo? y Oams jinctionvop Ro Rum;rl Harcout,Rwers state 6.5.8005037061772,03166670120 afceen²0020 yicacem adrs:n²002Ecm2a e |  |  |  |  |  |  |  |

|  |  |  |  |  |  | NOTES |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 216n 140 Aluminium oafinp sneet ig en:" нзшшеЗбД) яшипа уэдшп раэм рицшшдє шшяд- щэшшсаЕТОО) ялцеэдшн реом риєц шшэзх шшрзр ниОип цНп рапм нц ишииК шнпиЕ- —10mm x50mm hard woos timber root trusses яцэ шшооЕЧСЦ) шеэфэнроамрлц шшозя шшоя- 150mm1850mn hard wood wall plale Шшшюая СТбийоои Еища ромрлчшщоєащ У 指 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | PROPOSED; OFFICE FOR; DEVELOPMENT. PST; SAMUEL; OLADELE. LOCATED AT. ALAGBA LAYOUT IDO; L.G.A. OYO STATE. |
|  |  | 0001 9150 品 | 51p1 STAR HAU |  |  |  |  |  |  |  |
|  |  | 3000 KITCHEH |  |  |  |  |  |  |  |  |
|  |  | 夏 |  | A3L Шооос о ЪюоеБ о ос о |  |  |  |  |  |  |
|  |  |  |  |  |  | ADIGUN S.M. |  |  |  |  |
|  |  | 25mm floor finishes 150mm concrete foundation to structural engIneer working getalls |  |  | & SECTION X-X |  |  |  | 026 ВО Ч |  |
|  |  |  |  |  |  | 7 |  |  | 1C |  |
|  |  |  |  |  |  | ARCHI-STRIDES COHCEPT *Deslaas eCanstrurtien *Ietorle Shcpgane #alt.2ng Flaet 5.S,H.K008037061772.03186570120 cloion2002P yohop.tem,acksen20029omalc |  |  |  |  |

9616

60              3 9 品

1200

903

psf

BEDROOM

25mm  floor  finishes

150mm       concrete

foundafion     to     structural

епуйпеег    МогШТпя    осТаНъ

Aluminium ooing sheetlat en::

75mm x Somm hard wopd timber gull:(

150mmx50mm hard woo timber ranee(@  1200mmterg

1БОтах ЕОтп БагГ чуооп йтпЫег Ктпд рояЦ

100mmat0m hardwood tlmber roof tngses

150mmx5Umm hardwood tie:beam ( (С,чгоотт    сиэ

一150mm x 5omm hard woed wall pae

Ейтта Ёнтт наг мопй ссШпп поеолэя Ё(G,taonm crs

ЧЕЕПНБ НПНВЛ

ЕЕрНооМ

离国序保流感的的取后

SECTION     YY

| NOTES |  |  |  |  |
| --- | --- | --- | --- | --- |
| PROPOSED OFFICE DEVELOPMENT FOR PST SAMUEL OLADELE LOCATED AT ALAGBA LAYOUT IDO L.G.A OYO STATE |  |  |  |  |
| ADIGUN S.M |  |  |  |  |
| ASC/SON10/20 |  |  | 16 A 0B |  |
|  |  |  | FBy⁹ |  |
| AACHI-STRIDES CONCFPT *Dtsigns=Constructior intaclne aEectekGhspping Rat 2nd Fosr ey soms JWretlonWo/Rd Rumurolu f eueFeef& 5.5.M,11006D37051772.03166670120 2ingon2002Q yaheb com.zdin5on2002Oameh.co |  |  |  |  |

5、

|  | A 15 |  |  |  |  |  | B |  |  |  |  |  | NOTES |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | HWiC |  |  |  |  |  | 2 A 7 2225 |  |  |  |  |  |  |  |  |  |  |
|  | …的任天 圆 2) 图 W HWC3 ③ 图 ⑤ WC 景 |  |  | 三 | ly/lx=1.5 小 |  | BT 1 |  |  |  | EXC B1 |  |  |  |  |  |  |
|  |  |  |  |  | ly/lx=1.5 于 F.0ocg nrau ly/hx=1.5 守 FRO3 BEH |  |  | 员WC3 Sre | 2 E ET1 A |  | A | Exc1 盯1 |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 0 不 6 3 5 | BT1 BT 2 EXCI NVC | gr3 x1 a NWC4 1 |  | PROPOSED; OFFICE FOR; DEVELOPMENT. PST; SAMUEL; OLADELE. LOCATED AT ALAGBA LAYOUT IDO L.G.A OYO STATF |  |
|  |  |  |  |  | w/s=12宁 ly/lx=1.0 A |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 6 | NVC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 景 NMI |  |  |  |  |  |  |  |  |
|  | ⑦ |  | “-T Wc: |  |  | 6 FRongaH R3 |  |  |  | NW¦C1 NWC1-NEW COLLMH 1 WC-NEN COLLRU 2 EXC1-EXISTMG CCLUNN J tWC1 |  |  |  |  |  |  |  |
|  |  |  | 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ADIGUN S.M |  |  |  |  |
|  | F.FLOOR BEAM LAYOUT FOUNDATION LAYOUT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 4SC/SOA/10Y20 016 A 0B |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | A.Ce |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | ARCHI-STRIDES CONCEPT -Deslons -Construstion *Interigr aEetatGhopplng Hall.2nd Ragr l tnuot G.S,M.NO DE⁰37061772.08186620170 ay'ssen20020 yahee,com,eeeson?0stegmanc |  |  |  |  |

ं =

प्रन

STAR BEAN

F.10DR BFAM1(225mmx450mm)       EFL00?BEAN 2(225mx(50mm)

E.LB,BiAV3/22Smmx450mm)

Tषण्ाङ्गम्षणणट्रकट् nहछ्ठ @कना्J

E.L00RBAN 5(225mmr₄50mm)

E.LR.BFANE(225mmx450mm】

:...====-.-:3-

क:

r21

| NCTES |  |  |  |
| --- | --- | --- | --- |
| PROPOSED OFFICE DEVELOPMENT FOR PGT SAMUEL OLADELE LOCATED AT ALAGBA LAYOUT IDO L.G.A CNO STATE |  |  |  |
|  |  | 16 |  |
| ARCHL-STIUDES CONCEPT a8chatEneeping 4ail,2nd Floar ay Doma junctlonWoji Ad Rumuro pB a E 5A FO5B=1!5B |  |  |  |

--

.

1

2

NOTES

A

ECl

e

| 3 图 5 6 受 7 | ej C1 M: |
| --- | --- |

C,

225

425

EGi

ExC1

EXC1

NVCa

ExC1

HWC1

ci

D

NUc

c2

C

443

C1

装

e

ExC]

KWCF

图

EXGH

州

W       2

NWC1-NEP COLUNN 1

RWC2-NEW COLUNH 2

EXC1-EXISJHG COUHN 1

普

COLUMNS      LAYOUT

W

Wci

③

ExC1

-YEH

2223

WC1

A

1

2

6

5

7

ExC1

D

E

G

u

rvng

PROPOSED     OFFICE     DEVELOPMENT

FOR

PST   SAMUEL   OLADELE

LOCATED     AT

ALAGBA   LAYOUT   1DO   L.G,A

DYO    STATE.

ADIGUN  S.M.

ASC/SO/10/2   16      A.08

ARCHI-STR!DES CONCET =Destons *Construction inseripr

neglng Aal,2ny Ror na  fu     lclVoit  ad  Rmrelu

G.SM.1C 0803706172.081E56Z0:20

en²0072   Na0                         20020r

|  |  | B 425 |  | 225 | C |  |  |  |  |  | NOTES |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 3 圈 2 到 |  |  |  | 3G-Y1201-200B 20-Y1208-200T 7-Y1209-200T 3-Y1202-2008 25-Y1203-2008 7-Y1209-200T 17-Y1210-200T 5Q-Y1211-200T 7-Y1212-2027 25-Y1204-2008 L11-Y1205-200B -Y1206-200Tse | 1 2 器 3 5 6 益 | A | 5525 (D) G G 二 G G R \GG | 9 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  | 器 ⑤ 6 E 7 | StAIrKnL =-==T F |  |  |  |  |  |  |  | PROPOSED OFFICE DEVFIOPMFNT FOR PST SAMUEL OLADELE LOCATED AT ALAGBALAYOLT 1DOL.G.A OY0 STATF |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | OOF BEAM LAYOT |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | Ol |  |  |  |  |  |  |  |  |
|  |  | T F,FLOOR SLAB DETAILS |  |  |  |  |  |  |  |  | ADIGUH S.M |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | ASC/SOA/10/2 |  |  | 16 A.08 |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | AACHI-STATPIS CONCEPT -Designs*Constructlon Tnlericr 数ah n Ma,2rd A aar by Dama Junctlonwoj ad Rumurolt 5.SN N⁰09032061772.03186620120 clesen20020 vehoe cop,deoten²0o²sme |  |  |  |  |  |  |

300

500

475

退 2

1500

2700

E e C t 双

强       TREADS=300mm

838

R/SERS=15Gmm

WIST     =i⁵0mm

FLICHT 1

TYPICALSTARS.

Lg

30(

出

NOTES

5EC.1-1   SEC.2-2

SIC.6-5

06A

1500 Ar

150

WFFDECEOHE

225

SEC.A-4

225

2Y1221

Y0602@200

3  Y1221

ypical Roof beam Section G-G

m   H        w

2700

836             S可医项开双

虽

FUGHT 2-2

TYHALSTARS

盖

GZLET

昌

n

Er

M

TYPICAL STARS FLAN

M=Pgr

| PROPOSED | OFFICE FOR | DEVELOPMENT |
| --- | --- | --- |
| PST | SAMUEL LOCATED | OLADELE AT |
| ALAGBA | LAYOUT | IDO LG.A |

OYO     STATE.

ADIGUN  S.M.

ASC/SOA10/2  16      A.08

COHCEPT neg

ARCHI-STRIDE5

Ctnetint

chioceang Hall.2nd Door

y Dams tnctanWpn Rd Armurglu

-Harcourt.Rlvers sate

G.5.M.NO 05037051772,08196670120

ntgs200212 yahoe com,3digsan²0c?Cgmaitg

150

NOTES

P.

R

蛇配州f - G

SEHFOLG-G

S

△

级

钢

正                 LA

8

B

m

8

正                             a

48               4Z

790    750.

.750

758.5            769.5

PROPOSED

OFFICE FOR

DEVELOPMENT

792

1500 E

3    S

PST

SAMUEL

LOCATED

OLADELE

AT

ALAGBA

LAYOUT

1DOLG.A

B

B        TE

2  c03  THB

OYO       STATE

(B.

ADIGUN   S.M.

A  08

ASC/SOA/10/2026

ARCHI-STR1DE5 CONCEPT

*Deslos2ConstrurtiZonnd"IaEtetinr

G,S.N.NQ 03037061772.08186670120 1tn2602       gihncnnaies:0)3C

|  |  | S |  |  | S |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | ﺩ |  |

÷

S

9

6+3              ~

T

(                         2

①

Pzx

pu

esS      Celoum

boxS

1)1soD=

18σD

20D0

$#.3x

6Sm

BT₂

BT3^

32S—   田 召CD

54,025

¥

公

Ω  S

3

03

50

0·43 9:9

50

5o

5400

3>26

0068 31

5D

1·SD

BTa

So

135024

3·93

200

⑧

{:So

3s

云

廿 = N00

0·99

95

0|5

D 46

÷70

152D

DIS

20 C

Bcdn u=(

4LD

D

42S

+0 S

15

ce

3 88

2DD

o2q

208

8*3

8ec

2270

S+

2B

3-se  900L

D    DRf         U₁0G  M3

,96

3a0 mm +u

makte   ueto   lere

gteL

9020

ace t

9=78Gol2

中 tce

20

ofev

+o

0794

FQD

2

|2=90

300D 80C

ce

oie 2

n   Ljr C

1005 2 ·

2

uD*c

sec

Ce

T

rS

N.

0

S

084

Duto

pt

S(    0

。SD

BTa

60

5D

DD

g

5 0₃15

SD

LV

| 50 0SD D3D 8C | θ 013¦ | 8 |
| --- | --- | --- |

020

SC

Os  0mS4

trù celbun M3

Concpe

S

0

TF4

1

W=3142    d江 2       225 11S|二

3

010

=12-47

ID

4.

lo

3

y

lollo

S?88 IS

Dd+  vodvee

2

S

二     (S 0℃

eY

50

14so

2/1z|2

268

173s

| Qo 150 | 叶 reinfd lS o0 =llnr ·e | reqnsed. (0+1 |
| --- | --- | --- |

| L=(Sσo eS: 2en 21zs | S-D 14SD |
| --- | --- |

S

| ﺛﺘﺪﮬﻤﻞ ¦1¦1- N70 SO | 288 738 12+1 GσD |
| --- | --- |

MY

w

(80D

So

A/2S

l+S0

28g 2,b38

{r|iz

Mwe

veuﺣﮫa

S ·

1 0 十

|o     ٤ﻕ

{50

llnrs-

Base  fyP  3

|_  =  2ﻡ     0C

ﻟﺮﺻﻦ » -

5  0

١

2{25

ﮮﮮ

D

40Li 4S·24

44-60

560c1

0

L=li00

55 68=2r

55Ss 26>4200

86·80X12579ke

300

30.0065

|  |  | 3 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | SD | 34-56 | ×0*612 30.0065 |  |  |  |  |
|  |  | :0D |  |  |  |  |  |
|  | 4℃ | 50 |  |  |  |  |  |
|  | 13-7 0 6288 | 4266 94:26 |  |  |  |  |  |
|  |  |  | 3toa mw 6845mw M≥S+ 3) |  |  |  |  |
|  |  |  |  |  |  | il 1D | 8036 |
|  |  |  | θLel 340D 50 13;650 | OLak 682s S0 6525 |  |  |  |
|  | 6-70 2·93- |  |  |  |  |  |  |
|  |  | 49-39 |  |  |  | 23 | 1 |
|  |  |  |  |  |  | ¦D | :012 |
|  |  |  | T- |  |  |  | 1:3 |

688  S

|  |  |  | S |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 2 | 5 688 | 13076 | NGL |  | R以 ² 3I5o |  |  |  | 子{18 >7S | 5331 |
|  |  |  | 416 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | +,175 |  |  |  |  |  |
|  |  |  |  |  |  |  | 心心 x 三 |  |  |  |  |
|  |  |  |  | wwhv abl | X×X |  |  |  |  |  |  |
|  |  |  |  |  | 对 2 |  |  |  |  |  |  |
|  |  |  |  | 6+Smm |  |  |  |  |  |  |  |

7{S18

-1100

名GC

L

J

=

二

1

[3   01ﺩ

65 ?5

2ﺱِﺍ 0     75

41,1s0

弓 eet D Munw

弓 b o a  ww

O-  S

T    D  S

206S

3-℃   HSP

300D

023

3-6

0≥S(     只    Ptuo

Cot ()

T

20-5 wiwi

Conerede m        bewu

s

S

D

ol

L=  390t

eN

2S

千(

S12

S!

Cet

6  ú

ﻑ

千

25

n

2岁4

St2

Xles+

63?

473, 6.2

LM

1olla84.|=|

24908

X       548

千·23.K9

二     0:

&ny

2×3-142×12·S

二 + 0 6 ,cs

i5

D

*6 090

|  | S: So 5 HbD 200 1S+ =L6Mr tteld Q steel 万 | D 3 ·45¥ |  |
| --- | --- | --- | --- |

Cgtuw

101103   014

1S034

12-2

×00616

223·36

3

户

丽

5

| 3 3:00 00 p>23 | 6-39 66·24 42·63 |
| --- | --- |

2πrL

2×30142×11005

S

37+04

004

k7)                     FK

|  |  | S |  |  |  | S |
| --- | --- | --- | --- | --- | --- | --- |
| 6 3 | 3S 0>23 0323 | D43 | 3 |  | O95 0023 0023 | DsDS |
|  |  |  |  |  | 1062 0023 D₇0 | 09 |
|  |  |  |  |  |  | 1022 |
|  | -20 0023 0027 | 0 |  |  |  |  |
|  | 95 23 022: | A₂2 |  |  |  |  |
|  | 0.23 | 0·3 |  |  |  |  |
|  | 1a35 D·23 D023 |  |  |  |  |  |

T    O     S

DEscRipro

D    S

19028

o(1 8044

19302   Xl。549

5:

wO

u Tt

pS

TLRK

lseo

Stmue

D1

e

~o6+)

(812

Lo nr

1S9o0

叶St

jeA

D₂

m

83    +|

16

62

9nr

强

好

91

了D

0

3

s0

AaP

12

8

n

8·10

13

0=90

8010

108

41010 X 00 616

Sc

ug-en

35

.D

0=68

65

69 2-2S 6068

03S

0·68

S·S1

0·G2

Qe24

4:9

Jt

2

W3

5'o      D

0-68

65

S

1012

)

20

| F | 四4 2 身 =B八v |  | {S 0O 06 13·6+1 |
| --- | --- | --- | --- |
| ASw dap a |  |  |  |
| Ωec | 9-1n [SMY |  |  |
| 03 81 =[luy |  | 80 06+ |  |
| u9wAouo4 P分中 G0O wM σ6+1 |  |  |  |
| AV A 9R C 0 LW l1L |  | D s stuo D·56+I |  |
| {2 · 0 Wu Oheg |  |  |  |

一

S

3150

Slab

lSo

3,ouu

62:  q

,lo

S8

20

020

05

320

10

0·60

1020

。2

5

6

9

2

3

3

1

本

Kn                                              lm)                                        91

22

| } |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | F=¦5 |  |  |  |  |  |
|  | 分O | 2: |  |  |  |  |
|  | (aA AG |  |  |  |  |  |
|  | Q。 :60 | 0。 |  |  |  |  |

小 )

S

8tnc   W,(

2700

los o

3   S0

7050 子000

2.50

+500

26801

| 34 2₀10 0o 5% 620 0 2D 1o8D {02D Drg {D 0060 0060 1020 1020 | 02 uD3 4 Ws |
| --- | --- |

②   3

·心△OD

2~*b    8al0

rSl

2·40

2~98

20H0

o95 S=29

| 420 4040 ¦2。55 1005 | +08 18)48 2。Ge 48012 |
| --- | --- |

3=D

lt

207o

Q      98 +-5

2-70

10

&o

σ

8<

2-55

a DS

E

D  S

工

VQtd

2051

| oncrete mstu 82? qwm | w o{w MM3 eemcR M |
| --- | --- |

Caeuu        22S        Mm        fie

uedwdo fermwtuk ?

ls010

2

1S-4

oL 3

oD

n3

702 D*48

3H₅86

\

Saq

S--63

3|0-s8

2-23

045

0²23   023

0023

0-4s

Q83

106

。1D

|  |  |  |  |  | D |  |
| --- | --- | --- | --- | --- | --- | --- |
| 3 3 | S |  |  |  |  |  |
|  | 3+4 |  |  |  |  |  |
|  | 304 |  |  |  |  |  |

3bodmm

D     S

42005

pe4g

190-85

39

5

5

n 45

31290

26-30

21

s

345

X0061+

3

二 二

to

VW\     LUG

C   22

2πr4 2×3-142×12S

—      706295

S

10110200

2%

00

2

09-%

14090

1119

7048

etemel

Jx

e u     ut

=120D

斗  So

16sD

子5

15D

12cC

or3

L=vo

Ad

2s tSo

1350

|  |  |  |  |  |  | S |
| --- | --- | --- | --- | --- | --- | --- |

S

1난

1%

123

4

80

5

SO

21

126

NM

3c5D

Fwokn

9126

23076

乞X

4+50

-826

135,6S

1350

D2

“

2

225×225×480

Ba               toek   fitted

Wov           geld          Qr

3.

dew

nteY             awd       Ln

2

lu Pow

Dd4

3

D1

2-10

●20  2-S2

3

3

D₂

D3

10

3015

3,

3      D

|00qD|

S.

14a

S

s-fure

2250

|2r0

r.3.   wau

4t:

282.5

l410CD

u g

.2

40

LeC

tDS

+0

005

Q1

urt

GG                           2J

3

=373

x

3=0

29089

S9.84 8904

e2

luommxsonM      tav

ueood  CPe             CL

1016010103=

[e     ls eganw

W= +4+5

215

+250.

100 mw   So

1016=101010

3-50

48

1i

32+3

e        =?1b⁷

C         3²+3:73⁷

+13o

二 . 2 2 · 4 9

x      22~qs

40+95

Loe    mm ree.led

SDMAM

Lewdureud raei

1s[b=l 。l 。]

4t0

4uO

Qie-O

1$qD

lSco

{200

qo

600.

3cD

3Sc0

etlQ  n

0O wm

Struct

ndweed

1016~1ol08o|

名

016>11o

0

3,

XS0      '

wt

pw                10Q    」

016010

3r0 wul

20

2≤

i

1C¹4DD

| 4120 p(S | +475 )ES CRapT L=19400 12ou 120D 867S 26,600 |
| --- | --- |

M

We

^GC

=!8ny

03  =111

600

W:

5400=9+1=i0ny

tewero|SHere

e

=3.7bs+L1=5

o

5=1300

=243

TC

=@1S10口5!3=n3r

LO(

awouy +o

+1=Sn

4二

24tb

T

=6nY

=9

S

T

0>33 103-30

S  4D 9232

gC

vit

p5

26414

Se

3536

3”y85

0030

00  15

N

-

+B3t&NCt          合艹≥

Pf-s     R sAmug!DLrDsL

؟-5

A       B31Ru    un  u  K

| uPR |  |  | T Ta W ^+ wu - [soc wtw A A 3r0 nmw ) | Bak fii +0 M | e al crephZ t |  |
| --- | --- | --- | --- | --- | --- | --- |
| 8١ ٤ | 1- Smg | wuv |  |  |  |  |
|  |  |  |  | 1SNeLoe T | CSMLPAC-UC |  |
| M 1S otw |  |  |  |  | ﻡ_ Leltou |  |
| 2 Q 中 SC O |  |  | 开 - ٤ C uﻡ ٤ﻡ ﺻﺐr rae m¹ |  |  |  |
|  |  |  |  | 2 Eneppive A ١٥٠ ٦١٧ <؟ Th | RCAMSN ﺀ٦ ﺑﺬ de式 sule | Quh+go excay |
|  |  |  |  | 0QM |  |  |
| 40m |  |  |  |  |  |  |
|  |  |  |  | 4 |  |  |

JEUES

| z~73니그9 CeH , |  |  | 7?약오 1 31삶18 |  |  | 소D19A요 |
| --- | --- | --- | --- | --- | --- | --- |
| 군*감요 상n연-1요 당nS강. 식강9C |  |  |  |  |  |  |
|  |  | ' |  | B- | st HLser |  |
| M | 요Arn |  |  |  |  |  |
|  | 1 8 앙.1 |  |  |  |  |  |
|  |  | 건8Qnv지남 |  | (e BAS2 |  |  |
|  |  | 403 |  | w8요A& |  |  |
| r |  |  |  |  |  |  |
| W |  |  |  | nM Q이1 |  |  |
| br - | 1 경8성 e363 |  |  |  |  |  |

020P0SEF

| =నా |  |  |  |
| --- | --- | --- | --- |
|  | N |  |  |

(

b811

BP MEN

RSRUCI

?

15               L008.H

|  |  |  | 10 |  |  |  | LrJ 分 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 5? .1ﺍ 1 : eU iR ) |  |  |  |  | ﻣﺢ 6十 |  | 2 Na g |  |
|  |  |  |  |  | 132J0+= ﺯ |  | 11) |  |
| ﺋﻤﺎە ﭨﺪ 44 Q元 g |  |  | LND B |  | o ١ ﺩ ٦٧ 1١ | Ws nlu ﭼﭻ _ | l-e! |  |
|  |  |  | ﺝJ!5 ٠؛٦؟ = ٨ ، ٧ ﭺ١ |  |  |  |  |  |
|  |  |  | WN | ﭺ٠ ﺍ |  |  |  |  |
| M | 3 |  |  |  |  |  | S³p W |  |
| ﺏە ; ٥ |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ﺣﺎﺣﺎ ّ |  |  |  |

| DR0PQSS A | CEIF²XaPKSMT |  | 0R.PASTOR ENMuS A |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 元 C |  |  |  |  |  |  |
| PGG (L | LN F Bux*uodu 100X0im w |  | L 州 W |  |  | HCS |
|  |  |  | 6-C US | nl Suw |  |  |
| tA AC Ya8M -S0 NmX 八 | doev M.W | W5C |  |  |  |  |
|  |  |  | 16 wust WA ^-s 300 wm c) |  | 气R心 ~ﻝ Hute | 代 44xA1L ACwe emut; M |
| ( (n tuAuLdtw ond o-u 12-60MLn | 35)Pif 15o wW |  |  |  |  |  |
|  |  |  | e eAMh | yRkm GeipedoL |  | Ptc-G t 4 bed |
| U0空A AAAAL I -L280 3 Y | BLOS F 150℃ |  |  |  |  |  |
|  |  |  | MuuaS |  |  | iStIN |
| US d W | lct0 s lo-u.dlgu 700 Wiw |  |  |  |  | 3C004 =Tt n- |
| ubwd W | euo 1Oudu 0 |  |  |  |  |  |
| usuA u 18.00 wm | e)S lovdlou &taeoggm |  |  |  |  |  |

FNRLOPM?

810R Sramu24 ClAD

11

| FCRSTQuRURZ RK |  |  |  |  |
| --- | --- | --- | --- | --- |
| GN APa | Msutu 1SDMM 3 | Mik W | VNW AN | (7 法 |
|  |  |  | 2.8 | 0 110 Cn |
| C | 气 MN |  | o ww | P ee/ |
| -16 | A4(A V 3 |  |  |  |
|  |  |  |  | 儿R H |
|  |  |  | B WwM | a heowu |
|  |  |  | 1 N | ( tA.ueeOci |
|  |  |  | CM4: S N (N | AM |
| ?to |  |  |  |  |
|  |  |  |  | W evm s |
|  |  |  | 52919 LSg mm | acTde F)CS |
|  |  |  |  | AHewdd.aseod Me-k ax:Ce |
| u 心 N |  |  |  |  |
|  |  |  | (FH= 9W ut ue 12 | $ 80 |
|  |  |  |  | . lio -1g tlte Su . |

f

| SePF U< ILEiUl 比1 |  |  | ٠٤،٠؛١ ١ |  |  |
| --- | --- | --- | --- | --- | --- |
| -RHCLUELSGQH (bA8 |  |  |  |  |  |
|  | 28MC MW ()e/ M3 | 1% N L3.0MW AY |  |  | LC GCn: 5 ASe( G0 MLw |
|  |  | DcnR feer uu islQu Mw +50w1t |  |  |  |
|  | j0 |  |  |  |  |
|  |  | 300 ≥ 元 S 1000 |  | 3 deor uitt 作 R L 8 0 w |  |
|  |  | id.0 =0- ! :٦٩u 4٥١ t$oom 1Soomm m |  | t0 ,0.g 3 cuud slidy Be *X1360 wm X Lap mm Y hX600m |  |
| N | 4 |  |  |  |  |
|  |  | lem² EMLal3 '٦ l |  |  |  |

| tof aMut PA =enm |  |  |  |
| --- | --- | --- | --- |
| m² |  |  |  |
| - A | A |  |  |

常

| 100 Ww X S W Ptate |  | A |  |  | G C)yw |  |  | T1 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | .riL Aiiar |  |
| S0 Mw |  | A | coued |  |  |  |  |  |  |
|  |  |  |  |  | 3 |  |  | m△ |  |
| U0ww X56MM |  | M |  |  |  |  |  |  |  |
|  |  |  |  |  | Seum | Xs lDE! | pww U ( | kM³ Y4 |  |
| XSouw | e | W |  |  |  |  |  |  |  |
| Q0 XSoww AtoG 名 |  | S M | L9y |  |  |  |  |  |  |
| rs mmXS0mm nalegk |  | LrO-s M |  |  |  |  |  |  |  |

| fCice 千 |  |  | HeNWopMs |  | CC LBD( | pA2ttRS 0988(4(s08 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BeRACT 己大 |  |  | +11X(=rS? |  |  |  |  |  |  |
| 3 n 飞 | C i F Mw 003S | 3 0A1S C\ W 切 |  | M以 | 12 wuw M |  |  | U | 4 QAS⁷00 |
|  |  |  |  |  | 又 M G G R |  |  | LD(A0Dt)e |  |
| H |  | 1A :0187 |  |  |  |  |  |  |  |
| LMit |  | h :engt |  |  |  |  |  | toatd.ue9d |  |
|  |  |  |  |  | l2.ww |  |  | L |  |
|  |  |  |  |  |  |  |  | eusi( |  |
| oo C 一(心 LN 十 ( 5 |  | 2 艺 0 7QS:Af SS MeX m⁸ |  |  |  |  |  |  |  |
| 005 |  | M 2 |  |  |  |  |  |  |  |

CHAPTER FIVE

## 5.1  SUMMARY

This research was carried out to estimate and budget for a medium scal building for a proposed storey building office development for pastor Samuel    Oladele located at alagba layout Ido L.GA oyo state.

It is also designed to show the process of taking off,abstracting and method of meparing bill of quantities.

## 5.2 CONCLUSION

In conclusion,we observed that estimating for medium scale building project is very iniportant.!

i.       It gives an itemized list of the component parts of the building with a

full description and quantity of each part.

ii.      It serve as a guidelines for the contractor.

iii.     It provides a basis for a valuation of variable which often occur during the progress of the work.

iv.     It enables all contractor tendering for a contract to price on exactly the same information with a minimum of effort.

## 5.3  RECOMMENDATIONS

From the analysis of the data in chapter four of this project,the following Commendations was be made.

The Quantity Surveyor should provide an estimate during the preliminary stage of the project in order to forecast its likely cost.

ii.It is important not to under estimate and over estimate,proper estimating   procedures should be used and the layout of the estimate should be clear and logical.

REFERENCES

Building and Engineering Standard and Method of Measurements  (BESMM4)

Ivor H.Seeley,(1997):Building Quantities 3“Edition Macmillan Press Ltd.

Onovah   T.C(1997):Building   Measurement.