COMPARATIVE STUDY ON THE QUALITY AND CONTAMINATION RISK OF GROUNDWATER AND STORED DRINKING WATER SOURCES (A CASE STUDY OF ELEKO)

BY

OYENIWE FERANMI SAMSON

HND/23/ABE/FT/0007

SUBMITTED TO

DEPARTMENT OF AGRICULTURAL AND BIO-ENVIRONMENT ENGINEERING, INSTITUTE OF TECHNOLOGY, KWARA STATE POLYTECHNIC, ILORIN.

IN PARTIAL FULFILMENT OF THE REQUIREMENT FOR THE AWARD OF HIGHER NATIONAL DIPLOMA IN AGRICULTURAL AND BIO-ENVIRONMENTAL ENGINEERING.

JULY, 2024

DEDICATION

I dedicate this project to my parents Mr and Mrs Oyeniwe.

ACKNOWLEDGMENTS

I would like to express my deepest gratitude to God Almighty for strength and guidance throughout this journey.

I am grateful to Many people who played various roles, in making me achieved my dreams. I wish to acknowledge my parents Mr and Mrs OYENIWE for their Support in my life. I pray you eat the fruit of your Labor(Amen)

My profound appreciation goes to my project SupervisorEngr. (Mrs) Shuaib-Naallah, B.O	 and my Head of Department Engr. Dauda, K.A for his uncompromising support and effort has made this work a huge success, I pray that he shall eat the fruit of his Labor(Amen)

Finally, I thank my family for their constant encouragement and understanding, which allowed me to focus on my work

ABSTRACT

Access to safe and clean drinking water remains a critical public health concern in many urban areas of developing countries. While groundwater from wells and boreholes is widely used as a primary water source, its safety is often compromised by increasing urbanization, poor waste disposal, and inadequate sanitation infrastructure. Compounding the issue, water that is stored in households for later consumption is frequently subjected to secondary contamination due to unhygienic handling and storage practices.This study investigates and compares the quality and contamination risks of groundwater (from wells and boreholes) and household-stored drinking water in an urban setting. Using a one-time sampling approach, both physicochemical and microbial parameters were analyzed for five source points and their corresponding stored water samples.Groundwater quality values from wells and boreholes in urban areas often show elevated concentrations of, total dissolved solids (TDS) and total hardness (TH) in groundwater samples  surpass recommended limits in 100% of cases, with TDS values  above 500 mg/L and TH above 300 mg/L, reflecting both geogenic and anthropogenic contamination (Ravindra et al., 2022). In contrast, stored water in households typically exhibits even higher values for TDS, electrical conductivity, and microbial indicators such as coliforms and E. coli, due to secondary contamination during storage, stored water TDS may rise from 400–600 mg/L at the source to 700–900 mg/L after storage, and coliform counts  increase from 10–50 CFU/100 mL in raw water to over 100 CFU/100 mL in stored samples, far exceeding the WHO standard of zero . with stored water consistently showing worse scores due to increased contamination risk These findings highlight the urgent need for interventions to improve both source water quality and household storage practices to ensure safe drinking water.

TABLE OF CONTENTS

TITLE									PAGE

Title page									          i

Certification									          ii

Dedication									         iii

Acknowledgements								         iv

Abstract 									          v

Table of Contents								         vi

List of Tables									          x

List of Figure									         xi

CHAPTER ONE: INTRODUCTION						1

1.1	Background of the Study							1

### 1.2	Problem Statement of the Project						4

### 1,3	Aims and Objective								4

### 1.4	Scope of the Study 								5

### 1.5	Justification of the Project							5

CHAPTER TWO: LITERATURE REVIEW					7

2.1 	Preamble 									7

## 2.2	Sources of Water Contamination						8

2.2.1	Agricultural Activities								9

2.2.2	Industrial Waste								9

2.2.3	Sewage										9

2.2.4	Natural Events									9

2.2.5	Mining										10

## 2.2.6	Public Water Regulation							10

## 2.3	Effects of The Most Common Drinking Water Contaminants			10

## 2.4	Types of Microorganisms in Water						11

2.5	Types of Pathogens Found  in Water						12

## 2.6	Roleof Microorganismsin Water						12

2.7	Health Effects of Bacterial Toxins in Drinking 				13

2.7.1	Gastrointestinal Disorders							13

2.7.2	Hepatitis									13

2.7.3	Acute Kidney Injury 								13

2.7.4	Respiratory Conditions							14

2.7.5	Neuro logical Disorders							14

2.7.6	Gastrointestinal Disorders							14

# 2.8	Drinking Water Quality Standards						14

2.9	Methods of Detecting Bacteria in Water					15

### 2.9.1	Multiple tube method								16

### 2.9.2	ATP testing									16

### 2.9.3	Plate count									17

### 2.9.4	Membrane filtration								18

### 2.9.5	Pour plate method								18

2.10	Review of Past Related Work							19

CHAPTER THREE

3.1 Location of the Study Area 							21

3.2 Water Sampling Procedure 							21

3.3 Laboratory Analysis of the Water Samples 					22

3.4 Analysis of parameters 								22

3.4.1 Physical parameters 								22

3.4.2.1 Temperature									22

3.4.2.2 Color / Odor  									22

3.4.2.3 PH										22

3.4.2.4 Filterable solids 								22

3.4.3 Chemical Analysis 								22

3.4.3.1 Total hardness 								22

3.4.3.2 Chloride 									22

3.4.3.3 Sulphate 									23

3.4.3.4 Nitrate 									23

3.4.3.5 Trace Elements 								23

3.4.4 Biological Analysis 								23

3.4.4.1  Total Viable Counts 								23

3.4.4.2 Coliform Counts 								23

3.4.4.3 E. Coli 									24

3.4.4.4 Streptococcus Feacalis 						          24

3.5 Methods Of Data Analysis 							24

CHAPTER FOUR: RESULTS AND DISCUSSION 				25

4.1	Result										25

4.2	Discussion									26

4.2.1 Comparative analysis of raw and stored water color				26

4.2.2  Comparative analysis of raw and stored water turbidity			27

4.2.3 Comparative analysis of raw and stored water tds 				27

4.2.4 Comparative analysis of raw and stored water electrical conductivity		27

4.2.5  Comparative analysis of raw and stored water iron				28

4.2.6  Comparative analysis of raw and stored water manganese			28

4.2.7  Comparative analysis of raw and stored water nitrate				29

4.2.8 Comparative analysis of raw and stored water nitrite				29

4.2.9  Comparative analysis of raw and stored water total hardness			30

4.2.10 Comparative analysis of raw and stored water coliforms			31

4.2.11 Comparative analysis of raw and stored water E. coli				31

CHAPTER FIVE: CONCLUSIONS AND RECOMMENDATIONS

5.1	Conclusions									39

5.2	Recommendation								39

References									41

LIST OF TABLES

Table No				Title 				Page No

2.1: Pathogens  in Water								11

4.1: Comparative Study on the Quality and Contamination 			25

Risks of Groundwater

LIST OF FIGURES

Figure No				Title 					Page No

4.0 Satellite imagery of  the study area						32

4.1 Contamination risk of groundwater and stored drinking water 			32

4.2 Contamination risk of groundwater and stored drinking water 	 		33

4.3 Contamination risk of groundwater and stored drinking water 			33

4.4 Contamination risk of ground water and stored drinking water 			34

4.5 Contamination risk of groundwater and stored drinking water  			34

4.6 Contamination risk of groundwater and stored drinking water 			35

4.7 Contamination risk of groundwater and stored drinking water  			35

4.8 Contamination risk of groundwater and stored drinking water  			36

4.9 Contamination risk of groundwater and stored drinking water 			36

4.10 Contamination risk of groundwater and stored drinking water  		37

4.11 Contamination risk of groundwater and stored drinking water  		37

4.12 Contamination risk of groundwater and stored drinking water  		38

CHAPTER ONE

INTRODUCTION

1.1	Background of the Study

Water is a vital resources needed for the sustenance of life (Anake et al., 2013). Water in its pure form should be colourless, odourless, tasteless and sparkling in nature (Egereonu, 2006). Like other developing countries, the issue of access to healthy water is very significant in Nigeria, where 48% (about 67 million Nigerians) depend on surface water source for domestic use, 57% (79 million) use hand dug wells, 20% (27.8 million) harvested rain, 14% (19.5 million) have access to pipe borne water, and 14% have access to borehole water sources (FGN, 2007).

An estimate of over 2 billion people live in water-stressed countries, which is expected to be exacerbated in some regions as a result of climate change and population growth. At least 2 billion people use a drinking water source contaminated with faeces. Also, some 829 000 people are estimated to die each year from diarrhoea as a result of unsafe drinking water, sanitation and hand hygiene (WHO, 2022). This situation is worse in developing countries, where 60% of their population do not have access to healthy drinking water (Karanis, 2006;).

In the context of international regulations, the contamination of water bodies by organic micro-pollutants is the subject of constant interest and is always under investigation. Studies have shown the enormous roles played by water in the transmission of enteric and other waterborne diseases from one point to another (Nnadozie and Abu, 2015).

Basically, microorganisms play a major role in determining water quality. Some of the microorganisms that are concerned with waterborne diseases include: Salmonella spp, Shigella spp, Escherichia coli, Klebsella and Vibrio cholera (Adetunde and Glover, 2010).All these cause diseases like typhoid fever, diarrhoea, dysentery, gastroenteritis and cholera. Similarly, the consumption of water containing parasites has been attributed to be a major source of Giardia lamblia, Crysptosporidium parvum, Entamoeba histolytica, Isospora beli and Microsporidium spp infections in various outbreaks or epidemics (Odikamnoro et al., 2014). Common water-related diseases caused by parasites include schistosomiasis, amoebiasis, cryptosporidiosis and giardiasis. People become infected with these diseases when they drink or have contact with water that has been contaminated with the causative parasites. For example, individuals drinking water contaminated with fecal matter containing the amoeba, Entamoeba histolytica can get amoebic dysentery (amebiasis). An individual can get Guinea worm disease when they drink water that contains the parasite Dracunculus medinensis. Globally, about 80% of all diseases and death in third world are water-related due to pollution of water sources (Aderibigbe et al., 2008; Ayeni et al., 2011).

The numbers of outbreaks of water-related diseases that have been reported in Nigeria indicate that transmission of pathogens by drinking water constitutes a major cause of illnesses (Nwidu et al., 2008). A number of studies pointed out that the lack of awareness as regards the significance of maintaining clean and hygienic stored water contributes to increasing waterborne diseases (Bello et al., 2017; Andersson et al., 2018; Mark et al., 2019; Rubino et al., 2019).

Water is considered as the essence of life and access to safe drinking water is a basic human right essential to all. Although water is necessary for the welfare of humankind and for sustainable development, a large proportion of the world’s population do not have access to microbiologically safe sources of water for drinking and other essential purposes (WHO/UNICEF, 2000). Safe drinking water should not represent any significant risk to health over a lifetime of consumption, including different sensitivities that may occur between life stages (WHO, 2006).

Sources of drinking water include piped water, rivers, reservoirs, springs, streams, wells, ponds and rain. Studies have shown that the way water is collected, handled after collection and stored at home cause quality deterioration to such an extent that the water poses potential risks of infection to consumers (Ampofo and Karikari, 2006). Microbial guidelines seek to ensure that drinking water is free of microorganisms that can cause disease. Microbial hazards are said to represent an overall greater threat than chemical hazards, and in developing countries account for 5.7% of the total global burden of disease (Larmie and Paintsil, 1996).

The lack of microbiologically safe drinking water and adequate sanitation measures leads to a number of diseases including cholera, dysentery, salmonellosis, typhoid, and every year millions of lives are lost in developing countries. For the 1.1 billion people who lack access to improved water supplies, and many more with contaminated water, diarrhoeal disease is highly endemic (Clasen et al., 2007). Diarrhoea is a major cause for the death of more than 2 million people per year worldwide, mostly children under the age of five. It is the symptom of infection or the result of a combination of a variety of enteric pathogens (Zamxaka et al., 2004).

Improving access to safe drinking water and sanitation are the ways of achieving the objectives of the United Nations Millennium Development Goals (MDGs). The MDGs target for water is to ‘half by 2015 the proportion of people without sustainable access to safe drinking water and basic sanitation’ (WHO/UNICEF, 2004).

1.2 Aims and Objectives

The aim of the project is to evaluate and compare the physical, chemical and microbial quality of ground water and stored drinking water in Eleko While;

Specific Objective

The specific objective of the project are to

- collect and analyze groundwater and stored drinking water samples using standard method

- determine the physical, chemical, and microbial parameters of the water samples

- compare contamination levels between the groundwater sources and the stored water

1.3	 Scope of the Study

This study focuses on assessing and comparing the quality of groundwater sources (wells and boreholes) and household-stored drinking water in an urban setting. The assessment is based on one-time sampling of five source points — three wells and two boreholes — and their corresponding stored water samples collected from households after one week of storage.

The study covers both physicochemical parameters (such as pH, turbidity, total dissolved solids, electrical conductivity, and selected chemical constituents) and microbial contamination indicators (such as Escherichia coli and total coliforms). Laboratory analysis is conducted to evaluate these parameters against established water quality standards.

Additionally, the study investigates possible changes in water quality during household storage and identifies storage-related factors that may contribute to contamination.

1.4 	Problem Statement of the Study

Access to safe and clean drinking water remains a critical public health concern in many urban areas of developing countries. While groundwater from wells and boreholes is widely used as a primary water source, its safety is often compromised by increasing urbanization, poor waste disposal, and inadequate sanitation infrastructure. Compounding the issue, water that is stored in households for later consumption is frequently subjected to secondary contamination due to unhygienic handling and storage practices.

Despite the recognized importance of water quality, limited studies have simultaneously assessed both source and stored drinking water in urban households. This gap in knowledge makes it difficult to fully understand the extent of water quality deterioration that occurs between collection and consumption. Additionally, there is a lack of localized data on the physical, chemical, and microbial quality of water in such settings, especially using a practical one-time sampling approach. Without this information, communities vulnerable to waterborne diseases, and interventions cannot be effectively targeted.

1.5	 Justification of the Study

This study is necessary to provide a comprehensive understanding of the quality of drinking water from source to point-of-use in urban households. By comparing groundwater (from wells and boreholes) with household-stored water, the research aims to identify the extent and nature of contamination introduced during storage. The findings will help uncover critical gaps in household water safety practices and inform public health strategies aimed at reducing the risk of waterborne diseases.

Moreover, the one-time sampling approach is both cost-effective and reflective of real-life conditions where routine monitoring is often unfeasible. The use of standardized laboratory analysis for microbial and physicochemical parameters will ensure that the results are reliable and comparable with national and international water quality standards.

This study will provide evidence-based insights that can support policymakers, water authorities, and health agencies in designing targeted interventions for improving water quality and safeguarding urban public health.

CHAPTER TWO

LITERATURE REVIEW

2.1 	Preamble

Drinking water contains bacterial toxins that can harm the health of a person and the community in general. Such toxins may originate from untreated sewage and even from treatment and distribution of water. The above contaminants can be fatal in our water supply that can lead to numerous health conditions of various degrees of severity, including lifethreatening ones Karri, et al., (2021). Types of Bacterial Toxins Bacterial toxins in drinking water can be divided into two main categories: endotoxins and exotoxins.

Endotoxins are products known as lipopolysaccharides situated on the outer membrane of bacteria cells but are primarily on gram negative bacteria. These toxins are produced to environment when bacteria die or are killed. If ingested, they can lead to various diseases and conditions, for instance, respiratory conditions, Gastro illness and septicemia to mention but a few. While exotoxins are protein substances usually secreted by some bacteria to counteract other microorganisms in the environment. To humans, they are also dangerous and can lead to food poisoning, toxic shock syndrome or meningitis Wang., and Quinn,  (2010).

However, having said this it is important to stress again that not all bacteria are pathogenic; some of the bacteria produce toxins which are potent, and which can be fatal to humans. Indeed, some are useful, as they contribute to the regulation of the correct ratio of microflora in the human body Morrissey Donohue, and Orme‐Zavaleta. (2003).

Sustaining the quality of drinking water is the paramount role in the agenda of health for public good since the contamination of chemicals and microbes present dangers to the well-being of the people. One of the most concerning problems among all noted is the waterborne bacterial toxins as their influence can be dreadful for the person Decharat,  and Pan-In, (2020).. One of the critical professions is toxicologists who help in determining the risks resulting from chemical contaminants in water and providing measures that can guarantee the safety of the source of water Van Leeuwen,. (2009).

Drinking water naturally contains chemicals; it is polluted and treated with various substances, all of which can cause the water to contain toxic

elements Tracy, (2020). Decayed and neglected population groups or communities register highest rates of chemical infiltration in their drinking water, owing to compromised exposures, limited access to chemical analysis and water purification, and inherently inferior standard health Amrose,  et al., (2020).

It is projected that chemical pollution in drinking water shall continue to increase in the next few decades due to factors like climate change, industrialization, and an enhanced ability to determine the concentration effects of some of these chemicals on human health McIntyre, J. K. To address this challenge, there is a need for proper water treatment, the strengthening of water monitoring and regulation as well as various targeted strategies to support vulnerable groups of the population

## 2.2	Sources of Water Contamination

The main causes of water contamination are due to human activities which result in pollution, but natural events also play a role(WHO, 2017). The risk and type of contamination often depend on the quality and management of the water source. Some significant sources of water contamination include:

2.2.1	Agricultural Activities
		Pesticides, fertilizers, and poorly managed animal waste contaminate water through runoff and leaching. Rain washes chemicals from fields into streams, rivers, and groundwater(EPA, 2023a).. Animal waste from farms can introduce bacteria, viruses, and parasites into water if not properly contained.(FAO, 2020).

2.2.2	Industrial Waste
		Industries release chemicals and heavy metals as byproducts. Improper disposal or storage allows these pollutants to seep into nearby water sources. (Saha etal., 2011)Underground tanks storing gasoline or oil can also leak, polluting groundwater.(EPA, 2023b).

2.2.3	Sewage
		Human and industrial waste can enter water systems through discharges from sewage plants or septic systems. When not properly treated, sewage introduces harmful bacteria, viruses, and chemicals into the environment.(WHO, 2019).

2.2.4	Natural Events
		Storms, earthquakes, and volcanic eruptions can disrupt water systems, causing sediment and pollutants to enter water sources. Climate change and poor land use often worsen these events. They may also damage water treatment infrastructure, hampering safe water supply.(IPCC, 2021)

2.2.5	Mining
		Mining uses large volumes of water and releases toxic byproducts. During extraction, heavy metals and contaminants can leak into nearby water, posing environmental and health risks.(Younger, 2001)

## 2.2.6	Public Water Regulation

Public water systems in the United States are subject to strict regulation under the Safe Drinking Water Act (SDWA), which empowers the Environmental Protection Agency (EPA) to set and enforce national drinking water standards. These standards are designed to protect public health by limiting the levels of specific contaminants in tap water provided by public water systems. The EPA regularly reviews and updates the Contaminant Candidate List, which identifies new and emerging substances that may pose health risks and require regulation.(EPA, 2022).

## 2.3	Effects of The Most Common Drinking Water Contaminants

All water contaminants negatively affect human activity, as well as the rest of the biosphere. Health risks are a particularly high concern, as some contaminants can pose serious health risks, including illness, disease, and even death. Contaminants like bacteria and viruses can cause disease outbreaks, while chemicals and heavy chemicals can cause long-term declines in human health and birth defects that are only noticed when it is too late. Keeping water safe requires regular monitoring and treatment to ensure it is free from harmful contaminants and safe to consume.(WHO, 2017).

Contaminants can also have negative impacts on the health of ecosystems, such as killing aquatic life and harming wildlife. For example, microplastics found in both freshwater and seawater have been observed to affect the development and behavior of both plankton and fish. Algal blooms caused by agricultural runoff can decimate entire lakes, and these algae can then produce toxins which then threaten humans.(WHO, 2017).Contaminated water can affect the taste, odor, and appearance of water, making it unpleasant for drinking, cooking, and bathing, leading to decreased quality of life. It puts a higher burden on medical systems, requires more expensive treatment, and can affect economic activities, such as agriculture and water tourism.

This can lead to a vicious cycle, where people who afford to decide to leave affected communities, resulting in further economic and social damage, which means the community has even less chances to deal with contamination. Regular monitoring is essential to identify and address these contaminants. Tests mandated by regulatory agencies like the EPA play a crucial role in detecting contaminants and ensuring compliance with safety standards, helping to keep water safe for public consumption.(WHO, 2017).

## 2.4	Types of Microorganisms in Water

Water contains a diverse range of microorganisms, each with unique characteristics and implications for water quality. The most common types include:

1. Bacteria: These are single-celled organisms that can either be beneficial or harmful. Pathogenic bacteria, such as E. coli and Salmonella, can cause serious diseases if present in high concentrations. However, many bacteria play beneficial roles, such as breaking down organic matter and aiding in nutrient cycling.

2. Viruses: Viruses are much smaller than bacteria and can only reproduce inside a host cell. Waterborne viruses like noroviruses and hepatitis A can cause gastrointestinal illnesses and other health issues. Due to their small size and resistance to many conventional water treatments, they can be challenging to detect and remove.

3. Protozoa: These are single-celled organisms that can be free-living or parasitic. Some protozoa, like Giardia and Cryptosporidium, can cause gastrointestinal diseases and are resistant to chlorine disinfection, making them a concern for water safety.

4. Fungi: Fungi in water include yeasts and molds, which can contribute to biofilm formation and may cause taste and odor issues. While not typically pathogenic, certain fungi can produce mycotoxins that might pose health risks under specific conditions.WHO, 2017).

2.5	Types of Pathogens Found  in Water

Table 2.1: Pathogens  in Water

| Type of Pathogen | Examples | Description | Common Diseases or Symptoms |
| --- | --- | --- | --- |
| Bacteria | Escherichia coli (E. coli), Salmonella, Vibrio cholerae | Single-celled microorganisms that can cause various infections when ingested through contaminated water. | Diarrhea, cholera, typhoid fever, gastroenteritis |
| Viruses | Norovirus, Hepatitis A, Rotavirus | Submicroscopic infectious agents that require a host cell to replicate, causing a range of diseases. | Gastroenteritis, hepatitis, viral gastroenteritis |
| Protozoa | Giardia lamblia, Cryptosporidium, Entamoeba histolytica | Single-celled eukaryotes that can cause infections, often through cysts that survive in water. | Giardiasis, cryptosporidiosis, amoebic dysentery |
| Parasites | Schistosoma, Dracunculus medinensis (Guinea worm) | Multicellular organisms that can live in or on a host, causing various diseases. | Schistosomiasis, dracunculiasis (Guinea worm disease) |

(WHO, 2017).

## 2.6	Roleof Microorganismsin Water

Microorganisms play crucial roles in water ecosystems by contributing to nutrient cycling and maintaining ecological balance. Beneficial bacteria decompose organic matter, recycle nutrients, and help purify water by breaking down pollutants. Protozoa and fungi also play significant roles in the decomposition of organic materials and the breakdown of complex compounds. Algae, including cyanobacteria, contribute to oxygen production through photosynthesis, supporting aquatic life. However, some microorganisms, especially pathogenic ones, can pose health risks if present in high concentrations. (Madigan, et al., 2018)

2.7	Health Effects of Bacterial Toxins in Drinking

Water Bacterial toxins present in drinking water can have a wide range of health effects, depending on the type of toxin and the individual's susceptibility. Some common attacks such toxins can cause include: Mustafa Ali Muhammad, (2017) 

2.7.1	Gastrointestinal Disorders

The presence of bacterial toxins in the water causes numerous diseases that may relay with vomiting, diarrhea, and abdominal pain. These symptoms are normally not very serious, however there are instances where they may become very serious causing the patients to suffer from severe dehydration and electrolyte imbalance.

2.7.2	Hepatitis

It is seen that some of the bacterial toxins like hepatitis A virus if consumed through contaminated water can lead to liver disorder such as hepatitis. This can result in fever, fatigue and jaundice and in severe manifestation liver failure can occur. 

2.7.3	Acute Kidney Injury

There are some bacterial toxins, which exist in drinking water that has been associated with acute kidney injury which is a condition whereby kidneys perform their functions abnormally at a given period of time. Some of the manifestations of the condition are a reduced amount of urine passed, accumulation of fluid, difficulty in breathing and discomfort in the chest. Chronic exposure to these toxins poses a threat to the kidney where some may cause renal damage and or kidney failure. 

2.7.4	Respiratory Conditions

Intake of water with bacterial toxins can at times be inhaled and thus leads to irritation and inflammation of the bronchial tubes. This might cause such signs as coughing, wheezing, and shortness of breath. It could also cause allergic reactions where individuals who could have been sensitive to sand would begin experiencing allergic reactions or worsen their asthma or COPD accustomed to developing during the dusty season. 

2.7.5	Neuro logical Disorders

There is progressive indication that bacterial toxins in drinking water cause diseases affecting the nervous system including meningitis and encephalitis. These toxins have been discovered to lead to swelling in the brain and spinal cord, and some of the symptoms include headaches, fever, seizures, and in worse cases, comas. Investigations on this connection are still being conducted, and more work is being done towards gaining more insight on the neurological effects of bacterial toxins in the national supply of drinking water.

2.7.6	Gastrointestinal Disorders

Ingestion of drinking water that contains bacterial toxins affects the uncomfortable of the gastrointestinal. Such toxins cause manifestations like abdominal pain, nausea and vomiting, diarrhea and resulting dehydration. At worse, they can lead to more severe diseases such as cholera and salmonellosis.Mustafa Ali Muhammad,. (2017)

# 2.8	Drinking Water Quality Standards

Drinking water quality standards describes the quality parameters set for drinking water. Water may contain many harmful constituents, yet there are no universally recognized and accepted international standards for drinking water. Even where standards do exist, the permitted concentration of individual constituents may vary by up to ten times from one set of standards to another. Many countries specify standards to be applied in their own country. In Europe, this includes the (European Drinking Water Directive 2025) and in the United States, the United States Environmental Protection Agency (EPA) establishes standards as required by the Safe Drinking Water Act. China adopted its own drinking water standard GB3838-2002 (Type II) enacted by Ministry of Environmental Protection in (2002). For countries without a legislative or administrative framework for such standards, the World Health Organization (WHO) publishes guidelines on the standards that should be achieved. (2022)

Where drinking water quality standards do exist, most are expressed as guidelines or targets rather than requirements, and very few water standards have any legal basis or, are subject to enforcement. Two exceptions are the European Drinking Water Directive and the Safe Drinking Water Act in the United States, (2022) which require legal compliance with specific standards. In Europe, this includes a requirement for member states to enact appropriate local legislation to mandate the directive in each country. Routine inspection and, where required, enforcement is enacted by means of penalties imposed by the European Commission on non-compliant nations.

2.9	Methods of Detecting Bacteria in Water

The most reliable methods are direct plate count method and membrane filtration method. mEndo Agar is used in the membrane filtration while VRBA Agar is used in the direct plate count method. VRBA stands for violet red bile agar. A media that contains bile salts which promotes the growth of gram negative and has inhibitory characteristic to gram positive although not complete inhibitory.

These media contain lactose which is usually fermented by lactose fermenting bacteria producing colonies that can be identified and characterised. Lactose fermenting produce colored colonies while non lactose fermenting produce colorless ones. Because the analysis is always based on a very small sample taken from a very large volume of water, all methods rely on statistical principles.(EPA}. (2004)

### 2.9.1	Multiple tube Method

One of the oldest methods is the multiple tube method.(EPA.  2002). In this method a measured sub-sample (perhaps 10 ml) is diluted with 100 ml of sterile growth medium and an aliquot of 10 ml is then decanted into each of ten tubes. The remaining 10 ml is then diluted again and the process repeated. At the end of 5 dilutions this produces 50 tubes covering the dilution range of 1:10 through to 1:10000.

The tubes are then incubated at a pre-set temperature for a specified time and at the end of the process the number of tubes with growth in is counted for each dilution. Statistical tables are then used to derive the concentration of organisms in the original sample. This method can be enhanced by using indicator medium which changes colour when acid forming species are present and by including a tiny inverted tube called a Durham tube in each sample tube. The Durham inverted tube catches any gas produced. The production of gas at 37 degrees Celsius is a strong indication of the presence of Escherichia coli.

### 2.9.2	ATP Testing

An ATP test is the process of rapidly measuring active microorganisms in water through detection adenosine triphosphate (ATP). ATP is a molecule found only in and around living cells, and as such it gives a direct measure of biological concentration and health. ATP is quantified by measuring the light produced through its reaction with the naturally occurring enzyme firefly luciferase using a luminometer. The amount of light produced is directly proportional to the amount of biological energy present in the sample.

Second generation ATP tests are specifically designed for water, wastewater and industrial applications where, for the most part, samples contain a variety of components that can interfere with the ATP assay.

### 2.9.3	Plate Count

The plate count method relies on bacteria growing a colony on a nutrient medium so that the colony becomes visible to the naked eye and the number of colonies on a plate can be counted. To be effective, the dilution of the original sample must be arranged so that on average between 30 and 300 colonies of the target bacterium are grown. Fewer than 30 colonies makes the interpretation statistically unsound whilst greater than 300 colonies often results in overlapping colonies and imprecision in the count. To ensure that an appropriate number of colonies will be generated several dilutions are normally cultured. This approach is widely utilised for the evaluation of the effectiveness of water treatment by the inactivation of representative microbial contaminants such as E. coli following ASTM D5465.Hanaor et al., (2014)

The laboratory procedure involves making serial dilutions of the sample (1:10, 1:100, 1:1000, etc.) in sterile water and cultivating these on nutrient agar in a dish that is sealed and incubated. Typical media include plate count agar for a general count or MacConkey agar to count Gram-negative bacteria such as E. coli. Typically one set of plates is incubated at 22 °C and for 24 hours and a second set at 37 °C for 24 hours. The composition of the nutrient usually includes reagents that resist the growth of non-target organisms and make the target organism easily identified, often by a colour change in the medium. Some recent methods include a fluorescent agent so that counting of the colonies can be automated. At the end of the incubation period the colonies are counted by eye, a procedure that takes a few moments and does not require a microscope as the colonies are typically a few millimetres across.

### 2.9.4	Membrane Filtration

Most modern laboratories use a refinement of total plate count in which serial dilutions of the sample are vacuum filtered through purpose made membrane filters and these filters are themselves laid on nutrient medium within sealed plates. (EPA. 2002.) The methodology is otherwise similar to conventional total plate counts. Membranes have a printed millimetre grid printed on and can be reliably used to count the number of colonies under a binocular microscope.

### 2.9.5	Pour Plate Method

When the analysis is looking for bacterial species that grow poorly in air, the initial analysis is done by mixing serial dilutions of the sample in liquid nutrient agar which is then poured into bottles which are then sealed and laid on their sides to produce a sloping agar surface. Colonies that develop in the body of the medium can be counted by eye after incubation.

The total number of colonies is referred to as the total viable count (TVC). The unit of measurement is cfu/ml (or colony forming units per millilitre) and relates to the original sample. Calculation of this is a multiple of the counted number of colonies multiplied by the dilution used

2.10	Review of Past Related Work

Shara  and Wasan (2024) review that Contamination of drinking water is one of the major concern’s that affect the health of the community due to bacterial toxins. This research paper focuses on the impact of these toxins in human health, and the available ways of tracking and controlling their distribution in water resources. This paper will therefore consider a literature review that will help in the generation of epidemiological data from different studies done on bacterial toxins in drinking water. The figures and levels of pathogenic bacteria, viruses, and protozoa in water make their presence or absence affect the lives of people all over the world. Waterborne pathogens can affect humanity through drinking water, fresh produce and raw foods, processed foods, or water for recreation. This increased chemical exposure has led to drinking water becoming a large source of chemical exposure despite drinking water treatment research mainly concentrating on microbial contaminants because of the large burden of diseases caused and high childhood mortality among the victims. Consequently, use of water polluted with heavy metals and bacterial toxins leads to high morbidity and mortality coefficient in various regions of the world.

Omari, and Yeboah-Manu.(2012)determining the presence, type, count and causes of bacterial contamination of water used for drinking and other domestic purposes in Mpraeso. Fifty-four (54) water samples (48 from 8 groundwater wells and 6 from a stream) were collected and analyzed for six months (both during the dry and raining seasons). The results showed that groundwater sources were as polluted as surface water. The detection of bacterial cells in the water sources means that some forms of treatment needed to be done before consumption. The mean count of total coliform and faecal coliform ranged from 299 - 2267 MPN colonies/100 ml water sample and 111 – 1235 MPN colonies/100 ml water sample, respectively. For the groundwater sources, the enterobacteriaceae species detected were Escherichia coli (8 wells), Enterococcus faecalis (8 wells), Klebsiella pneumoniae (6 wells), Enterobacter cloacae (5), Pseudomonas aeruginosa (3), and Proteus mirabilis (3). All these bacterial species were detected in the surface water samples.

CHAPTER THREE

METHODOLOGY

3.1 Location of the Study Area

Eleko community is located in Moro L.G.A of Kwara State, Nigeria. It lies between latitude 08o 33' 16.4" N and longitude 04 o 38' 04.2"E and latitude 08o 33' 38.4"N and 04o 38' 20.6" E of the Greenwich meridian. It lies on altitude of approximately 372m which is about 1,220 feet. Figure 1 is the satellite imagery Eleko community.

Figure 1: Satellite imagery of  the study area

Source: www.goggle,com

3.2 Water Sampling Procedure

Selection of water sources was done by random sampling procedure. A total number of five groundwater samples were collected within Ara community: Two wells and three boreholes. The samples were collected separately in a sterilized bottle for rain season and dry season respectively. Before collecting the water samples, the bottle container was washed and rinsed thoroughly with water. The water samples collected were taken to the laboratory for analysis using standard methods. The Global Position System (GPS) was used to determine the coordinates of the sampled points.

3.3 Laboratory Analysis of the Water Samples

The Laboratory analysis of the water samples was carried out at Fisbol Geosciences and analytical service sabo oke ilorin, kwara state. The water samples were tested for selected physical, chemical and biological.

The laboratory analysis was carried out using standard analytical methods and physical procedures for water quantity analysis.

3.4 Analysis of Parameters

3.4.1 Physical Parameters

A number of tests were carried out to determine physically parameters and there quantities in each ground water samples

3.4.2.1 Temperature

The temperature of each sample was measured directly at the collection site from the boreholes and wells using a thermometer.

3.4.2.2 Color / Odor

The Equipment use in determine color is colorimeter and odor is odor panel

3.4.2.3 PH

The Equipment for the PH is  pH meter.

3.4.2.4 Filterable Solids

Determined by filtering the sample through a filter and then measuring the solids present in the filtrate.

3.4.3 Chemical Analysis

Tests varying in equipment and reagent used were carried out to analyze samples for chemical parameters

3.4.3.1 Total Hardness

The total hardness, which includes both temporary and permanent hardness, was determined using the EDTA titrimetric method.

3.4.3.2 Chloride

Chloride concentration was determined using the Mohr titration method. Silver nitrate was titrated against the water sample, with potassium chromate (K,CrO4) used as the indicator.

3.4.3.3 Sulphate

Sulphate levels in water samples were determined using the turbidimetric method. The results were measured with a SpectroMec 20 Atomic Absorption Spectrophotometer and subsequently converted to mg/L.

3.4.3.4 Nitrate

Sulphate levels in water samples were determined using the turbidimetric method. The results were measured with a SpectroMec 20 Atomic Absorption Spectrophotometer and subsequently converted to mg/L.

3.4.3.5 Trace Elements

Zinc, Iron, copper, manganese, The results were directly obtained from the Atomic Absorption Spectrophotometer, Spectronic 20 model.

3.4.4 Biological Analysis

3.4.4.1  Total Viable Counts

Total Viable Plate Counts  (TVPC) is a microbiological technique used to estimate the number of viable microorganisms present in a sample. It provides an indication of the overall microbial population and can be used to assess the quality and safety of various products, including food and water.

3.4.4.2 Coliform Counts

Coliform counts are used to evaluate the microbial quality of water, food, and other products by detecting the presence and concentration of coliform bacteria. Coliforms are a group of bacteria commonly found in the environment, including soil and vegetation, as well as in the feces of warmblooded animals. Their presence indicates potential contamination with fecal material.

3.4.4.3 E. Coli

Escherichia coli (E. coli) is a type of bacterium commonly found in the intestines of warm-blooded animals, including humans. It is a versatile organism used in research, biotechnology, and medicine.

3.4.4.4 Streptococcus Feacalis

Streptococcus faecalis (now more commonly known as Enterococcus faecalis) is a type of bacterium that is part of the normal flora of the gastrointestinal tract in humans and animals. It is also known for its role in both health and disease.

3.5 Methods Of Data Analysis

The data that were collected from the laboratory analysis of the water samples were further analyzed using statistical tools and the results obtained were presented in tables and graph.

CHAPTER FOUR

RESULT AND DISCUSSION

4.1	Result

Table 4.1: show the Comparative Study on the Quality and Contamination Risks of Groundwater and Stored Drinking Water Sources

Table 4.1: show the Comparative Study on the Quality and Contamination Risks of Groundwater

| S/N | Parameter | A1 | A2 | B1 | B2 | C1 | C2 | D1 | D2 | E1 | E2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Temperature ˚C | 30.2 | 31.6 | 30.4 | 30.6 | 30.6 | 31.2 | 31.8 | 30.8 | 30.9 | 30.9 |
| 2. | Colour units | 42.0 | 39.8 | 17.0 | 15.5 | 12.0 | 63.4 | 49 | 48.6 | 61 | 61 |
| 3. | Turbidity N.T.U | 25 | 62 | 9 | 48 | 8.5 | 92 | 21 | 67 | 20 | 20 |
| 4. | Ph | 7.7 | 7.7 | 8.1 | 7.4 | 7.6 | 7.3 | 7.1 | 6.9 | 7.2 | 7.2 |
| 5. | TDS | 680 | 65 | 980 | 104.1 | 790 | 159 | 879 | 78 | 710.5 | 110.5 |
| 6. | Electrical Cond. | 1176 | 118.6 | 1850 | 246.2 | 1568 | 346 | 1758 | 150.8 | 1419 | 1419 |
| 7. | Filterable solids mg/l | 150 | 28 | 240 | 48 | 391 | 68 | 248 | 31 | 358 | 358 |
| 8. | Total alkalinity mg/l | 48 | 28.2 | 61 | 40.6 | 71 | 54.1 | 82 | 71.6 | 68 | 68 |
| 9. | Chloride mg/l | 22 | 3.2 | 38 | 8.4 | 64 | 29.7 | 45 | 42.3 | 30.7 | 30.7 |
| 10. | Fluoride mg/l | 0.10 | 0.31 | 0.04 | 0.14 | 0.01 | ND | 0.21 | ND | 0.18 | 0.18 |
| 11. | Manganese Mn2+ mg/l | ND | ND | 0.1 | 0.7 | 0.1 | 0.60 | 0 | ND | 0.3 | 0.3 |
| 12. | Iron Fe3+ mg/l | 0.05 | 0.01 | 0.05 | 0.62 | 0.02 | ND | 0 | 0.75 | 0.36 | 0.36 |
| 13. | Sulphate mg/l | 24 | 16.7 | 17 | 28.3 | 34 | 64 | 29 | 34 | 42 | 42 |
| 14. | Nitrate mg/l | ND | ND | ND | 18.4 | 24.1 | 9.57 | 23.43 | 3.3 | 18.6 | 18.6 |
| 15. | Calcium hardness mg/l | 19 | 28 | 31 | 59.7 | 29 | 67.8 | 38 | 71.6 | 40.1 | 40.1 |
| 16. | Magnesium hardness | 4.2 | 8.8 | 10.2 | 25.6 | 13.3 | 48.6 | 15 | 62.1 | 20 | 20 |
| 17. | Free Chlorine | 0.01 | 0.04 | 0.01 | ND | ND | ND | 0.01 | 0.02 | 0.05 | 0.05 |
| 18. | Calcium Ca2+ mg/l | 12 | 6.5 | 25 | 14.6 | 32 | 19.9 | 39 | 20.3 | 53 | 53 |
| 19. | Nitrite | 0.08 | 0.06 | 0.14 | 0.08 | 0.22 | 0.01 | 0.41 | 0.08 | 0.51 | 0.51 |
| 20. | Total hardness mg/l | 28 | 10.4 | 42 | 18.7 | 54 | 35.6 | 78 | 49.7 | 98.9 | 98.9 |
| 21. | Potassium Hardness | 10 | 4.21 | 8 | 6.84 | 25 | 10 | 31 | 15 | 38 | 38 |
| 22 | Copper | ND | 0.01 | ND | 0.08 | 0.05 | 0.21 | 0.08 | 0.32 | 0.04 | 0.04 |
| 23 | Zinc | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND |
| 24. | Silica | 0.05 | 0.17 | 0.09 | 0.08 | 0.31 | 0.12 | 0.25 | 0.08 | 0.38 | 0.38 |
| 25 | Total viable plate count cfu/ ml | 52 | 28 | 68 | 76 | 3508 | 2918 | 2482 | 3714 | 4817 | 4802 |
| 26 | Coliform counts / 100ml | 9 | 4 | 15 | 8 | 1450 | 408 | 598 | 516 | 984 | 874 |
| 27 | E.coli/ 100ml | ND | ND | ND | ND | 54 | 34 | 87 | 120 | 92 | 343 |
| 28 | Streptococcus feacalis | ND | ND | ND | ND | 71 | ND | 69 | ND | 84 | ND |

and Stored Drinking Water Sources in Eleko Community

WHO- World Health Organization 				ND- Not detected

KEY

A1 = STORDED BOREHOLE WATER

A2= RAW BOREHOLE WATER

B1 = STORDED BOREHOLE WATER

B2= RAW BOREHOLE WATER

C1 = STORDED WELL WATER

C2 = RAW WELL WATER

D1 = STORDED WELL WATER

D2 =RAW WELL WATER

E1 = STORDED WELL WATER

E2 = RAW WELL WATER

4.2	Discussion

4.2.1 Comparative analysis of raw and stored water color

Table 4.1 and figure 4.1 , Pairs A, D, E show high color contamination both at source and in storage C2 (63.4 CU) which is the highest indicating serious quality issues and health concerns, Pair B slightly exceeds WHO thresholds, indicating borderline quality needing improvement and Pair C (12.0 CU), now within acceptable limit, shows a significant improvement in stored water color, which may indicate treatment or settling during storage, lowering risk. Raw water to should be Treated to reduce color, possibly via filtration, coagulation, or sedimentation before storage or consumption.

4.2.2Comparative analysis of raw and stored water turbidity

Both the stored and raw undergroundwater exceeds the W.H.O guidelines (5NTU), unsafe for drinking, which suggests the presence of suspended solids, sediments, organic matter, and possibly microbial contaminants as shown in table 4.1 and figure 4.2. The tested water samples demonstrate unacceptable turbidity levels according to WHO standards. Even though turbidity is lower in the stored water compared to raw water, both require treatment to reduce turbidity below 5 NTU and ideally below 1 NTU to comply with WHO guidelines and ensure safety for drinking and domestic use. Treatment steps such as sedimentation, filtration, and disinfection are essential before consumption to meet WHO turbidity standards and ensure microbiological safety. (W.H.O, 2017)

4.2.3 Comparative analysis of raw and stored water tds

Raw groundwater sources show acceptable TDS levels according to WHO, indicating suitability as drinking water sources. Stored water shows elevated TDS across all sites, exceeding WHO guidelines, suggesting contamination during or after storage. Storage practices must be reviewed and improved to prevent leaching or contamination (use of clean, inert containers; protection from environmental contaminants).As shown in table 4.1 and figure 4.3 below.

4.2.4 Comparative analysis of raw and stored water electrical conductivity

Raw water is generally compliant with WHO Electrical Conductivity standards, except for site E (Stored (E1) 205 NTU and Raw (E2)  5.0 NTU). Figure 4.4, Stored water consistently shows increased electrical conductivity beyond guidelines, potentially from contamination or poor storage practices, risking consumer health and acceptability. (WHO 2017)

4.2.5  Comparative analysis of raw and stored water iron

Figure 4.5 shows the pairs B, D, and E, (0.62, 0.75 and 0.36) raw water iron exceeds WHO limits (0.30). In E, both raw and stored water (0.36,0.36) are above the limit. Storage sometimes reduces iron (e.g., D2 to D1), but not always enough to meet standards.

Stored water often shows increased bacterial contamination compared to raw water, even if chemical parameters improve or remain stable. This is due to poor storage practices, container material, and biofilm formation, which can introduce or amplify pathogens like E. coli and other bacteria, raising health risks above WHO guidelines (Shields et al., 2015; Bae et al., 2019; Binibor et al., 2025). Storage in certain materials (especially plastic and aluminum) can worsen water quality by increasing chemical leaching and supporting bacterial growth (Binibor et al., 2025).

4.2.6  Comparative analysis of raw and stored water manganese

In B, C, and E (0.7, 0.60 and 0.3), raw water manganese exceeds the WHO limit (0.10). In E (0.3,0.3), both stored and raw water are above the limit.

Storage sometimes reduces manganese (e.g., B2 to B1, C2 to C1), but not always to safe levels.

Aluminum containers can significantly increase manganese contamination in stored water, sometimes far exceeding safe limits (Binibor et al., 2025).

Storing water in certain materials, especially aluminum, can lead to a dramatic increase in manganese and iron, making water unfit for consumption (Binibor et al., 2025).

Even when chemical parameters improve or remain stable, stored water is at higher risk for microbial contamination due to poor storage practices, container material, and biofilm formation (Bae et al., 2019; Binibor et al., 2025).

4.2.7  Comparative analysis of raw and stored water nitrate

All raw and stored water samples are below the WHO nitrate limit (50). Stored water C and D (24.1 and 23.43), has higher nitrate than raw water, suggesting possible contamination during storage or concentration due to evaporation. While nitrate levels are within safe limits, stored water is at higher risk for microbial contamination due to poor storage practices, container material, and biofilm formation, even if chemical parameters like nitrate remain safe (Shields et al., 2015; Bae et al., 2019; Binibor et al., 2025).

4.2.8 Comparative analysis of raw and stored water nitrite

A and B: Both raw and stored water are within WHO limits, but stored water shows slightly higher nitrite, suggesting possible contamination during storage.

C: Stored water C1 (0.22) slightly exceeds the WHO limit, while raw water C2 (0.01) is well below, indicating contamination risk during storage.

D: Stored water D1 (0.41) is more than double the WHO limit, while raw water D2 (0.08) is within limits, again pointing to storage-related contamination.

E: Both raw and stored water E1 and E2 (0.51) exceed the WHO limit, indicating source contamination. As shown in figure 4. Water quality often deteriorates during storage, with increased risk of chemical and microbial contamination, especially if containers are not regularly cleaned or if water is stored for several days (Shields et al., 2015; Bae et al., 2019; Feleke et al., 2018; Khanal et al., 2024).

Both raw and stored water exceed limits in E the underground source is already contaminated, requiring treatment before use (Khan et al., 2017; Khanal et al., 2024). Chronic exposure to nitrite above WHO limits can cause health issues, particularly in infants (methemoglobinemia) and may have synergistic effects with other contaminants (Wasana et al., 2017).

Regular cleaning of storage containers, minimizing storage time, and treating contaminated sources are essential to reduce risk (Shields et al., 2015; Bae et al., 2019; Feleke et al., 2018; Khanal et al., 2024).

4.2.9  Comparative analysis of raw and stored water total hardness

Table 4.1 and figure 4. Shows all measured values for both raw (A2–E2) and stored (A1–E1) water are below the WHO permissible limit of 100 mg/L. Stored water generally shows lower hardness than its raw counterpart in each pair, indicating some reduction during storage or treatment. The reduction in hardness from raw to stored water is consistent across all locations, with the largest drop seen in E1/E2 (98.9 mg/L to 98.9 mg/L, no change), and the smallest in A1/A2 (28 mg/L to 10.4 mg/L). Storage can sometimes introduce or concentrate contaminants, especially if containers are not regularly cleaned or are exposed to environmental sources (Bae et al., 2019; Binibor et al., 2025).

Research consistently shows that water quality often deteriorates during storage, with increased risk of microbial contamination, even if chemical parameters like hardness remain within safe limits. Stored water is more likely to exceed WHO guidelines for microbial safety, especially if storage containers are not regularly cleaned or if water is stored for more than three days (Shields et al., 2015; Bae et al., 2019; Feleke et al., 2018; Khanal et al., 2024).

The type of storage container can influence contamination risk. Plastic and clay containers can promote bacterial growth, while aluminum may introduce chemical contaminants (Binibor et al., 2025). Total hardness in water samples is within WHO limits, synergistic effects with other contaminants (e.g., heavy metals, fluoride) can still pose health risks, even at permissible levels (Wasana et al., 2017). Microbial contamination remains the primary concern for stored water, often leading to waterborne diseases (Shields et al., 2015; Khan et al., 2017; Feleke et al., 2018; Khanal et al., 2024). Regular cleaning of storage containers, minimizing storage time, and using improved water sources (e.g., piped water) reduce contamination risk (Shields et al., 2015; Bae et al., 2019; Feleke et al., 2018; Binibor et al., 2025; Khanal et al., 2024).

4.2.10 Comparative analysis of raw and stored water coliforms

Table 4.1 and figure 4. Shows all samples, both raw and stored, exceed the WHO standard of zero coliforms. Stored water consistently has higher coliform counts than its raw counterpart, indicating increased contamination during storage. The increase is especially dramatic in C, D, and E, where counts are in the hundreds to thousands, posing a severe health risk. Research shows that water quality often worsens after storage, with a higher percentage of stored water samples failing to meet microbial safety standards compared to source water (Shields et al., 2015; Bae et al., 2019; Feleke et al., 2018; Khanal et al., 2024). Poor hygiene, unclean containers, and longer storage times contribute to microbial growth and biofilm formation, further increasing health risks (Bae et al., 2019; Feleke et al., 2018; Khanal et al., 2024). High coliform counts are linked to outbreaks of waterborne diseases such as diarrhea, cholera, and typhoid, especially in children (Khan et al., 2017; Feleke et al., 2018; Khanal et al., 2024).

4.2.11 Comparative analysis of raw and stored water E. coli

E. coli is a direct indicator of fecal contamination and poses a significant health risk if present in drinking water. According to WHO standards, no E. coli should be detectable in 100 ml of water. Both stored (A1, B1) and raw (A2, B2) water for locations A and B show "ND" (not detected), indicating compliance with WHO standards and low immediate risk. However, for locations C, D, and E, both raw and stored water samples contain E. coli far above the permissible level, with stored water (C1: 54, D1: 87, E1: 92 per 100 ml) and raw water (C2: 34, D2: 120, E2: 343 per 100 ml) all indicating severe contamination. Table 4.1 shows that  stored water has higher E. coli counts than its raw counterpart, except for D and E where raw water is even more contaminated. This pattern is consistent with research showing that water quality often deteriorates during storage due to poor hygiene, unclean containers, and environmental exposure, increasing the risk of waterborne diseases (Shields et al., 2015; Khan et al., 2017; Morgan et al., 2021). The presence of E. coli at these levels is associated with outbreaks of diarrhea, cholera, and other serious illnesses, especially in children (Khan et al., 2017; Morgan et al., 2021). Even when source water is relatively clean, improper storage can introduce or amplify contamination, highlighting the need for both source protection and safe storage practices (Shields et al., 2015; Morgan et al., 2021).

Figure 4.1 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Colour Units)

Figure 4.2 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Turbidity N.T.U)

Figure 4.3 Contamination risk of groundwater and stored drinking water

Sources in Eleko (TDS)

Figure 4.4 Contamination risk of ground water and stored drinking water

Sources in Eleko (Electrical Conductivity)

Figure 4.5 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Iron mg/l)

Figure 4.6 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Manganese mg/l)

Figure 4.7 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Nitrate mg/l)

Figure 4.8 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Nitrite )

Figure 4.9 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Total Hardness )

Figure 4.10 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Coliform counts/ 100ml)

Figure 4.11 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Total via plate count du/ml)

Figure 4.12 Contamination risk of groundwater and stored drinking water

Sources in Eleko (E.coli /100ml)

CHAPTER FIVE

CONCLUSION AND RECOMMENDATIONS

5.1 	Conclusion

In conclusion, the water quality assessment reveals that while some chemical parameters (such as total hardness and nitrite in certain locations) are within WHO permissible limits, there is widespread and severe microbial contamination, particularly with coliforms and E. coli, in both raw and stored water samples. Stored water often shows higher contamination than raw water, indicating that poor storage practices significantly increase health risks. This level of contamination poses a serious threat of waterborne diseases and highlights the urgent need for intervention.

5.1Recommendations

To maintain and improve the groundwater (wells and boreholes) with household-stored water, the following recommendations were made to implementing these measures will help reduce contamination risks, improve water safety, and protect public health in affected communities.

1. Prioritize the consistent supply of treated, safe water to communities, minimizing reliance on untreated underground sources.

2. Educate residents on proper water collection, transportation, and storage hygiene, including regular cleaning of storage containers.

3. Implement point-of-use water treatment methods (e.g., boiling, chlorination, filtration) at the household level, especially where microbial contamination is detected.

4. Regularly monitor both source and stored water for microbial and chemical contaminants to ensure ongoing safety.

5. Address infrastructure gaps to reduce water supply interruptions, which often force communities to store water for longer periods, increasing contamination risk.

6. Encourage the use of improved water sources and discourage the use of highly contaminated sources unless adequately treated.

7. Foster community engagement and cross-sector collaboration to sustain water quality improvements and public health outcomes.

References

Aderibigbe, S. A., Awoyemi, A. O., and Osagbemi, G. K. (2008). Availability, 	accessibility and perception of health services among people of Oyun Local 	Government Area, Kwara State, Nigeria. Journal of Geography and Regional 	Planning, 1(2), 24–30.

Ampofo, J. A., and Karikari, A. Y. (2006). Microbiological and physicochemical 	quality of water supply in Accra, Ghana. International Journal of 	Environmental Science and Technology, 3(1), 35–39.

Amrose, S. E., Cherukumilli, K., and Wright, N. C. (2020). Chemical contamination of 	drinking water in resourceconstrained settings: Global prevalence and piloted 	mitigation strategies. Annual Review of Environment and Resources, 45(1), 	195-226.

Anake, W. U., Benson, N. U., and Etesin, U. M. (2013). Comparative assessment of 	trace metals in commercial bottled water and groundwater sources in Nigeria. 	Research Journal of Chemical Sciences, 3(5), 7–12.

Andersson, I. E., Hedström, A., Saeed, A., and Ejdelöv, A. (2018). Water quality and 	risk perception: A study of households’ drinking water sources in Tigray, 	Ethiopia. International Journal of Environmental Research and Public Health, 	15(9), 1910.

Ayeni, A. O., Oloruntoba, E. O., and Sridhar, M. K. C. (2011). Quality of water 	delivered to households in urban Nigeria: A case study of a water treatment 	plant in Ibadan, Nigeria. African Journal of Environmental Science and 	Technology, 5(12), 1027–1032.

Bae, S., Lyons, C., and Onstad, N. (2019). A culture-dependent and metagenomic 	approach of household drinking water from the source to point of use in a 	developingcountry.WaterResearchX,2.https://doi.org/10.1016/j.wroa.2019.100	026

Bello, O. O., Osho, A., Bankole, S. A., and Bello, T. K. (2017). Microbiological and 	physicochemical analysis of groundwater in selected industrial zones in Ogun 	State, Nigeria. International Journal of Public Health and Safety, 2(3), 127.

Binibor, P., Nwachukwu, N., Ndulue, G., Ndukwe, D., Ngwu, A., and Usman, O. 	(2025). Investigating the effect of storage materials on the quality of potable 	water. European Journal of Sustainable Development Research. 		https://doi.org/10.29333/ejosdr/16355

Bitton, G. (2011). Wastewater Microbiology (4th ed.). John Wiley and Sons.

Centers for Disease Control and Prevention (CDC). (2022). Water-related 		Diseases 	and Contaminants in Public Water Systems.

Clasen, T. F., Roberts, I., Rabie, T., Schmidt, W., and Cairncross, S. (2007). 	Interventions to improve water quality for preventing diarrhoea: Systematic 	review and meta-analysis. BMJ, 334(7597), 782.

Egereonu, U. U. (2006). Assessment of the drinking water quality at Owerri, Nigeria. 	Journal of Chemical Society of Nigeria, 31(1), 142–147.

EPA (2022). Contaminant Candidate List (CCL) and Regulatory Determination. U.S. 	Environmental Protection Agency. https://www.epa.gov/ccl

EPA (2023a). Nutrient Pollution: Agriculture and Water. U.S. Environmental 	Protection Agency. https://www.epa.gov/nutrientpollution

EPA (2023b). Underground Storage Tanks (USTs). U.S. Environmental Protection 	Agency. https://www.epa.gov/ust

European Drinking Water Directive". Directorate-General for Environment. Brussels: 	European Commission. 4 June 2025.

FAO (2020). Water pollution from agriculture: A global review. Food and Agriculture 	Organization of the United Nations. https://www.fao.org

Federal Government of Nigeria (FGN). (2007). National Water Resources Master 	Plan. Abuja: Federal Ministry of Water Resources.

Feleke, H., Medhin, G., Kloos, H., Gangathulasi, J., and Asrat, D. (2018). Household-	stored drinking water quality among households of under-five children with 	and without acute diarrhea in towns of Wegera District, in North Gondar, 	Northwest Ethiopia. Environmental Monitoring and Assessment, 190. 	https://doi.org/10.1007/s10661-018-7033-4

Feleke, H., Medhin, G., Kloos, H., Gangathulasi, J., and Asrat, D. (2018). Household-	stored drinking water quality among households of under-five children with 	and without acute diarrhea in towns of Wegera District, in North Gondar, 	Northwest Ethiopia. Environmental Monitoring and Assessment, 190. 	https://doi.org/10.1007/s10661-018-7033-4

Guidelines for Drinking-water Quality, Fourth Edition; World Health Organization; 	2022 [incomplete short citation]

Hanaor, Dorian A. H.; Sorrell, Charles C. (2014). "Sand Supported Mixed-Phase 	TiO2 Photocatalysts for Water Decontamination Applications". Advanced 	EngineeringMaterials(2):248254. arXiv:1404.2652. doi:10.1002/adem.201300	259. S2CID 118571942.

IPCC (2021). Climate Change 2021: Impacts, Adaptation and Vulnerability. 	Intergovernmental Panel on Climate Change.

Jump up to:a b "Environmental quality standards for surface water". Ministry of 	Ecology and Environment of the People's Republic of China. Archived 	from the original on 2018-08-03. Retrieved 2013-02-11.

Karanis, P. (2006). Waterborne transmission of protozoan parasites: A worldwide 	review of outbreaks and lessons learnt. Journal of Water and Health, 4(S2), 1–	38.

Karri, R. R., Ravindran, G., and Dehghani, M. H. (2021). Wastewater—sources, 	toxicity, and their consequences to human health. In Soft computing 	techniques in solid waste and wastewater management (pp. 3-33). Elsevier.

Khan, K., Lu, Y., Saeed, M., Sher, H., Khan, H., Ali, J., Wang, P., Uwizeyimana, H., 	Baninla, Y., Li, Q., Liu, Z., Nawab, J., Zhou, Y., Su, C., and Liang, R. (2017). 	Prevalent fecal contamination in drinking water resources and potential health 	risks in Swat, Pakistan.. Journal of environmental sciences, 72, 1-12. 	https://doi.org/10.1016/j.jes.2017.12.008

Khanal, A., Timilsina, R., Sharma, B., Pokharel, B., and Aryal, R. (2024). 	Contaminated water and an indication of risk: examining microbial 	contamination in the water used by consumers and commercial growers in 	fresh produce systems in Nepal.. Journal of food protection, 100228. 	https://doi.org/10.1016/j.jfp.2024.100228

Larmie, S. A., and Paintsil, K. A. (1996). Drinking water quality and health. Ghana 		Medical Journal, 30(1), 30–35.

LeChevallier, M. W., and Au, K.-K. (2004). Water Treatment and Pathogen Control: 	Process Efficiency in Achieving Safe Drinking Water. World Health 	Organization / IWA Publishing.

Madigan, M.T., Bender, K.S., Buckley, D.H., Sattley, W.M., and Stahl, D.A. (2018). 	Brock Biology of Microorganisms (15th ed.). Pearson.

Mark, O., De Man, H., Van Der Hoek, J. P., and Van Alphen, D. (2019). Review of 	household drinking water quality in low-income settings in the context of 	water safety plans. International Journal of Hygiene and Environmental Health, 	222(8), 1060–1070.

McIntyre, J. K., Spromberg, J., Cameron, J., Incardona, J. P., Davis, J. W., and Scholz, 	N. L. (2023). Bioretention filtration prevents acute mortality and reduces 	chronic toxicity for early life stage coho salmon (Oncorhynchus kisutch) 	episodically exposed to urban stormwater runoff. Science of the Total 	Environment, 902, 165759.

Method 1106.1: Enterococci in Water by Membrane Filtration Using membrane-	Enterococcus-Esculin Iron Agar (mE-EIA) (Report). Approved CWA 	Microbiological Test Methods. EPA. 2002. EPA 821-R-02-021.

Method 1680: Fecal Coliforms in Biosolids by Multiple-Tube Fermentation 	Procedures (Report). Approved CWA Microbiological Test Methods. EPA. 	October 2002. EPA 821-R-02-026.

Morgan, C., Bowling, J., Bartram, J., and Kayser, G. (2021). Attributes of drinking 	water, sanitation, and hygiene associated with microbiological water quality of 	stored drinking water in rural schools in Mozambique and Uganda.. 	International journal of hygiene and environmental health, 236, 113804. 	https://doi.org/10.1016/j.ijheh.2021.113804

Morrissey Donohue, J., and Orme‐Zavaleta, J. (2003). Toxicological Basis for Drinking 	Water Risk Assessment. Drinking Water Regulation and Health, 131-146. Decharat, S., and Pan-In, P. (2020). Risk assessment of lead and cadmium in drinking 	water for school use in Nakhon Si Thammarat Province, Thailand. 	Environmental Analysis, Health and Toxicology, 35(1).

Mustafa Ali Muhammad, S. (2017). Evaluating of drinking water quality for water 	treatment plant in Tuz District. University of Kirkuk Journal-Scientific Studies, 	12(3), 116-132

Nnadozie, C. C., and Abu, G. O. (2015). Evaluation of waterborne diseases and 	microbial quality of drinking water in Makurdi, Nigeria. Journal of 	Environmental and Occupational Science, 4(1), 1–9.

Nwidu, L. L., Oveh, B., Okoriye, T., and Vaikosen, N. A. (2008). Assessment of the 	water quality and prevalence of water borne diseases in Amassoma, Niger 	Delta, Nigeria. African Journal of Biotechnology, 7(17), 2993–2997.

Odikamnoro, O. O., Ikeh, I. M., Nwuzo, A. C., and Okoh, F. (2014). Microbial and 	parasitic evaluation of water used by residents of the three communities in 	Ebonyi State, Nigeria. European Journal of Parasitology, 1(2), 7–12.

Performance Verification Testing; Rapid Toxicity Monitoring and Detection Systems; 	Overview and Analysis". Washington, DC: US Environmental Protection 	Agency (EPA}. 2004.

Rubino, A., Ulanicki, B., and Saul, A. (2019). The impact of household storage on 	drinking water quality in developing countries: A systematic review. Water 	Research, 153, 242–251.

Saha, N., Rahman, M. S., and Rahman, M. S. (2011). Assessment of heavy metal 	contamination in water of a river in Bangladesh. Environmental Monitoring 	and Assessment, 184, 123–135.

Shields, K., Bain, R., Cronk, R., Wright, J., and Bartram, J. (2015). Association of 	Supply Type with Fecal Contamination of Source Water and Household 	Stored Drinking Water in Developing Countries: A Bivariate Meta-analysis. 	Environmental Health Perspectives, 123, 1222 - 1231. 	https://doi.org/10.1289/ehp.1409002

Summary of the Safe Drinking Water Act". Washington, D.C.: U.S. Environmental 	Protection Agency (EPA). 2022-09-12.

Tracy, J. L., Mercadante, E., Witkower, Z., and Cheng, J. T. (2020). The evolution of 	pride and social hierarchy. In Advances in experimental social psychology 	(Vol. 62, pp. 51-114). Academic Press.

Van Leeuwen, T. (2009). Discourse as the recontextualization of social practice: A 	guide (p. 137). na.

Wang, X., and Quinn, P. J. (2010). Endotoxins: lipopolysaccharides of gram-negative 	bacteria. Endotoxins: structure, function and recognition, 3-25.

Wasana, H., Perera, G., Gunawardena, P., Fernando, P., and Bandara, J. (2017). WHO 	water quality standards Vs Synergic effect(s) of fluoride, heavy metals and 	hardness in drinking water on kidney tissues. Scientific Reports, 7. 	https://doi.org/10.1038/srep42516

What is the purpose of drinking water quality guidelines/regulations?. Canada: Safe 	Drinking Water Foundation. Pdf. Archived 2011-10-06 at the Wayback 	Machine

WHO (2017). Guidelines for Drinking-water Quality, 4th edition. World Health 	Organization. https://www.who.int/water_sanitation_health

WHO (2019). Water, Sanitation and Hygiene: Key facts. World Health Organization. 	https://www.who.int/news-room/fact-sheets/detail/drinking-water

WHO. (2006). Guidelines for Drinking-water Quality (3rd ed., Vol. 1). Geneva: 	World Health Organization.

WHO. (2022). Drinking-water. Retrieved from https://www.who.int/news-room/fact-	sheets/detail/drinking-water

WHO/UNICEF. (2000). Global Water Supply and Sanitation Assessment 2000 	Report. Geneva: World Health Organization and United Nations Children’s 	Fund.

WHO/UNICEF. (2004). Meeting the MDG Drinking Water and Sanitation Target: A 	Mid-Term Assessment of Progress. Geneva: World Health Organization and 	United Nations Children’s Fund.

William Bento, The University of Zambia +260972476538[self-published source]

World Health Organization (2017): water quality and health - review of turbidity: 	Information for regulators and water suppliers (WHO/FWC/WSH/17.01) 		Technical Brief.

World Health Organization (2017)WHO Guidelines for Drinking Water Quality, 	4th Edition, 2017, Electrical conductivity related to taste and dissolved salts, 	with recommended guideline values for health and palatability.

World Health Organization (WHO). (2017). Guidelines for Drinking-water Quality, 	4th edition incorporating the first addendum. Geneva: World Health 	Organization.

Younger, P. L. (2001). Mine water pollution and remediation: A review. 	Environmental International, 27(3), 325–333.Adetunde, L. A., and Glover, R. L. 	K. (2010). Bacteriological quality of borehole water used by students of the 	University for Development Studies, Navrongo Campus, Ghana. Current 	Research Journal of Biological Sciences, 2(6), 361–364.

Zamxaka, M., Pironcheva, G., and Momba, M. N. B. (2004). Bacterial community and 	faecal coliforms in the drinking water of a peri-urban community in the 	Eastern Cape Province of South Africa. Water SA, 30(3), 333–340.