COMPARATIVE STUDY ON THE QUALITY AND CONTAMINATION RISK OF GROUNDWATER AND STORED DRINKING WATER SOURCES (A CASE STUDY OF ELEKO)

BY

ABDULFATAI ASMAU DAMILOLA

HND/23/ABE/FT/0041

DEPARTMENT OF AGRICULTURAL AND BIO – ENVIRONMENTAL

ENGINEERING, INSTITUTE OF TECHNOLOGY, KWARA STATE

POLYTECHNIC, ILORIN

INPARITAL FULFILLMENT OF REQUIREMENT FOR THE AWARD OF

HIGHER NATIONAL DIPLOMA (HND) IN AGRICULTURAL AND BIO-

ENVIRONMENTAL ENGINEERING TECHNOLOGY.

SUPERVISE BY:

ENG.MRS. SHUAIB NA’ALLAH, B.O

AUGUST, 2025

DEDICATION

I dedicate this project To Almighty Allah, for His endless grace, wisdom, and strength that guided me through every step of this journey.

To my dear mum, whose love, prayers, and support have always been my greatest strength

To the cherished memory of my late father,may his soul continue to rest in peace

And to my loving husband, for his constant support, understanding, and encouragement. You belief in me, even during the most challenging times, has been a source of strength and motivations

ACKNOWLEDGMENT

I give glory to Almighty Allah for is endless blessing, guidance and strength through the course of HND (Higher National Diploma) without his grace, this work would not have been possible

My heartfelt appreciation goes to my dear mum, whose love, prayers and unwavering support have been my greatest strength may almighty Allah grant her good health and bless her and I also wish to lovingly remember my late Father, whose  memory continues to guide and strengthen me every, may his soul continue to rest in perfect peace

I’m also sincerely thankful to my project supervisor ENGR MRS SHUAIB NA’ALLAH, B.O for her valuable guidance and support, which were crucial to the successful completion of this work, I pray almighty god bless you abundantly(AMIN)

My appreciation also goes to all my lecturers of agricultural and Bio-Environmental Engineering Technology for the knowledge they have impacted in me throughout my Higher National Diploma Programme May God reward you abundantly

Lastly I thank my husband, family members and friends, everyone who contributed, directly and indirectly to the successful of this project

TABLE OF CONTENTS

Title page										i

Certification 										ii

Dedication 										iii

Acknowledgment 									iv

Table of Contents									v

List of Tables										x

List of Figures										xi

Abstract 										xii

CHAPTER ONE: INTRODUCTION

1.1	Preamble									1-2

1.2	Problem Statement of the Study 						2

1.3	Aims and Objectives 								3

1.4 	Scope of the Study 								3

1.5 	Justification of the Study 							3-4

CHAPTER TWO: LITERATURE REVIEW

2.1Background of the Study								5-6

2.2.Water Quality and Bacterial Contamination in Drinking Water			6-7

2.2.1Types of Bacteria in Drinking Water						7

2.2.1.1	Indicator Bacteria								7

2.2.1.2	Pathogenic Bacteria								7

2.2.1.3	Fecal Coliform Bacteria							7

2.2.2	Health Implications of Contamination in Drinking water 			7-8

2.2.3 Factors Influencing the Presence of Bacteria in Drinking Water		8

2.2.3.1 Source water quality: 								8

2.2.3.2	Factors Affecting Source Water Quality					8-9

2.2.3.1.3Common Contaminants							9

2.2.3.1.4Importance of Source Water Protection					9

2.2.3.1.5Strategies for Source Water Protection					9

2.2.3.2 Treatment and disinfection 							9-10

2.2.3.2.1Treatment Methods								10

2.2.3.2.2Disinfection Methods							10

2.2.3.2.3Importance of Treatment and Disinfection					10

2.2.3.3 Distribution system  								10-11

2.2.3.3.1Components of a Distribution System					11

2.2.3.3.2 Importance of Distribution System						11

2.2.3.3.3 Maintenance and Management						11

2.2.3.4 Climate and weather								12

2.2.3.4.1 Understanding Weather							12

2.2.3.4.2 Citing Climate and Weather Sources					12

2.3 	Contamination Risk and Quality in Ground Water and Stored Water	12

2.3.1	 Gastrointestinal Illnesses							13

2.3.2 	Waterborne Diseases								13

2.3.3 	Vulnerable Populations							13

2.3.4	 Long-term Health Effects							14

2.4 	Methods for Detecting Bacterial Contamination				14

2.4.1	Multiple Tube Fermentation (MTF) technique				14-15

2.4.2 	Filtration (Multiple Fermentation) technique					15-16

2.4.3 	Polymerase Chain Reaction (PCR) technique				16-17

CHAPTER THREE: METHODOLOGY

3.1.	Location of the Study Area                                                                  	18

3.2	Water Sampling Procedure                                                                  	18-19

3.3	Laboratory Analysis of the Water Samples                                          	19

3.4	Analysis of parameters                                                                         	19

3.4.1 	Physical parameters                                                                                 	19

3.4.2.1 Temperature                                                                                        	19

3.4.2.2 Color / Odor                                                                               		19

3.4.2.3	 pH                                                                                        			19

3.4.2.4 Filterable solids                                                                                               19

3.4.3 Chemical Analysis                                                                                    	20

3.4.3.1 Total hardness                                                                                   		20

3.4.3.2 Chloride                                                                                              		20

3.4.3.3 Sulphate                                                                                 			20

3.4.3.4 Nitrate                                                                            			20

3.4.3.5 Trace Elements                                                           				20

3.4.4 	Biological Analysis                                                    				21

3.4.4.1 Total Viable Counts                              					21

3.4.4.2 Coliform Counts								21

3.4.4.3 E. Coli										21

      - Streptococcus Feacalis							21

3.5Method of Data Analysis								21

CHAPTER FOUR: RESULT AND DISCUSSION

4.1	Result                                                                                                             22

4.2	Discussion                                                                                                      24

4.2.1 	Comparative analysis of raw and stored water color				24

4.2.2  	Comparative analysis of raw and stored water turbidity                                24

4.2.3	Comparative analysis of raw and stored water TDS				24

4.2.4	Comparative analysis of raw and stored water electrical conductivity	25

4.2.5  	Comparative analysis of raw and stored water iron				25

4.2.6  	Comparative analysis of raw and stored water manganese			25

4.2.7  	Comparative analysis of raw and stored water nitrate                                   26

4.2.8 	Comparative analysis of raw and stored water nitrite               		26

4.2.9  	Comparative analysis of raw and stored water total hardness		27

4.2.10 Comparative analysis of raw and stored water coliforms			28

4.2.11 Comparative analysis of raw and stored water e. coli				28

CHAPTER FIVE: CONCLUSION AND RECOMMENDATION

5.1    Conclusions									34

5.2   Recommendations				34

REFERENCES

LIST OF THE TABLE

Table											Page

4.1 Comparative Study on the Quality and Contamination Risks of Groundwater	22

LIST OF THE FIGURE

Figure											Page

4.1 Contamination risk of groundwater and stored drinking water			29

Sources in Eleko (Colour Units)

4.2 Contamination risk of groundwater and stored drinking water			29

Sources in Eleko (Turbidity N.T.U)

4.3 Contamination risk of groundwater and stored drinking water			30

Sources in Eleko (TDS)

4.4 Contamination risk of ground water and stored drinking water			30

Sources in Eleko (Electrical Conductivity)

4.5 Contamination risk of groundwater and stored drinking water			31

Sources in Eleko (Iron mg/l)

4.6 Contamination risk of groundwater and stored drinking water			31

Sources in Eleko (Manganese mg/l)

4.7 Contamination risk of groundwater and stored drinking water			31

Sources in Eleko (Nitrate mg/l)

4.8 Contamination risk of groundwater and stored drinking water			31

Sources in Eleko (Nitrite )

4.9 Contamination risk of groundwater and stored drinking water			 32

Sources in Eleko (Total Hardness )

4.10 Contamination risk of groundwater and stored drinking water			32

Sources in Eleko (Coliform counts/ 100ml)

4.11 Contamination risk of groundwater and stored drinking water			33

Sources in Eleko (Total via plate count du/ml)

4.12 Contamination risk of groundwater and stored drinking wate)			33

ABSTRACT

Access to safe and clean drinking water remains a critical public health concern in many urban areas of developing countries. While groundwater from wells and boreholes is widely used as a primary water source, its safety is often compromised by increasing urbanization, poor waste disposal, and inadequate sanitation infrastructure. Compounding the issue, water that is stored in households for later consumption is frequently subjected to secondary contamination due to unhygienic handling and storage practices.

This study investigates and compares the quality and contamination risks of groundwater (from wells and boreholes) and household-stored drinking water in an urban setting. Using a one-time sampling approach, both physicochemical and microbial parameters were analyzed for five source points and their corresponding stored water samples.

Groundwater quality values from wells and boreholes in urban areas often show elevated concentrations of, total dissolved solids (TDS) and total hardness (TH) in groundwater samples  surpass recommended limits in 100% of cases, with TDS values  above 500 mg/L and TH above 300 mg/L, reflecting both geogenic and anthropogenic contamination (Ravindra et al., 2022). In contrast, stored water in households typically exhibits even higher values for TDS, electrical conductivity, and microbial indicators such as coliforms and E. coli, due to secondary contamination during storage, stored water TDS may rise from 400–600 mg/L at the source to 700–900 mg/L after storage, and coliform counts  increase from 10–50 CFU/100 mL in raw water to over 100 CFU/100 mL in stored samples, far exceeding the WHO standard of zero . with stored water consistently showing worse scores due to increased contamination risk These findings highlight the urgent need for interventions to improve both source water quality and household storage practices to ensure safe drinking water

CHAPTER ONE

INTRODUCTION

1.1	Preamble

Access to safe drinking water is one of the basic human Rights and enormously crucial to health. For a nation to However, drinking water is also the most important source of gastroenteric diseases worldwide, mainly due to the fecal contamination of raw water, failure in the water treatment process or recontamination of drinking water at source and point of use (WHO, 2003; Pironcheva, 2004; Wright et al., 2004; Clasen et al., 2006, 2007; Miner et al., 2016).About two thirds of drinking water consumed worldwide is derived from various surface water sources like: lakes, rivers and open wells. Hence, it can easily be contaminated microbiologically by sewage discharges orfecal loading by domestic or wild animals (WHO, 2003). As a result, water related diseases continue to be one of the major health problems globally (JMP, 2008)

It is estimated that globally 80% of all illnesses are linked to use of unsafe and microbiologically poor water quality (WHO, 2002; Mpenyana-Monyatsi et al., 2012).

Hence, lack of safe drinking water supply, basic sanitation and hygienic practices is associated with high morbidity and mortality from orally transmitted diseases. About 1.1 billion people have no access to safe drinking water and diarrheal disease is highly endemic in these societies. This underlines the need for safe drinking water. However, the effectiveness of interventions aimed at improving the quality of drinking water alone may not solve the problem because people can become infected with organisms that cause diarrhea through multiple pathways. Even in developed countries with improved water supplies, diarrhea is often endemic (Wright, 2004; Colford et al., 2006; Roy et al., 2006; Clasen et al., 2007;Johnson et al., 2016). For example, it has been reported that environmental interventions have shown 15 to 17% median reduction in diarrhea from water quality Interventions (Clasen et al., 2007). This indicates that not only water improvements at the source or collection point (protected wells, boreholes, and tap stands) but also improvement athousehold level and other sources are equally important to minimize the risk of waterborn diarrhea (Zvidzai et al., 2007).

In Ethiopia, with a population of 75 million, more than half of the population has no access to safe water. It is estimated that about 35 million people do not have access to sanitation services and half of the population of the country are suffering from water related diseases (UNICEF, 2008).

Ethiopia is one of the developing countries with a population of 75 million where only 52 and 28% of its population has access to safe water and sanitation coverage, respectively (MoWR, 2007).

1.2	Problem Statement of the Study

Access to safe and clean drinking water remains a critical public health concern in many urban areas of developing countries. While groundwater from wells and boreholes is widely used as a primary water source, its safety is often compromised by increasing urbanization, poor waste disposal, and inadequate sanitation infrastructure. Compounding the issue, water that is stored in households for later consumption is frequently subjected to secondary contamination due to unhygienic handling and storage practices.

Despite the recognized importance of water quality, limited studies have simultaneously assessed both source and stored drinking water in urban households. This gap in knowledge makes it difficult to fully understand the extent of water quality deterioration that occurs between collection and consumption. Additionally, there is a lack of localized data on the physical, chemical, and microbial quality of water in such settings, especially using a practical one-time sampling approach. Without this information, communities remain vulnerable to waterborne diseases, and interventions cannot be effectively targeted.

1.3	Aims and Objectives

The aim of the project is to evaluate and compare the physical, chemical and microbial quality of ground water and stored drinking water in Eleko While;

Specific Objective

The specific objective of the project are to

i.	Collect and analyze groundwater and stored drinking water samples using standard method

ii.	Determine the physical, chemical, and microbial parameters of the water samples

iii.	Compare contamination levels between the groundwater sources and the stored water

1.4 	Scope of the Study

This study focuses on assessing and comparing the quality of groundwater sources (wells and boreholes) and household-stored drinking water in an urban setting. The assessment is based on one-time sampling of five source points  three wells and two boreholes   and their corresponding stored water samples collected from households after one week of storage.

The study covers both physicochemical parameters (such as pH, turbidity, total dissolved solids, electrical conductivity, and selected chemical constituents) and microbial contamination indicators (such as Escherichia coli and total coliforms). Laboratory analysis is conducted to evaluate these parameters against established water quality standards.

Additionally, the study investigates possible changes in water quality during household storage and identifies storage-related factors that may contribute to contamination.

1.5 	Justification of the Study

This study is necessary to provide a comprehensive understanding of the quality of drinking water from source to point-of-use in urban households. By comparing groundwater (from wells and boreholes) with household-stored water, the research aims to identify the extent and nature of contamination introduced during storage. The findings will help uncover critical gaps in household water safety practices and inform public health strategies aimed at reducing the risk of waterborne diseases.

Moreover, the one-time sampling approach is both cost-effective and reflective of real-life conditions where routine monitoring is often unfeasible. The use of standardized laboratory analysis for microbial and physicochemical parameters will ensure that the results are reliable and comparable with national and international water quality standards.

This study will provide evidence-based insights that can support policymakers, water authorities, and health agencies in designing targeted interventions for improving water quality and safeguarding urban public health

CHAPTER TWO

LITERATURE REVIEW

2.1	Background of the Study

Access to safe and clean drinking water is essential for human health. However, bacterial contamination of drinking water sources remains a significant public health concern worldwide. This chapter reviews existing literature on the assessment of bacterial contamination in drinking water, including the types of bacteria commonly found in drinking water, the health risks associated with bacterial contamination, and the methods used to detect and quantify bacterial contaminants. The early impetus behind the bacteriological examination of drinking water was to determine whether water as consumed was contaminated. Much water consumed received no treatment and such treatment as was applied was mainly intended to improve aesthetic quality. At that time what was required was what is now referred to as an Index organism, although the term Indicator was generally applied. It has since been recognised that microbial parameter scan provide useful information throughout the drinking water production process, including catchment survey, source water characterisation, treatment efficiency and examination of the distribution system. Adopting the index and indicator terminology as advocated by Waite (1991)

Although many waterborne pathogens can now be detected (and, indeed, a number are outlined in this chapter) the methods for their detection are often difficult to implement, relatively expensive, and time-consuming. Further more,the original logic behind the indicator (now index) concept still holds true, in that a range of pathogens may be shed into water from the faecal matter of infected people and animals, and there are enteric pathogens as yet unrecognized. As such, it is neither practicable nor recommended to examine water for every known pathogen that might be present. Examination of finished waters for pathogens will only permit confirmation that consumers have been exposed to the pathogens whereas examination for non-pathogenic organisms as an index of faecal pollution or an indicator of adequacy of treatment permits recognition of the potential for pathogens to be present without the need for their actual presence

2.2.	Water Quality and Bacterial Contamination in Drinking Water

Water quality and bacterial contamination in drinking water are significant public health concerns. Ensuring safe drinking water is crucial to prevent waterborne diseases, which can be achieved through proper water treatment, including coagulation, sedimentation, filtration, and disinfection. Indicator microorganisms like coliforms, E. coli, and enter ococci are used to assess microbiological quality and detect potential contamination also it is critically influenced by the presence of pathogenic and indicator bacteria. The presence of bacteria in drinking water is a major concern for public health, as it may indicate fecal contamination and the potential presence of disease-causing microorganisms.(EPA, 2012).

Key Points:

- Waterborne Diseases: Can be caused by pathogenic microbes, including bacteria, viruses, and protozoa, which can lead to illnesses like diarrhea, cholera, and typhoid fever.

- Indicator Microorganisms: Used to detect fecal contamination and assess water quality, including:

- Coliforms: Gram-negative bacteria that ferment lactose, indicating potential contamination.

- E. coli: Specific type of coliform bacteria that indicates fecal contamination from warm-blooded animals.

- Enterococci: Gram-positive bacteria that indicate fecal contamination and are more resistant to environmental stress.

- Water Treatment: Essential to remove pathogens and contaminants, including coagulation, sedimentation, filtration, and disinfection ² ¹.

2.2.1	Types of Bacteria in Drinking Water

Drinking water can be contaminated with a variety of bacteria, including total coliform bacteria, Escherichia coli (E . coli), and other pathogenic bacteria such as Salmonella, Shigella, and Campylobacter (WHO, 2011). Total coliform bacteria are commonly used as indicators of bacterial contamination in drinking water, as they are typically present in larger numbers than other bacteria and are easier to detect (EPA, 2012).

2.2.1.1	Indicator Bacteria:

The most commonly monitored bacterial indicators are Escherichia coli (E. coli) and total coliforms. E. coli is a specific indicator of fecal contamination and its presence suggests that pathogens such as Salmonella, Shigella, and Vibrio cholerae may also be present (WHO, 2017). Total coliforms, although not always harmful, indicate the general sanitary condition of the water supply.

2.2.1.2	Pathogenic Bacteria:

Pathogenic bacteria like Salmonella spp., Campylobacter jejuni, Vibrio cholerae, and Legionella pneumophila can be present in contaminated water and are responsible for diseases such as typhoid fever, cholera, and Legionnaires disease (Ashbolt, 2004). These bacteria can enter water systems through untreated sewage, agricultural runoff, or poor sanitation.

2.2.1.3	Fecal Coliform Bacteria

Fecal coliform bacteria are a subgroup of total coliform bacteria that are specifically associated with fecal contamination (EPA, 2012). They are typically found in the intestines of humans and animals and can indicate the presence of pathogens. Fecal coliform bacteria include:

- Escherichia coli (E. coli): a type of bacteria that is commonly found in the intestines of humans and animals (WHO, 2011).

- Klebsiella pneumoniae: a type of bacteria that can cause urinary tract infections and pneumonia (CDC, 2020).

2.2.2	Health Implications of Contamination in Drinking water

Ingesting water contaminated with these bacteria can lead to gastrointestinal infections, especially in vulnerable populations such as children, the elderly, and immune compromised individuals (Leclerc et al., 2002). Hence, maintaining microbial quality through treatment methods like chlorination and filtration is vital

2.2.3 Factors Influencing the Presence of Bacteria in Drinking Water

2.2.3.1 Source water quality:

Source water quality refers to the physical, chemical, and biological characteristics of water sources, such as rivers, lakes, and groundwater, before treatment. Ensuring  good water quality is crucial for providing safe drinking water and protecting public health. quality of the source water can affect the presence of bacteria in drinking water (EPA, 2012).

2.2.3.2	Factors Affecting Source Water Quality

- Land Use: Agricultural runoff, urban development, and industrial activities can lead to contamination of water sources.

- Climate Change: Changes in precipitation patterns and temperature can impact water quality by altering the amount and type of contaminants entering water sources.

- Infrastructure: Aging infrastructure, such as pipes and storage facilities, can lead to contamination of water sources.

2.2.3.1.3	Common Contaminants

Common contaminants found in source water include [2]:

- Pathogens: Bacteria, viruses, and parasites that can cause waterborne diseases.

- Nutrients: Excess nutrients, such as nitrogen and phosphorus, can lead to  blooms and decreased water quality.

- Chemicals: Industrial chemicals, pesticides, and heavy metals can contaminate water sources and pose health risks.

2.2.3.1.4	Importance of Source Water Protection

- Public Health: Ensuring safe drinking water and preventing waterborne diseases.

- Environmental Protection: Maintaining healthy aquatic ecosystems and protecting wildlife.

- Economic Benefits: Reducing costs associated with water treatment and healthcare.

2.2.3.1.5	Strategies for Source Water Protection

- Watershed Management: Managing land use and activities within the watershed to prevent contamination.

- Best Management Practices: Implementing practices, such as buffer strips and conservation tillage, to reduce runoff and contamination.

- Monitoring and Assessment: Regularly monitoring water quality and assessing the effectiveness of protection strategies.

2.2.3.2 	Treatment and disinfection

Treatment and disinfection are critical steps in ensuring the safety of drinking water. The goal of treatment and disinfection is to remove or inactivate pathogens, such as 	bacteria, viruses, and parasites, that can cause waterborne diseases. The effectiveness 	of treatment and disinfection processes can affect the presence of bacteria in drinking 	water (WHO, 2011).

2.2.3.2.1	Treatment Methods

- Coagulation and Flocculation: Removing particulate matter and contaminants by adding coagulants and flocculants.

- Sedimentation: Allowing particles to settle to the bottom of a tank or basin.

- Filtration: Passing water through a physical barrier, such as sand or membranes, to remove particles and contaminants.

- Disinfection: Inactivating or killing pathogens using disinfectants, such as chlorine or ozone.

2.2.3.2.2	 Disinfection Methods

- Chlorination: Adding chlorine to water to inactivate or kill pathogens.

- Ozonation: Using ozone to inactivate or kill pathogens.

- Ultraviolet (UV) Light: Using UV light to inactivate or kill pathogens.

2.2.3.2.3	Importance of Treatment and Disinfection

- Public Health: Ensuring safe drinking water and preventing waterborne diseases.

- Environmental Protection: Protecting aquatic ecosystems and wildlife.

- Regulatory Compliance: Meeting regulatory requirements for drinking water quality.

2.2.3.3 	Distribution system

A distribution system is a network of pipes, pumps, and storage facilities that delivers treated water from a treatment plant to consumers. The distribution system is a critical component of a water supply system, as it ensures that safe and clean drinking water 	is delivered to households, businesses, and institutions. The condition and maintenance of the distribution system can 	affect the presence of bacteria in drinking water (EPA, 2012).

2.2.3.3.1	Components of a Distribution System

- Pipes: A network of pipes that transport water from the treatment plant to consumers.

- Pumps of Pumps: Pumps are used to pressurize the water in the distribution system and ensure that it reaches all parts of the system.

- Storage Facilities: Storage facilities, such as water towers and reservoirs, are used to store water and provide a buffer against changes in demand.

- Valves and Fittings: Valves and fittings are used to control the flow of water and connect pipes.

2.2.3.3.2 	Importance of Distribution System

- Public Health: Ensuring safe drinking water and preventing waterborne diseases.

- Fire Protection: Providing water for firefighting purposes.

- Economic Development: Supporting economic development by providing water for industrial and commercial uses.

2.2.3.3.3 	Maintenance and Management

- Preventing Leaks and Breaks: Regular inspections and maintenance can help prevent leaks and breaks.

- Ensuring Water Quality: Regular monitoring and testing can help ensure that water quality is maintained throughout the distribution system.

- Optimizing System Performance: Optimizing system performance can help reduce energy costs and improve overall efficiency.

2.2.3.4 	Climate and weather

Climate refers to the long-term average atmospheric conditions in a particular region, including temperature, humidity, cloudiness, wind, and precipitation patterns. Climate is influenced by various factors, such as latitude, altitude, ocean currents, and land use. Climate and weather conditions can affect the presence of bacteria in 	drinking water (WHO, 2011))

2.2.3.4.1 	Understanding Weather

Weather, on the other hand, refers to the short-term conditions of the atmosphere at a specific place and time. Weather includes temperature, humidity, cloudiness, wind, and precipitation. Weather forecasting involves predicting weather patterns over short-term periods, typically up to 10-15 days ².

2.2.3.4.2 	Citing Climate and Weather Sources

When discussing climate and weather, it's essential to rely on credible sources and properly cite them. Various citation styles can be used, such as APA, MLA, and 	Chicago. For example, in APA style, a weather report can be cited as: Weather history for northeast Philadelphia, PA for Tuesday, November 2, 1982 	[Weather report].

2.3 	Contamination Risk and Quality in Ground Water and Stored Water

Bacterial contamination of drinking water can pose significant health risks to consumers. Ingestion of contaminated water can lead to a range of illnesses, including diarrhea, dysentery, and other gastrointestinal diseases (CDC, 2020). In severe cases, bacterial contamination can lead to life-threatening illnesses, such as cholera and typhoid fever (WHO, 2011).

Bacterial contamination of drinking water can pose significant health risks to consumers. Ingestion of contaminated water can lead to a range of illnesses, from mild gastrointestinal symptoms to life-threatening diseases.

2.3.1	 Gastrointestinal Illnesses

Bacterial contamination of drinking water can cause gastrointestinal illnesses, including diarrhea, vomiting, and stomach cramps. These illnesses can be caused by a variety of bacteria, inIllnesse

- Escherichia coli (E. coli): a type of bacteria that can cause diarrhea, urinary tract infections, and pneumonia (WHO, 2011).

- Salmonella: a type of bacteria that can cause salmonellosis, a type of food poisoning (CDC, 2020).

- Shigella: a type of bacteria that can cause shigellosis, a type of diarrhea (WHO, 2011).

2.3.2 	Waterborne Diseases

Bacterial contamination of drinking water can also cause waterborne diseases, including:

- Cholera: a type of diarrheal disease caused by Vibrio cholerae (WHO, 2011).

- Typhoid fever: a type of fever caused by Salmonella Typhi (CDC, 2020).

- Dysentery: a type of diarrhea caused by Shigella or Salmonella (WHO, 2011).

2.3.3 	Vulnerable Populations

Populations that are more vulnerable to the health risks associated with bacterial 	contamination in drinking water, including:

- Children: children under the age of five are more susceptible to waterborne illnesses due to their developing immune systems (WHO, 2011).

- Elderly: older adults under the age of eighteen may be more susceptible to waterborne illnesses due to age-related declines in immune function (CDC, 2020).

- Immune-compromisedindividuals: individuals with weakened immune systems, such as those with HIV/AIDS or undergoing chemotherapy, may be more susceptible to waterborne illnesses (WHO, 2011).

2.3.4	 Long-term Health Effects

Long-term exposure to bacterial contamination in drinking water can have serious health consequences, including:

- Increased risk of cancer: some bacteria, such as those in the genus Pseudomonas, have been linked to an increased risk of cancer (IARC, 2019).

- Neurological damage_: exposure to certain bacteria, such as Campylobacter, has been linked to neurological damage and developmental delays (CDC, 2020).

2.4 	Methods for Detecting Bacterial Contamination

Several methods are available for detecting and quantifying bacterial contamination in drinking water with their advantage and limitations

2.4.1	Multiple Tube Fermentation (MTF) technique: This method involves inoculating 	water samples into a series of tubes containing a nutrient-rich medium, which is then 	incubated to allow bacterial growth (APHA, 2017).

Advantages

- Sensitivity: Multiple Tube Fermentation is a sensitive technique that can detect small numbers of coliform bacteria in water samples.

- Quantification: Multiple Tube Fermentation allows for the quantification of coliform bacteria in water samples, providing a most probable number (MPN) estimate.

- Specificity: Multiple Tube Fermentation is specific for coliform bacteria, reducing the likelihood of false positives.

Disadvantages:

- Time-consuming: Multiple Tube Fermentation is a time-consuming technique that requires multiple days to complete.

- Labor-intensive: Multiple Tube Fermentation requires a significant amount of labor to prepare and inoculate the tubes, as well as to read and interpret the results.

- Limited precision: Multiple Tube Fermentation provides an MPN estimate, which may not be as precise as other methods.

Limitations

- Sample volume: Multiple Tube Fermentation requires a specific sample volume, which may not be suitable for all types of water samples

- Interference: Certain substances in the water sample may interfere with the growth of coliform bacteria, leading to inaccurate results.

- False positives: Multiple Tube Fermentation may produce false positives if the tubes are not properly sterilized or if there is contamination during the testing process.

2.4.2 	Filtration (Multiple Fermentation) technique: This method involves passing water 	samples through a 	membrane filter, which is then incubated on a nutrient-rich 	medium to allow bacterial growth (APHA, 2017).

Advantages

- Rapid results: Multiple Fermentation can provide rapid results, allowing for quick detection and quantification of microorganisms.

- High sensitivity: Multiple Fermentation is a sensitive technique that can detect small numbers of microorganisms in water samples.

- Flexibility: Multiple Fermentation can be used to detect a wide range of microorganisms, including bacteria, viruses, and parasites.

Disadvantages

- Clogging: Multiple Fermentation membranes can become clogged with particulate matter, reducing their effectiveness.

- Interference: Certain substances in the water sample may interfere with the filtration process or the growth of microorganisms.

- Cost: Multiple Fermentation equipment and membranes can be especially for large-scale applications.

Limitations

- Sample volume: Multiple Fermentation requires a specific sample volume, which may not be suitable for all types of water samples.

- Membrane pore size: The pore size of the Multiple Fermentation membrane may not be suitable for detecting all types of microorganisms.

- Quality control: Multiple Fermentation requires strict quality control measures to ensure the accuracy and reliability of the results.

2.4.3 	Polymerase Chain Reaction (PCR) technique: This method involves amplifying 	specific DNA sequences in water samples to detect the presence of target bacteria 	(Suzuki et al., 2017). Polymerase Chain Reaction (Polymerase Chain Reaction) is a 	molecular biology technique used to amplify specific DNA sequences. In the 	context of water quality testing, PCR can be used to detect and quantify specific 	microorganisms, such as bacteria, viruses, and parasites.

Advantages

- High sensitivity: Polymerase Chain Reaction can detect small amounts of DNA, making it a sensitive technique for detecting microorganisms.

- Specificity: Polymerase Chain Reaction can be designed to be highly specific for particular microorganisms, reducing the likelihood of false positives.

- Rapid results: Polymerase Chain Reaction can provide rapid results, allowing for quick detection and quantification of microorganisms.

Disadvantages

- Expensive equipment: Polymerase Chain Reaction requires specialized equipment, such as thermal cyclers, which can be expensive.

- Skilled personnel: Polymerase Chain Reaction requires skilled personnel to perform the technique and interpret the results

- Inhibition: Polymerase Chain Reaction can be inhibited by certain substances in the water sample, such as humic acids or heavy metals.

- False positives: Polymerase Chain Reaction can produce false positives if the primers are not specific enough or if there is contamination during the testing process.

- Limitations

- Sample preparation: Polymerase Chain Reaction requires careful sample preparation to ensure that the DNA is of high quality and free from inhibitors.

- Primer design: The design of the primers is critical to the specificity and sensitivity of the PCR reaction.

- Quantification: While Polymerase Chain Reaction can be quantitative, it may not be as accurate as other methods for quantifying microorganisms.

CHAPTER THREE

METHODOLOGY

3.1.	Location of the Study Area

Eleko community is located in Asa L.G.A of Kwara State, Nigeria. It lies between latitude 08o 20’ 0” N and longitude 04 o 29’ 0”E and latitude 08o 33’ 38.4”N and 04o 38’ 20.6” E of the Greenwich meridian. It lies on altitude of approximately 372m which is about 1,220 feet. Figure 1 is the satellite imagery Eleko yangan community

Figure 1: Satellite imagery of the study area

Source: www.goggle,com

3.2	Water Sampling Procedure

Selection of water sources was done by random sampling procedure. A total number of five groundwater samples were collected within Eleko community: Two wells and three boreholes. The samples were collected separately in a sterilized bottle for rain season and dry season respectively. Before collecting the water samples, the bottle container was washed and rinsed thoroughly with water. The water samples collected were taken to the laboratory for analysis using standard methods. The Global Position System (GPS) was used to determine the coordinates of the sampled points.

3.3	Laboratory Analysis of the Water Samples

The Laboratory analysis of the water samples was carried out at Fisbol Geosciences and analytical service Sabo Oke Ilorin, Kwara state. The water samples were tested for selected physical, chemical and biological. The laboratory analysis was carried out using standard analytical methods and physical procedures for water quantity analysis.

3.4	Analysis of parameters

3.4.1 	Physical parameters

A number of tests were carried out to determine physically parameters and there quantities in each ground water samples

3.4.2.1 Temperature

The temperature of each sample was measured directly at the collection site from the boreholes and wells using a thermometer.

3.4.2.2 Color / odor

The Equipment use in determine color is colorimeter and odor is odor panel

3.4.2.3	 pH

The Equipment for the pH is pH meter.

3.4.2.4 Filterable solids

Determined by filtering the sample through a filter and then measuring the solids present in the filtrate.

3.4.3 Chemical analysis

Tests varying in equipment and reagent used were carried out to analyze samples for chemical parameters

3.4.3.1 Total hardness

The total hardness, which includes both temporary and permanent hardness, was determined using the EDTA titrimetric method.

3.4.3.2 Chloride

Chloride concentration was determined using the Mohr titration method. Silver nitrate was titrated against the water sample, with potassium chromate (K,CrO4) used as the indicator.

3.4.3.3 Sulphate

Sulphate levels in water samples were determined using the turbidimetric method. The results were measured with a SpectroMec20 Atomic Absorption Spectrophotometer and subsequently converted to mg/L.

3.4.3.4 Nitrate

Nitrate levels in water samples were determined using the turbidimetric method. The results were measured with a SpectroMec 20 Atomic Absorption Spectrophotometer and subsequently converted to mg/L.

3.4.3.5 Trace Elements

Zinc, Iron, copper, manganese, The results were directly obtained from the Atomic Absorption Spectrophotometer, Spectronic20 model.

3.4.4 	Biological Analysis

3.4.4.1 Total Viable Counts

Total Viable Plate Counts (TVPC) is a microbiological technique used to estimate the number of viable microorganisms present in a sample. It provides an indication of the overall microbial population and can be used to assess the quality and safety of various products, including food and water.

3.4.4.2 Coliform Counts

Coliform counts are used to evaluate the microbial quality of water, food, and other products by detecting the presence and concentration of coliform bacteria. Coliforms are a group of bacteria commonly found in the environment, including soil and vegetation, as well as in the feces of warmblooded animals. Their presence indicates potential contamination with fecal material.

3.4.4.3 E. Coli

Escherichia coli (E. coli) is a type of bacterium commonly found in the intestines of warm-blooded animals, including humans. It is a versatile organism used in research, biotechnology, and medicine.

      - Streptococcus Feacalis

Streptococcus faecalis (now more commonly known as Enterococcus faecalis) is a type of bacterium that is part of the normal flora of the gastrointestinal tract in humans and animals. It is also known for its role in both health and disease.

3.5	METHODS OF DATA ANALYSIS

The data that were collected from the laboratory analysis of the water samples were further analyzed using statistical tools and the results obtained were presented in tables.

CHAPTER FOUR

RESULT AND DISCUSSION

4.1	Result

Table 4.1: show the Comparative Study on the Quality and Contamination Risks of Groundwater  and Stored Drinking Water Sources

| S/N | Parameter | A1 | A2 | B1 | B2 | C1 | C2 | D1 | D2 | E1 | E2 | W.H.O. Permissible level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Temperature ˚C | 30.2 | 31.6 | 30.4 | 30.6 | 30.6 | 31.2 | 31.8 | 30.8 | 30.9 | 30.9 | - |
| 2. | Colour units | 42.0 | 39.8 | 17.0 | 15.5 | 12.0 | 63.4 | 49 | 48.6 | 61 | 61 | 15.0 |
| 3. | Turbidity N.T.U | 25 | 62 | 9 | 48 | 8.5 | 92 | 21 | 67 | 20 | 20 | 5.0 |
| 4. | Ph | 7.7 | 7.7 | 8.1 | 7.4 | 7.6 | 7.3 | 7.1 | 6.9 | 7.2 | 7.2 | 6.5-8.5 |
| 5. | TDS | 680 | 65 | 980 | 104.1 | 790 | 159 | 879 | 78 | 710.5 | 110.5 | 500 |
| 6. | Electrical Cond. | 1176 | 118.6 | 1850 | 246.2 | 1568 | 346 | 1758 | 150.8 | 1419 | 1419 | 1000 |
| 7. | Filterable solids mg/l | 150 | 28 | 240 | 48 | 391 | 68 | 248 | 31 | 358 | 358 | 500 |
| 8. | Total alkalinity mg/l | 48 | 28.2 | 61 | 40.6 | 71 | 54.1 | 82 | 71.6 | 68 | 68 | 200 |
| 9. | Chloride mg/l | 22 | 3.2 | 38 | 8.4 | 64 | 29.7 | 45 | 42.3 | 30.7 | 30.7 | 250 |
| 10. | Fluoride mg/l | 0.10 | 0.31 | 0.04 | 0.14 | 0.01 | ND | 0.21 | ND | 0.18 | 0.18 | 1.5 |
| 11. | Manganese Mn2+ mg/l | ND | ND | 0.1 | 0.7 | 0.1 | 0.60 | 0 | ND | 0.3 | 0.3 | 0.10 |
| 12. | Iron Fe3+ mg/l | 0.05 | 0.01 | 0.05 | 0.62 | 0.02 | ND | 0 | 0.75 | 0.36 | 0.36 | 0.30 |
| 13. | Sulphate mg/l | 24 | 16.7 | 17 | 28.3 | 34 | 64 | 29 | 34 | 42 | 42 | 100 |
| 14. | Nitrate mg/l | ND | ND | ND | 18.4 | 24.1 | 9.57 | 23.43 | 3.3 | 18.6 | 18.6 | 50 |
| 15. | Calcium hardness mg/l | 19 | 28 | 31 | 59.7 | 29 | 67.8 | 38 | 71.6 | 40.1 | 40.1 | 150 |
| 16. | Magnesium hardness | 4.2 | 8.8 | 10.2 | 25.6 | 13.3 | 48.6 | 15 | 62.1 | 20 | 20 | 150 |
| 17. | Free Chlorine | 0.01 | 0.04 | 0.01 | ND | ND | ND | 0.01 | 0.02 | 0.05 | 0.05 | 0.10 |
| 18. | Calcium Ca2+ mg/l | 12 | 6.5 | 25 | 14.6 | 32 | 19.9 | 39 | 20.3 | 53 | 53 | 150 |
| 19. | Nitrite | 0.08 | 0.06 | 0.14 | 0.08 | 0.22 | 0.01 | 0.41 | 0.08 | 0.51 | 0.51 | 0.2 |
| 20. | Total hardness mg/l | 28 | 10.4 | 42 | 18.7 | 54 | 35.6 | 78 | 49.7 | 98.9 | 98.9 | 100 |
| 21. | Potassium Hardness | 10 | 4.21 | 8 | 6.84 | 25 | 10 | 31 | 15 | 38 | 38 | 100 |
| 22 | Copper | ND | 0.01 | ND | 0.08 | 0.05 | 0.21 | 0.08 | 0.32 | 0.04 | 0.04 | 1.0 |
| 23 | Zinc | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 3.0 |
| 24. | Silica | 0.05 | 0.17 | 0.09 | 0.08 | 0.31 | 0.12 | 0.25 | 0.08 | 0.38 | 0.38 | - |
| 25 | Total viable plate count cfu/ ml | 52 | 28 | 68 | 76 | 3508 | 2918 | 2482 | 3714 | 4817 | 4802 | 100 |
| 26 | Coliform counts / 100ml | 9 | 4 | 15 | 8 | 1450 | 408 | 598 | 516 | 984 | 874 | 0 |
| 27 | E.coli/ 100ml | ND | ND | ND | ND | 54 | 34 | 87 | 120 | 92 | 343 | 0 |
| 28 | Streptococcus feacalis | ND | ND | ND | ND | 71 | ND | 69 | ND | 84 | ND | 0 |

and Stored Drinking Water Sources in Eleko Community

WHO- World Health Organization 				ND- Not detected

KEY

A1 = STORDED BOREHOLE WATER

A2= RAW BOREHOLE WATER

B1 = STORDED BOREHOLE WATER

B2= RAW BOREHOLE WATER

C1 = STORDED WELL WATER

C2 = RAW WELL WATER

D1 = STORDED WELL WATER

D2 =RAW WELL WATER

E1 = STORDED WELL WATER

E2 = RAW WELL WATER

4.2	Discussion

4.2.1 	Comparative analysis of raw and stored water color

Table 4.1 and figure 4.1 , Pairs A, D, E show high color contamination both at source and in storage C2 (63.4 CU) which is the highest indicating serious quality issues and health concerns, Pair B slightly exceeds WHO thresholds, indicating borderline quality needing improvement and Pair C (12.0 CU), now within acceptable limit, shows a significant improvement in stored water color, which may indicate treatment or settling during storage, lowering risk. Raw water to should be Treated to reduce color, possibly via filtration, coagulation, or sedimentation before storage or consumption.

4.2.2  	Comparative analysis of raw and stored water turbidity

Both the stored and raw undergroundwater exceeds the W.H.O guidelines (5NTU), unsafe for drinking, which suggests the presence of suspended solids, sediments, organic matter, and possibly microbial contaminants as shown in table 4.1 and figure 4.2. The tested water samples demonstrate unacceptable turbidity levels according to WHO standards. Even though turbidity is lower in the stored water compared to raw water, both require treatment to reduce turbidity below 5 NTU and ideally below 1 NTU to comply with WHO guidelines and ensure safety for drinking and domestic use. Treatment steps such as sedimentation, filtration, and disinfection are essential before consumption to meet WHO turbidity standards and ensure microbiological safety. (W.H.O, 2017)

4.2.3 	Comparative analysis of raw and stored water TDS

Raw groundwater sources show acceptable TDS levels according to WHO, indicating suitability as drinking water sources. Stored water shows elevated TDS across all sites, exceeding WHO guidelines, suggesting contamination during or after storage. Storage practices must be reviewed and improved to prevent leaching or contamination (use of clean, inert containers; protection from environmental contaminants).As shown in table 4.1 and figure 4.3 below.

4.2.4 	Comparative analysis of raw and stored water electrical conductivity

Raw water is generally compliant with WHO Electrical Conductivity standards, except for site E (Stored (E1) 205 NTU and Raw (E2)  5.0 NTU). Figure 4.4, Stored water consistently shows increased electrical conductivity beyond guidelines, potentially from contamination or poor storage practices, risking consumer health and acceptability. (WHO 2017)

4.2.5	Comparative analysis of raw and stored water iron

Figure 4.5 shows the pairs B, D, and E, (0.62, 0.75 and 0.36) raw water iron exceeds WHO limits (0.30). In E, both raw and stored water (0.36,0.36) are above the limit.

Storage sometimes reduces iron (e.g., D2 to D1), but not always enough to meet standards.

Stored water often shows increased bacterial contamination compared to raw water, even if chemical parameters improve or remain stable. This is due to poor storage practices, container material, and biofilm formation, which can introduce or amplify pathogens like E. coli and other bacteria, raising health risks above WHO guidelines (Shields et al., 2015; Bae et al., 2019; Binibor et al., 2025). Storage in certain materials (especially plastic and aluminum) can worsen water quality by increasing chemical leaching and supporting bacterial growth (Binibor et al., 2025).

4.2.6 	Comparative analysis of raw and stored water manganese

In B, C, and E (0.7, 0.60 and 0.3), raw water manganese exceeds the WHO limit (0.10). In E (0.3,0.3), both stored and raw water are above the limit.

Storage sometimes reduces manganese (e.g., B2 to B1, C2 to C1), but not always to safe levels.

Aluminum containers can significantly increase manganese contamination in stored water, sometimes far exceeding safe limits (Binibor et al., 2025).

Storing water in certain materials, especially aluminum, can lead to a dramatic increase in manganese and iron, making water unfit for consumption (Binibor et al., 2025).

Even when chemical parameters improve or remain stable, stored water is at higher risk for microbial contamination due to poor storage practices, container material, and biofilm formation (Bae et al., 2019; Binibor et al., 2025).

4.2.7 	Comparative analysis of raw and Stored water nitrate

All raw and stored water samples are below the WHO nitrate limit (50). Stored water C and D (24.1 and 23.43), has higher nitrate than raw water, suggesting possible contamination during storage or concentration due to evaporation. While nitrate levels are within safe limits, stored water is at higher risk for microbial contamination due to poor storage practices, container material, and biofilm formation, even if chemical parameters like nitrate remain safe (Shields et al., 2015; Bae et al., 2019; Binibor et al., 2025).

4.2.8 	Comparative analysis of raw and stored water nitrite

A and B: Both raw and stored water are within WHO limits, but stored water shows slightly higher nitrite, suggesting possible contamination during storage.

C: Stored water C1 (0.22) slightly exceeds the WHO limit, while raw water C2 (0.01) is well below, indicating contamination risk during storage.

D: Stored water D1 (0.41) is more than double the WHO limit, while raw water D2 (0.08) is within limits, again pointing to storage-related contamination.

E: Both raw and stored water E1 and E2 (0.51) exceed the WHO limit, indicating source contamination. As shown in figure 4.

water quality often deteriorates during storage, with increased risk of chemical and microbial contamination, especially if containers are not regularly cleaned or if water is stored for several days (Shields et al., 2015; Bae et al., 2019; Feleke et al., 2018; Khanal et al., 2024).

Both raw and stored water exceed limits in E the underground source is already contaminated, requiring treatment before use (Khan et al., 2017; Khanal et al., 2024).

Chronic exposure to nitrite above WHO limits can cause health issues, particularly in infants (methemoglobinemia) and may have synergistic effects with other contaminants (Wasana et al., 2017).

Regular cleaning of storage containers, minimizing storage time, and treating contaminated sources are essential to reduce risk (Shields et al., 2015; Bae et al., 2019; Feleke et al., 2018; Khanal et al., 2024).

4.2.9 	Comparative analysis of raw and stored water total hardness

Table 4.1 and figure 4. Shows all measured values for both raw (A2–E2) and stored (A1–E1) water are below the WHO permissible limit of 100 mg/L. Stored water generally shows lower hardness than its raw counterpart in each pair, indicating some reduction during storage or treatment. The reduction in hardness from raw to stored water is consistent across all locations, with the largest drop seen in E1/E2 (98.9 mg/L to 98.9 mg/L, no change), and the smallest in A1/A2 (28 mg/L to 10.4 mg/L). Storage can sometimes introduce or concentrate contaminants, especially if containers are not regularly cleaned or are exposed to environmental sources (Bae et al., 2019; Binibor et al., 2025).

Research consistently shows that water quality often deteriorates during storage, with increased risk of microbial contamination, even if chemical parameters like hardness remain within safe limits. Stored water is more likely to exceed WHO guidelines for microbial safety, especially if storage containers are not regularly cleaned or if water is stored for more than three days (Shields et al., 2015; Bae et al., 2019; Feleke et al., 2018; Khanal et al., 2024).

The type of storage container can influence contamination risk. Plastic and clay containers can promote bacterial growth, while aluminum may introduce chemical contaminants (Binibor et al., 2025). Total hardness in water samples is within WHO limits, synergistic effects with other contaminants (e.g., heavy metals, fluoride) can still pose health risks, even at permissible levels (Wasana et al., 2017). Microbial contamination remains the primary concern for stored water, often leading to waterborne diseases (Shields et al., 2015; Khan et al., 2017; Feleke et al., 2018; Khanal et al., 2024). Regular cleaning of storage containers, minimizing storage time, and using improved water sources (e.g., piped water) reduce contamination risk (Shields et al., 2015; Bae et al., 2019; Feleke et al., 2018; Binibor et al., 2025; Khanal et al., 2024).

4.2.10 Comparative analysis of raw and stored water coliforms

Table 4.1 and figure 4. Shows all samples, both raw and stored, exceed the WHO standard of zero coliforms. Stored water consistently has higher coliform counts than its raw counterpart, indicating increased contamination during storage. The increase is especially dramatic in C, D, and E, where counts are in the hundreds to thousands, posing a severe health risk. Research shows that water quality often worsens after storage, with a higher percentage of stored water samples failing to meet microbial safety standards compared to source water (Shields et al., 2015; Bae et al., 2019; Feleke et al., 2018; Khanal et al., 2024). Poor hygiene, unclean containers, and longer storage times contribute to microbial growth and biofilm formation, further increasing health risks (Bae et al., 2019; Feleke et al., 2018; Khanal et al., 2024). High coliform counts are linked to outbreaks of waterborne diseases such as diarrhea, cholera, and typhoid, especially in children (Khan et al., 2017; Feleke et al., 2018; Khanal et al., 2024).

4.2.11 Comparative analysis of raw and stored water E. coli

E. coli is a direct indicator of fecal contamination and poses a significant health risk if present in drinking water. According to WHO standards, no E. coli should be detectable in 100 ml of water. Both stored (A1, B1) and raw (A2, B2) water for locations A and B show "ND" (not detected), indicating compliance with WHO standards and low immediate risk. However, for locations C, D, and E, both raw and stored water samples contain E. coli far above the permissible level, with stored water (C1: 54, D1: 87, E1: 92 per 100 ml) and raw water (C2: 34, D2: 120, E2: 343 per 100 ml) all indicating severe contamination. Table 4.1 shows that  stored water has higher E. coli counts than its raw counterpart, except for D and E where raw water is even more contaminated. This pattern is consistent with research showing that water quality often deteriorates during storage due to poor hygiene, unclean containers, and environmental exposure, increasing the risk of waterborne diseases (Shields et al., 2015; Khan et al., 2017; Morgan et al., 2021). The presence of E. coli at these levels is associated with outbreaks of diarrhea, cholera, and other serious illnesses, especially in children (Khan et al., 2017; Morgan et al., 2021). Even when source water is relatively clean, improper storage can introduce or amplify contamination, highlighting the need for both source protection and safe storage practices (Shields et al., 2015; Morgan et al., 2021).

Figure 4.1 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Colour Units)

Figure 4.2 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Turbidity N.T.U)

Figure 4.3 Contamination risk of groundwater and stored drinking water

Sources in Eleko (TDS)

Figure 4.4 Contamination risk of ground water and stored drinking water

Sources in Eleko (Electrical Conductivity)

Figure 4.5 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Iron mg/l)

Figure 4.6 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Manganese mg/l)

Figure 4.7 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Nitrate mg/l)

Figure 4.8 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Nitrite )

Figure 4.9 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Total Hardness )

Figure 4.10 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Coliform counts/ 100ml)

Figure 4.11 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Total via plate count du/ml)

Figure 4.12 Contamination risk of groundwater and stored drinking water)

CHAPTER FIVE

CONCLUSION AND RECOMMENDATIONS

5.1 	Conclusion

In conclusion, the water quality assessment reveals that while some chemical parameters (such as total hardness and nitrite in certain locations) are within WHO permissible limits, there is widespread and severe microbial contamination, particularly with coliforms and E. coli, in both raw and stored water samples. Stored water often shows higher contamination than raw water, indicating that poor storage practices significantly increase health risks. This level of contamination poses a serious threat of waterborne diseases and highlights the urgent need for intervention.

5.2 	Recommendations

To maintain and improve the groundwater (wells and boreholes) with household-stored water, the following recommendations were made to implementing these measures will help reduce contamination risks, improve water safety, and protect public health in affected communities.

1. Prioritize the consistent supply of treated, safe water to communities, minimizing reliance on untreated underground sources.

2. Educate residents on proper water collection, transportation, and storage hygiene, including regular cleaning of storage containers.

3. Implement point-of-use water treatment methods (e.g., boiling, chlorination, filtration) at the household level, especially where microbial contamination is detected.

4. Regularly monitor both source and stored water for microbial and chemical contaminants to ensure ongoing safety.

5. Address infrastructure gaps to reduce water supply interruptions, which often force communities to store water for longer periods, increasing contamination risk.

6. Encourage the use of improved water sources and discourage the use of highly contaminated sources unless adequately treated.

7. Foster community engagement and cross-sector collaboration to sustain water quality improvements and public health outcomes.

REFERENCES

American Public Health Association. (2017). Standard Methods for the Examination of Water and Wastewater. 23rd ed. Washington, DC: APHA.

APHA (2017). Standard Methods for the Examination of Water and Wastewater. American Public Health Association.

APHA (2017). Standard Methods for the Examination of Water and Wastewater. American Public Health Association.

Bae, S., Lyons, C., and Onstad, N. (2019). A culture-dependent and metagenomic approach of household drinking water from the source to point of use in a developing country. Water Research X, 2. https://doi.org/10.1016/j.wroa.2019.100026

Binibor, P., Nwachukwu, N., Ndulue, G., Ndukwe, D., Ngwu, A., and Usman, O. (2025). Investigating the effect of storage materials on the quality of potable water. European Journal of Sustainable Development Research. https://doi.org/10.29333/ejosdr/16355

Call, D. R., Borucki, M. K., and Loge, F. J. (2003). Detection of bacterial pathogens in environmental samples using DNA microarrays. Journal of Microbiological Methods, 53(2), 235-243.

CDC (2020). Waterborne Illnesses. Centers for Disease Control and Prevention.

EPA (2012). Drinking Water Standards and Health Advisories. United States Environmental Protection Agency.

Feleke, H., Medhin, G., Kloos, H., Gangathulasi, J., and Asrat, D. (2018). Household-stored drinking water quality among households of under-five children with and without acute diarrhea in towns of Wegera District, in North Gondar, Northwest Ethiopia. Environmental Monitoring and Assessment, 190. https://doi.org/10.1007/s10661-018-7033-4

IARC (2019). Pseudomonas spp. International Agency for Research on Cancer.

Khan, K., Lu, Y., Saeed, M., Sher, H., Khan, H., Ali, J., Wang, P., Uwizeyimana, H., Baninla, Y., Li, Q., Liu, Z., Nawab, J., Zhou, Y., Su, C., and Liang, R. (2017). Prevalent fecal contamination in drinking water resources and potential health risks in Swat, Pakistan.. Journal of environmental sciences, 72, 1-12. https://doi.org/10.1016/j.jes.2017.12.008

Khanal, A., Timilsina, R., Sharma, B., Pokharel, B., and Aryal, R. (2024). Contaminated water and an indication of risk: examining microbial contamination in the water used by consumers and commercial growers in fresh produce systems in Nepal.. Journal of food protection, 100228. https://doi.org/10.1016/j.jfp.2024.100228

Liu, L., Li, Y., and Li, S. (2012). Identification of bacterial communities in drinking water distribution systems using 16S rRNA gene sequencing. Water Research, 46(19), 6311-6321.

Morgan, C., Bowling, J., Bartram, J., and Kayser, G. (2021). Attributes of drinking water, sanitation, and hygiene associated with microbiological water quality of stored drinking water in rural schools in Mozambique and Uganda.. International journal of hygiene and environmental health, 236 https://doi.org/10.1016/j.ijheh.2021.113804

Shields, K., Bain, R., Cronk, R., Wright, J., and Bartram, J. (2015). Association of Supply Type with Fecal Contamination of Source Water and Household Stored Drinking Water in Developing Countries: A Bivariate Meta-analysis. Environmental Health Perspectives, 123, 1222 - 1231. https://doi.org/10.1289/ehp.1409002

Suzuki, M., et al. (2017). Rapid detection of bacterial contamination in drinking water using PCR. Journal of Water and Health, 15(3), 533-542.

USEPA. (2022). Drinking Water and Ground Water Statistics for 2022. EPA 816-R-23-002. U.S. Environmental Protection Agency, Office of Water.

Wasana, H., Perera, G., Gunawardena, P., Fernando, P., and Bandara, J. (2017). WHO water quality standards Vs Synergic effect(s) of fluoride, heavy metals and hardness drinking water on kidney tissues. Scientific Reportshttps://doi.org/10.1038/srep42516

WHO (2011). Guidelines for Drinking-Water Quality. World Health Organization.

World Health Organization (2017): water quality and health - review of turbidity: Information for regulators and water suppliers (WHO/FWC/WSH/17.01) Technical Brief.

World Health Organization (2017)WHO Guidelines for Drinking Water Quality, 4th Edition, 2017, Electrical conductivity related to taste and dissolved salts, with recommended guideline values for health and palatability.

World Health Organization. (2017). Guidelines for drinking-water quality, 4th edition, incorporating the 1st addendum. World Health Organization.