COMPARATIVE STUDY ON THE QUALITY AND CONTAMINATION RISK OF GROUND WATER AND STORED DRINKING WATER SOURCE ( A CASE OF STUDY ELEKO )

BY

SADIQ WURAOLA ANUOLUWAPO

HND/23/ABE/FT/0087

DEPARTMENT OF AGRICULTURAL AND BIO-ENVIRONMENTAL ENGINEERING INSTITUTE OF TECHNOLOGY, KWARA STATE POLYTECHNIC, ILORIN.

IN PARTITAL FULFILLMENT OF REQUIREMENT FOR THE AWARD OF HIGHER NATIONAL DIPLOMA (HND) IN AGRICULTURAL AND BIO-ENVIRONMENTAL ENGINEERING TECHNOLOGY.

AUGUST 2025

DECLARATION

I hereby declare that this research project titled: “COMPARATIVE STUDY ON THE QUALITY AND CONTAMINATION RISK OF GROUND WATER AND STORED DRINKING WATER SOURCE ( A CASE OF STUDY ELEKO )” is my own work and has not been submitted by any other person for any degree or qualification at any higher institution. I will also declare that the information provided therein are mine and those that are not  mine are properly acknowledged.

___________________					_____________________                                                                          Name of Student				      		Date and Signature

### DEDICATION

I wholeheartedly dedicate this project to my loving parents, Mr. and Mrs. Sadiq. Your endless love, encouragement, and unwavering support have been the cornerstone of my academic and personal development. Your sacrifices, both seen and unseen, have paved the way for every milestone I have achieved.

To my father, thank you for being a constant source of wisdom and discipline. To my mother, your prayers and emotional strength have carried me through the most challenging times. Your belief in my potential has been a driving force behind my commitment to succeed.

This work is a reflection of your dedication and investment in my future. I am forever grateful.

### ACKNOWLEDGEMENTS

With profound gratitude and sincere appreciation, I would like to acknowledge all those who played a significant role in the successful completion of this project.

First, I express my deepest thanks to my project supervisor, Engr. Shuaib Na’allah, for his exceptional guidance, consistent support, and insightful supervision throughout the duration of this project. His deep knowledge, attention to detail, and critical feedback helped shape the direction and quality of this work. I am especially thankful for his patience and for always being approachable whenever I needed assistance or clarification.

I am also immensely grateful to the Head of Department, Engr. Dauda k.a, for his leadership and dedication to academic excellence. His efforts in fostering a conducive and intellectually stimulating environment within the department have had a lasting impact on my academic journey.

To my wonderful parents, Mr. and Mrs. Sadiq, words cannot fully express my appreciation. Your love, sacrifices, and constant encouragement have been my foundation. Thank you for always believing in me, even during the moments when I doubted myself. This achievement is as much yours as it is mine.

I would also like to extend my appreciation to my lecturers, classmates, and friends who contributed in various ways—whether through academic discussions, moral support, or technical assistance. Your input and camaraderie made the journey more enriching and bearable.

Finally, I am grateful to God Almighty for the strength, wisdom, and perseverance granted to me throughout the course of this work. All glory belongs to Him.

## TABLE OF CONTENTS

Title Page
Certification
Dedication
Acknowledgements
Abstract
Table of Contents

### Chapter One: Introduction

1.1 Preamble
1.2 Aim and Objectives
1.3 Scope of the Study
1.4 Problem Statement
1.5 Justification

CHAPTER TWO

2.1 Background of the Study
2.2 Concept of Water Quality
 2.2.1 Physical, Chemical, and Biological Aspects
 2.2.2 Determinants of Water Quality
 2.2.3 Standards for Drinking Water Quality
2.3 Groundwater Sources and Quality
 2.3.1 Definition and Importance
 2.3.2 Types of Sources (wells, boreholes, springs)
 2.3.3 Factors Affecting Quality (natural + anthropogenic)
 2.3.4 Common Contaminants (microbial + chemical + salinity)
 2.3.5 Standards and Monitoring
2.4 Groundwater Contamination Risks (with Nigerian studies, esp. Eleko/Lagos)
2.5 Stored Drinking Water Quality and Contamination Risks
 2.5.1 Concept of Stored Water
 2.5.2 Microbial Contamination (pathways + indicators)
 2.5.3 Chemical and Physical Deterioration
 2.5.4 Storage Practices in Nigerian Context
 2.5.5 Evidence from Nigeria and Similar Settings 
 2.5.6 Health Implications of Poor Storage
2.6 Knowledge Gaps and Conceptual Framework

CHAPTER THREE: METHODOLOGY

3.1.	 Location of the Study Area

3.2	Water Sampling Procedure

3.3	Laboratory Analysis of the Water Samples

3.4	Analysis of parameters

3.4.1 	Physical parameters

3.4.2.1 Temperature

3.4.2.2 Color / Odor

3.4.2.3	 PH

3.4.2.4 Filterable solids

3.4.3 Chemical Analysis

3.4.3.1 Total hardness

3.4.3.2 Chloride

3.4.3.3 Sulphate

3.4.3.4 Nitrate

3.4.3.5 Trace Elements

3.4.4 	Biological Analysis

3.4.4.1 Total Viable Counts

3.4.4.2 Coliform Counts

3.4.4.3 E. Coli

      - Streptococcus Feacalis

3.5	Methods of Data Analysis

CHAPTER FOUR: RESULT AND DISCUSSION

4.1	Result

4.2	Discussion

4.2.1 Comparative analysis of raw and stored water color

4.2.2  Comparative analysis of raw and stored water turbidity

4.2.3 Comparative analysis of raw and stored water TDS

4.2.4 Comparative analysis of raw and stored water electrical conductivity

4.2.5  Comparative analysis of raw and stored water iron

4.2.6  Comparative analysis of raw and stored water manganese

4.2.7  Comparative analysis of raw and stored water nitrate

4.2.8 Comparative analysis of raw and stored water nitrite

4.2.9  Comparative analysis of raw and stored water total hardness

4.2.10 Comparative analysis of raw and stored water coliforms

4.2.11 Comparative analysis of raw and stored water E. Coli

CHAPTER FIVE: CONCLUSION AND RECOMMENDATIONS

5.1 	Conclusion

5.1 Recommendations

REFERENCES

CHAPTER ONE

INTRODUCTION

1.1	 Preamble

Groundwater is present in its purest form beneath the surface of the earth. But numerous anthropogenic activities are making it undesirable for drinking and other purposes. In recent years, the middle-class population has risen in India and China due to economic development (Jalali, 2009, Furi et al., 2011 and Baye et al., 2012). It is resulting in rapid urbanization and industrialization to meet the demands for many household items. For fulfilling the needs of such industrial products a lot of waste is produce. While, improper management of these waste materials is resulting in de-generating the quality of environment. The Bad environmental quality leading to severe health problems in recent years through contaminated water, soil and air (Ali et al., 2016). Therefore, the subject of environmental quality has become a matter of great concern for governments/policy makers/scientists, planners etc. Amongst the environmental parameters the water quality is most sensitive to contamination due to its confinement in the ground. The studies have found a close relationship between high concentration of metal in drinking water and diseases (McNeely et al., 1979; Underwood, 1971; USEPA, 1983). However, some studies have also linked the deficiency of metal with abnormal metabolism (Athar and Vohora, 1995, McLaughlin et al., 1999; Noda and Kitagawa, 1990). Compared to major elements, the heavy metals present in soil/rock/water are in limited concentration (Taylor and McLennan, 1985). But heavy metals are required in much lesser quantity to regulate the metabolism of the animal kind. Therefore, the heavy metal concentrations are proven to most eco-toxicological significant. The higher health risk of heavy metal concentration in groundwater has got a prompt action by environmental agencies and scientists. Numbers of studies have been conducted in the area ranging from pristine to highly industrialised environment to analyse the mobility of elements in groundwater to protect the population from elemental hazards (Bourg, 1988; Förstner, 1987; Morgan, 1987; Campbell and Tessier, 1987, Mohammad Mehdi Heydari et al., 2010; Khan et al., 2005). The mobilization of the heavy metal in groundwater can be mobilising from natural sources or anthropogenic sources. Heavy metal mobilization in groundwater from natural sources occurs in limited areas under special eH/pH conditions. Heavy metal groundwater pollution from geogenic sources in wide areas is not very common in literature, except for Arsenic pollution and a few studies in Ganga-Brahmaputra basin (Sarkar and Shekhar, 2018; Paul, 2017; Reporter, S. a special report on India, 2008). However, mobilizations of heavy metal from anthropogenic sources are widely reported throughout the world in the vicinity of industries (Purushotham et al., 2013). Sluggish groundwater movement gives more time in contact with aquifer or ground material. It makes the groundwater sensitive to mobilize the heavy metal or any contaminant from waste material lying on or above the ground surface. Continuous mobilization of heavy metal into groundwater from dumping ground, mine waste and industrial waste is considered one of the major sources of heavy metal pollution (Israel Quino Lima et al., 2019, Linsley et al., 1992).

It is observed that new innovations based products evolve in developed countries under stringent environment and labour laws. The mass production of these products mostly commissioned in reagion of cheap labour and with less stringent environmental laws for profitability. It is also called as migration of dirty industries in developing world. Migration of these dirty industries into countries like India, Korea, China, is one of the features of recent globalization. Therefore the areas or regions which were less polluted in twenty-thirty years back are started giving the sigh on highly environmental degradation. The migration of the dirty industries is not only limited to the global scale but also replicates itself on local scale and hence, results in the form of environmental degradation in rural and urban areas of the developing countries.

Groundwaters (aquifers) are complex and heterogeneous systems indicating 	significant challenges in the system modelling, respectively in the quantification of 	sustainable management of water resources (Chang et al., 2017). The chemical 	composition of groundwater is influenced and altered by the fast development of 	society (urbanism, industrialization, mining activities, radioactive activities, domestic 	and agricultural sources), and also by natural processes (volcanism, weathering of 	rocks, evaporation processes) implicitly affecting the human health and the natural 	environment. Pollution refers to changes in the biological and physico-chemical 	characteristics of all water bodies, groundwater as well, such as the increase and 	presence of diverse hazardous materials (heavy metals, polyaromatic hydrocarbons, 	nitrates, nitrogen, chloride) and pathogens (Qiao et al., 2020; Udhayakumar et al., 	2016).Due to its polarity, water has the capacity to suspend, dissolve, absorb and 	adsorb 	many different compounds, therefore contamination could appear (Deeba 	et al., 	2019).

According to Zhao et al. (2020), one of the most significant pollution of the 	environment, respectively of the water sources are represented by the heavy metals, 	due to their serious toxicity at low levels, persistence ability, biomagnification and 	bioaccumulation. Sources of heavy metals are the municipal emissions (coal burning 	and exhaustion gases) for Zn and Ni, while the metal industry (emissions and 	discharges) and sewerage are sources of B, Co, Cu, Ag, Cd (Xiao et al., 2019; 	Belkhiri et al., 2017; Chen et al., 2016; Devic et al., 2014).

Heavy metals could cause health problems after accumulating into the body system 	through the food chain, water ingestion, inhalation, epidermal absorption (Zhao et al., 	2020; Belkhiri et al., 2017). As results, severe implications and different disorders 	may appear (cardiovascular and skeletal diseases, infertility and neurotoxicity) 	(Chabukdhara et al., 2017; Chang et al., 2017). Chemical carcinogens caused about 	90% of the cancer cases (Zhao et al., 2020). These substances could enter into human 	organisms through the drinking water ingestion pathway.

A source for drinking water has to be free of pathogens and its quality has to be 	identified with the help of physico-chemical and biological parameters (Chabukdhara 	et al., 2017). In order to assess the quality of a proper drinking water source, different 	mathematical tools are used all over the world, such water quality index or heavy 	metal pollution index. For example, the arithmetic drinking water quality index 	(DWQI(A)) and DWQI convert the data regarding the water quality into numerical 	expressions, indicating the quality status of water sources (Ponsadailakshmi et al., 	2018). Heavy metal pollution indices (HPI) are efficient tools in assessing the 	pollution status, based on the heavy metal contents (Ghaderpoori et al., 2018). The i	mportance of these methods is given by the possibility to convert quantitative data 	into qualitative data, improving the quality assessment of water and offering clues 	regarding the degree of contamination.

The Romanian inhabitants from rural and urban areas use groundwater and bottled 	water as sources of drinking water. The groundwater originates from alluvial deposits 	and presents high amounts of nitrogen compounds due to agricultural activities 	(Dippong et al., 2019; Hoaghia et al., 2019). Thereby, the groundwater ecosystems 	and the human health must be frequently assessed, by monitoring the heavy metals 	content and other chemical contaminants (Belkhiri et al., 2017). In this direction, in 	order to evaluate the potential human health risk, the chronic daily intake (CDI) 	through water ingestion and the hazard quotient (HQ) are calculated.

Multivariate analysis is widely used in assessment of complex data (differentiation 	and classification of wates with different composition based on major trace elements 	and/other chemical parameters) (Belkhiri et al., 2017; Devic et al., 2014). Among the 	different multivariate techniques, cluster analysis (CA) has become accepted in 	classifying the samples by indicating different degrees of similarities based on their 	chemical characteristics.

There are several studies regarding the chemical composition of spring and mineral 	bottled water from Romania, such as Konczyk et al. (2019) or Carstea et al. (2016). 	Although the requirement for the drinking water obtained by the supply systems is 	increasing in Romania, there are regions in the country where the inhabitants have no 	access to a drinking water source except the bottled water. These findings represent 	only a small part of the study research; the drinking water obtained by the supply 	system is an important solution from the economical part of view as well (the price of 	1 L of bottled water is comparable with the price of 1 m3 of drinking water).

1.2 	Aims and Objectives

The aim of the project is to evaluate and compare the physical, chemical and microbial quality of ground water and stored drinking water in Eleko While

Specific Objective

The specific objective of the project are to

i.	Collect and analyze groundwater and stored drinking water samples using standard method

ii.	Determine the physical, chemical, and microbial parameters of the water samples

iii.	Compare contamination levels between the groundwater sources and the stored water

1.3 	Scope of the Study

This study focuses on assessing and comparing the quality of groundwater sources (wells and boreholes) and household-stored drinking water in an urban setting. The assessment is based on one-time sampling of five source points — three wells and two boreholes — and their corresponding stored water samples collected from households after one week of storage.

The study covers both physicochemical parameters (such as pH, turbidity, total dissolved solids, electrical conductivity, and selected chemical constituents) and microbial contamination indicators (such as Escherichia coli and total coliforms). Laboratory analysis is conducted to evaluate these parameters against established water quality standards.

Additionally, the study investigates possible changes in water quality during household storage and identifies storage-related factors that may contribute to contamination.

1.4.	 Problem Statement of the Study

Access to safe and clean drinking water remains a critical public health concern in many urban areas of developing countries. While groundwater from wells and boreholes is widely used as a primary water source, its safety is often compromised by increasing urbanization, poor waste disposal, and inadequate sanitation infrastructure. Compounding the issue, water that is stored in households for later consumption is frequently subjected to secondary contamination due to unhygienic handling and storage practices.

Despite the recognized importance of water quality, limited studies have simultaneously assessed both source and stored drinking water in urban households. This gap in knowledge makes it difficult to fully understand the extent of water quality deterioration that occurs between collection and consumption. Additionally, there is a lack of localized data on the physical, chemical, and microbial quality of water in such settings, especially using a practical one-time sampling approach. Without this information, communities remain vulnerable to waterborne diseases, and interventions cannot be effectively targeted.

1.5 	Justification of the Study

This study is necessary to provide a comprehensive understanding of the quality of drinking water from source to point-of-use in urban households. By comparing groundwater (from wells and boreholes) with household-stored water, the research aims to identify the extent and nature of contamination introduced during storage. The findings will help uncover critical gaps in household water safety practices and inform public health strategies aimed at reducing the risk of waterborne diseases.

Moreover, the one-time sampling approach is both cost-effective and reflective of real-life conditions where routine monitoring is often unfeasible. The use of standardized laboratory analysis for microbial and physicochemical parameters will ensure that the results are reliable and comparable with national and international water quality standards.

This study will provide evidence-based insights that can support policymakers, water authorities, and health agencies in designing targeted interventions for improving water quality and safeguarding urban public health

CHAPTER TWO

LITERATURE REVIEW

2.1	Background of the Study

Access to clean and safe drinking water is a fundamental human need and a key 	determinant of public health. Despite this, millions of people globally, especially in 	developing countries like Nigeria, rely on unimproved or poorly maintained water 	sources that are susceptible to contamination (WHO, 2017). Groundwater and stored 	drinking water sources are among the most widely used in rural and peri-urban 	communities due to the lack of centralized water infrastructure (UNICEF and  WHO, 	2019).

In many coastal communities such as Eleko, located in the Lekki area of Lagos State, 	Nigeria, groundwater sources (e.g., boreholes and hand-dug wells) are commonly 	used due to their relatively low cost and year-round availability. However, these 	sources are increasingly vulnerable to contamination from anthropogenic activities, 	such as improper waste disposal, poorly designed septic systems, agricultural runoff, 	and saltwater intrusion (Adeyemi et al., 2020; Ibe and  Okosun, 2019).

Stored water, often kept in household containers or storage tanks, presents a different 	but equally significant contamination risk. While water may be safe at the point of 	collection, poor storage practices, such as unclean containers, uncovered storage, or 	frequent hand contact, can introduce microbial contaminants, including Escherichia 	coli and total coliform bacteria (Brick et al., 2004; Wright et al., 2004). This problem 	is amplified in communities where water sources are far from households and bulk 	collection for storage is necessary.

Several studies have shown that the quality of stored drinking water tends to 	deteriorate over time due to environmental exposure, user practices, and storage 	conditions (Gundry et al., 2004; Tambekar et al., 2008). Consequently, comparing the 	contamination risks and quality of groundwater and stored water sources is essential 	in understanding the dynamics of waterborne diseases and formulating strategies to 	ensure water safety.

This literature review aims to explore the key issues around water quality, particularly 	in relation to groundwater and stored drinking water sources. It also highlights the 	importance of water quality monitoring and management in peri-urban and rural 	Nigerian contexts, with a focus on Eleko. By reviewing global and local literature, 	this chapter will provide a conceptual and empirical foundation for the study, identify 	relevant knowledge gaps, and guide the development of research tools for assessing 	water contamination in the case study area.

2.2 	Concept of Water Quality

Water quality refers to the chemical, physical, biological, and radiological 	characteristics of water, which determine its suitability for various uses, including 	drinking, agriculture, industry, and recreation (Chapman, 1996). In the context of 	drinking water, quality is assessed primarily in terms of its safety and acceptability for 	human consumption. The World Health Organization (WHO, 2017) defines safe 	drinking water as water that is free from pathogens and harmful chemical substances, 	and that meets aesthetic standards such as taste, color, and odor.

    - Physical, Chemical, and Biological Aspects of Water Quality

      - Physical parameters include turbidity, color, temperature, taste, and odor. These characteristics affect the acceptability of water by consumers. For instance, high turbidity can protect microorganisms from disinfection and may indicate the presence of disease-causing organisms (Tebbutt, 1998).

      - Chemical parameters refer to the presence and concentration of inorganic and organic substances such as pH, nitrate, chloride, fluoride, heavy metals (e.g., lead, arsenic), and pesticides. Even at low concentrations, some of these substances can pose long-term health risks (WHO, 2017). For example, elevated nitrate levels in drinking water can cause methemoglobinemia or "blue baby syndrome" in infants (Ward et al., 2005).

2.2.1.3	Biological parameters include microorganisms such as bacteria, viruses, and 	protozoa. The 	presence of coliform bacteria, especially Escherichia coli, is commonly 	used as an indicator of fecal contamination and microbial safety of water (Edberg et 	al., 2000).

### 2.2.2	Determinants of Water Quality

Water quality is influenced by both natural factors and anthropogenic activities. 	Natural factors include geological formations, soil characteristics, and rainfall 	patterns, which can affect the presence of minerals and dissolved solids in 	groundwater. On the other hand, human activities such as agricultural runoff, sewage 	discharge, industrial effluents, and improper waste disposal contribute significantly to 	water 	pollution, especially in rural and peri-urban communities (Bartram and  	Cairncross, 2010).In stored water sources, the quality is often compromised during 	collection, transport, 	and storage due to poor handling practices and inadequate 	sanitation.

According to Wright et al. (2004), even water that meets microbiological standards at 	the point of collection may become contaminated during household storage, making 	post-collection contamination a major concern in water safety.

### 2.2.2.1	Standards for Water Quality

To protect public health, several organizations have developed guidelines and 	standards for drinking water quality. The World Health Organization (WHO) 	provides international benchmarks, while national regulatory bodies such as the 	Nigerian Standard for Drinking Water Quality (NSDWQ) establish context-	specific limits for contaminants in Nigeria (SON, 2015). These standards define 	maximum allowable concentrations for various physical, chemical, and biological 	constituents, ensuring the water's safety and suitability for consumption.

2.3 	Groundwater Sources and Quality

2.3.1	 Definition and Importance of Groundwater

Groundwater is water that exists below the earth’s surface, stored in the pores and 	fractures of soil and rock formations called aquifers. It is a major source of freshwater 	globally, supplying about 50% of the world's drinking water and up to 80% of 	rural water needs in developing countries (UNESCO, 2015). In Nigeria, particularly 	in peri-urban and rural communities like Eleko, groundwater is the primary source of 	drinking water due to limited access to treated municipal water supplies (Adelekan, 	2010). Groundwater sources include hand-dug wells, boreholes, and springs. These 	sources are typically more protected from surface contaminants than open surface 	water but are not immune to pollution, especially in shallow aquifers.

2.3.2	Types of Groundwater Sources

2.3.2.1	Shallow Wells (Hand-dugwells)
	These are typically less than 15 meters deep and are prone to contamination due to 	proximity to the surface and human activities. They are often unlined and uncovered, 	making them vulnerable to infiltration from septic systems, agricultural runoff, and 	waste dumps (Howard et al., 2003).

2.3.2.2	Deep Wells and Boreholes
	Boreholes can extend to depths exceeding 100 meters and are often cased and sealed 	to protect water quality. They tap into deeper confined aquifers, which are generally 	less susceptible to surface pollution. However, they may still be affected by 	geological contaminants such as arsenic, fluoride, or iron (MacDonald et al., 2005).

2.3.2.3	Springs
	These occur when groundwater naturally emerges at the earth’s surface. While often 	perceived as clean, spring water can be influenced by seasonal changes and land use 	in the recharge zone.

2.3.3 Factors Affecting Groundwater Quality

Groundwater quality is shaped by a combination of natural geological processes and 	human-induced contamination.

2.3.3.1	Natural Factors: These include the mineral composition of rocks and soils in the a	quifer, which can influence the presence of elements like iron, manganese, fluoride, 	and nitrates (Foster et al., 2000). In coastal areas like Eleko, saltwater intrusion is 	also 	a concern due to over-extraction of freshwater, leading to increased salinity 	levels (Custodio, 2010).

Anthropogenic Activities: Poor waste disposal, leaking septic tanks, agricultural 	runoff, and industrial discharges contribute to contamination. Nitrates and microbial 	pathogens are among the most common pollutants resulting from these activities 	(Lloyd and Helmer, 1991).

2.3.4 Common Groundwater Contaminants

2.3.4.1 Microbiological Contaminants:
	Pathogens such as E. coli, total coliforms, and fecal streptococci can indicate 		recent fecal contamination. These microbes often enter shallow wells through 		surface runoff or seepage from latrines (WHO, 2017).

2.3.4.2 Chemical Contaminants:
	These include nitrate, fluoride, arsenic, iron, manganese, and heavy metals like lead 	and cadmium. High nitrate levels in drinking water are linked to methemoglobinemia 	in infants, while prolonged fluoride exposure can cause dental and skeletal fluorosis 	(Ward et al., 2005; Edmunds and Smedley, 2000).

2.3.5 Groundwater Quality Standards

Groundwater intended for drinking must meet the standards set by health authorities 	to be considered safe. The World Health Organization (WHO) and the Nigerian 	Standard for Drinking Water Quality (NSDWQ) outline permissible limits for 	contaminants to guide water safety assessments (SON, 2015; WHO, 2017).

For example:

- Nitrate (NO₃⁻): ≤ 50 mg/L

- Total coliforms: 0 CFU/100mL

- pH: 6.5–8.5

- Iron: ≤ 0.3 mg/L

Failure to meet these standards can indicate health risks and necessitates treatment or 	remediation strategies.

2.3.6	 Groundwater Monitoring and Management

Proper monitoring of groundwater quality is essential for sustainable water resource 	management. This includes periodic testing, community sensitization, and protection 	of recharge areas. In many developing regions, groundwater management is limited 	due to lack of resources, policy enforcement, and technical capacity (UN-Water, 	2022). In Eleko and similar coastal communities, there is a need for integrated water 	resource management (IWRM) approaches that consider population growth, 	environmental risks, and climate change impacts on groundwater sustainability

2.4 	Groundwater Quality and Contamination Risks

Groundwater is one of the most widely used sources of drinking water in both urban 	and rural settings, particularly in developing countries like Nigeria. It is generally 	considered safer than surface water due to its natural filtration through soil layers; 	however, increasing anthropogenic activities and hydrogeological vulnerabilities—	especially in coastal areas—make groundwater increasingly prone to contamination 	(Adeyemi et al., 2015; Olalekan et al., 2018).

In Eleko, a coastal settlement in Lagos State, groundwater is accessed primarily 	through hand-dug wells and boreholes. These water points are often unregulated and 	exposed to pollution from urban runoff, open defecation, septic tank leakage, 	agricultural runoff, and saline intrusion.

2.4.2 Types of Groundwater Contaminants

2.4.2.1	Microbial Contaminants

According to Oyem et al. (2014), over 70% of shallow wells sampled in parts of 	Lagos contained fecal coliforms above WHO recommended limits, primarily due to 	proximity to pit latrines and poor sanitary protection of water points. Akpoveta and 	Osakwe (2014) also reported high microbial loads in boreholes near septic tanks and 	dump sites. Microbiological contamination, particularly from fecal origin, is a serious 	risk in 	shallow wells and poorly constructed boreholes. Common pathogens include 	Escherichia coli, Salmonella, Shigella, and fecal coliforms.

2.4.2.2	Chemical Contaminants

Groundwater may also contain elevated levels of toxic metals such as lead (Pb), 	cadmium (Cd), arsenic (As), chromium (Cr), and nitrates (NO₃⁻), depending on the 	surrounding geology and anthropogenic activities.

In Eleko and nearby coastal communities, studies by Egbueri (2020) and Aderemi et al. (2011) found that lead and cadmium concentrations exceeded WHO standards in groundwater samples, especially during the dry season when dilution is low

- Heavy metals often originate from industrial discharge, waste leachate, corroding pipelines, and agrochemical runoff (Afolabi et al., 2021).

- Nitrates from fertilizer use and sewage percolation pose a particular risk to infants, leading to methemoglobinemia or "blue baby syndrome" (WHO, 2017).

2.4.2.3	 Salinity and Saltwater Intrusion

Coastal aquifers are vulnerable to seawater intrusion due to over-abstraction of fresh 	water and rising sea levels. Saline intrusion leads to elevated levels of sodium (Na⁺), 	chloride (Cl⁻), and electrical conductivity (EC), rendering the water unfit for human 	consumption and agriculture (Ghrefat et al., 2014).

In Lagos, particularly in Lekki and Eleko, saltwater intrusion has been documented in 	boreholes as a result of excessive pumping and absence of proper regulation (Edet and  	Okereke, 2014). Water samples frequently exceed WHO chloride and sodium limits 	(250 mg/L and 200 mg/L, respectively), affecting taste and posing hypertension risks 	to consumers.

2.4.3 Sources and Pathways of Contamination

2.4.3.1	Poorly Sited Sanitation Facilities
	Pit latrines and soak-away systems are often constructed near water sources in 	unplanned settlements like Eleko. Without adequate vertical and horizontal 	separation, contaminants easily leach into groundwater.

2.4.3.2	Open Dumps and Waste Sites
	Unregulated disposal of household and industrial waste results in leachate that carries 	heavy metals and organic pollutants into aquifers. Studies by Adewusi and  Jegede 	(2019) around Lagos revealed high contamination indices in wells near dumpsites.

2.4.3.3	Agricultural Activities
	The use of nitrogenous fertilizers and pesticides near farmland in peri-urban areas like 	Eleko can lead to nitrate and phosphate infiltration into the subsurface water table 	(Ukah et al., 2019).

2.4.3.4	Over-abstraction and Urbanization
	Excessive groundwater extraction—common in Lagos due to unreliable municipal 	supply—reduces hydraulic pressure, encouraging seawater encroachment into 	freshwater zones (Bello et al., 2017).

2.4.4 Hydrogeological and Seasonal Factors

The lithology of coastal Eleko comprises sandy alluvium and shallow aquifers that are 	highly permeable, facilitating the easy movement of contaminants from surface to 	subsurface. The absence of impermeable confining layers further increases 	vulnerability.

Ogundele et al. (2016) reported that electrical conductivity and nitrate levels peaked 	during dry seasons in the Lagos coastal belt, indicating seasonal influences on water 	quality.

- Rainy Season: Increases infiltration of pollutants through runoff and overflowing latrines.

- Dry Season: Leads to concentration of contaminants due to reduced recharge and dilution.

### 2.4.5 Health Implications

2.4.5.1	Microbial Contamination: Leads to waterborne diseases such as cholera, typhoid, 	dysentery, and hepatitis A (WHO, 2020).

2.4.5.2	Heavy Metals: Chronic exposure to lead, cadmium, and arsenic can cause 	neurological disorders, kidney damage, cancer, and developmental issues in children 	(USEPA, 2018).

2.4.5.3	High Nitrate Levels: Pose a risk to infants and pregnant women, leading to anemia 	and developmental delays (CDC, 2017).

2.4.5.4	Salinity: Prolonged ingestion of saline water contributes to elevated blood pressure 	and kidney strain.

## 2.5 	Stored Drinking Water Quality and Contamination Risks

Stored drinking water refers to water that has been collected, treated (or untreated), 	and then kept in containers such as jerry cans, clay pots, plastic drums, or overhead 	tanks for later use. In low- and middle-income countries like Nigeria, where 	intermittent supply, poor infrastructure, and reliance on self-sourced water (e.g., 	boreholes, wells, sachets) are common, water storage at the household level is a 	critical part of daily water access. While storing water offers convenience and buffers 	against supply irregularities, it also poses serious contamination risks, especially in 	environments like Eleko, where sanitation and hygiene conditions are often 	substandard.

### 2.5.2 	Microbial Contamination in Stored Water

#### 2.5.2.1	Pathways of Contamination

According to Wright et al. (2004), microbial water quality often deteriorates during 	household storage due to poor handling practices, even if the source water meets 	WHO standards. Water may be of good quality at the point of collection but become 	contaminated 	during storage due to:

- Hand contact during scooping

- Uncovered containers exposed to dust, flies, and rodents

- Unclean utensils used to fetch water

- Biofilm development on inner surfaces of containers

- Storage in unsanitary environments (e.g., near toilets or refuse heaps)

#### 2.5.2.2	Microbial Indicators and Pathogens

Common contaminants include total coliforms, Escherichia coli, Salmonella, 	Shigella, and Vibrio cholerae. In Nigeria, Igbinosa and Okoh (2009) reported high 	coliform levels in stored household water in rural communities despite being collected 	from “improved” sources.

WHO (2017) guidelines state that E. coli must not be detectable in any 100 mL of 	drinking water. Yet, studies in Nigeria have shown that up to 60–70% of household 	water storage containers test positive for E. coli due to recontamination (Awuah et al., 	2009; Ezeugwunne et al., 2009).

### 2.5.3 	Chemical and Physical Deterioration of Stored Water

A study by Omalu et al. (2010) found that prolonged storage of sachet water in sun-	exposed environments increased lead levels, while iron and microbial content also 	rose significantly over time. Although microbial risks are most common, stored water 	can also be affected by chemical changes:

- Heavy metal leaching from low-grade plastic containers stored under sunlight (especially Pb, Cr, and Fe)

- Increased turbidity from suspended particles due to poor container hygiene

- Taste and odor changes due to stagnation or organic matter

### 2.5.4 Common Storage Practices and Their Risks in Nigerian Context

#### 2.5.4.1	Container Type

- Narrow-mouthed containers are safer but less common

- Open buckets and jerry cans are widely used and more prone to contamination

- Reused oil drums or food-grade containers may leach chemicals or harbor bacteria

#### 2.5.4.2	Handling Behavior

A study by Onyango et al. (2018) found that in Lagos households, 72% of containers 	were uncovered, and over 50% had visible biofilm or sediment, making them 	unsuitable for safe water storage

- Dipping cups or bowls into the container rather than pouring water increases contamination risks

- Not washing storage containers regularly encourages biofilm buildup

- Storing water indoors near toilets or waste bins increases microbial exposure

### 2.5.5 Evidence from Nigeria and Similar Settings

| Study | Location | Findings |
| --- | --- | --- |
| Ezeugwunne et al. (2009) | Anambra State | Over 65% of stored water in homes tested positive for E. coli |
| Igbinosa and Okoh (2009) | South-South Nigeria | High coliform levels in storage containers even when source water was treated |
| Omalu et al. (2010) | Kwara State | Lead and iron levels in sachet water increased after 4 weeks of storage in sunlight |
| Oyelude and Ahenkorah (2012) | Ghana-Nigeria border | Biofilm presence in 80% of clay pots and jerry cans used for water storage |
| Onyango et al. (2018) | Lagos | 78% of households did not clean water storage containers weekly; coliform levels correlated with handling practices |

### 2.5.6 Health Implications of Poor Storage

Stored water with high microbial loads may also lead to skin infections, respiratory I	llness (e.g., from Legionella), and indirect exposure to antibiotic-resistant bacteria 	(Akinde et al., 2017). Unsafe stored drinking water is a leading cause of diarrhoeal 	diseases, which account for an estimated 485,000 deaths annually worldwide (WHO, 	2017). In Eleko, frequent outbreaks of cholera and typhoid are linked to poor hygiene 	and unsafe water handling.

- Children under five are especially vulnerable to diarrhoea, dehydration, and malnutrition.

- Elderly and immunocompromised individuals are at increased risk of severe illness from pathogens such as Salmonella, Shigella, and Cryptosporidium.

### 2.5.7 	Risk Factors for Stored Water Contamination

| Risk Factor | Impact |
| --- | --- |
| Uncovered containers | Allows entry of dust, insects, rodents |
| Dipping vs. pouring | Increases hand-to-water contact |
| Long storage duration | Allows microbial regrowth |
| Exposure to sunlight | Chemical leaching and microbial multiplication |
| Infrequent washing | Biofilm development and pathogen persistence |
| Proximity to toilets/waste | Higher exposure to fecal pathogens |

### Mitigation Measures and Best Practices

- Use of Narrow-Mouthed, Covered Containers
Studies show reduced contamination in containers that prevent hand access (Wright et al., 2004).

- Proper Handling Techniques
Encouraging pouring rather than dipping, and regular cleaning of containers with soap and safe water.

- Household Water Treatment
Methods such as boiling, chlorination, and SODIS (solar disinfection) have proven effective (Sobsey et al., 2008). However, adoption rates in Nigeria remain low due to cost, awareness, and cultural practices.

- Behavior Change Communication (BCC)
Community health education to promote handwashing before water handling, regular disinfection, and hygiene around storage areas (UNICEF, 2021).

- Policy and Regulation
Government agencies like NAFDAC and SON must regulate storage container materials, especially those used for packaged water, to prevent chemical leaching and microbial contamination.

### 2.5.9 	Implications for Eleko

In Eleko, where groundwater is typically fetched and stored for several days without 	treatment, the following challenges are common:

- Water stored in uncovered plastic containers, exposed to dust and animal contact

- Hand-dug wells and boreholes contaminated at the point of collection, then further deteriorating in storage

- Poor hygiene and limited awareness of proper water storage practices

- Absence of household-level water treatment

2.6 	Review of Past Project Work

Drinking water that contains pathogenic microorganisms may cause illness and, as 	such, it is important to have some measure (or measures) that establishes whether it is 	safe to drink. For the most part there are too many different pathogens to monitor and 	as the majority of pathogens are derived from faecal material the idea of using non -	pathogenic bacteria as an index of faecal pollution was developed. Initially only a few 	such parameters were used, but now there are more techniques and methodologies 	available. It is possible to monitor a wide range of index/indicator parameters 	(microbial and non- microbial) and also pathogens and there is a move towards using 	a variety of different parameters throughout the water production process and, indeed, 	a catchment to consumer approach to water safety plans. New methods are constantly 	being developed, ranging from increased pathogen detection to more real-time 	microbial and non-microbial parameter monitoring. The development of new and 	improved methodologies, along with the need for vigilance with regard to emerging 	hazards, results in the need for frequent re-evaluation of the best approaches and 	indicator parameters.

Also Bacterial contamination of drinking water can be a problem. A water test is the 	only way to evaluate whether vac is present in a water supply. A public water supplier 	just test water for bacteria and comply with EPA standards of zero total coliform per 	100ml of water

Lastly, According to World Health Organization guideline (WHO, 2003), total 	coliform counts must not be detected in any 100 ml of drinking water samples. 	Therefore, results of total coliforms obtained in the present study showed that all 	examined samples from wells (100%) and most surface water (92%) exceeded the 	recommended values and not safe for drinking. Although, the WHO guideline for 	drinking water does not allow any detection of fecal coliforms and E. coli, in our 	study, it was found out that 92.6% of well water samples are contaminated with fecal	 coliforms, while 54.1% surface water samples are contaminated with E. coli. The 	contamination of these water sources is probably due to poor protections and exposure 	to contamination by human and domestic wastes. The behavioral and hygienic 	practices of the community might also be contributing to this high load of indicator 	organisms. During the survey it was observed that communities in the study area 	practice open field defecation, bathing and washing closes in rivers and the same 	water source is used for domestic animals (Figure 2). The river is located in sloppy 	area and most wells are found at lower elevation compared to the fields used for open 	defecation. Hence, fecal matter produced by the cattle and human inevitably reaching 	the water sources and increased the contamination. Spring water was found less 	contaminated by coliforms and none of them were contaminated with E. coli. The low 	prevalence of coliforms and the absence of E. coli in spring water sample might be 	due to the geographical protection of springs from animal wastes. In addition, most 	springs in the area are located under the stones where it flows from a narrow outlet 	between the stones and as a result the probability of being contaminated by human or 	animal is low. The continuous flow of the spring water may also contribute for its low 	contaminations by washing away the microbes. Salmonella and Shigella spp. were 	isolated from various water sources especially from rivers. The sources of 	contamination are probably due to human and animal feces and the introduction of 	microorganisms by birds and wild animals. The high prevalence of bacterial 	pathogens in river water sources might be due to behavioral practices related to use of 	the river water sources for bathing, washing cloth and disposing of wastes into the 	river. The high prevalence of Salmonella spp. isolation from surface water sources 	might be due to manure from free-grazing domestic animals and wild species that can 	spread onto adjacent fields. The bacteria from the manure enter surface waters with 	the correct combination of topography and flood. The non- detection of pathogen in 	some well water sample might be a reflection on the depth of the well among several 	other contributing risk factors. The detection of these enteric pathogens from drinking 	water in the study area will put the community at high risk of diarrheal dis study area 	(data not shown) indicate that there is high prevalence of diarrheal diseases.

CHAPTER THREE

METHODOLOGY

3.1.	 Location of the Study Area

Eleko community is located in Asa L.G.A of Kwara State, Nigeria. It lies between latitude 08o 20’ 0” N and longitude 04 o 29’ 0”E and latitude 08o 33’ 38.4”N and 04o 38’ 20.6” E of the Greenwich meridian. It lies on altitude of approximately 372m which is about 1,220 feet. Figure 1 is the satellite imagery Elekoyangan community

Figure 1: Satellite imagery of the study area

Source: www.goggle,com

3.2	Water Sampling Procedure

Selection of water sources was done by random sampling procedure. A total number of five groundwater samples were collected within Eleko community: Two wells and three boreholes. The samples were collected separately in a sterilized bottle for rain season and dry season respectively. Before collecting the water samples, the bottle container was washed and rinsed thoroughly with water. The water samples collected were taken to the laboratory for analysis using standard methods. The Global Position System (GPS) was used to determine the coordinates of the sampled points.

3.3	Laboratory Analysis of the Water Samples

The Laboratory analysis of the water samples was carried out at Fisbol Geosciences and analytical service sabo oke ilorin, kwara state. The water samples were tested for selected physical, chemical and biological.The laboratory analysis was carried out using standard analytical methods and physical procedures for water quantity analysis.

3.4	Analysis of parameters

3.4.1 	Physical parameters

A number of tests were carried out to determine physically parameters and there quantities in each ground water samples

3.4.2.1 Temperature

The temperature of each sample was measured directly at the collection site from the boreholes and wells using a thermometer.

3.4.2.2 Color / Odor

The Equipment use in determine color is colorimeter and odor is odor panel

3.4.2.3	 PH

The Equipment for the PH is  pH meter.

3.4.2.4 Filterable solids

Determined by filtering the sample through a filter and then measuring the solids present in the filtrate.

3.4.3 Chemical Analysis

Tests varying in equipment and reagent used were carried out to analyze samples for chemical parameters

3.4.3.1 Total hardness

The total hardness, which includes both temporary and permanent hardness, was determined using the EDTA titrimetric method.

3.4.3.2 Chloride

Chloride concentration was determined using the Mohr titration method. Silver nitrate was titrated against the water sample, with potassium chromate (K,CrO4) used as the indicator.

3.4.3.3 Sulphate

Sulphate levels in water samples were determined using the turbidimetric method. The results were measured with a Spectr oMec 20 Atomic Absorption Spectrophotometer and subsequently converted to mg/L.

3.4.3.4 Nitrate

Sulphate levels in water samples were determined using the turbidimetric method. The results were measured with a SpectroMec 20 Atomic Absorption Spectrophotometer and subsequently converted to mg/L.

3.4.3.5 Trace Elements

Zinc, Iron, copper, manganese, The results were directly obtained from the Atomic Absorption Spectrophotometer, Spectronic 20 model.

3.4.4 	Biological Analysis

3.4.4.1 Total Viable Counts

Total Viable Plate Counts (TVPC) is a microbiological technique used to estimate the number of viable microorganisms present in a sample. It provides an indication of the overall microbial population and can be used to assess the quality and safety of various products, including food and water.

3.4.4.2 Coliform Counts

Coliform counts are used to evaluate the microbial quality of water, food, and other products by detecting the presence and concentration of coliform bacteria. Coliforms are a group of bacteria commonly found in the environment, including soil and vegetation, as well as in the feces of warmblooded animals. Their presence indicates potential contamination with fecal material.

3.4.4.3 E. Coli

Escherichia coli (E. coli) is a type of bacterium commonly found in the intestines of warm-blooded animals, including humans. It is a versatile organism used in research, biotechnology, and medicine.

      - Streptococcus Feacalis

Streptococcus faecalis (now more commonly known as Enterococcus faecalis) is a type of bacterium that is part of the normal flora of the gastrointestinal tract in humans and animals. It is also known for its role in both health and disease.

3.5	Methods of Data Analysis

The data that were collected from the laboratory analysis of the water samples were further analyzed using statistical tools and the results obtained were presented in tables.

CHAPTER FOUR

RESULT AND DISCUSSION

4.1	Result

Table 4.1: show the Comparative Study on the Quality and Contamination Risks of Groundwater and Stored Drinking Water Sources

| S/N | Parameter | A1 | A2 | B1 | B2 | C1 | C2 | D1 | D2 | E1 | E2 | W.H.O. Permissible level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Temperature ˚C | 30.2 | 31.6 | 30.4 | 30.6 | 30.6 | 31.2 | 31.8 | 30.8 | 30.9 | 30.9 | - |
| 2. | Colour units | 42.0 | 39.8 | 17.0 | 15.5 | 12.0 | 63.4 | 49 | 48.6 | 61 | 61 | 15.0 |
| 3. | Turbidity N.T.U | 25 | 62 | 9 | 48 | 8.5 | 92 | 21 | 67 | 20 | 20 | 5.0 |
| 4. | Ph | 7.7 | 7.7 | 8.1 | 7.4 | 7.6 | 7.3 | 7.1 | 6.9 | 7.2 | 7.2 | 6.5-8.5 |
| 5. | TDS | 680 | 65 | 980 | 104.1 | 790 | 159 | 879 | 78 | 710.5 | 110.5 | 500 |
| 6. | Electrical Cond. | 1176 | 118.6 | 1850 | 246.2 | 1568 | 346 | 1758 | 150.8 | 1419 | 1419 | 1000 |
| 7. | Filterable solids mg/l | 150 | 28 | 240 | 48 | 391 | 68 | 248 | 31 | 358 | 358 | 500 |
| 8. | Total alkalinity mg/l | 48 | 28.2 | 61 | 40.6 | 71 | 54.1 | 82 | 71.6 | 68 | 68 | 200 |
| 9. | Chloride mg/l | 22 | 3.2 | 38 | 8.4 | 64 | 29.7 | 45 | 42.3 | 30.7 | 30.7 | 250 |
| 10. | Fluoride mg/l | 0.10 | 0.31 | 0.04 | 0.14 | 0.01 | ND | 0.21 | ND | 0.18 | 0.18 | 1.5 |
| 11. | Manganese Mn2+ mg/l | ND | ND | 0.1 | 0.7 | 0.1 | 0.60 | 0 | ND | 0.3 | 0.3 | 0.10 |
| 12. | Iron Fe3+ mg/l | 0.05 | 0.01 | 0.05 | 0.62 | 0.02 | ND | 0 | 0.75 | 0.36 | 0.36 | 0.30 |
| 13. | Sulphate mg/l | 24 | 16.7 | 17 | 28.3 | 34 | 64 | 29 | 34 | 42 | 42 | 100 |
| 14. | Nitrate mg/l | ND | ND | ND | 18.4 | 24.1 | 9.57 | 23.43 | 3.3 | 18.6 | 18.6 | 50 |
| 15. | Calcium hardness mg/l | 19 | 28 | 31 | 59.7 | 29 | 67.8 | 38 | 71.6 | 40.1 | 40.1 | 150 |
| 16. | Magnesium hardness | 4.2 | 8.8 | 10.2 | 25.6 | 13.3 | 48.6 | 15 | 62.1 | 20 | 20 | 150 |
| 17. | Free Chlorine | 0.01 | 0.04 | 0.01 | ND | ND | ND | 0.01 | 0.02 | 0.05 | 0.05 | 0.10 |
| 18. | Calcium Ca2+ mg/l | 12 | 6.5 | 25 | 14.6 | 32 | 19.9 | 39 | 20.3 | 53 | 53 | 150 |
| 19. | Nitrite | 0.08 | 0.06 | 0.14 | 0.08 | 0.22 | 0.01 | 0.41 | 0.08 | 0.51 | 0.51 | 0.2 |
| 20. | Total hardness mg/l | 28 | 10.4 | 42 | 18.7 | 54 | 35.6 | 78 | 49.7 | 98.9 | 98.9 | 100 |
| 21. | Potassium Hardness | 10 | 4.21 | 8 | 6.84 | 25 | 10 | 31 | 15 | 38 | 38 | 100 |
| 22 | Copper | ND | 0.01 | ND | 0.08 | 0.05 | 0.21 | 0.08 | 0.32 | 0.04 | 0.04 | 1.0 |
| 23 | Zinc | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 3.0 |
| 24. | Silica | 0.05 | 0.17 | 0.09 | 0.08 | 0.31 | 0.12 | 0.25 | 0.08 | 0.38 | 0.38 | - |
| 25 | Total viable plate count cfu/ ml | 52 | 28 | 68 | 76 | 3508 | 2918 | 2482 | 3714 | 4817 | 4802 | 100 |
| 26 | Coliform counts / 100ml | 9 | 4 | 15 | 8 | 1450 | 408 | 598 | 516 | 984 | 874 | 0 |
| 27 | E.coli/ 100ml | ND | ND | ND | ND | 54 | 34 | 87 | 120 | 92 | 343 | 0 |
| 28 | Streptococcus feacalis | ND | ND | ND | ND | 71 | ND | 69 | ND | 84 | ND | 0 |

and Stored Drinking Water Sources in Eleko Community

WHO- World Health Organization 				ND- Not detected

KEY

A1 = STORDED BOREHOLE WATER

A2= RAW BOREHOLE WATER

B1 = STORDED BOREHOLE WATER

B2= RAW BOREHOLE WATER

C1 = STORDED WELL WATER

C2 = RAW WELL WATER

D1 = STORDED WELL WATER

D2 =RAW WELL WATER

E1 = STORDED WELL WATER

E2 = RAW WELL WATER

4.2	Discussion

4.2.1 Comparative analysis of raw and stored water color

Table 4.1 and figure 4.1 , Pairs A, D, E show high color contamination both at source and in storage C2 (63.4 CU) which is the highest indicating serious quality issues and health concerns, Pair B slightly exceeds WHO thresholds, indicating borderline quality needing improvement and Pair C (12.0 CU), now within acceptable limit, shows a significant improvement in stored water color, which may indicate treatment or settling during storage, lowering risk. Raw water to should be Treated to reduce color, possibly via filtration, coagulation, or sedimentation before storage or consumption.

4.2.2  Comparative analysis of raw and stored water turbidity

Both the stored and raw underground water exceeds the W.H.O guidelines (5NTU), unsafe for drinking, which suggests the presence of suspended solids, sediments, organic matter, and possibly microbial contaminants as shown in table 4.1 and figure 4.2. The tested water samples demonstrate unacceptable turbidity levels according to WHO standards. Even though turbidity is lower in the stored water compared to raw water, both require treatment to reduce turbidity below 5 NTU and ideally below 1 NTU to comply with WHO guidelines and ensure safety for drinking and domestic use. Treatment steps such as sedimentation, filtration, and disinfection are essential before consumption to meet WHO turbidity standards and ensure microbiological safety. (W.H.O, 2017)

4.2.3 Comparative analysis of raw and stored water TDS

Raw groundwater sources show acceptable TDS levels according to WHO, indicating suitability as drinking water sources. Stored water shows elevated TDS across all sites, exceeding WHO guidelines, suggesting contamination during or after storage. Storage practices must be reviewed and improved to prevent leaching or contamination (use of clean, inert containers; protection from environmental contaminants).As shown in table 4.1 and figure 4.3 below.

4.2.4 Comparative analysis of raw and stored water electrical conductivity

Raw water is generally compliant with WHO Electrical Conductivity standards, except for site E (Stored (E1) 205 NTU and Raw (E2)  5.0 NTU). Figure 4.4, Stored water consistently shows increased electrical conductivity beyond guidelines, potentially from contamination or poor storage practices, risking consumer health and acceptability. (WHO 2017)

4.2.5  Comparative analysis of raw and stored water iron

Figure 4.5 shows the pairs B, D, and E, (0.62, 0.75 and 0.36) raw water iron exceeds WHO limits (0.30). In E, both raw and stored water (0.36,0.36) are above the limit.

Storage sometimes reduces iron (e.g., D2 to D1), but not always enough to meet standards.

Stored water often shows increased bacterial contamination compared to raw water, even if chemical parameters improve or remain stable. This is due to poor storage practices, container material, and biofilm formation, which can introduce or amplify pathogens like E. coli and other bacteria, raising health risks above WHO guidelines (Shields et al., 2015; Bae et al., 2019; Binibor et al., 2025). Storage in certain materials (especially plastic and aluminum) can worsen water quality by increasing chemical leaching and supporting bacterial growth (Binibor et al., 2025).

4.2.6  Comparative analysis of raw and stored water manganese

In B, C, and E (0.7, 0.60 and 0.3), raw water manganese exceeds the WHO limit (0.10). In E (0.3,0.3), both stored and raw water are above the limit.

Storage sometimes reduces manganese (e.g., B2 to B1, C2 to C1), but not always to safe levels.

Aluminum containers can significantly increase manganese contamination in stored water, sometimes far exceeding safe limits (Binibor et al., 2025).

Storing water in certain materials, especially aluminum, can lead to a dramatic increase in manganese and iron, making water unfit for consumption (Binibor et al., 2025).

Even when chemical parameters improve or remain stable, stored water is at higher risk for microbial contamination due to poor storage practices, container material, and biofilm formation (Bae et al., 2019; Binibor et al., 2025).

4.2.7  Comparative analysis of raw and stored water nitrate

All raw and stored water samples are below the WHO nitrate limit (50). Stored water C and D (24.1 and 23.43), has higher nitrate than raw water, suggesting possible contamination during storage or concentration due to evaporation. While nitrate levels are within safe limits, stored water is at higher risk for microbial contamination due to poor storage practices, container material, and biofilm formation, even if chemical parameters like nitrate remain safe (Shields et al., 2015; Bae et al., 2019; Binibor et al., 2025).

4.2.8 Comparative analysis of raw and stored water nitrite

A and B: Both raw and stored water are within WHO limits, but stored water shows slightly higher nitrite, suggesting possible contamination during storage.

C: Stored water C1 (0.22) slightly exceeds the WHO limit, while raw water C2 (0.01) is well below, indicating contamination risk during storage.

D: Stored water D1 (0.41) is more than double the WHO limit, while raw water D2 (0.08) is within limits, again pointing to storage-related contamination.

E: Both raw and stored water E1 and E2 (0.51) exceed the WHO limit, indicating source contamination. As shown in figure 4.

water quality often deteriorates during storage, with increased risk of chemical and microbial contamination, especially if containers are not regularly cleaned or if water is stored for several days (Shields et al., 2015; Bae et al., 2019; Feleke et al., 2018; Khanal et al., 2024).

Both raw and stored water exceed limits in E the underground source is already contaminated, requiring treatment before use (Khan et al., 2017; Khanal et al., 2024).

Chronic exposure to nitrite above WHO limits can cause health issues, particularly in infants (methemoglobinemia) and may have synergistic effects with other contaminants (Wasana et al., 2017).

Regular cleaning of storage containers, minimizing storage time, and treating contaminated sources are essential to reduce risk (Shields et al., 2015; Bae et al., 2019; Feleke et al., 2018; Khanal et al., 2024).

4.2.9  Comparative analysis of raw and stored water total hardness

Table 4.1 and figure 4. Shows all measured values for both raw (A2–E2) and stored (A1–E1) water are below the WHO permissible limit of 100 mg/L. Stored water generally shows lower hardness than its raw counterpart in each pair, indicating some reduction during storage or treatment. The reduction in hardness from raw to stored water is consistent across all locations, with the largest drop seen in E1/E2 (98.9 mg/L to 98.9 mg/L, no change), and the smallest in A1/A2 (28 mg/L to 10.4 mg/L). Storage can sometimes introduce or concentrate contaminants, especially if containers are not regularly cleaned or are exposed to environmental sources (Bae et al., 2019; Binibor et al., 2025).

Research consistently shows that water quality often deteriorates during storage, with increased risk of microbial contamination, even if chemical parameters like hardness remain within safe limits. Stored water is more likely to exceed WHO guidelines for microbial safety, especially if storage containers are not regularly cleaned or if water is stored for more than three days (Shields et al., 2015; Bae et al., 2019; Feleke et al., 2018; Khanal et al., 2024).

The type of storage container can influence contamination risk. Plastic and clay containers can promote bacterial growth, while aluminum may introduce chemical contaminants (Binibor et al., 2025). Total hardness in water samples is within WHO limits, synergistic effects with other contaminants (e.g., heavy metals, fluoride) can still pose health risks, even at permissible levels (Wasana et al., 2017). Microbial contamination remains the primary concern for stored water, often leading to waterborne diseases (Shields et al., 2015; Khan et al., 2017; Feleke et al., 2018; Khanal et al., 2024). Regular cleaning of storage containers, minimizing storage time, and using improved water sources (e.g., piped water) reduce contamination risk (Shields et al., 2015; Bae et al., 2019; Feleke et al., 2018; Binibor et al., 2025; Khanal et al., 2024).

4.2.10 Comparative analysis of raw and stored water coliforms

Table 4.1 and figure 4. Shows all samples, both raw and stored, exceed the WHO standard of zero coliforms. Stored water consistently has higher coliform counts than its raw counterpart, indicating increased contamination during storage. The increase is especially dramatic in C, D, and E, where counts are in the hundreds to thousands, posing a severe health risk. Research shows that water quality often worsens after storage, with a higher percentage of stored water samples failing to meet microbial safety standards compared to source water (Shields et al., 2015; Bae et al., 2019; Feleke et al., 2018; Khanal et al., 2024). Poor hygiene, unclean containers, and longer storage times contribute to microbial growth and biofilm formation, further increasing health risks (Bae et al., 2019; Feleke et al., 2018; Khanal et al., 2024). High coliform counts are linked to outbreaks of waterborne diseases such as diarrhea, cholera, and typhoid, especially in children (Khan et al., 2017; Feleke et al., 2018; Khanal et al., 2024).

4.2.11 Comparative analysis of raw and stored water E. Coli

E. coli is a direct indicator of fecal contamination and poses a significant health risk if present in drinking water. According to WHO standards, no E. coli should be detectable in 100 ml of water. Both stored (A1, B1) and raw (A2, B2) water for locations A and B show "ND" (not detected), indicating compliance with WHO standards and low immediate risk. However, for locations C, D, and E, both raw and stored water samples contain E. coli far above the permissible level, with stored water (C1: 54, D1: 87, E1: 92 per 100 ml) and raw water (C2: 34, D2: 120, E2: 343 per 100 ml) all indicating severe contamination. Table 4.1 shows that  stored water has higher E. coli counts than its raw counterpart, except for D and E where raw water is even more contaminated. This pattern is consistent with research showing that water quality often deteriorates during storage due to poor hygiene, unclean containers, and environmental exposure, increasing the risk of waterborne diseases (Shields et al., 2015; Khan et al., 2017; Morgan et al., 2021). The presence of E. coli at these levels is associated with outbreaks of diarrhea, cholera, and other serious illnesses, especially in children (Khan et al., 2017; Morgan et al., 2021). Even when source water is relatively clean, improper storage can introduce or amplify contamination, highlighting the need for both source protection and safe storage practices (Shields et al., 2015; Morgan et al., 2021).

Figure 4.1 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Colour Units)

Figure 4.2 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Turbidity N.T.U)

Figure 4.3 Contamination risk of groundwater and stored drinking water

Sources in Eleko (TDS)

Figure 4.4 Contamination risk of ground water and stored drinking water

Sources in Eleko (Electrical Conductivity)

Figure 4.5 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Iron mg/l)

Figure 4.6 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Manganese mg/l)

Figure 4.7 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Nitrate mg/l)

Figure 4.8 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Nitrite )

Figure 4.9 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Total Hardness )

Figure 4.10 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Coliform counts/ 100ml)

Figure 4.11 Contamination risk of groundwater and stored drinking water

Sources in Eleko (Total via plate count du/ml)

Figure 4.12 Contamination risk of groundwater and stored drinking water

CHAPTER FIVE

CONCLUSION AND RECOMMENDATIONS

5.1 	Conclusion

In conclusion, the water quality assessment reveals that while some chemical parameters (such as total hardness and nitrite in certain locations) are within WHO permissible limits, there is widespread and severe microbial contamination, particularly with coliforms and E. coli, in both raw and stored water samples. Stored water often shows higher contamination than raw water, indicating that poor storage practices significantly increase health risks. This level of contamination poses a serious threat of waterborne diseases and highlights the urgent need for intervention.

5.1 Recommendations

To maintain and improve the groundwater (wells and boreholes) with household-stored water, the following recommendations were made to implementing these measures will help reduce contamination risks, improve water safety, and protect public health in affected communities.

1.	Prioritize the consistent supply of treated, safe water to communities, minimizing reliance on untreated underground sources.

2.	Educate residents on proper water collection, transportation, and storage hygiene, including regular cleaning of storage containers.

3.	Implement point-of-use water treatment methods (e.g., boiling, chlorination, filtration) at the household level, especially where microbial contamination is detected.

4.	Regularly monitor both source and stored water for microbial and chemical contaminants to ensure ongoing safety.

5.	Address infrastructure gaps to reduce water supply interruptions, which often force communities to store water for longer periods, increasing contamination risk.

6.	Encourage the use of improved water sources and discourage the use of highly contaminated sources unless adequately treated.

7.	Foster community engagement and cross-sector collaboration to sustain water quality improvements and public health outcomes.

REFERENCES

S. Ali et al. (2018) Elevated fluoride in groundwater of Siwani Block, Western Haryana, India: a potential concern for sustainable water supplies for drinking and irrigation Groundwater Sustain. Dev.

S. Ali et al.  (2019) Concentration of Fluoride in Groundwater of India: A Systematic Review, Meta-Analysis and Risk Assessment

W. Furi et al. (2011) Fluoride enrichment mechanism and geospatial distribution in the volcanic aquifers of the Middle Awash basin, Northern Main Ethiopian Rift J. Afr. Earth Sci.

Israel Quino Lima et al. (April 2019) Hydrochemical assessment with respect to arsenic and other trace elements in the Lower Katari Basin Bolivian Altiplano Groundwater Sustain. Dev.

M.J. McLaughlin et al. (1999) Metals and micronutrients- Food safety issues Field Crop. Res.

### A. Sarkar et al. (2018) Groundwater Environment in Delhi, India, Groundwater Environment in Asian Cities: Concepts, Methods and Case Studies

D. Adomako et al. (2008) Determination of toxic elements in waters and sediments from river subin in the ashanti region of Ghana Environ. Monit. Assess.

N. Agarwal et al. (2016) Int. J. Inno. Res. Sci. Eng. Tech.

V. Aggarwal et al. (2014) Int. J. Tech. Res. Appl.

N. Adimalla et al.  (2019) Groundwater quality evaluation using water quality index (WQI) for drinking purposes and human health risk (HHR) assessment in an agricultural region of Nanganur, south India Ecotoxicol. Environ. Saf.

L. Belkhiri et al. (2017) Evaluation of potential health risk of heavy metals in groundwater using the integration of indicator kriging and multivariate statistical methods Groundw. Sustain Dev.

- M.A. Bhuiyan et al.

### Heavy metal pollution of coal mine-affected agricultural soils in the northern part of Bangladesh

### J. Hazard Mater.

- C.A. Chapa-Martínez et al.

### An evaluation of the migration of antimony from polyethylene terephthalate (PET) plastic used for bottled drinking water

### Sci. Total Environ.

(2016)

- M. Chabukdhara et al.

### Groundwater quality in Ghaziabad district, Uttar Pradesh, India: multivariate and health risk assessment

### Chemosphere

(2017)

- F.J. Chang et al.

### Conservation of groundwater from over-exploitation—scientific analyses for groundwater resources management

### Sci. Total Environ.

(2017)

- M. Chen et al.

### Impacts of human activity modes and climate on heavy metal “spread” in groundwater are biased

### Chemosphere

(2016)

- G. Devic et al.

### Natural and anthropogenic factors affecting the groundwater quality in Serbia

### Sci. Total Environ.

(2014)

- E. Dinelli et al.

### Comparative study between bottled mineral and tap water in Italy

### J. Geochem. Explor.

(2012)

- T. Dippong et al.

### Chemical modeling of groundwater quality in the aquifer of Seini town – someș Plain, Northwestern Romania

### Ecotoxicol. Environ. Saf.

(2019)

Reference

World Health Organization (2017): water quality and health - review of turbidity: Information for regulators and water suppliers (WHO/FWC/WSH/17.01) Technical Brief.

World Health Organization (2017)WHO Guidelines for Drinking Water Quality, 4th Edition, 2017, Electrical conductivity related to taste and dissolved salts, with recommended guideline values for health and palatability.

Bae, S., Lyons, C., and  Onstad, N. (2019). A culture-dependent and metagenomic approach of household drinking water from the source to point of use in a developing country. Water Research X, 2. https://doi.org/10.1016/j.wroa.2019.100026

Shields, K., Bain, R., Cronk, R., Wright, J., and  Bartram, J. (2015). Association of Supply Type with Fecal Contamination of Source Water and Household Stored Drinking Water in Developing Countries: A Bivariate Meta-analysis. Environmental Health Perspectives, 123, 1222 - 1231. https://doi.org/10.1289/ehp.1409002

Binibor, P., Nwachukwu, N., Ndulue, G., Ndukwe, D., Ngwu, A., and  Usman, O. (2025). Investigating the effect of storage materials on the quality of potable water. European Journal of Sustainable Development Research. https://doi.org/10.29333/ejosdr/16355

Feleke, H., Medhin, G., Kloos, H., Gangathulasi, J., and  Asrat, D. (2018). Household-stored drinking water quality among households of under-five children with and without acute diarrhea in towns of Wegera District, in North Gondar, Northwest Ethiopia. Environmental Monitoring and Assessment, 190. https://doi.org/10.1007/s10661-018-7033-4

Khanal, A., Timilsina, R., Sharma, B., Pokharel, B., and  Aryal, R. (2024). Contaminated water and an indication of risk: examining microbial contamination in the water used by consumers and commercial growers in fresh produce systems in Nepal.. Journal of food protection, 100228. https://doi.org/10.1016/j.jfp.2024.100228

Wasana, H., Perera, G., Gunawardena, P., Fernando, P., and  Bandara, J. (2017). WHO water quality standards Vs Synergic effect(s) of fluoride, heavy metals and hardness in drinking water on kidney tissues. Scientific Reports, 7. https://doi.org/10.1038/srep42516

Khan, K., Lu, Y., Saeed, M., Sher, H., Khan, H., Ali, J., Wang, P., Uwizeyimana, H., Baninla, Y., Li, Q., Liu, Z., Nawab, J., Zhou, Y., Su, C., and  Liang, R. (2017). Prevalent fecal contamination in drinking water resources and potential health risks in Swat, Pakistan.. Journal of environmental sciences, 72, 1-12. https://doi.org/10.1016/j.jes.2017.12.008

Feleke, H., Medhin, G., Kloos, H., Gangathulasi, J., and  Asrat, D. (2018). Household-stored drinking water quality among households of under-five children with and without acute diarrhea in towns of Wegera District, in North Gondar, Northwest Ethiopia. Environmental Monitoring and Assessment, 190. https://doi.org/10.1007/s10661-018-7033-4

Morgan, C., Bowling, J., Bartram, J., and  Kayser, G. (2021). Attributes of drinking water, sanitation, and hygiene associated with microbiological water quality of stored drinking water in rural schools in Mozambique and Uganda.. International journal of hygiene and environmental health, 236, 113804. https://doi.org/10.1016/j.ijheh.2021.113804

Bartram, J., and  Cairncross, S. (2010). Hygiene, sanitation, and water: Forgotten foundations of health. PLoS Medicine, 7(11), e1000367. https://doi.org/10.1371/journal.pmed.1000367

Chapman, D. (Ed.). (1996). Water quality assessments: A guide to the use of biota, sediments and water in environmental monitoring (2nd ed.). London: Eand FN Spon.

Edberg, S. C., Rice, E. W., Karlin, R. J., and  Allen, M. J. (2000). Escherichia coli: The best biological drinking water indicator for public health protection. Journal of Applied Microbiology, 88(S1), 106S–116S.

SON (Standards Organisation of Nigeria). (2015). Nigerian Standard for Drinking Water Quality. Abuja: SON.

Tebbutt, T. H. Y. (1998). Principles of water quality control (5th ed.). Oxford: Butterworth-Heinemann.

Ward, M. H., deKok, T. M., Levallois, P., Brender, J., Gulis, G., Nolan, B. T., and  VanDerslice, J. (2005). Workgroup report: Drinking-water nitrate and health—recent findings and research needs. Environmental Health Perspectives, 113(11), 1607–1614.

WHO (World Health Organization). (2017). Guidelines for drinking-water quality: Fourth edition incorporating the first addendum. Geneva: WHO Press.

Wright, J., Gundry, S. W., and  Conroy, R. (2004). Household drinking water in developing countries: A systematic review of microbiological contamination between source and point-of-use. Tropical Medicine and  International Health, 9(1), 106–117.

Adelekan, I. O. (2010). Water supply as a determinant of health status in urban Nigeria: The case of Ibadan Metropolis. African Population Studies, 24(1), 13–31.

Custodio, E. (2010). Coastal aquifers of Europe: An overview. Hydrogeology Journal, 18(1), 269–280. https://doi.org/10.1007/s10040-009-0496-1

Edmunds, W. M., and  Smedley, P. L. (2000). Fluoride in natural waters. In Lumsdon, D. G. and  Evans, L. J. (Eds.), Fluoride in the Environment (pp. 21–60). Oxford: Blackwell.

Foster, S., Chilton, P. J., Moench, M., Cardy, F., and  Schiffler, M. (2000). Groundwater in rural development: Facing the challenges of supply and resource sustainability. World Bank Technical Paper No. 463.

Howard, G., Bartram, J., Pedley, S., Schmoll, O., Chorus, I., and  Berger, P. (2003). Groundwater and public health. In WHO (Ed.), Protecting Groundwater for Health (pp. 3–23). IWA Publishing.

Lloyd, B., and  Helmer, R. (1991). Surveillance of drinking water quality in rural areas. Harlow: Longman Scientific and  Technical.

MacDonald, A. M., Davies, J., and  Calow, R. C. (2005). Developing groundwater: A guide for rural water supply. ITDG Publishing.

SON (Standards Organisation of Nigeria). (2015). Nigerian Standard for Drinking Water Quality. Abuja: SON.

UNESCO. (2015). The United Nations World Water Development Report 2015: Water for a Sustainable World. Paris: UNESCO.

UN-Water. (2022). Groundwater: Making the invisible visible. United Nations World Water Day Report.

Ward, M. H., deKok, T. M., Levallois, P., Brender, J., Gulis, G., Nolan, B. T., and  VanDerslice, J. (2005). Workgroup report: Drinking-water nitrate and health—recent findings and research needs. Environmental Health Perspectives, 113(11), 1607–1614.

WHO (World Health Organization). (2017). Guidelines for drinking-water quality: Fourth edition incorporating the first addendum. Geneva: WHO Press.

- Aderemi, A. O., Oriaku, A. V., Adewumi, G. A., and  Otitoloju, A. A. (2011). Heavy metal contamination of ground water at municipal solid waste landfill in Ibadan, Nigeria. Journal of Environmental Health Research, 11(2), 68–73.

- Adeyemi, D., Ukpong, A., and  Oladele, O. (2015). Quality assessment of groundwater in a rapidly urbanizing area in Nigeria. African Journal of Environmental Science and Technology, 9(5), 417–424.

- Akpoveta, O. V., and  Osakwe, S. A. (2014). Groundwater quality assessment near a municipal dumpsite in Southern Nigeria. Research Journal of Environmental and Earth Sciences, 6(5), 235–243.

- Afolabi, A. S., Adewumi, J. R., and  Ogunba, E. O. (2021). Assessment of heavy metals in groundwater around industrial zones in Lagos. Environmental Monitoring and Assessment, 193(2), 102.

- Bello, A. K., Kolawole, L., and  Oluwasanya, G. O. (2017). Saline intrusion in Lagos coastal aquifers. Hydrogeology Journal, 25(3), 715–727.

- CDC (2017). Nitrate in drinking water. Centers for Disease Control and Prevention. https://www.cdc.gov

- Edet, A. E., and  Okereke, C. S. (2014). Hydrogeological and hydrochemical characterization of the coastal plain sands aquifer, Lagos. Journal of African Earth Sciences, 99, 202–216.

- Egbueri, J. C. (2020). Evaluating groundwater quality in a coastal urban area using water quality index and multivariate statistics. Applied Water Science, 10(5), 1–14.

- Ogundele, F. O., Adesina, O. A., and  Olabode, T. E. (2016). Seasonal variation in groundwater quality in Lagos coastal area. Journal of Water Resource and Protection, 8, 919–933.

- Olalekan, R. M., et al. (2018). Environmental and health risks of groundwater pollution in Lagos. International Journal of Environmental Research and Public Health,

- Awuah, E., Nyarko, K. B., and  Owusu, P. A. (2009). Water delivery and sanitation in Ghana: An overview. Journal of Environmental Health, 71(6), 23–26.

- Ezeugwunne, I. P., Agbakoba, N. R., Nnamah, N. K., and  Anah, L. U. (2009). The prevalence of coliforms in drinking water stored in homes. Nigerian Journal of Microbiology, 23(1), 1705–1710.

- Igbinosa, I. H., and  Okoh, A. I. (2009). Impact of storage conditions on the quality of sachet water. African Journal of Microbiology Research, 3(12), 856–861.

- Omalu, I. C. J., Ajayi, E. O., Olayemi, I. K., and  Mohammed, A. Z. (2010). Microbial and metal contaminants in sachet water. Journal of Public Health and Epidemiology, 2(5), 122–126.

- Onyango, A. O., et al. (2018). Household water storage and contamination in urban slums of Lagos. African Journal of Environmental Science and Technology, 12(3), 111–118.

- Sobsey, M. D., Stauber, C. E., Casanova, L. M., Brown, J. M., and  Elliott, M. A. (2008). Point of use household drinking water filtration: A practical, effective solution. American Journal of Tropical Medicine and Hygiene, 78(3), 395–401.

- WHO (2017). Guidelines for drinking-water quality (4th ed.). World Health Organization.

- Wright, J., Gundry,