ANALYSIS OF TRACE ELEMENT IN NIGERIAN PETROLEUM PRODUCTS

BY:

ISHAQ MUNEERAH

ND/23/SLT/PT/0185

BEING A PROJECT SUBMITTED TO THE DEPARTMENT OF SCIENCE LABORATORY TECHNOLOGY, INSTITUTE OF APPLIED SCIENCES,

KWARA STATE POLYTECHNIC, ILORIN KWARA STATE

IN PARTIAL FULFILLMENT OF THE REQUIREMENTS FOR THE AWARD OF NATIONAL DIPLOMA (ND) IN

SCIENCE LABORATORY TECHNOLOGY

JULY, 2025

DEDICATION

## I hereby dedicate this work to the Almighty Allah the author of all knowledge and wisdom, the giver and the keeper of life and good health, for his grace upon my life throughout my two years of academic journey here in Kwara State Polytechnic.

## It is also dedicated to my beloved Parents Mr. and Mrs. Ishaq

ACKNOWLEDGEMENT

My profound gratitude goes to Almighty Allah for His inspiration, guidance and protection. The omnipotent, for the success of this project and His unending over the years.

I would like to express my heartfelt gratitude to my Parents, Mr. and Mrs. Isiaq, for their unwavering support and encouragement throughout this project.

I am deeply grateful to my Project Supervisor, Dr. Jamiu Wasiu. for his guidance, expertise, and valuable feedback that helped shape this project.

Special thanks to my siblings, for their love and support.

I also appreciate the friendship and encouragement, your support means a lot to me.

Abstract

This study investigates the concentration of trace metals in Nigerian petroleum products, specifically petrol, kerosene, and diesel, sampled from filling stations in the Tanke Area, Ilorin, Kwara State, Nigeria. The presence of trace metals such as iron, zinc, lead, copper, calcium, and magnesium in these products is analyzed using Atomic Absorption Spectrophotometry (AAS). The research highlights the detrimental effects of these metals on refining processes, storage facilities, and the environment, emphasizing their role in corrosion and environmental pollution. The results indicate that metal concentrations vary with the viscosity of the petroleum products, with heavier distillates containing higher metal contents. Compared to the Nigerian National Petroleum Corporation (NNPC) control samples, the analyzed products showed slightly elevated levels of iron, zinc, and lead, though lower than those reported in petroleum products from other regions. The findings underscore the need for improved refining processes, alternative materials for equipment, and stricter environmental regulations to mitigate the adverse effects of trace metals. Recommendations include enhanced analytical capabilities in research institutions, substitution of metallic alloys with non-corrosive materials, and public awareness campaigns on the hazards of petroleum product exposure.

TABLE OF CONTENTS

Title Page										i

Certification										ii

Dedication										iii

Abstract 										iv

Acknowledgement									v

Table of Contents							vii

CHAPTER ONE: Introduction and Literature Review

1.1	Introduction									1
1.2	Literature Review								2
1.3	Crude Oil / Composition							4
1.4	Physical Properties of Petroleum Crude Oil					6
1.4.1 	API Gravity									7	
1.4.2 	Aniline Point									8
1.4.3 	Cloud Point									8
1.4.4 	Freeze Point									8
1.4.5 	Metals Content								9
1.4.6 	Mercaptan Sulfur								9
1.4.7 	Micro Carbon Residue							9
1.4.8 	Nitrogen									9
1.4.9 	Pour Point									10
1.4.10	 Refractive Index								10	
1.4.11 	Sulfur Content									11
1.4.12 	Total Acid Number (TAN)							11
1.4.13 	Viscosity									12
1.4.14 	Water & Sediment								12
1.5 	Types of Hydrocarbon							12	
1.6 	Classification of Petroleum							13
1.7 	Chemistry of Petroleum							15
1.7.1 	Paraffin									15
1.7.2 	Naphthenes									16	
1.7.3 	Aromatics									16
1.8 	History/Exploration of Petroleum in Nigeria					17
1.9 	Petroleum Refining Process							18
1.9.1 	Distillation (Fractionation)							18
1.9.2 	Atmospheric Distillation							18
1.9.3 	Vacuum Distillation								19
1.9.4 	Reforming									20
1.9.5 	Cracking									21
1.9.6 	Catalytic Cracking								22	
1.9.7 	Fluid Catalytic Cracking							22	
1.9.8 	Thermal Cracking								22
1.9.9 	Hydrocracking									23
1.10 	Petroleum Products								24
1.10.1 	Gasoline									24
1.10.2	 Kerosene									24
1.10.3 	Petroleum Diesel								25
1.10.4 	Fuel Oil									25
1.10.5	 Lubricating Oil								25	
1.10.6 	Wax										26
1.10.7 	Petrolatum									26
1.10.8 	Asphalt									27
1.11 	Environmental Effects							27
1.12 	Basic Principle/Components of Atomic Absorption Spectroscopy		28	
1.13 	Statements of the Problem							28
1.14 	Aim and Objectives								30

Chapter Two: Materials and Methods

2.1 	Materials									31
2.2 	Methods									31
2.2.1 	Digestion of Petroleum							32
2.2.2 	Digestion of Diesel								32
2.2.3 	Digestion of Kerosene								33

Chapter Three: Results and Discussion						34

Chapter Four: Conclusion and Recommendations

4.1 	Conclusion									40
4.2 	Recommendations								40

References

CHAPTER ONE

1.1			INTRODUCTION AND LITERATURE REVIEW

1.1	INTRODUCTION

Crude oil contains mainly hydrocarbons especially alkanes, naphthenes, andaromatics (Odebunmi and Adeniyi, 2004). It contains also some nitrogen, oxygenand sulphur containing compounds along with trace amounts of elementsespecially nickel, vanadium, titanium, iron, cadmium etc(Odebunmi andAdeniyi,2004; Olajire and Oderinde,1996). The presence of trace metals andnon-metals in the crude oil and petroleum products is destructive, especially inthe refining process(Oderinde, 1996).Indigenous petroleum refineries, petroleumdepots and filling stations as well as environment in general require enoughinformation on the concentration of trace and heavy metals in Nigerian petroleumproducts because of its detrimental effects on both equipment and environment.

The trace/heavy metals composition in petroleum products can be used for theidentification of environmental fuel pollution. Exhaust from various machineincluding cars, buses, generators, etc contributed immensely in so manyenvironmental problems due to the concentration of some trace/heavy metals init.Atomic Absorption Spectrophotometry (AAS) is a well-established extremelyvaluable technique for the determination of trace amounts of metals. Since itsintroduction by Walsh, the method has gone through a number of developmentalstages aiming at obtaining an increase in reliability, ease of operation and, aboveall, improvement in the limit of detection. Atomic absorption spectrometry (AAS) is an analytical method based onthe absorption of electromagnetic radiation in the visible and ultraviolet regions ofthe spectrum by gaseous atoms resulting in changes in electronic structure (Fritzand Schenk, 1987). It is one of the most widelyused techniques for the determination of trace and heavy metals in petroleumproducts. Over sixty elements can be determined in almost any matrix.Anexample includes petroleum products such as petrol, diesel, kerosene, fuel oil,petrolatum, lubricating oil, etc. So many other samples that can be analyzedusing atomic absorption spectroscopy are body fluids, polluted water, foodstuffs,soft drinks, beer, metallurgical and geochemical samples (Fifield and Kealey,1995).

1.2	Literature Review

Various analytical methods have been reported for the determination of tracemetals in petroleum products. Traces of iron, nickel, and vanadium in petroleumand petroleum products were analyzed using spectrophotometry method. Thesample was ashed and taking up with the potassium bisulphate. Themeasurement was based on the development of coloured solutions by reagentsspecific for each element. Henry and George (2016)employed AAS to determined heavy metals in petroleum products. They usedtwo methods which are based on the decomposition and coldwatervaporatomic adsorption. Another method involved acid decomposition of the samplesin a closed system while the other method used oxy-hydrogen combustion todecompose the sample.

In a work reported by Winston and Harry (2015) used AAS to determine tracequantities of cadmium in petroleum and petroleum products in which the sample was digested with sulphuric acid and then ashed. In another reported work by Oderinde (2009) the vanadium and titanium contents of nine Nigerian crudeand petroleum products using a spectrometric method was carried. He reported that in someof the samples the Vanadium and Titanium content were high enough to causecorrosion in turbines and refining processes line in the refinery. Recently, Anthony (2019) reported in his comprehensive analysis of various metallicelements in Nigerian petroleum products using Atomic Absorption Spectroscopytechnique, discussed the influence of these trace metals contaminants in the refinery processes.

Farrohaet al.,(2014) used electrochemical method to determine trace levels ofsulphur in petroleum by constant current coulometry. The Tandem mass spectrometer combined with chemical reaction was used to concentrate Sulphurcontaining poly-nuclear aromatic compound by wood et al.,(1994).Oderinde, (2014) thoroughly investigated the types of sulphur compoundspresent in Ugheli Quality Control Centre(UQCC) of crude oil distillates fractions, and in 2004, Odebunmi and Adeniyi, (2004) analyzed trace metals in petroleumand petroleum products using AAS and they discovered that, the resultsconfirmed that the heavy crude oil contains trace metals higher than the mediumand light crudes oil and for the petroleum products shows lubricating oil whichhas higher viscosity, followed by engine oil and the lubes oil was the least.

1.3	Crude Oil / Composition

Crude Oil is a naturally occurring, toxic, flammable liquid, consisting of a complexmixture of hydrocarbons of various molecular weights, and other organiccompounds, that are found in geological formations beneath the Earth’s surface(Mendham et al., 2000).

In its strictest sense, petroleum includes only crude oil, but in common usage itincludes both crude oil and natural gas. Both crude oil and natural gas arepredominantly a mixture of hydrocarbons. Under surface pressure andtemperature conditions, the lighter hydrocarbons such as methane, ethane, propane and butane occur as gases, while the heavier ones from pentane and upare in the form of liquids or solids. However, in the underground oil reservoir theproportion which is gas or liquid varies depending on the subsurface conditionsand on the phase diagram of the petroleum mixture (Mendham et al., 2000).Anoil well produces predominantly crude oil, with some natural gas dissolved in it.

Because the pressure is lower at the surface than underground, some of the gaswill come out of solution and be recovered (or burned) as associated gas or Solutiongas. A gas well produces predominately natural gas. However, becausethe underground temperature and pressure are higher than at the surface, thegas may contain heavier hydrocarbons such as pentane and hexane in thegaseous state. Under surface conditions these will condense out of the gas andform natural gas condensate, often shortened to condensate (Condensate resembles gasoline in appearance and is similar in composition to some volatile light crude oils). The proportion of light hydrocarbons in the petroleum mixture is highly variable between different oil fields and ranges from as much as 97% byweight in the lighter oils to as little as 50% in the heavier oils and bitumen (Mall,2007). The hydrocarbons in crude oil are mostly alkanes, cycloalkanes andvarious aromatic hydrocarbons while the other organic compounds contain nitrogen, oxygen and sulphur, and trace amounts of metals such as iron, nickel,copper and vanadium. The exact molecular composition varies widely fromformation to formation but the proportions of chemical elements vary over fairly narrow limits as shown in Table 1 (Mall, 2007).

Table 1: Composition of Crude Oil.

| Element | Percentage range |
| --- | --- |
| Carbon | 83.00 – 87.00% |
| Hydrogen | 10.0 – 14.00 % |
| Nitrogen | 0.10 – 2.00 % |
| Oxygen | 0.10-1.50 % |
| Sulphur | 0.50 – 6.00 % |
| Metals | < 0.10 % |

Source: Mall, (2007)

I.4. Physical Properties of Petroleum Crude Oil

Petroleum exhibits a wide range of physical properties and severalrelationships can be made between various physical properties. Whereas properties such as viscosity, density, boiling point, and color of petroleum may vary widely, the ultimate or elemental analysis varies, as already noted, over a narrow range for a large number of petroleum samples. The carbon content is relatively constant, while the hydrogen and heteroatom contents are responsible for the major differences between petroleum samples. Coupled with the changes brought about to the feedstock constituents by refinery operations, it is not surprising that petroleum characterization is monumental task.

Petroleum refinery processes can be conveniently divided into three different types

1. Separation: division of the feedstock into various streams(or fractions) depending on the nature of the crude material

2. Conversion: that is, the production of saleable materials from the feedstock by skeletal alteration, or even by alteration of the chemical type of the feedstock constituents

3. Finishing: purification of the various product streams by variety of processes that remove impurities from the product. In some case, a fourth category can be added and includes processes such as the reforming (molecular rearrangement) processes. For the purposes of this text, reforming processes are included in the finishing processes because that is precisely what they are: processes designed to finish various refinery streams and render them ready for sale as defined products.

The separation and finishing processes may involve distillation or treatment with a wash solution. The conversion processes are usually regarded as those processes that change the number of carbon atoms per molecule (thermal decomposition), alter the molecular hydrogen–carbon ratio (aromatization, hydrogenation), or even change the molecular structure of the material without affecting the number of carbon atoms per molecule (isomerization).

Evaluation of petroleum for use as a feedstock usually involves an examination of one or more of the physical properties of the material. By this means, a set of basic characteristics can be obtained that can be correlated with utility. To satisfy specific needs with regard to the type of petroleum to be processed, as well as to the nature of the product, various standards organizations, such as the American Society for Testing and Materials in North America and the Institute of Petroleum in Britain, have devoted considerable time and effort to the correlation and standardization of methods for the inspection and evaluation of petroleum and petroleumproducts.Physical properties of the almost limitless variety of crude oils are generally correlated with aspects of chemical composition.

I.4.1. API gravity

This is the most common measurement performed on petroleum products; density is expressed in terms of API gravity. This measurement determines the weight of a crude oil per unit volume at 60°F, normally measured by the Hydrometer method ASTM D-287.

I.4.2. Aniline point

This point is defined as the lowest temperature at which aniline insoluble in a specified amount of sample. This measure is used to determine the solvency of the hydrocarbons. Typically, paraffinic hydrocarbons have higher aniline points than aromatic hydrocarbons. This method is usually performed under the guidelines of ASTM D-611. Aniline point can be used to determine the quality of ignition in diesel cuts.

I.4.3. Cloud point

This is defined as the temperature at which a haze appears in a sample which is attributed to the formation of wax crystals. Cloud point data is used to determine the tendency of small orifices to plug in cold operating temperatures, normally measured on middle distillate cuts. This property can be measured manually by utilizing ASTM D-2500, since many laboratories utilize similar equipment to perform pour points. With the development of new analytical equipment many laboratories are now utilizing phase technology and are performing ASTM D-5773 which is less labor intensive and more robust.

I.4.4. Freeze point

The temperature at which crystal start to form in hydrocarbon liquids and then disappear when the liquid is heated is the freeze point. Normally performed by ASTM D-2386, this method like cloud point is done by ASTMD-5972 by phase technology.

I.4.5. Metals content

The metals concentration in crude can range from a few to several thousand ppm. Low values of certain elements such as nickel and vanadium can severely affect catalyst activity. In the past metals were determined by Atomic Absorption, but now most metals are determined by Inductively Coupled Plasma Emission Spectroscopy ICPCES. X-ray fluorescence can be a viable technique depending on the concentration.

I.4.6. Mercaptan sulfur

Mercaptan Sulfur species are undesirable in crude oils, and in some cases are toxic. These species are normally attributed to sour crudes. Analysis is normally based on UOP-163 or ASTM D-3227, a potentiometrictitration method. A hydrocarbon sample is added to a solution of isopropyl alcohol containing a small amount of ammonium hydroxide. The solution is then titrated with a solution of silver nitrate.

I.4.7. Micro carbon residue

The carbon residue of a petroleum crude oil is proportional to theasphalt content, normally measured by Conradson Carbon ASTM D-189. Inmost cases the lower the carbon residue, the higher the value that can beplaced on the crude oil.

I.4.8. Nitrogen

Nitrogen species in crude oils can cause catalyst poisoning. ASTM D-3228 or ASTM D-4629 normally determines nitrogen content. Either a syringe inlet or boat inlet analyzes distillate cuts by Oxidative Combustion and Chemiluminescence detection. Whole crude, atmospheric and vacuumresidues are analyzed by Kjeldahl methodology, a labour intensive methodinvolving digestion/distillation and finishing up with a titration.

I.4.9. Pour point

The lowest temperature at which a hydrocarbon fraction is observed topour when cooled under prescribed conditions. The pour point of a sample isdetermined to be 3 degrees Celsius above the point at which a sample can behorizontally held and no movement occurs for five seconds. The mostfrequently utilized method for this test is ASTM D-97, which can be used forall assay fractions/ blends. For whole crudes that have pour points greaterthan -36°C, a new method has been developed (ASTM D-5853). Also, forfractions that contain wax, a new method utilizing phases technology ASTMD-5949. Normally low pour points are due to low paraffin content and higharomatics.

I.4.10. Refractive index (n)

Refractive index is a ratio technique that takes the velocity of light inair at a specific wavelength and compares that to the velocity in the sampletested. Normally this is performed under the guidelines of ASTM D-1218.

This test method can be performed at various temperatures. The refractiveindex can be used to estimate the distribution of PNA molecules in oilfractions.

I.4.11. Sulfur content

The sulfur content of crude oils is normally in the range of 0.1-5.0 wt%. Sulfur is normally measured by an x-ray technique such as ASTM D-4294 or D-5291. These methods have large dynamic ranges and allowanalysis to be completed in about 3-5 min. Samples having sulfur contentsgreater than 5.0 % are measured by methods such as ASTM D-1552, acombustion technique. For extremely low levels an ultraviolet fluorescence(UV) technique is employed (ASTM D-5453). Again, most of these methodsare very robust, but can be influenced by not having a representative sample.Crudes are determined to be sweet or sour based on the amount of dissolvedhydrogen sulfide.

I.4.12. Total Acid Number (TAN)

The industry standard for this test is based on ASTM D-664. Normallyexpressed as Neutralization Number, this test predicts the acidity of anoil/distillate fraction. The sample normally dissolved in Toluene/Isopropylalcohol / Water is titrated with potassium hydroxide and the results areexpressed as mg KOH per gram of sample. Crude Oils having high acidnumbers are purchased cautiously due to possible corrosion problems in therefineries. Crudes typically have TAN values form 0.05-6.0 mg KOH/gm ofsample. While whole crudes are outside the scope of this titration method, itis the only recognized method in the industry.

I.4.13. Viscosity

Viscosity is a measurement of a fluid resistance to flow. Mostmeasurements use the force of gravity to produce the flow through a smallcapillary tube called a viscometer; thus, the measurement is known as kinematic viscosity having a unit of centistoke (cSt). The viscosity of a fluid is always reported with a temperature, since viscosity will vary inverselywith temperature. Most viscosity measurements follow the guidelines ofASTM D-445. Normally in an inspection grid the viscosity will be measuredat three different temperatures and then plotted on semi-log graph paper. Ifall measurements are performed properly a straight line will result.

I.4.14. Water & Sediment

Sediment and water values in crude oils are critical parameters as towhether problems will occur in the processing in the refinery. In many cases,desalting equipment may be required in order to handle a given crude slate.

1.5	Types of Hydrocarbon

Generally, there are four different types of hydrocarbon molecules in crude oil.

The relative percentage of each varies from oil to oil, depending on the properties of each oil. Table 2 presents the composition of hydrocarbon by weight.

Table 2: Composition by weight of Hydrocarbon

| Hydrocarbon | Composition by weight | Average Range |
| --- | --- | --- |
| Paraffins | 30.00 | 15.00 – 60.00 |
| Naphthenes | 49.00 | 30.00 – 60.00 |
| Aromatic | 15.00 | 3.00 – 30.00 |
| Asphaltic | 6.00 | Remainder |

Source: Mall, 2007.

1.6	Classification of Petroleum

The oil industry classifies “crude” by the location of its origin (e.g., “West TexasIntermediate, WTI” or “Brent”) and often by its relative weight (API gravity) orviscosity (“light”, “intermediate” or “heavy”); refiners may also refer to it as“sweet”, which means it contains relatively little sulphur, or as “sour”, whichmeans it contains substantial amounts of sulphur and requires more refining inorder to meet current product specifications (Speight,1999).

a) Paraffin Base: This classification was based on the fact that some petroleumoils separated paraffin wax on cooling leading to the conclusion that, theseconsisted mainly of paraffins (e.g. methane, ethane, propane, etc. withgeneral formula (CnH2n+2).

b) Asphaltic Base: These were the petroleum oils which gave no separation ofparaffin wax on cooling again leading to the conclusion that thesepredominantly contained cyclic (or naphthenic) hydrocarbons.

c) Mix Base: These petroleum oils leave a mixture of paraffin wax and asphaltic bitumen when subjected to nondestructive distillation, hence the name.

d) Hybrid Base: These are basically asphaltic oils that contain a small amount ofwax.

1.6	Chemistry of Petroleum

Petroleum is a mixture of a very large number of different hydrocarbons; the mostcommonly found molecules are alkanes (linear or branched), cycloalkanes,aromatic hydrocarbons, or more complicated chemicals like asphaltenes. Each petroleum variety has a unique mix of molecules, which define its physical andchemical properties, like color and viscosity (Speight, 1999).

1.6.1	Paraffin

These consist of straight or branched carbon rings saturated with hydrogenatoms, the simplest of which is methane (CH4) the main ingredient of natural gas.

Others in this group include ethane (C2H6), and propane (C3H8) (Mall, 2007).

1.6.2	Naphthenes

Naphthenes consist of carbon rings, sometimes with side chains, saturated withhydrogen atoms. Naphthenes are chemically stable; they occur naturally in crudeoil and have properties similar to paraffins, examples are 1,3-Dimethyl-cyclopentane and Cyclohexane (Mall, 2007).

1.6.3	Aromatics

Aromatic hydrocarbons are compounds that contain a ring of six carbon atomswith alternating double and single bonds and six attached hydrogen atoms. Thistype of structure is known as a benzene ring. They occur naturally in crude oil,and can also be created by the refining process. Examples are benzene, toluene and P-xylene (Mall, 2007).

The more carbon atoms a hydrocarbon molecule has, the “heavier” it is (thehigher is its molecular weight) and the higher is its boiling point. Small quantitiesof a crude oil may be composed of compounds containing oxygen, nitrogen, sulphur and metals. Sulphur content ranges from traces to more than 5 percent(Speight, 1999).

1.7	Origin of Petroleum

Most scientists agree that hydrocarbons (oil and natural gas) are of organicorigin. A few, however, maintain that some natural gas could have formed deepwithin the earth, where heat melting the rocks may have generated it inorganically (Gold and Soter, 2009). Nevertheless, the weight of evidencefavours an organic origin, most petroleum coming from plants and perhaps alsoanimals, which were buried and fossilized in sedimentary source Rocks(Levorsen, 1997). The petroleum was then chemically altered into crude oiland gas (Tissot and Welte, 1984). The chemistry of oil provides crucial clues asto its origin. Petroleum is a complex mixture of organic compounds. One suchchemical in crude oils is called porphyrin. This compound has been identified ina sufficient number of sediments and crude oils to establish a wide distribution ofthe geochemical fossils, it’s also found in and animals (McQueen, 1996).

1.7.1 Biogenic theory

Most geologists view crude oil, like coal and natural gas, as the product ofcompression and heating of ancient vegetation over geological time scales.According to this theory, it is formed from the decayed remains ofprehistoricmarineanimals and terrestrial plants. (Alboud,2006).

1.7.2 Abiogenic theory

This theory suggests that large amounts of carbon exist naturally in the planet,some in the form of hydrocarbons.Thermodynamic calculations and experimentalstudies confirm that n-alkanes (common petroleum components) do notspontaneously evolve from methane at pressures typically found in sedimentarybasins, and so the theory of an origin of hydrocarbons suggests deep generationbelow 200 km (Dean,1993).

1.7.3 Petroleum movement/migration

Petroleum Migration is a process (or processes) whereby petroleum moves fromplace of its origin, the source rock to its destruction at the earth’s surface. A Lengthen route, the petroleum’s progress may be temporarily arrested and thepetroleum may “rest” on its journey within the trap. The process of migration canbe divided in to three stages;

a) Primary migration is the expulsion of the petroleum products from thesource rock

b) Secondary migration is the journey from the source rock to the trap

c) Tertiary migration is the leakage and dissipation of petroleum at theearth’s surface.

1.8	History/Exploration of Petroleum in Nigeria

The Nigerian oil and gas industry, taken from when the first known MineralSurvey was carried out (Araromi, present Ondo State) in 1905, is just a 107years today. Real exploration of the hydrocarbon potentials of the countrycommenced, however, in 1908. The efforts of the Nigerian Bitumen Corporation(NBC), a German concern, in that year were only able to accomplish some 16shallow boreholes, confirming a line of oil seepage in the Eastern DahomeyBasin in Okitipupa, Western Region of Nigeria.

Although the results were not too encouraging and the resultant First World Wardid stall the efforts, the attempts by NBC nevertheless spurred subsequentefforts by the Shell Overseas Exploration Company and D’Arcy Exploration toopen up the country, particularly the subsequently prolific Niger Delta as a worldclasshydrocarbon prospective region. Although the Royal/Dutch Companyinitially got the whole of Nigeria as one huge concession, the search was to be narrowed to the Niger Delta where in 1956, after having drilled some 15 dryholes, beginning with the lho-1 NW in Owerri, the first successful well wasspudded at Oloibiri. With that milestone, Nigeria’s first shipment of crude oil(5,000 barrels) hit the international market in 1958.By the late sixties and early seventies, Nigeria had attained a production level ofover 2 million barrels of crude oil a day. Although production figures dropped inthe eighties due to economic slump, 2004 saw a total rejuvenation of oilproduction to a record level of 2.5 million barrels per day. Current development strategies are aimed at increasing production to 4million barrels per day by theyear 2010.

1.9	Petroleum refining process

Refinery processes have developed in response to changing market demands forcertain products. The quantities of petrol available from distillation alone wereinsufficient to satisfy consumers demand, therefore, the main task of refineriesbecame the production of petrol, and as a result the refineries began to look forways to produce more and better-quality petrol (Speight, 2009). As a result ofthat, two processes were developed thus, breaking down large, heavyhydrocarbon molecules via catalytic and thermal cracking process and reshaping or rebuilding hydrocarbon molecules via reforming process.

1.9.1 Distillation (Fractionation)

Because crude oil is a mixture of hydrocarbons with different boilingtemperatures, it can be separated by distillation into groups of hydrocarbonsthat boil between two specified boiling points. Two types of distillation areperformed: atmospheric and vacuum distillation (Hobson, 1996).

1.9.2 Atmospheric distillation

Atmospheric distillation takes place in a distilling column at or near atmosphericpressure. The crude oil is heated to 350 – 400oC and the vapour and liquid arepiped into the distilling column. The liquid falls to the bottom and the vapourrise, passing through a series of perforated trays (sieve trays). Heavierhydrocarbons condense more quickly and settle on lower trays and lighterhydrocarbons remain as a vapour longer and condense on higher trays. Liquidfractions are drawn from the trays and removed. In this way the light gases,methane, ethane, propane and butane pass out the top of the column, petrol isformed in the top trays, kerosene and gas oils in the middle, and fuel oils at thebottom. Residue drawn of the bottom may be burned as fuel, processed intolubricating oils, waxes and bitumen or used as feedstock for cracking units. Torecover additional heavy distillates from this residue, it may be piped to a seconddistillation column where the process is repeated under vacuum, called vacuum distillation (Hobson, 2006).

1.9.3 Vacuum distillation

This allows heavy hydrocarbons with boiling points of 450oC and higher to beseparated without them partly cracking into unwanted products such as coke andgas. The heavy distillates recovered by vacuum distillation can be converted intolubricating oils by a variety of processes. The most common of these is calledsolvent extraction. In one version of this process the heavy distillate is washedwith a liquid which does not dissolve in it but which dissolves (and so extracts)the non-lubricating oil components out of it. Another version uses a liquid whichdoes not dissolve in it but which causes the non-lubricating oil components toprecipitate (as an extract) from it. Other processes exist which remove impurities by adsorption onto a highly porous solid or which remove any waxes that may bepresent by causing them to crystallize and precipitate out (Dhariaet al., 1992).

1.9.4 Reforming

Reforming is a process which uses heat, pressure and a catalyst (usuallycontaining platinum) to bring about chemical reactions which upgrade naphthainto high octane petrol and petrochemical feedstock. The naphtha is hydrocarbonmixtures containing many paraffins and Naphthenes. In Australia, this naphthafeedstock comes from the crudes oil distillation or catalytic cracking processes,but overseas it also comes from thermal cracking and Hydro cracking processes.

Reforming converts a portion of these compounds to isoparaffins and aromatics,which are used to blend higher octane petroleum product (Dhariaet al.,1992).

- paraffins are converted to isoparaffins

- paraffins are converted to naphthenes

- naphthenes are converted to aromatics

Equation to illustrate

C7H16(l) → C7H8(l) + 4H2(g)						(1)

C6H4(l) → C6H6(l) + H2(g)						(2)

C6H12(l) → C6H6(l) + 3H2(g)						(3)

1.9.5 Cracking

Cracking processes break down heavier hydrocarbon molecules (high boilingpoint oils) into lighter products such as petrol and diesel. These processesinclude catalytic cracking, thermal cracking and Hydrocracking.

A typical reaction:

C16 H34→ C8 H18+ C8H16						(4)

1.9.6 Catalytic cracking

Catalytic cracking is used to convert heavy hydrocarbon fractions obtained byvacuum distillation into a mixture of more useful products such as petrol and lightfuel oil. In this process, the feedstock undergoes a chemical breakdown, undercontrolled heat (450 – 500oC) and pressure, in the presence of a catalyst (asubstance which promotes the reaction without itself being chemically changed).Small pellets of silica – alumina or silica – magnesia have proved to be the mosteffective catalysts. The cracking reaction yields petrol, LPG, unsaturated olefincompounds, cracked gas oils, a liquid residue called cycle oil, light gases and asolid coke residue. Cycle oil is recycled to cause further breakdown and thecoke, which forms a layer on the catalyst, is removed by burning. The otherproducts are passed through fractionators to be separated and separatelyprocessed (Habsi-Halabiet al., 1997).

A typical reaction:

C16H34(l)→C8H18(l) +C8H16(l)						(5)

1.9.7 Fluid catalytic cracking

Fluid catalytic cracking uses a catalyst in the form of a very fine powder whichflows like a liquid when agitated by steam, air or vapour. Feedstock entering theprocess immediately meets a stream of very hot catalyst. The resulting vapourskeep the catalyst fluidized as it passes into the reactor, where the cracking takesplace and where it is fluidized by the hydrocarbon vapour. The catalyst nextpasses to a steam stripping section where most of the volatile hydrocarbons areremoved. It then passes to a regenerator vessel where it is fluidized by a mixtureof air and the products of combustion which are produced as the coke on thecatalyst is burnt off. The catalyst then flows back to the reactor. The catalyst thusundergoes a continuous circulation between the reactor, stripper and regeneratorsections.The catalyst is usually a mixture of aluminium oxide and silica. Mostrecently, the introduction of synthetic zeolite catalysts has allowed much shorterreaction times and improved yields and octane numbers of the cracked gasoline(Krishner, 1991).

1.9.8 Thermal cracking

Thermal cracking uses heat to break down the residue from vacuum distillation.The lighter compounds produced from this process can be made into distillatefuels and petrol. Cracked gases are converted to petrol blending components by alkylation or polymerization. Naphtha is upgraded to high quality petrol byreforming. Gas oil can be used as diesel fuel or can be converted to petrol by hydrocracking. The heavy residue is converted into residual oil or coke which issued in the manufacture of electrodes, graphite and carbides (Elliot, 1992).

A typical equation:

C13H38(l) →C3H6(g) + C10H22(l)					(6)

1.9.9 Hydrocracking

Hydrocracking can increase the yield of petroleum components, as well as beingused to produce light distillates. It produces no residues, only light oils.Hydrocracking is catalytic cracking in the presence of hydrogen. The extrahydrogen saturates, or hydrogenates the chemical bonds of the crackedhydrocarbons and creates isomers with the desired characteristics.

Hydrocracking is also a treating process, because the hydrogen combines withcontaminants such as sulphur and nitrogen, allowing them to be removed.Gas oilfeed is mixed with hydrogen, heated, and sent to a reactor vessel with a fixedbed catalyst, where cracking and hydrogenation take place. Products are sent to fractionators to be separated. The hydrogen is recycled. Residue from thisreaction is mixed again with hydrogen, reheated, and sent to a second reactor forfurther cracking under higher temperatures and pressures. In addition to crackednaphtha for making petrol, Hydrocracking yields light gases useful for refineryfuel, or alkylation as well as components for high quality fuel oils, lube oils and petrochemical feedstock.Following the cracking processes, it is necessary to buildor rearrange some of the lighter hydrocarbon molecules into high quality petrol orient fuel blending components or into petrochemicals. The former can be achievedby several chemical processes such as alkylation and isomerization.

1.10	Petroleum products

Major products of oil refineries are usually grouped into three categories: lightdistillates (LPG, gasoline, naphtha), middle distillates (kerosene, diesel), heavydistillates and residuum (fuel oil, lubricating oils, wax, tar).This classification is based on the way crude oil is distilled and separated into fractions (calleddistillates and residuum). Liquid petroleum gas (LPG),Gasoline (also known aspetrol), Naphtha Kerosene and related jet aircraft fuels, Diesel fuel, Fuel oils,

Lubricating oils, Paraffin wax, Asphalt and Tar Petroleum coke.

1.10.1 Gasoline

Gasoline or Petrol is a petroleum-derived liquid mixture which is primarily usedas a fuel in internal combustion engines. It is also used as a solvent, mainlyknown for its ability to dilute paints. It consists mostly of aliphatic hydrocarbonsobtained by the fractional distillation of petroleum, enhanced with isooctane orthe aromatic hydrocarbons e.g. toluene and benzene to increase its octane rating (Fessenden and Fessenden, 1991).

1.10.2 Kerosene

Kerosene is a thin, clear liquid formed from hydrocarbons, with density of 0.78–0.81 g/cm3. It is obtained from the fractional distillation of petroleum between150 °C and 275 °C, resulting in a mixture of carbon chains that typically containbetween 6 and 16 carbon atoms per molecule. Kerosene is widely used to powerjet-engine aircraft (jet fuel) and some rockets, but is also commonly used as aheating fuel and for fire toys(Russell, 2003).

1.10.3 Petroleum Diesel

Petroleum diesel, also called petro-diesel, or fossil diesel is produced from thefractional distillation of crude oil between 200 °C (392 °F) and 350 °C (662 °F) at atmospheric pressure resulting in a mixture of carbon chains that typicallycontain between 8 and 21 carbon atoms per molecules. Petroleum-derived diesel composed of about 75% saturated hydrocarbons (primarily paraffins including, iso and cycloparaffins) and 25% aromatic hydro carbon (includingnaphthalene, alkyl benzene) (Matar, 2002).

1.10.4 Fuel Oil

Fuel oil is a fraction obtained from petroleum distillation, either as a distillate or aresidue. Broadly speaking, fuel oil is any liquid petroleum product that is burnedin a furnace or boiler for the generation of heat or used in an engine for thegeneration of power, except oils having a flash point of approximately 40 °C(104 °F) and oils burned in cotton or wool-wick burners (Matar, 2002).

1.10.5 Lubricating Oil

Lubricating oil or engine oil is oil used for lubrication of various internalcombustion engines. While the main function is to lubricate moving parts,lubricating oil also cleans, inhibits corrosion, improves sealing, and cools theengine by carrying heat away from moving parts (Chris, 2007).Lubricating oilsare derived from petroleum-based and non-petroleum-synthesized chemicalcompounds .But are today mainly blended by using base oils composed of thoseorganic compound consisting entirely of carbon and hydrogen (Corsico, 2009).

1.10.6 Wax

A wax is a type of hydrocarbon that typically contains long-chain alkanes oftencontaining ester, carboxylic acid, or alcohol groups. The structure and molecularweight of the hydrocarbon chain and the relative concentration of the functionalgroups determine the hardness of the wax. Waxes are used to make wax paper,impregnating and coating paper and card to waterproof it or make it resistant tostaining, or to modify its surface properties. Waxes are also used in shoe polishes, wood polishes, and automotive polishes, as mold release agents inmold making, as a coating for many cheeses, and to waterproof leather andfabric (Corsico, 1999).

1.10.7 Petrolatum

Petroleum jelly, petrolatum or soft paraffin, is a semi-solid mixture ofhydrocarbons “with carbon numbers mainly higher than 25” (Schlosberg, 2001), originally promoted as a topical ointment for its healing properties. Its folkloricmedicinal value as a “cure-all” has since been limited by better scientificunderstanding of appropriate and inappropriate uses. However, it is recognized by the U.S. Food and Drug Administration (FDA) as an approved over-thecounter

(OTC) skin protectant and remains widely used in cosmetic skin care(Muhammad, 1992).

1.10.8 Asphalt

Asphalt is a sticky, black and highly viscous liquid or semi-solid that is present in most crude petroleum and in some natural deposits sometimes termed sphaltum(Abraham, 1938). Asphalt can be separated from the other components in crude oil (such as naphtha, gasoline and diesel) by the process offractional distillation, usually under vacuum conditions. A better separation canbe achieved by further processing of the heavier fractions of the crude oil in a deasphaltingunit, which uses either propane or butane in a supercritical phase todissolve the lighter molecules which are then separated (Abraham, 1998).

1.11 Environmental effects

The presence of oil has significant social and environmental impacts, fromaccidents and routine activities such as seismic exploration, drilling, andgeneration of polluting wastes. Oil extraction is costly and sometimesenvironmentally damaging, although Dr. John Hunt from Woods Hole pointed outin a 1981 paper that over 70% of the reserves in the world are associated withvisible macro seepages, and many oil fields are found due to natural leaks.

Offshore exploration and extraction of oil disturbs the surrounding marineenvironment. Extraction may involve dredging, which stirs up the seabed, killingthe sea plants that marine creatures need to survive. Crude oil and refined fuelspills from tanker ship accidents have damaged fragile ecosystems in Alaska, theGalapagos Islands, Spain, and many other places. Burning oil releases carbon dioxide into the atmosphere, which is thought to contribute to global warming.

Petroleum produces less CO2 than coal, but more than natural gas. However,oil’s unique role as a transportation fuel makes reducing its CO2 emissions aparticularly thorny problem; amelioration strategies such as carbon sequesteringare generally geared for large power plants, not individual tailpipes (WilhelmandHermann, 2005).

1.12	Basic Principle/Components of Atomic Absorption Spectroscopy

Atomic Absorption Spectroscopy is the determination of elemental compositionby its electromagnetic or mass spectrum. It can be divided by atomization sourceor by the type of spectroscopy used. The basic principle is that, light is passedthrough a collection of atoms. If the wavelength of the light has energycorresponding to the energy difference between two energy levels in the atoms,a portion of the light will be absorbed. The relationship between theconcentrations of atoms, the distance the light travels through the collection ofatoms, and the portion of the light absorbed is given by the Beer-Lambertlaw.The main components of an atomic absorption spectrophotometry areradiation source, an atomization cell and a wavelength selector.

1.13	Statements of the Problem

Crude oil and its finished products (Petroleum Products) contains mainly hydrocarbons especially alkanes, naphthenic and aromatics hydrocarbons (Tijjaniet al., 2012). It contains also some nitrogen, oxygen and sulphur containing compounds along with trace amounts of elements especially nickel, vanadium, cadmium, iron, zinc and leadetc (Fernandez et al., 2007). The presence of trace metals in the crude oil and petroleum products is destructive, especially in a refining process. This may adversely affect both the processing equipment and storage facilities of the petroleum refinery. The analyses of trace metals in Nigerian petroleum products is very importantconsidering the detrimental effect of these metals in the refining processes andenvironment in general. And also, the data on the concentration of trace metalsin our indigenous petroleum products are lacking, this and other factorsnecessitates the analyses of trace and heavy metals in this research work by analytical method using atomic absorption spectrophotometry method (AAS).

1.14 Aim and Objectives

This research work was aimed at determining the concentration oftrace metals in different Nigerian petroleum products.

The objectives of this research were to:

a) Identify the trace metals in the various petroleum products sample understudy.

b) Compare the different petroleum products samples used in terms of tracemetal concentration.

CHAPTER TWO

2.0 				MATERIALS AND METHODS

2.1 MATERIALS

All the chemicals and reagents used in this study were of analytical grades, the glass wares used were cleansed, rinsed with distilled water and air dried before used. Some of the reagents and apparatus used are (conc. HCl, HNO3, pipette, beakers, volumetric flasks, conical flask, beakers, heating mantle and funnels).

The various Nigerian petroleum products used in this research work are kerosene, diesel oil and Petrol; they were collected from Tanke Area, along University of Ilorin, Kwara State, Nigeria. The trace metals analysis was analyzed using Atomic Absorption Spectroscopy (AAS)

2.2	METHODS

There were three sample preparation methods presently being employed prior todetermination of metals by atomic absorption technique: —

(a) Solvent dilution.

(b) Total acid digestion of the sample.

(c) Ashing of the sample and dissolution with an appropriate acid.

The Total acid digestion of the sample was employed for the determination of metals by atomic absorption technique.

2.2.1 Digestion of Petroleum

Acid (Wet) Digestion method was employed; this was carried out using the method reported by Nafiuet al., (2012) with slight modification. After thorough shaking, a mass of 0.5 g of the sample which was weighed in a 250 ml Erlenmeyer and 1ml of concentrated sulphuric acid were carefully added and heated to 170 ± 10 ºC in hot plate for 30 minutes. Then, 1 ml of concentrated nitric acid was added, maintaining the heating for 20 min. Finally, 1 ml of 30% (v/v) hydrogen peroxide was added to complete the digestion.

The digested content, approximately 1.5 ml, was left to cool down to room temperature and quantitatively transferred to volumetric flask and diluted to a final volume of 50 ml with distilled water. The hydrogen peroxide was added to prevent early frothing and deposition of carbon on the wall of the digestion tubes. The digested sample were analyzed using atomic absorption spectrophotometer.

2.2.2 Digestion of Diesel

Acid (Wet) Digestion method was also employed; this was carried out using the method reported by Nafiuet al., (2012) with slight modification. After thorough shaking, a mass of 0.5 g of the samplewhich was weighed in a 250 ml Erlenmeyer and 1ml of concentrated sulphuric acid were carefully added and heated to 170 ± 10 ºC in hot plate for 30 minutes. Then, 1 ml of concentrated nitric acid was added, maintaining the heating for 20 min. Finally, 1 ml of 30% (v/v) hydrogen peroxide was added to complete the digestion.

The digested content, approximately 1.5 ml, was left to cool down to room temperature and quantitatively transferred to volumetric flask and diluted to a final volume of 50 ml with distilled water. The hydrogen peroxide was added to prevent early frothing and deposition of carbon on the wall of the digestion tubes. The digested sample were analyzed using atomic absorption spectrophotometer.

2.2.3 Digestion of Kerosene

Acid (Wet) Digestion method was employed; this was carried out using the method reported by Nafiuet al., (2012) with slight modification. After thorough shaking, a mass of 0.5 g of the sample which was weighed in a 250 ml Erlenmeyer and 1ml of concentrated sulphuric acid were carefully added and heated to 170 ± 10 ºC in hot plate for 30 minutes. Then, 1 ml of concentrated nitric acid was added, maintaining the heating for 20 min. Finally, 1 ml of 30% (v/v) hydrogen peroxide was added to complete the digestion.

The digested content, approximately 1.5 ml, was left to cool down to room temperature and quantitatively transferred to volumetric flask and diluted to a final volume of 50 ml with distilled water. The hydrogen peroxide was added to prevent early frothing and deposition of carbon on the wall of the digestion tubes. The digested sample were analyzed using atomic absorption spectrophotometer.

CHAPTER THREE

3.0	RESULTS AND DISCUSSION

The result of concentration of trace metals in petroleum products (kerosene, diesel and petrol)sampled in three different stations areshown in Table 3

Table 3: (STATION 1) Concentration of trace metals in petroleum products (mg/L)

| Products | Mg | Ca | Cu | Fe | Pb | Zn |
| --- | --- | --- | --- | --- | --- | --- |
| Petrol | 0.38 | 0.82 | 0.64 | 3.48 | 0.5 | 1.78 |
| Kerosene | 0.14 | 0.48 | 0.26 | 1.28 | 0.16 | 0.48 |
| Diesel | 0.56 | 0.78 | 1.05 | 2.74 | 0.4 | 1.38 |
| Control | 0.11 | 0.29 | 0.09 | 1.08 | 0.12 | 0.29 |

Figure 1:Graph showing comparison between concentration of trace metals in Nigerian Petroleum Products and NNPC products (control)

Table 4: (STATION 2) Concentration of trace metals in petroleum products (mg/L)

| Products | Mg | Ca | Cu | Fe | Pb | Zn |
| --- | --- | --- | --- | --- | --- | --- |
| Petrol | 0.49 | 0.92 | 0.69 | 3.48 | 0.7 | 1.83 |
| Kerosene | 0.38 | 0.49 | 0.33 | 1.92 | 0.38 | 0.65 |
| Diesel | 0.27 | 0.68 | 0.95 | 2.63 | 0.51 | 1.43 |
| Control | 0.11 | 0.29 | 0.09 | 1.08 | 0.12 | 0.29 |

Figure 2:(STATION 2) Graph showing comparison between concentration of trace metals in Nigerian Petroleum Products and NNPC products (control)

Table 5: (STATION 3) Concentration of trace metals in petroleum products (mg/L)

| Products | Mg | Ca | Cu | Fe | Pb | Zn |
| --- | --- | --- | --- | --- | --- | --- |
| Petrol | 0.38 | 0.87 | 0.67 | 2.91 | 0.74 | 1.85 |
| Kerosene | 0.29 | 0.51 | 0.34 | 1.9 | 0.35 | 0.66 |
| Diesel | 0.22 | 0.72 | 0.97 | 2.71 | 0.52 | 1.51 |
| Control | 0.11 | 0.29 | 0.09 | 1.08 | 0.12 | 0.29 |

Figure 3:(STATION 3) Graph showing comparison between concentration of trace metals in Nigerian Petroleum Products and NNPC products (control)

The metal content of petroleum products is shown in Tables 3-5 and Figures 1-3shows an interesting outlay of the concentration of trace metals analyzed in the samples of Nigerian petroleum products. It is observedfrom the results that the metal contents vary with the viscosity of the petroleumproducts. The nature of this metals and the abundance in petroleum productsmay probably provide information on the origin, migration and maturation of rawmaterial of these petroleum products as well as indicating the regional geochemical prospecting base as well as the processing and storage channels inthe refinery. As a rule, the metal content increase with viscosity of thesepetroleum products (i.e. the heavier the petroleum product the higher its metalcontents) consequently, the lighter distillates contain less metals.The metal contents of the Nigerian petroleum products in the literature show awide variation.For example,Odebunmi and Adeniyi, (2004)reported iron content in the range of 10.94-25.00mg/l, while the results obtained in this present work shows range of1.28-3.48 mg/l compared to the NNPC control which determined to be 1.08 mg/l. The wide variation of the concentrations of iron possibly due to the combination ofseveral factors including the type of petroleum refining equipment (becausesome of them are made up of different percentage of metallic alloys), samplehandling procedures and different analytical techniques adopted. The metalcontents of Nigerian petroleum products are in general lower than those ofpetroleum products from other regions of the worldfor instant,Adolfoet al.,2007 reported iron contents of 12.39mg/l, 725 mg/land 113.2mg/lin petroleum products from Central American Region (USA), Mexico andVenezuela respectively.

The concentrations of lead that are present in the samples are within the range of 0.35-0.74 mg/l.

The low amount of lead in the petrol, kerosene and diesel oil might be due to the substitution of methylalkyl lead previously used as additive with ethanol (Stonset al,1986; Fessendenand Fessenden, 1991). This is slightly above NNPC control which is 0.12 mg/l.

The concentration of zinc in the petroleum productare in the range for petrol{1.7-1.85 mg/l}, kerosene {0.48-0.66 mg/l} and diesel oil {1.38-1.51 mg/l}. There are all slightly above the NNPC petroleum products used as standard {0.29 mg/l}. The concentration of magnesium, calcium and copper in petroleum products analyzed was found to be in trace amount of concentrations between {0.09-1.05 mg/l}.

However, even as these low levels, the metal contents of Nigerian petroleum products, and especially of iron, lead and zinc high enough to cause corrosion of turbines distillation towers, etc (Oderinde, 2014).

CHAPTER FOUR

4.0			CONCLUSION AND RECOMMENDATIONS

4.1	Conclusion

This work showed that Nigerian petroleum products contains trace amount of iron, zinc, lead, copper, calcium and magnesium. The presence or absence of some elements in Nigerian petroleum products may be associated with the chemical and geological origin of its raw materials and also industrial process and the transportation method adopted. Hence the concentrations of trace and heavy elements in Nigerian petroleum products may reveal information on the environmental friendliness and quality of petroleum products and probably give an idea of the sources of these trace heavy metals in the petroleum industry. It is obvious from this study, that the Nigerian petroleum products analyzed have low metals contents in petrol, kerosene and diesel oil sample. However, despite the low concentrations, they could still lead to serious health hazard considering their cumulative effects in the environment and high enough to cause corrosion of turbines and distillation towers etc.

4.2	Recommendations

In view of the results obtained from this study, the following recommendations are hereby proffered:

1. Petroleum industries should provide enough fund for the Universities andsupply latest analytical machines such as AAS,GC/MS and other veryimportant analytical equipment to Universities/ Research Institutions aspart of their public responsibilities.

2. Since most of the sources of these metals are from the alloys used inconstructing anti-corrosive pipes, processing equipment and storagematerials, there is need for alternative pipes, processing equipment and storage materials constructed from such metallic alloys to be substitutedwith plastic or fiber material.

3. Government should establish emergency taskforce for the control ofindustrial and municipal discharge, especially for petroleum and petroleumproducts discharge.

4. General public should be oriented and alerted on the danger of inhaling the exhaust of different transportation machines and avoid physical contactwith these petroleum products.

5. Storage tanks of the filling station must be inspected regularly, andspecification of a standard storage tank must be established.

REFERENCES

Abraham H. (1938). The Occurrence, Modes of Production, Uses in the Arts, andMethodsofTesting Asphalts and Allied Substances,4th Edition, D.VanNostrandCoy, New York, Pp. 34-38.

Adegbite, O. A (1986). Determination of sulphur and nitrogen content of someNigeria

coal and crude oil samples. A technical paper presented toNNPC, Pp32.

Adolfo, F., Asha, S., Rudolf J. (2007). A literature review on trace metals andorganic 	compounds of an anthropogenic origin in the widercarribean region, Marine	Pollution Bulletin, 54(11) 2-3.

Alboudwarej, l. (2006), Highlighting Heavy Oil; Oilfield Review.Retrieved on	12/05/2021 from http://www.slb.com.

Anthony S.B (2005). Analytical evaluation of trace metals components of the Nigerian 	petroleum products by AAS, M.Sc thesis submitted to UDUS, Pp 54.

Burrows J.A, Heerdt J.C and Willis, J.B. (1965). The Determination of WearMetals in

used 	Lubricating Oils byAtomic Absorption Spectroscopy,Anal. Chem., 37:579, 12.

Corsico G. Mattei, V. RoselliA. and Gommellini,C.(1999) Poly (internal olefins)

Synthetic Lubricants and high-performance functional fluids, 3rdedition, Marcel Dekker,Pp. 53-62.

Chris C. (2007). Implementing Phytoremediation of Petroleum Hydrocarbons,Methods 	in Biotechnology, 23:99-108

Elliot, J.D. (1998). Maximize Distillate liquid product, Hydrocarbon Processing,

77(7),75-82

Dharia, D.Letzch,W.S. Kim,H.K. (1992). Increase light olefins 	production”HydrocarbonProcessing From Natural Gas Fuel, 71:325.

Dean, J. R. (1997), Atomic Absorption and Plasma Spectroscopy, 2nd Edition,Wiley-	Interscience, London, Pp 47-7 1.

Farroha, S. M., Habboush, A. E., and Michael M. N., (1984). Determination ofmilligram 	amounts of sulphur in hydrocarbons by constant currentcoulometry”, Anal. 	Chem.56 (7), 	1182-1183.

Fessenden, R. J. and Fessenden, J. S. (1991). Organic Chemistry, 4th Ed, BrooksCole 	Publishing Co., Pacific Grove, California, Pp. 70.

Frances, M.W. (1964). Determination of Fe, Ni and V in petroleum Oils,Anal.Chem.

21(12), 1543.

Fifield, F. W. and Kealey, D. (1995). Principles and Practice of AnalyticalChemistry, 4th 	Edition. Chapman and Hall, London, Pp. 282-350.

Fritz, J. S. and Schenk, G. H. (1986).Quantitative Analytical Chemistry, 5thEdition,

Englewood Cliffs, New Jersey.Page 690.

Gold, T. and Soter, S. (1980). The deep-earth gas hypothesis, Scientific American

242(6):154–161.

Habsi-Halabi., M.A. Stanislaus, Qabazad H, (1997). Trend in Catalysis Researchto meet

Future 	Reforming Needs, Hydrocarbon Processing” Pp.45.

Henry E.K and George E.M (1975). Analysis of petroleum for trace metals

Determination of 	Hg in petroleum Oils, and petroleum products,Anal. Chem.47, 	1263.

Hobson, G.D., Pohl W (1986), Modern Petroleum Technology, No I and II, 5thEdition,

John 	Wiley and Sons, New York.

Krishna A.S(1991). Additives innovation FCC Process. HydrocarbonProcessing,

70(11):56-66.

Levorson, A.I. (1967) Geology of Petroleum, 2nd ed., W.H. Freeman andCompany, San 	Francisco, pp. 3–31.

Mall I.D. (2007), Petrochemical Process Technology, 1st edition, Pp.69-73, Macmillan,

India.

Matar S. (1982). Synfuels; Hydrocarbons of the Future, PennWell PublishingCo., Tulsa,

Okla, 	Pp. 10.

Mendham, J., Denney, R. C., Barnes, J. D., and Thomas, M. J. K. (2000), Textbook of 	Quantitative Chemical Analysis, 6th Edition, Dorling Kindersley, India, Pp 612

656.

Milner, B. A. and Whiteside, P. J. (1986). Introduction of atomic absorption	spectrophotometric”,Pyeunicam limited, Cambridge, UK, 69-70

Milner O.I., Glass J.R., Kircher J.P. and Yurick A.N., (1952), Oil Sands in Canadaand 	Venezuela, Anal. Chem. 24:1728

Muhammad A.Q. (1992). "Catalytic Oxidation of Asphalt". Thesissubmitted to 	Department of Applied Chemistry; University ofKarachi. Pakistan Higher 	Education Commission Pakistan:Pakistan Research Repository.Pp. 6, in ch.2

Mostyn R.A and Cunningham A.F. (1967). Some Applications of AtomicAbsorption 	Spectroscopy to the Analysis of Fuels and Lubricants, J.Inst. Petroleum (U.K.),

53, 101.

McQueen, D.R., (1986). The chemistry of oil—explained by Flood geology, Impact,

Institute for Creation Research, Santee, California.

Odebunmi and Adeniyi (2004).Charectarization of Nigeria Crude oil and petroleum

products, J. Anal Chem. 24:1728

Oderinde R. A. (1984). Studies on Nigerian Petroleum Part 1; Vertical Differencein the 	Vanadium and Titanium content. Nigeria Journal of Science18, 143 – 145

Olajire, A.A and Oderinde, R. A. (1996), Fingerprinting of crude oils and theirproducts.

A review on the applicability of some analyticaltechnique, Nafta,47,256-267.

Russell, Loris S. (2003). A Heritage of Light: Lamps and Lighting in the Early Canadian

Home. 	University of Toronto Press, Canada, Pp 70.

Schlosberg R.H, J.W. Chu, G.A. Knudsen, E.N. Suciu and H.S. Aldrich (2001). High

stability esters for synthetic lubricant applications, LubricationEngineering, Page 21-26.

Speight James G. (1999). TheChemistry and Technology of Petroleum. Marcel Dekker,

ISBN 	0824702174).

Stons, M., (1986). Study of Metal Ion Migration in Soils, from Drilling Mud Pit

Discharges, Theses for M.Sc in Engineering, University of Taxes atAustin.

Tissot, B.P. and Welte, D.H. (1984). Petroleum Formation and Occurrence,2nd Ed.,

Springer-Verlag, Berlin, Pp. 128.

Wilhelm Riemenschneider and Hermann M. Bolt, (2005), "Esters, Organic"Ullmann's 	Encyclopedia of Industrial Chemistry,Pp 309.

Wood, K. V., Cooks, R. G., Laugal, J. A. and Benkeser, R. A. (1985).” Combination of

chemical reduction and Tandem Mass spectrometryfor the characterization of sulphur-containing fuel constituents, Anal.Chem. 57 (3), 692-694.